## sjr_masterlist (19)
FROM : | 2025-01-08 | TO : | 08-31-2025
Location Warehouse : | CAGAYAN DE ORO BRANCH
User : | All User
SJR No. | SJR Date | SJR Start/End Time | CSR Code | Customer Name | Address | Contact No. | Model | Relayed By | Dealer | Job Class | Job Type | Wty Type | Complaint | Tech Name | SJR Notes | No. of Visit | Promised Date | Date Attended | Date Finished | Repair Done | Job Status | Call Origin
CDO-00009970 | 2025-01-08 | 02:43 pm - 02:44 pm | BACULIO | Balansag, Ida | , Max Suniel St. , , Carmen, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0919-0841708 | KSM-IW10-WCT10M1M32 | Sol | ASIAN HOMES | INST | DC | C | For Installation | CKF Ref & Airconditioning Services | DC c/o CKF ASC,Install SAC | 1 | 2025-01-08 | 2025-01-08 14:05 | 2025-01-08 16:48 | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00009971 | 2025-01-08 | 02:47 pm - 02:49 pm | BACULIO | Tan, Elmer | , Lumiyap, , Divisoria, ZAMBOANGA CITY, Zamboanga del Sur | 0975-5924089 | KSM-IW20-WCT10M1M32 | Desiree | PRICEWISE MARKETING CORP | INST | DC | C | For Installation | Marjon Cool Ref. & Aircon Service Center Co. | DC c/o Marjon ASC,Install SAC | 1 | 2025-01-08 | 2025-01-08 13:00 | 2025-01-08 17:00 | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00009972 | 2025-01-08 | 02:52 pm - 02:53 pm | BACULIO | Limsa Contruction & Supply | , , Dalican, Barangay gubat, DATU ODIN SINSUAT (DINAIG), Maguindanao | 0938-4316186 | KSG-IWF-20WFY-8K1M32-I | Carlo | ROBINSONS | INST | DC | C | For Installation | Widgets | DC c/o Widgets ASC,Install SAC |  | 07/28/2025 | 07/28/2025 02:00 pm | 07/28/2025 04:30 pm | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up, late controlled | Com1 | E-mail
CDO-00009973 | 2025-01-08 | 02:57 pm - 02:58 pm | BACULIO | Ampo, Janeth | , P1A Comawas , , San Fernando, VALENCIA, Bukidnon | 0997-2191547 | KSM-IW15-WCT10M1M32 | Roselle | ROBINSONS | INST | DC | C | For Installation | Gab Appliance Service Center - CDO | DC c/o GAB ASC,Install SAC | 1 | 07/31/2025 | 07/31/2025 11:00 am | 07/31/2025 02:30 pm | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00009974 | 2025-01-08 | 03:01 pm - 03:01 pm | BACULIO | Tumalon, Evangeline | , P6B , , Aglayan, CITY OF MALAYBALAY (Capital), Bukidnon | 0965-2235890 | KSM-IW10-WCT10M1M32 | Roselle | ROBINSONS | INST | DC | C | For Installation | Gab Appliance Service Center - CDO | DC c/o GAB ASC,Install SAC | 1 | 07/31/2025 | 07/31/2025 04:00 pm | 07/31/2025 06:30 pm | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00009975 | 2025-01-08 | 04:48 pm - 04:49 pm | BACULIO | Chan, Maria Corazon | , 247 B21 L12, Front View Subd., Canitoan, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0965-2480352 | KSM-IW15-WCT10M1M32 | Jeanelyn | ASIAN HOMES | INST | DC | C | For Installation | BRO Refrigeration and Air-conditioning Services | DC c/o Bro ASC,Install SAC | 1 | 2025-01-08 | 2025-01-08 15:00 | 2025-01-08 17:00 | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00009976 | 2025-02-08 | 12:04 pm - 12:05 pm | BACULIO | Terra Cafe | , , , Carmen, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0927-8676687 | KSG-IWF-30WFY-8K1M32-I | Jeanelyn | ASIAN HOMES | INST | DC | C | For Installation | BRO Refrigeration and Air-conditioning Services | DC c/o Bro ASC,Install SAC | 1 | 2025-01-08 | 2025-01-08 15:00 | 2025-01-08 23:00 | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00009977 | 2025-02-08 | 12:05 pm - 12:06 pm | BACULIO | Terra Cafe | , , , Carmen, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0927-8676687 | KLG-IF40-5G1M32-I | Jeanelyn | ASIAN HOMES | INST | DC | C | For Installation | BRO Refrigeration and Air-conditioning Services | DC c/o Bro ASC,Install FAC Type | 1 | 2025-01-08 | 2025-01-08 15:00 | 2025-01-08 23:00 | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed FAC/started up | Com1 | E-mail
CDO-00009978 | 2025-02-08 | 12:07 pm - 12:08 pm | BACULIO | Albemar Traders | , , , Lingion, MANOLO FORTICH, Bukidnon | 0917-5311754 | KSG-IWF-30WFY-8K1M32-I | Jeanelyn | MINDANAO SOLIDMARK | INST | DC | C | For Installation | BRO Refrigeration and Air-conditioning Services | DC c/o Bro ASC,Install SAC | 1 | 2025-02-08 | 2025-02-08 11:00 | 2025-02-08 16:30 | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00009979 | 2025-02-08 | 12:11 pm - 12:12 pm | BACULIO | Besas, Shaylin | , Siason Drive, , Talon-talon, ZAMBOANGA CITY, Zamboanga del Sur | 0970-9490315 | KSM-IW10-WCT10M1M32 | Janet | BUDGETWISE | INST | DC | C | For Installation | MI & I Refrigeration | DC c/o Mi & I ASC,Install SAC | 1 | 2025-01-08 | 2025-02-08 09:00 | 2025-02-08 14:30 | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00009980 | 2025-02-08 | 04:23 pm - 04:24 pm | BACULIO | Dimaano, Melissa | , , Summer Hill SUbd., Pasonanca, ZAMBOANGA CITY, Zamboanga del Sur | 0917-5767769 | KSM-IW10-WCT10M1M32 | Sheira Mae | ABENSON INC. | INST | DC | C | For Installation | Ree Cooling Services | DC c/o Reecooling ASC,Install SAC | 1 | 2025-02-08 | 2025-04-08 08:45 | 2025-04-08 12:10 | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00009981 | 2025-02-08 | 04:24 pm - 04:25 pm | BACULIO | Dimaano, Melissa | , , Summer Hill SUbd., Pasonanca, ZAMBOANGA CITY, Zamboanga del Sur | 0917-5767769 | KSM-IW10-WCT10M1M32 | Sheira Mae | ABENSON INC. | INST | DC | C | For Installation | Ree Cooling Services | DC c/o Reecooling ASC, Install SAC | 1 | 2025-02-08 | 2025-04-08 14:00 | 2025-04-08 17:25 | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00009982 | 2025-04-08 | 10:26 am - 10:27 am | BACULIO | CKF Ref & Airconditioning Services | , B6 L24 Ph3, Villa Trinitas, Bugo, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0965-23160108 | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of parts |  | 2025-04-08 | 2025-04-08 10:29 | 2025-04-08 10:31 | Findings - Sale of parts, , , Recommendation - , , , Repair Done - Sale of parts Temp. sensor assy. | Com1 | Customer Lounge
CDO-00009983 | 2025-04-08 | 11:11 am - 11:11 am | BACULIO | Ratunil, Alpha | , , , , INITAO, Misamis Oriental | 0995-6046127 | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of parts |  | 2025-04-08 | 2025-04-08 11:13 | 2025-04-08 11:15 | Findings - Sale of parts, , , Recommendation - , , , Repair Done - Sale of parts Anti freeze | Com1 | Customer Lounge
CDO-00009984 | 2025-04-08 | 11:44 am - 11:45 am | BACULIO | Obra, Glenda | , B19, L18 , Bloomindale Subd. , Iponan, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0945-8552706 | KAG-100WCINV | Genryl | EMCOR INC. | TS | DC | W | No Power Supply | Emcor- CDO | DC c/o Emcor Inc. for check up | 1 | 2025-01-08 | 2025-01-08 17:11 | 2025-01-08 17:47 | Findings - No power, , , Recommendation - For replacement of new unit, SOP with in 1 week from Date of purchased., , , Repair Done - Check up only, customer demand for replacement of new unit | Inc-17 | E-mail
CDO-00009985 | 2025-04-08 | 11:52 am - 11:53 am | BACULIO | Cagas, Romieline | , Villa Ernesto P2, , Gusa, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0917-7067131 | KLG-IF40-5G1M32-I | Sol | MINDANAO SOLIDMARK | INST | DC | C | For Installation | CKF Ref & Airconditioning Services | DC c/o CKF ASC, Install FAC Type | 1 | 2025-04-08 | 2025-03-08 11:05 | 2025-03-08 15:15 | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed FAC/started up | Com1 | E-mail
CDO-00009986 | 2025-04-08 | 01:33 pm - 01:34 pm | BACULIO | Sabacajon, Yume | , , , Poblacion, TAGOLOAN, Misamis Oriental | 0917-7077086 | KSM-IW25-WCT10M1M32 | Jeanelyn | ASIAN HOMES | INST | DC | C | For Installation | BRO Refrigeration and Air-conditioning Services | DC c/o Bro ASC,Install SAC | 1 | 2025-04-08 | 2025-02-08 18:00 | 2025-02-08 21:00 | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00009987 | 2025-04-08 | 01:37 pm - 01:37 pm | BACULIO | Martinez, Catherine | , , , Macasandig, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0917-3226253 | KLG-SF40-WBR6H1M32-I | Jeanelyn | ASIAN HOMES | INST | DC | C | For Installation | BRO Refrigeration and Air-conditioning Services | DC c/o Bro ASC,Install FAC Type | 1 | 2025-04-08 | 2025-04-08 12:00 | 2025-04-08 16:30 | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed FAC/started up | Com1 | E-mail
CDO-00009988 | 2025-05-08 | 09:20 am - 09:22 am | BACULIO | Solidmark Inc. | , , , J.C Aquino, BUTUAN CITY (Capital), Agusan Del Norte | 0975-4143654 | KWD-BLC-3088S | Jane |  | TS | BI | W | Dripping/ Water Leak | John Donguines | For thorough check up | 1 | 2025-05-08 | 2025-05-08 10:00 | 2025-05-08 10:05 | Findings - Tank leakage, , , Recommendation - Unrepairable unit, , , Repair Done - Check up, C.M Unit, | Com2 | Customer Lounge
CDO-00009989 | 2025-05-08 | 10:29 am - 10:30 am | BACULIO | Aranzado, Verdex | , B14 L8 Matilde St. Zone 3, , Carmen, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0995-5034060 | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of parts |  | 2025-05-08 | 2025-05-08 10:31 | 2025-05-08 10:33 | Findings - Sale of parts, , , Recommendation - , , , Repair Done - Sale of parts Temp. Sensor Assy | Com1 | Customer Lounge
CDO-00009990 | 2025-05-08 | 10:52 am - 10:53 am | BACULIO | Cinchez, Allyza | , 004 Belen V. Jongko St. Corner Apolinar Velez St., , Apovel, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0926-2350097 | KSM-IW20-WCT10M1M32 | Jeanelyn | ASIAN HOMES | INST | DC | C | For Installation | BRO Refrigeration and Air-conditioning Services | DC c/o Bro ASC,Install SAC | 1 | 2025-04-08 | 2025-04-08 17:30 | 2025-04-08 20:00 | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00009991 | 2025-05-08 | 10:56 am - 10:57 am | BACULIO | Batiancila, Cherry Mar | , Poblacion, , Surabay, ZAMBOANGA CITY, Zamboanga del Sur | 0906-2956097 | KSM-IW15-WCT10M1M32 | Janet | BUDGETWISE | INST | DC | C | For Installation | MI & I Refrigeration | DC c/o Mi & I ASC,Install SAC | 1 | 2025-05-08 | 2025-04-08 09:30 | 2025-04-08 15:05 | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00009992 | 2025-05-08 | 02:16 pm - 02:18 pm | BACULIO | Emcor, Inc. | , , , Gusa, CAGAYAN DE ORO CITY (Capital), Misamis Oriental |  | KAM-75CMC32 |  |  | SP | WI | COS | Sales of Parts |  | Sale of parts |  | 2025-05-08 | 2025-05-08 14:20 | 2025-05-08 14:22 | Findings - Sale of parts, , , Recommendation - , , , Repair Done - Sale of parts Fan motor | Com1 | Customer Lounge
CDO-00009993 | 2025-05-08 | 03:06 pm - 03:06 pm | BACULIO | CoolHouse Airconditioning & Refrigerator Services Center | Ramas Compound, Zone 4, Tin-ao, Agusan, CAGAYAN DE ORO CITY (Capital), Misamis Oriental |  | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of parts |  | 2025-05-08 | 2025-05-08 15:10 | 2025-05-08 15:12 | Findings - Sale of parts, , , Recommendation - , , , Repair Done - Sale of parts remote control | Com1 | Customer Lounge
CDO-00009994 | 2025-06-08 | 09:05 am - 09:06 am | BACULIO | Virtudazo, Dawn | , Arbe Store John the Baptist St., , kauswagan, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0995-4737346 | WAC-INV | John |  | GC | FD | C | For GC | John Donguines | For cleaning | 1 | 2025-06-08 | 2025-06-08 10:00 | 2025-06-08 11:59 | Findings - For cleaning, , , Recommendation - gen. cleaning, , , Repair Done - Rendered generalcleaning WAC | Com1 | E-mail
CDO-00009995 | 2025-06-08 | 10:15 am - 10:16 am | BACULIO | JRH Ref & Electronics Services | , , Rizal Avenue, Balangasan, PAGADIAN CITY (Capital), Zambonga del Norte | 0916-5712647 | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of parts |  | 2025-06-08 | 2025-06-08 10:18 | 2025-06-08 10:20 | Findings - Sale of parts, , , Recommendation - , , , Repair Done - Sale of parts PCB Assembly Outdoor | Com1 | Customer Lounge
CDO-00009996 | 2025-06-08 | 10:47 am - 10:47 am | BACULIO | BRO Refrigeration & Airconditioning Services | , Zone 2 A , Sto. Ni帽o Vill., Baluarte, TAGOLOAN, Misamis Oriental | 0935-4044108 | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of parts |  | 2025-06-08 | 2025-06-08 10:49 | 2025-06-08 10:51 | Findings - Sale of parts, , , Recommendation - , , , Repair Done - Sale of parts PCB Assembly Indoor | Com1 | Customer Lounge
CDO-00009997 | 2025-06-08 | 01:35 pm - 01:36 pm | BACULIO | Elumba, Elvira | , , , Polo, DAPITAN CITY, Zamboanga del Norte | 0955-5046226 | KSM-IW10-WCT10M1M32 | Erlinda | MINDANAO SOLIDMARK | INST | DC | C | For Installation | J Airconditioning & Refrigeration Services | DC c/o JARS ASC,Install SAC | 1 | 2025-06-08 | 2025-06-08 13:00 | 2025-06-08 17:30 | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00009998 | 2025-06-08 | 01:38 pm - 01:38 pm | BACULIO | Dalisay, Jezreel | , , , Sinaman, DIPOLOG CITY (Capital), Zamboanga del Norte | 0927-5624495 | KSM-IW15-WCT10M1M32 | Erlinda | MINDANAO SOLIDMARK | INST | DC | C | For Installation | J Airconditioning & Refrigeration Services | DC c/o JARS ASC,Install SAC | 1 | 2025-06-08 | 2025-06-08 01:00 | 2025-06-08 17:00 | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00009999 | 2025-06-08 | 01:43 pm - 01:44 pm | BACULIO | Jumangit, Renzo | , San Isidro Road Zone 2, Mariano Drive, Boalan, ZAMBOANGA CITY, Zamboanga del Sur | 0936-1855964 | KAM-75CMC32 | Bens | REE COOLING SERVICES | TS | DC | W | Not Cooling | Ree Cooling Services | DC c/o Reecooling ASC,for check up | 1 | 2025-06-08 | 2025-06-08 09:50 | 2025-06-08 10:36 | Findings - Defective Fan motor, , , Recommendation - for parts replacement, , , Repair Done - Check up, need parts Fan motor | Inc-06 | E-mail
CDO-00010000 | 2025-06-08 | 01:45 pm - 01:47 pm | BACULIO | Jumangit, Renzo | , San Isidro Road Zone 2, Mariano Drive, Boalan, ZAMBOANGA CITY, Zamboanga del Sur | 0936-1855964 | KAM-75CMC32 | Jane | REE COOLING SERVICES | TS | FD | W | Not Cooling | Ree Cooling Services | Relayed to Reecooling ASC,parts for pouch thru LBC | 2 | 2025-09-08 | 08/14/2025 02:00 pm | 08/14/2025 03:41 pm | Findings - DEFECTIVE FAN MOTOR, , , Recommendation - REPLACED FAN MOTOR, , , Repair Done - REPLACED FAN MOTOR / DONE | Com1 | Second Action
CDO-00010001 | 2025-06-08 | 01:55 pm - 02:03 pm | BACULIO | Ahamad, Nadzra Jajurie | , B1, L13 Zone 10, Delos Reyes Townsite, Zambowood, ZAMBOANGA CITY, Zamboanga del Sur | 0965-7356225 | KSG-IWF-20WFY-8K1M32-I | Sheira Mae | ABENSON INC. | INST | DC | C | For Installation | Ree Cooling Services | DC c/o Reecooling ASC,Install SAC | 1 | 2025-06-08 | 2025-06-08 14:00 | 2025-06-08 17:55 | Findings - Unit for install, , Recommendation - Installation, , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00010002 | 2025-06-08 | 03:10 pm - 03:10 pm | BACULIO | Don Carlos Bukidnon Hospital | , , , , DON CARLOS, Bukidnon | 0917-8595314 | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of parts |  | 2025-06-08 | 2025-06-08 15:11 | 2025-06-08 15:13 | Findings - Sale of parts, , , Recommendation - , , , Repair Done - Sale of asstd parts | Com1 | Customer Lounge
CDO-00010003 | 2025-06-08 | 04:32 pm - 04:33 pm | BACULIO | Cuatrocruz, Jayphy | , Anas Drive, , Talon-talon, ZAMBOANGA CITY, Zamboanga del Sur | 0906-2579824 | KSM-IW15-WCT10M1M32 | Desiree | PRICEWISE MARKETING CORP | INST | DC | C | For Installation | Marjon Cool Ref. & Aircon Service Center Co. | DC c/o Marjon ASC,Install SAC | 1 | 2025-06-08 | 2025-06-08 15:30 | 2025-06-08 19:00 | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00010004 | 2025-07-08 | 01:14 pm - 01:15 pm | BACULIO | PRIVATE COFFEE SHOP | , , , Patag Gusa, OPOL, Misamis Oriental | 0905-1005768 | KSG-IWF-25WFY-8K1M32-I | Genryl | EMCOR INC. | INST | DC | C | For Installation | Emcor- CDO | DC c/o Emcor Inc. Install SAC,late controlled | 1 | 07/22/2025 | 07/22/2025 09:10 am | 07/22/2025 11:40 am | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00010005 | 2025-07-08 | 01:15 pm - 01:16 pm | BACULIO | PRIVATE COFFEE SHOP | , , , Patag Gusa, OPOL, Misamis Oriental | 0905-1005768 | KSG-IWF-25WFY-8K1M32-I | Genryl | EMCOR INC. | INST | DC | C | For Installation | Emcor- CDO | DC c/o Emcor Inc. Installed SAC | 1 | 07/22/2025 | 07/22/2025 01:10 pm | 07/22/2025 05:38 pm | Findings - Unit for install, remote control defective , , , Recommendation - Installation,for placement, , , Repair Done - Installed SAC, unit is okay but then upon starting up, remote control won't function | Com1 | E-mail
CDO-00010006 | 2025-07-08 | 01:51 pm - 01:52 pm | BACULIO | Solon, Elvie | , , Bloomfields Subd. , Lumbia, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0961-8616971 | KSM-IW20-WCT10M1M32 | Sol | MINDANAO SOLIDMARK | INST | DC | C | For Installation | CKF Ref & Airconditioning Services | DC c/o CKF ASC,Install SAC | 1 | 2025-06-08 | 2025-06-08 14:53 | 2025-06-08 17:40 | Findings - Unit for install, , Recommendation - Installation, , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00010007 | 2025-07-08 | 02:01 pm - 02:02 pm | BACULIO | Buenos, Genevieve | , Fernandez Drive, , Pasonanca, ZAMBOANGA CITY, Zamboanga del Sur | 0906-7003446 | KSM-IW10-WCT10M1M32 | Sheira Mae | ABENSON INC. | INST | DC | C | For Installation | Ree Cooling Services | DC c/o Reecooling ASC,Install SAC | 1 | 2025-07-08 | 2025-07-08 13:00 | 2025-07-08 17:10 | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00010008 | 2025-07-08 | 04:17 pm - 04:18 pm | BACULIO | Chio, Edward Jr. | , , , Baliwasan, ZAMBOANGA CITY, Zamboanga del Sur | 0917-8717703 | KSM-IW15-WCT10M1M32 | Desiree | PRICEWISE MARKETING CORP | INST | DC | C | For Installation | Marjon Cool Ref. & Aircon Service Center Co. | DC c/o Marjon ASC,Install SAC | 1 | 2025-07-08 | 2025-07-08 12:00 | 2025-07-08 15:00 | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00010009 | 2025-08-08 | 01:05 pm - 01:06 pm | BACULIO | Gaba, Mariz | , Z8 Upper Puerto, , Alae, MANOLO FORTICH, Bukidnon | 0960-3308518 | KSG-IWF-10WFY-8K1M32-I | Genryl | EMCOR INC. | INST | DC | C | For Installation | Emcor- CDO | DC c/o Emcor Inc. Install SAC | 1 | 2025-09-07 | 2025-09-07 10:00 | 2025-09-07 16:25 | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed FAC/started up, late controlled | Com1 | E-mail
CDO-00010010 | 2025-08-08 | 01:10 pm - 01:11 pm | BACULIO | DEARBC | , , , Camp. Philips, MANOLO FORTICH, Bukidnon | 0917-1142653 | KSM-IW20-WCT10M1M32 | Genryl | EMCOR INC. | INST | DC | C | For Installation | Emcor- CDO | DC c/o Emcor Inc. Install SAC,late controlled for record reference | 1 | 2025-05-07 | 2025-05-08 10:25 | 2025-05-08 16:30 | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00010011 | 2025-08-08 | 01:19 pm - 01:21 pm | BACULIO | Kho, Carlos | , P1 , , Balubal, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0917-7043203 | KSG-IWF-25WFY-8K1M32-I | Genryl | EMCOR INC. | INST | DC | C | For Installation | Emcor- CDO | DC c/o Emcor Inc. Install SAC,late controlled for record reference | 1 | 2025-12-07 | 2025-12-07 09:50 | 2025-12-07 14:25 | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up,late controlled | Com1 | E-mail
CDO-00010012 | 2025-08-08 | 01:23 pm - 01:25 pm | BACULIO | Borja, Cherand Paul | , , , Indahag, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0917-7121016 | KSM-IW20-WCT10M1M32 | Genryl | EMCOR INC. | INST | DC | C | For Installation | Emcor- CDO | DC c/o Emcor Inc. Install SAC,late controlled for record purposes | 1 | 2025-11-07 | 2025-12-07 09:35 | 2025-12-07 13:50 | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up,late controlled | Com1 | E-mail
CDO-00010013 | 2025-08-08 | 01:32 pm - 01:33 pm | BACULIO | Baes Jr., Poncio | , B7 L1, Forever Homes, Lumbia, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0965-8659621 | KSM-IW10-WCT10M1M32 | Genryl | EMCOR INC. | INST | DC | C | For Installation | Emcor- CDO | DC c/o Emcor Inc. Install SAC,late controlled for record purposes | 1 | 2025-11-07 | 2025-11-07 10:20 | 2025-11-07 15:30 | Findings - Unit for install, , Recommendation - Installation, , Repair Done - Installed SAC/started up,late controlled | Com1 | E-mail
CDO-00010014 | 2025-08-08 | 03:08 pm - 03:09 pm | BACULIO | Mabuay, Joseph | , #72 F. Delela St., Zone 1, Lumbia, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0966-3106381 | KSM-IW10-WCT10M1M32 | Genryl | EMCOR INC. | INST | DC | C | For Installation | Emcor- CDO | DC c/o Emcor Inc. Install SAC,late controlled | 1 | 2025-11-07 | 2025-11-07 09:20 | 2025-11-07 14:35 | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up,late controlled | Com1 | E-mail
CDO-00010015 | 2025-08-08 | 03:12 pm - 03:13 pm | BACULIO | Francisco, Joel | , B64 L13 XAVIER HEIGHTS , , Balulang, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0954-3360606 | KSM-IW15-WCT10M1M32 | Genryl | EMCOR INC. | INST | DC | C | For Installation | Emcor- CDO | DC c/o Emcor Inc. Install SAC,Late controlled | 1 | 07/16/2025 | 07/16/2025 10:25 am | 07/16/2025 04:25 pm | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up,late controlled | Com1 | E-mail
CDO-00010016 | 2025-08-08 | 03:16 pm - 03:18 pm | BACULIO | Marte, Celesye Dionne | , P1 Jose Rizal St., , , JASAAN, Misamis Oriental | 0926-8047036 | KSG-IWF-15WFY-8K1M32-I | Genryl | EMCOR INC. | INST | DC | C | For Installation | Emcor- CDO | DC c/o Emcor Inc. Install SAC, Late controlled | 1 | 07/17/2025 | 07/17/2025 10:35 am | 07/17/2025 04:05 pm | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up,late controlled | Com1 | E-mail
CDO-00010017 | 2025-08-08 | 03:27 pm - 03:29 pm | BACULIO | Barangay Bagocboc | , , , Bagocboc, OPOL, Misamis Oriental | 0956-1300950 | KSM-IW15-WCT10M1M32 | Genryl | EMCOR INC. | INST | DC | C | For Installation | Emcor- CDO | DC c/o Emcor Inc. Install SAC,late controlled for record reference | 1 | 07/24/2025 | 07/24/2025 10:00 am | 07/24/2025 03:00 pm | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00010018 | 2025-08-08 | 03:29 pm - 03:30 pm | BACULIO | Barangay Bagocboc | , , , Bagocboc, OPOL, Misamis Oriental | 0956-1300950 | KSM-IW25-WCT10M1M32 | Genryl | EMCOR INC. | INST | DC | C | For Installation | Emcor- CDO | DC c/o Emcor Inc. Install SAC,late controlled for record reference | 1 | 07/24/2025 | 07/24/2025 10:35 am | 07/24/2025 04:05 pm | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up,late controlled | Com1 | E-mail
CDO-00010019 | 2025-08-08 | 03:33 pm - 03:34 pm | BACULIO | Berendes, Charly | , Z6A , , Baluarte, TAGOLOAN, Misamis Oriental | 0936-1392580 | KSG-IWF-15WFY-8K1M32-I | Genryl | EMCOR INC. | INST | DC | C | For Installation | Emcor- CDO | DC c/o Emcor Inc. Install SAC,late controlled for record reference | 1 | 07/29/2025 | 07/29/2025 09:30 am | 07/29/2025 03:10 pm | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up,late controlled | Com1 | E-mail
CDO-00010020 | 2025-08-08 | 03:37 pm - 03:38 pm | BACULIO | Cellar, Kris Paula | , , , Kauswagan, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0917-1520683 | KSM-IW10-WCT10M1M32 | Genryl | EMCOR INC. | INST | DC | C | For Installation | Emcor- CDO | DC c/o Emcor Inc. Install SAC,late controlled for record reference | 1 | 07/28/2025 | 07/28/2025 09:25 am | 07/28/2025 02:00 pm | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up,late controlled | Com1 | E-mail
CDO-00010021 | 2025-08-08 | 03:42 pm - 03:43 pm | BACULIO | Caseres, Ezekiel Jones | , Emerald St. Purok 5, , Gusa, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0945-5493933 | KSG-IWF-15WFY-8K1M32-I | Genryl | EMCOR INC. | INST | DC | C | For Installation | Emcor- CDO | DC c/o Emcor Inc. Install SAC,late controlled for record reference | 1 | 07/31/2025 | 07/31/2025 09:30 am | 07/31/2025 01:00 pm | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up,late controlled | Com1 | E-mail
CDO-00010022 | 2025-08-08 | 03:47 pm - 03:48 pm | BACULIO | Naganga, Juliana | , P5 Z1 , , Katipunan, VILLANUEVA, Misamis Oriental | 0939-9050917 | KSG-IWF-10WFY-8K1M32-I | Genryl | EMCOR INC. | INST | DC | C | For Installation | Emcor- CDO | DC c/o Emcor Inc. Install SAC,late controlled for record reference | 1 | 07/30/2025 | 07/30/2025 10:30 am | 07/30/2025 02:55 pm | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up,late controlled | Com1 | E-mail
CDO-00010023 | 2025-08-08 | 03:51 pm - 03:51 pm | BACULIO | Lumahang, Kuh | , BLK-30 LOT-1 LAUREL LANE WESTWOOD VILLAGE , , Carmen, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0936-2064117 | KSG-IWF-30WFY-8K1M32-I | Genryl | EMCOR INC. | INST | DC | C | For Installation | Emcor- CDO | DC c/o Emcor Inc. Install SAC | 1 | 2025-09-08 | 2025-09-08 09:25 | 2025-09-08 14:10 | Repair Done - for installation of FAC, wrong model | NSC11 | E-mail
CDO-00010024 | 2025-08-08 | 03:54 pm - 03:55 pm | BACULIO | Mainit, Runa | , , , Casinglot, TAGOLOAN, Misamis Oriental | 0975-0459531 | KSG-IWF-10WFY-8K1M32-I | Genryl | EMCOR INC. | INST | DC | C | For Installation | Emcor- CDO | DC c/o Emcor Inc. Install SAC,late controlled for record reference | 1 | 2025-02-08 | 2025-02-08 10:30 | 2025-02-08 14:55 | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up,late controlled | Com1 | E-mail
CDO-00010025 | 2025-08-08 | 03:58 pm - 03:59 pm | BACULIO | Bacayan, Alberto | , ZONE 2A , , IGPIT , OPOL, Misamis Oriental | 0997-6220222 | KSM-IW20-WCT10M1M32 | Genryl | EMCOR INC. | INST | DC | C | For Installation | Emcor- CDO | DC c/o Emcor Inc. Install SAC,late controlled for record reference | 1 | 2025-05-08 | 2025-05-08 10:25 | 2025-05-08 15:30 | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up,late controlled | Com1 | E-mail
CDO-00010026 | 2025-08-08 | 04:03 pm - 04:05 pm | BACULIO | Ubanan, Louri-Vic | , FM Paclar St., , Patag, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0906-5655197 | KSM-IW15-WCT10M1M32 | Genryl | EMCOR INC. | INST | DC | C | For Installation | Emcor- CDO | DC c/o Emcor Inc. Install SAC | 1 | 2025-11-08 | 2025-12-08 09:35 | 2025-12-08 02:50 | Findings - Unit for install, , Recommendation - Installation, , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00010027 | 2025-08-08 | 04:11 pm - 04:12 pm | BACULIO | Llego, Beverly Anne | , , , Center Point, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0917-4561010 | KSM-IW25-WCT10M1M32 | Genryl | EMCOR INC. | INST | DC | C | For Installation | Emcor- CDO | DC c/o Emcor Inc. Install SAC Installed 08/09/25 | 1 | 2025-08-08 | 2025-08-08 10:15 | 2025-08-08 15:35 | Repair Done - Unit Installed SAC | Com1 | E-mail
CDO-00010028 | 2025-08-08 | 04:14 pm - 04:16 pm | BACULIO | Casing, Merlinda | , P8A SAN PEDRO , , Gusa, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0953-6186345 | KSM-IW10-WCT10M1M32 | Genryl | EMCOR INC. | INST | DC | C | For Installation | Emcor- CDO | DC c/o Emcor Inc. Install SAC | 1 | 2025-08-08 | 08/25/2025 09:25 am | 08/25/2025 02:50 pm | Findings - For Installation, , Recommendation - Installation, , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00010029 | 2025-08-08 | 04:29 pm - 04:30 pm | BACULIO | Flores, Maricar | , CHAVEZ BLDG P.N ROA ABEJUELA ST , , , CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0917-1844133 | KSG-IWF-15WFY-8K1M32-I | Genryl | EMCOR INC. | INST | DC | C | For Installation | Emcor- CDO | DC c/o Emcor Inc. Install SAC | 1 | 2025-11-08 | 2025-11-08 10:10 | 2025-11-08 16:40 | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00010030 | 2025-08-08 | 04:30 pm - 04:31 pm | BACULIO | Flores, Maricar | , CHAVEZ BLDG P.N ROA ABEJUELA ST , , , CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0917-1844133 | KSG-IWF-20WFY-8K1M32-I | Genryl | EMCOR INC. | INST | DC | C | For Installation | Emcor- CDO | DC c/o Emcor Inc. Install SAC | 1 | 2025-11-08 | 2025-11-08 10:10 | 2025-11-08 16:40 | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00010031 | 2025-08-08 | 04:32 pm - 04:33 pm | BACULIO | CDO 2 Cycles Marketing Corp. | , Quirino Hayes St., , Cogon, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0917-7926329 | KL-IF60-G6H1M32-I | Sol | MINDANAO SOLIDMARK | INST | DC | C | For Installation | CKF Ref & Airconditioning Services | DC c/o CKF ASC,Install FAC Type | 1 | 2025-08-08 | 2025-08-08 12:00 | 2025-08-08 15:25 | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed FAC/started up | Com1 | E-mail
CDO-00010032 | 2025-08-08 | 04:39 pm - 04:40 pm | BACULIO | Abao, Susana | , B2 L6, NORTHVILLE UPPER PALALAN, Lumbia, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0915-7243940 | KSM-IW15-WCT10M1M32 | Roselle | ROBINSONS | INST | DC | C | For Installation | GAB Appliance Service Center - Cebu | DC c/o GAB ASC,Install SAC | 1 | 2025-06-08 | 2025-06-08 09:00 | 2025-06-08 14:00 | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00010033 | 2025-08-08 | 04:44 pm - 04:45 pm | BACULIO | Ali, Nombai Alibasa | , , , Brar, DATU ANGGAL MIDTIMBANG, Maguindanao | 0930-8103085 | KSM-IW20-WCT10M1M32 | Carlo | ROBINSONS | INST | DC | C | For Installation | Widgets | DC c/o Widgets ASC,Install SAC | 1 | 2025-04-08 | 2025-04-08 09:30 | 2025-04-08 12:00 | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00010034 | 2025-08-08 | 04:48 pm - 04:50 pm | BACULIO | Maglangit, Aneza | , 007 Purok Balikanatan, , RH, COTABATO CITY, Cotabato | 0938-1595943 | KSM-IW15-WCT10M1M32 | Carlo | ROBINSONS | INST | DC | C | For Installation | Widgets | DC c/o Widgets ASC,Install SAC, Late controlled for record reference | 1 | 07/31/2025 | 07/31/2025 01:00 pm | 07/31/2025 03:00 pm | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00010035 | 2025-08-08 | 04:53 pm - 04:54 pm | BACULIO | LUMAD ELEMENTARY SCHOOL | , , , Lumad, PAGADIAN CITY (Capital), Zamboanga del Sur | 0917-5473648 | KSG-IWF-30WFY-8K1M32-I | Chris | MINDANAO SOLIDMARK | INST | DC | C | For Installation | Widgets | DC c/o Widgets ASC,Install SAC | 1 | 2025-02-08 | 2025-02-08 22:00 | 2025-02-08 16:20 | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00010036 | 2025-08-08 | 04:57 pm - 04:58 pm | BACULIO | Balingit, Sergio | , , , Duka, MEDINA, Misamis Oriental | 0955-1849791 | KSM-IW25-WCT10M1M32 | Jeanelyn | ASIAN HOMES | INST | DC | C | For Installation | BRO Refrigeration and Air-conditioning Services | DC c/o Bro ASC,Install SAC | 1 | 2025-08-08 | 2025-08-08 11:00 | 2025-08-08 23:00 | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00010037 | 2025-08-08 | 04:58 pm - 04:59 pm | BACULIO | Balingit, Sergio | , , , Duka, MEDINA, Misamis Oriental | 0955-1849791 | KSM-IW25-WCT10M1M32 | Jeanelyn | ASIAN HOMES | INST | DC | C | For Installation | BRO Refrigeration and Air-conditioning Services | DC c/o Bro ASC,Install ASC | 1 | 2025-08-08 | 2025-08-08 11:00 | 2025-08-08 23:00 | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00010038 | 2025-08-08 | 04:59 pm - 04:59 pm | BACULIO | Balingit, Sergio | , , , Duka, MEDINA, Misamis Oriental | 0955-1849791 | KSM-IW25-WCT10M1M32 | Jeanelyn | ASIAN HOMES | INST | DC | C | For Installation | BRO Refrigeration and Air-conditioning Services | DC c/o Bro ASC, Install SAC | 1 | 2025-08-08 | 2025-08-08 11:00 | 2025-08-08 23:00 | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00010039 | 2025-08-08 | 04:59 pm - 05:00 pm | BACULIO | Balingit, Sergio | , , , Duka, MEDINA, Misamis Oriental | 0955-1849791 | KSM-IW25-WCT10M1M32 | Jeanelyn | ASIAN HOMES | INST | DC | C | For Installation | BRO Refrigeration and Air-conditioning Services | DC c/o Bro ASC, Install SAC | 1 | 2025-08-08 | 2025-08-08 11:00 | 2025-08-08 23:00 | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00010040 | 2025-09-08 | 02:03 pm - 02:03 pm | BACULIO | Stibs House | , Toma Saco 6th St. , , Nazareth, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0961-6591964 | KLG-IF40-5G1M32-I | Sol | MINDANAO SOLIDMARK | INST | DC | C | For Installation | CKF Ref & Airconditioning Services | DC c/o CKF ASC,Install SAC | 1 | 2025-09-08 | 2025-11-08 09:25 | 2025-11-08 13:56 | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed FAC/started up | Com1 | E-mail
CDO-00010041 | 2025-09-08 | 02:06 pm - 02:06 pm | BACULIO | Empeynado, Marlon | , , , Pob. South , POLANCO, Zamboanga del Norte | 0939-9168161 | KSM-IW15-WCT10M1M32 | Erlinda | MINDANAO SOLIDMARK | INST | DC | C | For Installation | J Airconditioning & Refrigeration Services | DC c/o JARS ASC,Install SAC | 1 | 2025-09-08 | 2025-09-08 13:00 | 2025-11-08 10:00 | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00010042 | 2025-09-08 | 04:43 pm - 04:44 pm | BACULIO | Widgets Appliance Service Center | , P5 , , Brgy. Abaga, LALA, Lanao del Norte | 0970-0767328 | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of parts |  | 2025-09-08 | 2025-09-08 16:45 | 2025-09-08 16:47 | Findings - Sale of parts, , , Recommendation - , , , Repair Done - Sale of parts Remote control | Com1 | Customer Lounge
CDO-00010043 | 2025-11-08 | 10:19 am - 10:19 am | BACULIO | Obama, Sheil | , Torogan Alley Panggao, , Saduc, MARAWI CITY (Capital), Lanao del Sur | 0919-0073166 | KSM-IW15-WCT10M1M32 | Sol | MINDANAO SOLIDMARK | INST | DC | C | For Installation | CKF Ref & Airconditioning Services | DC c/o CKF ASC,Install SAC | 1 | 2025-10-08 | 2025-10-08 10:06 | 2025-10-08 14:32 | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00010044 | 2025-11-08 | 10:23 am - 10:23 am | BACULIO | LGU Saguiaran | Saguiaran Municipal Hall, , , Poblacion, SAGUIARAN, Lanao del Sur | 0906-6751719 | KSM-IW15-WCT10M1M32 | Sol | MINDANAO SOLIDMARK | INST | DC | C | For Installation | CKF Ref & Airconditioning Services | DC c/o CKF ASC,Install SAC | 1 | 2025-10-08 | 2025-09-08 10:52 | 2025-09-08 15:15 | Findings - Upon installation & starting on the a/c, there's an error code display EH 03/ Check Up/ Defective unit pcb indoor board/ Need pcb indoor board replacement , , , Recommendation - for installation, , , Repair Done - Install SAC/Started up, need possible parts applicable | Inc-25 | E-mail
CDO-00010045 | 2025-11-08 | 10:26 am - 10:27 am | BACULIO | Curaya, Vincent | , #145 Valbuena St., , Bugo, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0975-3225261 | KSM-IW15-WCT10M1M32 | Sol | ASIAN HOMES | INST | DC | C | For Installation | CKF Ref & Airconditioning Services | DC c/o CKF ASC,Install SAC | 1 | 2025-11-08 | 2025-11-08 10:05 | 2025-11-08 13:55 | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00010046 | 2025-11-08 | 10:35 am - 10:36 am | BACULIO | Empeynado, Marlon | , , , Pob. South , POLANCO, Zamboanga del Norte | 0939-9168161 | KSM-IW10-WCT10M1M32 | Erlinda | ASIAN HOMES | INST | DC | C | For Installation | J Airconditioning & Refrigeration Services | D c/o JARS ASC,Install SAC | 1 | 2025-11-08 | 2025-11-08 09:00 | 2025-11-08 15:00 | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00010047 | 2025-11-08 | 12:51 pm - 12:52 pm | BACULIO | LGU Saguiaran | Saguiaran Municipal Hall, , , Poblacion, SAGUIARAN, Lanao del Sur | 0906-6751719 | KSM-IW15-WCT10M1M32 | Sol | MINDANAO SOLIDMARK | TS | DC | W | EH03 Error Code | CKF Ref & Airconditioning Services | DC c/o CKF ASC,parts pick up 8-11-2025 | 2 | 2025-12-08 | 2025-12-08 13:42 | 2025-12-08 15:10 | Findings - Defective PCB Assembly Indoor, , , Recommendation - as needed, , , Repair Done - Replaced PCB Assembly Indoor, Unit is okay | Com1 | Second Action
CDO-00010048 | 2025-11-08 | 12:58 pm - 01:00 pm | BACULIO | Moldez, Hannah | , Blk 16 Lt 6 Qatar St., BCC Homes Subd., Brgy. Damilag, MANOLO FORTICH, Bukidnon | 0991-9214717 | KSM-IW20-WCT10M1M32 | Jane | MINDANAO SOLIDMARK | TS | FD | W | Not Cooling | CKF Ref & Airconditioning Services | Relayed to CKF ASC, parts pick up 8-11-2025 | 2 | 2025-11-08 | 2025-11-08 14:40 | 2025-11-08 17:10 | Findings - Defective Compressor & Outdoor board , , , Recommendation - Replacement compressor & Outdoor board, , , Repair Done - Replaced Compressor & outdoor board/Freon Charging/Unit Ok | Com1 | Second Action
CDO-00010049 | 2025-11-08 | 02:29 pm - 02:30 pm | BACULIO | Albemar Traders | , , , Lingion, MANOLO FORTICH, Bukidnon | 0917-5311754 | KSG-IWF-30WFY-8K1M32-I | Jeanelyn | ASIAN HOMES | INST | DC | C | For Installation | BRO Refrigeration and Air-conditioning Services | DC c/o Bro ASC,Install SAC | 1 | 2025-11-08 | 2025-11-08 13:00 | 2025-11-08 15:00 | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00010050 | 2025-11-08 | 04:38 pm - 04:38 pm | BACULIO | Manila, Alan | , Palmera Drive , Tibasak Rd. , Macasandig, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0991-7404448 | KSM-IW10-WCT10M1M32 | Sol | MINDANAO SOLIDMARK | INST | DC | C | For Installation | CKF Ref & Airconditioning Services | DC c/o CKF ASC,Install SAC | 1 | 2025-11-08 | 2025-11-08 13:33 | 2025-11-08 16:15 | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00010051 | 2025-11-08 | 04:57 pm - 04:59 pm | BACULIO | Perocho, Kristina Yvonne | , , , Pugaan, ILIGAN CITY, Lanao del Norte | 0961-4559466 | KWD-BLC-3088S | Jessa | ROBINSONS | TS | DC | W | Can't Dispense Water | Flerics Appliance Service Center | DC c/o Flerics ASC | 1 | 2025-11-08 | 2025-11-08 11:30 | 2025-11-08 12:00 | Findings - THE WATER DISPENSER GETS HOT EVEN WHEN THE POWER IS OFF.AND DEFORMED BODY, , , Recommendation - for parts replacement, , , Repair Done - Check up, FOR REQUEST WATER LEVEL SENSOR.MAIN BOARD AND TOP COVER | Inc-06 | E-mail
CDO-00010052 | 2025-12-08 | 09:11 am - 09:12 am | BACULIO | Perocho, Kristina Yvonne | , , , Pugaan, ILIGAN CITY, Lanao del Norte | 0961-4559466 | KWD-BLC-3088S | Jane | ROBINSONS | TS | FD | W | Water Pump Malfunctioning | Flerics Appliance Service Center | Relayed to Flerics ASC,parts request already to Head office | 2 | 08/15/2025 | 2025-11-08 11:30 | 2025-11-08 | Findings - Defective water level sensor, PCB Assemly & Deformed top cover, , , Recommendation - customer demand for replacement of new unit, , , Repair Done - Customer refused to repair the unit | Inc-17 | Second Action
CDO-00010053 | 2025-12-08 | 09:16 am - 09:17 am | BACULIO | Carumba, Alona | , , , , ILAGAN CITY (Capital), Lanao del Norte | 0995-5782146 | KWD-BLC-2088B | Jessa | ROBINSONS | TS | DC | W | Dripping/ Water Leak | Flerics Appliance Service Center | DC c/o Flerics ASC,for check up | 1 | 2025-11-08 | 2025-11-08 11:34 | 2025-11-08 12:12 | Findings - THE WATER IS DRIPPING HEAVILY, , , Recommendation - for parts replacement, , , Repair Done - Check up,FOR REQUEST WATER LEVEL SENSOR AND MAIN BOARD | Inc-06 | E-mail
CDO-00010054 | 2025-12-08 | 09:17 am - 09:19 am | BACULIO | Carumba, Alona | , , , , ILAGAN CITY (Capital), Lanao del Norte | 0995-5782146 | KWD-BLC-2088B | Jane | ROBINSONS | TS | FD | W | Dripping/ Water Leak | Flerics Appliance Service Center | Relayed to Flerics ASC,parts for pouch thru LBC | 2 | 08/15/2025 | 08/18/2025 10:00 am | 08/18/2025 11:30 am | Findings - def. water level sensor & Main Board, , , Recommendation - parts replacement, , , Repair Done - REPLACE WATER LEVEL SENSOR AND MAIN BOARD/UNIT IS OKAY. | Com1 | Second Action
CDO-00010055 | 2025-12-08 | 09:37 am - 09:38 am | BACULIO | Otacan, Mikee Celeste | , Zone 2, , Barra, OPOL, Misamis Oriental | 0930-9893405 | KSM-IW25-WCT10M1M32 | Genryl | EMCOR INC. | INST | DC | C | For Installation | Emcor- CDO | DC c/o Emcor Inc. Install SAC | 1 | 2025-11-08 | 2025-11-08 09:55 | 2025-11-08 03:15 | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00010056 | 2025-12-08 | 09:55 am - 09:56 am | BACULIO | Dajao, John Dave | , Zone 9, , Patag, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0955-9141742 | KSM-IW20-WCT10M1M32 | Roselle | VIC IMPERIAL APP | INST | DC | C | For Installation | Gab Appliance Service Center - CDO | DC c/o GAB ASC, Install SAC | 1 | 2025-11-08 | 2025-11-08 15:00 | 2025-11-08 18:00 | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00010057 | 2025-12-08 | 10:43 am - 10:44 am | BACULIO | Casi帽o, Josephus Cassy | , Ph2B , Villa Trinitas Subd. , Bugo, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0916-1370965 | KSM-IW10-WCT10M1M32 | Sol | MINDANAO SOLIDMARK | INST | DC | C | For Installation | CKF Ref & Airconditioning Services | DC c/o CKF ASC,Install SAC | 1 | 2025-12-08 | 2025-12-08 08:52 | 2025-12-08 11:40 | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00010058 | 2025-12-08 | 01:11 pm - 01:12 pm | BACULIO | Miland, Marjune | , Zone 1, , Balubal, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0945-8023842 | KSG-IWF-20WFY-8K1M32-I | Jeanelyn | ALL HOME | TS | DC | C | H5 Error Code | BRO Refrigeration and Air-conditioning Services | DC c/o Bro ASC, for thorough check up | 2 | 2025-12-08 | 08/13/2025 09:00 am | 08/13/2025 11:00 am | Findings - Compressor defective, , , Recommendation - Need compressor for replacement, , , Repair Done - Replaced compressor. Unit ok | Com1 | E-mail
CDO-00010059 | 2025-12-08 | 02:47 pm - 02:48 pm | BACULIO | Artemisia Corporation | , Baloy Highway, , Tablon, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0949-8892440 | KSM-IW10-WCT10M1M32 | Sol | ASIAN HOMES | INST | DC | C | For Installation | CKF Ref & Airconditioning Services | DC c/o CKF ASC,Install SAC | 1 | 2025-12-08 | 2025-12-08 14:05 | 2025-12-08 16:48 | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00010060 | 2025-12-08 | 02:54 pm - 02:54 pm | BACULIO | Sia, Agnes | , #1992, Phase 2 RER Subdivision, Kauswagan, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0917-7018648 | KSM-IW20-WCT10M1M32 | Jeanelyn | ASIAN HOMES | INST | DC | C | For Installation | BRO Refrigeration and Air-conditioning Services | DC c/o Bro ASC,Install SAC | 1 | 2025-11-08 | 2025-12-08 15:30 | 2025-12-08 19:00 | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00010061 | 2025-12-08 | 03:28 pm - 03:28 pm | BACULIO | Queenkrist Refrigeration & Aircondtioning Parts & Services | , 04363 Borja Street cor. Roxas Street, , Barangay Washington, SURIGAO CITY (Capital), Surigao del Norte |  | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of parts |  | 2025-12-08 | 2025-12-08 15:33 | 2025-12-08 15:35 | Findings - Sale of parts, , , Recommendation - , , , Repair Done - Sale of parts Fan motor indoor | Com1 | Customer Lounge
CDO-00010062 | 2025-12-08 | 03:38 pm - 03:38 pm | BACULIO | Capegsan Jr., Pedro | , 134 , Dacudao Subd. Kolambog, Lapasan, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0994-5733547 | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of parts |  | 2025-12-08 | 2025-12-08 15:40 | 2025-12-08 15:42 | Findings - Sale of parts, , , Recommendation - , , , Repair Done - Sale of parts OLP | Com1 | Customer Lounge
CDO-00010063 | 2025-12-08 | 03:47 pm - 03:48 pm | BACULIO | Ree Cooling Services | , Lot 4A, Zone 1, Divisoria, ZAMBOANGA CITY, Zamboanga del Sur | 0926-4415918 | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of parts |  | 2025-12-08 | 2025-12-08 15:50 | 2025-12-08 15:52 | Findings - Sale of parts, , , Recommendation - , , , Repair Done - Sale of parts PCB Assembly Indoor & Anti-freeze | Com1 | Customer Lounge
CDO-00010064 | 2025-12-08 | 04:02 pm - 04:02 pm | BACULIO | CKF Ref & Airconditioning Services | , B6 L24 Ph3, Villa Trinitas, Bugo, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0965-23160108 | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of parts |  | 2025-12-08 | 2025-12-08 16:05 | 2025-12-08 16:07 | Findings - Sale of parts, , , Recommendation - , , , Repair Done - Sale of parts Condenser & PCB Assembly Indoor | Com1 | Customer Lounge
CDO-00010065 | 08/13/2025 | 08:28 am - 08:29 am | BACULIO | Ajikal, Sharifa | , Amor St., , Lunzuran, ZAMBOANGA CITY, Zamboanga del Sur | 0955-5831967 | KL-IF60-G6H1M32-I | Desiree | PRICEWISE MARKETING CORP | INST | DC | C | For Installation | Marjon Cool Ref. & Aircon Service Center Co. | DC c/o Marjon ASC,Install FAC Type | 1 | 08/13/2025 | 2025-12-08 15:00 | 08/13/2025 12:00 pm | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed FAC/started up | Com1 | E-mail
CDO-00010066 | 08/13/2025 | 08:42 am - 08:43 am | BACULIO | ORO TRIGEM PAWNSHOP | , , , Poblacion, TAGOLOAN, Misamis Oriental | 0975-9158793 | KSM-IW10-WCT10M1M32 | Jeanelyn | ASIAN HOMES | INST | DC | C | For Installation | BRO Refrigeration and Air-conditioning Services | DC c/o Bro ASC,Install SAC | 1 | 08/13/2025 | 2025-12-08 18:00 | 2025-12-08 20:00 | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00010067 | 08/13/2025 | 12:50 pm - 12:51 pm | BACULIO | BRO Refrigeration & Airconditioning Services | , Zone 2 A , Sto. Ni帽o Vill., Baluarte, TAGOLOAN, Misamis Oriental | 0935-4044108 | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of parts |  | 08/13/2025 | 08/13/2025 12:53 pm | 08/13/2025 12:55 pm | Findings - Sale of parts, , , Recommendation - , , , Repair Done - Sale of parts Fan motor | Com1 | Customer Lounge
CDO-00010068 | 08/13/2025 | 12:59 pm - 12:59 pm | BACULIO | RL Drugs Store | , , , Puerto, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0955-5669687 | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of parts |  | 08/13/2025 | 08/13/2025 01:01 pm | 08/13/2025 01:03 pm | Findings - sale of parts, , , Recommendation - , , , Repair Done - Sale of parts Diode | Com1 | Customer Lounge
CDO-00010069 | 08/13/2025 | 01:32 pm - 01:33 pm | BACULIO | Boyonas, Luz | , Zone 1 , , Balubal, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0955-9553947 | KSM-IW15-WCT10M1M32 | Sol | MINDANAO SOLIDMARK | INST | DC | C | For Installation | CKF Ref & Airconditioning Services | DC c/o CKF ASC,Install SAC | 1 | 08/13/2025 | 08/13/2025 10:28 am | 08/13/2025 02:54 pm | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00010070 | 08/14/2025 | 10:40 am - 10:41 am | BACULIO | Dimaano, Melissa | , , Summer Hill SUbd., Pasonanca, ZAMBOANGA CITY, Zamboanga del Sur | 0917-5767769 | KSM-IW20-WCT10M1M32 | Jane | ABENSON INC. | TS | FD | W | No Power Supply | Ree Cooling Services | Relayed to Reecooling ASC,for check up | 1 | 08/16/2025 | 08/14/2025 12:00 pm | 08/14/2025 12:05 pm | Findings - Loose connection power outlet as per customer called , , , Recommendation - fixed and tighten by customer , , , Repair Done - cancelled service scheduled, unit is working well | NSC09 | Social Media
CDO-00010071 | 08/14/2025 | 11:30 am - 11:31 am | BACULIO | Alboruto, Venus | , , , Kaskag, SURIGAO CITY (Capital), Surigao Del Norte | 0985-5173405 | KSM-IW15-WCT10M1M32 | Melanie | MINDANAO SOLIDMARK | INST | DC | C | For Installation | Queenkrist Ref & Aircon Parts & Services | DC c/o Queenkrist ASC,Install SAC | 1 | 08/13/2025 | 08/13/2025 09:00 am | 08/13/2025 12:05 pm | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00010072 | 08/14/2025 | 11:34 am - 11:35 am | BACULIO | Romo, Rojun | , San Jose St., , , DINAGAT, Surigao Del Norte | 0975-1800531 | KSM-IW20-WCT10M1M32 | Melanie | MINDANAO SOLIDMARK | INST | DC | C | For Installation | Queenkrist Ref & Aircon Parts & Services | DC c/o Queenkrist ASC,Install SAC | 1 | 08/13/2025 | 08/13/2025 01:00 pm | 08/13/2025 04:10 pm | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00010073 | 08/14/2025 | 11:38 am - 11:38 am | BACULIO | Solo, Sarah | , P2, , Luna, SURIGAO CITY (Capital), Surigao Del Norte | 0931-7270972 | KLG-SF40-WBR6H1M32-I | Melanie | MINDANAO SOLIDMARK | INST | DC | C | For Installation | Queenkrist Ref & Aircon Parts & Services | DC c/o Queenkrist ASC,Install FAC Type | 1 | 08/13/2025 | 08/13/2025 08:40 am | 08/13/2025 11:50 am | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed FAC/started up | Com1 | E-mail
CDO-00010074 | 08/14/2025 | 11:42 am - 11:43 am | BACULIO | Binayao, Krisha | , , Calawawan, Tankulan, MANOLO FORTICH, Bukidnon | 0997-7855040 | KSM-IW10-WCT10M1M32 | Roselle | ABENSON INC. | INST | DC | C | For Installation | Gab Appliance Service Center - CDO | DC c/o GAB ASC,Intall SAC | 1 | 08/13/2025 | 08/13/2025 10:00 am | 08/13/2025 02:30 pm | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00010075 | 08/18/2025 | 12:02 pm - 12:03 pm | BACULIO | Artemisia Corporation | , Baloy Highway, , Tablon, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0949-8892440 | KSM-IW10-WCT10M1M32 | Jane | ASIAN HOMES | TS | FD | W | Weak Cooling | CKF Ref & Airconditioning Services | Relayed to CKF ASC, for check up | 1 | 08/18/2025 | 08/18/2025 12:50 pm | 08/18/2025 01:32 pm | Findings - Not cooling the whole area /The Kolin acu is in good condition /1 acu working at time (no trouble found) , , , , Recommendation - With existing 1HP window type but not in use / Only Kolin acu used for the whole area of 28m虏 / We recommend to use the aircon both. , , , , Repair Done - Check up | Com2 | Social Media
CDO-00010076 | 08/18/2025 | 03:29 pm - 03:31 pm | BACULIO | Bacas, Myrna | , Yacapin Burgos St., , Brgy. 10, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0935-2980351 | KSM-IW15-WCT10M1M32 | Sol | MINDANAO SOLIDMARK | INST | DC | C | For Installation | CKF Ref & Airconditioning Services | DC c/o CKF ASC,Install SAC | 1 | 08/17/2025 | 08/17/2025 10:10 am | 08/17/2025 01:32 pm | Findings - Unit for install, , , , Recommendation - Installation, , , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00010077 | 08/18/2025 | 03:38 pm - 03:39 pm | BACULIO | KOLIN PHIL. CAGAYAN DE ORO BRANCH | , , J. Pacana St., Puntod, CAGAYAN DE ORO CITY (Capital), Misamis Oriental |  | KSM-25MB1INV |  |  | GC | RM | C | For GC | BRO Refrigeration and Air-conditioning Services | Schedule for cleaning | 1 | 08/18/2025 | 08/18/2025 03:00 pm | 08/18/2025 04:30 pm | Findings - Dirty unit, slow cooling, , , Recommendation - for G.C, , , Repair Done - Rendered gen. cleaning, Unit is okay | Com1 | Inter-office
CDO-00010078 | 08/18/2025 | 03:48 pm - 03:48 pm | BACULIO | DPWH | , 1st Dist. , , , GINGOOG CITY, Misamis Oriental | 0975-2014702 | KL-IF60-G6H1M32-I | Roselle | MINDANAO SOLIDMARK | INST | DC | C | For Installation | GAB Appliance Service Center - Cebu | DC c/o GAB ASC,Install SAC | 1 | 08/15/2025 | 08/18/2025 01:00 pm | 08/18/2025 06:00 pm | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed FAC/started up | Com1 | E-mail
CDO-00010079 | 08/18/2025 | 03:54 pm - 03:54 pm | BACULIO | Villarmea, Roselyn | , , , Brgy 6, BALINGASAG, Misamis Oriental | 0969-1776844 | KSM-IW10-WCT10M1M32 | Jeanelyn | ASIAN HOMES | INST | DC | C | For Installation | BRO Refrigeration and Air-conditioning Services | DC c/o Bro ASC,Install SAC | 1 | 08/17/2025 | 08/17/2025 02:00 pm | 08/17/2025 05:00 pm | Findings - Unit for install, , , , Recommendation - Installation, , , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00010080 | 08/18/2025 | 04:07 pm - 04:10 pm | BACULIO | Alkonga, Mary Jane Sally | , , , Talon-talon, ZAMBOANGA CITY, Zamboanga del Sur | 0965-7040608 | KWD-BLC-2088B | April Gem | EMCOR INC. | TS | DC | W | Others | Emcor- CDO | DC c/o Emcor Inc. for check up | 1 | 08/16/2025 | 08/16/2025 09:40 am | 08/16/2025 10:25 am | Findings - CHANGE CHARACTERISTIC PCB-DEFECTIVE PCB MAIN, , , Recommendation - FOR PARTS REPLACEMENT, , , Repair Done - Check up, neeD parts | Inc-06 | E-mail
CDO-00010081 | 08/18/2025 | 04:17 pm - 04:18 pm | BACULIO | San Roque Convent | San Roque Parish, , , Acmac, ILIGAN CITY, Lanao del Norte | 0985-2637926 | KSM-IW15-WCT10M1M32 | Jessa | MINDANAO SOLIDMARK | INST | DC | C | For Installation | Flerics Appliance Service Center | DC c/o Flerics ASC,Install SAC | 1 | 08/16/2025 | 08/16/2025 10:40 am | 08/16/2025 02:30 pm | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00010082 | 08/18/2025 | 04:22 pm - 04:23 pm | BACULIO | Jamis, Amparo | , Lumina, GRAN EUROPA, Lumbia, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0928-5080034 | KSM-IW10-WCT10M1M32 | Roselle | ROBINSONS | INST | DC | C | For Installation | GAB Appliance Service Center - Cebu | DC c/o GAB ASC,Install SAC | 1 | 08/16/2025 | 08/16/2025 09:00 am | 08/16/2025 02:00 pm | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00010083 | 08/18/2025 | 04:26 pm - 04:27 pm | BACULIO | Ayyu Builders Warehouse | , , , Bagontaas, CITY OF VALENCIA, Bukidnon | 0954-4318134 | KSM-IW15-WCT10M1M32 | Roselle | ROBINSONS | INST | DC | C | For Installation | Gab Appliance Service Center - CDO | DC c/o GAB ASC,Install SAC | 1 | 08/18/2025 | 08/18/2025 01:30 pm | 08/18/2025 04:00 pm | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00010084 | 08/18/2025 | 04:30 pm - 04:31 pm | BACULIO | Aharaja, Habir | , , , Recodo, ZAMBOANGA CITY, Zamboanga del Sur | 0935-9401008 | KSM-IW15-WCT10M1M32 | Desiree | PRICEWISE MARKETING CORP | INST | DC | C | For Installation | Marjon Cool Ref. & Aircon Service Center Co. | DC c/o Marjon ASC,Install SAC | 1 | 08/18/2025 | 08/18/2025 10:00 am | 08/18/2025 03:00 pm | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00010085 | 08/19/2025 | 11:23 am - 11:25 am | BACULIO | Macabantog, Rasmia | , Block 16 Lot 28 , Villa Angila, Balulang, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0926-0534087 | KSM-IW10-6H1M | Jane | MINDANAO SOLIDMARK | TS | FD | P | Not Cooling | BRO Refrigeration and Air-conditioning Services | Relayed to Bro ASC, corroded bottom part with hole | 1 | 08/20/2025 | 08/26/2025 09:00 am | 08/27/2025 12:00 pm | Findings - Compressor defective, , Recommendation - Need compressor for replacement, , Repair Done - Replaced compressor (8/26/25), reinstall the unit, flashing, system reprocessed and charging refrigerant(8/27/25). Unit ok. | Com1 | E-mail
CDO-00010086 | 08/19/2025 | 01:43 pm - 01:44 pm | BACULIO | Cool House Airconditioning Service Center | , , Zone 3, Agusan, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0927-8508384 | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of parts |  | 08/19/2025 | 08/19/2025 01:45 pm | 08/19/2025 01:47 pm | Findings - Sale of parts, , , Recommendation - , , , Repair Done - Sale of parts PCB Assembly Outdoor | Com1 | Customer Lounge
CDO-00010087 | 08/19/2025 | 01:49 pm - 01:50 pm | BACULIO | Cold Pro Refrigeration & Airconditioning Service Center | , , Calamansi Drive, Carmen, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0995-5900294 | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of parts |  | 08/19/2025 | 08/19/2025 02:00 pm | 08/19/2025 02:02 pm | Findings - Sale of parts, , , Recommendation - , , , Repair Done - Sale of parts Anti-freeze & remote control | Com1 | Customer Lounge
CDO-00010088 | 08/19/2025 | 01:59 pm - 02:01 pm | BACULIO | Alkonga, Mary Jane Sally | , , , Talon-talon, ZAMBOANGA CITY, Zamboanga del Sur | 0965-7040608 | KWD-BLC-2088B | Jane | EMCOR INC. | TS | FD | W | Weak Water Dispense | Emcor- CDO | Relayed to Emcor Inc. parts pouched thru LBC 81185464151 8-20-2025 | 2 | 08/22/2025 | 08/26/2025 04:00 pm | 08/26/2025 04:10 pm | Findings - Defective PCB Assembly, , , Recommendation - Replaced parts, , , Repair Done - Replaced PCB Assembly, unit is okay | Com1 | Second Action
CDO-00010089 | 08/19/2025 | 02:11 pm - 02:12 pm | BACULIO | CKF Ref & Airconditioning Services | , B6 L24 Ph3, Villa Trinitas, Bugo, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0965-23160108 | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of parts |  | 08/19/2025 | 08/19/2025 02:14 pm | 08/19/2025 02:16 pm | Findings - sale of parts, , , Recommendation - , , , Repair Done - Sale of parts PCB Assembly & Sensor | Com1 | Customer Lounge
CDO-00010090 | 08/19/2025 | 02:19 pm - 02:20 pm | BACULIO | Bongcayao, Jack | , , , Carmen, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0926-2337847 | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of parts |  | 08/19/2025 | 08/19/2025 02:22 pm | 08/19/2025 02:24 pm | Findings - Sale of parts, , , Recommendation - , , , Repair Done - Sale of parts Sensor | Com1 | Customer Lounge
CDO-00010091 | 08/19/2025 | 02:27 pm - 02:27 pm | BACULIO | GAB Air Conditioning | , 2nd cor 19 st, , Nazareth, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0997-2078111 | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of parts |  | 08/19/2025 | 08/19/2025 02:29 pm | 08/19/2025 02:31 am | Findings - Sale of parts, , , Recommendation - , , , Repair Done - Sale of parts PCB Assembly | Com1 | Customer Lounge
CDO-00010092 | 08/19/2025 | 04:31 pm - 04:32 pm | BACULIO | Dinglasa, Jovelyn | , Purok 3, , Upper Calarian, ZAMBOANGA CITY, Zamboanga del Sur | 0955-5861605 | KWD-BLC-3088S | April Gem | EMCOR INC. | TS | DC | W | Dripping/ Water Leak | Emcor- CDO | DC c/o Emcor Inc. checked up already | 1 | 08/19/2025 | 08/19/2025 04:09 pm | 08/19/2025 04:20 pm | Findings - Water Leaking,over flowing unit, , , Recommendation - for replacement of new unit, , , Repair Done - check up, for PRS as per Emcor Service due to cover with in 7day from DOP | Inc-17 | E-mail
CDO-00010093 | 08/20/2025 | 11:14 am - 11:15 am | BACULIO | Yu, Agnes | , PHASE 1 B-11 L11 SHINGTO B,, , Cayutan , SURIGAO CITY (Capital), Surigao Del Norte | 0966-5473355 | KSM-IW25-WCT10M1M32 | Melanie | MINDANAO SOLIDMARK | INST | DC | C | For Installation | Queenkrist Ref & Aircon Parts & Services | DC c/o Queenkrist ASC,Install SAC | 1 | 08/19/2025 | 08/19/2025 01:40 pm | 08/19/2025 05:10 pm | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00010094 | 08/20/2025 | 11:17 am - 11:19 am | BACULIO | Paqueo, Allan | , , , , SURIGAO CITY (Capital), Surigao del Norte | 0999-9909356 | KSM-IW15-WCT10M1M32 | Melanie | MINDANAO SOLIDMARK | INST | DC | C | For Installation | Queenkrist Ref & Aircon Parts & Services | DC c/o Queenkrist ASC,Install SAC | 1 | 08/19/2025 | 08/19/2025 09:40 am | 08/19/2025 12:50 pm | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00010095 | 08/20/2025 | 11:22 am - 11:23 am | BACULIO | Zerda, Esmeraldo | , , , Silop, SURIGAO CITY (Capital), Surigao Del Norte | 0912-1636344 | KSM-IW10-WCT10M1M32 | Melanie | MINDANAO SOLIDMARK | INST | DC | C | For Installation | Queenkrist Ref & Aircon Parts & Services | DC c/o Queenkrist ASC,Install SAC | 1 | 08/19/2025 | 08/19/2025 09:40 am | 08/19/2025 12:50 pm | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00010096 | 08/20/2025 | 11:26 am - 11:26 am | BACULIO | Ga, Genalyn | , P 2 CAYUTAN, , Cagniog, SURIGAO CITY (Capital), Surigao Del Norte | 0970-0269162 | KSM-IW15-WCT10M1M32 | Melanie | MINDANAO SOLIDMARK | INST | DC | C | For Installation | Queenkrist Ref & Aircon Parts & Services | DC c/o Queenkrist ASC,Install SAC | 1 | 08/20/2025 | 08/19/2025 02:40 pm | 08/19/2025 05:30 pm | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00010097 | 08/20/2025 | 11:30 am - 11:32 am | BACULIO | Emam, Imran | , 199-9B Cabato Road, ST. Ignatius Vill., Tetuan, ZAMBOANGA CITY, Zamboanga del Sur | 0916-6719905 | KSM-IW25-WCT10M1M32 | Bens | ABENSON INC. | INST | DC | C | For Installation | Ree Cooling Services | DC c/o Reecooling ASC,Install SAC | 1 | 08/20/2025 | 08/20/2025 10:00 am | 08/20/2025 04:56 pm | Findings - Unit for install, , Recommendation - Installation, , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00010098 | 08/20/2025 | 11:34 am - 11:35 am | BACULIO | Life Plus Diagnostic Supply | , B10-L18 Ignatius Enclave P1, X.E P6, , Upper Balulang, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0916-5570606 | KSM-IW20-WCT10M1M32 | Roselle | ROBINSONS | INST | DC | C | For Installation | GAB Appliance Service Center - Cebu | DC c/o GAB ASC,Install SAC | 1 | 08/19/2025 | 08/19/2025 09:30 am | 08/19/2025 02:30 pm | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00010099 | 08/20/2025 | 11:38 am - 11:38 am | BACULIO | Serra, Gelyn | , ZONE 7 Cabalalahan, , Agusan, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0985-2361423 | KSM-IW10-WCT10M1M32 | Roselle | ABENSON INC. | INST | DC | C | For Installation | GAB Appliance Service Center - Cebu | DC c/o GAB ASC,Install SAC | 1 | 08/19/2025 | 08/19/2025 05:00 pm | 08/19/2025 08:30 pm | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00010100 | 08/20/2025 | 01:08 pm - 01:09 pm | BACULIO | Papadayan, Wenida | , Blk 30 Lot 25 La BuenaVida Gran Europa, , Bgry. Lumpia, CAGAYAN DE ORO CITY (Capital), | 0908-8866148 | KSM-20MB1INV | Jane |  | TS | FD | C | Not Cooling | BRO Refrigeration and Air-conditioning Services | Relayed to Bro ASC, for check up & repair | 1 | 08/21/2025 | 08/22/2025 04:00 pm | 08/22/2025 07:00 pm | Findings - No leaked. Unit was newly reinstalled with empty refrigerant., , , Recommendation - System reprocess and charging refrigerant, , , Repair Done - System reprocess and charging refrigerant | Com1 | Social Media
CDO-00010101 | 08/20/2025 | 04:22 pm - 04:22 pm | BACULIO | Muyong, Aisa | , , , Canelar, ZAMBOANGA CITY, Zamboanga del Sur | 0936-4981291 | KSM-IW20-WCT10M1M32 | Desiree | PRICEWISE MARKETING CORP | INST | DC | C | For Installation | Marjon Cool Ref. & Aircon Service Center Co. | DC c/o Marjon ASC,Install SAC | 1 | 08/20/2025 | 08/25/2025 11:00 am | 08/25/2025 03:00 pm | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00010102 | 08/20/2025 | 04:40 pm - 04:41 pm | BACULIO | Vida, Esterlita Sepe | , , , Molugan, CITY OF EL SALVADOR, Misamis Oriental | 0917-5102816 | KSG-IWF-15WFY-8K1M32-I | Sol | VIC IMPERIAL APP | INST | DC | C | For Installation | CKF Ref & Airconditioning Services | DC c/o CKF ASC,Install SAC | 1 | 08/20/2025 | 08/20/2025 12:39 pm | 08/20/2025 02:50 pm | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00010103 | 08/20/2025 | 04:44 pm - 04:45 pm | BACULIO | Vida, Esterlita Sepe | , , , Molugan, CITY OF EL SALVADOR, Misamis Oriental | 0917-5102816 | KSG-IWF-15WFY-8K1M32-I | Sol | VIC IMPERIAL APP | INST | DC | C | For Installation | CKF Ref & Airconditioning Services | DC c/o CKF ASC,Install SAC | 1 | 08/20/2025 | 08/20/2025 12:33 pm | 08/20/2025 03:10 pm | Findings - Unit for install, , Recommendation - Installation, , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00010104 | 08/20/2025 | 04:45 pm - 04:46 pm | BACULIO | Vida, Esterlita Sepe | , , , Molugan, CITY OF EL SALVADOR, Misamis Oriental | 0917-5102816 | KSG-IWF-30WFY-8K1M32-I | Sol | VIC IMPERIAL APP | INST | DC | C | For Installation | CKF Ref & Airconditioning Services | DC c/o CKF ASC,Install SAC | 1 | 08/20/2025 | 08/22/2025 03:15 pm | 08/22/2025 05:57 pm | Findings - Unit for install, , Recommendation - Installation, , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00010105 | 08/20/2025 | 04:46 pm - 04:46 pm | BACULIO | Vida, Esterlita Sepe | , , , Molugan, CITY OF EL SALVADOR, Misamis Oriental | 0917-5102816 | KSG-IWF-30WFY-8K1M32-I | Sol | VIC IMPERIAL APP | INST | DC | C | For Installation | CKF Ref & Airconditioning Services | DC c/o CKF ASC,Install SAC | 1 | 08/20/2025 | 08/22/2025 09:45 am | 08/22/2025 01:20 pm | Findings - Unit for install, , Recommendation - Installation, , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00010106 | 08/20/2025 | 04:46 pm - 04:47 pm | BACULIO | Vida, Esterlita Sepe | , , , Molugan, CITY OF EL SALVADOR, Misamis Oriental | 0917-5102816 | KSG-IWF-25WFY-8K1M32-I | Sol | VIC IMPERIAL APP | INST | DC | C | For Installation | CKF Ref & Airconditioning Services | DC c/o CKF ASC,Install SAC | 1 | 08/20/2025 | 08/22/2025 09:50 am | 08/22/2025 01:32 pm | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00010107 | 08/20/2025 | 04:47 pm - 04:48 pm | BACULIO | Vida, Esterlita Sepe | , , , Molugan, CITY OF EL SALVADOR, Misamis Oriental | 0917-5102816 | KSG-IWF-15WFY-8K1M32-I | Sol | VIC IMPERIAL APP | INST | DC | C | For Installation | CKF Ref & Airconditioning Services | DC c/o CKF ASC,Install SAC | 1 | 08/20/2025 | 08/22/2025 01:45 pm | 08/22/2025 05:15 pm | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed CAC/started up | Com1 | E-mail
CDO-00010108 | 08/22/2025 | 08:18 am - 08:19 am | BACULIO | Ollave, Gracelea | , , , Lower Calarian, ZAMBOANGA CITY, Zamboanga del Sur | 0995-9878983 | KSM-IW10-WCT10M1M32 | Desiree | PRICEWISE MARKETING CORP | INST | DC | C | For Installation | Marjon Cool Ref. & Aircon Service Center Co. | DC c/o Marjon ASC,Install SAC | 1 | 08/21/2025 | 08/21/2025 10:00 am | 08/21/2025 04:30 pm | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00010109 | 08/22/2025 | 08:24 am - 08:25 am | BACULIO | Tianzon , Juliet | , VACAS COMPOUND Z3 , , Kauswagan, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0917-8159006 | KSG-IWF-15WFY-8K1M32-I | Genryl | EMCOR INC. | INST | DC | C | For Installation | Emcor- CDO | DC c/o Emcor Inc. Install SAC | 1 | 08/22/2025 | 08/14/2025 09:30 am | 08/14/2025 02:25 pm | Findings - Unit for install, , Recommendation - Installation, , Repair Done - Installed SAC/started up,late controlled for record purposes/reference | Com1 | E-mail
CDO-00010110 | 08/22/2025 | 08:28 am - 08:29 am | BACULIO | JREV IT SOLUTION | U2 2ND FLR CENA BLDG, , LANDING SAN ISIDRO, , , TALAKAG, Bukidnon | 0977-6331887 | KSG-IWF-15WFY-8K1M32-I | Genryl | EMCOR INC. | INST | DC | C | For Installation | Emcor- CDO | DC c/o Emcor Inc. Install SAC | 1 | 08/19/2025 | 08/19/2025 10:30 am | 08/19/2025 04:20 pm | Findings - Unit for install, , Recommendation - Installation, , Repair Done - Installed SAC/started up,late controlled for record purposes/reference | Com1 | E-mail
CDO-00010111 | 08/22/2025 | 08:32 am - 08:33 am | BACULIO | Yasay, Fernando | , Z2, , BONBON , OPOL, Misamis Oriental | 0968-8549628 | KSM-IW10-WCT10M1M32 | Genryl | EMCOR INC. | INST | DC | C | For Installation | Emcor- CDO | DC c/o Emcor Inc. Install SAC | 1 | 08/16/2025 | 08/16/2025 09:50 am | 08/16/2025 03:25 pm | Findings - Unit for install, , Recommendation - Installation, , Repair Done - Installed SAC/started up,late controlled for record purposes/reference | Com1 | E-mail
CDO-00010112 | 08/22/2025 | 08:35 am - 08:36 am | BACULIO | Lara, Romeo | , Z7 , , Bacoong, OPOL, Misamis Oriental | 0975-3007009 | KSM-IW15-WCT10M1M32 | Genryl | EMCOR INC. | INST | DC | C | For Installation | Emcor- CDO | DC c/o Emcor Inc. Install SAC | 1 | 08/18/2025 | 08/18/2025 09:30 am | 08/18/2025 03:00 pm | Findings - Unit for install, , Recommendation - Installation, , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00010113 | 08/22/2025 | 08:43 am - 08:43 am | BACULIO | Artiaga, Teofila | , JP Rizal St. , , Poblacion, TAGOLOAN, Misamis Oriental | 0915-3450772 | KSM-IW15-WCT10M1M32 | Sol | MINDANAO SOLIDMARK | INST | DC | C | For Installation | CKF Ref & Airconditioning Services | DC c/o CKF ASC,Install SAC | 1 | 08/21/2025 | 08/21/2025 09:52 am | 08/21/2025 01:45 pm | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed CAC/started up | Com1 | E-mail
CDO-00010114 | 08/22/2025 | 02:30 pm - 02:32 pm | BACULIO | Dela Sierra, Venus | , , , Poblacion, BACOLOD, Lanao del Norte | 0975-0869125 | KSM-IW10-WCT10M1M32 | Azlie | MINDANAO SOLIDMARK | INST | DC | C | For Installation | Widgets | DC c/o Widgets ASC,Install SAC | 1 | 08/16/2025 | 08/16/2025 01:00 pm | 08/16/2025 03:50 pm | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed CAC/started up | Com1 | E-mail
CDO-00010115 | 08/22/2025 | 03:11 pm - 03:12 pm | BACULIO | Adjilani, Fadzrama | , Logoy Diutay, , talon-talon, ZAMBOANGA CITY, Zamboanga del Sur | 0917-4790002 | KAM-150CMC32 | Desiree | PRICEWISE MARKETING CORP | TS | DC | W | Not Cooling | Marjon Cool Ref. & Aircon Service Center Co. | DC c/o Marjon ASC,check up | 1 | 08/22/2025 | 08/22/2025 10:30 am | 08/22/2025 11:10 am | Findings - Not cooling, open winding compressor,, , Recommendation - for parts replacement, , , , Repair Done - Check up, request for compressor | Inc-06 | E-mail
CDO-00010116 | 08/23/2025 | 10:18 am - 10:18 am | BACULIO | Cold Pro Refrigeration & Airconditioning Service Center | , , Calamansi Drive, Carmen, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0995-5900294 | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of parts | 1 | 08/23/2025 | 08/23/2025 10:21 am | 08/23/2025 10:23 am | Findings - sale of parts, , , Recommendation - , , , Repair Done - Sale of parts Temp. sensor Assy | Com1 | Customer Lounge
CDO-00010117 | 08/23/2025 | 11:08 am - 11:08 am | BACULIO | Ree Cooling Services | , Lot 4A, Zone 1, Divisoria, ZAMBOANGA CITY, Zamboanga del Sur | 0926-4415918 | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of parts | 1 | 08/23/2025 | 08/23/2025 11:14 am | 08/23/2025 11:16 am | Findings - Sale of parts, , , Recommendation - , , , Repair Done - Sale of parts PCB Assembly & fan motor Indoor | Com1 | Customer Lounge
CDO-00010118 | 08/23/2025 | 11:26 am - 11:26 am | BACULIO | Marjon Cool Service Center | , , , Baliwasan Moret, ZAMBOANGA CITY, Zambonga del Norte | 0926-8178786 | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of parts |  | 08/23/2025 | 08/23/2025 11:28 am | 08/23/2025 11:30 am | Findings - Sale of parts, , , Recommendation - , , , Repair Done - Sale of parts Selector Switch | Com1 | Customer Lounge
CDO-00010119 | 08/23/2025 | 02:44 pm - 02:45 pm | BACULIO | Vollmer, Keith Joy | , Villa Rosario, , Casinglot, TAGOLOAN, Misamis Oriental | 0917-1548813 | KLG-SF40-WBR6H1M32-I | Jeanelyn | ASIAN HOMES | INST | DC | C | For Installation | BRO Refrigeration and Air-conditioning Services | DC c/o Bro ASC,Install FAC Type | 1 | 08/23/2025 | 08/23/2025 11:00 am | 08/23/2025 03:00 pm | Findings - Unit for install, , Recommendation - Installation, , Repair Done - Installed FAC/started up | Com1 | E-mail
CDO-00010120 | 08/26/2025 | 09:40 am - 09:41 am | BACULIO | M and O Glass Aluminum Co. | , , , Katipunan, VILLANUEVA, Misamis Oriental | 0905-8824238 | KSM-IW15-WCT10M1M32 | Jeanelyn | ASIAN HOMES | INST | DC | C | For Installation | BRO Refrigeration and Air-conditioning Services | DC c/o Bro ASC,Install SAC | 1 | 08/25/2025 | 08/25/2025 05:00 pm | 08/25/2025 08:00 pm | Findings - Unit for install, , Recommendation - Installation, , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00010121 | 08/26/2025 | 10:19 am - 10:20 am | BACULIO | DPWH-CDO 2nd DEO | , Julio Pacana St. , , Macabalan, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0917-9627126 | KLG-IF40-5G1M32-I | Sol | VIC IMPERIAL APP | INST | DC | C | For Installation | CKF Ref & Airconditioning Services | DC c/o CKF ASC,Install FAC Type | 1 | 08/25/2025 | 08/26/2025 10:19 am | 08/26/2025 02:35 pm | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed FAC/started up | Com1 | E-mail
CDO-00010122 | 08/26/2025 | 10:30 am - 10:31 am | BACULIO | Imperial Appliance Plaza- Surigao | , , , Taft, SURIGAO CITY (Capital), Surigao del norte | 0910-5535011 | KAM-55CMC32 | Melanie |  | TS | DC | W | Not Cooling | Queenkrist Ref & Aircon Parts & Services | DC c/o queenkrist ASC.for check up | 1 | 08/23/2025 | 08/23/2025 04:00 pm | 08/23/2025 05:00 pm | Findings - Defective thermostat, , , Recommendation - for parts replacement, , , Repair Done - Check up, need Parts | Inc-06 | E-mail
CDO-00010123 | 08/26/2025 | 10:31 am - 10:32 am | BACULIO | Imperial Appliance Plaza- Surigao | , , , Taft, SURIGAO CITY (Capital), Surigao del norte | 0910-5535011 | KAM-55CMC32 | Jane |  | TS | FD | W | Not Cooling | Queenkrist Ref & Aircon Parts & Services | RElayed to Queenkrist ASC,Parts for pouch thru LBC 81185464165 8-27-2025 | 2 | 08/29/2025 |  |  |  |  | Mobile Hotline
CDO-00010124 | 08/26/2025 | 10:44 am - 10:45 am | BACULIO | Ambit, Maribith | , Borromeo St., , Washington, SURIGAO CITY (Capital), Surigao Del Norte | 0950-6756778 | KSIF-405WB1 | Melanie | VIC IMPERIAL APP | TS | DC | W | Not Cooling | Queenkrist Ref & Aircon Parts & Services | DC c/o Queenkrist ASC,for check up | 1 | 08/23/2025 | 08/23/2025 03:00 pm | 08/23/2025 05:00 pm | Findings - thermostat setting not set properly, , , Recommendation - Resetting Thermostat, , , Repair Done - Observe & adjust setting, unit is ok | Com1 | E-mail
CDO-00010125 | 08/26/2025 | 10:49 am - 10:49 am | BACULIO | GTINIO ENTERPRISES | , , , , DAPA, Surigao Del Norte | 0939-9072175 | KAM-55CMC32 | Melanie | VIC IMPERIAL APP | TS | DC | W | Auto On / Off | Queenkrist Ref & Aircon Parts & Services | DC c./o Queenkrist ASC,for check up | 1 | 08/25/2025 | 08/25/2025 10:00 am | 08/25/2025 11:15 am | Findings - Suddenly Shut off when set to fan, , , Recommendation - Thermostat parts incorrectly placed, , , Repair Done - Check up & Resetting Thermostat,unit is okay | Com1 | E-mail
CDO-00010126 | 08/26/2025 | 10:52 am - 10:53 am | BACULIO | Salmayor, Ronil | , L-1 B10 , Teachers Vill., Cagniog, SURIGAO CITY (Capital), Surigao Del Norte | 0909-8772673 | KSM-IW20-WCT10M1M32 | Melanie | MINDANAO SOLIDMARK | INST | DC | C | For Installation | Queenkrist Ref & Aircon Parts & Services | DC c/o Queenkrist ASC,Install SAC | 1 | 08/25/2025 | 08/25/2025 01:00 pm | 08/25/2025 04:05 pm | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00010127 | 08/26/2025 | 10:56 am - 10:59 am | BACULIO | Lisondra IV, Rustico | , Sitio Cabalawan, , Rizal, SURIGAO CITY (Capital), Surigao Del Norte | 0908-8850554 | KSM-IW10-WCT10M1M32 | Melanie | MINDANAO SOLIDMARK | INST | DC | C | For Installation | Queenkrist Ref & Aircon Parts & Services | DC c/o Queenkrist ASC,Install SAC | 1 | 08/25/2025 | 08/25/2025 03:00 pm | 08/25/2025 06:00 pm | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00010128 | 08/26/2025 | 11:00 am - 11:01 am | BACULIO | Ilano, Sofia | , Bacud, , Brgy. Luna, SURIGAO CITY (Capital), Surigao Del Norte | 0950-6717417 | KLG-IF40-5G1M32-I | Melanie | MINDANAO SOLIDMARK | INST | DC | C | For Installation | Queenkrist Ref & Aircon Parts & Services | DC c/o Queenkrist ASC,Install FAC Type | 1 | 08/25/2025 | 08/25/2025 02:00 pm | 08/25/2025 05:00 pm | Findings - Unit for install, , Recommendation - Installation, , Repair Done - Installed FAC/started up | Com1 | E-mail
CDO-00010129 | 08/26/2025 | 11:05 am - 11:05 am | BACULIO | Maniri, Tracy | , GUILLERMO LAVI脩A AVE., , Poblacion, CITY OF VALENCIA, Bukidnon | 0966-4439633 | KSG-IWF-10WFY-8K1M32-I | Roselle | ROBINSONS | INST | DC | C | For Installation | GAB Appliance Service Center - Cebu | DC c/o GAB ASC,Install SAC | 1 | 08/22/2025 | 08/22/2025 09:40 am | 08/22/2025 03:00 pm | Findings - Unit for install, , Recommendation - Installation, , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00010130 | 08/26/2025 | 11:20 am - 11:22 am | BACULIO | Castro, Donna Mae | , Valbuena St. , , Bugo, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0965-8659633 | KSIF-255WB1 | Sol | ASIAN HOMES | TS | DC | W | Not Cooling | CKF Ref & Airconditioning Services | DC c/o CKF ASC,for check up, Temperature rise & No light | 1 | 08/26/2025 | 08/26/2025 09:14 am | 08/26/2025 10:20 am | Findings - Temperature Arise/No light/Thermostat Malfunction, , , Recommendation - for parts replacement, , , Repair Done - Check up,Need Thermostat Sensor | Inc-06 | E-mail
CDO-00010131 | 08/26/2025 | 02:15 pm - 02:16 pm | BACULIO | DPWH-CDO 2nd DEO | , Julio Pacana St. , , Macabalan, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0917-9627126 | KLG-IF40-5G1M32-I | Sol | VIC IMPERIAL APP | INST | DC | C | For Installation | CKF Ref & Airconditioning Services | DC c/o CKF ASC,Install FAC Type | 1 | 08/26/2025 | 08/26/2025 10:19 am | 08/26/2025 02:35 pm | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed FAC/started up | Com1 | E-mail
CDO-00010132 | 08/26/2025 | 02:16 pm - 02:17 pm | BACULIO | DPWH-CDO 2nd DEO | , Julio Pacana St. , , Macabalan, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0917-9627126 | KLG-IF40-5G1M32-I | Sol | VIC IMPERIAL APP | INST | DC | C | For Installation | CKF Ref & Airconditioning Services | DC c/o CKF ASC,Install FAC Type | 1 | 08/26/2025 | 08/26/2025 02:47 pm | 08/26/2025 06:10 pm | Findings - Unit for install, , Recommendation - Installation, , Repair Done - Installed FAC/started up | Com1 | E-mail
CDO-00010133 | 08/27/2025 | 09:31 am - 09:32 am | BACULIO | Castro, Donna Mae | , Valbuena St. , , Bugo, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0965-8659633 | KSIF-255WB1 | Jane | ASIAN HOMES | TS | FD | W | Not Cooling | CKF Ref & Airconditioning Services | Relayed to CKF ASC,parts for pick up | 1 | 08/28/2025 | 08/29/2025 09:45 am | 08/29/2025 10:55 am | Findings - Defective board / defective light switch bulb , , , , Recommendation - Need board replacement & light bulb, , , , Repair Done - Board replaced | Com1 | Second Action
CDO-00010134 | 08/27/2025 | 09:45 am - 09:46 am | BACULIO | CKF Ref & Airconditioning Services | , B6 L24 Ph3, Villa Trinitas, Bugo, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0965-23160108 | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of parts |  | 08/27/2025 | 08/27/2025 09:49 am | 08/27/2025 09:51 am | Findings - Sale of parts, , , Recommendation - , , , Repair Done - Sale of parts PCB Assembly Indoor | Com1 | Customer Lounge
CDO-00010135 | 08/27/2025 | 10:00 am - 10:01 am | BACULIO | Irtech Aircon & Refrigeration Services | , , NHA Olape Compound Phase 3, Kauswagan, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0975-2757024 | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of parts |  | 08/27/2025 | 08/27/2025 10:00 am | 08/27/2025 10:07 am | Findings - Sale of part, , , Recommendation - , , , Repair Done - Sale of parts Remote control | Com1 | Customer Lounge
CDO-00010136 | 08/27/2025 | 10:11 am - 10:12 am | BACULIO | Cold Pro Refrigeration & Airconditioning Service Center | , , Calamansi Drive, Carmen, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0995-5900294 | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of parts |  | 08/27/2025 | 08/27/2025 10:13 am | 08/27/2025 10:15 am | Findings - sale of parts, , , Recommendation - , , , Repair Done - Sale of parts Fan motor | Com1 | Customer Lounge
CDO-00010137 | 08/27/2025 | 12:48 pm - 12:49 pm | BACULIO | Apas, Verna | , Cypress St. Blk.4 - Lot 21 , Velmiro Uptown, Upper Canitoan, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0906-8368341 | KSM-IW25-WCT10M1M32 | Sol | ALL HOME | INST | DC | C | For Installation | CKF Ref & Airconditioning Services | DC c/o CKF ASC,Install SAC | 1 | 08/27/2025 | 08/27/2025 10:34 am | 08/27/2025 03:15 pm | Findings - Unit for install, , Recommendation - Installation, , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00010138 | 08/29/2025 | 02:15 pm - 02:17 pm | BACULIO | Palad, Steffany Sorino | , B1 Relocation Zone 5, , Brgy. Mohon, TAGOLOAN, Misamis oriental | 0998-1726788 | KAG-75WCINV | Jane | VIC IMPERIAL APP | GC | FD | C | For GC | BRO Refrigeration and Air-conditioning Services | Relayed to Bro ASC,customer request schedule on Sept. 3,2025 morning | 1 | 2025-03-09 |  |  |  |  | Social Media
CDO-00010139 | 08/29/2025 | 02:30 pm - 02:31 pm | BACULIO | RKDV KAMBINGAN | , , , Macasandig, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0917-1763352 | KLG-IF40-5G1M32-I | Sol | MINDANAO SOLIDMARK | INST | DC | C | For Installation | CKF Ref & Airconditioning Services | DC c/o CKF ASC,Install FAC Type | 1 | 08/28/2025 | 08/28/2025 01:29 am | 08/28/2025 04:50 pm | Findings - Unit for install, , Recommendation - Installation, , Repair Done - Installed FAC/started up | Com1 | E-mail
CDO-00010140 | 08/29/2025 | 02:32 pm - 02:33 pm | BACULIO | RKDV KAMBINGAN | , , , Macasandig, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0917-1763352 | KLG-IF40-5G1M32-I | Sol | MINDANAO SOLIDMARK | INST | DC | C | For Installation | CKF Ref & Airconditioning Services | DC c/o CKF ASC, install FAC Type | 1 | 08/28/2025 | 08/28/2025 01:40 pm | 08/28/2025 05:35 pm | Findings - Unit for install, , Recommendation - Installation, , Repair Done - Installed FAC/started up | Com1 | E-mail
CDO-00010141 | 08/29/2025 | 02:39 pm - 02:40 pm | BACULIO | Sulialam, Qatrafaica | , Ituralde Drive, , Talon-talon, ZAMBOANGA CITY, Zamboanga del Sur | 0916-6119338 | KSM-IW10-WCT10M1M32 | Desiree | PRICEWISE MARKETING CORP | INST | DC | C | For Installation | Marjon Cool Ref. & Aircon Service Center Co. | DC c/o Marjon ASC,install SAC | 1 | 08/28/2025 | 08/28/2025 09:30 am | 08/28/2025 01:30 pm | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00010142 | 08/29/2025 | 02:40 pm - 02:41 pm | BACULIO | Sulialam, Qatrafaica | , Ituralde Drive, , Talon-talon, ZAMBOANGA CITY, Zamboanga del Sur | 0916-6119338 | KSM-IW10-WCT10M1M32 | Desiree | PRICEWISE MARKETING CORP | INST | DC | C | For Installation | Marjon Cool Ref. & Aircon Service Center Co. | DC c/o Marjon ASC,Install SAC | 1 | 08/30/2025 | 08/30/2025 01:00 pm | 08/30/2025 03:00 pm | Findings - Unit for install, , Recommendation - Installation, , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00010143 | 08/29/2025 | 04:17 pm - 04:18 pm | BACULIO | MI & I Refrigeration And Airconditioning Services | , Cadena de Amor, , Guiwan, ZAMBOANGA CITY, Zamboanga del Sur | 0962-069328 | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of parts |  | 08/29/2025 | 08/29/2025 04:19 pm | 08/29/2025 04:21 pm | Findings - Sale of parts, , , Recommendation - , , , Repair Done - Sale of parts Remote control | Com1 | Customer Lounge
CDO-00010144 | 08/29/2025 | 04:48 pm - 04:51 pm | BACULIO | Castro, Donna Mae | , Valbuena St. , , Bugo, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0965-8659633 | KSIF-255WB1 | Jane | ASIAN HOMES | TS | DC | W | Without Light | CKF Ref & Airconditioning Services | DC c/o CKF ASC, parts pick up 8-29-2025 | 3 | 08/29/2025 | 08/29/2025 09:45 am | 08/29/2025 10:55 am | Findings - Defective board / defective light switch bulb, , , , , Recommendation - Board Replacement / Big light switch bulb replacement, , , , , Repair Done - board replaced / Light Bulb replaced, unit okay | Com1 | Second Action
CDO-00010145 | 08/30/2025 | 01:19 pm - 01:20 pm | BACULIO | Jadap, Jester John | , 864 Zone 3, , Bonbon, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0917-7230223 | KSM-IW10-WCT10M1M32 | Roselle | ROBINSONS | INST | DC | C | For Installation | Gab Appliance Service Center - CDO | DC c/o GAB ASC,Install sac | 1 | 08/26/2025 | 08/26/2025 02:00 pm | 08/26/2025 04:45 pm | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00010146 | 08/30/2025 | 01:23 pm - 01:25 pm | BACULIO | Maute, Amor | , P-5 TCES, , , TUBOD (Capital), Zamboanga del Norte | 0997-2386665 | KSM-IW10-WCT10M1M32 | Azlie | MINDANAO SOLIDMARK | INST | DC | C | For Installation | Widgets | DC c/o Widgets ASC,Install SAC | 1 | 08/23/2025 | 08/23/2025 09:00 am | 08/23/2025 11:50 am | Findings - Unit for install, , Recommendation - Installation, , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00010147 | 08/30/2025 | 03:27 pm - 03:28 pm | BACULIO | Chavez, Mininsyo | , , Chavez Village, Kauswagan, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0966-3352051 | SAC-INV | Sol | MINDANAO SOLIDMARK | INST | DC | C | For Installation | CKF Ref & Airconditioning Services | DC c/o CKF ASC,Install SAC | 1 | 08/30/2025 |  |  |  |  | E-mail
CDO-00010148 | 08/30/2025 | 03:32 pm - 03:33 pm | BACULIO | West Metro Medical Center | , , , Veterans Ext, ZAMBOANGA CITY, Zambonga del Norte | 0926-7093616 | KSM-IW15-WCT10M1M32 | Janet |  | INST | DC | C | For Installation | MI & I Refrigeration | DC c/o Mi & I ASC,Install SAC | 1 | 08/30/2025 | 08/30/2025 09:40 am | 08/30/2025 03:35 pm | Findings - Unit for install, , Recommendation - Installation, , Repair Done - Installed SAC/started up | Com1 | E-mail
Legend:
PAO - Pick-up Admin Orders
DPO - Deliver of Dealer P.O.
DEF - Change Item
FAB - Fabrication of Bracket
CL - Copper Tube Claims
DEL - Delivery of Unit / Accessories
DSM - Dismantling
FPO - Unit for Pull-out
GC - General Cleaning
INST - Installation
MRK - Markings
PV - Project Visit
REP - Replacement as per dealer request
REPL - Replacement of Unit
SCF - Deliver / Pull-out of Scaffolding
SP - Sale of Parts
STU - Start-up
SVEY - Survey
TS - Troubleshooting
DIS - Dispose Parts
PGC - Pumpdown General Cleaning
Summary Per Job Type
JOB CLASS | CC | WI | BI | PO | FD | DC | RD | RM | TP | TOTAL
PAO | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DPO | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DEF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FAB | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CL | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DEL | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DSM | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FPO | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
GC | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 1 | 0 | 3
INST | 0 | 0 | 0 | 0 | 0 | 123 | 0 | 0 | 0 | 123
MRK | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PV | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REP | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REPL | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SCF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SP | 0 | 27 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 27
STU | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SVEY | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TS | 0 | 0 | 1 | 0 | 11 | 14 | 0 | 0 | 0 | 26
DIS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PGC | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL | 0 | 27 | 1 | 0 | 13 | 137 | 0 | 1 | 0 | 179