## sjr_masterlist (13)
FROM : | 2025-01-12 | TO : | 12-31-2025
Location Warehouse : | DAVAO BRANCH
User : | All User
SJR No. | SJR Date | SJR Start/End Time | CSR Code | Customer Name | Address | Contact No. | Model | Relayed By | Dealer | Job Class | Job Type | Wty Type | Complaint | Tech Name | SJR Notes | No. of Visit | Promised Date | Date Attended | Date Finished | Repair Done | Job Status | Call Origin
DAV-00005458 | 2025-01-12 | 11:58 am - 11:59 am | cordova | RJJ-HORSE POWER AIRCONDITIONING SERVICES Pontevedra, Charity | Blk 25 Lot 8 Phase 1, Molave St., Kadayawan Homes NHA Bangkal, N/a, DAVAO CITY, Davao del Sur | 0917-8881294 | KSM-IW10-WCT10M1M32 | RJJ | ROBINSONS | INST | DC | C | For Installation | RJJ Horse Power Airconditioning Services | Done Install | 1 | 11/28/2025 | 12/28/2025 03:00 pm | 12/28/2025 07:05 am | Findings - INSTALLATION, Recommendation - GENERAL CLEANING EVERY 3 MONTHS, Repair Done - INSTALLED | Com1 | Mobile Hotline - SMS & Call
DAV-00005459 | 2025-01-12 | 01:33 pm - 01:34 pm | cordova | CERVANTES, ELVIE | N/A, 2341 ROXAS S, N/A, NEW PANDAN,, CITY OF PANABO, DAVAO DEL NORTE | 0921-2892947 | KSG-IWF-30WFY-8K1M32-I | Emcor | EMCOR INC. | INST | DC | C | For Installation | Emcor - Davao |  | 1 | 2025-10-11 | 2025-10-11 12:00 | 2025-10-11 16:00 | Findings - Installation , Recommendation - For Installation, Repair Done - Installation Done | Com1 | E-mail / DCSJO
DAV-00005460 | 2025-02-12 | 09:11 am - 09:13 am | cordova | RJJ Horse Power Air-conditioning Services | , , , Bucana Talomo District, DAVAO CITY, Davao Del Sur | 0917-7857-745 | n/a |  |  | SP | WI | COS | Sales of Parts | RJJ Horse Power Airconditioning Services | Sale of Parts | 1 | 2025-02-12 | 2025-02-12 09:00 | 2025-02-12 09:00 | Findings - Sale of parts, Recommendation - N/A , Repair Done - Sale of Parts | Com1 | Customer Lounge
DAV-00005461 | 2025-02-12 | 09:31 am - 09:32 am | cordova | Ny, Rina | , , Ecoland Phase 1 Corner GTH ST.,, , DAVAO CITY, Davao Del Sur | 0917-1530517 | KAM-55CMC32 |  |  | TS | BI | C | Not Cooling | Geffrey Perez, Joselito Salibay Jr. |  |  | 2025-02-12 | 12/15/2025 01:00 pm | 12/15/2025 01:40 pm | Findings - defective fan motor , Recommendation - , Repair Done - done replace fan motor | Com1 | Customer Lounge
DAV-00005462 | 2025-02-12 | 10:38 am - 10:40 am | cordova | Dojo, Marianne | Blk 17 Lot 20 , Mariveles St. , Bermudez Plains Apokon , Tagum , CITY OF TAGUM (Capital), Davao del Norte | 0985-3273609 | KSM-IW15-WCT10M1M32 | RJJ | ROBINSONS | INST | DC | C | For Installation | RJJ Horse Power Airconditioning Services | Done install | 1 | 10/30/2025 | 11/30/2025 10:00 am | 11/30/2025 02:30 pm | Findings - Installation, Recommendation - N/A, Repair Done - INSTALLED | Com1 | E-mail / DCSJO
DAV-00005463 | 2025-02-12 | 11:06 am - 11:12 am | cordova | ORDANZA, ANDRESA | BERNALES SUBD., PUROK SAN AGUSTIN, BERNALES SUBD., POBLACION, POLOMOLOK, SOUTH COTABATO | 0939-9244279 | KAM-100DRC32 | Emcor Gensan | EMCOR INC. | TS | DC | P | Remote not Functioning | Emcor - Davao | For Replace of remote | 1 | 2025-10-12 | 2025-04-12 13:00 | 2025-04-12 13:00 | Findings - Replace remote , Recommendation - N/A, Repair Done - remote is okay | Com1 | E-mail / DCSJO
DAV-00005464 | 2025-02-12 | 02:09 pm - 02:12 pm | cordova | Espinosa, Heike Marie | Benny Go Bldg, Rizal St., N/a, NCO District, PADADA, Davao del Sur | 0927-2495036 | KSM-IW25-WCT10M1M32 | RJJ | ROBINSONS | TS | DC | W | With Moisture in Body | RJJ Horse Power Airconditioning Services |  | 2 | 2025-04-12 | 2025-04-12 10:00 | 2025-04-12 11:30 | Findings - Moisture indoor body , Recommendation - N/A, Repair Done - Minor Repair | Com1 | E-mail / DCSJO
DAV-00005465 | 2025-02-12 | 02:17 pm - 02:22 pm | cordova | Pujeda, James Harold | Astorga Beach, N/a, N/a, N/a, SANTA CRUZ, DAVAO DEL SUR | 0970-6055319 | KSG-IWF-15WFY-8K1M32-I | RJJ | ROBINSONS | TS | FD | W | Noisy | RJJ Horse Power Airconditioning Services |  | 2 | 2025-04-12 | 2025-04-12 11:30 | 2025-04-12 12:30 | Findings - Noisy Unit, Recommendation - N/A, Repair Done - Minor Repair | Com1 | E-mail / DCSJO
DAV-00005466 | 2025-03-12 | 09:08 am - 09:09 am | cordova | ORILLA, JAYMAR A | P-UBAS, TRAWBERRY ST., BLK18 LOT11, N/A, CAGANGOHAN, CITY OF PANABO, DAVAO DEL NORTE | 0945-3285648 | KSM-IW10-WCT10M1M32 | Emcor | EMCOR INC. | INST | DC | C | For Installation | Emcor - Davao |  | 1 | 11/29/2025 | 11/29/2025 01:00 am | 11/29/2025 01:00 am | Findings - N/A, Recommendation - N/A, Repair Done - Installed | Com1 | E-mail / DCSJO
DAV-00005467 | 2025-03-12 | 10:20 am - 10:20 am | cordova | FERNADNEZ, REGIE C | N/A, BLK 2 LOT 29, VIA VIDA, NEW VISAYAS, CITY OF PANABO, DAVAO DEL NORTE | 0969-3004247 | KSM-IW10-WCT10M1M32 | Emcor | EMCOR INC. | INST | DC | C | For Installation | Emcor - Davao |  | 1 | 2025-11-11 | 2025-11-11 14:00 | 2025-11-11 14:00 | Findings - N/A, Recommendation - N/A, Repair Done - Installed | Com1 | E-mail / DCSJO
DAV-00005468 | 2025-03-12 | 10:21 am - 10:21 am | cordova | LORIN, MADELINE S | PRK. 2 , N/A, N/A, ANIBONGAN, CARMEN, DAVAO DEL NORTE | 0936-9556308 | KSM-IW10-WCT10M1M32 | Emcor | EMCOR INC. | INST | DC | C | For Installation | Emcor - Davao |  | 1 | 2025-11-11 | 2025-11-11 13:00 | 2025-11-11 14:00 | Findings - N/A, Recommendation - N/A, Repair Done - Installed | Com1 | E-mail / DCSJO
DAV-00005469 | 2025-03-12 | 10:44 am - 10:45 am | cordova | MERS FOODS AND DELICACIES INC. | DIGOS CITY, DIGOS , DIGOS CITY, ZONE III DIGOS CITY , CITY OF DIGOS (Capital), DAVAO DELSUR | 0999-8856827 | KLG-IF40-3D1M | Emcor | EMCOR INC. | TS | DC | C | Noisy | Emcor - Davao | Please deliver to EMCOR DIGOS - 1ST CRUMB ST. DIGOS CITY contact person Glydeline Abiar contact # 09998856827 | 1 | 11/28/2025 | 11/28/2025 12:00 am | 11/28/2025 12:00 am | Findings - NOISY UNIT , Recommendation - FOR REPLACE INDOOR FAN MOTOR , Repair Done - CHECK UP | Com2 | E-mail / DCSJO
DAV-00005470 | 2025-03-12 | 10:43 am - 10:49 am | cordova | WOODRIDGE PARK HOMEOWNERS ASSOCIATION | WOODRIDGE PARK CLUBHOUSE, WOODRIDGE PARK CLUBHOUSE, WOODRIDGE SUBDIVISION, MA-A, DAVAO CITY, DAVAO DEL SUR | 0910-7563857 | KEA-60BDRDCA | Metro Plaza | METRO PLAZA | TS | DC | C | Not Functioning | Metro Plaza the Appliance Center Corp. | for check up | 1 | 11/15/2025 | 11/15/2025 10:00 am | 11/15/2025 10:30 am | Findings - Stocked up motor pump , Recommendation - for replacement of motor pump, Repair Done - Check-up | Com2 | Viber Mobile
DAV-00005471 | 2025-03-12 | 10:53 am - 10:53 am | cordova | EMCOR DIGOS | PRK1 SITIO SAN JOSE SINARAGAN, MATANAO, DAVAO DEL SUR, PRK1 SITIO SAN JOSE SINARAGAN, MATANAO, DAVAO DEL SUR, PRK1 SITIO SAN JOSE SINARAGAN, MATANAO, DAVAO DEL SUR, PRK1 SITIO SAN JOSE SINARAGAN, MATANAO, DAVAO DEL SUR, MATANAO, DAVAO DELSUR | 0999-8856827 | KSM-IW20-WCT10M1M32 | Emcor Digos | EMCOR INC. | INST | DC | C | For Installation | Emcor - Davao |  | 1 | 11/28/2025 | 11/28/2025 12:00 am | 11/28/2025 12:00 am | Findings - AC INSTALLATION , Recommendation - INSTALLATION , Repair Done - UNIT DONE INSTALLED 11/28/25 | Com1 | E-mail / DCSJO
DAV-00005472 | 2025-03-12 | 10:43 am - 10:55 am | cordova | SIM, ANDYLITO M | N/A, SUNFLOWER ST., PUNAD VILL, BUHANGIN, DAVAO CITY, DAVAO DEL SUR | 9192-348530 | KSM-IW15-WCT10M1M32 | Emcor | EMCOR INC. | INST | DC | C | For Installation | Emcor - Davao |  | 1 | 11/19/2025 | 11/19/2025 10:00 am | 11/19/2025 01:00 pm | Findings - Installation , Recommendation - For Installation, Repair Done - Installation Done | Com1 | E-mail / DCSJO
DAV-00005473 | 2025-03-12 | 10:57 am - 11:01 am | cordova | Philippine Women College of Davao | N/A, N/A, University Avenue Juna Subdivision Matina Davao City , , DAVAO CITY, Davao Del Sur | 0963-5574849 | KAG-250WCINV |  | VIC IMPERIAL APP | TS | FD | W | Not Cooling | RJJ Horse Power Airconditioning Services | Replace temperature sensor | 2 | 2025-04-12 | 2025-04-12 14:30 | 2025-04-12 15:15 | Findings - Change sensor , Recommendation - Done Replace sensor , Repair Done - Unit is okay | Com1 | E-mail / DCSJO
DAV-00005474 | 2025-03-12 | 03:12 pm - 03:14 pm | cordova | Metro Plaza The Appliance Center Corp | Metro Plaza, JP Laurel Avenue, , Poblacion, DAVAO CITY, Davao | 0920-9500305 | FAC-INV | Metro Plaza |  | SP | WI | COS | Sales of Parts | Metro Plaza the Appliance Center Corp. | Sales of parts | 1 | 2025-03-12 | 2025-03-12 15:00 | 2025-03-12 15:00 | Findings - Sale of parts, Recommendation - N/A, Repair Done - Sale of Parts | Com1 | Viber Mobile
DAV-00005475 | 2025-04-12 | 08:01 am - 08:03 am | cordova | EMCOR DIGOS TIGLAO, MARIE AMOR . | BLOCK 8 LOT 42 BRIA HOMES BRGY MATTI DIGOS CITY, RIZAL , BLOCK 8 LOT 42 BRIA HOMES BRGY MATTI DIGOS CITY, MATTI DIGOS CITY , CITY OF DIGOS (Capital), DAVAO DEL SUR | 0945-8224358 | KSM-IW10-WCT10M1M32 |  | EMCOR INC. | INST | DC | C | For Installation | Emcor - Davao |  | 1 | 11/29/2025 | 11/29/2025 12:00 am | 11/29/2025 12:00 am | Findings - AC INSTALLATION , Recommendation - INSTALLATION , Repair Done - UNIT DONE INSTALLED 11/29/25 | Com1 | E-mail / DCSJO
DAV-00005476 | 2025-04-12 | 08:02 am - 08:04 am | cordova | EMCOR DIGOS TIGLAO, MARIE AMOR . | BLOCK 8 LOT 42 BRIA HOMES BRGY MATTI DIGOS CITY, RIZAL , BLOCK 8 LOT 42 BRIA HOMES BRGY MATTI DIGOS CITY, MATTI DIGOS CITY , CITY OF DIGOS (Capital), DAVAO DEL SUR | 0945-8224358 | KSM-IW10-WCT10M1M32 |  | EMCOR INC. | INST | DC | C | For Installation | Emcor - Davao |  | 1 | 11/29/2025 | 11/29/2025 12:00 am | 11/29/2025 12:00 am | Findings - AC INSTALLATION , Recommendation - INSTALLATION , Repair Done - UNIT DONE INSTALLED 11/29/25 | Com1 | E-mail / DCSJO
DAV-00005477 | 2025-04-12 | 08:17 am - 08:18 am | cordova | EMCOR INC BALGUE, SHIELA . | PRK 2 POBLACION, SULOP, DAVAO DEL SUR, RIZAL AVE.. CORNER LAPU-LAPU EXT. DIGOS CITY , PRK 2 POBLACION, SULOP, DAVAO DEL SUR, PRK 2 POBLACION, SULOP, DAVAO DEL SUR, SULOP, DAVAO DEL SUR | 0999-9951027 | KSM-IW20-WCT10M1M32 |  | EMCOR INC. | INST | DC | C | For Installation | Emcor - Davao |  | 1 | 2025-08-11 | 2025-08-11 | 2025-08-11 | Findings - AC INSTALLATION , Recommendation - INSTALLATION , Repair Done - UNIT DONE INSTALLED 11.08.25 | Com1 | E-mail / DCSJO
DAV-00005478 | 2025-04-12 | 08:19 am - 08:19 am | cordova | EMCOR DIGOS ASDILLO , JERRYRICO L. | CHAPTER 7 APLAYA DIGOS CITY, RIZAL AVE. CORNER LAPU-LAPU EXT. DIGOS CITY , CHAPTER 7 APLAYA DIGOS CITY, CHAPTER 7 APLAYA DIGOS CITY, CITY OF DIGOS (Capital), DAVAO DEL SUR | 0995-6114781 | KSM-IW10-WCT10M1M32 | Emcor | EMCOR INC. | INST | DC | C | For Installation | Emcor - Davao |  | 1 | 2025-04-10 | 2025-04-10 | 2025-04-10 | Findings - AC INSTALLATION , Recommendation - INSTALLATION , Repair Done - UNIT INSTALLED 10.04.25 | Com1 | E-mail / DCSJO
DAV-00005479 | 2025-04-12 | 08:19 am - 08:20 am | cordova | EMCOR DIGOS VERDAD, CHRISTINE JOY G | LIM EXT DIGOS CITY, RIZAL AVE. CORNER LAPU-LAPU EXT. DIGOS CITY, LIM EXT DIGOS CITY, LIM EXT DIGOS CITY, CITY OF DIGOS (Capital), DAVAO DEL SUR | 0927-6758773 | KSM-IW10-WCT10M1M32 | Emcor | EMCOR INC. | INST | DC | C | For Installation | Emcor - Davao |  | 1 | 2025-03-10 | 2025-03-10 | 2025-03-10 | Findings - AC INSTALLATION , Recommendation - INSTALLATION , Repair Done - UNIT INSTALLED 10.03.25 | Com1 | E-mail / DCSJO
DAV-00005480 | 2025-04-12 | 08:31 am - 08:31 am | cordova | EMCOR DIGOS VILLEGAS, MERCEDITA C. | DONA AURORA 3RD ST. DIGOS CITY, RIZAL AVE. COR. LAPU-LAPU EXT, DIGOS CITY, DONA AURORA 3RD ST. DIGOS CITY, DONA AURORA 3RD ST. DIGOS CITY, CITY OF DIGOS (Capital), DAVAO DEL SUR | 0999-8856826 | KLG-IF40-5G1M32-I | Emcor | EMCOR INC. | INST | DC | C | For Installation | Emcor - Davao |  | 1 | 10/18/2025 | 11/29/2025 12:00 am | 11/29/2025 12:00 am | Findings - AC INSTALLATION , Recommendation - INSTALLATION , Repair Done - UNIT DONE INSTALLED 10/18/25 | Com1 | E-mail / DCSJO
DAV-00005481 | 2025-04-12 | 08:32 am - 08:32 am | cordova | Nasang, John Mar | N/a, Blk.19, Lot 24, Country Homes, Cabantian, Buhangin, DAVAO CITY, Davao Del Sur | 0948-1143548 | KSG-IWF-10WFY-8K1M32-I | Emcor | ROBINSONS | INST | DC | C | For Installation | RJJ Horse Power Airconditioning Services | Installation Done | 1 | 2025-01-12 | 2025-01-12 09:40 | 2025-01-12 12:50 | Findings - Installation, Recommendation - N/A, Repair Done - Installed | Com1 | E-mail / DCSJO
DAV-00005482 | 2025-04-12 | 08:33 am - 08:33 am | cordova | EMCOR DIGOS SOLIDUM, JESSIDEL S. | BULACAN MALALAG DAVAO DEL SUR, RIZAL AVENUE CORNER LAPU-LAPU EXT. DIGOS CITY , BULACAN MALALAG DAVAO DEL SUR, BULACAN MALALAG DAVAO DEL SUR, MALALAG, DAVAO DEL SUR | 0912-8141487 | KSM-IW25-WCT10M1M32 | Emcor | EMCOR INC. | INST | DC | C | For Installation | Emcor - Davao |  | 1 | 2025-02-12 | 2025-02-12 | 2025-02-12 | Findings - AC INSTALLATION , Recommendation - INSTALLATION , Repair Done - UNIT DONE INSTALLED 12.02.25 | Com1 | E-mail / DCSJO
DAV-00005483 | 2025-04-12 | 08:30 am - 08:33 am | cordova | EMCOR DIGOS SOLIDUM, JESSIDEL S. | BULACAN MALALAG DAVAO DEL SUR, RIZAL AVENUE CORNER LAPU-LAPU EXT. DIGOS CITY , BULACAN MALALAG DAVAO DEL SUR, BULACAN MALALAG DAVAO DEL SUR, MALALAG, DAVAO DEL SUR | 0912-8141487 | KSM-IW25-WCT10M1M32 | Emcor | EMCOR INC. | INST | DC | C | For Installation | Emcor - Davao |  | 1 | 2025-02-12 | 2025-02-12 | 2025-02-12 | Findings - AC INSTALLATION , Recommendation - INSTALLATION , Repair Done - UNIT DONE INSTALLED 12.02.25 | Com1 | E-mail / DCSJO
DAV-00005484 | 2025-04-12 | 08:34 am - 08:34 am | cordova | EMCOR DIGOS | ROXAS EXT. DIGOS CITY, RIZAL AVE. CORNER LAPU-LAPU EXT.DIGOS , POB. MATANAO DVO DEL SUR, POB. MATANAO DVO DEL SUR, CITY OF DIGOS (Capital), DAVAO DEL SUR | 0910-3502026 | KSM-IW25-WCT10M1M32 | Emcor | EMCOR INC. | INST | DC | C | For Installation | Emcor - Davao |  | 1 | 10/24/2025 | 10/24/2025 12:00 am | 10/24/2025 12:00 am | Findings - AC INSTALLATION , Recommendation - INSTALLATION , Repair Done - UNIT INSTALLED 10/24/25 | Com1 | E-mail / DCSJO
DAV-00005485 | 2025-04-12 | 08:30 am - 08:34 am | cordova | EMCOR DIGOS | ROXAS EXT. DIGOS CITY, RIZAL AVE. CORNER LAPU-LAPU EXT.DIGOS , POB. MATANAO DVO DEL SUR, POB. MATANAO DVO DEL SUR, CITY OF DIGOS (Capital), DAVAO DEL SUR | 0910-3502026 | KSM-IW25-WCT10M1M32 | Emcor | EMCOR INC. | INST | DC | C | For Installation | Emcor - Davao |  | 1 | 10/24/2025 | 10/24/2025 12:00 am | 10/24/2025 12:00 am | Findings - AC INSTALLATION , Recommendation - INSTALLATION , Repair Done - UNIT INSTALLED 10/24/25 | Com1 | E-mail / DCSJO
DAV-00005486 | 2025-04-12 | 08:45 am - 08:48 am | cordova | EMCOR DIGOS SAMONTE, ELY O. | EMBODO COMP. ROXAS EXT. DIGOS CITY , RIZAL AVENUE CORNER LAPU-LAPU EXT. DIGOS CITY, EMBODO COMP. ROXAS EXT. DIGOS CITY , EMBODO COMP. ROXAS EXT. DIGOS CITY , CITY OF DIGOS (Capital), DAVAO DEL SUR | 0912-4784366 | KSM-IW10-WCT10M1M32 | Emcor | EMCOR INC. | INST | DC | C | For Installation | Emcor - Davao |  | 1 | 2025-06-10 | 2025-06-10 | 2025-06-10 | Findings - AC INSTALLATION , Recommendation - INSTALLATION , Repair Done - UNIT INSTALLED 10.06.25 | Com1 | E-mail / DCSJO
DAV-00005487 | 2025-04-12 | 09:10 am - 09:11 am | cordova | LORIN, MADELINE S | PRK. 2 , N/A, N/A, ANIBONGAN, CARMEN, DAVAO DEL NORTE | 0936-9556308 | KSM-IW10-WCT10M1M32 | Emcor | EMCOR INC. | INST | DC | C | For Installation | Emcor - Davao |  |  | 2025-04-12 | 2025-04-12 13:00 | 2025-04-12 16:00 | Findings - N/A, Recommendation - N/A, Repair Done - Installed | Com1 | E-mail / DCSJO
DAV-00005488 | 2025-04-12 | 12:25 pm - 12:27 pm | cordova | Canoog, Angeline G. | N/a, Blk.145, Lot 41, Goose Street, Deca Homes Talomo, Bago Gallera, DAVAO CITY, Davao Del Sur | 0909-2710415 | KSM-IW10-WCT10M1M32 | RJJ | ROBINSONS | TS | DC | W | Not Cooling | RJJ Horse Power Airconditioning Services | -Defective indoor fan motor | 1 | 2025-03-12 | 2025-03-12 22:00 | 2025-03-12 12:30 | Findings - Not Cooling, Recommendation - Replace Indoor Fan Motor, Repair Done - Check-up | Com2 | E-mail / DCSJO
DAV-00005489 | 2025-04-12 | 01:07 pm - 01:08 pm | cordova | EMCOR DIGOS CUEVAS, ELIAS G. | BLK5 LOT3 CENTRAL PLAINS PHASE 2 TRES DE MAYO, DIGOS CITY, DAVAO DEL SUR, RIZAL AVENUE CORNER LAPU-LAPU EXT. DIGOS CITY , BLK5 LOT3 CENTRAL PLAINS PHASE 2 TRES DE MAYO, DIGOS CITY, DAVAO DEL SUR, BLK5 LOT3 CENTRAL PLAINS PHASE 2 TRES DE MAYO, DIGOS CITY, DAVAO DEL SUR, CITY OF DIGOS (Capital), DAVAO DEL SUR | 0930-7232835 | KSM-IW10-WCT10M1M32 | Emcor | EMCOR INC. | INST | DC | C | For Installation | Emcor - Davao |  | 1 | 2025-06-10 | 2025-06-10 | 2025-06-10 | Findings - AC INSTALLATION , Recommendation - INSTALLATION , Repair Done - UNIT INSTALLED 10.06.25 | Com1 | E-mail / DCSJO
DAV-00005490 | 2025-04-12 | 01:08 pm - 01:09 pm | cordova | EMCOR INC HERSALIA , JONATHAN P. | PRK3 LELING, HAGONOY, DAVAO DLE SUR, RIZAL AVENUE CORNER LAPU-LAPU EXT. DIGOS CITY , PRK3 LELING, HAGONOY, DAVAO DLE SUR, PRK3 LELING, HAGONOY, DAVAO DLE SUR, CITY OF DIGOS (Capital), DAVAO DEL SUR | 0948-7569858 | KSM-IW15-WCT10M1M32 | Emcor | EMCOR INC. | INST | DC | C | For Installation | Emcor - Davao |  | 1 | 2025-08-10 | 2025-08-10 | 2025-08-10 | Findings - AC INSTALLATION , Recommendation - INSTALLATION , Repair Done - UNIT INSTALLED 10.08.25 | Com1 | E-mail / DCSJO
DAV-00005491 | 2025-04-12 | 01:09 pm - 01:10 pm | cordova | EMCOR DIGOS RICE, EUGENE | BLOCK 9 LOT 3, CENTRAL PLAIN, Tres De Mayo, CITY OF DIGOS, DAVAO DEL SUR, RIZAL AVENUE CORNER LAPU-LAPU EXT. DIGOS CITY, BLOCK 9 LOT 3, CENTRAL PLAIN, Tres De Mayo, CITY OF DIGOS, DAVAO DEL SUR, BLOCK 9 LOT 3, CENTRAL PLAIN, Tres De Mayo, CITY OF DIGOS, DAVAO DEL SUR, CITY OF DIGOS (Capital), DAVAO DEL SUR | 0961-0435295 | KSM-IW20-WCT10M1M32 | Emcor | EMCOR INC. | INST | DC | C | For Installation | Emcor - Davao |  | 1 | 2025-09-10 | 2025-09-10 | 2025-09-10 | Findings - AC INSTALLATION , Recommendation - INSTALLATION , Repair Done - UNIT INSTALLED 10.09.25 | Com1 | E-mail / DCSJO
DAV-00005492 | 2025-04-12 | 01:28 pm - 01:30 pm | cordova | Uy , Elizabeth | 13th , Emerald St, Phase 4 , Ecoland, , DAVAO CITY, Davao Del Sur | 0991-3643589 | n/a |  |  | TS | FD | C | Check - Up Only | RJJ Horse Power Airconditioning Services |  | 1 | 2025-05-12 | 2025-05-12 16:30 | 2025-05-12 17:10 | Findings - Not Cooling, Recommendation - NEED TO CHARGE FREON, Repair Done - Check-up |  | Mobile Hotline - SMS & Call
DAV-00005493 | 2025-04-12 | 01:48 pm - 01:48 pm | cordova | EMCOR INC MANCAO, LEI AICELI C. | PRK1 RIVERSIDE GUIHING, HAGONOY, DAVAO DEL SUR, RIZAL AVENUE CORNER LAPU-LAPU EXT. DIGOS CITY, PRK1 RIVERSIDE GUIHING, HAGONOY, DAVAO DEL SUR, PRK1 RIVERSIDE GUIHING, HAGONOY, DAVAO DEL SUR, CITY OF DIGOS (Capital), DAVAO DEL SUR | 0954-160300 | KSM-IW10-WCT10M1M32 | Emcor | EMCOR INC. | INST | DC | C | For Installation | Emcor - Davao |  | 1 | 10/31/2025 | 10/31/2025 12:00 am | 10/31/2025 12:00 am | Findings - AC INSTALLATION , Recommendation - INSTALLATION , Repair Done - UNIT INSTALLED 10.31.25 | Com1 | E-mail / DCSJO
DAV-00005494 | 2025-04-12 | 02:47 pm - 02:48 pm | cordova | EMCOR DIGOS CENTRA, RAMIL P | QUIRINO ST SANTOLAN TRES DE AMYO DIGOS CITY, RIZAL AVENUE CORNER LAPU-LAPU EXT. DIGOS CITY , QUIRINO ST SANTOLAN TRES DE AMYO DIGOS CITY, QUIRINO ST SANTOLAN TRES DE AMYO DIGOS CITY, CITY OF DIGOS (Capital), DAVAO DEL SUR | 0939-4013495 | KSM-IW10-WCT10M1M32 | Emcor | EMCOR INC. | INST | DC | C | For Installation | Emcor - Davao |  | 1 | 2025-03-10 | 2025-03-10 | 2025-03-10 | Findings - AC INSTALLATION , Recommendation - INSTALLATION , Repair Done - UNIT INSTALLED 10.03.25 | Com1 | E-mail / DCSJO
DAV-00005495 | 2025-05-12 | 10:43 am - 10:44 am | cordova | RJJ Horse Power Air-conditioning Services | , , , Bucana Talomo District, DAVAO CITY, Davao Del Sur | 0917-7857-745 | n/a |  |  | SP | WI | COS | Sales of Parts |  |  |  | 2025-05-12 | 2025-05-12 10:00 | 2025-05-12 10:00 | Findings - N/A, Recommendation - N/A , Repair Done - Sale of Parts | Com1 | Customer Lounge
DAV-00005496 | 2025-05-12 | 11:51 am - 11:52 am | cordova | Moana Ref & Aircon Service Center | Blk.36 Lot 1, Phase 8-C Mt. Sembrano , St., Deca Homes, Mintal , DAVAO CITY, DAVAO DEL SUR |  | KAG-145WCINV |  |  | SP | WI | COS | Sales of Parts |  |  | 1 | 2025-05-12 | 2025-05-12 12:00 | 2025-05-12 12:00 | Findings - N/A, Recommendation - N/A, Repair Done - Sale of Parts | Com1 | Customer Lounge
DAV-00005497 | 2025-05-12 | 02:43 pm - 02:45 pm | cordova | Moana Ref & Aircon Service Center | Blk.36 Lot 1, Phase 8-C Mt. Sembrano , St., Deca Homes, Mintal , DAVAO CITY, DAVAO DEL SUR |  | KAG-145WCINV |  |  | SP | WI | COS | Sales of Parts |  |  |  | 2025-05-12 | 2025-05-12 14:00 | 2025-05-12 14:00 | Findings - , Recommendation - , Repair Done - Sale of Parts | Com1 | Customer Lounge
DAV-00005498 | 2025-05-12 | 03:52 pm - 03:53 pm | cordova | Rodaje, Emany | Blk 152 Lot 4 Phase 2, Sunflower St., Deca Talomo, N/a, DAVAO CITY, Davao del Sur | 0956-1557224 | KSG-IWF-10WFY-8K1M32-I | rjj | ROBINSONS | INST | DC | C | For Installation | RJJ Horse Power Airconditioning Services | Done Install | 1 | 2025-02-12 | 2025-02-12 09:15 | 2025-02-12 13:00 | Findings - INSTALLATION, Recommendation - GENERAL CLEANING EVERY 3 MONTHS, Repair Done - INSTALLED | Com1 | Viber Mobile
DAV-00005499 | 2025-06-12 | 11:15 am - 12:17 pm | cordova | 3King Aircon Installation and Maintenance Services | , Block 4 Lot 1 Phase 2, La Consolacion, Apopong, GENERAL SANTOS CITY (DADIANGAS), South Cotabato | 0919-3562461 | n/a |  |  | SP | WI | COS | Sales of Parts |  |  |  | 2025-06-12 | 2025-06-12 13:00 | 2025-06-12 13:00 | Findings - , Recommendation - , Repair Done - Sale of Parts | Com1 | Customer Lounge
DAV-00005500 | 2025-09-12 | 08:28 am - 08:36 am | cordova | Cirunay, Sonny Paul | , Lot21 Blk 5 Phase 1 MT. Apo, ST. AITG Monte Residential , Estates Tigatto , DAVAO CITY, Davao Del Sur | 0947-4921731 | KWD-BLC-2088B |  | ASIAN HOMES | TS | BI | W | Dripping/ Water Leak | Geffrey Perez, Joselito Salibay Jr. | During the first check-up at RJJ, the authorized service center said they couldn’t fix the unit’s problem, so a second opinion was sought at Davao Tech. After checking, the customer refused the repair and requested a replacement. | 1 | 2025-09-12 | 2025-09-12 10:00 | 2025-09-12 13:00 | Findings - leaking in water tank , Recommendation - for replacement unit due to leak in water tank , Repair Done - customer refuse to repair demand for replacement unit | Com2 | Customer Lounge
DAV-00005501 | 2025-09-12 | 08:49 am - 08:49 am | cordova | TAGUM WATER DISTRICT | MIRAFUENTES DIST., NATIONAL HIGHWWAY, MIRAFUENTES DIST. NATIONAL HIGHWAY, MIRAFUENTES, CITY OF TAGUM (Capital), DAVAO DEL NORTE | 09 | KSM-IW25-WCT10M1M32 |  | EMCOR INC. | INST | DC | C | For Installation | Emcor - Davao |  | 2 | 11/17/2025 | 11/17/2025 12:00 am | 11/17/2025 12:00 am | Findings - INSTALLATION, Recommendation - FOR INSTALLATION, Repair Done - INSTALLATION DONE | Com1 | E-mail / DCSJO
DAV-00005502 | 2025-09-12 | 08:50 am - 08:51 am | cordova | Coloma, Donabel | , 6159 Purok 3-C, Luzviminda Subd., Brgy. San Francisco , CITY OF PANABO, Davao del Norte | 0935-6548793 | KA-75MCARINV32 |  | EMCOR INC. | TS | DC | W | Not Cooling | Emcor - Davao | FOR REPLACE OF EVAPORATOR FAN MOTOR | 1 | 2025-03-12 | 2025-03-12 |  | Findings - WONT COOL, Recommendation - FOR REPLACE OF EVAPORATOR FAN MOTOR, Repair Done - |  | E-mail / DCSJO
DAV-00005503 | 2025-09-12 | 03:56 pm - 03:58 pm | cordova | Law, Marelin | , , , Sasa , DAVAO CITY, Davao Del Sur | 0917-3185138 | KLG-IF40-2C1M |  |  | TS | FD | C | 3C Error Code | Geffrey Perez, Joselito Salibay Jr. | Replace Temperature Sensor | 1 | 2025-09-12 | 2025-09-12 13:00 | 2025-09-12 13:00 | Findings - Defectives temperature sensor , Recommendation - N/A, Repair Done - Replacement of temperature sensor | Com1 | Customer Lounge
DAV-00005504 | 2025-09-12 | 04:45 pm - 04:46 pm | cordova | RJJ Horse Power Air-conditioning Services | , , , Bucana Talomo District, DAVAO CITY, Davao Del Sur | 0917-7857-745 | KLG-IF40-3D1M |  |  | SP | WI | COS | Sales of Parts |  |  | 1 | 2025-09-12 | 2025-09-12 16:00 | 2025-09-12 16:00 | Findings - N/A, Recommendation - N/A, Repair Done - Sale of Parts | Com1 | Customer Lounge
DAV-00005505 | 2025-10-12 | 08:23 am - 08:25 am | cordova | Linaban , Ricky Suello | , , , Padada , PADADA, Davao Del Sur | 0909-5374778 | KSM-IW10-WCT10M1M32 |  |  | TS | FD | W | Not Cooling | RRSR Electronics Sales & Services | For Check up Unit |  | 12/15/2025 | 12/15/2025 10:00 am | 12/15/2025 11:00 am | Findings - LEAK AT FLARE, Recommendation - LEAK TEST, VACUUM, RECHARGING REFRIGERANT., Repair Done - CHECK UP | Com2 | Mobile Hotline - SMS & Call
DAV-00005506 | 2025-10-12 | 08:30 am - 08:38 am | cordova | Pujeda, James Harold | Astorga Beach, N/a, N/a, N/a, SANTA CRUZ, DAVAO DEL SUR | 0970-6055319 | KSG-IWF-15WFY-8K1M32-I |  | ROBINSONS | TS | FD | W | System Leak | RJJ Horse Power Airconditioning Services | For a check-up due to AC water leaking | 3 | 2025-10-12 | 2025-10-12 16:00 | 2025-10-12 16:30 | Findings - Moisture face cover, Recommendation - observe, Repair Done - Check-up | Com2 | Mobile Hotline - SMS & Call
DAV-00005507 | 2025-10-12 | 01:30 pm - 01:31 pm | cordova | Moana Ref & Aircon Service Center | Blk.36 Lot 1, Phase 8-C Mt. Sembrano , St., Deca Homes, Mintal , DAVAO CITY, DAVAO DEL SUR |  | n/a |  |  | SP | WI | COS | Sales of Parts |  |  |  | 2025-10-12 | 2025-10-12 13:30 | 2025-10-12 13:30 | Findings - , Recommendation - , Repair Done - Sale of Parts | Com1 | Customer Lounge
DAV-00005508 | 2025-10-12 | 04:15 pm - 04:15 pm | cordova | Pil, Gerard | Sampaguita St., Km 6 , N/a, Buhangin, DAVAO CITY, Davao del Sur | 0919-0665204 | KSG-IWF-20WFY-8K1M32-I | RJJ | ROBINSONS | INST | DC | C | For Installation | RJJ Horse Power Airconditioning Services | Done Install | 1 | 2025-09-12 | 2025-09-12 09:00 | 2025-09-12 13:00 | Findings - Installation , Recommendation - For Installation, Repair Done - Installation Done | Com1 | E-mail / DCSJO
DAV-00005509 | 2025-11-12 | 10:26 am - 10:47 am | cordova | Huesna, Cynthia | B22 Lot14 , Kamagong ST,. , Deca Homes Phase 1 , Indangan , INDANAN, Davao Del Sur | 0962-4557645 | KCB-BLC-8859T |  | ASIAN HOMES | TS | BI | W | E2 Error Code | Geffrey Perez, Joselito Salibay Jr. |  | 1 | 2025-11-12 |  |  |  |  | Customer Lounge
DAV-00005510 | 2025-11-12 | 11:09 am - 11:09 am | cordova | EMCOR DIGOS BEFITEL, NORA M. | 1895 LAPU-LAPU EXT. BRGGY. ZONE III DISTRICT 5 DIGOS CITY, RIZAL AVENUE CORNER LAPU-LAPU EXT. DIGOS CITY, 1895 LAPU-LAPU EXT. BRGGY. ZONE III DISTRICT 5 DIGOS CITY, 1895 LAPU-LAPU EXT. BRGGY. ZONE III DISTRICT 5 DIGOS CITY, CITY OF DIGOS (Capital), DAVAO DEL SUR | 0912-990435 | KLG-IF40-5G1M32-I | Emcor | EMCOR INC. | INST | DC | C | For Installation | Emcor - Davao |  | 1 | 2025-05-12 | 2025-05-12 | 2025-05-12 | Findings - AC INSTALLATION , Recommendation - INSTALLATION , Repair Done - UNIT INSTALLED 12.05.25 | Com1 | E-mail / DCSJO
DAV-00005511 | 12/13/2025 | 03:44 pm - 03:46 pm | cordova | Laput , Maria Lea Limbago | , , Leon Garcia Sr. Sitio San Vicente, Gotamco Agdao , DAVAO CITY, Davao Del Sur | 0907-3789647 | KAG-100WCINV |  | VIC IMPERIAL APP | TS | FD | W | Not Cooling | Moana Ref & Aircon Service Center | For check up unit |  | 12/16/2025 | 12/16/2025 01:00 pm | 12/16/2025 01:00 pm | Findings - Cancelled by customer , Recommendation - , Repair Done - Cancelled by customer | NSC08 | Mobile Hotline - SMS & Call
DAV-00005512 | 12/15/2025 | 10:53 am - 10:54 am | cordova | Pujeda, James Harold | Astorga Beach, N/a, N/a, N/a, SANTA CRUZ, DAVAO DEL SUR | 0970-6055319 | KSG-IWF-15WFY-8K1M32-I |  | ROBINSONS | TS | FD | W | System Leak | Geffrey Perez, Joselito Salibay Jr. | For a check-up due to AC water leaking |  | 12/17/2025 | 12/17/2025 10:00 am | 12/17/2025 01:00 am | Findings - dis allign indoor unit , Recommendation - drifting water hose , Repair Done - alien indoor unit test run out is okay | Com2 | E-mail / DCSJO
DAV-00005513 | 12/15/2025 | 11:21 am - 11:24 am | cordova | Canoog, Angeline G. | N/a, Blk.145, Lot 41, Goose Street, Deca Homes Talomo, Bago Gallera, DAVAO CITY, Davao Del Sur | 0909-2710415 | KSM-IW10-WCT10M1M32 |  | ROBINSONS | TS | DC | W | Not Cooling | RJJ Horse Power Airconditioning Services | For replacement defective indoor fan motor | 1 | 12/15/2025 | 12/18/2025 09:30 am | 12/18/2025 11:00 am | Findings - Indoor Fan motor defect, Recommendation - Replace Indoor Fan Motor, Repair Done - installation of indoor fan motor | Com1 | Viber Mobile
DAV-00005514 | 12/15/2025 | 01:25 pm - 01:27 pm | cordova | Burden, Celia | 17 Galaxy , , St. GSIS Matina , , DAVAO CITY, Davao Del Sur | 0932-1983545 | n/a |  |  | TS | FD | C | 3C Error Code | Moana Ref & Aircon Service Center | Customer Schedule on December 19,2025 around 2:00 pm | 1st Action | 12/26/2025 |  |  |  |  | Mobile Hotline - SMS & Call
DAV-00005515 | 12/15/2025 | 01:29 pm - 01:31 pm | cordova | Linaban , Ricky Suello | , , , Padada , PADADA, Davao Del Sur | 0909-5374778 | KSM-IW10-WCT10M1M32 |  |  | TS | FD | W | For Leak Testing | RRSR Electronics Sales & Services |  | 1 | 12/16/2025 | 12/15/2025 09:00 am | 12/18/2025 10:30 am | Findings - SYSTEM LEAKING, Recommendation - SYSTEM REPROCESS, Repair Done - SYSTEM REPROCESS | Inc-20 | Viber Mobile
DAV-00005516 | 12/15/2025 | 03:43 pm - 03:45 pm | cordova | COMAHIG, JAMES CLEO | P-OKRA, N/A, N/A, BRGYU GREDU, CITY OF PANABO, DAVAO DEL NORTE | 0917-9423886 | KEA-25BWR | Emcor Panabo | EMCOR INC. | TS | DC | W | Not Cooling | Emcor - Davao | for replace pump motor |  | 12/18/2025 | 12/18/2025 01:00 pm | 12/18/2025 01:00 pm | Findings - for replace pump motor , Recommendation - , Repair Done - Done Replace pump Motor | Com1 | E-mail / DCSJO
DAV-00005517 | 12/15/2025 | 04:31 pm - 04:32 pm | cordova | Air Prosystems, Inc. | RBDB & Sons Bldg., F.S Dison, , Bacaca Road, DAVAO CITY, Davao Del Norte | 0933-8595712 | n/a |  |  | SP | WI | COS | Sales of Parts |  |  |  | 12/15/2025 | 12/15/2025 04:00 pm | 12/15/2025 04:00 pm | Findings - , Recommendation - , Repair Done - Sale of Parts | Com1 | Customer Lounge
DAV-00005518 | 12/16/2025 | 09:36 am - 09:36 am | cordova | Agabon , Mark | , , , Banay Banay , DAVAO CITY, Davao Oriental | 0999-5365011 | KSM-10MB1INV |  |  | SP | WI | COS | Sales of Parts |  |  |  | 12/16/2025 | 12/16/2025 09:00 am | 12/16/2025 09:00 am | Findings - , Recommendation - , Repair Done - Sale of Parts | Com1 | Customer Lounge
DAV-00005519 | 12/16/2025 | 10:27 am - 10:28 am | cordova | DONGA, REZEILE | NA, NA, NA, TRES DE MAYO, CITY OF DIGOS (Capital), Davao del Sur | 0917-6574526 | KAG-100WCINV | RRSR | VIC IMPERIAL APP | TS | DC | W | Check - Up Only | RRSR Electronics Sales & Services | SOP For Repl. of INVERTER BOARD AND SENSOR | 1 | 2025-03-12 | 2025-03-12 | 2025-03-12 | Findings - DEFECTIVE INVERTER BOARD AND SENSOR , Recommendation - FOR REPLACE OF INVERTER BOARD AND SENSOR , Repair Done - CHECK UP ONLY | Com2 | Viber Mobile
DAV-00005520 | 12/16/2025 | 10:39 am - 10:57 am | cordova | DONGA, REZEILE | NA, NA, NA, TRES DE MAYO, CITY OF DIGOS (Capital), Davao del Sur | 0917-6574526 | KAG-100WCINV | RRSR | VIC IMPERIAL APP | TS | DC | W | Not Cooling | RRSR Electronics Sales & Services | For replace PCB board and temperature sensor |  | 12/18/2025 | 12/20/2025 01:00 pm | 12/20/2025 02:00 pm | Findings - Defective PCB board and sensor , Recommendation - for replacement , Repair Done - Done Replace of PCB board and sensor | Com1 | Viber Mobile
DAV-00005521 | 12/17/2025 | 02:02 pm - 02:03 pm | cordova | Moana Ref & Aircon Service Center | Blk.36 Lot 1, Phase 8-C Mt. Sembrano , St., Deca Homes, Mintal , DAVAO CITY, DAVAO DEL SUR |  | KLG-SF40-3D1M |  |  | SP | WI | COS | Sales of Parts | Moana Ref & Aircon Service Center |  | 1 | 12/17/2025 | 12/17/2025 02:00 pm | 12/17/2025 02:00 pm | Findings - , Recommendation - , Repair Done - Sale of Parts | Com1 | Customer Lounge
DAV-00005522 | 12/17/2025 | 04:40 pm - 04:44 pm | cordova | Li , Vina | Unit 1702 Towe 1 , , , Abreeza Place Condominium , DAVAO CITY, Davao Del Sur | 0917-7246856 | n/a |  |  | TS | FD | C | 3C Error Code | Moana Ref & Aircon Service Center | For check-up because the air conditioner is not working |  | 12/23/2025 | 12/23/2025 01:00 pm | 12/23/2025 02:00 pm | Findings - LOOSE CONTACT - RECEIVER, Recommendation - FIX , Repair Done - DONE FIXING RECEIVER - UNIT IS WORKING | Com2 | Mobile Hotline - SMS & Call
DAV-00005523 | 12/17/2025 | 04:53 pm - 04:54 pm | cordova | Makidato, Orida Shellane | , , , San Miguel Odaca , CITY OF DIGOS (Capital), Davao Del Sur | 0956-6436306 | KSM-IW20-WCT10M1M32 |  | VIC IMPERIAL APP | TS | FD | W | Not Cooling | Geffrey Perez, Joselito Salibay Jr. |  |  | 12/18/2025 | 12/18/2025 01:00 pm | 12/18/2025 02:00 pm | Findings - For General Cleaning , Recommendation - The AC is undersized for the area , It is used for commercial , 9 units internet machine installed , Unit no Problem , Dirty only , Repair Done - Dirty unit | Com2 | Mobile Hotline - SMS & Call
DAV-00005524 | 12/18/2025 | 08:16 am - 08:17 am | cordova | Kolin Philippines Int. Inc.,-DAVAO | , Prk 9 Calamansi St, Juna Subd,, Matina, DAVAO CITY, Davao Del Sur | 0917-5321439 | KLM-IS40-3D1M |  | KMI | TS | FD | W | System Leak | Geffrey Perez, Joselito Salibay Jr. | replace fan capacitor | 1 | 12/18/2025 | 12/18/2025 09:00 am | 12/18/2025 09:00 am | Findings - defective fan capacitor , Recommendation - replace fan capacitor , Repair Done - done replace fan capacitor | Com1 | Customer Lounge
DAV-00005525 | 12/18/2025 | 09:40 am - 09:42 am | cordova | E. LINE A DESIGN & BUILD CORP | , , , Dacudao , DAVAO CITY, Davao Del Sur | 0912-9765400 | KCB-BLC-8859T |  |  | TS | BI | C | Check - Up Only | Geffrey Perez, Joselito Salibay Jr. |  | 1 | 12/18/2025 | 12/18/2025 10:00 am | 12/18/2025 10:00 am | Findings - Defective water pump , Recommendation - Replace water pump , Repair Done - Done Unit is okay | Com1 | Customer Lounge
DAV-00005526 | 12/19/2025 | 08:24 am - 08:25 am | cordova | Campanan, Ian Jade | Phase 1 , Conception, Sta. Josefa, N/a, SAN FRANCISCO, Agusan Del Sur | 0968-5099450 | KSG-IWF-10WFY-8K1M32-I |  | ROBINSONS | INST | DC | C | For Installation | RJJ Horse Power Airconditioning Services | Done install | 1 | 12/16/2025 | 12/16/2025 01:00 pm | 12/16/2025 04:30 pm | Findings - Installation , Recommendation - For Installation, Repair Done - Installation Done | Com1 | E-mail / DCSJO
DAV-00005527 | 12/19/2025 | 10:51 am - 10:52 am | cordova | Moana Ref & Aircon Service Center | Blk.36 Lot 1, Phase 8-C Mt. Sembrano , St., Deca Homes, Mintal , DAVAO CITY, DAVAO DEL SUR |  | n/a |  |  | SP | WI | COS | Sales of Parts |  |  | 1 | 12/19/2025 | 12/19/2025 10:00 am | 12/19/2025 10:00 am | Findings - , Recommendation - , Repair Done - Sale of Parts | Com1 | Customer Lounge
DAV-00005528 | 12/19/2025 | 02:01 pm - 02:03 pm | cordova | MONTELIZA, LESLEY JOY O. | PUROK 8, POBLACION NABUNTURAN, POBLACION NABUNTURAN, NABUNTURAN, NABUNTURAN (Capital), DAVAO DE ORO | 0995-2296022 | KSM-IW15-WCT10M1M32 |  | EMCOR INC. | INST | DC | W | For Installation | Emcor - Davao |  | 2 | 12/17/2025 | 12/17/2025 12:00 am | 12/17/2025 12:00 am | Findings - INSTALLATION, Recommendation - FOR INSTALLATION, Repair Done - INSTALLATION DONE | Com1 | E-mail / DCSJO
DAV-00005529 | 12/19/2025 | 02:06 pm - 02:06 pm | cordova | EMCOR INC. CEBALLOS , JADE S. | N/A, N/A, P-1A, CABIDIANAN, NABUNTURAN (Capital), DAVAO DE ORO | 0975-5594293 | KS-IW20-MCAI12O1M32-I |  | EMCOR INC. | INST | DC | W | For Installation | Emcor - Davao |  | 1 | 10/23/2025 | 12/17/2025 12:00 am | 12/17/2025 12:00 am | Findings - INSTALLATION, Recommendation - FOR INSTALLATION, Repair Done - INSTALLATION DONE | Com1 | E-mail / DCSJO
DAV-00005530 | 12/19/2025 | 02:08 pm - 02:08 pm | cordova | SOLATORIO, NELDA P. | N/A, N/A, P-7, NEW SIBONGA, NABUNTURAN (Capital), DAVAO DE ORO | 0975-5942930 | KLG-IF40-5G1M32-I |  | EMCOR INC. | INST | DC | W | For Installation | Emcor - Davao |  | 1 | 12/15/2025 | 12/15/2025 12:00 am | 12/15/2025 12:00 am | Findings - INSTALLATION, Recommendation - FOR INSTALLATION, Repair Done - INSTALLATION DONE | Com1 | E-mail / DCSJO
DAV-00005531 | 12/19/2025 | 02:09 pm - 02:09 pm | cordova | SOLATORIO, NELDA P. | N/A, N/A, N/A, P-7, NABUNTURAN (Capital), DAVAO DE ORO | 0975-5942930 | KLG-IF40-5G1M32-I |  | EMCOR INC. | INST | DC | W | For Installation | Emcor - Davao |  | 1 | 12/16/2025 | 12/16/2025 12:00 am | 12/16/2025 12:00 am | Findings - INSTALLATION, Recommendation - FOR INSTALLATION, Repair Done - INSTALLATION DONE | Com1 | E-mail / DCSJO
DAV-00005532 | 12/19/2025 | 02:28 pm - 02:28 pm | cordova | SOLATORIO, NELDA P | PUROK 7, SIBONGA, NABUNTURAN, NABUNTURAN, NABUNTURAN (Capital), DAVAO DE ORO | 0975-5942930 | KLG-IF40-5G1M32-I |  | EMCOR INC. | INST | DC | C | For Installation | Emcor - Davao |  | 2 | 12/15/2025 | 12/16/2025 12:00 am | 12/16/2025 12:00 am | Findings - INSTALLATION, Recommendation - FOR INSTALLATION, Repair Done - INSTALLATION DONE | Com1 | E-mail / DCSJO
DAV-00005533 | 12/22/2025 | 10:39 am - 10:40 am | cordova | DIANA, GINALYN D | BLOCK 11, LOT 16, BLOCK 11, LOT 16 ESMERALDA HOMES, ESMERALDA HOMES, ESMERALDA HOMES, CITY OF TAGUM (Capital), DAVAO DEL NORTE | 0991-6216749 | KSM-IW15-WCT10M1M32 |  | EMCOR INC. | INST | DC | C | For Installation | Emcor - Davao |  | 2 | 2025-09-12 | 2025-09-12 | 2025-09-12 | Findings - INSTALLATION, Recommendation - FOR INSTALLATION, Repair Done - INSTALLATION DONE | Com1 | E-mail / DCSJO
DAV-00005534 | 12/23/2025 | 09:20 am - 09:24 am | cordova | EMCOR, Inc. | JVR Building, JP Laurel Avenue, , Brgy. Bajada, DAVAO CITY, Davao | 0921-4211129 | KLG-IF40-3D1M | Emcor Digos |  | SP | WI | COS | Sales of Parts |  | Sale of Parts |  | 12/23/2025 | 12/23/2025 10:00 am | 12/23/2025 10:00 am | Findings - , Recommendation - , Repair Done - Sale of Parts | Com1 | Customer Lounge
DAV-00005535 | 12/23/2025 | 10:04 am - 10:06 am | cordova | EMCOR, Inc. | JVR Building, JP Laurel Avenue, , Brgy. Bajada, DAVAO CITY, Davao | 0921-4211129 | KSM-10MB1INV | Emcor Agdao |  | SP | WI | COS | Sales of Parts |  |  | 1 | 12/23/2025 | 12/23/2025 10:00 am | 12/23/2025 10:00 am | Findings - , Recommendation - , Repair Done - Sale of Parts | Com1 | Customer Lounge
DAV-00005536 | 12/23/2025 | 02:54 pm - 02:55 pm | cordova | Fabros Aircon and Refrigeration Services | , , , P-Kalayaan, Sapphire Sison Subd. Magugpo South, CITY OF TAGUM (Capital), DAVAO DEL NORTE | 0947-6474984 | n/a |  |  | SP | WI | COS | Sales of Parts |  |  |  | 12/23/2025 | 12/23/2025 03:00 pm | 12/23/2025 03:00 pm | Findings - , Recommendation - , Repair Done - Sale of Parts | Com1 | Customer Lounge
DAV-00005537 | 12/26/2025 | 12:56 pm - 12:58 pm | cordova | STRONG, FLORDELIZA | N/A, BLOCK 38 LOT 7, YAMVILLE 1, MABUHAY, GENERAL SANTOS CITY (DADIANGAS), SOUTH COTABATO | 0995-3807043 | KSM-IW20-WCT10M1M32 | SmartAire | FIESTA APPLIANCE CENTER | TS | DC | P | Remote not Functioning | Smartaire Aircon Specialist | for replacement of remote | 1 | 2026-02-01 |  |  | Findings - , Recommendation - , Repair Done - |  | Viber Mobile
DAV-00005538 | 12/26/2025 | 01:45 pm - 02:16 pm | cordova | Estrobillo , Feliciano | 3rd Floor Room 315 , Gb Cam Building , Monteverde , , DAVAO CITY, Davao Del Sur | 0995-9052789 | n/a |  |  | TS | FD | C | Others | RJJ Horse Power Airconditioning Services | The power plug of the unit was burned | 1 | 12/27/2025 |  |  |  |  | Mobile Hotline - SMS & Call
DAV-00005539 | 12/26/2025 | 04:44 pm - 04:52 pm | cordova | Catanares, Ruel | Lot 44 Blk 4 Phase 2B , Sta. Margarita St,., La Verna Hills Subdivision , Brgy Angliongto , DAVAO CITY, Davao Del Sur | 0956-4674470 | KSM-IW10-4F1M |  |  | TS | FD | C | Others | RJJ Horse Power Airconditioning Services | The A3 error code appeared on the LED display. The unit powers on; however, there is no airflow and no cooling. | 1 | 12/29/2025 | 12/27/2025 08:30 am | 12/27/2025 09:00 am | Findings - broken fan blower, Recommendation - Replace fan blower, Repair Done - Check-up |  | Mobile Hotline - SMS & Call
DAV-00005540 | 12/27/2025 | 12:19 pm - 12:19 pm | cordova | Suan, Allan | N/a, Communal, Alumina State, N/a, DAVAO CITY, Davao del Sur | 0917-3085895 | KLG-IF40-5G1M32-I |  | ROBINSONS | INST | DC | C | For Installation | RJJ Horse Power Airconditioning Services | Done Install | 1 | 12/23/2025 | 12/23/2025 12:00 am | 12/23/2025 12:00 am | Findings - Installation , Recommendation - For Installation, Repair Done - Installation Done | Com1 | E-mail / DCSJO
DAV-00005541 | 12/27/2025 | 04:11 pm - 04:29 pm | cordova | Ballesteros , Jenevie | Purok Green Vill , , , San Antonio Agdao , DAVAO CITY, Davao Del Sur | 0963-9254993 | KSIF-405WB1 |  | VIC IMPERIAL APP | TS | FD | W | Not Cooling | Geffrey Perez, Joselito Salibay Jr. | first checked with the authorized service center, RJJ, as the chiller was not cooling and had already reached its maximum level. For further inspection, RJJ advised that a second opinion be obtained by consulting Authorized Davao Tech for an additional check-up since customer demand for unit replacement | 1 | 12/29/2025 | 12/29/2025 09:40 am | 12/29/2025 10:00 am | Findings - Low Cooling left side Hot , right side no Hot , Recommendation - Low Cooling , Repair Done - Done Check up | Com2 | Mobile Hotline - SMS & Call
DAV-00005542 | 12/29/2025 | 02:33 pm - 02:37 pm | cordova | Tingaraan , Anilyn Oma | 163, Miniforest, Boulevard, 23-C, DAVAO CITY, Davao Del Sur | 0955-9062973 | KAM-55CMC32 |  |  | TS | FD | W | Weak Cooling | Moana Ref & Aircon Service Center | For check up unit due to Cooling performance | 1 | 2026-06-01 |  |  |  |  | E-mail / DCSJO
DAV-00005543 | 12/29/2025 | 02:43 pm - 02:47 pm | cordova | Bacalso, Chong | 611 Kamagong St,. , Poly Subd, Matina Aplaya , , , DAVAO CITY, Davao Del Sur | 0991-2068975 | KSM-IW15-9L1M-I |  |  | TS | FD | C | Weak Cooling | RJJ Horse Power Airconditioning Services | Note: Upon inspection by the DAV technician, the air conditioning unit requires system reprocessing | 1 | 2026-03-01 |  |  |  |  | E-mail / DCSJO
DAV-00005544 | 12/29/2025 | 04:09 pm - 04:10 pm | cordova | Aboga-a, Alma Corace . | Asuncion, Asuncion, Asuncion Vill., Cannery, GENERAL SANTOS CITY (DADIANGAS), REGION 12 - SOCCSKSARGEN | 0917-6215116 | KCB-BLC-8859T |  | ROBINSONS | TS | DC | L | Dripping/ Water Leak | 3King Aircon Installation and Maintenance Services | Done Replacement of Tie Wire into Metal Clamp | 1 | 2025-09-08 | 2025-09-08 | 2025-09-08 | Findings - leaking waterue to lose tie wire, Recommendation - need Fixing or Changing of Clamp, Repair Done - Repair Done |  | E-mail / DCSJO
DAV-00005545 | 12/29/2025 | 04:10 pm - 04:11 pm | cordova | Ehurango, Jenru Mae | , , Carmella Cerritos Conel Road, San Isidro , GENERAL SANTOS CITY (DADIANGAS), Davao Del Norte | 0995-8779505 | KCB-BLC-8859T |  | ROBINSONS | TS | DC | P | Not Heating | 3King Aircon Installation and Maintenance Services | 1st Time Attended - Stock-up Pump Motor and No Heating Done Repair March 7, 2025 2nd Time Attend -Unit Defective Board | 2 | 2025-10-03 | 2025-10-03 | 2025-06-06 | Findings - Stock-up Pump and Defective PBC Board, Recommendation - Need New Parts, Repair Done - Done Repair and Done Parts Replacement |  | E-mail / DCSJO
Legend:
PAO - Pick-up Admin Orders
DPO - Deliver of Dealer P.O.
DEF - Change Item
FAB - Fabrication of Bracket
CL - Copper Tube Claims
DEL - Delivery of Unit / Accessories
DSM - Dismantling
FPO - Unit for Pull-out
GC - General Cleaning
INST - Installation
MRK - Markings
PV - Project Visit
REP - Replacement as per dealer request
REPL - Replacement of Unit
SCF - Deliver / Pull-out of Scaffolding
SP - Sale of Parts
STU - Start-up
SVEY - Survey
TS - Troubleshooting
DIS - Dispose Parts
PGC - Pumpdown General Cleaning
Summary Per Job Type
JOB CLASS | CC | WI | BI | PO | FD | DC | RD | RM | TP | TOTAL
PAO | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DPO | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DEF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FAB | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CL | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DEL | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DSM | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FPO | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
GC | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
INST | 0 | 0 | 0 | 0 | 0 | 38 | 0 | 0 | 0 | 38
MRK | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PV | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REP | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REPL | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SCF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SP | 0 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15
STU | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SVEY | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TS | 0 | 0 | 4 | 0 | 18 | 13 | 0 | 0 | 0 | 35
DIS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PGC | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL | 0 | 15 | 4 | 0 | 18 | 51 | 0 | 0 | 0 | 88