## BACOLOD
FROM : | 2025-01-07 | TO : | 07-31-2025
Location Warehouse : | BACOLOD BRANCH
User : | All User
SJR No. | SJR Date | SJR Start/End Time | CSR Code | Customer Name | Address | Contact No. | Model | Relayed By | Dealer | Job Class | Job Type | Wty Type | Complaint | Tech Name | SJR Notes | No. of Visit | Promised Date | Date Attended | Date Finished | Repair Done | Job Status | Call Origin
BAC-00008974 | 2025-01-07 | 11:08 am - 11:09 am | LOTERIO | Sta. Monica, Giselle Kaye | , Block 4 Lot 38 Leo St., Sharina Heights, Brgy Taculing, BACOLOD CITY (Capital), Neg. occ. | 0967-3318182 | KEA-25BWR |  | ASIAN HOMES | TS | FD | W | Water Pump Malfunctioning | DJB Aircon And Refrigeration Repair Shop | For repair | 2 | 2025-01-07 | 2025-06-07 10:00 | 2025-06-07 12:00 | Findings - Defective pump motor, , , Recommendation - pull out unit for shop repair, , , Repair Done - Done replace pump motor, unit is now operational | Com1 | Second Action
BAC-00008975 | 2025-01-07 | 01:23 pm - 01:29 pm | LOTERIO | Ramos, Jaromel | , Blk 5 Lot 5 Balay Bogana, , Brgy. Granada, BACOLOD CITY (Capital), Neg. occ. | 0921-2239082 | KAM-75CMC32 | Renante | VIC IMPERIAL APP | TS | FD | W | Not Cooling | DJB Aircon And Refrigeration Repair Shop | For check up | 1 | 2025-03-07 | 2025-05-07 | 2025-05-07 | Findings - Housed by bee cause of fan motor not working, , , , , , Recommendation - removing and clean the area where the house of bee made, , , , , , Repair Done - Done check and removal of bee house unit is now operational | Com1 | Customer Lounge
BAC-00008976 | 2025-01-07 | 04:08 pm - 04:09 pm | LOTERIO | LCC BACOLOD | , GALO GATUSLAO ST., , , BACOLOD CITY (Capital), Neg. occ. | 0923-1537315 | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of parts |  | 2025-01-07 | 2025-01-07 16:00 | 2025-01-07 16:05 | Findings - SOP, , , Recommendation - , , , Repair Done - SOP | Com1 | Customer Lounge
BAC-00008977 | 2025-02-07 | 02:24 pm - 02:25 pm | LOTERIO | Richmond Inn | , J. Pitong Ledesma St. Silay City, , Brgy. V, SILAY CITY, Neg. occ. | 0932-5381794 | KSM-IW20-WCT10M1M32 | Joseth | CITI APPLIANCE | INST | DC | C | For Installation | LJN Airconditioning Services | For Installation / late generated | 1 | 2025-02-07 | 06/29/2025 09:00 am | 06/29/2025 01:00 pm | Findings - For Installation of SAC, , , Recommendation - , , , Repair Done - Installation of SAC | Com1 | E-mail
BAC-00008978 | 2025-02-07 | 02:44 pm - 02:45 pm | LOTERIO | Barzo, Danna Marie | , Villa Lucasan, , Brgy. Manadalagan, BACOLOD CITY (Capital), Neg. occ. | 0919-3620927 | KWD-BLC-2088B |  | VIC IMPERIAL APP | TS | FD | W | Not Cooling | LJN Airconditioning Services | For check up | 1 | 2025-02-07 | 2025-03-07 10:00 | 2025-03-07 11:30 | Findings - Not Cooling, , , Recommendation - Replace Pcb Board, , , Repair Done - Replace New Pcb Board | Com1 | Vanity Hotline
BAC-00008979 | 2025-02-07 | 02:49 pm - 02:50 pm | LOTERIO | The Shophouse Heritage | , B.S Aquino Drive Corner Narra Avenue Narra St., , Brgy. Villamonte, BACOLOD CITY (Capital), Neg. occ. | 0909-4581649 | KSM-IW25-WCT10M1M32 | Joseth | CITI APPLIANCE | INST | DC | C | For Installation | LJN Airconditioning Services | For Installattion | 1 | 2025-02-07 | 2025-01-07 10:00 | 2025-01-07 17:00 | Findings - For Installation of SAC, , , Recommendation - , , , Repair Done - Installation of SAC | Com1 | E-mail
BAC-00008980 | 2025-02-07 | 02:54 pm - 02:55 pm | LOTERIO | The Shophouse Heritage | , B.S Aquino Drive Corner Narra Avenue Narra St., , Brgy. Villamonte, BACOLOD CITY (Capital), Neg. occ. | 0909-4581649 | KSM-IW25-WCT10M1M32 | Joseth | CITI APPLIANCE | INST | DC | C | For Installation | LJN Airconditioning Services | For Installation | 1 | 2025-02-07 | 2025-01-07 10:00 | 2025-01-07 17:00 | Findings - For Installation of SAC, , , Recommendation - , , , Repair Done - Installation of SAC | Com1 | E-mail
BAC-00008981 | 2025-02-07 | 02:56 pm - 02:57 pm | LOTERIO | The Shophouse Heritage | , B.S Aquino Drive Corner Narra Avenue Narra St., , Brgy. Villamonte, BACOLOD CITY (Capital), Neg. occ. | 0909-4581649 | KSM-IW25-WCT10M1M32 | Joseth | CITI APPLIANCE | INST | DC | C | For Installation | LJN Airconditioning Services | For Installation | 1 | 2025-02-07 | 2025-01-07 10:00 | 2025-01-07 17:00 | Findings - For Installation of SAC, , , Recommendation - , , , Repair Done - Installation of SAC | Com1 | E-mail
BAC-00008982 | 2025-02-07 | 03:20 pm - 03:21 pm | LOTERIO | Richmond Inn. Dormitory | , Libertad St. , , Brgy. 39, BACOLOD CITY (Capital), Neg. occ. | 0932-5381794 | KSM-IW15-WCT10M1M32 | Joseth | CITI APPLIANCE | INST | DC | C | For Installation | LJN Airconditioning Services | For Installation | 1 | 2025-02-07 | 06/30/2025 09:00 am | 06/30/2025 01:00 pm | Findings - For Installation of SAC, , , , Recommendation - , , , , Repair Done - Installation of SAC | Com1 | E-mail
BAC-00008983 | 2025-02-07 | 03:30 pm - 03:31 pm | LOTERIO | Amp's Refrigeration & Airconditioning Service Center | Door 1 JR Building, Rizal st., , , BACOLOD CITY (Capital), Neg . Occ. |  | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of parts | 1 | 2025-02-07 | 2025-02-07 15:30 | 2025-02-07 15:35 | Findings - SOP, , , Recommendation - , , , Repair Done - SOP | Com1 | Customer Lounge
BAC-00008984 | 2025-02-07 | 03:41 pm - 03:41 pm | LOTERIO | Desca, Ronald | , , , , BACOLOD CITY (Capital), Neg. occ. | 0947-2091608 | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of parts | 1 | 2025-02-07 | 2025-02-07 15:40 | 2025-02-07 15:45 | Findings - SOP, , , Recommendation - , , , Repair Done - SOP | Com1 | Customer Lounge
BAC-00008985 | 2025-02-07 | 03:53 pm - 03:53 pm | LOTERIO | Maglanday, Jerald | , , Fortunaville, Brgy Rizal, SAGAY CITY, Neg. occ. | 0912-5297569 | KSM-IW10-WCT10M1M32 | Dolly | ASIAN HOMES | INST | DC | C | For Installation | DJB Aircon And Refrigeration Repair Shop | For Installation / late generated | 1 | 2025-02-07 | 06/30/2025 09:00 am | 06/30/2025 01:00 pm | Findings - For Installation of SAC, , , Recommendation - , , , Repair Done - Installation of SAC | Com1 | E-mail
BAC-00008986 | 2025-02-07 | 03:56 pm - 03:57 pm | LOTERIO | Andan, Ma. Fe Franie | , Block 8 Lot 18 , Stone Haven Residences, Brgy. Granada, BACOLOD CITY (Capital), Neg. occ. | 0956-1780991 | KSM-IW15-WCT10M1M32 | Dolly | ASIAN HOMES | INST | DC | C | For Installation | DJB Aircon And Refrigeration Repair Shop | For Installation / late generated | 1 | 2025-02-07 | 06/30/2025 09:00 am | 06/30/2025 01:00 pm | Findings - For Installation of SAC, , , Recommendation - , , , Repair Done - Installation of SAC | Com1 | Dealer Service Request - Mobile
BAC-00008987 | 2025-03-07 | 11:48 am - 11:55 am | LOTERIO | Lions Park | , Lions park Lizare st, , , BACOLOD CITY (Capital), Neg. occ. | 0933-8545792 | KEA-120BDR |  | BACOLOD POLARIS | TS | PO | W | Fan Not Functioning | LJN Airconditioning Services | For trouble shoot | 2 | 2025-03-07 | 2025-03-07 09:00 | 2025-03-07 11:00 | Findings - Unit Malfanction, , , Recommendation - Replace Pcb Board, , , Repair Done - Replace New Pcb Board | Com1 | Second Action
BAC-00008988 | 2025-03-07 | 11:58 am - 11:59 am | LOTERIO | Lions Park | , Lions park Lizare st, , , BACOLOD CITY (Capital), Neg. occ. | 0933-8545792 | KEA-120BDR |  | BACOLOD POLARIS | TS | PO | W | Fan Not Functioning | LJN Airconditioning Services | For trouble shoot | 2 | 2025-03-07 | 2025-03-07 09:00 | 2025-03-07 11:00 | Findings - Unit Malfanction, , , Recommendation - Replace Pcb Board, , , Repair Done - Replace New Pcb Board | Com1 | Second Action
BAC-00008989 | 2025-03-07 | 01:41 pm - 01:43 pm | LOTERIO | SUGARLAND HOTEL | SUGARLAND BLDG., ARANETA ST.,, , BRGY. SINGCANG, BACOLOD CITY (Capital), Neg . Occ. | 0991-7216533 | KPA-100R10N410 |  | CITI APPLIANCE | TS | FD | W | Not Cooling | LJN Airconditioning Services | High ampere compressor waiting for parts request | 1 | 07/15/2025 | 07/14/2025 02:00 pm | 07/14/2025 05:30 pm | Findings - High Amp., , , Recommendation - Replace New Motor Compresor , , , Repair Done - Replace New Motor Compresor/Tube Sensor | Com1 | Second Action
BAC-00008990 | 2025-03-07 | 01:53 pm - 01:56 pm | LOTERIO | Alegato, Ellen | Room# 9 G2 Apartment, Blk 2 Lot 5, Celita Village, Brgy Alijis, BACOLOD CITY (Capital), Neg. occ. | 0927-6079082 | KAG-100WCINV | socmed | ASIAN HOMES | TS | FD | L | Noisy | LJN Airconditioning Services | For check up | 1 | 2025-03-07 | 2025-02-07 10:00 | 2025-02-07 10:00 | Findings - cancellec, , , Recommendation - , , , Repair Done - cancelled check up by customer | NSC15 | E-mail
BAC-00008991 | 2025-03-07 | 01:58 pm - 01:59 pm | LOTERIO | DJB Aircon & Refrigeration Repair Shop | , Zone 2, Prk. Sto. Rosario, Brgy. bata, BACOLOD CITY (Capital), Neg . Occ. | 7085814 | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of parts | 1 | 2025-03-07 | 2025-03-07 14:00 | 2025-03-07 14:05 | Findings - SOP, , , Recommendation - , , , Repair Done - SOP | Com1 | Customer Lounge
BAC-00008992 | 2025-03-07 | 03:42 pm - 03:43 pm | LOTERIO | Chua, Luren | , 4th Road Yulo, , Brgy.35, BACOLOD CITY (Capital), Neg. occ. | 0946-5087586 | KSM-IW10-WCT10M1M32 | Joseth | CITI APPLIANCE | INST | DC | C | For Installation | LJN Airconditioning Services | For Installation | 1 | 2025-03-07 | 2025-02-07 13:00 | 2025-02-07 17:00 | Findings - For Installation of SAC, , , , Recommendation - , , , , Repair Done - Installation of SAC | Com1 | E-mail
BAC-00008993 | 2025-03-07 | 03:48 pm - 03:49 pm | LOTERIO | Monteban , Gorlyn | , , , Brgy. Estefania , BACOLOD CITY (Capital), Neg. occ. | 0966-9636841 | KSM-IW10-WCT10M1M32 | Delia | ASIAN HOMES | INST | DC | C | For Installation | RDE Appliance Service Center | For Installation / late generated | 1 | 2025-03-07 | 2025-02-07 09:00 | 2025-02-07 13:00 | Findings - For Installation of SAC, , , Recommendation - , , , Repair Done - Installation of SAC | Com1 | E-mail
BAC-00008994 | 2025-03-07 | 03:59 pm - 04:00 pm | LOTERIO | Palencia, Aireen | , Block 44 Lot 22-24, Town n Country, Zone 15, CITY OF TALISAY, Neg. occ. | 0963-7085833 | KSM-IW10-WCT10M1M32 | Dolly | ASIAN HOMES | INST | DC | C | For Installation | DJB Aircon And Refrigeration Repair Shop | For Installation | 1 | 2025-03-07 | 2025-02-07 09:00 | 2025-02-07 13:00 | Findings - For Installation of SAC, , , , Recommendation - , , , , Repair Done - Installation of SAC | Com1 | E-mail
BAC-00008995 | 2025-03-07 | 04:03 pm - 04:04 pm | LOTERIO | Monte Solar Energy Inc. | , Tamisu, , Brgy. Tamisu, BAIS CITY, Neg . Occ. | 0917-8427162 | KLG-IF40-5G1M32-I | Dolly | VIC IMPERIAL APP | INST | DC | C | For Installation | DJB Aircon And Refrigeration Repair Shop | For Installation | 1 | 2025-03-07 | 2025-02-07 10:00 | 2025-02-07 15:00 | Findings - For Installation of FAC, , , , , Recommendation - , , , Repair Done - Installation of FAC | Com1 | E-mail
BAC-00008996 | 2025-03-07 | 04:23 pm - 04:24 pm | LOTERIO | Mariano Peroti Accounting Office | CEMPCO Bldg.,, Mabini St., , Brgy. 26, BACOLOD CITY (Capital), Neg. occ. | 0977-6235166 | KSM-IW15-WCT10M1M32 | Edsiel Rose | APPLIANCE CENTRUM | INST | DC | C | For Installation | AMPS Refrigeration & Air-conditioning Services | For Installation | 1 | 2025-03-07 | 2025-03-07 09:00 | 2025-03-07 13:00 | Findings - For Installation of SAC, , , Recommendation - , , , Repair Done - Installation of SAC | Com1 | E-mail
BAC-00008997 | 2025-03-07 | 04:28 pm - 04:29 pm | LOTERIO | Barillo, Edgardo | , L12 B2 Phase 1, Slida St., JR. Torres Ave., , Brgy. Singcang, BACOLOD CITY (Capital), Neg. occ. | 0915-6413295 | KSM-IW10-WCT10M1M32 | Edsiel Rose | APPLIANCE CENTRUM | INST | DC | C | For Installation | AMPS Refrigeration & Air-conditioning Services | For Installation | 1 | 2025-03-07 | 2025-03-07 10:00 | 2025-03-07 15:00 | Findings - For Installation of SAC, , , Recommendation - , , , Repair Done - Installation of SAC | Com1 | E-mail
BAC-00008998 | 2025-04-07 | 03:19 pm - 03:20 pm | LOTERIO | Leynes, Kevin | , Infantest st, , Brgy. Poblacion, VALLADOLID, Neg. occ. | 0963-9439561 | KSM-IW20-WCT10M1M32 | Dolly | ASIAN HOMES | INST | DC | C | For Installation | DJB Aircon And Refrigeration Repair Shop | For Installation | 1 | 2025-04-07 | 2025-04-07 09:00 | 2025-04-07 13:00 | Findings - For Installation of SAC, , , Recommendation - , , , Repair Done - Installation of SAC | Com1 | E-mail
BAC-00008999 | 2025-04-07 | 03:30 pm - 03:31 pm | LOTERIO | SA Baloyo Dental Clinic | Negros First Cyber Center, , , Brgy. 13, BACOLOD CITY (Capital), Neg. occ. | 0968-3292975 | KSM-IW25-WCT10M1M32 | Joseth | VIC IMPERIAL APP | INST | DC | C | For Installation | LJN Airconditioning Services | For Installation | 1 | 2025-04-07 | 2025-02-07 09:00 | 2025-02-07 13:00 | Findings - For Installation of SAC, , , Recommendation - , , , Repair Done - Installation of SAC | Com1 | E-mail
BAC-00009000 | 2025-05-07 | 09:38 am - 09:40 am | LOTERIO | Echaus, Donna | , , ayala north point, , CITY OF TALISAY, Neg. occ. | 0917-1182114 | KAG-240RSINV | Jean |  | TS | DC | C | Not Cooling | Bacolod Polaris Enterprises | For trouble shoot | 1 | 2025-05-07 | 2025-05-07 10:00 | 2025-05-07 12:00 | Findings - defective mainboard and fan motor, , , Recommendation - for replacement of def. parts, , , Repair Done - Repair replace defective parts unit ok | Com1 | E-mail
BAC-00009001 | 2025-10-07 | 02:27 pm - 02:28 pm | LOTERIO | GAB Appliance Service Center | , Magsaysay st. , , Zone 12 , CITY OF TALISAY, Neg . Occ. |  | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of Inst. materials ( late generate due to no internet connection) | 1 | 2025-10-07 | 2025-10-07 14:30 | 2025-10-07 14:35 | Findings - Sale of Inst. materials, , , Recommendation - , , , Repair Done - Sale of Inst. materials | Com1 | Customer Lounge
BAC-00009002 | 2025-10-07 | 02:41 pm - 02:42 pm | LOTERIO | Gemsel, | , , , , LA CARLOTA CITY, Neg. occ. | 0910-1010613 | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of parts (late generated due to no internet connection) | 1 | 2025-10-07 | 2025-10-07 14:45 | 2025-10-07 14:50 | Findings - SOP, , , Recommendation - , , , Repair Done - SOP | Com1 | Customer Lounge
BAC-00009003 | 2025-10-07 | 02:55 pm - 02:57 pm | LOTERIO | Go, Delfin | , , , , BACOLOD CITY (Capital), Neg. occ. | 0917-5487588 | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of parts | 1 | 2025-10-07 | 2025-10-07 15:00 | 2025-10-07 15:05 | Findings - SOP, , , Recommendation - , , , Repair Done - SOP | Com1 | Customer Lounge
BAC-00009004 | 2025-10-07 | 03:27 pm - 03:29 pm | LOTERIO | Barzo, Danna Marie | , Villa Lucasan, , Brgy. Manadalagan, BACOLOD CITY (Capital), Neg. occ. | 0919-3620927 | KWD-BLC-2088B |  | VIC IMPERIAL APP | TS | FD | W | Can't Dispense Water | LJN Airconditioning Services | For trouble shoot (late generated due to no internet connection) | 1 | 2025-10-07 | 2025-07-07 14:00 | 2025-07-07 16:00 | Findings - can't dispense water def. water pump, , , Recommendation - for replacement of def. parts, , , Repair Done - Repair replace water pump unit ok | Com1 | Vanity Hotline
BAC-00009005 | 2025-10-07 | 03:34 pm - 03:36 pm | LOTERIO | Mrs. Develdos, Vevereth | Dorm 1028, La Salle Avenue, , , BACOLOD CITY (Capital), Neg. occ. | 0938-6707217 | KAG-100WCINV |  |  | TS | PO | C | Not Cooling | DJB Aircon And Refrigeration Repair Shop | For shop repair / late generated due to no internet connection | 2 | 2025-10-07 | 07/16/2025 12:00 am | 07/16/2025 12:00 am | Findings - Unit leakage, , , Recommendation - Pull out for shop reapir, , , Repair Done - Done repair, repair leakage, ready for delivery | Com1 | Second Action
BAC-00009006 | 2025-11-07 | 09:27 am - 09:28 am | LOTERIO | Cutanda, Beulah | , Block 2 Lot 5, Pueblo San Antonio Phase 3, Brgy. Zone 12-A, CITY OF TALISAY, Neg. occ. | 0917-1627001 | KCB-BLC-8859T | Kimberlyn | ASIAN HOMES | TS | DC | W | Can't Dispense Water | GAB Appliance Service Center - Bacolod | For trouble shoot (late generated due to no internet connection) | 1 | 2025-11-07 | 2025-09-07 10:00 | 2025-09-07 12:00 | Findings - Unit dripping detached hose, , , Recommendation - , , , Repair Done - Repair fixed hose tight unit ok | Com1 | E-mail
BAC-00009007 | 2025-11-07 | 09:31 am - 09:32 am | LOTERIO | Callanta , Rosemarie | , Block 10 lot 55, Town and Country , , CITY OF TALISAY, Neg. occ. | 0917-3002933 | KSM-IW10-WCT10M1M32 | Kimberlyn | ROBINSONS | INST | DC | C | For Installation | GAB Appliance Service Center - Bacolod | For Installation (late generated due to no internet connection) | 1 | 2025-11-07 | 2025-08-07 09:00 | 2025-08-07 13:00 | Findings - For Installation of SAC, , , Recommendation - , , , Repair Done - Installation of SAC | Com1 | E-mail
BAC-00009008 | 2025-11-07 | 09:38 am - 09:39 am | LOTERIO | Castigador, Joemerex | , B15 L31 Phase 2 , Lumina Homes, Brgy. Vista Alegre, BACOLOD CITY (Capital), Neg. occ. | 0963-1611488 | KSM-IW15-WCT10M1M32 | Kimberlyn | ROBINSONS | INST | DC | C | For Installation | GAB Appliance Service Center - Bacolod | For Installation / late generated | 1 | 2025-11-07 | 2025-08-07 13:00 | 2025-08-07 17:00 | Findings - For Installation of SAC, , , Recommendation - , , , Repair Done - Installation of SAC | Com1 | Dealer Service Request - Mobile
BAC-00009009 | 2025-11-07 | 09:42 am - 09:44 am | LOTERIO | Binas, Ian | , B7 L15 Phase 3, Menlo Heights Ext, Zone 12, CITY OF TALISAY, Neg. occ. | 0929-7752611 | KSG-IWF-25WFY-8K1M32-I | Kimberlyn | ROBINSONS | INST | DC | C | For Installation | GAB Appliance Service Center - Bacolod | For Installation / late generated | 1 | 2025-11-07 | 2025-08-07 09:00 | 2025-08-07 13:00 | Findings - For Installation of SAC, , , Recommendation - , , , Repair Done - Installation of SAC | Com1 | E-mail
BAC-00009010 | 2025-11-07 | 09:49 am - 09:51 am | LOTERIO | Almenaza, Neolita | , Sampaguita St., Elena Subd., , SILAY CITY, Neg. occ. | 0943-7077119 | KA-100MCARINV32 | Kimberlyn | ROBINSONS | TS | DC | W | Dead Set | GAB Appliance Service Center - Bacolod | For check up late generated due to no internet connection) | 1 | 2025-11-07 | 2025-09-07 11:00 | 2025-09-07 12:00 | Findings - Defective display board, , , Recommendation - for replacement of def. parts, , , Repair Done - Check up | Inc-06 | E-mail
BAC-00009011 | 2025-11-07 | 11:41 am - 11:44 am | LOTERIO | Moradas, Esada Alfredo | , Hda. Conchita 3, , Barangay Paraiso, SAGAY CITY, Neg. occ. | 0985-2175374 | KAM-55CMC32 | socmed |  | TS | FD | C | Not Cooling | Makoy's Refrigeration | For check up | 1 | 2025-11-07 | 2025-12-07 15:00 | 2025-12-07 15:30 | Findings - Detached thermostat sensor, , , Recommendation - , , , Repair Done - Aligned thermostat sensor | Com1 | E-mail
BAC-00009012 | 2025-11-07 | 01:16 pm - 01:17 pm | LOTERIO | Almenaza, Neolita | , Sampaguita St., Elena Subd., , SILAY CITY, Neg. occ. | 0943-7077119 | KA-100MCARINV32 |  | ROBINSONS | TS | FD | W | No Power Supply | GAB Appliance Service Center - Bacolod | Defective display board (late generated due to no internet connection | 2 | 2025-11-07 | 2025-10-07 15:00 | 2025-10-07 16:00 | Findings - Defective display board, , , Recommendation - for replacement of def. parts, , , Repair Done - Repair replace display board unit ok | Com1 | Second Action
BAC-00009013 | 2025-11-07 | 01:23 pm - 01:23 pm | LOTERIO | Andrew Gabiosa, Andrew Gabiosa | , Alonzo St. , , Brgy. Zone 8 , CITY OF TALISAY, Neg. occ. | 0929-4718585 | KSM-IW25-WCT10M1M32 | Kimberlyn | ROBINSONS | INST | DC | C | For Installation | GAB Appliance Service Center - Bacolod | For Installation / late generated | 1 | 2025-11-07 | 2025-09-07 09:00 | 2025-09-07 13:00 | Findings - For Installation of SAC, , , Recommendation - , , , Repair Done - Installation of SAC | Com1 | E-mail
BAC-00009014 | 2025-11-07 | 01:27 pm - 01:28 pm | LOTERIO | Caratao, Jennifer | , Lot 9 Blk 7, Capitol Heights, Brgy. Mandalagan, BACOLOD CITY (Capital), Neg. occ. | 0942-0781937 | KSG-IWF-10WFY-8K1M32-I | Kimberlyn | ROBINSONS | INST | DC | C | For Installation | GAB Appliance Service Center - Bacolod | For Installation / late generated | 1 | 2025-11-07 | 2025-10-07 09:00 | 2025-10-07 13:00 | Findings - For Installation of SAC, , , Recommendation - , , , Repair Done - Installation of SAC | Com1 | E-mail
BAC-00009015 | 2025-11-07 | 01:37 pm - 01:38 pm | LOTERIO | Bacolod Polaris Enterprise Inc. | , Lacson ext.-Magsaysay ave., , , BACOLOD CITY (Capital), Neg . Occ. |  | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of parts ref. no. sjr bac 00009000 | 1 | 2025-11-07 | 2025-11-07 13:40 | 2025-11-07 13:45 | Findings - SOP, , , Recommendation - , , , Repair Done - SOP | Com1 | Customer Lounge
BAC-00009016 | 2025-11-07 | 04:31 pm - 04:32 pm | LOTERIO | Baloyo, Sharmaime Anne | , Blk1 Marli Drive , Palmas Del Mar Subd., Brgy. Singcang, BACOLOD CITY (Capital), Neg. occ. | 0919-2122947 | KSG-IWF-30WFY-8K1M32-I | Joseth | CITI APPLIANCE | INST | DC | C | For Installation | LJN Airconditioning Services | For Installation / late generated | 1 | 2025-11-07 | 2025-04-07 09:00 | 2025-04-07 13:00 | Findings - For Installation of SAC, , , Recommendation - , , , Repair Done - Installation of SAC | Com1 | E-mail
BAC-00009017 | 2025-11-07 | 04:41 pm - 04:42 pm | LOTERIO | Rivera, Jee Ann | , KM 9, San Jose, Brgy. Sum-ag, BACOLOD CITY (Capital), Neg. occ. | 0933-5861818 | KSM-IW10-WCT10M1M32 | Dolly | ASIAN HOMES | INST | DC | C | For Installation | DJB Aircon And Refrigeration Repair Shop | For Installation / late generated | 1 | 2025-11-07 | 2025-07-07 09:00 | 2025-07-07 13:00 | Findings - For Installation of SAC, , , Recommendation - , , , Repair Done - Installation of SAC | Com1 | E-mail
BAC-00009018 | 2025-11-07 | 04:57 pm - 04:58 pm | LOTERIO | Jam's Branded Collection | , Luzuriaga St., , , BACOLOD CITY (Capital), Neg. occ. | 0985-4411357 | KLG-SF40-WBR6H1M32-I | Jean | BACOLOD POLARIS | INST | DC | C | For Installation | Bacolod Polaris Enterprises | For Installation / late generated | 1 | 2025-11-07 | 2025-09-07 10:00 | 2025-09-07 16:00 | Findings - For Installation of FAC, , , Recommendation - , , , Repair Done - Installation of FAC | Com1 | E-mail
BAC-00009019 | 2025-11-07 | 05:00 pm - 05:01 pm | LOTERIO | Jam's Branded Collection | , Luzuriaga St., , , BACOLOD CITY (Capital), Neg. occ. | 0985-4411357 | KLG-SF40-WBR6H1M32-I | Jean | BACOLOD POLARIS | INST | DC | C | For Installation | Bacolod Polaris Enterprises | For Installation / late generated | 1 | 2025-11-07 | 2025-09-07 10:00 | 2025-09-07 16:00 | Findings - For Installation of FAC, , , Recommendation - , , , Repair Done - Installation of FAC | Com1 | E-mail
BAC-00009020 | 2025-11-07 | 05:04 pm - 05:05 pm | LOTERIO | San Isidro Academy | , , , Brgy. 4, MOISES PADILLA (MAGALLON), Neg. occ. | 0950-8720585 | KSM-IW15-WCT10M1M32 | Jean | BACOLOD POLARIS | INST | DC | C | For Installation | Bacolod Polaris Enterprises | For Installation / late generated | 1 | 2025-11-07 | 2025-09-07 09:00 | 2025-09-07 13:00 | Findings - For Installation of SAC, , , Recommendation - , , , Repair Done - Installation of SAC | Com1 | E-mail
BAC-00009021 | 2025-11-07 | 05:09 pm - 05:10 pm | LOTERIO | Yang Xiaining Huanyu Energy Corp. | , , , Brgy. Vista Alegre, BACOLOD CITY (Capital), Neg. occ. | 0977-6580735 | KSM-IW15-WCT10M1M32 | Jean | VIC IMPERIAL APP | INST | DC | C | For Installation | Bacolod Polaris Enterprises | For Installation / late generated | 1 | 2025-11-07 | 2025-09-07 10:00 | 2025-09-07 17:00 | Findings - For Installation of SAC, , , Recommendation - , , , Repair Done - Installation of SAC | Com1 | E-mail
BAC-00009022 | 2025-11-07 | 05:12 pm - 05:13 pm | LOTERIO | Yang Xiaining Huanyu Energy Corp. | , , , Brgy. Vista Alegre, BACOLOD CITY (Capital), Neg. occ. | 0977-6580735 | KSM-IW15-WCT10M1M32 | Jean | BACOLOD POLARIS | INST | DC | C | For Installation | Bacolod Polaris Enterprises | For Installation / late generated | 1 | 2025-11-07 | 2025-09-07 10:00 | 2025-09-07 17:00 | Findings - For Installation of SAC, , , Recommendation - , , , Repair Done - Installation of SAC | Com1 | E-mail
BAC-00009023 | 2025-11-07 | 05:16 pm - 05:17 pm | LOTERIO | Yang Xiaining Huanyu Energy Corp. | , , , Brgy. Vista Alegre, BACOLOD CITY (Capital), Neg. occ. | 0977-6580735 | KSM-IW15-WCT10M1M32 | Jean | BACOLOD POLARIS | INST | DC | C | For Installation | Bacolod Polaris Enterprises | For Installation / late generated | 1 | 2025-11-07 | 2025-09-07 10:00 | 2025-09-07 17:00 | Findings - For Installation of SAC, , , Recommendation - , , , Repair Done - Installation of SAC | Com1 | E-mail
BAC-00009024 | 2025-11-07 | 05:19 pm - 05:20 pm | LOTERIO | Yang Xiaining Huanyu Energy Corp. | , , , Brgy. Vista Alegre, BACOLOD CITY (Capital), Neg. occ. | 0977-6580735 | KL-IF60-G6H1M32-I | Jean | BACOLOD POLARIS | INST | DC | C | For Installation | Bacolod Polaris Enterprises | For Installation / late generated | 1 | 2025-11-07 | 2025-09-07 10:00 | 2025-09-07 17:00 | Findings - For Installation of FAC, , , Recommendation - , , , Repair Done - Installation of FAC | Com1 | E-mail
BAC-00009025 | 2025-11-07 | 05:22 pm - 05:23 pm | LOTERIO | Yang Xiaining Huanyu Energy Corp. | , , , Brgy. Vista Alegre, BACOLOD CITY (Capital), Neg. occ. | 0977-6580735 | KL-IF60-G6H1M32-I | Jean | BACOLOD POLARIS | INST | DC | C | For Installation | Bacolod Polaris Enterprises | For Installation / late generated | 1 | 2025-11-07 | 2025-09-07 10:00 | 2025-09-07 17:00 | Findings - For Installation of FAC, , , Recommendation - , , , Repair Done - Installation of FAC | Com1 | E-mail
BAC-00009026 | 2025-11-07 | 05:28 pm - 05:29 pm | LOTERIO | Slow foods | , Gatuslao St, , , BACOLOD CITY (Capital), Neg. occ. | 0976-3172885 | KSM-IW25-WCT10M1M32 | Jean | BACOLOD POLARIS | INST | DC | C | For Installation | Bacolod Polaris Enterprises | For Installation / late generated | 1 | 2025-11-07 | 2025-10-07 09:00 | 2025-10-07 13:00 | Findings - For Installation of SAC, , , Recommendation - , , , Repair Done - Installation of SAC | Com1 | E-mail
BAC-00009027 | 2025-11-07 | 05:35 pm - 05:35 pm | LOTERIO | Salabas, Elizabeth | , Banga Aning, , Brgy. Pahanocoy, BACOLOD CITY (Capital), Neg. occ. | 0999-3127147 | KSM-IW10-WCT10M1M32 | Jean | BACOLOD POLARIS | INST | DC | C | For Installation | Bacolod Polaris Enterprises | For Installation / late generated | 1 | 2025-11-07 | 2025-10-07 10:00 | 2025-10-07 15:00 | Findings - For Installation of SAC, , , Recommendation - , , , Repair Done - Installation of SAC | Com1 | E-mail
BAC-00009028 | 2025-11-07 | 05:39 pm - 05:40 pm | LOTERIO | Remitio, Raffy | , , , , CITY OF HIMAMAYLAN, Neg. occ. | 0917-73013403 | KSM-IW15-WCT10M1M32 | Jean | BACOLOD POLARIS | INST | DC | C | For Installation | Bacolod Polaris Enterprises | For Installation / late generated | 1 | 2025-11-07 | 2025-10-07 11:00 | 2025-10-07 17:00 | Findings - For Installation of SAC, , , Recommendation - , , , Repair Done - Installation of SAC | Com1 | E-mail
BAC-00009029 | 2025-11-07 | 05:44 pm - 05:45 pm | LOTERIO | Bcd Farmers Supply Corp | , Lacson Extension , , Brgy. Taculing, BACOLOD CITY (Capital), Neg. occ. | 0920-9810000 | KSG-IWF-30WFY-8K1M32-I | Jean | BACOLOD POLARIS | INST | DC | C | For Installation | Bacolod Polaris Enterprises | For Installation / late generated | 1 | 2025-11-07 | 2025-11-07 10:00 | 2025-11-07 15:00 | Findings - For Installation of SAC, , , Recommendation - , , , Repair Done - Installation of SAC | Com1 | Dealer Service Request - Mobile
BAC-00009030 | 2025-11-07 | 05:48 pm - 05:50 pm | LOTERIO | Andres Fontanilla, Andres Fontanilla | , , Rosario Heights, Brgy. Taculing, BACOLOD CITY (Capital), Neg. occ. | 0920-6151073 | KSM-IW25-WCT10M1M32 | Jean | BACOLOD POLARIS | INST | DC | C | For Installation | Bacolod Polaris Enterprises | For Installation / late generated | 1 | 2025-11-07 | 2025-11-07 10:00 | 2025-11-07 15:00 | Findings - For Installation of SAC, , , Recommendation - , , , Repair Done - Installation of SAC | Com1 | E-mail
BAC-00009031 | 2025-11-07 | 05:55 pm - 05:55 pm | LOTERIO | Delia Ocdinaria, Delia Ocdinaria | , Sitio Cogon, , Brgy. Alimango, BACOLOD CITY (Capital), Neg. occ. | 0917-1231791 | KLG-IF40-5G1M32-I | Kimberlyn | ROBINSONS | INST | DC | C | For Installation | GAB Appliance Service Center - Bacolod | For Installation | 1 | 2025-11-07 | 2025-11-07 09:00 | 2025-11-07 14:00 | Findings - For Installation of FAC, , , Recommendation - , , , Repair Done - Installation of FAC | Com1 | E-mail
BAC-00009032 | 07/14/2025 | 10:11 am - 10:12 am | LOTERIO | RA Construction Development | , Rizal St., , Brgy. 24, BACOLOD CITY (Capital), Neg. occ. | 0985-5784431 | KL-IF60-G6H1M32-I | Edsiel Rose | APPLIANCE CENTRUM | INST | DC | C | For Installation | AMPS Refrigeration & Air-conditioning Services | For Installation / late generated | 1 | 07/14/2025 | 2025-10-07 10:00 | 2025-11-07 13:00 | Findings - For Installation of FAC, , , Recommendation - , , , Repair Done - Installation of FAC | Com1 | E-mail
BAC-00009033 | 07/14/2025 | 10:14 am - 10:15 am | LOTERIO | RA Construction Development | , Rizal St., , Brgy. 24, BACOLOD CITY (Capital), Neg. occ. | 0985-5784431 | KSM-IW25-WCT10M1M32 | Edsiel Rose | APPLIANCE CENTRUM | INST | DC | C | For Installation | AMPS Refrigeration & Air-conditioning Services | For Installation / late generated | 1 | 07/14/2025 | 2025-10-07 10:00 | 2025-11-07 13:00 | Findings - For Installation of SAC, , , Recommendation - , , , Repair Done - Installation of SAC | Com1 | E-mail
BAC-00009034 | 07/14/2025 | 10:16 am - 10:17 am | LOTERIO | RA Construction Development | , Rizal St., , Brgy. 24, BACOLOD CITY (Capital), Neg. occ. | 0985-5784431 | KSM-IW25-WCT10M1M32 | Edsiel Rose | APPLIANCE CENTRUM | INST | DC | C | For Installation | AMPS Refrigeration & Air-conditioning Services | For Installation / late generated | 1 | 07/14/2025 | 2025-10-07 10:00 | 2025-11-07 13:00 | Findings - For Installation of SAC, , , Recommendation - , , , Repair Done - Installation of SAC | Com1 | Dealer Service Request - Mobile
BAC-00009035 | 07/14/2025 | 10:19 am - 10:20 am | LOTERIO | RA Construction Development | , Rizal St., , Brgy. 24, BACOLOD CITY (Capital), Neg. occ. | 0985-5784431 | KSM-IW15-WCT10M1M32 | Edsiel Rose | APPLIANCE CENTRUM | INST | DC | C | For Installation | AMPS Refrigeration & Air-conditioning Services | For Installation / late generated | 1 | 07/14/2025 | 2025-10-07 10:00 | 2025-11-07 13:00 | Findings - For Installation of SAC, , , Recommendation - , , , Repair Done - Installation of SAC | Com1 | E-mail
BAC-00009036 | 07/14/2025 | 10:24 am - 10:24 am | LOTERIO | Mendoza, Celia | , Block 8 Lot 34, Cambridge Town and Country, Brgy Zone 15, CITY OF TALISAY, Neg. occ. | 0999-6661623 | KSG-IWF-15WFY-8K1M32-I | Edsiel Rose | APPLIANCE CENTRUM | INST | DC | C | For Installation | AMPS Refrigeration & Air-conditioning Services | For Installation / late generated | 1 | 07/14/2025 | 2025-11-07 09:00 | 2025-11-07 13:00 | Findings - For Installation of SAC, , , Recommendation - , , , Repair Done - Installation of SAC | Com1 | E-mail
BAC-00009037 | 07/14/2025 | 10:30 am - 10:32 am | LOTERIO | BRGY.Estefania ,Brgy Hall | , Sofia Gonzaga St., Crossing Ist Road, , Brgy. Estefania, BACOLOD CITY (Capital), Neg. occ. | 0928-1479357 | KSM-IW20-WCT10M1M32 | Edsiel Rose | APPLIANCE CENTRUM | INST | DC | C | For Installation | AMPS Refrigeration & Air-conditioning Services | For Installation / late generated | 1 | 07/14/2025 | 2025-11-07 10:00 | 2025-11-07 15:00 | Findings - For Installation of SAC, , , Recommendation - , , , Repair Done - Installation of SAC | Com1 | E-mail
BAC-00009038 | 07/14/2025 | 10:35 am - 10:36 am | LOTERIO | Angry Monkei | , Lacson St., , Brgy. 7, BACOLOD CITY (Capital), Neg. occ. | 0907-4284218 | KL-IF60-G6H1M32-I | Edsiel Rose | APPLIANCE CENTRUM | INST | DC | C | For Installation | AMPS Refrigeration & Air-conditioning Services | For Installation / late generated | 1 | 07/14/2025 | 2025-12-07 10:00 | 2025-12-07 16:00 | Findings - For Installation of FAC, , , Recommendation - , , , Repair Done - Installation of FAC | Com1 | E-mail
BAC-00009039 | 07/14/2025 | 10:37 am - 10:38 am | LOTERIO | Angry Monkei | , Lacson St., , Brgy. 7, BACOLOD CITY (Capital), Neg. occ. | 0907-4284218 | KSM-IW25-WCT10M1M32 | Edsiel Rose | APPLIANCE CENTRUM | INST | DC | C | For Installation | AMPS Refrigeration & Air-conditioning Services | For Installation / late generated | 1 | 07/14/2025 | 2025-12-07 10:00 | 2025-12-07 15:00 | Findings - For Installation of SAC, , , Recommendation - , , , Repair Done - Installation of SAC | Com1 | E-mail
BAC-00009040 | 07/14/2025 | 10:44 am - 10:46 am | LOTERIO | LITTLE, JO ANNE | , LOT 2 BLK. 7 , SAN JOSE VILLAGE , BRGY. POBLACION, SAGAY CITY, Neg . Occ. | 0920-4189909 | KSM-IW10-WCT10M1M32 | Delia | ROBINSONS | INST | DC | C | For Installation | RDE Appliance Service Center | For Installation / late generated | 1 | 07/14/2025 | 2025-11-07 09:00 | 2025-11-07 13:00 | Findings - For Installation of SAC, , , Recommendation - , , , Repair Done - Installation of SAC | Com1 | E-mail
BAC-00009041 | 07/14/2025 | 10:50 am - 10:51 am | LOTERIO | Monicado, Joel | , , , Brgy. Mandalagan, BACOLOD CITY (Capital), Neg. occ. | 0949-7788114 | KSG-IWF-10WFY-8K1M32-I | Kimberlyn | ROBINSONS | INST | DC | C | For Installation | GAB Appliance Service Center - Bacolod | For Installation / late generated | 1 | 07/14/2025 | 2025-12-07 09:00 | 2025-12-07 13:00 | Findings - For Installation of SAC, , , Recommendation - , , , Repair Done - Installation of SAC | Com1 | E-mail
BAC-00009042 | 07/14/2025 | 04:05 pm - 04:06 pm | LOTERIO | Lions Park | , Lions park Lizare st, , , BACOLOD CITY (Capital), Neg. occ. | 0933-8545792 | KEA-120BDR |  | BACOLOD POLARIS | DEL | FD | W | For Delivery Shop Repair | LJN Airconditioning Services | Delivery of shop repair unit / late generated due to no internet connection | 1 | 07/14/2025 | 2025-08-07 15:00 | 2025-08-07 16:00 | Findings - Delivery of shop repair unit, , , , , Recommendation - , , , Repair Done - Delivered shop repair unit | Com1 | Vanity Hotline
BAC-00009043 | 07/14/2025 | 04:07 pm - 04:08 pm | LOTERIO | Lions Park | , Lions park Lizare st, , , BACOLOD CITY (Capital), Neg. occ. | 0933-8545792 | KEA-120BDR |  | BACOLOD POLARIS | DEL | FD | W | For Delivery Shop Repair | LJN Airconditioning Services | Delivery of shop repair unit / late generated due to no internet connection | 1 | 07/14/2025 | 2025-08-07 15:00 | 2025-08-07 16:00 | Findings - Delivery of shop repair unit, , , , , Recommendation - , , , Repair Done - Delivered shop repair unit | Com1 | Vanity Hotline
BAC-00009044 | 07/15/2025 | 12:45 pm - 12:46 pm | LOTERIO | SUGARLAND HOTEL | SUGARLAND BLDG., ARANETA ST.,, , BRGY. SINGCANG, BACOLOD CITY (Capital), Neg . Occ. | 0991-7216533 | KPA-100R10N410 |  | CITI APPLIANCE | DEL | FD | W | For Delivery Shop Repair | LJN Airconditioning Services | Delivery of shop repair unit | 1 | 07/15/2025 | 07/15/2025 01:30 pm | 07/15/2025 02:00 pm | Findings - Delivery of shop repair unit, , , Recommendation - , , , Repair Done - Delivered shop repair unit | Com1 | Vanity Hotline
BAC-00009045 | 07/15/2025 | 02:08 pm - 02:09 pm | LOTERIO | Bacolod Polaris Enterprise Inc. | , Lacson ext.-Magsaysay ave., , , BACOLOD CITY (Capital), Neg . Occ. |  | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of parts | 1 | 07/15/2025 | 07/15/2025 02:15 pm | 07/15/2025 02:20 pm | Findings - SOP, , , Recommendation - , , , Repair Done - SOP | Com1 | Customer Lounge
BAC-00009046 | 07/15/2025 | 04:52 pm - 04:55 pm | LOTERIO | Fernandez, Robby | , , Gamboa Subd, Brgy. Zone 2, CITY OF TALISAY, Neg. occ. | 0966-8202913 | KSM-IW15-WCT10M1M32 | Kimberlyn | ROBINSONS | INST | DC | C | For Installation | GAB Appliance Service Center - Bacolod | For Installation / late generated | 1 | 07/15/2025 | 07/14/2025 09:00 am | 07/14/2025 01:00 pm | Findings - For Installation of SAC, , , Recommendation - , , , Repair Done - Installation of SAC | Com1 | E-mail
BAC-00009047 | 07/15/2025 | 05:00 pm - 05:02 pm | LOTERIO | ACROPOLIS GARDENS | , Rose Lawn St, Goldcrest , BRGY. BATA, BACOLOD CITY (Capital), Neg . Occ. | 0919-0662084 | KSM-IW20-WCT10M1M32 | Dolly | ASIAN HOMES | INST | DC | C | For Installation | DJB Aircon And Refrigeration Repair Shop | For Installation | 1 | 07/15/2025 | 07/15/2025 09:00 am | 07/15/2025 01:00 pm | Findings - For Installation of SAC, , , Recommendation - , , , Repair Done - Installation of SAC | Com1 | E-mail
BAC-00009048 | 07/15/2025 | 05:05 pm - 05:06 pm | LOTERIO | Heritage Dormitory | , Cl Montebano, , Brgy. Villamonte, BACOLOD CITY (Capital), Neg. occ. | 0918-8000766 | KSM-IW20-WCT10M1M32 | Dolly | ASIAN HOMES | INST | DC | C | For Installation | DJB Aircon And Refrigeration Repair Shop | For Installation | 1 | 07/15/2025 | 07/15/2025 01:00 pm | 07/15/2025 05:00 pm | Findings - For Installation of SAC, , , Recommendation - , , , Repair Done - Installation of SAC | Com1 | E-mail
BAC-00009049 | 07/15/2025 | 05:16 pm - 05:17 pm | LOTERIO | Saldavia, Klien | , BLK 6 LOT 19, Southspring, Brgy. Mansilingan, BACOLOD CITY (Capital), Neg. occ. | 0962-8730428 | KSM-IW15-WCT10M1M32 | Edsiel Rose | APPLIANCE CENTRUM | INST | DC | C | For Installation | AMPS Refrigeration & Air-conditioning Services | For Installation | 1 | 07/15/2025 | 07/15/2025 10:00 am | 07/15/2025 03:00 pm | Findings - For Installation of SAC, , , Recommendation - , , , Repair Done - Installation of SAC | Com1 | E-mail
BAC-00009050 | 07/16/2025 | 03:38 pm - 03:39 pm | LOTERIO | Bacolod Polaris Enterprise Inc. | , Lacson ext.-Magsaysay ave., , , BACOLOD CITY (Capital), Neg . Occ. |  | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of parts | 1 | 07/16/2025 | 07/16/2025 03:40 pm | 07/16/2025 03:45 pm | Findings - SOP, , , Recommendation - , , , Repair Done - SOP | Com1 | Customer Lounge
BAC-00009051 | 07/16/2025 | 03:48 pm - 03:48 pm | LOTERIO | Bacolod Polaris Enterprise Inc. | , Lacson ext.-Magsaysay ave., , , BACOLOD CITY (Capital), Neg . Occ. |  | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of parts | 1 | 07/16/2025 | 07/16/2025 03:50 pm | 07/16/2025 03:55 pm | Findings - SOP, , , Recommendation - , , , Repair Done - SOP | Com1 | Customer Lounge
BAC-00009052 | 07/16/2025 | 03:59 pm - 04:00 pm | LOTERIO | Amp's Refrigeration & Airconditioning Service Center | Door 1 JR Building, Rizal st., , , BACOLOD CITY (Capital), Neg . Occ. |  | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of parts | 1 | 07/16/2025 | 07/16/2025 04:00 pm | 07/16/2025 04:05 pm | Findings - SOP, , , Recommendation - , , , Repair Done - SOP | Com1 | Customer Lounge
BAC-00009053 | 07/17/2025 | 02:10 pm - 02:11 pm | LOTERIO | New Government Center | , Circumferecial Road, Villa Angela, Brgy. Villamonte, BACOLOD CITY (Capital), Neg. occ. | 0999-7356242 | KLM-IC60-AA1M32 | Dolly | APPLIANCE CENTRUM | INST | DC | C | For Installation | DJB Aircon And Refrigeration Repair Shop | For Installation / late generated | 1 | 07/17/2025 | 07/15/2025 10:00 am | 07/15/2025 05:00 pm | Findings - For Installation of CAC, , , Recommendation - , , , Repair Done - Installation of CAC | Com1 | E-mail
BAC-00009054 | 07/17/2025 | 02:13 pm - 02:14 pm | LOTERIO | New Government Center | , Circumferecial Road, Villa Angela, Brgy. Villamonte, BACOLOD CITY (Capital), Neg. occ. | 0999-7356242 | KLM-IC60-AA1M32 | Dolly | APPLIANCE CENTRUM | INST | DC | C | For Installation | DJB Aircon And Refrigeration Repair Shop | For Installation / late generated | 1 | 07/17/2025 | 07/15/2025 10:00 am | 07/15/2025 05:00 pm | Findings - For Installation of CAC, , , Recommendation - , , , Repair Done - Installation of CAC | Com1 | E-mail
BAC-00009055 | 07/17/2025 | 02:17 pm - 02:18 pm | LOTERIO | New Government Center | , Circumferecial Road, Villa Angela, Brgy. Villamonte, BACOLOD CITY (Capital), Neg. occ. | 0999-7356242 | KLM-IC60-AA1M32 | Dolly | APPLIANCE CENTRUM | INST | DC | C | For Installation | DJB Aircon And Refrigeration Repair Shop | For Installation / late generated | 1 | 07/17/2025 | 07/15/2025 10:00 am | 07/15/2025 05:00 pm | Findings - For Installation of CAC, , , Recommendation - , , , Repair Done - Installation of CAC | Com1 | E-mail
BAC-00009056 | 07/17/2025 | 02:35 pm - 02:37 pm | LOTERIO | Medisense Laboratory Center Inc. | , Door #1, Burgos-Lacson Sts., , Brgy. 9, BACOLOD CITY (Capital), Neg. occ. | 0954-4132067 | KSM-IW15-WCT10M1M32 | Edsiel Rose | APPLIANCE CENTRUM | INST | DC | C | For Installation | AMPS Refrigeration & Air-conditioning Services | For Installation / late generated | 1 | 07/17/2025 | 07/16/2025 09:00 am | 07/16/2025 01:00 pm | Findings - For Installation of SAC, , , Recommendation - , , , Repair Done - Installation of SAC | Com1 | E-mail
BAC-00009057 | 07/17/2025 | 03:17 pm - 03:17 pm | LOTERIO | Mac Jils Refrigeration and Aircon Repair Shop | , Lacson st, , Brgy. Mandalagan, BACOLOD CITY (Capital), Neg . Occ. | 7070639 | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of parts | 1 | 07/17/2025 | 07/17/2025 03:15 pm | 07/17/2025 03:20 pm | Findings - SOP, , , Recommendation - , , , Repair Done - SOP | Com1 | Customer Lounge
BAC-00009058 | 07/18/2025 | 10:00 am - 10:02 am | LOTERIO | LJN Airconditioning Service | , 4TH Road Aluna Yulo ext., , Brgy. 35, BACOLOD CITY (Capital), Neg . Occ. | 0999-1584956 | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of parts | 1 | 07/18/2025 | 07/18/2025 10:00 am | 07/18/2025 10:05 am | Findings - SOP, , , Recommendation - , , , Repair Done - SOP | Com1 | Customer Lounge
BAC-00009059 | 07/18/2025 | 01:42 pm - 01:44 pm | LOTERIO | M3 DIALYSIS | 3RD FLOOR NORD MEDICAL HUB, , 506 BS AQUINO DR DRIVE, , BARANGAY 17, BACOLOD CITY (Capital), Neg. occ. | 0917-1866737 | KL-IF60-G6H1M32-I | Krisha | BACOLOD POLARIS | TS | DC | W | E1 Error Code | Mac Jils Air-conditioning and Ref Corporation | For check up | 1 | 07/18/2025 | 07/19/2025 09:00 am | 07/19/2025 10:30 am | Findings - Defective outdoor fan motor, , , Recommendation - for replacement of def. parts, , , , Repair Done - check up for parts request | Inc-05 | E-mail
BAC-00009060 | 07/18/2025 | 01:47 pm - 01:49 pm | LOTERIO | Dr. Pinoy Pharmacy | Art District Bldg. Lopues Mandalagan, , , Brgy. Mandalagan, BACOLOD CITY (Capital), Neg . Occ. |  | KSM-IW20AE-5G1M | Dolly |  | TS | DC | C | E1 Error Code | DJB Aircon And Refrigeration Repair Shop | For trouble shoot | 1 | 07/18/2025 | 07/18/2025 10:00 am | 07/21/2025 12:00 pm | Findings - Error P4 , , , Recommendation - For parts request of outdoor fan motor, , , Repair Done - Replace pcb board error P4 unit not functioning | Inc-05 | E-mail
BAC-00009061 | 07/18/2025 | 01:56 pm - 01:57 pm | LOTERIO | Lagunday, Paulo | , Block 18 Lot 35 , Villa Lolita, Brgy. Lag-asan, BAGO CITY, Neg. occ. | 0949-5851098 | KSM-IW25-WCT10M1M32 | Dolly | ASIAN HOMES | INST | DC | C | For Installation | DJB Aircon And Refrigeration Repair Shop | For Installation | 1 | 07/18/2025 | 07/18/2025 10:00 am | 07/19/2025 12:00 pm | Findings - For Installation of SAC, , , Recommendation - , , , Repair Done - Installation of SAC | Com1 | E-mail
BAC-00009062 | 07/18/2025 | 01:59 pm - 02:00 pm | LOTERIO | Lagunday, Paulo | , Block 18 Lot 35 , Villa Lolita, Brgy. Lag-asan, BAGO CITY, Neg. occ. | 0949-5851098 | KSM-IW10-WCT10M1M32 | Dolly | ASIAN HOMES | INST | DC | C | For Installation | DJB Aircon And Refrigeration Repair Shop | For Installation | 1 | 07/18/2025 | 07/18/2025 10:00 am | 07/19/2025 12:00 pm | Findings - For Installation of SAC, , , Recommendation - , , , Repair Done - Installation of SAC | Com1 | Dealer Service Request - Mobile
BAC-00009063 | 07/18/2025 | 02:02 pm - 02:02 pm | LOTERIO | Lagunday, Paulo | , Block 18 Lot 35 , Villa Lolita, Brgy. Lag-asan, BAGO CITY, Neg. occ. | 0949-5851098 | KSM-IW15-WCT10M1M32 | Dolly | ASIAN HOMES | INST | DC | C | For Installation | DJB Aircon And Refrigeration Repair Shop | For Installation | 1 | 07/18/2025 | 07/18/2025 10:00 am | 07/19/2025 12:00 pm | Findings - For Installation of SAC, , , Recommendation - , , , Repair Done - Installation of SAC | Com1 | E-mail
BAC-00009064 | 07/18/2025 | 02:20 pm - 02:21 pm | LOTERIO | HERBANEXT LABORATORIES INC. | DC CRUZ BLDG., KM 11 SOUTH ROAD, , BRGY. TALOC, BAGO CITY, Neg. occ. | 0906-0529634 | KLG-IF40-5G1M32-I | Delia | CITI APPLIANCE | INST | DC | C | For Installation | RDE Appliance Service Center | For Installation | 1 | 07/18/2025 | 07/18/2025 08:00 am | 07/18/2025 12:00 pm | Findings - For Installation of FAC, , , Recommendation - , , , Repair Done - Installation of FAC | Com1 | E-mail
BAC-00009065 | 07/18/2025 | 02:26 pm - 02:27 pm | LOTERIO | Garaygay, Christine P. | , 17A San Agustin AVE sta.clara subd., Sta. Clara subd., Brgy. Mandalagan , BACOLOD CITY (Capital), Neg. occ. | 0917-5750155 | KSM-IW15-WCT10M1M32 | Delia | ASIAN HOMES | INST | DC | C | For Installation | RDE Appliance Service Center | For Installation | 1 | 07/18/2025 | 07/18/2025 01:00 pm | 07/18/2025 05:00 pm | Findings - For Installation of SAC, , , Recommendation - , , , Repair Done - Installation of SAC | Com1 | E-mail
BAC-00009066 | 07/18/2025 | 02:32 pm - 02:33 pm | LOTERIO | Abelido, Chulip | , Lot 6 Blk 8 Phase 2, Emclaves Ayala Northpoint, Brgy. Zone 15 , CITY OF TALISAY, Neg. occ. | 0968-8526940 | KSM-IW10-WCT10M1M32 | Kimberlyn | ASIAN HOMES | INST | DC | C | For Installation | GAB Appliance Service Center - Bacolod | For Installation | 1 | 07/18/2025 | 07/18/2025 09:00 am | 07/18/2025 01:00 pm | Findings - For Installation of SAC, , , Recommendation - , , , Repair Done - Installation of SAC | Com1 | E-mail
BAC-00009067 | 07/18/2025 | 02:42 pm - 02:43 pm | LOTERIO | Bacolod Polaris Enterprise Inc. | , Lacson ext.-Magsaysay ave., , , BACOLOD CITY (Capital), Neg . Occ. |  | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of parts | 1 | 07/18/2025 | 07/18/2025 02:45 pm | 07/18/2025 02:50 pm | Findings - SOP, , , Recommendation - , , , Repair Done - SOP | Com1 | Customer Lounge
BAC-00009068 | 07/18/2025 | 04:43 pm - 04:44 pm | LOTERIO | Mrs. Develdos, Vevereth | Dorm 1028, La Salle Avenue, , , BACOLOD CITY (Capital), Neg. occ. | 0938-6707217 | KAG-100WCINV |  |  | DEL | FD | C | For Delivery Shop Repair | DJB Aircon And Refrigeration Repair Shop | Delivery of shopr repair unit | 1 | 07/18/2025 | 07/18/2025 10:00 am | 07/18/2025 11:00 am | Findings - Delivery of shop repair unit, , , Recommendation - , , , Repair Done - Delivered shop repair unit | Com1 | Vanity Hotline
BAC-00009069 | 07/19/2025 | 09:39 am - 09:40 am | LOTERIO | Lamela, Diana | , 16-31 Anda Lucia st., Eroreco, Brgy. Mandalagan, BACOLOD CITY (Capital), Neg. occ. | 0916-5480508 | KA-150MCARINV32 | Diana Lamela | VIC IMPERIAL APP | INST | FD | C | For Installation | DJB Aircon And Refrigeration Repair Shop | For Installation | 1 | 07/19/2025 | 07/19/2025 12:00 am | 07/19/2025 12:00 am | Findings - Installation Window Type, , , Recommendation - for installation, , , Repair Done - Done installation | Com1 | Vanity Hotline
BAC-00009070 | 07/19/2025 | 10:38 am - 10:39 am | LOTERIO | Rural Healht Center Murcia | , , , Brgy Zone 3, MURCIA, Neg. occ. | 0909-4581649 | KSM-IW15-WCT10M1M32 | Joseth | CITI APPLIANCE | INST | DC | C | For Installation | LJN Airconditioning Services | For Installation / late generated | 1 | 07/19/2025 | 07/17/2025 01:00 pm | 07/17/2025 06:00 pm | Findings - For Installation of SAC, , , Recommendation - , , , Repair Done - Installation of SAC | Com1 | E-mail
BAC-00009071 | 07/19/2025 | 10:41 am - 10:41 am | LOTERIO | Rural Healht Center Murcia | , , , Brgy Zone 3, MURCIA, Neg. occ. | 0909-4581649 | KSM-IW20-WCT10M1M32 | Joseth | CITI APPLIANCE | INST | DC | C | For Installation | LJN Airconditioning Services | For Installation / late generated | 1 | 07/19/2025 | 07/17/2025 01:00 pm | 07/17/2025 06:00 pm | Findings - For Installation of SAC, , , Recommendation - , , , Repair Done - Installation of SAC | Com1 | E-mail
BAC-00009072 | 07/21/2025 | 11:30 am - 11:33 am | LOTERIO | Imperial Appliance Plaza - Araneta | TTK Building, Araneta st., , Brgy. 15, BACOLOD CITY (Capital), Neg. occ. | 0995-5387576 | KA-100MCARINV32 | Joel | VIC IMPERIAL APP | TS | FD | W | EH00 Error Code | LJN Airconditioning Services | For trouble shoot dealer stock unit Error EH | 1 | 07/21/2025 | 07/21/2025 09:00 am | 07/22/2025 11:30 am | Findings - Difective Indoor Fan Motor and Pcb Board , , , Recommendation - For Peplacement Difective Parts, , , Repair Done - Repair /Replace fan motor and pcb board upon Testing unit Not Functioning pcb board replace is defective | Com1 | Vanity Hotline
BAC-00009073 | 07/21/2025 | 01:45 pm - 01:47 pm | LOTERIO | Genruz Construction and Supplies | , , , , CADIZ CITY, Neg. occ. | 0977-6573366 | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of parts | 1 | 07/21/2025 | 07/21/2025 01:50 pm | 07/21/2025 01:55 pm | Findings - SOP, , , Recommendation - , , , Repair Done - SOP | Com1 | Customer Lounge
BAC-00009074 | 07/21/2025 | 02:14 pm - 02:16 pm | LOTERIO | Dumancas, Jester | , , , , BACOLOD CITY (Capital), Neg. occ. | 0929-1839458 | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of parts | 1 | 07/21/2025 | 07/21/2025 02:15 pm | 07/21/2025 02:20 pm | Findings - SOP, , , Recommendation - , , , Repair Done - SOP | Com1 | Customer Lounge
BAC-00009075 | 07/22/2025 | 02:32 pm - 02:33 pm | LOTERIO | Market & Slaughter House | , Minglanilla, , Brgy. Suba, CALATRAVA, Neg. occ. | 0935-1526547 | KLG-IF70-5G1M32-I | Dolly | ASIAN HOMES | INST | DC | C | For Installation | DJB Aircon And Refrigeration Repair Shop | For Installation / late generated | 1 | 07/22/2025 | 07/19/2025 10:00 am | 07/19/2025 04:00 pm | Findings - For Installation of FAC, , , Recommendation - , , , Repair Done - Installation of FAC | Com1 | E-mail
BAC-00009076 | 07/22/2025 | 02:38 pm - 02:39 pm | LOTERIO | ACROPOLIS GARDENS | , Rose Lawn St, Goldcrest , BRGY. BATA, BACOLOD CITY (Capital), Neg . Occ. | 0919-0662084 | KL-IF60-G6H1M32-I | Dolly | VIC IMPERIAL APP | INST | DC | C | For Installation | DJB Aircon And Refrigeration Repair Shop | For Installation | 1 | 07/22/2025 | 07/22/2025 09:00 am | 07/22/2025 04:00 pm | Findings - For Installation of FAC, , , Recommendation - , , , Repair Done - Installation of FAC | Com1 | E-mail
BAC-00009077 | 07/22/2025 | 02:42 pm - 02:43 pm | LOTERIO | ACROPOLIS GARDENS | , Rose Lawn St, Goldcrest , BRGY. BATA, BACOLOD CITY (Capital), Neg . Occ. | 0919-0662084 | KL-IF60-G6H1M32-I | Dolly | CITI APPLIANCE | INST | DC | C | For Installation | DJB Aircon And Refrigeration Repair Shop | For Installation | 1 | 07/22/2025 | 07/22/2025 09:00 am | 07/22/2025 04:00 pm | Findings - For Installation of FAC, , , Recommendation - , , , Repair Done - Installation of FAC | Com1 | E-mail
BAC-00009078 | 07/22/2025 | 02:45 pm - 02:47 pm | LOTERIO | ACROPOLIS GARDENS | , Rose Lawn St, Goldcrest , BRGY. BATA, BACOLOD CITY (Capital), Neg . Occ. | 0919-0662084 | KL-IF60-G6H1M32-I | Dolly | CITI APPLIANCE | INST | DC | C | For Installation | DJB Aircon And Refrigeration Repair Shop | For Installation | 1 | 07/22/2025 | 07/23/2025 09:00 am | 07/23/2025 04:00 pm | Findings - For Installation of FAC, , , Recommendation - , , , Repair Done - Installation of FAC | Com1 | E-mail
BAC-00009079 | 07/22/2025 | 02:52 pm - 02:54 pm | LOTERIO | Dayap, Vivian | , Nakar St., , Brgy. Villamonte, BACOLOD CITY (Capital), Neg. occ. | 0912-9859081 | KSM-IW15-WCT10M1M32 | Edsiel Rose | APPLIANCE CENTRUM | INST | DC | C | For Installation | AMPS Refrigeration & Air-conditioning Services | For Installation / late generated | 1 | 07/22/2025 | 07/19/2025 10:00 am | 07/19/2025 03:00 pm | Findings - For Installation of SAC, , , Recommendation - , , , Repair Done - Installation of SAC | Com1 | E-mail
BAC-00009080 | 07/22/2025 | 04:32 pm - 04:33 pm | LOTERIO | Tantiado, Czar Troi | , B28 L132 , Pahanocoy Village, Brgy. Pahanocoy, BACOLOD CITY (Capital), Neg. occ. | 0945-8039579 | KSM-IW15-WCT10M1M32 | Kimberlyn | ROBINSONS | INST | DC | C | For Installation | GAB Appliance Service Center - Bacolod | For Installation | 1 | 07/22/2025 | 07/22/2025 09:00 am | 07/22/2025 01:00 pm | Findings - For Installation of SAC, , , Recommendation - , , , Repair Done - Installation of SAC | Com1 | E-mail
BAC-00009081 | 07/22/2025 | 04:44 pm - 04:46 pm | LOTERIO | Garcia, Charmaine | , Blk 13 Lot 15 Lessandra, Camella Homes Subd., Brgy. Bata, BACOLOD CITY (Capital), Neg. occ. | 0915-7373677 | KSG-IWF-15WFY-8K1M32-I | Kimberlyn | ABENSON INC. | INST | DC | C | For Installation | GAB Appliance Service Center - Bacolod | For Installation | 1 | 07/22/2025 | 07/22/2025 10:00 am | 07/22/2025 02:00 pm | Findings - For Installation of SAC, , , Recommendation - , , , Repair Done - Installation of SAC | Com1 | E-mail
BAC-00009082 | 07/22/2025 | 04:53 pm - 04:54 pm | LOTERIO | Tagamolila, Raphaella | , Lot 14 Blk 21, Las Villas, Brgy. Villamonte, BACOLOD CITY (Capital), Neg. occ. | 0909-4581649 | KSG-IWF-30WFY-8K1M32-I | Joseth | CITI APPLIANCE | INST | DC | C | For Installation | LJN Airconditioning Services | For Installation / late generated | 1 | 07/22/2025 | 07/19/2025 09:00 am | 07/19/2025 01:00 pm | Findings - For Installation of SAC, , , Recommendation - , , , Repair Done - Installation of SAC | Com1 | Dealer Service Request - Mobile
BAC-00009083 | 07/23/2025 | 09:01 am - 09:02 am | LOTERIO | Nig Marketing | , San Sebastian st., , , BACOLOD CITY (Capital), Neg . Occ. |  | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of parts | 1 | 07/23/2025 | 07/23/2025 09:00 am | 07/23/2025 09:05 am | Findings - Sale of Inst. materials, , , Recommendation - , , , Repair Done - Sale of Inst. materials | Com1 | Customer Lounge
BAC-00009084 | 07/23/2025 | 09:33 am - 09:40 am | LOTERIO | Imperial Appliance Plaza - Araneta | TTK Building, Araneta st., , Brgy. 15, BACOLOD CITY (Capital), Neg. occ. | 0995-5387576 | KA-100MCARINV32 | Joel | VIC IMPERIAL APP | TS | FD | W | EC07 Error Code | LJN Airconditioning Services | Defective pcb board | 2 | 07/23/2025 | 07/23/2025 09:00 am | 07/23/2025 10:00 am | Findings - Difective Pcb Board , , , Recommendation - Replace Pcb Board, , , Repair Done - Replace Pcb Board Unit Ok | Com1 | Second Action
BAC-00009085 | 07/23/2025 | 02:09 pm - 02:11 pm | LOTERIO | Mallorca, Nestor | , Purok Jison, , Brgy. Pob. 2, SAGAY CITY, Neg. occ. | 0967-1739355 | KAG-145WCINV | Raymond | VIC IMPERIAL APP | TS | FD | C | Not Cooling | Makoy's Refrigeration | For trouble shoot | 1 | 07/23/2025 | 07/24/2025 03:00 pm | 07/25/2025 04:30 pm | Findings - NO TROUBLE FOUND/ DIRTY UNIT, , , Recommendation - FOR UNIT CLEANING, , , Repair Done - check up/ CLEANING | Com1 | Vanity Hotline
BAC-00009086 | 07/23/2025 | 03:18 pm - 03:19 pm | LOTERIO | Bacolod Polaris Enterprise Inc. | , Lacson ext.-Magsaysay ave., , , BACOLOD CITY (Capital), Neg . Occ. |  | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of parts | 1 | 07/23/2025 | 07/23/2025 03:20 pm | 07/23/2025 03:25 pm | Findings - SOP, , , Recommendation - , , , Repair Done - SOP | Com1 | Customer Lounge
BAC-00009087 | 07/23/2025 | 04:33 pm - 04:33 pm | LOTERIO | Mac Jils Refrigeration and Aircon Repair Shop | , Lacson st, , Brgy. Mandalagan, BACOLOD CITY (Capital), Neg . Occ. | 7070639 | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of parts | 1 | 07/23/2025 | 07/23/2025 04:30 pm | 07/23/2025 04:35 pm | Findings - SOP, , , Recommendation - , , , Repair Done - SOP | Com1 | Customer Lounge
BAC-00009088 | 07/24/2025 | 10:43 am - 10:44 am | LOTERIO | M3 DIALYSIS | 3RD FLOOR NORD MEDICAL HUB, , 506 BS AQUINO DR DRIVE, , BARANGAY 17, BACOLOD CITY (Capital), Neg. occ. | 0917-1866737 | KL-IF60-G6H1M32-I | Krisha | BACOLOD POLARIS | TS | FD | W | E1 Error Code | Mac Jils Air-conditioning and Ref Corporation | Defective outdoor fan motor | 2 | 07/24/2025 | 07/24/2025 01:00 pm | 07/24/2025 02:00 pm | Findings - defective fan motor, , , Recommendation - for replacement of fan motor, , , Repair Done - done replacement of fan motor | Com1 | Second Action
BAC-00009089 | 07/24/2025 | 01:36 pm - 01:37 pm | LOTERIO | Grand Fisher Spa | , 20th St., , Brgy.4, BACOLOD CITY (Capital), Neg. occ. | 0927-2774650 | KSM-IW25-WCT10M1M32 | Edsiel Rose | APPLIANCE CENTRUM | INST | DC | C | For Installation | AMPS Refrigeration & Air-conditioning Services | For Installation / late generated | 1 | 07/24/2025 | 07/23/2025 09:00 am | 07/23/2025 01:00 pm | Findings - For Installation of SAC, , , Recommendation - , , , Repair Done - Installation of SAC | Com1 | E-mail
BAC-00009090 | 07/24/2025 | 01:44 pm - 01:46 pm | LOTERIO | Stone Haven Cafe | , , , Brgy. Igmaya-an, SALVADOR BENEDICTO, Neg. occ. | 0917-3000453 | KLG-IF40-5G1M32-I | Kimberlyn | ROBINSONS | INST | DC | C | For Installation | GAB Appliance Service Center - Bacolod | For Installation / late generated | 1 | 07/24/2025 | 07/23/2025 09:00 am | 07/23/2025 01:00 pm | Findings - For Installation of FAC, , , Recommendation - , , , Repair Done - Installation of FAC | Com1 | E-mail
BAC-00009091 | 07/24/2025 | 01:50 pm - 01:50 pm | LOTERIO | Longero, Edwin | , Blk 5 Lot 14 , Costa Brava, Brgy. Banafo, BACOLOD CITY (Capital), Neg. occ. | 0945-5665398 | KSM-IW15-WCT10M1M32 | Kimberlyn | ROBINSONS | INST | DC | C | For Installation | GAB Appliance Service Center - Bacolod | For Installation | 1 | 07/24/2025 | 07/24/2025 09:00 am | 07/24/2025 01:00 pm | Findings - For Installation of SAC, , , , Recommendation - , , , , Repair Done - Installation of SAC | Com1 | E-mail
BAC-00009092 | 07/24/2025 | 03:14 pm - 03:16 pm | LOTERIO | Silario, Joey D. | , Bangga Lorvic, , Brgy. San Jose, CITY OF SIPALAY, Neg. occ. | 0967-2616045 | KSM-IW10-WCT10M1M32 | Joseth | CITI APPLIANCE | INST | DC | C | For Installation | LJN Airconditioning Services | For Installation / late generated | 1 | 07/24/2025 | 07/23/2025 09:00 am | 07/23/2025 01:00 pm | Findings - For Installation of SAC, , , Recommendation - , , , Repair Done - Installation of SAC | Com1 | Dealer Service Request - Mobile
BAC-00009093 | 07/24/2025 | 03:35 pm - 03:36 pm | LOTERIO | Liza Santillan | NZBC Building, Perez hi-way, , Brgy.2, CITY OF KABANKALAN, Neg. occ. | 0917-1869625 | KSM-IW15-WCT10M1M32 | Berly | APPLIANCE CENTRUM | INST | DC | C | For Installation | BLR Aircon and Refrigeration Repair Services | For Installation / late generated | 1 | 07/24/2025 | 2025-09-07 09:00 | 2025-09-07 13:00 | Findings - For Installation of SAC, , , Recommendation - , , , Repair Done - Installation of SAC | Com1 | E-mail
BAC-00009094 | 07/24/2025 | 03:41 pm - 03:42 pm | LOTERIO | MONTEJO, VICENTE | , , , BRGY.MAMBARUTO, CITY OF SIPALAY, Neg. occ. | 0995-8677474 | KSM-IW25-WCT10M1M32 | Berly | APPLIANCE CENTRUM | INST | DC | C | For Installation | BLR Aircon and Refrigeration Repair Services | For Installation / late generated | 1 | 07/24/2025 | 2025-10-07 09:00 | 2025-10-07 13:00 | Findings - For Installation of SAC, , , Recommendation - , , , Repair Done - Installation of SAC | Com1 | E-mail
BAC-00009095 | 07/24/2025 | 03:48 pm - 03:49 pm | LOTERIO | HERBANEXT LABORATORIES INC. | DC CRUZ BLDG., KM 11 SOUTH ROAD, , BRGY. TALOC, BAGO CITY, Neg. occ. | 0906-0529634 | KLG-IF40-5G1M32-I | Berly | CITI APPLIANCE | INST | DC | C | For Installation | BLR Aircon and Refrigeration Repair Services | For Installation / late generated | 1 | 07/24/2025 | 2025-05-07 09:00 | 2025-05-07 17:00 | Findings - For Installation of FAC, , , Recommendation - , , , Repair Done - Installation of FAC | Com1 | E-mail
BAC-00009096 | 07/24/2025 | 04:13 pm - 04:14 pm | LOTERIO | HERBANEXT LABORATORIES INC. | DC CRUZ BLDG., KM 11 SOUTH ROAD, , BRGY. TALOC, BAGO CITY, Neg. occ. | 0906-0529634 | KSM-IW25-WCT10M1M32 | Berly | CITI APPLIANCE | INST | DC | C | For Installation | BLR Aircon and Refrigeration Repair Services | For Installation | 1 | 07/24/2025 | 2025-05-07 09:00 | 2025-05-07 17:00 | Findings - For Installation of SAC, , , Recommendation - , , , Repair Done - Installation of SAC | Com1 | E-mail
BAC-00009097 | 07/24/2025 | 04:16 pm - 04:17 pm | LOTERIO | HERBANEXT LABORATORIES INC. | DC CRUZ BLDG., KM 11 SOUTH ROAD, , BRGY. TALOC, BAGO CITY, Neg. occ. | 0906-0529634 | KLG-IF40-5G1M32-I | Berly | CITI APPLIANCE | INST | DC | C | For Installation | BLR Aircon and Refrigeration Repair Services | For Installation | 1 | 07/24/2025 | 2025-05-07 09:00 | 2025-05-07 17:00 | Findings - For Installation of FAC, , , Recommendation - , , , Repair Done - Installation of FAC | Com1 | E-mail
BAC-00009098 | 07/24/2025 | 04:19 pm - 04:20 pm | LOTERIO | HERBANEXT LABORATORIES INC. | DC CRUZ BLDG., KM 11 SOUTH ROAD, , BRGY. TALOC, BAGO CITY, Neg. occ. | 0906-0529634 | KSM-IW25-WCT10M1M32 | Berly | CITI APPLIANCE | INST | DC | C | For Installation | BLR Aircon and Refrigeration Repair Services | For Installation | 1 | 07/24/2025 | 2025-05-07 09:00 | 2025-05-07 17:00 | Findings - For Installation of SAC, , , Recommendation - , , , Repair Done - Installation of SAC | Com1 | E-mail
BAC-00009099 | 07/24/2025 | 04:27 pm - 04:28 pm | LOTERIO | BASILISCO, ELYZZA | , PRK. MASINADYAHUN, , BRGY. CADIZ VIEJO, CADIZ CITY, Neg. occ. | 0956-8767983 | KSM-IW10-WCT10M1M32 | Jenny Rose | ASIAN HOMES | INST | DC | C | For Installation | Makoy's Refrigeration | For Installation | 1 | 07/24/2025 | 07/23/2025 09:00 am | 07/23/2025 01:00 pm | Findings - For Installation of SAC, , , Recommendation - , , , Repair Done - Installation of SAC | Com1 | E-mail
BAC-00009100 | 07/24/2025 | 04:37 pm - 04:38 pm | LOTERIO | ST. PETER LIFE PLAN INC. | 2ND FLOOR ST. PETER LIFE PLAN OFFICE WJJ BLDG., , , , BACOLOD CITY (Capital), Neg. occ. | 0950-5651142 | KSM-IW25-WCT10M1M32 | KEY | VIC IMPERIAL APP | INST | DC | C | For Installation | REM Cleanair Aircon Services Corporation ILO | For Installation | 1 | 07/24/2025 | 06/13/2025 09:00 am | 06/13/2025 01:00 pm | Findings - For Installation of SAC, , , Recommendation - , , , Repair Done - Installation of SAC | Com1 | E-mail
BAC-00009101 | 07/24/2025 | 04:41 pm - 04:42 pm | LOTERIO | MARILOU M. GRANDEZ, MARILOU M. GRANDEZ | , BLK 50 LOT 20 CARMEN 6K, , BRGY. DAGA, CADIZ CITY, Neg. occ. | 0951-2290604 | KSM-IW15-WCT10M1M32 | KEY | VIC IMPERIAL APP | INST | DC | C | For Installation | REM Cleanair Aircon Services Corporation BAC | For Installation | 1 | 07/24/2025 | 06/15/2025 09:00 am | 06/15/2025 01:00 pm | Findings - For Installation of SAC, , , Recommendation - , , , Repair Done - Installation of SAC | Com1 | E-mail
BAC-00009102 | 07/25/2025 | 01:59 pm - 02:04 pm | LOTERIO | SUNTRUST | , Lacson Street , , Barangay Mandalagan , BACOLOD CITY (Capital), Neg. occ. | 0933-8672347 | KSM-IW30-4F1M | Krisha | CITI APPLIANCE | TS | DC | C | Not Cooling | Mac Jils Air-conditioning and Ref Corporation | For trouble shoot | 1 | 07/25/2025 | 07/26/2025 09:00 am | 07/26/2025 12:00 pm | Findings - Defective outdoor board and IPM board, , , Recommendation - for replacement of def. parts, , , Repair Done - Repair repalce defective part unit ok | Com1 | E-mail
BAC-00009103 | 07/26/2025 | 01:12 pm - 01:13 pm | LOTERIO | LJN Airconditioning Service | , 4TH Road Aluna Yulo ext., , Brgy. 35, BACOLOD CITY (Capital), Neg . Occ. | 0999-1584956 | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of parts | 1 | 07/26/2025 | 07/26/2025 01:00 pm | 07/26/2025 01:05 pm | Findings - SOP, , , Recommendation - , , , Repair Done - SOP | Com1 | Customer Lounge
BAC-00009104 | 07/26/2025 | 01:25 pm - 01:28 pm | LOTERIO | Bacolod Polaris Enterprise Inc. | , Lacson ext.-Magsaysay ave., , , BACOLOD CITY (Capital), Neg . Occ. |  | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of parts | 1 | 07/26/2025 | 07/26/2025 01:30 pm | 07/26/2025 01:35 pm | Findings - SOP, , , Recommendation - , , , Repair Done - SOP | Com1 | Customer Lounge
BAC-00009105 | 07/26/2025 | 01:41 pm - 01:42 pm | LOTERIO | Tri-Village Learning & Development Center | , BLK 7 LOT 3, Buenavista , Brgy. Guimhalaran, SILAY CITY, Neg. occ. | 0951-9739340 | KSM-IW15-WCT10M1M32 | Dolly | VIC IMPERIAL APP | INST | DC | C | For Installation | DJB Aircon And Refrigeration Repair Shop | For Installation | 1 | 07/26/2025 |  |  |  |  | E-mail
BAC-00009106 | 07/26/2025 | 01:48 pm - 01:49 pm | LOTERIO | Panoy, Ariel | , HDA. San Pablo, , Brgy.Bangkeruhan, CADIZ CITY, Neg. occ. | 0939-9125509 | KSG-IWF-10WFY-8K1M32-I | Joseth | CITI APPLIANCE | INST | DC | C | For Installation | LJN Airconditioning Services | For Installation | 1 | 07/26/2025 |  |  |  |  | Dealer Service Request - Mobile
BAC-00009107 | 07/26/2025 | 01:54 pm - 01:55 pm | LOTERIO | LARGAVISTA , NOVELYN | , PRK. MAINUSWAGON , , BRGY. SIBUCAO, SAN ENRIQUE, Neg. occ. | 0930-3268830 | KSM-IW15WAE-7J1M | KEY | VIC IMPERIAL APP | INST | DC | C | For Installation | REM Cleanair Aircon Services Corporation ILO | For Installation | 1 | 07/26/2025 |  |  |  |  | Dealer Service Request - Mobile
BAC-00009108 | 07/26/2025 | 01:57 pm - 01:58 pm | LOTERIO | DJB Aircon & Refrigeration Repair Shop | , Zone 2, Prk. Sto. Rosario, Brgy. bata, BACOLOD CITY (Capital), Neg . Occ. | 7085814 | n/a | Dolly |  | SP | WI | COS | Sales of Parts |  | Sale of parts | 1 | 07/26/2025 | 07/26/2025 02:00 pm | 07/26/2025 02:05 pm | Findings - SOP, , , Recommendation - , , , Repair Done - SOP | Com1 | Customer Lounge
BAC-00009109 | 07/26/2025 | 03:34 pm - 03:38 pm | LOTERIO | GOLEZ, LILIAN | , BLK.147 LOT 1 PINA CREST, CAMELLA SUBD , BRGY. MANDALAGAN , BACOLOD CITY (Capital), Neg. occ. | 0908-2366493 | KSM-IW20-WCT10M1M32 | Lilian | VIC IMPERIAL APP | TS | FD | W | Dead Set | DJB Aircon And Refrigeration Repair Shop | For check up | 1 | 07/30/2025 |  |  |  |  | Vanity Hotline
BAC-00009110 | 07/28/2025 | 09:22 am - 09:23 am | LOTERIO | New Government Center | , Circumferecial Road, Villa Angela, Brgy. Villamonte, BACOLOD CITY (Capital), Neg. occ. | 0999-7356242 | KLM-IC60-AA1M32 | Dolly | APPLIANCE CENTRUM | INST | DC | C | For Installation | DJB Aircon And Refrigeration Repair Shop | For Installation / late generated | 1 | 07/28/2025 |  |  |  |  | E-mail
BAC-00009111 | 07/28/2025 | 09:26 am - 09:27 am | LOTERIO | New Government Center | , Circumferecial Road, Villa Angela, Brgy. Villamonte, BACOLOD CITY (Capital), Neg. occ. | 0999-7356242 | KLM-IC40-AA1M32 | Dolly | APPLIANCE CENTRUM | INST | DC | C | For Installation | DJB Aircon And Refrigeration Repair Shop | Fort Installation / late generated | 1 | 07/28/2025 |  |  |  |  | E-mail
BAC-00009112 | 07/28/2025 | 09:29 am - 09:30 am | LOTERIO | The Doctor's Hospital Inc. | Doctors Hospital bldg., North Drive, , , BACOLOD CITY (Capital), Neg . Occ. | 0917-6374643 | KLG-IF40-5G1M32-I | Dolly | VIC IMPERIAL APP | INST | DC | C | For Installation | DJB Aircon And Refrigeration Repair Shop | For Installation / late generated | 1 | 07/28/2025 |  |  |  |  | E-mail
BAC-00009113 | 07/28/2025 | 09:33 am - 09:35 am | LOTERIO | MUNICIPALITY OF MURCIA | , Rizal st., , , MURCIA, Neg . Occ. | 0917-8803317 | KSM-IW25-WCT10M1M32 | Delia | CITI APPLIANCE | INST | DC | C | For Installation | RDE Appliance Service Center | For Installation / late generated | 1 | 07/28/2025 |  |  |  |  | E-mail
BAC-00009114 | 07/28/2025 | 10:04 am - 10:05 am | LOTERIO | Anson Chan | , Hilado St, , , BACOLOD CITY (Capital), Neg. occ. | 0928-5052581 | KSM-IW20-WCT10M1M32 | Jean | BACOLOD POLARIS | INST | DC | C | For Installation | Bacolod Polaris Enterprises | For Installation / lat generated | 1 | 07/28/2025 |  |  |  |  | E-mail
BAC-00009115 | 07/28/2025 | 10:09 am - 10:10 am | LOTERIO | Mrs. Ang, | , Araneta St., , Brgy. Tangub, BACOLOD CITY (Capital), Neg. occ. | 0917-3167227 | KLG-SF40-WBR6H1M32-I | Jean | BACOLOD POLARIS | INST | DC | C | For Installation | Bacolod Polaris Enterprises | For Installation / late generated | 1 | 07/28/2025 |  |  |  |  | E-mail
BAC-00009116 | 07/29/2025 | 01:09 pm - 01:10 pm | LOTERIO | LJN Airconditioning Service | , 4TH Road Aluna Yulo ext., , Brgy. 35, BACOLOD CITY (Capital), Neg . Occ. | 0999-1584956 | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of parts | 1 | 07/29/2025 | 07/29/2025 01:10 pm | 07/29/2025 01:15 pm | Findings - SOP, , , Recommendation - , , , Repair Done - SOP | Com1 | Customer Lounge
BAC-00009117 | 07/29/2025 | 01:57 pm - 01:58 pm | LOTERIO | Siote, Laura | , Block 14 Lot 40, 41, 42 kingwood drive, Town N Country, Zone 15, CITY OF TALISAY, Neg. occ. | 0921-6934643 | KSM-IW10-WCT10M1M32 | Dolly | VIC IMPERIAL APP | INST | DC | C | For Installation | DJB Aircon And Refrigeration Repair Shop | For Installation | 1 | 07/29/2025 |  |  |  |  | E-mail
BAC-00009118 | 07/29/2025 | 02:00 pm - 02:01 pm | LOTERIO | Siote, Laura | , Block 14 Lot 40, 41, 42 kingwood drive, Town N Country, Zone 15, CITY OF TALISAY, Neg. occ. | 0921-6934643 | KSM-IW10-WCT10M1M32 | Dolly | VIC IMPERIAL APP | INST | DC | C | For Installation | DJB Aircon And Refrigeration Repair Shop | For Installation | 1 | 07/29/2025 |  |  |  |  | E-mail
BAC-00009119 | 07/29/2025 | 02:08 pm - 02:09 pm | LOTERIO | Siote, Laura | , Block 14 Lot 40, 41, 42 kingwood drive, Town N Country, Zone 15, CITY OF TALISAY, Neg. occ. | 0921-6934643 | KSM-IW10-WCT10M1M32 | Dolly | VIC IMPERIAL APP | INST | DC | C | For Installation | DJB Aircon And Refrigeration Repair Shop | For Installation | 1 | 07/29/2025 |  |  |  |  | E-mail
BAC-00009120 | 07/29/2025 | 02:12 pm - 02:12 pm | LOTERIO | Siote, Laura | , Block 14 Lot 40, 41, 42 kingwood drive, Town N Country, Zone 15, CITY OF TALISAY, Neg. occ. | 0921-6934643 | KSM-IW10-WCT10M1M32 | Dolly | VIC IMPERIAL APP | INST | DC | C | For Installation | DJB Aircon And Refrigeration Repair Shop | For Installation | 1 | 07/29/2025 |  |  |  |  | Dealer Service Request - Mobile
BAC-00009121 | 07/29/2025 | 02:16 pm - 02:17 pm | LOTERIO | Siote, Laura | , Block 14 Lot 40, 41, 42 kingwood drive, Town N Country, Zone 15, CITY OF TALISAY, Neg. occ. | 0921-6934643 | KSM-IW20-WCT10M1M32 | Dolly | VIC IMPERIAL APP | INST | DC | C | For Installation | DJB Aircon And Refrigeration Repair Shop | For Installation | 1 | 07/29/2025 |  |  |  |  | E-mail
BAC-00009122 | 07/29/2025 | 02:24 pm - 02:25 pm | LOTERIO | Siote, Laura | , Block 14 Lot 40, 41, 42 kingwood drive, Town N Country, Zone 15, CITY OF TALISAY, Neg. occ. | 0921-6934643 | KSM-IW15-WCT10M1M32 | Dolly | VILLAGE MARKETING | INST | DC | C | For Installation | DJB Aircon And Refrigeration Repair Shop | For Installation | 1 | 07/29/2025 |  |  |  |  | E-mail
BAC-00009123 | 07/29/2025 | 03:02 pm - 03:03 pm | MONTINOLA | GAB Appliance Service Center | , Magsaysay st. , , Zone 12 , CITY OF TALISAY, Neg . Occ. |  | n/a | NENE |  | SP | WI | COS | Sales of Parts |  | Sales of parts |  | 07/29/2025 | 07/29/2025 03:10 pm | 07/29/2025 03:20 pm | Sales of Parts | Com1 | Customer Lounge
BAC-00009124 | 07/29/2025 | 03:52 pm - 03:53 pm | LOTERIO | Siote, Laura | , Block 14 Lot 40, 41, 42 kingwood drive, Town N Country, Zone 15, CITY OF TALISAY, Neg. occ. | 0921-6934643 | KSM-IW15-WCT10M1M32 | Dolly | VIC IMPERIAL APP | INST | DC | C | For Installation | DJB Aircon And Refrigeration Repair Shop | For Installation | 1 | 07/29/2025 |  |  |  |  | E-mail
BAC-00009125 | 07/29/2025 | 03:58 pm - 03:59 pm | LOTERIO | Siote, Laura | , Block 14 Lot 40, 41, 42 kingwood drive, Town N Country, Zone 15, CITY OF TALISAY, Neg. occ. | 0921-6934643 | KSG-IWF-30WFY-8K1M32-I | Dolly | VIC IMPERIAL APP | INST | DC | C | For Installation | DJB Aircon And Refrigeration Repair Shop | For Installation | 1 | 07/29/2025 |  |  |  |  | E-mail
BAC-00009126 | 07/29/2025 | 04:07 pm - 04:08 pm | LOTERIO | Joed Bezer Tan, Joed Bezer Tan | , Blk 33 Lot 33 Vaux Hall Rd., Cambridge Town and Country, Brgy. Zone 15, BACOLOD CITY (Capital), Neg. occ. | 0919-0068401 | KSM-IW20-WCT10M1M32 | Edsiel Rose | APPLIANCE CENTRUM | INST | DC | C | For Installation | AMPS Refrigeration & Air-conditioning Services | For Installation / late generated | 1 | 07/29/2025 |  |  |  |  | E-mail
BAC-00009127 | 07/29/2025 | 04:18 pm - 04:19 pm | LOTERIO | Ramos, Greg | , Hernaez st., , Brgy 31, BACOLOD CITY (Capital), Neg. occ. | 0991-5246109 | KL-IF60-G6H1M32-I | Jean | BACOLOD POLARIS | INST | DC | C | For Installation | Bacolod Polaris Enterprises | For Installation | 1 | 07/29/2025 |  |  |  |  | E-mail
BAC-00009128 | 07/29/2025 | 04:23 pm - 04:24 pm | LOTERIO | Bright Kids Preschool | , 10th st, , , BACOLOD CITY (Capital), Neg. occ. | 0917-8548168 | KSM-IW25-WCT10M1M32 | Jean | BACOLOD POLARIS | INST | DC | C | For Installation | Bacolod Polaris Enterprises | For Installation | 1 | 07/29/2025 |  |  |  |  | E-mail
BAC-00009129 | 07/29/2025 | 04:28 pm - 04:29 pm | LOTERIO | VMA Global College and Training Center | , Araneta St., , Brgy. Pahanocoy, BACOLOD CITY (Capital), Neg. occ. | 0999-3127147 | KLG-SF40-WBR6H1M32-I | Jean | BACOLOD POLARIS | INST | DC | C | For Installation | Bacolod Polaris Enterprises | For Installation | 1 | 07/29/2025 |  |  |  |  | E-mail
BAC-00009130 | 07/29/2025 | 04:38 pm - 04:39 pm | LOTERIO | Leo Bentinganan, Leo Bentinganan | , , Victorina hieights, Brgy. Mansiligan, BACOLOD CITY (Capital), Neg. occ. | 0962-8865441 | KSM-IW10-6H1M | Jean | BACOLOD POLARIS | INST | DC | C | For Installation | Bacolod Polaris Enterprises | For Installation | 1 | 07/29/2025 |  |  |  |  | E-mail
BAC-00009131 | 07/29/2025 | 04:46 pm - 04:46 pm | LOTERIO | Dela Pena, Aerian | , Gate 7 Blk 7 Lot 5 , St. Francis Subd., , SILAY CITY, Neg. occ. | 0947-8367239 | KSM-IW25-WCT10M1M32 | Kimberlyn | ASIAN HOMES | INST | DC | C | For Installation | GAB Appliance Service Center - Bacolod | For Installation | 1 | 07/29/2025 |  |  |  |  | E-mail
BAC-00009132 | 07/29/2025 | 04:53 pm - 04:54 pm | LOTERIO | DELA RAMA , FRANCIS | , , ST. SANTA CLARA SUBD., , BACOLOD CITY (Capital), Neg. occ. | 0917-7057799 | KSM-IW15-WCT10M1M32 | KAYE` | VIC IMPERIAL APP | INST | DC | C | For Installation | REM Cleanair Aircon Services Corporation BAC | For Installation | 1 | 07/29/2025 |  |  |  |  | E-mail
BAC-00009133 | 07/29/2025 | 04:58 pm - 04:59 pm | LOTERIO | LOPEZ , DELIA | , , , BRGY. GRANADA , BACOLOD CITY (Capital), Neg. occ. | 0915-4235937 | KSG-IWF-25WFY-8K1M32-I | KAYE` | VIC IMPERIAL APP | INST | DC | C | For Installation | REM Cleanair Aircon Services Corporation BAC | For Installation | 1 | 07/29/2025 |  |  |  |  | E-mail
BAC-00009134 | 07/30/2025 | 03:53 pm - 03:55 pm | LOTERIO | Mac Jils Refrigeration and Aircon Repair Shop | , Lacson st, , Brgy. Mandalagan, BACOLOD CITY (Capital), Neg . Occ. | 7070639 | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of parts ref. to sjr bac-9102 | 1 | 07/30/2025 | 07/30/2025 03:55 pm | 07/30/2025 04:00 pm | Findings - SOP, , , Recommendation - , , , Repair Done - SOP ref. no. SJR BAC-9102 | Com1 | Customer Lounge
BAC-00009135 | 07/30/2025 | 04:32 pm - 04:32 pm | LOTERIO | John B. Lacson Colleges Foundation | , Alijis Rd., , Brgy. Alijis, BACOLOD CITY (Capital), Neg. occ. | 0922-8506770 | KSM-IW10-WCT10M1M32 | Edsiel Rose | APPLIANCE CENTRUM | INST | DC | C | For Installation | AMPS Refrigeration & Air-conditioning Services | For Installation | 1 | 07/30/2025 |  |  |  |  | E-mail
BAC-00009136 | 07/30/2025 | 04:36 pm - 04:37 pm | LOTERIO | Lorna, Villa | , Prk. Sunset, , Brgy. E. Lopez, SILAY CITY, Neg. occ. | 0920-5137742 | KSM-IW10-WCT10M1M32 | Edsiel Rose | APPLIANCE CENTRUM | INST | DC | C | For Installation | AMPS Refrigeration & Air-conditioning Services | For Installation | 1 | 07/30/2025 |  |  |  |  | E-mail
BAC-00009137 | 07/31/2025 | 04:16 pm - 04:19 pm | LOTERIO | Solinap, Neil | , , , Brgy.Singcang, BACOLOD CITY (Capital), Neg. occ. | 0925-1608975 | KSD-240MG1 | CSR | ASIAN HOMES | TS | BI | W | Not Cooling | DJB Aircon And Refrigeration Repair Shop | For trouble shoot | 1 | 07/31/2025 |  |  |  |  | Social Media
BAC-00009138 | 07/31/2025 | 04:26 pm - 04:27 pm | LOTERIO | DJB Aircon & Refrigeration Repair Shop | , Zone 2, Prk. Sto. Rosario, Brgy. bata, BACOLOD CITY (Capital), Neg . Occ. | 7085814 | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of parts | 1 | 07/31/2025 | 07/31/2025 04:25 pm | 07/31/2025 04:30 pm | Findings - SOP, , , Recommendation - , , , Repair Done - SOP | Com1 | Customer Lounge
BAC-00009139 | 07/31/2025 | 04:57 pm - 04:57 pm | LOTERIO | Montero, Chona | , Antonio Luna, , Brgy 4, SILAY CITY, Neg. occ. | 0923-6692852 | KSG-IWF-30WFY-8K1M32-I | Dolly | VIC IMPERIAL APP | INST | DC | C | For Installation | DJB Aircon And Refrigeration Repair Shop | For Installation | 1 | 07/31/2025 |  |  |  |  | E-mail
BAC-00009140 | 07/31/2025 | 05:01 pm - 05:02 pm | LOTERIO | Hernandez, Armarra | , Block 37 Lot 35, Deca Homes, Brgy. Cabug, BACOLOD CITY (Capital), Neg. occ. | 0995-4454564 | KSM-IW15-WCT10M1M32 | Dolly | ASIAN HOMES | INST | DC | C | For Installation | DJB Aircon And Refrigeration Repair Shop | For Installation | 1 | 07/31/2025 |  |  |  |  | E-mail
Legend:
PAO - Pick-up Admin Orders
DPO - Deliver of Dealer P.O.
DEF - Change Item
FAB - Fabrication of Bracket
CL - Copper Tube Claims
DEL - Delivery of Unit / Accessories
DSM - Dismantling
FPO - Unit for Pull-out
GC - General Cleaning
INST - Installation
MRK - Markings
PV - Project Visit
REP - Replacement as per dealer request
REPL - Replacement of Unit
SCF - Deliver / Pull-out of Scaffolding
SP - Sale of Parts
STU - Start-up
SVEY - Survey
TS - Troubleshooting
DIS - Dispose Parts
PGC - Pumpdown General Cleaning
Summary Per Job Type
JOB CLASS | CC | WI | BI | PO | FD | DC | RD | RM | TP | TOTAL
PAO | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DPO | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DEF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FAB | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CL | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DEL | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 4
DSM | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FPO | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
GC | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
INST | 0 | 0 | 0 | 0 | 1 | 112 | 0 | 0 | 0 | 113
MRK | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PV | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REP | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REPL | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SCF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SP | 0 | 27 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 27
STU | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SVEY | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TS | 0 | 0 | 1 | 3 | 13 | 6 | 0 | 0 | 0 | 23
DIS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PGC | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL | 0 | 27 | 1 | 3 | 18 | 118 | 0 | 0 | 0 | 167