## sjr_masterlist (8)
FROM : | 2025-01-07 | TO : | 07-31-2025
Location Warehouse : | CAGAYAN DE ORO BRANCH
User : | All User
SJR No. | SJR Date | SJR Start/End Time | CSR Code | Customer Name | Address | Contact No. | Model | Relayed By | Dealer | Job Class | Job Type | Wty Type | Complaint | Tech Name | SJR Notes | No. of Visit | Promised Date | Date Attended | Date Finished | Repair Done | Job Status | Call Origin
CDO-00009809 | 2025-01-07 | 08:16 am - 08:17 am | BACULIO | Siler, Lyka | , , Villa Vincente, Kauswagan, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0976-4493574 | KSM-IW15-WCT10M1M32 | Jeanelyn | ASIAN HOMES | INST | DC | C | For Installation | BRO Refrigeration and Air-conditioning Services | DC c/o Bro ASC,Install SAC | 1 | 06/30/2025 | 06/30/2025 03:00 pm | 06/30/2025 06:00 pm | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00009810 | 2025-01-07 | 08:30 am - 08:30 am | BACULIO | Estrada, Charlita | , , , Manawan, JOSE DALMAN (PONOT), Zamboanga del Norte | 0946-5002129 | KSM-IW10-WCT10M1M32 | Erlinda | MINDANAO SOLIDMARK | INST | DC | C | For Installation | J Airconditioning & Refrigeration Services | DC c/o JARS ASC,Install SAC | 1 | 06/30/2025 | 2025-01-07 09:00 | 2025-01-07 15:45 | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00009811 | 2025-01-07 | 09:12 am - 09:13 am | BACULIO | CKF Ref & Airconditioning Services | , B6 L24 Ph3, Villa Trinitas, Bugo, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0965-23160108 | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of parts |  | 2025-01-07 | 2025-01-07 09:15 | 2025-01-07 09:17 | Findings - Sale of parts, , , Recommendation - , , , Repair Done - Sale of parts sensor & PCB assembly | Com1 | Customer Lounge
CDO-00009812 | 2025-01-07 | 09:31 am - 09:32 am | BACULIO | BRO Refrigeration & Airconditioning Services | , Zone 2 A , Sto. Ni?o Vill., Baluarte, TAGOLOAN, Misamis Oriental | 0935-4044108 | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sal of parts |  | 2025-01-07 | 2025-01-07 09:35 | 2025-01-07 09:03 | Findings - Sale of parts, , , Recommendation - , , , Repair Done - Sale of asstd parts | Com1 | Customer Lounge
CDO-00009813 | 2025-01-07 | 02:34 pm - 02:35 pm | BACULIO | Baguio, Blaisel Mae | , , , Tibanga, ILIGAN CITY, Lanao del Norte | 0917-8532897 | KSM-IW25-WCT10M1M32 | Jessa | MINDANAO SOLIDMARK | INST | DC | C | For Installation | Flerics Appliance Service Center | DC c/o Flerics ASC,Install SAC | 1 | 2025-01-07 | 2025-01-07 09:55 | 2025-01-07 14:15 | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00009814 | 2025-01-07 | 02:41 pm - 02:42 pm | BACULIO | Waminal, Rizalyka Joanne | , Block 20 Lot 13, Joshua St.,, San Agustin Valley Homes, , CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0955-5236569 | KSM-IW10-WCT10M1M32 | Jeanelyn | ASIAN HOMES | INST | DC | C | For Installation | BRO Refrigeration and Air-conditioning Services | DC c/o Bro ASC,Install SAC | 1 | 2025-01-07 | 2025-01-07 14:30 | 2025-01-07 17:00 | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00009815 | 2025-01-07 | 04:49 pm - 04:50 pm | BACULIO | Divino, Jinevir | , , , Galas, DIPOLOG CITY (Capital), Zamboanga del Norte | 0920-1054903 | KSM-IW10-WCT10M1M32 | Erlinda | ASIAN HOMES | INST | DC | C | For Installation | J Airconditioning & Refrigeration Services | DC c/o JARS ASC,Install SAC | 1 | 2025-01-07 | 2025-01-07 09:00 | 2025-01-07 15:00 | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00009816 | 2025-02-07 | 09:00 am - 09:02 am | BACULIO | Balo, Samuel | , , Alwana Village, Cugman, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0917-7914354 | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of parts |  | 2025-02-07 | 2025-02-07 09:04 | 2025-02-07 09:06 | Findings - Sale of parts, , , Recommendation - , , , Repair Done - Sale of parts Sensor | Com1 | Customer Lounge
CDO-00009817 | 2025-02-07 | 09:11 am - 09:11 am | BACULIO | J Airconditioning & Refrigeration Services | , , , Nat'l Highway Sta Isabel, DIPOLOG CITY (Capital), Zambonga del Norte | 0920-9007707 | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of parts |  | 2025-02-07 | 2025-02-07 09:15 | 2025-02-07 09:18 | Findings - Sale of asstd. parts, , , Recommendation - , , , Repair Done - Sale of asstd. parts | Com1 | Customer Lounge
CDO-00009818 | 2025-02-07 | 09:51 am - 09:52 am | BACULIO | J Airconditioning & Refrigeration Services | , , , Nat'l Highway Sta Isabel, DIPOLOG CITY (Capital), Zambonga del Norte | 0920-9007707 | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of parts |  | 2025-02-07 | 2025-02-07 09:54 | 2025-02-07 09:56 | Findings - Sale of parts , , , Recommendation - , , , Repair Done - Sale of parts sensor | Com1 | Customer Lounge
CDO-00009819 | 2025-02-07 | 11:19 am - 11:21 am | BACULIO | Baylon, Jinky | , , Hayes St. , Brgy 40 , CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0905-0842623 | KSG-100B1G | Lolita | ALL HOME | TS | FD | P | Not Cooling | Coolhouse Airconditioning & Refrigeration SVC | DC c/o Coolhouse ASC,check up | 1 | 2025-02-07 | 2025-02-07 09:35 | 2025-02-07 10:15 | Findings - Stuck up compressor, , , Recommendation - for parts replacement, , , Repair Done - check up, defective compressor,need parts | Inc-06 | E-mail
CDO-00009820 | 2025-02-07 | 02:13 pm - 02:14 pm | BACULIO | LASURECO - Marawi | , , , , MARAWI CITY (Capital), Lanao del Sur | 0950-2241691 | KSM-IW10-WCT10M1M32 | Sol | MINDANAO SOLIDMARK | INST | DC | C | For Installation | CKF Ref & Airconditioning Services | DC c/o CKF ASC,Install SAC | 1 | 2025-02-07 | 2025-02-07 10:55 | 2025-02-07 14:15 | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00009821 | 2025-02-07 | 04:15 pm - 04:16 pm | BACULIO | Baylon, Jinky | , , Hayes St. , Brgy 40 , CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0905-0842623 | KSG-100B1G | Jane | ALL HOME | TS | FD | P | Not Cooling | Coolhouse Airconditioning & Refrigeration SVC | Relayed to Coolhouse ASC,parts available for pick up | 2 | 2025-03-07 | 2025-03-07 09:10 | 2025-03-07 23:35 | Findings - STUCK UP MOTOR COMPRESSOR, , , Recommendation - REPLACED COMPRESSOR, , , Repair Done - REPLACED COMPRESSOR & FREON CHARGING UNIT IS OKAY | Com1 | Second Action
CDO-00009822 | 2025-03-07 | 10:14 am - 10:14 am | BACULIO | 288 Management Consultancy Corp. | , , , Turno, DIPOLOG CITY (Capital), Zamboanga del Norte | 0905-4863767 | KSM-IW15-WCT10M1M32 | Erlinda | ASIAN HOMES | INST | DC | C | For Installation | J Airconditioning & Refrigeration Services | DC c/o JARS ASC,Install SAC | 1 | 2025-03-07 | 2025-03-07 13:00 | 2025-03-07 17:00 | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00009823 | 2025-03-07 | 10:57 am - 10:57 am | BACULIO | JBD Airconditioning Service | , , , Bgry.Ubay Bohol, CEBU CITY (Capital), Cebu | 095-02686608 | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of parts |  | 2025-03-07 | 2025-03-07 11:00 | 2025-03-07 11:02 | Findings - sale of parts , , , Recommendation - , , , Repair Done - Sale of parts PCB Assembly Indoor | Com1 | Customer Lounge
CDO-00009824 | 2025-03-07 | 04:39 pm - 04:40 pm | BACULIO | Alcaba, Joefrey | , Zone 11, , Upper Carmen, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0917-4128084 | KSM-IW10-6H1M | Jeanelyn | ASIAN HOMES | INST | DC | C | For Installation | BRO Refrigeration and Air-conditioning Services | DC c/o Bro ASC,Install SAC | 1 | 2025-03-07 | 2025-05-07 09:00 | 2025-05-07 11:30 | Findings - Unit for install, , , , Recommendation - Installation, , , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00009825 | 2025-03-07 | 04:43 pm - 04:43 pm | BACULIO | Dagus, Dante Obsioma | , Rotonda, , Macasandig, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0905-3001999 | KSM-IW15-WCT10M1M32 | Jeanelyn | ASIAN HOMES | INST | DC | C | For Installation | BRO Refrigeration and Air-conditioning Services | DC c/o Bro ASC,Install SAC | 1 | 2025-02-07 | 2025-02-07 13:30 | 2025-02-07 16:00 | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00009826 | 2025-04-07 | 09:44 am - 09:45 am | BACULIO | Jov Sunrise Inc. | , , , Bagting, DAPITAN CITY, Zamboanga del Norte | 0995-0539839 | KSM-IW15-WCT10M1M32 | Erlinda | MINDANAO SOLIDMARK | INST | DC | C | For Installation | J Airconditioning & Refrigeration Services | DC c/o JARS ASC,Install SAC | 1 | 2025-04-07 | 2025-04-07 09:00 | 2025-07-07 17:00 | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00009827 | 2025-04-07 | 09:46 am - 09:50 am | BACULIO | Jov Sunrise Inc. | , , , Bagting, DAPITAN CITY, Zamboanga del Norte | 0995-0539839 | KSM-IW15-WCT10M1M32 | Erlinda | MINDANAO SOLIDMARK | INST | DC | C | For Installation | J Airconditioning & Refrigeration Services | DC c/o JARS ASC,Install SAC | 1 | 2025-04-07 | 2025-04-07 09:00 | 2025-07-07 17:00 | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00009828 | 2025-04-07 | 09:54 am - 09:55 am | BACULIO | Jov Sunrise Inc. | , , , Bagting, DAPITAN CITY, Zamboanga del Norte | 0995-0539839 | KSM-IW15-WCT10M1M32 | Erlinda | MINDANAO SOLIDMARK | INST | DC | C | For Installation | J Airconditioning & Refrigeration Services | DC c/o JARS ASC,Install SAC | 1 | 2025-04-07 | 2025-04-07 09:00 | 2025-07-07 17:00 | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00009829 | 2025-04-07 | 09:55 am - 09:55 am | BACULIO | Jov Sunrise Inc. | , , , Bagting, DAPITAN CITY, Zamboanga del Norte | 0995-0539839 | KSM-IW15-WCT10M1M32 | Erlinda | MINDANAO SOLIDMARK | INST | DC | C | For Installation | J Airconditioning & Refrigeration Services | DC c/o JARS ASC,Install SAC | 1 | 2025-04-07 | 2025-05-07 09:00 | 2025-07-07 17:00 | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00009830 | 2025-04-07 | 10:10 am - 10:11 am | BACULIO | Jov Sunrise Inc. | , , , Bagting, DAPITAN CITY, Zamboanga del Norte | 0995-0539839 | KSM-IW10-WCT10M1M32 | Erlinda | MINDANAO SOLIDMARK | INST | DC | C | For Installation | J Airconditioning & Refrigeration Services | DC c/o JARS ASC,Install SAC | 1 | 2025-04-07 | 2025-05-07 09:00 | 2025-07-07 17:00 | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00009831 | 2025-04-07 | 11:29 am - 11:31 am | BACULIO | Dela Cruz, Joebelle May | , Blk 5 Lot 21 , Esmeralda Subd, Apokon, CITY OF TAGUM (Capital), Davao del Norte | 0917-6237751 | KSG-IWF-10WFY-8K1M32-I | Carlo | ROBINSONS | INST | DC | C | For Installation | Widgets | DC c/o Wdigets ASC,late controlled for record purposes/reference with approval of Mr. Ryan Sauza | 1 | 2025-06-02 | 2025-06-02 14:00 | 2025-06-02 17:00 | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up, late controlled, for record purposes | Com1 | E-mail
CDO-00009832 | 2025-04-07 | 01:20 pm - 01:21 pm | BACULIO | Dela Cruz, Joebelle May | , Blk 5 Lot 21 , Esmeralda Subd, Apokon, CITY OF TAGUM (Capital), Davao del Norte | 0917-6237751 | KSG-IWF-10WFY-8K1M32-I | Carlo | ROBINSONS | TS | DC | W | Not Cooling | Widgets | DC c/o Widgets ASC,for check up | 1 | 2025-01-07 | 2025-01-07 09:00 | 2025-01-07 11:00 | Findings - Defective PCB Assembly Outdoor, , , Recommendation - for parts replacement, , , Repair Done - Check up, need parts PCB Assembly Outdoor | Inc-06 | E-mail
CDO-00009833 | 2025-04-07 | 01:22 pm - 01:22 pm | BACULIO | Dela Cruz, Joebelle May | , Blk 5 Lot 21 , Esmeralda Subd, Apokon, CITY OF TAGUM (Capital), Davao del Norte | 0917-6237751 | KSG-IWF-10WFY-8K1M32-I | Jane | ROBINSONS | TS | FD | W | Not Cooling | Widgets | Relayed to Widgets ASC,parts for pouch thru LBC | 2 | 2025-08-07 | 07/19/2025 09:00 am | 07/19/2025 10:30 am | Findings - Not cooling, , , Recommendation - Replaced inverter outdoor board / unit Okay, , , Repair Done - replaced outdoor board | Com1 | Second Action
CDO-00009834 | 2025-04-07 | 01:50 pm - 01:51 pm | BACULIO | Yarra, Leocel | , , , Bacansi, BUTUAN CITY (Capital), Agusan Del Norte | 0999-9908747 | KEA-60BDRDCA | Jane | VIC IMPERIAL APP | TS | FD | W | No Power Supply | Queenkrist Ref & Aircon Parts & Services | Relayed to Queenkrist ASC, parts for pouch thru LBC81185464132 7-5-2025 | 3 | 2025-07-07 | 2025-12-07 10:00 | 2025-12-07 12:15 | Findings - defective main board, , Recommendation - replace main board and display pcb , , , Repair Done - replaced main board,unit okay | Com1 | Second Action
CDO-00009835 | 2025-05-07 | 12:42 pm - 12:42 pm | BACULIO | Cold Pro Refrigeration & Airconditioning Service Center | , , Calamansi Drive, Carmen, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0995-5900294 | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of parts |  | 2025-05-07 | 2025-05-07 12:45 | 2025-05-07 12:47 | Findings - Sale of parts, , , Recommendation - , , , Repair Done - Sale of asstd .parts | Com1 | Customer Lounge
CDO-00009836 | 2025-05-07 | 12:51 pm - 12:51 pm | BACULIO | CKF Ref & Airconditioning Services | , B6 L24 Ph3, Villa Trinitas, Bugo, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0965-23160108 | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of parts |  | 2025-05-07 | 2025-05-07 12:53 | 2025-05-07 12:55 | Findings - Sale of parts, , , Recommendation - , , , Repair Done - Sale of parts Thermostat & Remote control | Com1 | Customer Lounge
CDO-00009837 | 2025-05-07 | 12:59 pm - 01:00 pm | BACULIO | Cawit, Lyneth | , , Southcom Village, , ZAMBOANGA CITY, Zamboanga del Sur | 0945-8458968 | KAM-95CMC32 | Desiree | PRICEWISE MARKETING CORP | TS | DC | W | Not Cooling | Marjon Cool Ref. & Aircon Service Center Co. | DC c/o Marjon ASC,for check up | 1 | 2025-04-07 | 2025-04-07 14:00 | 2025-04-07 15:30 | Findings - Stuck up Compressor, , , Recommendation - for parts replacement, , , Repair Done - Check up, defective compressor need parts | Inc-06 | E-mail
CDO-00009838 | 2025-05-07 | 01:08 pm - 01:09 pm | BACULIO | Sariego, Jenielyn | , B43 L33 Magnolia St., Bloomingdale Subd., Iponan, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0998-5422510 | KSM-IW15-WCT10M1M32 | Genryl | EMCOR INC. | INST | DC | C | For Installation | Emcor- CDO | DC c/o Emcor Inc. Install SAC | 1 | 06/28/2025 | 06/28/2025 09:20 am | 06/28/2025 03:05 am | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up,late controlled | Com1 | E-mail
CDO-00009839 | 2025-05-07 | 01:12 pm - 01:12 pm | BACULIO | Purple Yam | , , Tina-ao, Agusan, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0928-6746468 | KSG-IWF-20WFY-8K1M32-I | Genryl | EMCOR INC. | INST | DC | C | For Installation | Emcor- CDO | DC c/o Emcor Inc. Install SAC | 1 | 2025-02-07 | 2025-02-07 09:25 | 2025-02-07 03:15 | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up,late controlled | Com1 | E-mail
CDO-00009840 | 2025-05-07 | 01:17 pm - 01:17 pm | BACULIO | GAB Air Conditioning | , 2nd cor 19 st, , Nazareth, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0997-2078111 | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of parts |  | 2025-05-07 | 2025-05-07 13:20 | 2025-05-07 13:22 | Findings - Sale of parts, , , Recommendation - , , , Repair Done - Sale of parts PCB Assembly & Remote Control | Com1 | Customer Lounge
CDO-00009841 | 2025-05-07 | 01:24 pm - 01:25 pm | BACULIO | Abejo, Dante | , Z12, , Poblacion, TAGOLOAN, Misamis Oriental | 0997-4337007 | KSG-IWF-10WFY-8K1M32-I | Genryl | EMCOR INC. | INST | DC | C | For Installation | Emcor- CDO | DC c/o Emcor Inc. Install SAC | 1 | 2025-01-07 | 2025-01-07 10:15 | 2025-01-07 02:20 | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up,late controlled | Com1 | E-mail
CDO-00009842 | 2025-05-07 | 01:29 pm - 01:30 pm | BACULIO | Aragon, Mary Rose | , District 3, , Consolacion, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0953-3623059 | KSM-IW15-WCT10M1M32 | Jeanelyn | ASIAN HOMES | INST | DC | C | For Installation | BRO Refrigeration and Air-conditioning Services | DC c/o Bro ASC,Install SAC | 1 | 2025-05-07 | 2025-05-07 09:00 | 2025-05-07 11:30 | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00009843 | 2025-05-07 | 01:32 pm - 01:33 pm | BACULIO | Mabascog, Teody | , , , Iponan, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0951-9402245 | KSM-IW10-WCT10M1M32 | Jeanelyn | ASIAN HOMES | INST | DC | C | For Installation | BRO Refrigeration and Air-conditioning Services | DC c/o Bro ASC,Install SAC | 1 | 2025-05-07 | 2025-05-07 10:00 | 2025-05-07 13:00 | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00009844 | 2025-05-07 | 01:36 pm - 01:37 pm | BACULIO | Quituar, Morced | , Housing Magelco, , Poblacion, COTABATO CITY, Cotabato | 0956-6455632 | KSM-IW15-WCT10M1M32 | Carlo | ROBINSONS | INST | DC | C | For Installation | Widgets | DC c/o Widgets ASC,Install SAC,for record purposes/reference | 1 | 04/26/2025 | 04/26/2025 10:03 am | 04/26/2025 04:00 pm | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up,late controlled for record purposes/reference | Com1 | E-mail
CDO-00009845 | 2025-05-07 | 01:40 pm - 01:42 pm | BACULIO | Pacatang, Rhea | , V-Sagun St., , San Francisco Dist., PAGADIAN CITY (Capital), Zamboanga del Sur | 0945-6982553 | KSM-IW10-WCT10M1M32 | Chris | MINDANAO SOLIDMARK | INST | DC | C | For Installation | Widgets | DC c/o Widgets ASC,Install SAC | 1 | 2025-05-07 | 2025-04-07 10:03 | 2025-04-07 16:00 | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00009846 | 2025-05-07 | 01:49 pm - 01:49 pm | BACULIO | BRO Refrigeration & Airconditioning Services | , Zone 2 A , Sto. Ni?o Vill., Baluarte, TAGOLOAN, Misamis Oriental | 0935-4044108 | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of parts |  | 2025-05-07 | 2025-05-07 13:51 | 2025-05-07 13:53 | Findings - Sale of parts, , , Recommendation - , , , Repair Done - Sale of parts PCB Assembly Outdoor | Com1 | Customer Lounge
CDO-00009847 | 2025-05-07 | 04:53 pm - 04:54 pm | BACULIO | Limbago, Lyn Joy | , B10 A L85 Lumina Homes, Grand Europa, Lumbia, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0919-8091925 | KSM-IW10-WCT10M1M32 | Roselle | ROBINSONS | INST | DC | C | For Installation | Gab Appliance Service Center - CDO | DC c/o GAB ASC,Install SAC | 1 | 2025-05-07 | 2025-05-07 09:30 | 2025-05-07 14:30 | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00009848 | 2025-07-07 | 02:15 pm - 02:16 pm | BACULIO | Lorena, Jose | , Don Andres, , Ipil, IPIL (Capital), Zamboanga Sibugay | 0927-7634500 | KSM-IW15-WCT10M1M32 | Janet | BUDGETWISE | INST | DC | C | For Installation | MI & I Refrigeration | DC c/o Mi & I ASC,Install SAC | 1 | 2025-01-07 | 2025-01-07 09:25 | 2025-01-07 14:55 | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00009849 | 2025-07-07 | 03:22 pm - 03:23 pm | BACULIO | Canonigo, Romela | , , , Sicayab, DIPOLOG CITY (Capital), Zamboanga del Norte | 0907-1451677 | KSM-IW15-WCT10M1M32 | Erlinda | ASIAN HOMES | INST | DC | C | For Installation | J Airconditioning & Refrigeration Services | DC c/o JARS ASC,Install SAC | 1 | 2025-07-07 | 2025-07-07 13:00 | 2025-07-07 17:00 | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00009850 | 2025-07-07 | 04:17 pm - 04:18 pm | BACULIO | Matolo, Al Rasheed | , Gregorio Drive , , Sta. maria, ZAMBOANGA CITY, Zamboanga del Sur | 0995-8205435 | KSM-IW10-WCT10M1M32 | Desiree | PRICEWISE MARKETING CORP | INST | DC | C | For Installation | Marjon Cool Ref. & Aircon Service Center Co. | DC c/o Marjon ASC | 1 | 2025-07-07 | 2025-08-07 09:30 | 2025-08-07 12:00 | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00009851 | 2025-07-07 | 04:50 pm - 04:51 pm | BACULIO | Gutoes, Kier | , Purok Pinin, , RH6, COTABATO CITY, Cotabato | 0955-3287648 | KSG-IWF-15WFY-8K1M32-I | Carlo | ROBINSONS | INST | DC | C | For Installation | Widgets | DC c/o Widgets ASC,Install SAC | 1 | 2025-05-07 | 2025-05-07 09:30 | 2025-05-07 12:00 | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00009852 | 2025-08-07 | 09:31 am - 09:32 am | BACULIO | St. Ritas College-Balingasag | , , , Poblacion, BALINGASAG, Misamis Oriental | 0997-8605812 | KAM-200DRC32 | Sol | VIC IMPERIAL APP | TS | DC | W | No Power Supply | CKF Ref & Airconditioning Services | DC c/o CKF ASC,for check up | 1 | 2025-08-07 | 2025-08-07 08:40 | 2025-08-07 10:53 | Findings - defective PCB Assembly, , , Recommendation - for parts replacement, , , Repair Done - check up, need PCB Assembly | Inc-06 | E-mail
CDO-00009853 | 2025-08-07 | 09:34 am - 09:35 am | BACULIO | St. Ritas College-Balingasag | , , , Poblacion, BALINGASAG, Misamis Oriental | 0997-8605812 | KAM-200DRC32 | Jane | VIC IMPERIAL APP | TS | FD | W | No Power Supply | CKF Ref & Airconditioning Services | Relayed to CKF ASC | 2 | 2025-08-07 | 2025-09-07 14:00 | 2025-09-07 15:10 | Findings - No Power/Defective board , , , , , , Recommendation - Need Board replacement , , , , , , Repair Done - Board replaced but need power transformer replacement because it's defective | Inc-25 | Second Action
CDO-00009854 | 2025-08-07 | 11:03 am - 11:04 am | BACULIO | Macabantog, Rasmia | , Block 16 Lot 28 , Villa Angila, Balulang, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0926-0534087 | KSM-IW10-WCT10M1M32 | Jeanelyn | ASIAN HOMES | INST | DC | C | For Installation | BRO Refrigeration and Air-conditioning Services | DC c/o Bro ASC,Install SAC | 1 | 2025-08-07 | 2025-07-07 17:00 | 2025-07-07 19:00 | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00009855 | 2025-08-07 | 02:24 pm - 02:25 pm | BACULIO | Araneta, Cecile | , P4 Sta. Maria , , , TANGUB CITY, Misamis Occidental | 0918-6271891 | KSM-IW10-WCT10M1M32 | Danlhord Mellino | MINDANAO SOLIDMARK | INST | DC | C | For Installation | Widgets | DC c/o Widgets ASC,Install SAC | 1 | 06/27/2025 | 06/27/2025 01:30 pm | 06/27/2025 03:25 pm | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00009856 | 2025-08-07 | 02:29 pm - 02:30 pm | BACULIO | Barrios Construction & Design / Jetti Gas Station | , , , Canitoan/Carmen, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0919-0944076 | KSM-IW10-WCT10M1M32 | Jeanelyn | VIC IMPERIAL APP | INST | DC | C | For Installation | BRO Refrigeration and Air-conditioning Services | DC c/o Bro ASC,Install SAC | 1 | 2025-08-07 | 2025-08-07 17:00 | 2025-08-07 20:00 | Findings - For Installation, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00009857 | 2025-08-07 | 02:30 pm - 02:30 pm | BACULIO | Barrios Construction & Design / Jetti Gas Station | , , , Canitoan/Carmen, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0919-0944076 | KSM-IW10-WCT10M1M32 | Jeanelyn | VIC IMPERIAL APP | INST | DC | C | For Installation | BRO Refrigeration and Air-conditioning Services | DC c/o Bro ASC,Install SAC | 1 | 2025-08-07 | 2025-08-07 11:30 | 2025-08-07 15:00 | Findings - For Installation, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00009858 | 2025-09-07 | 08:18 am - 08:19 am | BACULIO | St. Ritas College-Balingasag | , , , Poblacion, BALINGASAG, Misamis Oriental | 0997-8605812 | KAM-200DRC32 | Sol | VIC IMPERIAL APP | TS | DC | W | No Power Supply | CKF Ref & Airconditioning Services | DC c/o CKF ASC | 2 | 2025-08-07 | 2025-09-07 14:00 | 2025-09-07 15:10 | Findings - No Power/Defective power transformer , , , Recommendation - Need power transformer replacement, , , Repair Done - Ok/Power transformer replaced | Com1 | E-mail
CDO-00009859 | 2025-09-07 | 01:14 pm - 01:15 pm | BACULIO | CMR CONSUMER GOODS TRADING | , , , Talon-talon, ZAMBOANGA CITY, Zamboanga del Sur | 0917-1141686 | KSM-IW10-WCT10M1M32 | Desiree | VIC IMPERIAL APP | INST | DC | C | For Installation | Marjon Cool Ref. & Aircon Service Center Co. | DC c/o Marjon ASC,Install SAC | 1 | 2025-09-07 | 2025-09-07 13:00 | 2025-09-07 16:00 | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00009860 | 2025-09-07 | 01:19 pm - 01:19 pm | BACULIO | Labuan, Marry Grace | , L5 B5 , Bella Vita Subdivision , Indahag, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0927-9750314 | KSM-IW15-WCT10M1M32 | Jeanelyn | ASIAN HOMES | INST | DC | C | For Installation | BRO Refrigeration and Air-conditioning Services | DC c/o Bro ASC,Install SAC | 1 | 2025-08-07 | 2025-08-07 18:00 | 2025-08-07 21:00 | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00009861 | 2025-09-07 | 01:23 pm - 01:24 pm | BACULIO | Magtaroc, Mark Jeffrey | , B21 L23, Lessandra Subd., Gran Europa, Lumbia, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0975-9474857 | KSM-IW15-WCT10M1M32 | Jeanelyn | ASIAN HOMES | INST | DC | C | For Installation | BRO Refrigeration and Air-conditioning Services | DC c/o Bro ASC,Install SAC | 1 | 2025-09-07 | 2025-09-07 10:30 | 2025-09-07 13:30 | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00009862 | 2025-10-07 | 09:02 am - 09:03 am | BACULIO | Emcor, Inc. Nu?ez | , , , , ZAMBOANGA CITY, Zambonga del Norte | 0906-4803240 | KA-200MCARINV32 | May Julian | EMCOR INC. | REP | DC | W | Others | Emcor- CDO | Defective Face cover | 1 | 2025-10-07 | 2025-05-07 10:02 | 2025-05-07 10:05 | Findings - Defective face cover lock , , , , Recommendation - for replacement, , , , Repair Done - Parts request already to head office | Inc-06 | E-mail
CDO-00009863 | 2025-10-07 | 01:45 pm - 01:46 pm | BACULIO | BULANAY ELEMENTARY SCHOOL | , , , Bulanay, SOMINOT (DON MARIANO MARCOS), Zamboanga del Sur | 0917-1137646 | KSM-IW15-WCT10M1M32 | Christine | MINDANAO SOLIDMARK | INST | DC | C | For Installation | Widgets | DC c/o Widgets ASC,Install SAC | 1 | 2025-09-07 | 2025-09-07 09:30 | 2025-09-07 16:20 | Findings - For Installation, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00009864 | 2025-10-07 | 03:27 pm - 03:28 pm | BACULIO | AVON COSMETICS | , Velez Akut St., , Brgy. 17, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0917-8642342 | KSM-IW10-WCT10M1M32 | Roselle | ROBINSONS | INST | DC | C | For Installation | Gab Appliance Service Center - CDO | DC c/o GAB ASC,Install SAC | 1 | 2025-10-07 | 2025-10-07 15:40 | 2025-10-07 15:41 | Findings - For Installation, , , Recommendation - Customer undecided to proceed installation due to excess payment., , , Repair Done - Cancelled by customer, they will contact ASP once the desicion made | NSC01 | E-mail
CDO-00009865 | 2025-11-07 | 11:31 am - 11:32 am | BACULIO | Loquias, Jael Pearl | , B4 L3 NJK, , Dao, PAGADIAN CITY (Capital), Zamboanga del Sur | 0951-7960455 | KSG-IWF-30WFY-8K1M32-I | Chris | MINDANAO SOLIDMARK | INST | DC | C | For Installation | Widgets | DC c/o Widgets ASC,Install SAC | 1 | 2025-10-07 | 2025-10-07 09:20 | 2025-10-07 17:00 | Findings - For Installation, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00009866 | 2025-12-07 | 09:37 am - 09:38 am | BACULIO | Usman, Ahmad Muchtar | , Daisy Road, , Guiwan, ZAMBOANGA CITY, Zamboanga del Sur | 0975-7159853 | KSM-IW20-WCT10M1M32 | Janet | BUDGETWISE | INST | DC | C | For Installation | MI & I Refrigeration | DC c/o Mi & I ASC,Install SAC | 1 | 2025-12-07 | 2025-12-07 09:05 | 2025-12-07 14:25 | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00009867 | 2025-12-07 | 10:57 am - 10:58 am | BACULIO | Elumba, Faith | , P-3 , , Togbongon, SURIGAO CITY (Capital), Surigao Del Norte | 0928-4115621 | KSM-IW15-WCT10M1M32 | Melanie | MINDANAO SOLIDMARK | INST | DC | C | For Installation | Queenkrist Ref & Aircon Parts & Services | DC c/o Queenkrist ASC,Install SAC | 1 | 2025-11-07 | 2025-11-07 08:30 | 07/15/2025 11:05 am | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00009868 | 2025-12-07 | 11:01 am - 11:02 am | BACULIO | JAPITANA MA. LOURDES/ CLINIC | , , , , CARMEN, Surigao Del Sur | 0909-1784925 | KSG-IWF-30WFY-8K1M32-I | Melanie | MINDANAO SOLIDMARK | INST | DC | C | For Installation | Queenkrist Ref & Aircon Parts & Services | DC c/o Queekrist ASC,Install SAC | 1 | 2025-11-07 | 2025-11-07 11:00 | 2025-11-07 15:15 | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00009869 | 2025-12-07 | 11:02 am - 11:03 am | BACULIO | JAPITANA MA. LOURDES/ CLINIC | , , , , CARMEN, Surigao Del Sur | 0909-1784925 | KSM-IW25-WCT10M1M32 | Melanie | MINDANAO SOLIDMARK | INST | DC | C | For Installation | Queenkrist Ref & Aircon Parts & Services | DC c/o Queekrist ASC,Install SAC | 1 | 2025-11-07 | 2025-11-07 14:00 | 2025-11-07 17:20 | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00009870 | 2025-12-07 | 11:04 am - 11:05 am | BACULIO | Plandano, Nilda | , B7 L2, Canlanipa Homes, Taft, SURIGAO CITY (Capital), Surigao del norte | 0950-1794597 | KSM-IW25-WCT10M1M32 | Melanie | MINDANAO SOLIDMARK | INST | DC | C | For Installation | Queenkrist Ref & Aircon Parts & Services | DC c/o Queenkrist ASC,install SAC | 1 | 2025-11-07 | 2025-11-07 08:45 | 2025-11-07 12:00 | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00009871 | 2025-12-07 | 03:09 pm - 03:11 pm | BACULIO | Oro Gas Inc. | , , , Lapasan, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0917-7771802 | KAG-240RSINV |  |  | SP | WI | COS | Sales of Parts |  | Sale of parts |  | 2025-12-07 | 2025-12-07 15:14 | 2025-12-07 15:16 | Findings - Sale of parts, , , Recommendation - , , , Repair Done - Sale of parts Motor Capacitor | Com1 | Customer Lounge
CDO-00009872 | 2025-12-07 | 03:22 pm - 03:23 pm | BACULIO | TMCPC-CdO Christian Church | , Concordio Diel St. , , Carmen, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0961-9324797 | KL-IF60-G6H1M32-I | Sol | MINDANAO SOLIDMARK | INST | DC | C | For Installation | CKF Ref & Airconditioning Services | DC c/o CKF ASC,Install FAC Type | 1 | 2025-12-07 | 2025-12-07 10:22 | 2025-12-07 15:10 | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed FAC/started up | Com1 | E-mail
CDO-00009873 | 2025-12-07 | 03:23 pm - 03:24 pm | BACULIO | TMCPC-CdO Christian Church | , Concordio Diel St. , , Carmen, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0961-9324797 | KL-IF60-G6H1M32-I | Sol | MINDANAO SOLIDMARK | INST | DC | C | For Installation | CKF Ref & Airconditioning Services | DC c/o CKF ASC,Install FAC Type | 1 | 2025-12-07 | 07/14/2025 09:15 am | 07/14/2025 01:42 pm | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed FAC/started up | Com1 | E-mail
CDO-00009874 | 2025-12-07 | 03:24 pm - 03:25 pm | BACULIO | TMCPC-CdO Christian Church | , Concordio Diel St. , , Carmen, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0961-9324797 | KL-IF60-G6H1M32-I | Sol | MINDANAO SOLIDMARK | INST | DC | C | For Installation | CKF Ref & Airconditioning Services | DC c/o CKF ASC,Install FAC Type | 1 | 2025-12-07 | 07/14/2025 02:00 pm | 07/14/2025 05:33 pm | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed FAC/started up | Com1 | E-mail
CDO-00009875 | 2025-12-07 | 04:25 pm - 04:25 pm | BACULIO | Chylles Gen. Services | , , , Tayaga, CLAVER, Surigao Del Norte | 0995-4545632 | KSM-IW10-WCT10M1M32 | Melanie | MINDANAO SOLIDMARK | INST | DC | C | For Installation | Queenkrist Ref & Aircon Parts & Services | DC c/o Queenkrist ASC,Install SAC | 1 | 2025-12-07 | 2025-12-07 10:30 | 2025-12-07 14:05 | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00009876 | 2025-12-07 | 04:28 pm - 04:29 pm | BACULIO | Dumaguit, Karen | , , KM.5 , Luna, SURIGAO CITY (Capital), Surigao del norte | 0948-4477496 | KSM-IW10-WCT10M1M32 | Melanie | MINDANAO SOLIDMARK | INST | DC | C | For Installation | Queenkrist Ref & Aircon Parts & Services | DC c/o Queenkrist ASC,Install SAC | 1 | 2025-12-07 | 2025-12-07 08:50 | 2025-12-07 12:00 | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00009877 | 2025-12-07 | 04:33 pm - 04:33 pm | BACULIO | Romo, Rojun | , San Jose St., , , DINAGAT, Surigao Del Norte | 0975-1800531 | KSM-IW10-WCT10M1M32 | Melanie | MINDANAO SOLIDMARK | INST | DC | C | For Installation | Queenkrist Ref & Aircon Parts & Services | DC c/o Queenkrist ASC,Install SAC | 1 | 2025-12-07 | 2025-12-07 13:00 | 2025-12-07 16:10 | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00009878 | 07/15/2025 | 09:28 am - 09:29 am | BACULIO | Mendoza, Jen Ivy | , , , Patpat, CITY OF MALAYBALAY (Capital), Bukidnon | 0917-7792535 | KSM-IW10-WCT10M1M32 | Jane | ROBINSONS | TS | FD | W | EL01 Error Code | Gab Appliance Service Center - CDO | Relayed to GAB ASC,for check up | 1 | 07/18/2025 | 07/18/2025 08:00 am | 07/18/2025 08:50 am | Findings - upon check up unit is okay functioning normal, , , Recommendation - unit is okay, , , Repair Done - Check up only | Com2 | Social Media
CDO-00009879 | 07/15/2025 | 10:26 am - 10:27 am | BACULIO | PUTING MANOK CORP. | , , , Camangan, RAMON MAGSAYSAY (LIARGO), Zamboanga del Sur | 0948-9222011 | KLG-IF40-5G1M32-I | Ivy | MINDANAO SOLIDMARK | INST | DC | C | For Installation | Widgets | DC c/o Widgets ASC,Install FAC Type | 1 | 2025-12-07 | 2025-12-07 09:30 | 2025-12-07 13:00 | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed FAC/started up | Com1 | E-mail
CDO-00009880 | 07/15/2025 | 10:30 am - 10:31 am | BACULIO | Careras, Carlo | Careras Bldg, Zone 4, , Brgy. Ala-e, MANOLO FORTICH, Bukidnon | 0917-8567434 | KSM-IW10-WCT10M1M32 | Roselle | ROBINSONS | INST | DC | C | For Installation | Gab Appliance Service Center - CDO | DC c/o GAB ASC, Install SAC | 1 | 2025-12-07 | 2025-12-07 12:10 | 2025-12-07 02:30 | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00009881 | 07/15/2025 | 10:33 am - 10:34 am | BACULIO | Downtown Suites | , Montecarlo St. , , Gaabucayan, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0922-3173815 | KSM-IW15-WCT10M1M32 | Sol | VIC IMPERIAL APP | INST | DC | C | For Installation | CKF Ref & Airconditioning Services | DC c/o CKF ASC,install SAC | 1 | 07/15/2025 | 07/15/2025 10:17 am | 07/15/2025 02:26 pm | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00009882 | 07/15/2025 | 10:43 am - 10:45 am | BACULIO | Miland, Marjune | , Zone 1, , Balubal, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0945-8023842 | KSG-IWF-20WFY-8K1M32-I | Jeanelyn | ALL HOME | TS | DC | C | H5 Error Code | BRO Refrigeration and Air-conditioning Services | DC c/o Bro ASC | 1 | 07/15/2025 | 07/18/2025 02:00 pm | 07/18/2025 04:00 pm | Findings - Defective outdoor board (blinking), , , , Recommendation - Replace parts, for evaluation approval of Admin, last option compressor , , Repair Done - Replaced outdoor board but same error code appeared then replaced indoor board but still error code appeared. | Inc-07 | E-mail
CDO-00009883 | 07/15/2025 | 02:29 pm - 02:29 pm | BACULIO | Omandac, Gerlyn | , 2nd Floor Centrio Ayala Malls CM Recto Ave., , Brgy. 24 , CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0905-3714704 | KSM-IW15-WCT10M1M32 | Jeanelyn | ASIAN HOMES | INST | DC | C | For Installation | BRO Refrigeration and Air-conditioning Services | DC c/o Bro ASC,install SAC | 1 | 07/15/2025 | 07/15/2025 10:00 am | 07/15/2025 02:30 am | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00009884 | 07/15/2025 | 02:29 pm - 02:30 pm | BACULIO | Omandac, Gerlyn | , 2nd Floor Centrio Ayala Malls CM Recto Ave., , Brgy. 24 , CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0905-3714704 | KSM-IW15-WCT10M1M32 | Jeanelyn | ASIAN HOMES | INST | DC | C | For Installation | BRO Refrigeration and Air-conditioning Services | DC c/o Bro ASC,Install SAC | 1 | 07/15/2025 | 07/15/2025 10:00 am | 07/15/2025 02:30 am | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00009885 | 07/15/2025 | 02:36 pm - 02:36 pm | BACULIO | Taga, James Russo | , Phase 1, , Nasuli Bangcud, CITY OF MALAYBALAY (Capital), Bukidnon | 0947-9936352 | KSM-IW10-WCT10M1M32 | Roselle | ROBINSONS | INST | DC | C | For Installation | GAB Appliance Service Center - Cebu | DC c/o GAB ASC,Install SAC | 1 | 07/14/2025 | 07/14/2025 11:40 am | 07/14/2025 03:30 am | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00009886 | 07/15/2025 | 03:07 pm - 03:09 pm | BACULIO | Redoblado, Riza | , B-10 Lot-12 , Grand Europa, Lumbia, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0906-6208903 | KSM-IW20-6H1M | Lolita | ALL HOME | TS | DC | P | Not Cooling | Coolhouse Airconditioning & Refrigeration SVC | DC c/o Coolhouse ASC,check up | 1 | 07/15/2025 | 07/15/2025 01:00 pm | 07/15/2025 02:25 pm | Findings - Loose compression, defective Compressor, , , Recommendation - for parts replacement, , , Repair Done - Check up, need parts | Inc-06 | E-mail
CDO-00009887 | 07/16/2025 | 09:12 am - 09:13 am | BACULIO | Redoblado, Riza | , B-10 Lot-12 , Grand Europa, Lumbia, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0906-6208903 | KSM-IW20-6H1M | Jane | ALL HOME | TS | FD | P | Not Cooling | Coolhouse Airconditioning & Refrigeration SVC | Relayed to Coolhouse ASC, parts available for pick up | 2 | 07/16/2025 | 07/17/2025 09:35 am | 07/17/2025 11:00 am | Findings - DEFECTIVE COMPRESSOR, , , Recommendation - REPLACED COMPRESSOR, , , Repair Done - REPLACED COMPRESSOR & ADDITIONAL FREON SYSTEM REPROCESS | Com1 | Second Action
CDO-00009888 | 07/16/2025 | 09:20 am - 09:21 am | BACULIO | CKF Ref & Airconditioning Services | , B6 L24 Ph3, Villa Trinitas, Bugo, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0965-23160108 | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of parts |  | 07/16/2025 | 07/16/2025 09:25 am | 07/16/2025 09:27 am | Findings - Sale of parts , , , Recommendation - , , , Repair Done - Sale of parts Fan Motor outdoor | Com1 | Customer Lounge
CDO-00009889 | 07/16/2025 | 09:53 am - 09:54 am | BACULIO | Queenkrist Refrigeration & Aircondtioning Parts & Services | , 04363 Borja Street cor. Roxas Street, , Barangay Washington, SURIGAO CITY (Capital), Surigao del Norte |  | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of parts |  | 07/16/2025 | 07/16/2025 09:55 am | 07/16/2025 09:07 am | Findings - Sale of parts, , , Recommendation - , , , Repair Done - Sale of parts Face cover CANCELLED, referred to SJR#9890 with SR#2491 | NSC12 | Customer Lounge
CDO-00009890 | 07/16/2025 | 10:12 am - 10:14 am | BACULIO | Queenkrist Refrigeration & Aircondtioning Parts & Services | , 04363 Borja Street cor. Roxas Street, , Barangay Washington, SURIGAO CITY (Capital), Surigao del Norte |  | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of parts |  | 07/16/2025 | 07/16/2025 10:18 am | 07/16/2025 10:20 am | Findings - Sale of parts, , , Recommendation - , , , Repair Done - Sale of parts Face cover & filter net | Com1 | Customer Lounge
CDO-00009891 | 07/16/2025 | 10:34 am - 10:35 am | BACULIO | Kong, David Oliver | , Crispin Atilano St., Dagamanuel Subd., Tetuan, ZAMBOANGA CITY, Zamboanga del Sur | 0917-6320444 | KSM-IW25-WCT10M1M32 | Bens | ABENSON INC. | INST | DC | C | For Installation | Ree Cooling Services | DC c/o Reecooling ASC,Install SAC | 1 | 07/15/2025 | 07/15/2025 01:00 pm | 07/15/2025 04:35 pm | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00009892 | 07/16/2025 | 10:37 am - 10:39 am | BACULIO | Cold Pro Refrigeration & Airconditioning Service Center | , , Calamansi Drive, Carmen, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0995-5900294 | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of parts |  | 07/16/2025 | 07/16/2025 10:40 am | 07/16/2025 10:42 am | Findings - Sale of parts, , , Recommendation - , , , Repair Done - Sale of parts Temp. Sensor Assy | Com1 | Customer Lounge
CDO-00009893 | 07/16/2025 | 11:52 am - 11:53 am | BACULIO | Vantage Financial Corp. | 157th Flr. PSE Tower, 28th St. 5th Ave., , , TAGUIG CITY, Manila | 0917-5898846 | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of parts |  | 07/16/2025 | 07/16/2025 11:56 am | 07/16/2025 11:58 am | Findings - Sale of parts, , , Recommendation - , , , Repair Done - Sale of parts Filter Net | Com1 | Customer Lounge
CDO-00009894 | 07/16/2025 | 01:05 pm - 01:06 pm | BACULIO | GAB Air Conditioning | , 2nd cor 19 st, , Nazareth, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0997-2078111 | n/a |  |  | SP | WI | COS | Misaligned Part |  | Sale of parts |  | 07/16/2025 | 07/16/2025 01:07 pm | 07/16/2025 01:09 am | Findings - Sale of parts, , , Recommendation - , , , Repair Done - Sale of parts Selector Switch | Com1 | Customer Lounge
CDO-00009895 | 07/16/2025 | 01:31 pm - 01:32 pm | BACULIO | Arceno, Virginia | , , , D Sacol, BUENAVISTA, Agusan del Norte | 0909-2700209 | KWD-BLC-2088B | Queenilyn | VIC IMPERIAL APP | TS | DC | W | Not Cooling | Queenkrist Ref & Aircon Parts & Services | DC c/o Queenkrist ASC,for check up | 1 | 07/16/2025 | 07/16/2025 10:00 am | 07/16/2025 12:15 pm | Findings - defective thermostat, , , Recommendation - for replace thermostat, , , Repair Done - check up & diagnose | Inc-06 | E-mail
CDO-00009896 | 07/16/2025 | 01:53 pm - 01:54 pm | BACULIO | ELECTRONIC TRANSFER AND PROCESSING INC. | , , , Canelar, ZAMBOANGA CITY, Zamboanga del Sur | 0912-6062852 | KSM-IW15-WCT10M1M32 | Desiree | PRICEWISE MARKETING CORP | INST | DC | C | For Installation | Marjon Cool Ref. & Aircon Service Center Co. | DC c/o Marjon ASC,Install SAC | 1 | 07/15/2025 | 07/15/2025 02:00 pm | 07/15/2025 06:00 pm | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00009897 | 07/16/2025 | 02:29 pm - 02:29 pm | BACULIO | Valmer, Josephine | , Villa Rosario, , Casinglot, TAGOLOAN, Misamis Oriental | 0917-1548813 | KSM-IW10-WCT10M1M32 | Jeanelyn | ASIAN HOMES | INST | DC | C | For Installation | BRO Refrigeration and Air-conditioning Services | DC c/o Bro ASC, Install SAC | 1 | 07/16/2025 | 07/16/2025 11:00 am | 07/16/2025 02:00 am | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00009898 | 07/16/2025 | 04:27 pm - 04:28 pm | BACULIO | Arceno, Virginia | , , , D Sacol, BUENAVISTA, Agusan del Norte | 0909-2700209 | KWD-BLC-2088B | Jane | VIC IMPERIAL APP | TS | FD | W | Not Cooling | Queenkrist Ref & Aircon Parts & Services | Relayed to Queenkrist ASC,parts for pouch thru LBC 7-17-2025 | 2 | 07/19/2025 | 07/23/2025 10:00 am | 07/23/2025 11:00 am | Findings - Defective Thermostat, , , , Recommendation - As needed, , Repair Done - check up & replaced Thermostat, unit okay | Com1 | Second Action
CDO-00009899 | 07/17/2025 | 08:04 am - 08:05 am | BACULIO | Cawit, Lyneth | , , Southcom Village, , ZAMBOANGA CITY, Zamboanga del Sur | 0945-8458968 | KAM-95CMC32 | Jane | PRICEWISE MARKETING CORP | TS | FD | W | Not Cooling | Marjon Cool Ref. & Aircon Service Center Co. | Relayed to Marjon ASC,parts for pouch thru LBC | 2 | 07/21/2025 | 07/19/2025 08:30 am | 07/19/2025 08:32 am | Findings - Cancelled double entry, , , Recommendation - Cancelled, , , Repair Done - Cancelled, refer to SJR#9908 new issued SJR | NSC12 | Second Action
CDO-00009900 | 07/17/2025 | 08:31 am - 08:31 am | BACULIO | Galbreath, Marilou | , Purok 8, , Poblacion , LIBONA, Bukidnon | 0917-3188249 | KSM-IW15-WCT10M1M32 | Sol | ASIAN HOMES | INST | DC | C | For Installation | CKF Ref & Airconditioning Services | DC c/o CKF ASC,Install SAC | 1 | 07/16/2025 | 07/16/2025 02:00 pm | 07/16/2025 04:32 pm | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00009901 | 07/17/2025 | 08:45 am - 08:50 am | BACULIO | CKF Ref & Airconditioning Services | , B6 L24 Ph3, Villa Trinitas, Bugo, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0965-23160108 | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of parts |  | 07/17/2025 | 07/17/2025 08:52 am | 07/17/2025 08:54 am | Findings - Sale of parts, , , Recommendation - , , , Repair Done - Sale of parts Sensor | Com1 | Customer Lounge
CDO-00009902 | 07/17/2025 | 09:05 am - 09:06 am | BACULIO | Flerics Appliance Service Center | , , , Port Area Poblacion, ILIGAN CITY, Lanao del Norte | 0917-7161705 | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of Inst. materials |  | 07/17/2025 | 07/17/2025 09:08 am | 07/17/2025 09:10 am | Findings - Sale of Inst. mat, , , Recommendation - , , , Repair Done - Sale of inst. mat | Com1 | Customer Lounge
CDO-00009903 | 07/17/2025 | 02:32 pm - 02:33 pm | BACULIO | Jov Sunrise Inc. | , , , Bagting, DAPITAN CITY, Zamboanga del Norte | 0995-0539839 | KSM-IW15-WCT10M1M32 | Erlinda | MINDANAO SOLIDMARK | INST | DC | C | For Installation | J Airconditioning & Refrigeration Services | DC c/o JARS ASC,Install SAC | 1 | 07/17/2025 | 07/17/2025 10:00 am | 07/17/2025 05:30 pm | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00009904 | 07/17/2025 | 02:45 pm - 02:46 pm | BACULIO | Starmac Beach Resort | , , , Mauswagon, LAGUINDINGAN, Misamis Oriental | 0935-2163369 | KSM-IW15-WCT10M1M32 | Jeanelyn | MINDANAO SOLIDMARK | INST | DC | C | For Installation | BRO Refrigeration and Air-conditioning Services | DC c/o Bro ASC,Install SAC | 1 | 07/16/2025 | 07/16/2025 04:00 pm | 07/16/2025 07:00 pm | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00009905 | 07/17/2025 | 02:49 pm - 02:49 pm | BACULIO | LBC Express | , Baloy, , Tablon, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0975-4289550 | KSG-IWF-30WFY-8K1M32-I | Jeanelyn |  | INST | DC | C | For Installation | BRO Refrigeration and Air-conditioning Services | DC c/o Bro ASC,install SAC | 1 | 2025-12-07 | 2025-12-07 17:00 | 2025-12-07 19:30 | Findings - Unit for install, customer can't provide receipt , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00009906 | 07/17/2025 | 04:20 pm - 04:21 pm | BACULIO | WEE CORUM MAGNUM PROPERTIES | , , , , OPOL, Misamis Oriental | 0905-8992339 | KSM-IW20-WCT10M1M32 | Rosselle | MINDANAO SOLIDMARK | INST | DC | C | For Installation | GAB Appliance Service Center - Cebu | DC c/o GAB ASC,Install SAC | 1 | 07/17/2025 | 07/17/2025 01:00 pm | 07/17/2025 05:30 pm | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00009907 | 07/17/2025 | 04:27 pm - 04:28 pm | BACULIO | Nason, Ellen | , , , , TANGUB CITY, Misamis Occidental | 0907-1613687 | KSM-IW25-WCT10M1M32 | Danlhord Mellino | MINDANAO SOLIDMARK | INST | DC | C | For Installation | Widgets | DC c/o Widgets ASc, Install SAC | 1 | 05/28/2025 | 05/28/2025 01:00 pm | 05/28/2025 03:30 pm | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up,late controlled for record purposes/reference | Com1 | E-mail
CDO-00009908 | 07/18/2025 | 10:21 am - 10:23 am | BACULIO | Cawit, Lyneth | , , Southcom Village, , ZAMBOANGA CITY, Zamboanga del Sur | 0945-8458968 | KAM-95CMC32 | Jane | PRICEWISE MARKETING CORP | TS | FD | W | Not Cooling | Marjon Cool Ref. & Aircon Service Center Co. | Relayed to Marjon ASC,parts pouched thru LBC 81185464139 7-19-2025 | 2 | 07/21/2025 | 07/25/2025 09:30 am | 07/25/2025 11:30 am | Findings - STUCK UP COMPRESSOR, , , Recommendation - REPLACED NEW COMPRESSOR, , , Repair Done - REPPLACED NEW COMPRESOR AND SYSTEM PROCESSING, UNIT OK | Com1 | Second Action
CDO-00009909 | 07/19/2025 | 10:45 am - 10:45 am | BACULIO | Tabo, Romeo | , Calle Cariaga, , Mercedes, ZAMBOANGA CITY, Zamboanga del Sur | 0975-7090394 | KSM-IW15-WCT10M1M32 | Desiree | PRICEWISE MARKETING CORP | INST | DC | C | For Installation | Marjon Cool Ref. & Aircon Service Center Co. | DC c/o Maejon ASC,Install SAC | 1 | 07/19/2025 | 07/19/2025 09:00 am | 07/19/2025 12:00 pm | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00009910 | 07/19/2025 | 10:49 am - 10:50 am | BACULIO | JAMES USMAN, Pharmacy | , Veterans Ave., , , ZAMBOANGA CITY, Zamboanga del Sur | 0917-7082919 | KLG-SF40-WBR6H1M32-I | Desiree | REE COOLING SERVICES | INST | DC | C | For Installation | Marjon Cool Ref. & Aircon Service Center Co. | DC c/o Marjon ASC,Install FAC Type | 1 | 07/19/2025 | 07/19/2025 10:00 am | 07/19/2025 02:00 pm | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed FAC/started up | Com1 | Dealer Service Request - Mobile
CDO-00009911 | 07/19/2025 | 02:06 pm - 02:07 pm | BACULIO | Babayan, Jerald | , B1 L4 , Grandville Subd., Dalipuga, ILIGAN CITY, Lanao del Norte | 0969-3337619 | KSM-IW25-WCT10M1M32 | Jessa | MINDANAO SOLIDMARK | INST | DC | C | For Installation | Flerics Appliance Service Center | DC c/o Flerics ASC,Install SAC | 1 | 07/19/2025 | 07/19/2025 11:40 am | 07/19/2025 03:00 pm | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00009912 | 07/19/2025 | 03:53 pm - 03:53 pm | BACULIO | Abapo, Vanessa | , Manuel St., , Consolacion, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0975-3209964 | KSM-IW10-WCT10M1M32 | Jeanelyn | ASIAN HOMES | INST | DC | C | For Installation | BRO Refrigeration and Air-conditioning Services | DC c/o Bro ASC,Install SAC | 1 | 07/19/2025 | 07/19/2025 02:00 pm | 07/19/2025 05:00 pm | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed FAC/started up | Com1 | E-mail
CDO-00009913 | 07/19/2025 | 04:35 pm - 04:35 pm | BACULIO | Cabrera, Victor | , , , Dicayas, DIPOLOG CITY (Capital), Zamboanga del Norte | 0917-1385860 | KSM-IW20-WCT10M1M32 | Erlinda | ASIAN HOMES | INST | DC | C | For Installation | J Airconditioning & Refrigeration Services | DC c/o JARS ASC, Install SAC | 1 | 07/19/2025 | 07/19/2025 01:00 pm | 07/20/2025 05:00 pm | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed FAC/started up | Com1 | E-mail
CDO-00009914 | 07/21/2025 | 09:08 am - 09:09 am | BACULIO | Bantugan, Albert | , P-9, , Kabintang, DON CARLOS, Bukidnon | 0975-1522288 | KSM-IW10-WCT10M1M32 | Roselle | ROBINSONS | INST | DC | C | For Installation | Gab Appliance Service Center - CDO | DC c/o GAB ASC,Install SAC | 1 | 07/19/2025 | 07/19/2025 10:00 am | 07/19/2025 02:00 pm | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00009915 | 07/21/2025 | 11:42 am - 11:43 am | BACULIO | Gerong , Mario | , Villa Rosario, , Casinglot, TAGOLOAN, Misamis Oriental | 0917-8798096 | KSG-IWF-30WFY-8K1M32-I | Jeanelyn | ASIAN HOMES | INST | DC | C | For Installation | BRO Refrigeration and Air-conditioning Services | DC c/o Bro ASC,Install SAC | 1 | 07/21/2025 | 07/20/2025 09:00 am | 07/20/2025 11:30 am | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00009916 | 07/21/2025 | 11:44 am - 11:45 am | BACULIO | Flores Jr., Capt. Jesus | , Zone 4 , , Bulua, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0998-9494245 | KSM-IW25-WCT10M1M32 | Sol | VIC IMPERIAL APP | INST | DC | C | For Installation | CKF Ref & Airconditioning Services | DC c./o CKF ASC,Install SAC | 1 | 07/21/2025 | 07/21/2025 10:25 am | 07/21/2025 02:50 pm | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00009917 | 07/22/2025 | 08:32 am - 08:32 am | BACULIO | Don Carlos Bukidnon Hospital | , , , , DON CARLOS, Bukidnon | 0917-8595314 | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of parts |  | 07/22/2025 | 07/22/2025 08:34 am | 07/22/2025 08:36 am | Findings - Sale of parts, , , Recommendation - , , , Repair Done - Sale of parts PCB Assembly Outdoor | Com1 | Customer Lounge
CDO-00009918 | 07/22/2025 | 01:41 pm - 01:42 pm | BACULIO | Sabal Hospital | , Don Apolinar Velez St. , , Brgy. 20, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0998-9831628 | KSM-IW10-WCT10M1M32 | Sol | MINDANAO SOLIDMARK | INST | DC | C | For Installation | CKF Ref & Airconditioning Services | DC c/o CKF ASC,Install SAC | 1 | 07/22/2025 | 07/22/2025 09:25 am | 07/22/2025 11:54 am | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00009919 | 07/22/2025 | 02:00 pm - 02:01 pm | BACULIO | Atendido, Vida Gay | , P4 28 IB, , Upper Calarian, ZAMBOANGA CITY, Zamboanga del Sur | 0927-2225474 | KSM-IW10-WCT10M1M32 | Bens | ABENSON INC. | INST | DC | C | For Installation | Ree Cooling Services | DC c/o Reecooling ASC,Install SAC | 1 | 07/22/2025 | 07/22/2025 02:30 pm | 07/22/2025 05:15 pm | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00009920 | 07/22/2025 | 02:07 pm - 02:08 pm | BACULIO | OFFICE OF THE COMMANDER WESTERN MINDANAO COMMAND | , Wesmincom, Camp navarro, Upper calarian, ZAMBOANGA CITY, Zamboanga del Sur | 0968-5828249 | KSM-IW20-WCT10M1M32 | Bens | ABENSON INC. | INST | DC | C | For Installation | Ree Cooling Services | DC c/o Reecooling ASC,Install SAC | 1 | 07/22/2025 | 07/22/2025 09:00 am | 07/22/2025 01:43 pm | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00009921 | 07/22/2025 | 02:12 pm - 02:12 pm | BACULIO | Yanong, Josephine | , Zone 1, Villa de oro, kauswagan, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0917-1277448 | KSM-IW15-WCT10M1M32 | Roselle | ABENSON INC. | INST | DC | C | For Installation | Gab Appliance Service Center - CDO | DC c/o GAB ASC,install SAC | 1 | 07/21/2025 | 07/21/2025 09:00 am | 07/21/2025 05:00 pm | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00009922 | 07/22/2025 | 02:12 pm - 02:13 pm | BACULIO | Yanong, Josephine | , Zone 1, Villa de oro, kauswagan, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0917-1277448 | KSM-IW20-WCT10M1M32 | Roselle | ROBINSONS | INST | DC | C | For Installation | Gab Appliance Service Center - CDO | DC c/o GAB ASC,Install SAC | 1 | 07/21/2025 | 07/21/2025 09:00 am | 07/21/2025 05:00 pm | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00009923 | 07/22/2025 | 03:08 pm - 03:09 pm | BACULIO | Mc Dod's Ref Aircon Spareparts & Services | , P7 Boras, , Brgy Sabang, SURIGAO CITY (Capital), Surigao del Norte | 0906-3587030 | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of parts |  | 07/22/2025 | 07/22/2025 03:11 pm | 07/22/2025 03:13 pm | Findings - Sale of parts , , , Recommendation - , , , Repair Done - Sale of parts PCB Assembly indoor | Com1 | Customer Lounge
CDO-00009924 | 07/22/2025 | 03:30 pm - 03:30 pm | BACULIO | CKF Ref & Airconditioning Services | , B6 L24 Ph3, Villa Trinitas, Bugo, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0965-23160108 | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of parts |  | 07/22/2025 | 07/22/2025 03:32 pm | 07/22/2025 03:35 pm | Findings - Sale of parts , , , Recommendation - , , , Repair Done - Sale of parts fan motor indoor | Com1 | Customer Lounge
CDO-00009925 | 07/22/2025 | 03:42 pm - 03:42 pm | BACULIO | BRO Refrigeration & Airconditioning Services | , Zone 2 A , Sto. Ni?o Vill., Baluarte, TAGOLOAN, Misamis Oriental | 0935-4044108 | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of parts |  | 07/22/2025 | 07/22/2025 03:45 pm | 07/22/2025 03:47 pm | Findings - Sale of parts , , , Recommendation - , , , Repair Done - Sale of parts PCB Assembly outdoor | Com1 | Customer Lounge
CDO-00009926 | 07/22/2025 | 03:52 pm - 03:53 pm | BACULIO | Flerics Appliance Service Center | , , , Port Area Poblacion, ILIGAN CITY, Lanao del Norte | 0917-7161705 | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of parts Ins. Mat |  | 07/22/2025 | 07/22/2025 03:55 pm | 07/22/2025 03:57 pm | Findings - Sale of parts , , , Recommendation - , , , Repair Done - Sale of parts & Inst. Mat | Com1 | Customer Lounge
CDO-00009927 | 07/22/2025 | 03:57 pm - 03:58 pm | BACULIO | Ubit, Reynan Ll | , VIicente Ner. St., , Brgy. 9, CITY OF MALAYBALAY (Capital), Bukidnon | 0917-1563561 | KSM-IW15-WCT10M1M32 | Roselle | MINDANAO SOLIDMARK | INST | DC | C | For Installation | GAB Appliance Service Center - Cebu | DC c/o GAB ASC,Install SAC | 1 | 07/21/2025 | 07/21/2025 09:30 am | 07/21/2025 12:00 pm | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00009928 | 07/23/2025 | 09:13 am - 09:14 am | BACULIO | Mabandus, Junairah | , , , , BACOLOD-KALAWI (BACOLOD GRANDE), Lanao del Sur | 0915-3592587 | KSM-IW20-WCT10M1M32 | Jeanelyn | ASIAN HOMES | INST | DC | C | For Installation | BRO Refrigeration and Air-conditioning Services | DC c/o Bro ASC,Install SAC | 1 | 07/23/2025 | 07/25/2025 10:00 am | 07/23/2025 03:00 pm | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00009929 | 07/23/2025 | 09:14 am - 09:15 am | BACULIO | Mabandus, Junairah | , , , , BACOLOD-KALAWI (BACOLOD GRANDE), Lanao del Sur | 0915-3592587 | KSM-IW20-WCT10M1M32 | Jeanelyn | ASIAN HOMES | INST | DC | C | For Installation | BRO Refrigeration and Air-conditioning Services | DC c/o Bro ASC,Install SAC | 1 | 07/23/2025 | 07/23/2025 10:00 am | 07/23/2025 03:00 pm | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00009930 | 07/23/2025 | 03:04 pm - 03:05 pm | BACULIO | GAB Air Conditioning | , 2nd cor 19 st, , Nazareth, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0997-2078111 | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of parts |  | 07/23/2025 | 07/23/2025 03:07 pm | 07/23/2025 03:09 pm | Findings - Sale of parts, , , Recommendation - , , , Repair Done - Sale of parts PCB Assembly Indoor & display board | Com1 | Customer Lounge
CDO-00009931 | 07/23/2025 | 03:34 pm - 03:34 pm | BACULIO | Sanders, Joy Chua | , , , Jampason, INITAO, Misamis Oriental | 1602-3739120 | KSM-IW20-WCT10M1M32 | Sol | MINDANAO SOLIDMARK | INST | DC | C | For Installation | CKF Ref & Airconditioning Services | DC c/o CKF ASC,Install SAC | 1 | 07/23/2025 | 07/23/2025 01:22 pm | 07/23/2025 04:05 pm | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00009932 | 07/24/2025 | 12:07 pm - 12:08 pm | BACULIO | Estrosas , Elberto | , P2 , , San Antonio, TANGUB CITY, Misamis Occidental | 0946-2852724 | KSM-IW15-WCT10M1M32 | Danlhord Mellino | MINDANAO SOLIDMARK | TS | DC | W | Dripping/ Water Leak | Widgets | DC c/o Widget ASC, for check up | 1 | 07/25/2025 |  |  |  |  | E-mail
CDO-00009933 | 07/24/2025 | 12:10 pm - 12:11 pm | BACULIO | Mabandus, Junairah | , B29 L36 , Xavier Estates Subd, , CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0915-3592587 | KSM-IW10-WCT10M1M32 | Jeanelyn | ASIAN HOMES | INST | DC | C | For Installation | BRO Refrigeration and Air-conditioning Services | DC c/o Bro ASC,Install SAC | 1 | 07/24/2025 | 07/24/2025 10:30 am | 07/24/2025 01:00 pm | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00009934 | 07/24/2025 | 12:16 pm - 12:16 pm | BACULIO | Czarl JB Ventures Corp. | , Purok 2 Highway, , Tablon, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0917-3290161 | KSM-IW20-WCT10M1M32 | Sol | ASIAN HOMES | INST | DC | C | For Installation | CKF Ref & Airconditioning Services | DC c/o CKF ASC,install SAC | 1 | 07/24/2025 | 07/24/2025 10:00 am | 07/24/2025 02:25 pm | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00009935 | 07/24/2025 | 01:56 pm - 01:57 pm | BACULIO | Castelo, Ronnel | , , , La Paz, ZAMBOANGA CITY, Zamboanga del Sur | 0917-3233855 | KSM-IW10-WCT10M1M32 | Desiree | PRICEWISE MARKETING CORP | INST | DC | C | For Installation | Marjon Cool Ref. & Aircon Service Center Co. | DC c/o Marjon ASC,Install SAC | 1 | 07/24/2025 | 07/25/2025 10:00 am | 07/23/2025 03:00 pm | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00009936 | 07/25/2025 | 09:02 am - 09:04 am | BACULIO | MI & I Refrigeration And Airconditioning Services | , Cadena de Amor, , Guiwan, ZAMBOANGA CITY, Zamboanga del Sur | 0962-069328 | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of parts |  | 07/25/2025 | 07/25/2025 09:15 am | 07/25/2025 09:17 am | Findings - Sale of parts, , , Recommendation - , , , Repair Done - Sale of parts Asstd sensor | Com1 | Customer Lounge
CDO-00009937 | 07/25/2025 | 01:32 pm - 01:33 pm | BACULIO | LGU BUTIG | , Poblacion, , Bayabao , BUTIG, Lanao del Sur | 0915-0887976 | KLG-SF40-WBR6H1M32-I | Sol | MINDANAO SOLIDMARK | INST | DC | C | For Installation | CKF Ref & Airconditioning Services | DC c/o CKF ASC,install FAC type | 1 | 07/25/2025 | 07/25/2025 10:06 am | 07/25/2025 02:32 pm | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed FAC/started up | Com1 | E-mail
CDO-00009938 | 07/25/2025 | 01:33 pm - 01:33 pm | BACULIO | LGU BUTIG | , Poblacion, , Bayabao , BUTIG, Lanao del Sur | 0915-0887976 | KLG-SF40-WBR6H1M32-I | Sol | MINDANAO SOLIDMARK | INST | DC | C | For Installation | CKF Ref & Airconditioning Services | DC c/o CKF ASC,Install FAC Type | 1 | 07/25/2025 | 07/25/2025 02:47 pm | 07/25/2025 06:00 pm | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed FAC/started up | Com1 | E-mail
CDO-00009939 | 07/25/2025 | 01:33 pm - 01:34 pm | BACULIO | LGU BUTIG | , Poblacion, , Bayabao , BUTIG, Lanao del Sur | 0915-0887976 | KLG-SF40-WBR6H1M32-I | Sol | MINDANAO SOLIDMARK | INST | DC | C | For Installation | CKF Ref & Airconditioning Services | DC c/o CKF ASC,Install FAC Type | 1 | 07/25/2025 | 07/26/2025 08:42 am | 07/26/2025 11:56 am | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed FAC/started up | Com1 | E-mail
CDO-00009940 | 07/25/2025 | 01:34 pm - 01:35 pm | BACULIO | LGU BUTIG | , Poblacion, , Bayabao , BUTIG, Lanao del Sur | 0915-0887976 | KLG-SF40-WBR6H1M32-I | Sol | MINDANAO SOLIDMARK | INST | DC | C | For Installation | CKF Ref & Airconditioning Services | DC c/o CKF ASC,Install FAC Type | 1 | 07/25/2025 | 07/26/2025 01:00 pm | 07/26/2025 04:20 pm | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed FAC/started up | Com1 | E-mail
CDO-00009941 | 07/25/2025 | 01:39 pm - 01:39 pm | BACULIO | Madrona, Theo Siezar | , Zone 3, , Brgy. Cogon, CITY OF EL SALVADOR, Misamis Oriental | 0906-6243868 | KSM-IW10-WCT10M1M32 | Jeanelyn | ASIAN HOMES | INST | DC | C | For Installation | BRO Refrigeration and Air-conditioning Services | DC c/o Bro ASC,Install SAC | 1 | 07/25/2025 | 07/25/2025 01:30 pm | 07/25/2025 03:30 pm | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00009942 | 07/26/2025 | 11:14 am - 11:15 am | BACULIO | Elpedes, Adriana | , Purok 2B, Hill Top View , Lunzuran, ZAMBOANGA CITY, Zamboanga del Sur | 0945-7237432 | KSM-IW15-WCT10M1M32 | Jane | ABENSON INC. | GC | FD | C | Weak Cooling | Ree Cooling Services | Relayed to Reecooling ASC | 1 | 07/28/2025 |  |  |  |  | Social Media
CDO-00009943 | 07/26/2025 | 11:28 am - 11:28 am | BACULIO | Espa?o, Eduardo | , B5 L38, Ecoverde Kaiyp, Indahag, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0997-5761009 | KSM-IW15-WCT10M1M32 | Roselle | ABENSON INC. | INST | DC | C | For Installation | GAB Appliance Service Center - Cebu | DC c/o GAB ASC,Install SAC | 1 | 07/25/2025 | 07/25/2025 09:00 am | 07/25/2025 02:00 pm | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00009944 | 07/26/2025 | 11:43 am - 11:45 am | BACULIO | Amarga, Ruel Jr. Pading | , PUROK 3, , Brgy. Maputi, NAAWAN, MISAMIS ORIENTAL | 0938-1775908 | KA-75MCARINV32 | Jane | EMCOR INC. | TS | FD | W | Noisy | Emcor- CDO | Relayed to Emcor Inc. for check up | 1 | 07/29/2025 | 07/29/2025 03:23 pm | 07/29/2025 04:20 pm | Findings - Due to high temperature settings, , , , Recommendation - Adjust temperature settings, , , , Repair Done - Check up and re-setting. Unit okey | Com1 | Social Media
CDO-00009945 | 07/28/2025 | 09:49 am - 09:49 am | BACULIO | Miguel, Ivy | , , , Poblacion 1, VILLANUEVA, Misamis Oriental | 0906-3486296 | KSM-IW10-WCT10M1M32 | Jeanelyn | ASIAN HOMES | INST | DC | C | For Installation | BRO Refrigeration and Air-conditioning Services | DC c/o Bro ASC,Install SAC | 1 | 07/26/2025 | 07/26/2025 01:00 pm | 07/26/2025 03:00 pm | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00009946 | 07/28/2025 | 09:53 am - 09:54 am | BACULIO | Salamanca, Cran Leigh Mae | , Zone 2, , Mohon, TAGOLOAN, Misamis Oriental | 0947-6997048 | KSM-IW20-WCT10M1M32 | Jeanelyn | ASIAN HOMES | INST | DC | C | For Installation | BRO Refrigeration and Air-conditioning Services | DC c/o Bro ASC,Install SAC | 1 | 07/27/2025 | 07/27/2025 10:00 am | 07/27/2025 01:00 pm | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00009947 | 07/28/2025 | 01:55 pm - 01:56 pm | BACULIO | Labianga, Zeah Mae | , Patpat, , Salimbalan, BAUNGON, Bukidnon | 0917-5053132 | KSM-IW25-WCT10M1M32 | Jeanelyn | ALL HOME | INST | DC | C | For Installation | BRO Refrigeration and Air-conditioning Services | DC c/o Bro ASC,Install SAC | 1 | 07/28/2025 | 07/28/2025 10:30 am | 07/28/2025 01:00 pm | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00009948 | 07/28/2025 | 01:58 pm - 01:59 pm | BACULIO | Vi?a, Elmer | , Vega St., , Consolacion, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0977-8178622 | KSM-IW10-WCT10M1M32 | Roselle | VIC IMPERIAL APP | INST | DC | C | For Installation | Gab Appliance Service Center - CDO | DC c/o GAB ASC,Install SAC | 1 | 07/28/2025 | 07/28/2025 09:00 am | 07/28/2025 01:00 pm | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00009949 | 07/28/2025 | 04:45 pm - 04:47 pm | BACULIO | Abenson Group of Companies | Philam Life Bldg., FS Pajares Ave. Cor Cabrera St., , , PAGADIAN CITY (Capital), Zamboanga del Sur | 0995-6719225 | n/a |  |  | DEL | FD | N/A | Others |  | Delivery of Display Rack & Mock up unit | 1 | 07/29/2025 | 07/29/2025 08:00 am | 07/29/2025 12:00 pm | Findings - Set up Island module rack, dummy & mock up units, , , Recommendation - Set up Island module rack, dummy & mock up units, , , Repair Done - Ingress, Set up Island module rack, dummy & mock up units | Com1 | Inter-office
CDO-00009950 | 07/28/2025 | 04:58 pm - 04:59 pm | BACULIO | Arnold Lagumbay | , San Jose Road, , , PAGADIAN CITY (Capital), Zamboanga del Sur | 0905-7080488 | KSM-IW20-WCT10M1M32 | Bens | ABENSON INC. | INST | DC | C | For Installation | Ree Cooling Services | DC c/o Reecooling ASC,Install SAC | 1 | 07/28/2025 | 07/28/2025 03:00 pm | 07/28/2025 05:36 pm | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00009951 | 07/29/2025 | 10:38 am - 10:40 am | BACULIO | Tano, Rodolfo | , , , Cabatangan, ZAMBOANGA CITY, Zamboanga del Sur | 0916-2311836 | KSM-IW20-WCT10M1M32 | Jane | PRICEWISE MARKETING CORP | TS | FD | W | Malfunctioning | Marjon Cool Ref. & Aircon Service Center Co. | Relayed to Marjon ASC,for check up | 1 | 07/30/2025 | 07/30/2025 03:00 pm | 07/30/2025 03:30 pm | Findings - RAT BITE AIR SWING WIRE, Recommendation - AIR SWING MOTOR, Repair Done - CHECKED UP |  | Social Media
CDO-00009952 | 07/29/2025 | 01:31 pm - 01:31 pm | BACULIO | Datar, Vincent | , Block 5 Lot 12 Portico 2, Gran Europa, Lumbia, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0917-8633964 | KSM-IW10-WCT10M1M32 | Jeanelyn | ASIAN HOMES | INST | DC | C | For Installation | BRO Refrigeration and Air-conditioning Services | DC c/o Bro ASC,Install SAC | 1 | 07/28/2025 | 07/28/2025 03:30 pm | 07/28/2025 05:30 pm | Findings - Unit for install, , , Recommendation - Installation, , , Repair Done - Installed SAC/started up | Com1 | E-mail
CDO-00009953 | 07/30/2025 | 08:54 am - 08:55 am | BACULIO | CKF Ref & Airconditioning Services | , B6 L24 Ph3, Villa Trinitas, Bugo, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0965-23160108 | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of parts |  | 07/30/2025 | 07/30/2025 08:57 am | 07/30/2025 09:00 am | Findings - sale of parts, , , Recommendation - , , , Repair Done - Sale of parts Fan motor Indoor | Com1 | Customer Lounge
CDO-00009954 | 07/30/2025 | 09:03 am - 09:04 am | BACULIO | Mc Dod's Ref Aircon Spareparts & Services | , P7 Boras, , Brgy Sabang, SURIGAO CITY (Capital), Surigao del Norte | 0906-3587030 | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of parts |  | 07/30/2025 | 07/30/2025 09:08 am | 07/30/2025 09:10 am | Findings - Sale of parts, , , Recommendation - , , , Repair Done - Sale of parts PCB Assembly Outdoor | Com1 | Customer Lounge
CDO-00009955 | 07/30/2025 | 09:12 am - 09:13 am | BACULIO | Silverose Refrigeration & Airconditioning Service Center | , , Upper Zone 3, Agusan, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0916-6468391 | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of parts |  | 07/30/2025 | 07/30/2025 09:15 am | 07/30/2025 09:17 am | Findings - Sale of parts, , , Recommendation - , , , Repair Done - Sale of parts Fan motor | Com1 | Customer Lounge
CDO-00009956 | 07/30/2025 | 09:22 am - 09:23 am | BACULIO | BRO Refrigeration & Airconditioning Services | , Zone 2 A , Sto. Ni?o Vill., Baluarte, TAGOLOAN, Misamis Oriental | 0935-4044108 | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of parts |  | 07/30/2025 | 07/30/2025 09:25 am | 07/30/2025 09:27 am | Findings - Sale of parts, , , Recommendation - , , , Repair Done - Sale of parts Fan motor | Com1 | Customer Lounge
CDO-00009957 | 07/30/2025 | 09:33 am - 09:34 am | BACULIO | Marjon Cool Service Center | , , , Baliwasan Moret, ZAMBOANGA CITY, Zambonga del Norte | 0926-8178786 | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of parts |  | 07/30/2025 | 07/30/2025 09:37 am | 07/30/2025 09:39 am | Findings - sale of parts , , , Recommendation - , , , Repair Done - Sale of parts PCB Assembly Indoor | Com1 | Customer Lounge
CDO-00009958 | 07/30/2025 | 01:25 pm - 01:25 pm | BACULIO | Musa, Famailyn | , , , Divisoria, ZAMBOANGA CITY, Zamboanga del Sur | 0917-8953160 | SAC-INV | Desiree | PRICEWISE MARKETING CORP | INST | DC | C | For Installation | Marjon Cool Ref. & Aircon Service Center Co. | DC c/o Marjon ASC,Install SAC | 1 | 07/30/2025 | 07/30/2025 10:00 am | 07/30/2025 02:00 pm | Findings - NOT COOLING, Recommendation - for installation, Repair Done - installed both indoor and outdoor unit |  | E-mail
CDO-00009959 | 07/30/2025 | 01:51 pm - 01:52 pm | BACULIO | Bangcong, Donald | , P6, , Kibatang , DON CARLOS, Bukidnon | 0915-4276784 | SAC-INV | Roselle | ROBINSONS | INST | DC | C | For Installation | GAB Appliance Service Center - Cebu | DC c/o GAB ASC,Install SAC | 1 | 07/30/2025 |  |  |  |  | E-mail
CDO-00009960 | 07/30/2025 | 03:24 pm - 03:25 pm | BACULIO | Paca, Rasid | , , , Bgry. Del Carmen , ILIGAN CITY, Lanao del Norte | 0909-5767762 | SAC-INV | Sol | MINDANAO SOLIDMARK | INST | DC | C | For Installation | CKF Ref & Airconditioning Services | DC c/o CKF ASC,Install SAC | 1 | 07/30/2025 |  |  |  |  | E-mail
CDO-00009961 | 07/30/2025 | 03:28 pm - 03:29 pm | BACULIO | Perez, Rachelle | , Block 4 Lot 17 , Velmiro Uptown, Canitoan, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0917-7777031 | SAC-INV | Jeanelyn | ASIAN HOMES | INST | DC | C | For Installation | BRO Refrigeration and Air-conditioning Services | DC c/o Bro ASC,Install SAC | 1 | 07/30/2025 |  |  |  |  | E-mail
CDO-00009962 | 07/30/2025 | 04:20 pm - 04:21 pm | BACULIO | Albermar Traders | , , , Lingion, MANOLO FORTICH, Bukidnon | 0917-5311754 | KSM-IW25-WCT10M1M32 | Jeanelyn | MINDANAO SOLIDMARK | INST | DC | C | For Installation | BRO Refrigeration and Air-conditioning Services | DC c/o Bro ASC,Install SAC | 1 | 07/30/2025 |  |  |  |  | E-mail
CDO-00009963 | 07/31/2025 | 01:54 pm - 02:02 pm | BACULIO | Moldez, Hannah | , Blk 16 Lt 6 Qatar St., BCC Homes Subd., Brgy. Damilag, MANOLO FORTICH, Bukidnon | 0991-9214717 | KSM-IW20-WCT10M1M32 | Jane | MINDANAO SOLIDMARK | TS | FD | C | Malfunctioning | CKF Ref & Airconditioning Services | Relay to CKF ASC,for check up & repair | 1 | 2025-02-08 |  |  |  |  | Social Media
CDO-00009964 | 07/31/2025 | 02:23 pm - 02:24 pm | BACULIO | Tan, Elmer | , Lumiyap, , Divisoria, ZAMBOANGA CITY, Zamboanga del Sur | 0975-5924089 | SAC-INV | Desiree | PRICEWISE MARKETING CORP | INST | DC | C | For Installation | Marjon Cool Ref. & Aircon Service Center Co. | DC c/o Marjon ASC,Install SAC | 1 | 07/31/2025 |  |  |  |  | E-mail
CDO-00009965 | 07/31/2025 | 02:27 pm - 02:27 pm | BACULIO | Nagandang Jr., Noel | , 12 St., , Nazareth, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0935-2436687 | SAC-INV | Roselle | ABENSON INC. | INST | DC | C | For Installation | GAB Appliance Service Center - Cebu | DC c/o GAB ASC,Install SAC | 1 | 07/31/2025 |  |  |  |  | E-mail
CDO-00009966 | 07/31/2025 | 02:31 pm - 02:31 pm | BACULIO | Zayas, Jazer | , , , Kauswagan, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0917-7799014 | SAC-INV | Jeanelyn |  | INST | DC | C | For Installation | BRO Refrigeration and Air-conditioning Services | DC c/o Bro ASC,Install SAC | 1 | 07/31/2025 |  |  |  |  | E-mail
CDO-00009967 | 07/31/2025 | 02:32 pm - 02:32 pm | BACULIO | Zayas, Jazer | , , , Kauswagan, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0917-7799014 | SAC-INV | Jeanelyn | ASIAN HOMES | INST | DC | C | For Installation | BRO Refrigeration and Air-conditioning Services | DC c/o Bro ASC,Install SAC | 1 | 07/31/2025 |  |  |  |  | E-mail
CDO-00009968 | 07/31/2025 | 03:59 pm - 04:00 pm | BACULIO | Dimaano, Melissa | , , Summer Hill SUbd., Pasonanca, ZAMBOANGA CITY, Zamboanga del Sur | 0917-5767769 | KSM-IW15-WCT10M1M32 | Sheira Mae | ABENSON INC. | INST | DC | C | For Installation | Ree Cooling Services | DC c/o Reecooling ASC,Install SAC | 1 | 07/31/2025 |  |  |  |  | E-mail
CDO-00009969 | 07/31/2025 | 04:00 pm - 04:01 pm | BACULIO | Dimaano, Melissa | , , Summer Hill SUbd., Pasonanca, ZAMBOANGA CITY, Zamboanga del Sur | 0917-5767769 | KSM-IW20-WCT10M1M32 | Sheira Mae | ABENSON INC. | INST | DC | C | For Installation | Ree Cooling Services | DC c/o Reecooling ASC,Install SAC | 1 | 07/31/2025 |  |  |  |  | E-mail
Legend:
PAO - Pick-up Admin Orders
DPO - Deliver of Dealer P.O.
DEF - Change Item
FAB - Fabrication of Bracket
CL - Copper Tube Claims
DEL - Delivery of Unit / Accessories
DSM - Dismantling
FPO - Unit for Pull-out
GC - General Cleaning
INST - Installation
MRK - Markings
PV - Project Visit
REP - Replacement as per dealer request
REPL - Replacement of Unit
SCF - Deliver / Pull-out of Scaffolding
SP - Sale of Parts
STU - Start-up
SVEY - Survey
TS - Troubleshooting
DIS - Dispose Parts
PGC - Pumpdown General Cleaning
Summary Per Job Type
JOB CLASS | CC | WI | BI | PO | FD | DC | RD | RM | TP | TOTAL
PAO | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DPO | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DEF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FAB | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CL | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DEL | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1
DSM | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FPO | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
GC | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1
INST | 0 | 0 | 0 | 0 | 0 | 106 | 0 | 0 | 0 | 106
MRK | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PV | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REP | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1
REPL | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SCF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SP | 0 | 31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31
STU | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SVEY | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TS | 0 | 0 | 0 | 0 | 13 | 8 | 0 | 0 | 0 | 21
DIS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PGC | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL | 0 | 31 | 0 | 0 | 15 | 115 | 0 | 0 | 0 | 161