## sjr_masterlist (1)
FROM : | 2025-01-11 | TO : | 11-30-2025
Location Warehouse : | BACOLOD BRANCH
User : | All User
SJR No. | SJR Date | SJR Start/End Time | CSR Code | Customer Name | Address | Contact No. | Model | Relayed By | Dealer | Job Class | Job Type | Wty Type | Complaint | Tech Name | SJR Notes | No. of Visit | Promised Date | Date Attended | Date Finished | Repair Done | Job Status | Call Origin
BAC-00009703 | 2025-03-11 | 11:18 am - 11:20 am | LOTERIO | LJN Airconditioning Service | , 4TH Road Aluna Yulo ext., , Brgy. 35, BACOLOD CITY (Capital), Neg . Occ. | 0999-1584956 | n/a |  |  | SP | WI | COS | Sales of Parts |  | SOP ref.. no. sjr BAC-9681 | 1 | 2025-03-11 | 2025-03-11 23:20 | 2025-03-11 11:25 | Findings - N/A, Recommendation - N/A, Repair Done - SOP ref. no. SJR BAC-9681 | Com1 | Customer Lounge
BAC-00009704 | 2025-03-11 | 01:20 pm - 01:21 pm | LOTERIO | Kilayko, Ramon | N/A, #2 Moran St, Lizare, 40, BACOLOD CITY (Capital), Negros Occidental | 0917-3001804 | KSM-IW20-WCT10M1M32 | Dolly | ASIAN HOMES | INST | DC | C | For Installation | DJB Aircon And Refrigeration Repair Shop |  | 1 | 10/30/2025 | 10/30/2025 12:00 am | 10/30/2025 12:00 am | Findings - N/A, Recommendation - N/A, Repair Done - Installed | Com1 | E-mail
BAC-00009705 | 2025-03-11 | 01:26 pm - 01:27 pm | LOTERIO | Municipality of Ilog | , , , , ILOG, Neg. occ. | 0967-0511463 | KSM-IW20-WCT10M1M32 | Faith | NIG MARKETING | INST | DC | C | For Installation | NIG Marketing Corporation |  | 1 | 2025-03-11 | 2025-03-11 09:00 | 2025-07-11 12:00 | Findings - N/A, Recommendation - N/A, Repair Done - Installed | Com1 | E-mail
BAC-00009706 | 2025-03-11 | 01:33 pm - 01:34 pm | LOTERIO | Municipality of Ilog | , , , , ILOG, Neg. occ. | 0967-0511463 | KSM-IW20-WCT10M1M32 | Faith | NIG MARKETING | INST | DC | C | For Installation | NIG Marketing Corporation |  | 1 | 2025-03-11 | 2025-03-11 09:00 | 2025-07-11 12:00 | Findings - N/A, Recommendation - N/A, Repair Done - Installed | Com1 | E-mail
BAC-00009707 | 2025-03-11 | 01:38 pm - 01:39 pm | LOTERIO | Quinos Cafe x Kitchen | , Lacson St., , , BACOLOD CITY (Capital), Neg. occ. | 0977-7116576 | KLG-SF40-WBR6H1M32-I | Faith | NIG MARKETING | INST | DC | C | For Installation | NIG Marketing Corporation |  | 1 | 2025-03-11 | 2025-03-11 10:00 | 2025-07-11 12:00 | Findings - N/A, Recommendation - N/A, Repair Done - Installed | Com1 | E-mail
BAC-00009708 | 2025-03-11 | 01:46 pm - 01:50 pm | LOTERIO | Quinos Cafe x Kitchen | , Lacson St., , , BACOLOD CITY (Capital), Neg. occ. | 0977-7116576 | KLG-SF40-WBR6H1M32-I | Faith | NIG MARKETING | INST | DC | C | For Installation | NIG Marketing Corporation |  | 1 | 2025-03-11 | 2025-03-11 10:00 | 2025-07-11 12:00 | Findings - N/A, Recommendation - N/A, Repair Done - Installed | Com1 | E-mail
BAC-00009709 | 2025-03-11 | 01:55 pm - 01:57 pm | LOTERIO | Mac Jils Refrigeration and Aircon Repair Shop | , Lacson st, , Brgy. Mandalagan, BACOLOD CITY (Capital), Neg . Occ. | 7070639 | n/a |  |  | SP | WI | COS | Sales of Parts |  | SOP ref. no. sjr BAC-9650,9658 | 1 | 2025-03-11 | 2025-03-11 02:00 | 2025-03-11 14:05 | Findings - N/A, Recommendation - N/A, Repair Done - SOP ref. no SJR 9650,9658 | Com1 | Customer Lounge
BAC-00009710 | 2025-03-11 | 04:41 pm - 04:43 pm | LOTERIO | BOMBIO, ANALY | #15, BLOCK 14 GONZAGA EXT., DONA JULIANA SUBD., BRGY. TACULING, BACOLOD CITY (Capital), NEGROS OCCIDENTAL | 0939-5470992 | KSM-IW15-WCT10M1M32 | Kimberlyn | ABENSON VENTURES | INST | DC | C | For Installation | GAB Appliance Service Center - Bacolod |  | 1 | 2025-03-11 | 2025-03-11 | 2025-03-11 | Findings - N/A, Recommendation - N/A, Repair Done - INSTALLED | Com1 | E-mail
BAC-00009711 | 2025-03-11 | 04:45 pm - 04:46 pm | LOTERIO | Ang, Raytchelle | N/A, B31 L2, La Herencia Subd., Brgy. Mandalagan, BACOLOD CITY (Capital), VI: Western Visayas | 0917-5766503 | KAG-150RSINV | Edsiel Rose | APPLIANCE CENTRUM | TS | DC | C | Not Cooling | AMPS Refrigeration & Air-conditioning Services | For Order: *4uf Capacitor *Fan Motor | 1 | 2025-03-11 | 2025-07-11 08:30 | 2025-07-11 10:00 | Findings - Weak Capacitor and Noisy Fan Motor (bearing), Recommendation - 4uf Capacitor and Fan Motor Replacement, Repair Done - Replaced 4uf Capacitor and Fan Motor. Unit operating normally | Com1 | E-mail
BAC-00009712 | 2025-07-11 | 08:24 am - 08:26 am | LOTERIO | Gomez, Gil | , Blk 28 Lot 132, Pahanocoy Village, Brgy. Pahanocoy, BACOLOD CITY (Capital), Neg. occ. | 0945-8039579 | KAG-145WCINV | Mrs. Gomez | ROBINSONS | TS | FD | W | FO Error Code | RDE Appliance Service Center | For check up | 1 | 2025-07-11 | 2025-07-11 | 2025-07-11 18:45 | Findings - Accidentally damage , Recommendation - Fixed the leakage tube , Repair Done - System reprocess | Com1 | Vanity Hotline
BAC-00009713 | 2025-07-11 | 09:35 am - 09:43 am | LOTERIO | Amp's Refrigeration & Airconditioning Service Center | Door 1 JR Building, Rizal st., , , BACOLOD CITY (Capital), Neg . Occ. |  | n/a |  |  | SP | WI | COS | Sales of Parts |  | SOP ref.no sjr BAC-9711 | 1 | 2025-07-11 | 2025-07-11 09:45 | 2025-07-11 09:50 | Findings - N/A, Recommendation - N/A, Repair Done - SOP ref. no. SJR BAC-9711 | Com1 | Customer Lounge
BAC-00009714 | 2025-07-11 | 11:10 am - 11:11 am | LOTERIO | Iconic Dealership, Inc. | , Corner HDA. Jose Maria, , Zone 15, CITY OF TALISAY, Neg. occ. | 0917-3042148 | KLM-IF70-4F3M410-I | Dolly | ASIAN HOMES | TS | DC | C | Fan Not Functioning | DJB Aircon And Refrigeration Repair Shop |  | 1 | 2025-07-11 | 2025-07-11 23:00 | 2025-07-11 13:00 | Findings - burned fan motor and indoor board, Recommendation - For replace indoor fan motor and indoor board, Repair Done - Done replace indoor fan motor unit ok | Com1 | E-mail
BAC-00009715 | 2025-07-11 | 11:48 am - 11:49 am | LOTERIO | DJB Aircon & Refrigeration Repair Shop | , Zone 2, Prk. Sto. Rosario, Brgy. bata, BACOLOD CITY (Capital), Neg . Occ. | 7085814 | n/a |  |  | SP | WI | COS | Sales of Parts |  | SOP ref. no. sjr BAC-9699 | 1 | 2025-07-11 | 2025-07-11 11:45 | 2025-07-11 11:50 | Findings - N/A, Recommendation - N/A, Repair Done - SOP ref. no. SJR BAC-9699 | Com1 | Customer Lounge
BAC-00009716 | 2025-07-11 | 04:25 pm - 04:25 pm | LOTERIO | Rojo, Edelito | , Lot 29 Lot 4, San Lorenzo Phase 1, , CITY OF TALISAY, Neg. occ. | 0946-0353259 | KSM-IW15-WCT10M1M32 | Kimberlyn | ASIAN HOMES | TS | DC | W | Not Cooling | GAB Appliance Service Center - Bacolod | NOT COOLING/OUTDOOR NOT FUNCTIONING | 1 | 2025-07-11 | 2025-07-11 | 2025-07-11 | Findings - NORMAL OPERATION, Recommendation - CHECK PARAMETERS, Repair Done - CHECK UP. UNIT OK. | Com1 | E-mail
BAC-00009717 | 2025-08-11 | 09:57 am - 10:01 am | LOTERIO | Aral, Bonifascio | N/A, 4th Road Alunan Yulo Ext. Bacolod City, N/A, Brgy, 35, BACOLOD CITY (Capital), Negros Occ. | 0939-9042864 | KSM-10MB1INV | Joseth | n/a | TS | DC | C | P0 Error Code | LJN Airconditioning Services |  | 1 | 2025-08-11 | 2025-08-11 11:00 | 2025-08-11 12:00 | Findings - P.O, Recommendation - Replace Parts, Repair Done - Done replace outdoor board unit ok | Com1 | E-mail
BAC-00009718 | 2025-08-11 | 10:19 am - 10:21 am | LOTERIO | LJN Airconditioning Service | , 4TH Road Aluna Yulo ext., , Brgy. 35, BACOLOD CITY (Capital), Neg . Occ. | 0999-1584956 | n/a |  |  | SP | WI | COS | Sales of Parts |  | SOP ref. no. sjr BAC-9717 | 1 | 2025-08-11 | 2025-08-11 10:20 | 2025-08-11 10:25 | Findings - N/A, Recommendation - N/A, Repair Done - SOP ref. no. SJR BAC-9717 | Com1 | Customer Lounge
BAC-00009719 | 2025-08-11 | 10:50 am - 10:53 am | LOTERIO | Go, Philip | , 6th narra, , Brgy. Villamonte, BACOLOD CITY (Capital), Neg. occ. | 0906-2500777 | KSM-IW25-WCT10M1M32 | Joseth | CITI APPLIANCE | TS | DC | C | No Swing Function | LJN Airconditioning Services |  | 1 | 2025-08-11 | 2025-08-11 | 2025-08-11 | Findings - Difective Swing Motor eaten by rat, Recommendation - Replace Parts, Repair Done - Replace Swing Motors | Com1 | E-mail
BAC-00009720 | 2025-08-11 | 11:09 am - 11:11 am | LOTERIO | JI TELECOM | , ARANETA ST, , , BACOLOD CITY (Capital), Neg. occ. | 0962-9676721 | KSM-SW25-5G1M | Cherry | CITI APPLIANCE | TS | DC | C | Broken Parts | Mac Jils Air-conditioning and Ref Corporation |  | 2 | 2025-10-11 | 2025-10-11 08:00 | 2025-10-11 12:00 | Findings - Defective Blower Wheel, Recommendation - Need to replace Blower Wheel, Repair Done - Done replaced blower wheel / unit in good condition | Com1 | E-mail
BAC-00009721 | 2025-08-11 | 11:55 am - 11:56 am | LOTERIO | Lobaton, Sahlee Gail | , , Buena Park , Brgy. Villamonte, BACOLOD CITY (Capital), Neg . Occ. | 0949-8867515 | KSM-IW10-6H1M | Dolly | STAR APPLIANCE | TS | DC | C | EC Error Code | DJB Aircon And Refrigeration Repair Shop |  | 1 | 2025-08-11 | 2025-08-11 10:30 | 2025-08-11 14:00 | Findings - Defective compressor, Recommendation - For Replace Compressor, Repair Done - Done Replace Compressor | Com1 | E-mail
BAC-00009722 | 2025-08-11 | 02:11 pm - 02:11 pm | LOTERIO | TAMZ Office Solutions | , Burgos street, , Brgy. 29, BACOLOD CITY (Capital), Neg . Occ. | 0925-8218882 | KSM-IW25-9L1M-I | Dolly | APPLIANCE CENTRUM | TS | DC | C | EH0b Error Code | DJB Aircon And Refrigeration Repair Shop |  | 1 | 2025-10-11 | 2025-10-11 11:00 | 2025-10-11 15:00 | Findings - Defective Indoor board and Display board, Recommendation - Fro replacement of board and display, Repair Done - Replace indoor board & display | Com1 | E-mail
BAC-00009723 | 2025-08-11 | 02:36 pm - 02:38 pm | LOTERIO | La Arte Halo-Halo cafe and Daebak Restuarant | , Lacson Street, , , BACOLOD CITY (Capital), Neg. occ. | 0949-5810118 | KA-200MCARINV32 | Jason | ROBINSONS | TS | FD | W | Noisy | DJB Aircon And Refrigeration Repair Shop |  | 1 | 2025-11-11 | 2025-11-11 14:30 | 2025-11-11 02:40 | Findings - Broken Blade, Recommendation - For pull-out unit for shop repair, Repair Done - check up | Inc-05 | Vanity Hotline
BAC-00009724 | 2025-08-11 | 03:05 pm - 03:07 pm | LOTERIO | Tomaro , Roselle N/A | 223, 223 aranita st., N/A, Brgy. Sum-ag, BACOLOD, Negros Occidental | 0949-1143252 | KSM-IW15-WCT10M1M32 | Delia | ROBINSONS | INST | DC | C | For Installation | RDE Appliance Service Center |  | 1 | 2025-08-11 | 2025-08-11 | 2025-08-11 | Findings - N/A, Recommendation - N/A, Repair Done - Installed | Com1 | E-mail
BAC-00009725 | 2025-08-11 | 04:45 pm - 04:46 pm | LOTERIO | The Doctor's Hospital | , BS Aquino Drive, , Brgy 7, BACOLOD CITY (Capital), Neg . Occ. | 0917-6374643 | KLG-IF70-5G1M32-I | Dolly | VIC IMPERIAL APP | INST | DC | C | For Installation | DJB Aircon And Refrigeration Repair Shop |  | 1 | 2025-08-11 | 2025-08-11 | 2025-08-11 | Findings - N/A, Recommendation - N/A, Repair Done - Installed | Com1 | E-mail
BAC-00009726 | 2025-10-11 | 08:51 am - 08:52 am | LOTERIO | LJN Airconditioning Service | , 4TH Road Aluna Yulo ext., , Brgy. 35, BACOLOD CITY (Capital), Neg . Occ. | 0999-1584956 | n/a |  |  | SP | WI | COS | Sales of Parts |  | SOP ref. no. sjr BAC-9719 | 1 | 2025-10-11 | 2025-10-11 08:55 | 2025-10-11 09:00 | Findings - N/A, Recommendation - N/A, Repair Done - SOP ref. no. SJR BAC-9719 | Com1 | Customer Lounge
BAC-00009727 | 2025-10-11 | 12:00 pm - 12:03 pm | LOTERIO | CYCLOPAEDIA | JL Malata Bldg. , 28 Rodriguez Ave. , , Brgy. 16, BACOLOD CITY (Capital), Neg . Occ. | 0912-9148900 | KSM-IW15-6H1M | chuck | APPLIANCE CENTRUM | TS | FD | C | P0 Error Code | LJN Airconditioning Services | For check up | 1 | 2025-11-11 | 2025-11-11 10:00 | 2025-11-11 12:00 | Findings - Error P.O, Recommendation - Replace parts, Repair Done - Replace Outdoor Board | Com1 | Customer Lounge
BAC-00009728 | 2025-10-11 | 12:09 pm - 12:09 pm | LOTERIO | ESPINO, CARLOS | N/A, B2 L1, TALISAY TOWN HEIGHTS, BRGY. MATAB-ANG, CITY OF TALISAY, NEGROS OCCIDENTAL | 0963-0606258 | KSM-IW10-WCT10M1M32 | Kimberlyn | ROBINSONS | INST | DC | C | For Installation | GAB Appliance Service Center - Bacolod |  | 1 | 2025-10-11 | 2025-10-11 | 2025-10-11 | Findings - N/A, Recommendation - N/A, Repair Done - INSTALLED | Com1 | Dealer Service Request - Mobile
BAC-00009729 | 2025-10-11 | 12:46 pm - 12:47 pm | LOTERIO | Arana, Alberto | N/A, Zone 2 Pepsi, Bata, Bata, BACOLOD CITY (Capital), Negros Occidental | 0939-1905572 | KWD-BLC-2088B | Dolly | VIC IMPERIAL APP | TS | DC | W | Water Pump Malfunctioning | DJB Aircon And Refrigeration Repair Shop |  | 1 | 2025-10-11 | 2025-10-11 17:00 | 2025-10-11 17:40 | Findings - defective board and pump motor, Recommendation - For board and pump motor, Repair Done - Done replace of board and pump motor | Com1 | E-mail
BAC-00009730 | 2025-10-11 | 01:17 pm - 01:23 pm | LOTERIO | Imperial Appliance | TTK Arcade, Araneta st., , , BACOLOD CITY (Capital), Neg . Occ. |  | KAG-75WCINV |  | VIC IMPERIAL APP | DEL | WI | W | Broken Parts |  | Replace def. face cover (crack) with approved DCF ILO-0257 dated 8/4/25 | 1 | 2025-10-11 | 2025-10-11 13:25 | 2025-10-11 13:30 | Findings - N/A, Recommendation - N/A, Repair Done - Replacement of def. face cover w DCF no. ILO-0257 | Com1 | Customer Lounge
BAC-00009731 | 2025-10-11 | 04:17 pm - 04:18 pm | LOTERIO | Parreno, Charito | N/A, #5 Raquel St, Airport, Singcang, BACOLOD CITY (Capital), Negros Occidental | 0917-7223343 | KSM-IW15-WCT10M1M32 | Dolly | ASIAN HOMES | INST | DC | C | For Installation | DJB Aircon And Refrigeration Repair Shop |  | 1 | 2025-09-11 | 2025-09-11 | 2025-10-11 | Findings - N/A, Recommendation - N/A, Repair Done - Installed | Com1 | E-mail
BAC-00009732 | 2025-10-11 | 04:41 pm - 04:42 pm | LOTERIO | Maay indoor outdoor | N/A, Lopez Jaena st.shooping, N/A, Brgy. Villamonte , BACOLOD, Negros Occidental | 0930-2079406 | KSM-IW15-WCT10M1M32 | Delia | CITI APPLIANCE | INST | DC | C | For Installation | RDE Appliance Service Center |  | 1 | 2025-10-11 | 2025-10-11 | 2025-10-11 | Findings - N/A, Recommendation - N/A, Repair Done - Installed | Com1 | E-mail
BAC-00009733 | 2025-11-11 | 09:35 am - 09:36 am | LOTERIO | Darth Coil Cafe | N/A, Lacson St, Mandalagan, Mandalagan, BACOLOD CITY (Capital), Negros Occidental | 0977-6573367 | KSM-IW25-WCT10M1M32 | Dolly | VIC IMPERIAL APP | INST | DC | C | For Installation | DJB Aircon And Refrigeration Repair Shop | late generated | 1 | 2025-10-11 | 2025-10-11 | 2025-10-11 | Findings - N/A, Recommendation - N/A, Repair Done - Installed | Com1 | E-mail
BAC-00009734 | 2025-11-11 | 10:49 am - 10:50 am | LOTERIO | Milas | N/A, Hinigaran Negros Occ., N/A, Brgy.4, HINIGARAN, Negros Occ. | 0999-7643210 | KLG-SF40-3D1M | Joseth | n/a | TS | DC | C | E1 Error Code | LJN Airconditioning Services |  | 1 | 2025-11-11 | 2025-11-11 09:00 | 2025-11-11 09:00 | Findings - N/A, Recommendation - N/A, Repair Done - Cancel By Customer upon dispatch unit ok | NSC09 | E-mail
BAC-00009735 | 2025-11-11 | 11:08 am - 11:09 am | LOTERIO | Jayag, Angelie | N/A, N/A, Capitolville Subdivision, Brgy. Villamonte, BACOLOD CITY (Capital), VI: Western Visayas | 0910-2394671 | KSM-300B1H | Edsiel Rose | APPLIANCE CENTRUM | TS | DC | C | E3 Error Code | AMPS Refrigeration & Air-conditioning Services | Parts: Indoor Fan Motor | 1 | 2025-11-11 | 2025-11-11 15:45 | 2025-11-11 16:15 | Findings - Defective Indoor Fan Motor, Recommendation - Indoor Fan Motor Replacement, Repair Done - Replaced Fan Motor | Com1 | E-mail
BAC-00009736 | 2025-11-11 | 11:38 am - 11:38 am | LOTERIO | Patos, Mark Anthony | N/A, B3 L5, Prk. Luhod Luhod, Brgy. Mandalagan, BACOLOD CITY (Capital), VI: Western Visayas | 0927-9842852 | KSG-100B1G | Edsiel Rose | APPLIANCE CENTRUM | TS | DC | C | No Power Supply | AMPS Refrigeration & Air-conditioning Services | Parts Request: Indoor Board | 2 | 2025-11-11 | 2025-11-11 16:00 | 2025-11-11 16:45 | Findings - Open Replay, Recommendation - Indoor Board Replacement, Repair Done - Replaced Indoor Board | Com1 | E-mail
BAC-00009737 | 2025-11-11 | 01:57 pm - 01:58 pm | LOTERIO | DONASCO, LOVELY | N/A, B2 L5, MENLO HEIGHTS PHASE 3, BRGY. 12, CITY OF TALISAY, NEGROS OCCIDENTAL | 0912-1077508 | KLG-SF40-WBR6H1M32-I | Kimberlyn | ASIAN HOMES | INST | DC | C | For Installation | GAB Appliance Service Center - Bacolod |  | 1 | 2025-11-11 | 2025-11-11 | 2025-11-11 | Findings - N/A, Recommendation - N/A, Repair Done - INSTALLED | Com1 | E-mail
BAC-00009738 | 2025-11-11 | 02:04 pm - 02:04 pm | LOTERIO | DONASCO, LOVELY | N/A, B2 L5, MENLO HEIGHTS PHASE 3, BRGY. 12, CITY OF TALISAY, NEGROS OCCIDENTAL | 0912-1077508 | KLG-SF40-WBR6H1M32-I | Kimberlyn | ASIAN HOMES | INST | DC | C | For Installation | GAB Appliance Service Center - Bacolod |  | 1 | 2025-11-11 | 2025-11-11 | 2025-11-11 | Findings - N/A, Recommendation - N/A, Repair Done - INSTALLED | Com1 | E-mail
BAC-00009739 | 2025-11-11 | 03:08 pm - 03:10 pm | LOTERIO | Amp's Refrigeration & Airconditioning Service Center | Door 1 JR Building, Rizal st., , , BACOLOD CITY (Capital), Neg . Occ. |  | n/a |  |  | SP | WI | COS | Sales of Parts |  | SOP ref. no. SJR BAC-9735,9736 | 1 | 2025-11-11 | 2025-11-11 15:15 | 2025-11-11 15:20 | Findings - N/A, Recommendation - N/A, Repair Done - SOP ref. no. SJR BAC-9735,9736 | Com1 | Customer Lounge
BAC-00009740 | 2025-11-11 | 03:38 pm - 03:42 pm | LOTERIO | DONASCO, LOVELY | N/A, B2 L5, MENLO HEIGHTS PHASE 3, BRGY. 12, CITY OF TALISAY, NEGROS OCCIDENTAL | 0912-1077508 | KLG-SF40-WBR6H1M32-I |  | ASIAN HOMES | TS | FD | W | Noisy | GAB Appliance Service Center - Bacolod | Noisy upon start up brocken fan motor nut holder Note: for parts request PTR BAC-636 | 2 | 11/20/2025 | 11/20/2025 09:30 am | 11/20/2025 10:30 pm | Findings - Noisy upon start up broken fan motor nut holder, Recommendation - Replaced Parts, Repair Done - Replaced fan motor. Unit ok. | Com1 | Second Action
BAC-00009741 | 2025-12-11 | 08:35 am - 08:37 am | LOTERIO | Solinap, Neil | , #30 JR Torres Aries st., , Brgy.Singcang, BACOLOD CITY (Capital), Neg. occ. | 0925-7608975 | KSD-200MG1 |  | ASIAN HOMES | TS | FD | W | Others | DJB Aircon And Refrigeration Repair Shop | For trouble error E1 | 2 | 2025-12-11 | 2025-12-11 14:35 | 2025-12-11 14:30 | Findings - tigth wiring connection @ display board every time the open the door, Recommendation - loosen the wiring, Repair Done - Loosen the wiring and installed properly | Com1 | Second Action
BAC-00009742 | 2025-12-11 | 09:03 am - 09:05 am | LOTERIO | LJN Airconditioning Service | , 4TH Road Aluna Yulo ext., , Brgy. 35, BACOLOD CITY (Capital), Neg . Occ. | 0999-1584956 | n/a |  |  | SP | WI | COS | Sales of Parts |  | SOP ref. no. SJR BAC-9727 | 1 | 2025-12-11 | 2025-12-11 09:05 | 2025-12-11 09:10 | Findings - N/A, Recommendation - N/A, Repair Done - SOP ref. no. SJR BAC-9727 | Com1 | Customer Lounge
BAC-00009743 | 2025-12-11 | 11:30 am - 11:31 am | LOTERIO | MK Phoenix Movers Inc. | N/A, Lacson San Sebastian St., N/A, Brgy,32, BACOLOD CITY (Capital), Negros Occ. | 0927-7710625 | KSM-IW25-WCT10M1M32 | Joseth | CITI APPLIANCE | INST | DC | C | For Installation | LJN Airconditioning Services | late generated | 1 | 2025-11-11 | 2025-11-11 | 2025-11-11 | Findings - N/A, Recommendation - N/A, Repair Done - Fully Finish Installation | Com1 | E-mail
BAC-00009744 | 2025-12-11 | 11:36 am - 11:37 am | LOTERIO | Hawaiian Phillippine Company | Hawaiian Central, , , Brgy.Hawaiian, SILAY CITY, Neg. occ. |  | KLG-SF40-WBR6H1M32-I | Edsiel Rose | APPLIANCE CENTRUM | INST | DC | C | For Installation | AMPS Refrigeration & Air-conditioning Services | late generated | 1 | 2025-11-11 | 2025-11-11 | 2025-11-11 | Findings - N/A, Recommendation - N/A, Repair Done - Installation Done | Com1 | E-mail
BAC-00009745 | 2025-12-11 | 11:38 am - 11:39 am | LOTERIO | Hawaiian Phillippine Company | Hawaiian Central, , , Brgy.Hawaiian, SILAY CITY, Neg. occ. |  | KLG-SF40-WBR6H1M32-I | Edsiel Rose | APPLIANCE CENTRUM | INST | DC | C | For Installation | AMPS Refrigeration & Air-conditioning Services | late generated | 1 | 2025-11-11 | 2025-11-11 | 2025-11-11 | Findings - N/A, Recommendation - N/A, Repair Done - Installation Done | Com1 | E-mail
BAC-00009746 | 2025-12-11 | 02:30 pm - 02:31 pm | LOTERIO | Florendo, Randy | , Blk 1 Lot 16 Meridian St, Camella subd., Brgy. Mandalagan, BACOLOD CITY (Capital), Neg. occ. | 0967-2132615 | KSM-IW10-WCT10M1M32 | Dolly | ASIAN HOMES | TS | DC | W | EL01 Error Code | DJB Aircon And Refrigeration Repair Shop |  | 1 | 2025-12-11 | 2025-12-11 16:40 | 2025-12-11 17:45 | Findings - Burned outdoor board, Recommendation - For replacement, Repair Done - Done replace outdoor board | Com1 | E-mail
BAC-00009747 | 2025-12-11 | 03:17 pm - 03:24 pm | LOTERIO | La Arte Halo-Halo cafe and Daebak Restuarant | , Lacson Street, , , BACOLOD CITY (Capital), Neg. occ. | 0949-5810118 | KA-200MCARINV32 |  | ROBINSONS | TS | FD | W | Noisy | DJB Aircon And Refrigeration Repair Shop | Brocken propeller fan | 2 | 11/19/2025 | 11/19/2025 10:30 am | 11/19/2025 10:50 am | Findings - Broken fan blade, Recommendation - for replace blade, Repair Done - Done replace blade | Com1 | Second Action
BAC-00009748 | 2025-12-11 | 03:39 pm - 03:39 pm | LOTERIO | COLDTRON ENTERPRISES CO | N/A, PUROK ROAD SIDE 2, N/A, BRGY. ALIJIS, BACOLOD CITY (Capital), NEGROS OCCIDENTAL | 0923-6009394 | KSG-36C1M | Kimberlyn | CITI APPLIANCE | TS | DC | C | Not Cooling | GAB Appliance Service Center - Bacolod |  | 1 | 2025-12-11 | 2025-12-11 | 2025-12-11 | Findings - DEFECTIVE FAN MOTOR, Recommendation - REPLACE NEW FAN MOTOR, Repair Done - CHECK-UP | Com1 | E-mail
BAC-00009749 | 2025-12-11 | 03:44 pm - 03:44 pm | LOTERIO | COLDTRON ENTERPRISES CO | N/A, PUROK ROAD SIDE 2, N/A, BRGY. ALIJIS, BACOLOD CITY (Capital), NEGROS OCCIDENTAL | 0923-6009394 | KSM-10MB1INV | Kimberlyn | CITI APPLIANCE | TS | DC | C | Not Cooling | GAB Appliance Service Center - Bacolod |  | 1 | 2025-12-11 | 2025-12-11 | 2025-12-11 | Findings - DEFECTICVE OUTDOOR BOARD, Recommendation - REPLACE NEW OUTDOOR BOARD, Repair Done - CHECK-UP | Com1 | E-mail
BAC-00009750 | 2025-12-11 | 03:52 pm - 03:54 pm | LOTERIO | GAB Appliance Service Center | , Magsaysay st. , , Zone 12 , CITY OF TALISAY, Neg . Occ. |  | n/a |  |  | SP | WI | COS | Sales of Parts |  | SOP ref. no. SJR BAC-9747,9748 | 1 | 2025-12-11 | 2025-12-11 15:55 | 2025-12-11 16:00 | Findings - N/A, Recommendation - N/A, Repair Done - SOP ref. no. SJR BAC-7949,7948 | Com1 | Customer Lounge
BAC-00009751 | 11/13/2025 | 01:13 pm - 01:14 pm | LOTERIO | Marosvill Adel Corp. | , Galo St. , , Brgy. 18, BACOLOD CITY (Capital), Neg. occ. | 0918-9626513 | KSM-IW20-WCT10M1M32 | Joseth | CITI APPLIANCE | INST | DC | C | For Installation | LJN Airconditioning Services |  | 1 | 2025-12-11 | 2025-12-11 | 2025-12-11 | Findings - N/A, Recommendation - N/A, Repair Done - Fully Finish Installation | Com1 | E-mail
BAC-00009752 | 11/13/2025 | 01:19 pm - 01:20 pm | LOTERIO | Jayag, Angelie | N/A, N/A, Capitolville Subdivision, Brgy. Villamonte, BACOLOD CITY (Capital), VI: Western Visayas | 0910-2394671 | KSM-300B1H | Edsiel Rose | APPLIANCE CENTRUM | TS | DC | C | Continuous running of indoor fan motor | AMPS Refrigeration & Air-conditioning Services | For Parts Request: 1. Indoor Board 2. Air Swing Motor | 2 | 11/14/2025 | 11/14/2025 09:00 am | 11/14/2025 10:00 am | Findings - Defective Indoor Board and Air Swing Motor, Recommendation - For Parts Replacement (Indoor Board and Air Swing Motor), Repair Done - Replaced Parts and unit is now operating normally | Com1 | E-mail
BAC-00009753 | 11/13/2025 | 02:30 pm - 02:31 pm | LOTERIO | Bacolod Bulk Water Inc. | , Purok Bomba II, , Brgy. Salvacion, MURCIA, Neg. occ. | 0908-7311821 | KSM-IW15-WCT10M1M32 | Ricky | CITI APPLIANCE | TS | FD | W | Not Cooling | RDE Appliance Service Center | For check up | 1 | 11/14/2025 | 11/14/2025 01:00 pm | 11/14/2025 03:30 pm | Findings - No trouble found , Recommendation - Cleaning only, Repair Done - Check up only | Com1 | Vanity Hotline
BAC-00009754 | 11/13/2025 | 03:52 pm - 03:53 pm | LOTERIO | De Jose, Donnah Rose | , Blk 10 Lot 6 Phase 3, Charito Hieghts, Brgy. Granada, BACOLOD CITY (Capital), Neg. occ. | 0929-8193019 | KWD-BLC-2088B | Joel | VIC IMPERIAL APP | TS | FD | W | Water Dripping | LJN Airconditioning Services |  | 1 | 11/14/2025 | 11/14/2025 10:00 am | 11/14/2025 11:00 am | Findings - Water Leak , Recommendation - Repair Leak, Repair Done - Repair Leak, fixed hose / Observation | Com1 | Vanity Hotline
BAC-00009755 | 11/13/2025 | 04:06 pm - 04:10 pm | LOTERIO | Bugana Resort | , Bugana Beach & Dive Resort, , Brgy. Maricalum, CITY OF SIPALAY, Neg. occ. | 0949-9903250 | KSM-IW25-WCT10M1M32 | Ricky | CITI APPLIANCE | TS | DC | C | E1 Error Code | BLR Aircon and Refrigeration Repair Services |  | 1 | 11/15/2025 |  |  |  |  | E-mail
BAC-00009756 | 11/13/2025 | 04:18 pm - 04:19 pm | LOTERIO | Amp's Refrigeration & Airconditioning Service Center | Door 1 JR Building, Rizal st., , , BACOLOD CITY (Capital), Neg . Occ. |  | n/a |  |  | SP | WI | COS | Sales of Parts |  | SOP | 1 | 11/13/2025 | 11/13/2025 04:20 pm | 11/13/2025 04:25 pm | Findings - N/A, Recommendation - N/A, Repair Done - SOP ref. no. SJR BAC-9752 | Com1 | Customer Lounge
BAC-00009757 | 11/14/2025 | 11:02 am - 11:02 am | LOTERIO | MACASA, MARGIE | N/A, # 12 Margarita St., Capito Ville Subd., Villamonte, BACOLOD CITY (Capital), Negros Occidental | 0917-3001260 | KLG-IF40-5G1M32-I | Dolly | ASIAN HOMES | INST | DC | C | For Installation | DJB Aircon And Refrigeration Repair Shop |  | 2 | 2025-12-11 | 2025-12-11 | 11/13/2025 12:00 am | Findings - N/A, Recommendation - N/A, Repair Done - Installed | Com1 | E-mail
BAC-00009758 | 11/14/2025 | 01:52 pm - 01:53 pm | LOTERIO | Florendo, Jeber Stein | N/A, Lot 9 Block 6 Osmena St. , Aguilar, Poblacion, SAGAY CITY, Negros Occidental | 0966-3096296 | KSM-IW10-WCT10M1M32 | Dolly | ASIAN HOMES | INST | DC | C | For Installation | DJB Aircon And Refrigeration Repair Shop |  | 1 | 11/13/2025 | 11/13/2025 12:00 am | 11/13/2025 12:00 am | Findings - N/A, Recommendation - N/A, Repair Done - Installed | Com1 | E-mail
BAC-00009759 | 11/15/2025 | 10:34 am - 10:39 am | LOTERIO | The Doctors Hospital | Doctors Hospital, BS Aquino Drive, , , BACOLOD, Negros Occidental | 0991-4720624 | KLG-IF40-5G1M32-I | Joseth | VIC IMPERIAL APP | INST | DC | C | For Installation | LJN Airconditioning Services | Late generated | 1 | 2025-07-11 | 2025-07-11 | 2025-07-11 | Findings - N/A, Recommendation - N/A, Repair Done - Fully Finish Installation | Com1 | E-mail
BAC-00009760 | 11/15/2025 | 11:59 am - 12:01 pm | LOTERIO | De Jose, Donnah Rose | , Blk 10 Lot 6 Phase 3, Charito Hieghts, Brgy. Granada, BACOLOD CITY (Capital), Neg. occ. | 0929-8193019 | KWD-BLC-2088B | Donnah Rose | VIC IMPERIAL APP | FPO | FD | W | Dripping/ Water Leak | LJN Airconditioning Services |  | 1 | 11/18/2025 | 11/17/2025 09:30 am | 11/17/2025 11:00 am | Findings - Water Leak, Recommendation - Unit Pull Out, Repair Done - Unit Repair Shop/ Obsrvation | Com1 | Vanity Hotline
BAC-00009761 | 11/15/2025 | 03:18 pm - 03:19 pm | LOTERIO | 568 DEPARTMENT STORE | RGR2+924,, EAST AVE, PUROK. TAGUMPAY, BARANGAY BALINTAWAK, CITY OF ESCALANTE, NEGROS OCCIDENTAL | 0963-0721837 | KLG-SF40-5G1M-I | Mark | n/a | TS | DC | C | Not Cooling | Makoy's Refrigeration |  | 1 | 11/18/2025 | 11/16/2025 10:00 am | 11/16/2025 01:00 pm | Findings - DEFECTIVE AMBIENT SENSOR, Recommendation - FOR REPLACE PARTS, Repair Done - Done replaced defective parts | Com1 | E-mail
BAC-00009762 | 11/15/2025 | 04:09 pm - 04:10 pm | LOTERIO | MAGON, MARIBEL MOYA | N/A, N/A, CELITA VILLAGE, BRGY. ALIJIS, BACOLOD CITY (Capital), NEGROS OCCIDENTAL | 0906-2685132 | KSM-IW10-WCT10M1M32 | Kimberlyn | ABENSON VENTURES | INST | DC | C | For Installation | GAB Appliance Service Center - Bacolod |  | 1 | 11/15/2025 | 11/15/2025 12:00 am | 11/15/2025 12:00 am | Findings - N/A, Recommendation - N/A, Repair Done - INSTALLED | Com1 | E-mail
BAC-00009763 | 11/15/2025 | 04:15 pm - 04:17 pm | LOTERIO | UY, KRISLYN | N/A, N/A, CELITA VILLAGE, BRGY. ALIJIS, BACOLOD CITY (Capital), NEGROS OCCIDENTAL | 0917-5491025 | KSM-IW10-WCT10M1M32 | Kimberlyn | ABENSON VENTURES | INST | DC | C | For Installation | GAB Appliance Service Center - Bacolod |  | 1 | 11/15/2025 | 11/15/2025 12:00 am | 11/15/2025 12:00 am | Findings - N/A, Recommendation - N/A, Repair Done - INSTALLED | Com1 | E-mail
BAC-00009764 | 11/15/2025 | 04:22 pm - 04:23 pm | LOTERIO | Bacuaro, Mark N/A | N/A, Blk71 Lot38 , Decahomes, Cabug, BACOLOD, Negros Occidental | 0943-7445789 | KSM-IW10-WCT10M1M32 | Delia | ASIAN HOMES | INST | DC | C | For Installation | RDE Appliance Service Center |  | 1 | 11/15/2025 | 11/15/2025 12:00 am | 11/15/2025 12:00 am | Findings - N/A, Recommendation - N/A, Repair Done - Installed | Com1 | E-mail
BAC-00009765 | 11/17/2025 | 12:24 pm - 12:26 pm | LOTERIO | Limson, Bjorn | , Blk 10 Lot 13 Phase 2, Lumina Homes, Brgy. Vista Alegre, BACOLOD CITY (Capital), Neg . Occ. | 0999-4620252 | KSG-IWF-20WFY-8K1M32-I | Christine | VIC IMPERIAL APP | GC | FD | C | For GC | RDE Appliance Service Center | for G.C | 1 | 11/18/2025 | 11/18/2025 01:00 am | 11/18/2025 02:30 am | Findings - General cleaning , Recommendation - General cleaning , Repair Done - General Cleaning | Com1 | Customer Lounge
BAC-00009766 | 11/17/2025 | 03:09 pm - 03:14 pm | LOTERIO | De Jose, Donnah Rose | , Blk 10 Lot 6 Phase 3, Charito Hieghts, Brgy. Granada, BACOLOD CITY (Capital), Neg. occ. | 0929-8193019 | KWD-BLC-2088B |  | VIC IMPERIAL APP | TS | BI | W | Dripping/ Water Leak | LJN Airconditioning Services | for trouble shoot and observation | 2 | 11/17/2025 | 11/17/2025 01:00 pm | 11/17/2025 04:30 pm | Findings - Water Leak, Recommendation - , Repair Done - Repair Hose Leak | Com1 | Vanity Hotline
BAC-00009767 | 11/17/2025 | 04:37 pm - 04:37 pm | LOTERIO | CONTRERAS, PAUL | N/A, HYACINTH ST., FELISA ROAD, BRGY. MANSILINGAN, BACOLOD CITY (Capital), NEGROS OCCIDENTAL | 0917-6240818 | KSG-IWF-30WFY-8K1M32-I | Kimberlyn | ROBINSONS | INST | DC | C | For Installation | GAB Appliance Service Center - Bacolod |  | 1 | 11/17/2025 | 11/17/2025 12:00 am | 11/17/2025 12:00 am | Findings - N/A, Recommendation - N/A, Repair Done - INSTALLED | Com1 | E-mail
BAC-00009768 | 11/18/2025 | 12:09 pm - 12:10 pm | LOTERIO | Makoy's Refriigeration and Airconditioning Services | , Putok Cubay, , Brgy. Tinampaan, CADIZ CITY, Neg. occ. | 0945-2279032 | n/a |  |  | SP | WI | C | Sales of Parts |  | SOP ref. no. 9761 | 1 | 11/18/2025 | 11/18/2025 11:50 am | 11/18/2025 11:55 am | Findings - N/A, Recommendation - N/A, Repair Done - SOP ref. no. SJR BAC-9761 | Com1 | Customer Lounge
BAC-00009769 | 11/18/2025 | 12:42 pm - 12:44 pm | LOTERIO | Mac Jils Refrigeration and Aircon Repair Shop | , Lacson st, , Brgy. Mandalagan, BACOLOD CITY (Capital), Neg . Occ. | 7070639 | n/a |  |  | SP | WI | COS | Sales of Parts |  | SOP ref. no. sjr BAC-97 | 1 | 11/18/2025 | 11/18/2025 11:55 am | 11/18/2025 12:00 pm | Findings - N/A, Recommendation - N/A, Repair Done - SOP ref. no. SJR BAC-9720 | Com1 | Customer Lounge
BAC-00009770 | 11/18/2025 | 01:19 pm - 01:23 pm | LOTERIO | CABALATUNGAN, ROMMEL | N/A, Prk. 5, Brgy. La Granja, N/A, LA CARLOTA CITY, Negros Occidental | 0921-7641753 | KAG-75WCINV | Ann | ABENSON INC. | TS | DC | C | Not Cooling | Radicool Aircon & Refrigeration Repair Services, Radicool |  | 1 | 11/19/2025 | 11/17/2025 10:00 am | 11/19/2025 12:00 pm | Findings - For PCB replacement, Recommendation - For PCB replacement, Repair Done - PCB Replacement | Com1 | E-mail
BAC-00009771 | 11/18/2025 | 02:19 pm - 02:21 pm | LOTERIO | Lacang, Jhamie | N/A, N/A, N/A, Handumanan, BACOLOD CITY (Capital), Negros Occidental | 0928-7726954 | KSM-IW25-4F1M | Cherry | n/a | TS | DC | C | Abnormal/ Broken LCD | Mac Jils Air-conditioning and Ref Corporation |  | 1 | 11/19/2025 | 11/19/2025 01:00 pm | 11/20/2025 02:00 pm | Findings - defective pcb outdoor board, Recommendation - need to replace pcb outdoor board, Repair Done - done replaced pcb outdoor board | Com1 | E-mail
BAC-00009772 | 11/18/2025 | 02:27 pm - 02:28 pm | LOTERIO | ROJO, FELIX | , #140 IBIZA ST., AYALA NORTH POINT, ZONE 15, BACOLOD CITY (Capital), Neg . Occ. | 0995-9322145 | KSG-IWF-15WFY-8K1M32-I | Edsiel Rose | APPLIANCE CENTRUM | INST | DC | C | For Installation | AMPS Refrigeration & Air-conditioning Services |  | 1 | 11/18/2025 | 11/18/2025 12:00 am | 11/18/2025 12:00 am | Findings - N/A, Recommendation - N/A, Repair Done - Installation Done | Com1 | E-mail
BAC-00009773 | 11/18/2025 | 04:07 pm - 04:08 pm | LOTERIO | PENAFIEL , GINA | N/A, GOLDEN CAMOTE LAVARO STREET, N/A, BRGY. ZONE 2, MURCIA, NEGROS OCCIDENTAL | 0951-1919257 | KSM-IW10-WCT10M1M32 | Kimberlyn | ROBINSONS | INST | DC | C | For Installation | GAB Appliance Service Center - Bacolod |  | 1 | 11/18/2025 | 11/18/2025 12:00 am | 11/18/2025 12:00 am | Findings - N/A, Recommendation - N/A, Repair Done - INSTALLED | Com1 | E-mail
BAC-00009774 | 11/18/2025 | 04:17 pm - 04:19 pm | LOTERIO | De Jose, Donnah Rose | , Blk 10 Lot 6 Phase 3, Charito Hieghts, Brgy. Granada, BACOLOD CITY (Capital), Neg. occ. | 0929-8193019 | KWD-BLC-2088B | Joseth | VIC IMPERIAL APP | DEL | FD | W | Fan Not Functioning | LJN Airconditioning Services | Delivery of repair unit | 1 | 11/18/2025 | 11/18/2025 09:00 am | 11/18/2025 09:30 am | Findings - Delivery of shop repair unit, , , Recommendation - N/A, Repair Done - Delivered shop repair unit | Com1 | Vanity Hotline
BAC-00009775 | 11/19/2025 | 09:15 am - 09:16 am | LOTERIO | Dignadice , Mar | , Blk 28 Lot11, Brighton Subd., Brgy, Estefania, BACOLOD CITY (Capital), Neg. occ. | 0923-7401074 | KSM-IW20-WCT10M1M32 | Joseth | VIC IMPERIAL APP | INST | DC | C | For Installation | LJN Airconditioning Services |  | 1 | 11/18/2025 | 11/18/2025 12:00 am | 11/18/2025 12:00 am | Findings - NA, Recommendation - N/A, Repair Done - Fully Finish Installation | Com1 | E-mail
BAC-00009776 | 11/19/2025 | 09:21 am - 09:21 am | LOTERIO | RICO, ROSELYN | N/A, N/A, PUROK SERRA, BRGY. BUSAY, BAGO CITY, NEGROS OCCIDENTAL | 0950-4412566 | KSM-IW15-WCT10M1M32 | Kimberlyn | ABENSON VENTURES | INST | DC | C | For Installation | GAB Appliance Service Center - Bacolod |  | 1 | 11/18/2025 | 11/18/2025 12:00 am | 11/18/2025 12:00 am | Findings - N/A, Recommendation - N/A, Repair Done - INSTALLED | Com1 | E-mail
BAC-00009777 | 11/19/2025 | 09:29 am - 09:30 am | LOTERIO | RICO, ROSELYN | N/A, N/A, PUROK SERRA, BRGY. BUSAY, BAGO CITY, NEGROS OCCIDENTAL | 0950-4412566 | KSM-IW10-WCT10M1M32 | Kimberlyn | ABENSON VENTURES | INST | DC | C | For Installation | GAB Appliance Service Center - Bacolod |  | 1 | 11/18/2025 | 11/18/2025 12:00 am | 11/18/2025 12:00 am | Findings - N/A, Recommendation - N/A, Repair Done - INSTALLED | Com1 | E-mail
BAC-00009778 | 11/19/2025 | 10:14 am - 10:17 am | LOTERIO | Zayco, Yolanda | N/A, Block 11 lot 13, Charito Heights, Granada, BACOLOD CITY (Capital), Negros | 0948-5179263 | KSM-IW10-6H1M | Dolly | APPLIANCE CENTRUM | TS | DC | C | Not Cooling | DJB Aircon And Refrigeration Repair Shop |  | 1 | 11/19/2025 | 11/19/2025 01:00 pm | 11/19/2025 01:30 pm | Findings - Defective indoor board, Recommendation - For replacement board, Repair Done - Done replace, unit is now operational | Com1 | E-mail
BAC-00009779 | 11/19/2025 | 10:22 am - 10:22 am | LOTERIO | Yee, Jose Luiz | N/A, Block 2 Lot 32 Aguilar, Charmaine, Poblacion, SAGAY CITY, Negros | 0991-4734055 | KSM-15MB1INV | Dolly | APPLIANCE CENTRUM | TS | DC | C | E1 Error Code | DJB Aircon And Refrigeration Repair Shop |  | 1 | 11/20/2025 | 11/20/2025 10:00 am | 11/20/2025 10:30 am | Findings - Unit error E1, Recommendation - For replace outdoor board, Repair Done - Done replace out board unit is now operational | Com1 | E-mail
BAC-00009780 | 11/19/2025 | 10:28 am - 10:29 am | LOTERIO | Consing, Raymund | , 19 San sebastian St., Sta Clara subd., Brgy. Banago, BACOLOD CITY (Capital), Neg. occ. | 0999-8801445 | KSM-IW15-4F1M | Dolly | ASIAN HOMES | TS | DC | C | No Display | DJB Aircon And Refrigeration Repair Shop |  | 1 | 11/19/2025 | 11/19/2025 10:00 am | 11/19/2025 11:30 am | Findings - Defective indoor board, Recommendation - For Replacement, Repair Done - Done Replace unit is now operational | Com1 | E-mail
BAC-00009781 | 11/19/2025 | 10:38 am - 10:39 am | LOTERIO | Riverside Medical Center | N/A, B.S Aquino Drive, N/A, Brgy, Villamonte , BACOLOD CITY (Capital), Negros Occ. | 0932-5381794 | KLG-SF70-4D3M | Joseth | n/a | TS | DC | C | High Current / Stuck up Motor | LJN Airconditioning Services |  | 1 | 11/19/2025 | 11/19/2025 12:00 am | 11/19/2025 12:00 am | Findings - High Amp., Recommendation - Replace Motor Compresor, Repair Done - Check Up | Com1 | E-mail
BAC-00009782 | 11/19/2025 | 10:51 am - 10:51 am | LOTERIO | Cornel, Cyril | N/A, N/A, N/A, Brgy.Himaya mansilingan , BACOLOD, Negros Occidental | 0919-5121337 | KSM-IW15-4F1M | Delia | VIC IMPERIAL APP | TS | DC | C | Not Cooling | RDE Appliance Service Center |  | 1 | 11/19/2025 | 11/19/2025 12:00 am | 11/19/2025 12:00 am | Findings - Not cooling , Recommendation - Replace Out door board , Repair Done - Replace Out door main board | Com1 | E-mail
BAC-00009783 | 11/19/2025 | 11:29 am - 11:31 am | LOTERIO | RADICOOL Aircon & Refrigeration Repair Services | , 220 Makiling st, , Brgy. Villamonte, BACOLOD CITY (Capital), Neg . Occ. | 0909-6794828 | n/a |  |  | SP | WI | COS | Sales of Parts |  | SOP ref. no sjr BAC-9770 | 1 | 11/19/2025 | 11/19/2025 11:30 am | 11/19/2025 11:35 am | Findings - N/A, Recommendation - N/A, Repair Done - SOP ref. no. SJR BAC-9770 | Com1 | Customer Lounge
BAC-00009784 | 11/19/2025 | 12:34 pm - 12:40 pm | LOTERIO | Bugana Resort | , Bugana Beach & Dive Resort, , Brgy. Maricalum, CITY OF SIPALAY, Neg. occ. | 0949-9903250 | KSM-IW25-WCT10M1M32 |  | CITI APPLIANCE | TS | FD | P | EL01 Error Code | BLR Aircon and Refrigeration Repair Services | refer to sjr BAC-9755 | 2 | 11/19/2025 | 11/19/2025 12:00 pm | 11/19/2025 01:00 pm | Findings - N/A, Recommendation - N/A, Repair Done - CANCEL BY CUSTOMER THROUGH TEXT | NSC09 | Second Action
BAC-00009785 | 11/19/2025 | 01:11 pm - 01:12 pm | LOTERIO | Orient Asia | , Mabini st., , Brgy. 33, BACOLOD CITY (Capital), Neg. occ. | 0995-2636442 | KAG-145WCINV | Mark | VIC IMPERIAL APP | TS | FD | W | Dead Set | LJN Airconditioning Services | For check up | 1 | 11/19/2025 | 11/19/2025 01:30 pm | 11/19/2025 02:30 pm | Findings - Difective Display Board, Recommendation - Replacement Display Board, Repair Done - Check Up | Com1 | Vanity Hotline
BAC-00009786 | 11/19/2025 | 01:19 pm - 01:22 pm | LOTERIO | DJB Aircon & Refrigeration Repair Shop | , Zone 2, Prk. Sto. Rosario, Brgy. bata, BACOLOD CITY (Capital), Neg . Occ. | 7085814 | n/a |  |  | SP | WI | COS | Sales of Parts |  | SOP ref. no. sjr BAC-9714,9721,9722 | 1 | 11/19/2025 | 11/19/2025 01:35 pm | 11/19/2025 01:40 pm | Findings - N/A, Recommendation - N/A, Repair Done - SOP ref. no. SJR BAC-9714,9721,9722 | Com1 | Customer Lounge
BAC-00009787 | 11/19/2025 | 01:47 pm - 01:48 pm | LOTERIO | DJB Aircon & Refrigeration Repair Shop | , Zone 2, Prk. Sto. Rosario, Brgy. bata, BACOLOD CITY (Capital), Neg . Occ. | 7085814 | n/a |  |  | SP | WI | COS | Sales of Parts |  | SOP | 1 | 11/19/2025 | 11/19/2025 01:50 pm | 11/19/2025 01:55 pm | Findings - N/A, Recommendation - N/A, Repair Done - SOP | Com1 | Customer Lounge
BAC-00009788 | 11/19/2025 | 01:58 pm - 01:59 pm | LOTERIO | DJB Aircon & Refrigeration Repair Shop | , Zone 2, Prk. Sto. Rosario, Brgy. bata, BACOLOD CITY (Capital), Neg . Occ. | 7085814 | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of Inst. mat. | 1 | 11/19/2025 | 11/19/2025 02:00 pm | 11/19/2025 02:05 pm | Findings - N/A, Recommendation - N/A, Repair Done - Sale of Inst. materials | Com1 | Customer Lounge
BAC-00009789 | 11/19/2025 | 02:07 pm - 02:09 pm | LOTERIO | LJN Airconditioning Service | , 4TH Road Aluna Yulo ext., , Brgy. 35, BACOLOD CITY (Capital), Neg . Occ. | 0999-1584956 | n/a |  |  | SP | WI | COS | Sales of Parts |  | SOP ref. no. sjr BAC-9781 | 1 | 11/19/2025 | 11/19/2025 02:10 pm | 11/19/2025 02:15 pm | Findings - N/A, Recommendation - N/A, Repair Done - SOP ref. no. SJR BAC-9781 | Com1 | Customer Lounge
BAC-00009790 | 11/19/2025 | 02:30 pm - 02:31 pm | LOTERIO | JT'S Manokan Grille | N/A, Bacolod Aircport Access Road, Forbshill, Estefania, BACOLOD CITY (Capital), Negros Occidental | 0916-6631879 | KLG-IF40-5G1M32-I | Dolly | VIC IMPERIAL APP | INST | DC | C | For Installation | DJB Aircon And Refrigeration Repair Shop |  | 5 | 11/13/2025 | 11/13/2025 12:00 am | 11/17/2025 12:00 am | Findings - N/A, Recommendation - N/A, Repair Done - Installed | Com1 | E-mail
BAC-00009791 | 11/19/2025 | 02:35 pm - 02:36 pm | LOTERIO | JT'S Manokan Grille | N/A, Bacolod Aircport Access Road, Forbshill, Estefania, BACOLOD CITY (Capital), Negros Occidental | 0916-6631879 | KSM-IW20-WCT10M1M32 | Dolly | VIC IMPERIAL APP | INST | DC | C | For Installation | DJB Aircon And Refrigeration Repair Shop |  | 5 | 11/13/2025 | 11/13/2025 12:00 am | 11/17/2025 12:00 am | Findings - N/A, Recommendation - N/A, Repair Done - Installed | Com1 | E-mail
BAC-00009792 | 11/19/2025 | 02:43 pm - 02:44 pm | LOTERIO | JT'S Manokan Grille | N/A, Bacolod Aircport Access Road, Forbshill, Estefania, BACOLOD CITY (Capital), Negros Occidental | 0916-6631879 | KSM-IW20-WCT10M1M32 | Dolly | VIC IMPERIAL APP | INST | DC | C | For Installation | DJB Aircon And Refrigeration Repair Shop |  | -5 | 11/13/2025 | 11/13/2025 12:00 am | 11/17/2025 12:00 am | Findings - N/A, Recommendation - N/A, Repair Done - Installed | Com1 | E-mail
BAC-00009793 | 11/19/2025 | 02:45 pm - 02:47 pm | LOTERIO | Orient Asia | , Mabini st., , Brgy. 33, BACOLOD CITY (Capital), Neg. occ. | 0995-2636442 | KAG-145WCINV |  | VIC IMPERIAL APP | TS | FD | W | Dead Set | LJN Airconditioning Services | Defective display board | 2 | 11/19/2025 | 11/19/2025 03:30 pm | 11/19/2025 04:20 pm | Findings - Difective Display Board, Recommendation - Replacement Display Board, Repair Done - Replace Display Board | Com1 | Second Action
BAC-00009794 | 11/19/2025 | 02:51 pm - 02:53 pm | LOTERIO | Adad, Anthony | N/A, Purok ACCO Housing, Villa Rosario, Alijis, BACOLOD CITY (Capital), Negros Occidental | 0999-1924642 | KSM-IW25-WCT10M1M32 | Dolly | ASIAN HOMES | INST | DC | C | For Installation | DJB Aircon And Refrigeration Repair Shop |  | 2 | 11/15/2025 | 11/15/2025 12:00 am | 11/17/2025 12:00 am | Findings - N/A, Recommendation - N/A, Repair Done - Installed | Com1 | Customer Lounge
BAC-00009795 | 11/19/2025 | 03:06 pm - 03:07 pm | LOTERIO | Nagales, Jeffrey | , Block 24 Lot 11, Centrale Phase 1, Brgy. Mandalagan, BACOLOD CITY (Capital), Neg. occ. | 0928-2995237 | KSM-IW25-WCT10M1M32 | Dolly | VIC IMPERIAL APP | INST | DC | C | For Installation | DJB Aircon And Refrigeration Repair Shop |  | 1 | 11/18/2025 | 11/18/2025 12:00 am | 11/18/2025 12:00 am | Findings - N/A, Recommendation - N/A, Repair Done - Installed | Com1 | E-mail
BAC-00009796 | 11/19/2025 | 03:16 pm - 03:17 pm | LOTERIO | Gamban, Maria Joosefa Nena | N/A, #46 Lizares, Lizares Avenue, Brgy 40, BACOLOD CITY (Capital), Negros Occidental | 0917-8018775 | KSG-IWF-30WFY-8K1M32-I | Dolly | APPLIANCE CENTRUM | INST | DC | C | For Installation | DJB Aircon And Refrigeration Repair Shop |  | 1 | 11/18/2025 | 11/18/2025 12:00 am | 11/18/2025 12:00 am | Findings - N/A, Recommendation - N/A, Repair Done - Installed | Com1 | E-mail
BAC-00009797 | 11/20/2025 | 01:47 pm - 01:48 pm | LOTERIO | Lacson, Mila | , Libertad extension, , , BACOLOD CITY (Capital), Neg. occ. | 0917-3006682 | KAG-145WCINV | Mila |  | TS | FD | C | Dead Set | DJB Aircon And Refrigeration Repair Shop | For check up | 1 | 11/21/2025 | 11/21/2025 01:00 pm | 11/21/2025 01:35 pm | Findings - Loose wiring termnal on display board, Recommendation - fix wiring terminal on board, Repair Done - Done fix wiring, unit is now operating normally | Com1 | Customer Lounge
BAC-00009798 | 11/20/2025 | 02:56 pm - 02:57 pm | LOTERIO | Mac Jils Refrigeration and Aircon Repair Shop | , Lacson st, , Brgy. Mandalagan, BACOLOD CITY (Capital), Neg . Occ. | 7070639 | n/a |  |  | SP | WI | COS | Sales of Parts |  | SOP ref. no. sjr BAC-9771 | 1 | 11/20/2025 | 11/20/2025 02:55 pm | 11/20/2025 03:00 pm | Findings - N/A, Recommendation - N/A, Repair Done - SOP ref. no. SJR BAC-9771 | Com1 | Customer Lounge
BAC-00009799 | 11/20/2025 | 04:03 pm - 04:04 pm | LOTERIO | PEDROSA, AL | N/A, N/A, AMAIA CONDO SOUTH, BRGY. MANDALAGAN, BACOLOD CITY (Capital), NEGROS OCCIDENTAL | 0917-8817617 | KAG-145WCINV | Kimberlyn | ABENSON VENTURES | TS | DC | C | Noisy | GAB Appliance Service Center - Bacolod |  | 1 | 11/20/2025 | 11/20/2025 12:00 am | 11/20/2025 12:00 am | Findings - NOISY FAN MOTOR, Recommendation - REPLACE PARTS, Repair Done - CHECK-UP | Com1 | E-mail
BAC-00009800 | 11/22/2025 | 03:30 pm - 03:32 pm | MONTINOLA | RDE Appliance Service Center | , , East Home 5, Brgy. Mansilingan, BACOLOD CITY (Capital), Neg . Occ. | 0939-5982268 | n/a |  |  | SP | WI | COS | Sales of Parts |  | Late generate due to no internet |  | 11/22/2025 | 11/22/2025 03:43 am | 11/22/2025 03:45 am | Findings - N/A, Recommendation - N/A, Repair Done - sales of parts | Com1 | Customer Lounge
BAC-00009801 | 11/24/2025 | 08:18 am - 08:23 am | LOTERIO | GAB Appliance Service Center | , Magsaysay st. , , Zone 12 , CITY OF TALISAY, Neg . Occ. |  | n/a |  |  | SP | WI | COS | Sales of Parts |  | SOP ref. no. sjr BAC-9799 note: late generated due to no internet | 1 | 11/24/2025 | 11/24/2025 08:25 am | 11/24/2025 08:30 am | Findings - N/A, Recommendation - N/A, Repair Done - SOP ref. no. SJR BAC-9799 | Com1 | Customer Lounge
BAC-00009802 | 11/24/2025 | 09:55 am - 09:56 am | LOTERIO | Milas | N/A, Hinigaran Negros Occ., N/A, Brgy.4, HINIGARAN, Negros Occ. | 0999-7643210 | KLG-SF40-3D1M | Joseth | n/a | TS | DC | C | E1 Error Code | LJN Airconditioning Services |  | 1 | 11/24/2025 | 11/24/2025 11:00 am | 11/24/2025 11:00 am | Findings - E1, Recommendation - Replace Fan Board, Repair Done - Replace Fan Board | Com1 | E-mail
BAC-00009803 | 11/24/2025 | 10:07 am - 10:08 am | LOTERIO | Asian Home Appliance | Smart Zone 888 China town square, Cor. cottage road Gatuslao st, , Brgy. 10, BACOLOD CITY (Capital), Neg. occ. | 0918-9483573 | KAM-55CMC32 | Dolly | ASIAN HOMES | TS | FD | W | Not Cooling | DJB Aircon And Refrigeration Repair Shop | Stock unit | 1 | 11/26/2025 | 11/24/2025 05:00 pm | 11/24/2025 05:35 am | Findings - Plug not stable cause of on off power, Recommendation - make sure that outlet is fit sacket, Repair Done - check-up the unit ok | Com1 | E-mail
BAC-00009804 | 11/24/2025 | 02:43 pm - 02:44 pm | LOTERIO | Comiqui, Victoria C | N/A, Blk28 Lot4&6, Golden River Village , Taculing, BACOLOD, Negros Occidental | 0933-9350603 | KSM-IW15-WCT10M1M32 | Delia | ROBINSONS | INST | DC | C | For Installation | RDE Appliance Service Center | Late generated | 1 | 11/19/2025 | 11/19/2025 12:00 am | 11/19/2025 12:00 am | Findings - N/A, Recommendation - N/A, Repair Done - Installed | Com1 | E-mail
BAC-00009805 | 11/24/2025 | 02:51 pm - 02:52 pm | LOTERIO | MACALALAG, MICHELIE | N/A, B17 L12 PHASE 2, EAST HOMES 6, BRGY. MANSILINGAN, BACOLOD CITY (Capital), NEGROS OCCIDENTAL | 0917-8488894 | KSG-IWF-10WFY-8K1M32-I | Kimberlyn | ROBINSONS | INST | DC | C | For Installation | GAB Appliance Service Center - Bacolod |  | 1 | 11/24/2025 | 11/24/2025 12:00 am | 11/24/2025 12:00 am | Findings - N/A, Recommendation - N/A, Repair Done - INSTALLED | Com1 | E-mail
BAC-00009806 | 11/24/2025 | 02:57 pm - 03:03 pm | LOTERIO | MACALALAG, MICHELIE | N/A, B17 L12 PHASE 2, EAST HOMES 6, BRGY. MANSILINGAN, BACOLOD CITY (Capital), NEGROS OCCIDENTAL | 0917-8488894 | KSM-IW10-WCT10M1M32 | Kimberlyn | ROBINSONS | INST | DC | C | For Installation | GAB Appliance Service Center - Bacolod |  | 1 | 11/24/2025 | 11/24/2025 12:00 am | 11/24/2025 12:00 am | Findings - N/A, Recommendation - N/A, Repair Done - INSTALLED | Com1 | E-mail
BAC-00009807 | 11/26/2025 | 10:52 am - 10:55 am | LOTERIO | DJB Aircon & Refrigeration Repair Shop | , Zone 2, Prk. Sto. Rosario, Brgy. bata, BACOLOD CITY (Capital), Neg . Occ. | 7085814 | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of parts | 1 | 11/26/2025 | 11/26/2025 10:55 am | 11/26/2025 11:00 am | Findings - N/A, Recommendation - N/A, Repair Done - SOP | Com1 | Customer Lounge
BAC-00009808 | 11/26/2025 | 03:47 pm - 03:48 pm | LOTERIO | Nig Marketing | , San Sebastian st., , , BACOLOD CITY (Capital), Neg . Occ. |  | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of Inst. materials | 1 | 11/26/2025 | 11/26/2025 03:45 pm | 11/26/2025 03:50 pm | Findings - N/A, Recommendation - N/A, Repair Done - Sale of Inst. materials | Com1 | Customer Lounge
BAC-00009809 | 11/26/2025 | 04:14 pm - 04:15 pm | LOTERIO | Concepcion , Liza O. | N/A, N/A, N/A, Brgy.3 cabug, BACOLOD, Negros Occidental | 0963-2850610 | KSM-IW10-WCT10M1M32 | Delia | ASIAN HOMES | INST | DC | C | For Installation | RDE Appliance Service Center |  | 1 | 11/25/2025 | 11/25/2025 12:00 am | 11/25/2025 12:00 am | Findings - N/A, Recommendation - N/A, Repair Done - Installed | Com1 | E-mail
BAC-00009810 | 11/26/2025 | 04:31 pm - 04:32 pm | LOTERIO | Sy, Annalyn | , Block 11 Lot 11, Pueblo San Antonio Phase 1, Zone R-A, CITY OF TALISAY, Neg. occ. | 0939-7654442 | KSM-IW15-WCT10M1M32 | Kimberlyn | ROBINSONS | INST | DC | C | For Installation | GAB Appliance Service Center - Bacolod |  | 1 | 11/25/2025 | 11/25/2025 12:00 am | 11/25/2025 12:00 am | Findings - N/A, Recommendation - N/A, Repair Done - INSTALLED | Com1 | E-mail
BAC-00009811 | 11/26/2025 | 04:35 pm - 04:36 pm | LOTERIO | Sy, Annalyn | , Block 11 Lot 11, Pueblo San Antonio Phase 1, Zone R-A, CITY OF TALISAY, Neg. occ. | 0939-7654442 | KSM-IW15-WCT10M1M32 | Kimberlyn | ROBINSONS | INST | DC | C | For Installation | GAB Appliance Service Center - Bacolod |  | 1 | 11/25/2025 | 11/25/2025 12:00 am | 11/25/2025 12:00 am | Findings - N/A, Recommendation - N/A, Repair Done - INSTALLED | Com1 | E-mail
BAC-00009812 | 11/26/2025 | 04:40 pm - 04:41 pm | LOTERIO | City of Sagay | , , , , SAGAY CITY, Neg. occ. | 0997-4190900 | n/a |  |  | SP | DC | COS | Sales of Parts |  | SOP | 1 | 11/26/2025 | 11/26/2025 04:30 pm | 11/26/2025 04:35 pm | Findings - N/A, Recommendation - N/A, Repair Done - SOP | Com1 | E-mail
BAC-00009813 | 11/27/2025 | 11:45 am - 11:45 am | LOTERIO | Aligato, Maricor | , Block 7 lot 2 , Sanhuci, Brgy. Salvacion, MURCIA, Neg. occ. | 0915-5233631 | KSM-IW20-WCT10M1M32 | Faith | NIG MARKETING | INST | DC | C | For Installation | NIG Marketing Corporation |  | 1 | 11/27/2025 | 11/14/2025 10:00 am | 11/14/2025 04:00 pm | Findings - N/A, Recommendation - N/A, Repair Done - Installed (late generated) | Com1 | E-mail
BAC-00009814 | 11/27/2025 | 12:18 pm - 12:19 pm | LOTERIO | FIRST FARMER HOLDING CORP. | , , , BRGY. DOS HERMANAS, CITY OF TALISAY, Neg . Occ. | 0961-7862961 | KSG-IWF-30WFY-8K1M32-I | Faith | NIG MARKETING | INST | DC | C | For Installation | NIG Marketing Corporation | Late generated | 1 | 11/27/2025 | 11/17/2025 10:00 am | 11/18/2025 12:00 pm | Findings - N/A, Recommendation - N/A, Repair Done - Installed | Com1 | E-mail
BAC-00009815 | 11/27/2025 | 12:24 pm - 12:25 pm | LOTERIO | Hilado, Amy | , Blk 1 Lot 1 Canlaon View, , , MURCIA, Neg. occ. | 0966-9978814 | KSM-IW15-WCT10M1M32 | Faith | NIG MARKETING | INST | DC | C | For Installation | NIG Marketing Corporation | Late generated | 1 | 11/27/2025 | 11/19/2025 10:00 am | 11/19/2025 04:00 pm | Findings - N/A, Recommendation - N/A, Repair Done - Installed | Com1 | E-mail
BAC-00009816 | 11/27/2025 | 01:32 pm - 01:37 pm | LOTERIO | Inventor, Armela O. | N/A, Blk9 Lot2 , Wood side 2, Mansilingan , BACOLOD, Negros Occidental | 0917-7800149 | KSM-IW10-WCT10M1M32 | Delia | ASIAN HOMES | INST | DC | C | For Installation | RDE Appliance Service Center |  | 1 | 11/26/2025 | 11/26/2025 12:00 am | 11/26/2025 12:00 am | Findings - N/A, Recommendation - N/A, Repair Done - Installed | Com1 | E-mail
BAC-00009817 | 11/27/2025 | 01:41 pm - 01:42 pm | LOTERIO | Inventor, Armela O. | N/A, Blk9 Lot2 , Wood side 2, Mansilingan , BACOLOD, Negros Occidental | 0917-7800149 | KSM-IW10-WCT10M1M32 | Delia | ASIAN HOMES | INST | DC | C | For Installation | RDE Appliance Service Center |  | 1 | 11/26/2025 | 11/26/2025 12:00 am | 11/26/2025 12:00 am | Findings - N/A, Recommendation - N/A, Repair Done - Installed | Com1 | E-mail
BAC-00009818 | 11/27/2025 | 01:45 pm - 01:46 pm | LOTERIO | Agdana, Jeanybeb | Balay ni Keno, Prk. Ribadilla, N/A, Brgy. Mandalagan, BACOLOD CITY (Capital), VI: Western Visayas | 0915-4710057 | KAG-145WCINV | Edsiel Rose | APPLIANCE CENTRUM | TS | DC | C | Continuous running of indoor fan motor | AMPS Refrigeration & Air-conditioning Services | Parts Request: (1) Fan Motor | 1 | 11/28/2025 | 11/28/2025 09:00 am | 11/28/2025 10:00 am | Findings - Defective Fan Motor, Recommendation - For Fan Motor Replacement, Repair Done - Replaced Fan Motor | Com1 | E-mail
BAC-00009819 | 11/27/2025 | 01:49 pm - 01:50 pm | LOTERIO | Amp's Refrigeration & Airconditioning Service Center | Door 1 JR Building, Rizal st., , , BACOLOD CITY (Capital), Neg . Occ. |  | n/a |  |  | SP | WI | COS | Sales of Parts |  | SOP ref. no. SJR BAC-9818 | 1 | 11/27/2025 | 11/27/2025 01:55 pm | 11/27/2025 02:00 pm | Findings - N/A, Recommendation - N/A, Repair Done - SOP ref. no. SJR BAC-9818 | Com1 | Customer Lounge
BAC-00009820 | 11/27/2025 | 02:06 pm - 02:07 pm | LOTERIO | Velez, Karen Joy | , Prk. Tapulanga, , Brgy. 34, BACOLOD CITY (Capital), Neg. occ. | 0910-8378604 | KPA-100R10N410 | Joseth | VIC IMPERIAL APP | TS | DC | W | F1 Error Code | LJN Airconditioning Services |  | 1 | 11/27/2025 | 11/27/2025 10:30 am | 11/27/2025 11:30 am | Findings - Unit normally operated, Recommendation - Check up, Repair Done - Check Up /Observation/Unit Ok | Com1 | E-mail
BAC-00009821 | 11/27/2025 | 02:56 pm - 02:57 pm | LOTERIO | Salveron, Jason | , Lot 42 Blk 6 Dalia st., Patricia Home subd., Brgy. Granada, BACOLOD CITY (Capital), Neg. occ. | 0908-8128906 | KSM-IW10-6H1M | Jason | VIC IMPERIAL APP | TS | FD | C | P4 Error Code | DJB Aircon And Refrigeration Repair Shop |  | 1 | 11/27/2025 | 11/27/2025 01:00 am | 11/27/2025 01:00 am | Findings - Unit Error P4, Recommendation - For replacement outdoor board, Repair Done - Check-up | Inc-06 | Vanity Hotline
BAC-00009822 | 11/27/2025 | 04:48 pm - 04:48 pm | LOTERIO | GENRUZ CONTRACTION & SUPPLIES | N/A, N/A, SO.lag asan, Tinampaan cadiz, CADIZ CITY, Negros Occidental | 0945-4410027 | KSG-IWF-30WFY-8K1M32-I | Delia | CITI APPLIANCE | INST | DC | C | For Installation | RDE Appliance Service Center |  | 1 | 11/27/2025 | 11/27/2025 12:00 am | 11/27/2025 12:00 am | Findings - N/A, Recommendation - N/A, Repair Done - Installed | Com1 | E-mail
BAC-00009823 | 11/27/2025 | 04:53 pm - 04:53 pm | LOTERIO | GENRUZ CONTRACTION & SUPPLIES | N/A, N/A, SO.lag asan, Tinampaan cadiz, CADIZ CITY, Negros Occidental | 0945-4410027 | KSG-IWF-30WFY-8K1M32-I | Delia | CITI APPLIANCE | INST | DC | C | For Installation | RDE Appliance Service Center |  | 1 | 11/27/2025 | 11/27/2025 12:00 am | 11/27/2025 12:00 am | Findings - N/A, Recommendation - N/A, Repair Done - Installed | Com1 | E-mail
BAC-00009824 | 11/28/2025 | 08:51 am - 08:53 am | LOTERIO | Salveron, Jason | , Lot 42 Blk 6 Dalia st., Patricia Home subd., Brgy. Granada, BACOLOD CITY (Capital), Neg. occ. | 0908-8128906 | KSM-IW10-6H1M |  | VIC IMPERIAL APP | TS | FD | C | P4 Error Code | DJB Aircon And Refrigeration Repair Shop | For replacement of outdoor board | 2 | 11/28/2025 | 11/28/2025 10:00 am | 11/28/2025 11:00 am | Findings - Unit error P4, Recommendation - For Replacement of outdoor board, Repair Done - Done replace outdoor board, unit is now normally operational | Com1 | Second Action
BAC-00009825 | 11/28/2025 | 11:32 am - 11:33 am | LOTERIO | LACSON, KAKO | N/A, N/A, N/A, BRGY. DOS HERMANAS, CITY OF TALISAY, NEGROS OCCIDENTAL | 0963-2188905 | KLG-SF40-3D1M | Kimberlyn | CITI APPLIANCE | TS | DC | C | E1 Error Code | GAB Appliance Service Center - Bacolod |  | 1 | 11/28/2025 | 11/28/2025 12:00 am | 11/28/2025 12:00 am | Findings - ERROR E1 CONDENSER AUTOMATIC OFF LIZARD ON BOARD, Recommendation - REPLACE FAN MOTOR AND FAN BOARD, Repair Done - CHECK-UP | Com1 | E-mail
BAC-00009826 | 11/28/2025 | 12:38 pm - 12:39 pm | LOTERIO | DIOCESE OF KABANKALAN | DIOCESE OF KABANKALAN , MUHON ST. , N/A , BRGY 1 , CITY OF KABANKALAN, NEGROS OCCIDENTAL | 0929-1548580 | KSM-IW20-WCT10M1M32 | Berly | APPLIANCE CENTRUM | INST | DC | C | For Installation | BLR Aircon and Refrigeration Repair Services |  | 3 | 11/22/2025 | 11/22/2025 12:00 am | 11/26/2025 12:00 am | Findings - N/A, Recommendation - N/A, Repair Done - DONE INSTALL | Com1 | E-mail
BAC-00009827 | 11/28/2025 | 12:43 pm - 12:45 pm | LOTERIO | DIOCESE OF KABANKALAN | DIOCESE OF KABANKALAN , MUHON ST. , N/A , BRGY 1 , CITY OF KABANKALAN, NEGROS OCCIDENTAL | 0929-1548580 | KLM-SF70-4F1M410 | Berly | APPLIANCE CENTRUM | INST | DC | C | For Installation | BLR Aircon and Refrigeration Repair Services |  | 3 | 11/22/2025 | 11/22/2025 12:00 am | 11/26/2025 12:00 am | Findings - NA, Recommendation - N/A, Repair Done - DONE INSTALL | Com1 | E-mail
BAC-00009828 | 11/28/2025 | 12:49 pm - 12:50 pm | LOTERIO | DIOCESE OF KABANKALAN | DIOCESE OF KABANKALAN , MUHON ST. , N/A , BRGY 1 , CITY OF KABANKALAN, NEGROS OCCIDENTAL | 0929-1548580 | KSM-IW15-WCT10M1M32 | Berly | APPLIANCE CENTRUM | INST | DC | C | For Installation | BLR Aircon and Refrigeration Repair Services |  | 3 | 11/22/2025 | 11/22/2025 12:00 am | 11/26/2025 12:00 am | Findings - N/A, Recommendation - N/A, Repair Done - DONE INSTALL | Com1 | E-mail
BAC-00009829 | 11/28/2025 | 01:00 pm - 01:00 pm | LOTERIO | DIOCESE OF KABANKALAN | DIOCESE OF KABANKALAN , MUHON ST. , N/A , BRGY 1 , CITY OF KABANKALAN, NEGROS OCCIDENTAL | 0929-1548580 | KSM-IW15-WCT10M1M32 | Berly | APPLIANCE CENTRUM | INST | DC | C | For Installation | BLR Aircon and Refrigeration Repair Services |  | 3 | 11/22/2025 | 11/22/2025 12:00 am | 11/26/2025 12:00 am | Findings - N/A, Recommendation - N/A, Repair Done - DONE INSTALL | Com1 | E-mail
BAC-00009830 | 11/28/2025 | 01:10 pm - 01:11 pm | LOTERIO | Sorilla, Zyra | , 27 Pili st, Elena Subd., Brgy. V, SILAY CITY, Neg. occ. | 0927-9243982 | KSM-IW20-WCT10M1M32 | Faith | NIG MARKETING | INST | DC | C | For Installation | NIG Marketing Corporation |  | 1 | 11/28/2025 | 11/27/2025 10:00 pm | 11/27/2025 04:00 pm | Findings - N/A, Recommendation - N/A, Repair Done - Installed | Com1 | E-mail
BAC-00009831 | 11/28/2025 | 01:31 pm - 01:32 pm | LOTERIO | GAB Appliance Service Center | , Magsaysay st. , , Zone 12 , CITY OF TALISAY, Neg . Occ. |  | n/a |  |  | SP | WI | COS | Sales of Parts |  | SOP ref. no. sjr BAC-9825 | 1 | 11/28/2025 | 11/28/2025 01:30 pm | 11/28/2025 01:35 pm | Findings - N/A, Recommendation - N/A, Repair Done - SOP ref. no. SJR BAC-9825 | Com1 | Customer Lounge
BAC-00009832 | 11/28/2025 | 03:30 pm - 03:31 pm | LOTERIO | LAMATI-AN, WIENA | N/A, B18 L6, TOWN & COUNTRY WINDSOR, BRGY. MATAB-ANG, CITY OF TALISAY, NEGROS OCCIDENTAL | 0917-5700889 | KSM-IW15-WCT10M1M32 | Kimberlyn | ASIAN HOMES | INST | DC | C | For Installation | GAB Appliance Service Center - Bacolod |  | 1 | 11/28/2025 | 11/28/2025 12:00 am | 11/28/2025 12:00 am | Findings - N/A, Recommendation - N/A, Repair Done - INSTALLED | Com1 | E-mail
BAC-00009833 | 11/28/2025 | 03:35 pm - 03:35 pm | LOTERIO | LAMATI-AN, WIENA | N/A, B18 L6, TOWN & COUNTRY WINDSOR, BRGY. MATAB-ANG, CITY OF TALISAY, NEGROS OCCIDENTAL | 0917-5700889 | KSM-IW10-WCT10M1M32 | Kimberlyn | ASIAN HOMES | INST | DC | C | For Installation | GAB Appliance Service Center - Bacolod |  | 1 | 11/28/2025 | 11/28/2025 12:00 am | 11/28/2025 12:00 am | Findings - N/A, Recommendation - N/A, Repair Done - INSTALLED | Com1 | E-mail
BAC-00009834 | 11/28/2025 | 03:42 pm - 03:43 pm | LOTERIO | LAMATI-AN, WIENA | N/A, B18 L6, TOWN & COUNTRY WINDSOR, BRGY. MATAB-ANG, CITY OF TALISAY, NEGROS OCCIDENTAL | 0917-5700889 | KSM-IW15-WCT10M1M32 | Kimberlyn | ASIAN HOMES | INST | DC | C | For Installation | GAB Appliance Service Center - Bacolod |  | 1 | 11/28/2025 | 11/28/2025 12:00 am | 11/28/2025 12:00 am | Findings - N/A, Recommendation - N/A, Repair Done - INSTALLED | Com1 | E-mail
BAC-00009835 | 11/28/2025 | 03:46 pm - 03:47 pm | LOTERIO | LAMATI-AN, WIENA | N/A, B18 L6, TOWN & COUNTRY WINDSOR, BRGY. MATAB-ANG, CITY OF TALISAY, NEGROS OCCIDENTAL | 0917-5700889 | KSM-IW15-WCT10M1M32 | Kimberlyn | ASIAN HOMES | INST | DC | C | For Installation | GAB Appliance Service Center - Bacolod |  | 1 | 11/28/2025 | 11/28/2025 12:00 am | 11/28/2025 12:00 am | Findings - N/A, Recommendation - N/A, Repair Done - INSTALLED | Com1 | E-mail
BAC-00009836 | 11/28/2025 | 03:53 pm - 03:54 pm | LOTERIO | LAMATI-AN, WIENA | N/A, B18 L6, TOWN & COUNTRY WINDSOR, BRGY. MATAB-ANG, CITY OF TALISAY, NEGROS OCCIDENTAL | 0917-5700889 | KSM-IW20-WCT10M1M32 | Kimberlyn | ASIAN HOMES | INST | DC | C | For Installation | GAB Appliance Service Center - Bacolod |  | 1 | 11/28/2025 | 11/28/2025 12:00 am | 11/28/2025 12:00 am | Findings - N/A, Recommendation - N/A, Repair Done - INSTALLED | Com1 | E-mail
BAC-00009837 | 11/29/2025 | 01:40 pm - 01:44 pm | LOTERIO | ZOOM GAS CONSTRUCTION CORP | N/A, 29 SAN JUAN ST, N/A, Brgy. 10, BACOLOD CITY (Capital), VI: Western Visayas | 0995-3844991 | KSM-IW25-WCT10M1M32 | Edsiel Rose | APPLIANCE CENTRUM | INST | DC | C | For Installation | AMPS Refrigeration & Air-conditioning Services |  | 1 | 11/29/2025 | 11/29/2025 12:00 am | 11/29/2025 12:00 am | Findings - N/A, Recommendation - N/A, Repair Done - Installation Done | Com1 | E-mail
Legend:
PAO - Pick-up Admin Orders
DPO - Deliver of Dealer P.O.
DEF - Change Item
FAB - Fabrication of Bracket
CL - Copper Tube Claims
DEL - Delivery of Unit / Accessories
DSM - Dismantling
FPO - Unit for Pull-out
GC - General Cleaning
INST - Installation
MRK - Markings
PV - Project Visit
REP - Replacement as per dealer request
REPL - Replacement of Unit
SCF - Deliver / Pull-out of Scaffolding
SP - Sale of Parts
STU - Start-up
SVEY - Survey
TS - Troubleshooting
DIS - Dispose Parts
PGC - Pumpdown General Cleaning
Summary Per Job Type
JOB CLASS | CC | WI | BI | PO | FD | DC | RD | RM | TP | TOTAL
PAO | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DPO | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DEF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FAB | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CL | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DEL | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 2
DSM | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FPO | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1
GC | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1
INST | 0 | 0 | 0 | 0 | 0 | 60 | 0 | 0 | 0 | 60
MRK | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PV | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REP | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REPL | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SCF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SP | 0 | 24 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 25
STU | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SVEY | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TS | 0 | 0 | 1 | 0 | 15 | 30 | 0 | 0 | 0 | 46
DIS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PGC | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL | 0 | 25 | 1 | 0 | 18 | 91 | 0 | 0 | 0 | 135