## sjr_masterlist (7)
FROM : | 2025-01-11 | TO : | 11-30-2025
Location Warehouse : | CAGAYAN DE ORO BRANCH
User : | All User
SJR No. | SJR Date | SJR Start/End Time | CSR Code | Customer Name | Address | Contact No. | Model | Relayed By | Dealer | Job Class | Job Type | Wty Type | Complaint | Tech Name | SJR Notes | No. of Visit | Promised Date | Date Attended | Date Finished | Repair Done | Job Status | Call Origin
CDO-00010677 | 2025-03-11 | 08:20 am - 08:20 am | BACULIO | DAD'S & SON'S BARBERSHOP | , Rodolfo Pelaez Blvd., , Carmen, CAGAYAN DE ORO CITY (Capital), MISAMIS ORIENTAL | 0977-8145990 | KSM-IW25-WCT10M1M32 | Sol | MINDANAO SOLIDMARK | INST | DC | C | For Installation | CKF Ref & Airconditioning Services |  | 1 | 10/31/2025 | 10/31/2025 10:25 am | 10/31/2025 02:57 pm | Findings - Unit for Installation , Recommendation - Installation , Repair Done - Installed/Ok by Ckf | Com1 | E-mail
CDO-00010678 | 2025-03-11 | 08:26 am - 08:27 am | BACULIO | Gan, Luz | , Lobing Ogis, , Galas, DIPOLOG CITY (Capital), Zamboanga Del Norte | 0970-0394954 | KSM-IW10-WCT10M1M32 | Erlinda | MINDANAO SOLIDMARK | INST | DC | C | For Installation | J Airconditioning & Refrigeration Services |  | 1 | 10/31/2025 | 10/31/2025 09:30 am | 10/31/2025 03:30 pm | Findings - installation, Recommendation - Installation, Repair Done - Installation, & started up | Com1 | E-mail
CDO-00010679 | 2025-03-11 | 08:30 am - 08:31 am | BACULIO | Gan, Luz | , Lobing Ogis, , Galas, DIPOLOG CITY (Capital), Zamboanga Del Norte | 0970-0394954 | KSM-IW10-WCT10M1M32 | Erlinda | MINDANAO SOLIDMARK | INST | DC | C | For Installation | J Airconditioning & Refrigeration Services |  | 1 | 10/31/2025 | 10/31/2025 09:30 am | 10/31/2025 04:30 pm | Findings - installation, Recommendation - Installation, Repair Done - Installation,Started up | Com1 | E-mail
CDO-00010680 | 2025-03-11 | 08:34 am - 08:40 am | BACULIO | Madarieta, Gustavo Pocholo | , One Oasis LKKS Ave., , Camaman-an, CAGAYAN DE ORO CITY (Capital), MISAMIS ORIENTAL | 0917-6513143 | KSM-IW20-WCT10M1M32 | Sol | MINDANAO SOLIDMARK | INST | DC | C | For Installation | CKF Ref & Airconditioning Services |  | 1 | 10/31/2025 | 10/31/2025 01:52 pm | 10/31/2025 05:15 pm | Findings - UNIT FOR INSTALLATION , Recommendation - INSTALLATION , Repair Done - Installed/Ok by Ckf | Com1 | E-mail
CDO-00010681 | 2025-03-11 | 08:42 am - 08:42 am | BACULIO | Dy, Kyna Alexandra | , Block 1 Lot 78, Navona, Lumbia, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0917-7104213 | KSM-IW25-WCT10M1M32 | Jeanelyn | ASIAN HOMES | INST | DC | C | For Installation | BRO Refrigeration and Air-conditioning Services |  | 1 | 10/31/2025 | 10/31/2025 05:00 pm | 10/31/2025 09:00 pm | Findings - For installation, Recommendation - For installation, Repair Done - Installation done. Unit ok | Com1 | E-mail
CDO-00010682 | 2025-03-11 | 01:42 pm - 01:42 pm | BACULIO | Donio, Mitchie | , , Purok 5, Poblacion, LINAMON, LANAO DEL NORTE | 0905-6415378 | KSG-IWF-15WFY-8K1M32-I | Jessa | VIC IMPERIAL APP | INST | DC | C | For Installation | Flerics Appliance Service Center |  | 1 | 2025-03-11 | 2025-03-11 10:00 | 2025-03-11 16:00 | Findings - AC INSTALLATION, Recommendation - AC INSTALLATION, Repair Done - DONE INSTALLATION | Com1 | E-mail
CDO-00010683 | 2025-03-11 | 01:49 pm - 01:59 pm | BACULIO | Balignot, Gerald Louie | , Block 15 Lot 21 & 23, Oman St., BCC Homes, Damilag, MANOLO FORTICH, Bukidnon | 0936-7326097 | KSM-IW20-WCT10M1M32 | Jeanelyn | ASIAN HOMES | INST | DC | C | For Installation | BRO Refrigeration and Air-conditioning Services |  | 1 | 2025-03-11 | 2025-03-11 12:00 | 2025-03-11 17:00 | Findings - For installation, Recommendation - For installation, Repair Done - Installation done. Unit ok | Com1 | E-mail
CDO-00010684 | 2025-04-11 | 11:12 am - 11:15 am | BACULIO | Kedyam, Charlie | , , , Libertad, BUTUAN CITY (Capital), Agusan Del Norte | 0927-2552529 | KEA-25BWR | Jane | MINDANAO SOLIDMARK | TS | FD | W | No Power Supply | Queenkrist Ref & Aircon Parts & Services | Parts pouch thru LBC 81203128422 11-4-2025 | 2 | 2025-10-11 | 2025-08-11 08:30 | 2025-08-11 09:10 | Findings - NO POWER, Recommendation - REQUESTED CONTROL BOARD, Repair Done - REPLACED CONTROL BOARD, UNIT OK! | Com1 | Second Action
CDO-00010685 | 2025-04-11 | 11:39 am - 11:41 am | BACULIO | Uson, Aljan | , , Camella Cerritos, Canitoan, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0935-4727198 | KWD-BLC-2088B | Jane | MINDANAO SOLIDMARK | TS | BI | W | Dripping/ Water Leak | John Donguines | Leaking on tank, replaced already by Dealer 1 day from DOP | 1 | 2025-04-11 | 2025-04-11 11:04 | 2025-04-11 11:55 | Findings - Leaking on tank, Recommendation - Unrepairable unit, with incident report and C.M form from dealer, Repair Done - Check up only | Com2 | Customer Lounge
CDO-00010686 | 2025-04-11 | 12:06 pm - 12:07 pm | BACULIO | Olvis, Jujita | 068, Gen. Luna St., , Estaka, DIPOLOG CITY (Capital), ZAMBOANGA DEL NORTE | 0977-7507166 | KSM-IW20-WCT10M1M32 | John Maico | EMCOR INC. | INST | DC | C | For Installation | Emcor - CDO |  | 1 | 2025-04-11 | 2025-04-11 03:00 | 2025-04-11 17:00 | Findings - For installation, Recommendation - For installation, Repair Done - Installation done. Unit ok | Com1 | E-mail
CDO-00010687 | 2025-04-11 | 12:14 pm - 12:16 pm | BACULIO | Suyao, Jerry | , , , Indahag, CAGAYAN DE ORO CITY (Capital), MISAMIS ORIENTAL | 0917-1818189 | KSM-IW25-WCT10M1M32 | Sol | MINDANAO SOLIDMARK | INST | DC | C | For Installation | CKF Ref & Airconditioning Services |  | 1 | 2025-04-11 | 2025-04-11 10:20 | 2025-04-11 14:47 | Findings - UNIT FOR INSTALLATION , Recommendation - INSTALLATION, Repair Done - INSTALLED/OK BY CKF | Com1 | E-mail
CDO-00010688 | 2025-04-11 | 04:58 pm - 04:58 pm | BACULIO | JAICTIN, CHERRY MAE | PRK. PECHAY , NEW TAMBO, NEW TAMBO, KATIPUNAN , KATIPUNAN, ZAMBOANGA DEL NORTE | 0912-9735763 | KSM-IW20-WCT10M1M32 | John Maico | EMCOR INC. | INST | DC | C | For Installation | Emcor - CDO |  | 1 | 2025-04-11 | 2025-05-11 09:00 | 2025-05-11 12:00 | Findings - Installation, Recommendation - INSTALLATION, Repair Done - DONE INSTALL UNIT | Com1 | E-mail
CDO-00010689 | 2025-04-11 | 05:01 pm - 05:02 pm | BACULIO | JAICTIN, CHERRY MAE | PRK. PECHAY , NEW TAMBO, NEW TAMBO, KATIPUNAN , KATIPUNAN, ZAMBOANGA DEL NORTE | 0912-9735763 | KLG-IF40-5G1M32-I | John Maico | EMCOR INC. | INST | DC | C | For Installation | Emcor - CDO |  | 2 | 2025-05-11 | 2025-04-11 03:00 | 2025-04-11 17:00 | Findings - For installation, Recommendation - For installation, Repair Done - Installation done. Unit ok | Com1 | E-mail
CDO-00010690 | 2025-05-11 | 08:59 am - 09:00 am | BACULIO | ZYGNATURE | , , , Ampayon, BUTUAN CITY (Capital), AGUSAN DEL NORTE | 0965-7461734 | KSM-IW25-WCT10M1M32 | Melanie | ROBINSONS | INST | DC | C | For Installation | Queenkrist Ref & Aircon Parts & Services |  | 1 | 2025-05-11 | 2025-05-11 09:00 | 2025-05-11 12:00 | Findings - N/A, Recommendation - FOR INSTALLATION, Repair Done - INSTALLATION | Com1 | E-mail
CDO-00010691 | 2025-05-11 | 09:13 am - 09:14 am | BACULIO | GAB Air Conditioning | , 2nd cor 19 st, , Nazareth, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0997-2078111 | n/a |  |  | SP | WI | COS | Sales of Parts |  |  |  | 2025-05-11 | 2025-05-11 09:16 | 2025-05-11 09:18 | Findings - Sale of parts, Recommendation - , Repair Done - Sale of parts Temp. sensor assy indoor | Com1 | Customer Lounge
CDO-00010692 | 2025-05-11 | 09:23 am - 09:24 am | BACULIO | Ree Cooling Services | , Lot 4A, Zone 1, Divisoria, ZAMBOANGA CITY, Zamboanga del Sur | 0926-4415918 | n/a |  |  | SP | WI | COS | Sales of Parts |  |  |  | 2025-05-11 | 2025-05-11 09:26 | 2025-05-11 09:28 | Findings - Sale of parts, Recommendation - , Repair Done - Sale of parts Anti-freeze | Com1 | Customer Lounge
CDO-00010693 | 2025-05-11 | 09:33 am - 09:34 am | BACULIO | FB Budgetel Corp. | , , , Nazareth, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0917-7051451 | KFM-400GF1INV |  |  | SP | WI | COS | Sales of Parts |  |  |  | 2025-05-11 | 2025-05-11 09:36 | 2025-05-11 09:38 | Findings - Sale of parts, Recommendation - , Repair Done - Sale of parts filter net | Com1 | Customer Lounge
CDO-00010694 | 2025-05-11 | 02:48 pm - 02:52 pm | BACULIO | Kolin CDO Service Center | Door #3 D'Oro Land Building, Julio Pacana Street, , Puntod, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0917-3256171 | KAM-55CMC32 | Jane |  | MRK | TP | N/A | Others | John Donguines | Replacement of Damage Box, stock unit (2) |  | 2025-05-11 | 2025-05-11 14:55 | 2025-05-11 14:57 | Findings - Damage box upon delivery of FL Cargo, Recommendation - Replaced Box 2 , Repair Done - Replaced Box 2 unit with Serial # 13932406-62341;61977 | Com1 | Inter-office
CDO-00010695 | 2025-05-11 | 02:52 pm - 02:54 pm | BACULIO | Kolin CDO Service Center | Door #3 D'Oro Land Building, Julio Pacana Street, , Puntod, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0917-3256171 | KPA-150R15D410 | Jane |  | MRK | TP | N/A | Others | John Donguines | Replacement of damage box, stock unit (2) |  | 2025-05-11 | 2025-05-11 15:05 | 2025-05-11 15:07 | Findings - Damage box upon delivery of FL Cargo, Recommendation - Replaced Box 2 pcs, Repair Done - Replaced Box with Serial # 24022312-10337;10123 | Com1 | Inter-office
CDO-00010696 | 2025-05-11 | 03:15 pm - 03:15 pm | BACULIO | Mangondato, Sonora | , Camulla Homes Lotus St., , Upper Balulang, CAGAYAN DE ORO CITY (Capital), MISAMIS ORIENTAL | 0945-7392773 | KSM-IW20-WCT10M1M32 | Sol | MINDANAO SOLIDMARK | INST | DC | C | For Installation | CKF Ref & Airconditioning Services |  | 1 | 2025-05-11 | 2025-05-11 14:30 | 2025-05-11 17:45 | Findings - UNIT FOR INSTALLATION , Recommendation - INSTALLATION, Repair Done - INSTALLED/OK BY CKF | Com1 | E-mail
CDO-00010697 | 2025-06-11 | 09:36 am - 09:37 am | BACULIO | Tebalan, Mildred | , , , Maigo, ILIGAN CITY, Lanao del Norte | 0910-6207402 | KSM-IW10-WCT10M1M32 | Jessa | MINDANAO SOLIDMARK | INST | DC | C | For Installation | Flerics Appliance Service Center |  | 1 | 2025-06-11 | 2025-06-11 14:40 | 2025-06-11 16:45 | Findings - AC INSTALLATION, Recommendation - AC INSTALLATION, Repair Done - DONE INSTALLATION | Com1 | E-mail
CDO-00010698 | 2025-06-11 | 11:29 am - 11:30 am | BACULIO | Universidad De Zamboanga | Universidad De Zamboanga Bldg, Gov. Lim Ave., ZC, Barangay Zone IV , District 2, ZAMBOANGA CITY, Zamboanga Del Sur | 0975-0342807 | KAG-250WCINV | Val | NATIONAL COMMERCIAL | TS | DC | W | E6 Error Code | National Commercial Service Team | Received calls from UZ Staff dated October 29, 2025 at around 1:43PM, informing that 2units of Window 2.5HP Inverter are not working, unfortunately not able to check that day due to unavailability of technicians and able to check the unit the next day and found out defective board. | 1 | 10/30/2025 | 10/30/2025 01:47 pm | 10/30/2025 03:13 pm | Findings - Defective Board, Recommendation - Relace new Board, Repair Done - Unit checked & waiting for the parts to arrive. | Inc-06 | E-mail
CDO-00010699 | 2025-06-11 | 11:37 am - 11:38 am | BACULIO | Universidad De Zamboanga | Universidad De Zamboanga Bldg, Gov. Lim Ave., ZC, Barangay Zone IV , District 2, ZAMBOANGA CITY, Zamboanga Del Sur | 0975-0342807 | KAG-250WCINV | Val | NATIONAL COMMERCIAL | TS | DC | W | E6 Error Code | National Commercial Service Team |  | 1 | 10/30/2025 | 10/30/2025 01:47 pm | 10/30/2025 03:13 pm | Findings - Defective Board, Recommendation - for Replace new Board, Repair Done - Check unit & waiting for the parts | Inc-06 | E-mail
CDO-00010700 | 2025-06-11 | 01:07 pm - 01:07 pm | BACULIO | Calina, Dexter | , Zone 1, Upper Bantiles, Bugo, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0997-8356878 | n/a |  |  | SP | WI | COS | Sales of Parts |  |  |  | 2025-06-11 | 2025-06-11 13:09 | 2025-06-11 13:11 | Findings - Sale of parts, Recommendation - , Repair Done - Sale of parts Capacitor motor | Com1 | Customer Lounge
CDO-00010701 | 2025-06-11 | 01:16 pm - 01:17 pm | BACULIO | CKF Ref & Airconditioning Services | , B6 L24 Ph3, Villa Trinitas, Bugo, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0965-23160108 | n/a |  |  | SP | WI | COS | Sales of Parts |  |  |  | 2025-06-11 | 2025-06-11 13:18 | 2025-06-11 13:20 | Findings - Sale of parts, Recommendation - , Repair Done - Sale of parts Fan motor Outdoor | Com1 | Customer Lounge
CDO-00010702 | 2025-06-11 | 02:55 pm - 02:55 pm | BACULIO | BRO Refrigeration & Airconditioning Services | , Zone 2 A , Sto. Niño Vill., Baluarte, TAGOLOAN, Misamis Oriental | 0935-4044108 | n/a |  |  | SP | WI | COS | Sales of Parts |  |  |  | 2025-06-11 | 2025-06-11 14:28 | 2025-06-11 15:00 | Findings - sale of parts , Recommendation - , Repair Done - Sale of parts Remote Control | Com1 | Customer Lounge
CDO-00010703 | 2025-06-11 | 03:47 pm - 03:50 pm | BACULIO | Universidad De Zamboanga | Universidad De Zamboanga Bldg, Gov. Lim Ave., ZC, Barangay Zone IV , District 2, ZAMBOANGA CITY, Zamboanga Del Sur | 0975-0342807 | KAG-250WCINV | Jane | NATIONAL COMMERCIAL | TS | FD | W | E6 Error Code | National Commercial Service Team | Parts for pouch thru LBC 81203128424 11-7-2025 | 2 | 2025-12-11 | 11/14/2025 01:53 pm | 11/14/2025 03:13 pm | Findings - Defective Board, Recommendation - Relace new Board, Repair Done - Unit replaced w/ new PCB & now unit is working but not yet installed to UZ School due to its AC outlet w/c we requested to change it w/ 3prong straight type. | Inc-25 | Second Action
CDO-00010704 | 2025-06-11 | 03:26 pm - 03:51 pm | BACULIO | Widgets Appliance Service Center | , Purok Manga, , Tuburan, PAGADIAN CITY (Capital), Zamboanga Del Sur | 0970-5832605 | n/a |  |  | SP | WI | COS | Sales of Parts |  |  |  | 2025-06-11 | 2025-06-11 15:52 | 2025-06-11 15:54 | Findings - Sale of parts, Recommendation - , Repair Done - Sale of parts PCB Assembly | Com1 | Customer Lounge
CDO-00010705 | 2025-06-11 | 03:50 pm - 03:57 pm | BACULIO | Universidad De Zamboanga | Universidad De Zamboanga Bldg, Gov. Lim Ave., ZC, Barangay Zone IV , District 2, ZAMBOANGA CITY, Zamboanga Del Sur | 0975-0342807 | KAG-250WCINV | Jane | NATIONAL COMMERCIAL | TS | FD | W | E6 Error Code | National Commercial Service Team | Parts pouch trhu LBC 8123128425 11-7-2025 | 2 | 2025-12-11 | 11/14/2025 01:53 pm | 11/14/2025 04:15 pm | Findings - Defective Board, Recommendation - Relace new Board, Repair Done - already replaced w/ new board and unit tested ok but not able to install the unit due to their Ac outlet which is still the same , we requested to change their outlet to 3prongs straight. | Inc-25 | Second Action
CDO-00010706 | 2025-07-11 | 08:12 am - 08:14 am | BACULIO | Ismael, Fernaida | , Sunrise St. Daisy Road, , Guiwan, ZAMBOANGA CITY, ZAMBOANGA DEL SUR | 0977-4760156 | KSM-IW15-WCT10M1M32 | Desiree | PRICEWISE MARKETING CORP | INST | DC | C | For Installation | Marjon Cool Ref. & Aircon Service Center Co. |  | 1 | 2025-04-11 | 2025-04-11 10:00 | 2025-04-11 16:00 | Findings - for Install, Recommendation - FOR INSTALLATION, Repair Done - installed both indoor and outdoor unit,late encode due to incharge onleave | Com1 | E-mail
CDO-00010707 | 2025-07-11 | 11:10 am - 11:12 am | BACULIO | Ismael, Fernaida | , Sunrise St. Daisy Road, , Guiwan, ZAMBOANGA CITY, ZAMBOANGA DEL SUR | 0977-4760156 | KSM-IW15-WCT10M1M32 | Jane | PRICEWISE MARKETING CORP | TS | FD | W | Water Dripping | Marjon Cool Ref. & Aircon Service Center Co. | Relayed to Marjon ASP | 1 | 2025-08-11 | 2025-08-11 09:30 | 2025-08-11 10:30 | Findings - Leaking on indoor fittings, Recommendation - Tighten fittings, Repair Done - Tighten fittings | Com1 | Tele-survey Feedback
CDO-00010708 | 2025-07-11 | 12:28 pm - 12:28 pm | BACULIO | Ilano, Sofia | , Bacud, , Brgy. Luna, SURIGAO CITY (Capital), Surigao Del Norte | 0950-6717417 | KSM-IW20-WCT10M1M32 | Melanie | MINDANAO SOLIDMARK | INST | DC | C | For Installation | Queenkrist Ref & Aircon Parts & Services |  | 1 | 2025-07-11 | 2025-07-11 13:00 | 2025-07-11 15:00 | Findings - UNIT FOR INSTALL, Recommendation - INSTALLATION, Repair Done - DONE INSTALL | Com1 | E-mail
CDO-00010709 | 2025-07-11 | 12:31 pm - 12:32 pm | BACULIO | Ilano, Sofia | , Bacud, , Brgy. Luna, SURIGAO CITY (Capital), Surigao Del Norte | 0950-6717417 | KSM-IW20-WCT10M1M32 | Melanie | MINDANAO SOLIDMARK | INST | DC | C | For Installation | Queenkrist Ref & Aircon Parts & Services |  | 1 | 2025-07-11 | 2025-07-11 15:00 | 2025-07-11 17:00 | Findings - UNIT FOR INSTALL, Recommendation - INSTALLATION, Repair Done - DONE INSTALL | Com1 | E-mail
CDO-00010710 | 2025-07-11 | 04:25 pm - 04:26 pm | BACULIO | Sarador, Jeffrey | , B9 - L11 LA MIRANDE CREST , GRAN EUROPA , LUMBIA , CAGAYAN DE ORO CITY (Capital), MISAMIS ORIENTAL | 0916-5369740 | KSM-IW10-WCT10M1M32 | Sol | MINDANAO SOLIDMARK | INST | DC | C | For Installation | CKF Ref & Airconditioning Services |  | 1 | 2025-07-11 | 2025-07-11 13:20 | 2025-07-11 16:12 | Findings - UNIT FOR INSTALLATION , Recommendation - INSTALLATION , Repair Done - INSTALLED/OK BY CKF | Com1 | E-mail
CDO-00010711 | 2025-07-11 | 04:32 pm - 04:33 pm | BACULIO | Lagutin, Candelaria | , , , Sto. Tomas, MUTIA, ZAMBOANGA DEL NORTE | 0930-6183481 | KSM-IW10-WCT10M1M32 | John Maico | EMCOR INC. | INST | DC | C | For Installation | Emcor - CDO |  | 1 | 2025-07-11 | 2025-07-11 14:00 | 2025-07-11 16:00 | Findings - For installation, Recommendation - For installation, Repair Done - DONE INSTAL UNIT | Com1 | E-mail
CDO-00010712 | 2025-08-11 | 11:40 am - 11:40 am | BACULIO | Sagrado, Jocelyn | , , , Bulua, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0967-7769947 | KSM-IW15-WCT10M1M32 | Jeanelyn | ASIAN HOMES | INST | DC | C | For Installation | BRO Refrigeration and Air-conditioning Services |  | 1 | 2025-07-11 | 2025-07-11 17:00 | 2025-07-11 19:30 | Findings - For installation, Recommendation - For installation, Repair Done - Installation done. Unit ok | Com1 | E-mail
CDO-00010713 | 2025-10-11 | 08:40 am - 08:41 am | BACULIO | Hullanes, Carlo | , B-12 L-12, Adelaide subd., Xavier Estates, Upper Balulang, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0917-1300795 | KSG-IWF-20WFY-8K1M32-I | Jeanelyn | MINDANAO SOLIDMARK | INST | DC | C | For Installation | BRO Refrigeration and Air-conditioning Services |  | 1 | 2025-09-11 | 2025-09-11 11:00 | 2025-09-11 14:00 | Findings - For installation, Recommendation - Installing aircon split type, Repair Done - Installation done. Unit ok | Com1 | E-mail
CDO-00010714 | 2025-10-11 | 10:40 am - 10:41 am | BACULIO | Latip, Madzkan | , Aljahara St. Veterans, , Tetuan, ZAMBOANGA CITY, ZAMBOANGA DEL SUR | 0976-5218715 | KAM-95CMC32 | Desiree | PRICEWISE MARKETING CORP | TS | DC | P | Not Cooling | Marjon Cool Ref. & Aircon Service Center Co. | NACHECK NA PO ANG UNIT NI CUSTOMER NUNG OCT 22 PERO WALA PA SILANG RESIBO THAT TIME, NUNG SATURDAY LANG NAMIN NAKUHA ANG RESIBO NOV 8, 2025. | 1 | 2025-08-11 | 2025-08-11 10:15 | 2025-08-11 10:45 | Findings - NOT COOLING, Recommendation - REPLACED STUCK UP COMPRESSOR, Repair Done - CHECK UP, NEED PARTS | Inc-06 | E-mail
CDO-00010715 | 2025-10-11 | 01:20 pm - 01:21 pm | BACULIO | Agad, Merlyn | , Mabuhay Hills, Zone 5, , Upper Bulua, CAGAYAN DE ORO CITY (Capital), MISAMIS ORIENTAL | 0936-1849348 | KSM-IW20-WCT10M1M32 | Sol | MINDANAO SOLIDMARK | INST | DC | C | For Installation | CKF Ref & Airconditioning Services |  | 1 | 2025-10-11 | 2025-10-11 10:50 | 2025-10-11 15:15 | Findings - UNIT FOR INSTALLATION , Recommendation - INSTALLATION , Repair Done - INSTALLED/OK BY CKF | Com1 | E-mail
CDO-00010716 | 2025-10-11 | 01:29 pm - 01:29 pm | BACULIO | Lizardo, Eleonor | , , Barangay Lunzuran , Lunzuran, ZAMBOANGA CITY, Zamboanga Del Sur | 0917-7772322 | KSM-IW25-WCT10M1M32 | Val | NATIONAL COMMERCIAL | TS | DC | W | Not Cooling | National Commercial Service Team | upon check up made found out that the setting is incorrect, and so our technician informed and teach the Mrs Eleanor the correct setting of the unit. | 1 | 2025-10-11 | 2025-10-11 10:45 | 2025-10-11 11:27 | Findings - Wrong setting, Recommendation - Teach the customer with the correct setting of the unit., Repair Done - Re-set the unit | Com1 | E-mail
CDO-00010717 | 2025-10-11 | 01:49 pm - 01:55 pm | BACULIO | Lamparas, Jo Mariel | , J.Clarin St., , Pob. 1, OROQUIETA CITY (Capital), Misamis Occidental | 0976-082746 | KAG-100WCINV | Jane | MINDANAO SOLIDMARK | TS | FD | C | Auto On / Off | JRH Ref & Electronics Services | Parts for pouch thru LBC 11-11-2025 | 1 | 11/15/2025 | 11/15/2025 01:05 pm | 11/15/2025 01:55 pm | Findings - DEFECTIVE Display BOARD AND DIRTY UNIT, Recommendation - FOR REPLACEMENT OF BOARD AND FOR CLEANING , Repair Done - Replaced display, unit okay, for cleaning schedule on 11-17-2025 | Inc-25 | Social Media
CDO-00010718 | 2025-10-11 | 03:13 pm - 03:13 pm | BACULIO | TAÑEDO , JERRY ANTHONY | , , , BANGONTAAS, CITY OF VALENCIA, BUKIDNON | 0956-5010070 | KSM-IW10-WCT10M1M32 | Roselle | ROBINSONS | INST | DC | C | For Installation | Gab Appliance Service Center - CDO |  | 1 | 2025-10-11 | 2025-10-11 09:00 | 2025-10-11 14:00 | Findings - For installation , Recommendation - Unit ready to install , Repair Done - Unit installation | Com1 | E-mail
CDO-00010719 | 2025-10-11 | 03:17 pm - 03:18 pm | BACULIO | Unnoh, Shermalyn | , , , Tugbungan, ZAMBOANGA CITY, Zamboanga del Sur | 0967-3642229 | KSM-IW15-WCT10M1M32 | Val | NATIONAL COMMERCIAL | TS | DC | W | Not Cooling | National Commercial Service Team | Upon check up made found out insufficient refrigerant. | 1 | 2025-07-11 | 2025-08-11 13:39 | 2025-08-11 14:43 | Findings - Insufficient Refrigerant, Recommendation - Add / Recharge with R-32 Refrigerant, Repair Done - Recharge with Refrigerant R-32 | Com1 | E-mail
CDO-00010720 | 2025-10-11 | 04:24 pm - 04:24 pm | BACULIO | Sembria, Jean Ann | , , Zone 5, Tablon, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0917-1631963 | KSM-IW15-WCT10M1M32 | Jeanelyn | ASIAN HOMES | INST | DC | C | For Installation | BRO Refrigeration and Air-conditioning Services |  | 1 | 2025-10-11 | 2025-10-11 16:00 | 2025-10-11 20:00 | Findings - For installation, Recommendation - Installing aircon split type, Repair Done - Installation done. Unit ok | Com1 | E-mail
CDO-00010721 | 2025-11-11 | 11:12 am - 11:13 am | BACULIO | Balignot, Gerald Louie | , Block 15 Lot 21 & 23, Oman St., BCC Homes, Damilag, MANOLO FORTICH, Bukidnon | 0936-7326097 | KSM-IW20-WCT10M1M32 | Jeanelyn | ASIAN HOMES | TS | DC | W | Not Cooling | BRO Refrigeration and Air-conditioning Services |  | 1 | 2025-11-11 | 2025-11-11 09:45 | 2025-11-11 10:15 | Findings - Evaporator Leak, Recommendation - Indoor unit replacement- customer refused for a parts replacement., Repair Done - Troubleshoot, for approval/ evaluation | Inc-17 | E-mail
CDO-00010722 | 2025-11-11 | 03:11 pm - 03:11 pm | BACULIO | MACABODBOD, ANTONIETA | , , , AGUSAN, CAGAYAN DE ORO CITY (Capital), MISAMIS ORIENTAL | 0926-1541661 | KSM-IW10-WCT10M1M32 | Rosselyn | ABENSON INC. | INST | DC | C | For Installation | Gab Appliance Service Center - CDO | For installation / Unit okey | 1 | 10/21/2025 | 10/21/2025 03:00 pm | 10/21/2025 06:30 pm | Findings - For installation , Recommendation - Unit ready to install , Repair Done - Unit installation,late generated overlooked by BOA | Com1 | E-mail
CDO-00010723 | 2025-11-11 | 04:20 pm - 04:22 pm | BACULIO | Rivera, Jan Joseph | , #290 Zone 4, , Iponan, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0917-6513322 | KSM-IW15-WCT10M1M32 | Jane | EMCOR INC. | TS | FD | W | Insufficient Cooling | BRO Refrigeration and Air-conditioning Services | Relayed to Bro ASC, for check up | 1 | 2025-12-11 | 2025-12-11 14:45 | 2025-12-11 17:00 | Findings - Copper pipe leaked, Recommendation - Need new copper pipe for replacement, Repair Done - Troubleshoot | Inc-25 | E-mail
CDO-00010724 | 2025-11-11 | 05:03 pm - 05:03 pm | BACULIO | Rosalita, Glessy | , , Mahayag, Agusan, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0963-1342726 | KSM-IW25-WCT10M1M32 | Jeanelyn | ASIAN HOMES | INST | DC | C | For Installation | BRO Refrigeration and Air-conditioning Services |  | 1 | 2025-11-11 | 2025-11-11 15:30 | 2025-11-11 18:00 | Findings - For installation, Recommendation - For installation, Repair Done - Installation done. Unit ok | Com1 | E-mail
CDO-00010725 | 2025-12-11 | 09:02 am - 09:03 am | BACULIO | Salayog, Ezra Nyle | , B3 L3 P-6 Dayyo, County Homes, Poblacion, CITY OF VALENCIA, Bukidnon | 0962-8245057 | KSM-IW15-WCT10M1M32 | Roselle | ROBINSONS | INST | DC | C | For Installation | Gab Appliance Service Center - CDO |  | 1 | 2025-11-11 | 2025-11-11 15:00 | 2025-11-11 18:00 | Findings - For installation , Recommendation - Unit ready to install , Repair Done - Done installation | Com1 | E-mail
CDO-00010726 | 2025-12-11 | 01:39 pm - 01:41 pm | BACULIO | Hambre , Zahra Janell | , B8 L12 , Philamlife Village, , CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0905-0496827 | KSM-IW10-WCT10M1M32 | Roselle | ROBINSONS | INST | DC | C | For Installation | Gab Appliance Service Center - CDO |  | 1 | 2025-12-11 | 2025-12-11 16:40 | 2025-12-11 19:40 | Findings - FOR AC INSTALLATION, Recommendation - for installation, Repair Done - AC Installation, unit okay | Com1 | E-mail
CDO-00010727 | 2025-12-11 | 02:28 pm - 02:28 pm | BACULIO | SALETRERO, RITCHE A | , , , KAUSWAGAN, CAGAYAN DE ORO CITY (Capital), PH-MSR | 0956-1864068 | KSM-IW10-WCT10M1M32 | Genryl | EMCOR INC. | INST | DC | C | For Installation | Emcor - CDO |  | 1 | 2025-01-10 | 2025-01-10 09:00 | 2025-01-10 13:00 | Findings - AIRCON INSTALLATION, Recommendation - AIRCON INSTALLATION, Repair Done - AIRCON INSTALLATION, late controlled | Com1 | E-mail
CDO-00010728 | 2025-12-11 | 02:33 pm - 02:34 pm | BACULIO | BURAY, JUFIL | , Z1 Lanao, , ALUBIJID, ALUBIJID, PH-MSR | 0956-1864068 | KSM-IW10-WCT10M1M32 | Genryl | EMCOR INC. | INST | DC | C | For Installation | Emcor - CDO |  | 1 | 2025-04-10 | 2025-04-10 09:00 | 2025-04-10 13:00 | Findings - AIRCON INSTALLATION, Recommendation - AIRCON INSTALLATION, Repair Done - AIRCON INSTALLATION, late controlled | Com1 | E-mail
CDO-00010729 | 2025-12-11 | 02:46 pm - 02:46 pm | BACULIO | JAVATE, VERNEY | , , , LUMBIA, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0964-9878567 | KSM-IW15-WCT10M1M32 | Genryl | EMCOR INC. | INST | DC | C | For Installation | Emcor - CDO |  | 1 | 10/14/2025 | 10/14/2025 09:00 am | 10/14/2025 01:00 pm | Findings - AIRCON INSTALLATION, Recommendation - AIRCON INSTALLATION, Repair Done - AIRCON INSTALLATION | Com1 | E-mail
CDO-00010730 | 2025-12-11 | 02:57 pm - 02:58 pm | BACULIO | GERLOFF MAKEUP CAFE & PHOTOGRAPHY STUDIO | GONZAGA BLDG. 2ND FLOOR GERLOFF STUDIO, PUEBLO DE ORO BUSINESS PARK, 11 REGATTA BLVD. , N/A, UPPER CRAMEN , CAGAYAN DE ORO CITY (Capital), MISAMIS ORIENTAL | 0965-5346099 | KSM-IW20-WCT10M1M32 | Sol | MINDANAO SOLIDMARK | INST | DC | C | For Installation | CKF Ref & Airconditioning Services |  | 1 | 2025-12-11 | 2025-12-11 11:10 | 2025-12-11 15:05 | Findings - UNIT FOR INSTALLATION , Recommendation - INSTALLATION , Repair Done - INSTALLED/OK BY CKF | Com1 | E-mail
CDO-00010731 | 2025-12-11 | 03:03 pm - 03:03 pm | BACULIO | CENA, SHERWIN DON | , , REGENCY , IPONAN, CAGAYAN DE ORO CITY (Capital), PH-MSR | 0917-5037884 | KSM-IW15-WCT10M1M32 | Genryl | EMCOR INC. | INST | DC | C | For Installation | Emcor - CDO |  | 1 | 2025-09-10 | 2025-09-10 09:00 | 2025-09-10 13:00 | Findings - AIRCON INSTALLATION, Recommendation - AIRCON INSTALLATION, Repair Done - AIRCON INSTALLATION | Com1 | E-mail
CDO-00010732 | 2025-12-11 | 03:12 pm - 03:12 pm | BACULIO | ENCISO, APRIL THERESE | 366 ZONE 1 , SAN PEDRO ST. , , KAUSWAGAN, CAGAYAN DE ORO CITY (Capital), PH-MSR | 0917-5037884 | KSG-IWF-15WFY-8K1M32-I | Genryl | EMCOR INC. | INST | DC | C | For Installation | Emcor - CDO |  | 1 | 10/20/2025 | 10/20/2025 09:00 am | 10/20/2025 01:00 pm | Findings - AIRCON INSTALLATION, Recommendation - AIRCON INSTALLATION, Repair Done - AIRCON INSTALLATION | Com1 | E-mail
CDO-00010733 | 2025-12-11 | 04:01 pm - 04:02 pm | BACULIO | Dagicheban, Johari | , NHA Phase 1 Mercadal Comp., , Kauswagan, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0970-0346710 | KSG-IWF-10WFY-8K1M32-I | Jane | ROBINSONS | PGC | FD | C | For GC | Gab Appliance Service Center - CDO | Relayed to GAB ASC, for cleaning pump down | 1 | 11/15/2025 | 11/15/2025 10:00 am | 11/15/2025 03:55 pm | Findings - Unit Dirty, low cooling uneven airflow, Recommendation - for pumpdown cleaning, Repair Done - Pumpdown gen. cleaning | Com1 | Social Media
CDO-00010734 | 11/13/2025 | 09:19 am - 09:19 am | BACULIO | Hambre , Zahra Janell | , B8 L12 , Philamlife Village, , CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0905-0496827 | KSM-IW10-WCT10M1M32 | Roselle | ROBINSONS | INST | DC | C | For Installation | Gab Appliance Service Center - CDO |  | 1 | 2025-12-11 | 11/13/2025 09:30 am | 11/13/2025 09:31 am | Findings - , Recommendation - refer to SJR CDO-00010726 , Repair Done - Cancelled User Error Double entry/encode | NSC12 | E-mail
CDO-00010735 | 11/13/2025 | 04:15 pm - 04:16 pm | BACULIO | FERNANDEZ, JOSEPHEN | P4, N/A, N/A, CANIOGAN, TUBOD, LANAO DEL NORTE | 0955-8031144 | KSG-IWF-10WFY-8K1M32-I | Bernabe | MINDANAO SOLIDMARK | INST | DC | C | For Installation | Widgets | Complete Installation 11/05/2025 | 1 | 2025-05-11 | 2025-05-11 09:00 | 2025-05-11 | Findings - For Installation, Recommendation - Request Installation, Repair Done - Complete Installation / Unit OK | Com1 | E-mail
CDO-00010736 | 11/13/2025 | 04:40 pm - 04:41 pm | BACULIO | RAGE ZONE CDO | Ragezone commercial Bldg. , Abejuela St., , DVSORIA, CAGAYAN DE ORO CITY (Capital), MISAMIS ORIENTAL | 0905-4803635 | KSM-IW10-WCT10M1M32 | Roselle | ROBINSONS | INST | DC | C | For Installation | Gab Appliance Service Center - CDO |  | 1 | 11/13/2025 | 11/13/2025 09:40 am | 11/13/2025 08:30 pm | Findings - For Installation, Recommendation - Unit Ready to install , Repair Done - Done Installed | Com1 | E-mail
CDO-00010737 | 11/13/2025 | 04:47 pm - 04:47 pm | BACULIO | RAGE ZONE CDO | Ragezone commercial Bldg. , Abejuela St., , DVSORIA, CAGAYAN DE ORO CITY (Capital), MISAMIS ORIENTAL | 0905-4803635 | KSM-IW10-WCT10M1M32 | Roselle | ROBINSONS | INST | DC | C | For Installation | Gab Appliance Service Center - CDO |  | 1 | 11/13/2025 | 11/13/2025 09:40 am | 11/13/2025 08:30 pm | Findings - For Installation , Recommendation - Unit Ready to install, Repair Done - Done installation | Com1 | E-mail
CDO-00010738 | 11/14/2025 | 09:34 am - 09:34 am | BACULIO | M and O Aluminum Co. | , , , Villa Rosario, TAGOLOAN, Misamis Oriental | 0905-8824238 | KSM-IW15-WCT10M1M32 | Jeanelyn | ASIAN HOMES | INST | DC | C | For Installation | BRO Refrigeration and Air-conditioning Services |  | 1 | 11/14/2025 | 11/14/2025 09:30 am | 11/14/2025 12:00 pm | Findings - For installation, Recommendation - For installation, Repair Done - Installation done. Unit ok | Com1 | E-mail
CDO-00010739 | 11/14/2025 | 09:39 am - 09:41 am | BACULIO | BRO Refrigeration & Airconditioning Services | , Zone 2 A , Sto. Niño Vill., Baluarte, TAGOLOAN, Misamis Oriental | 0935-4044108 | n/a |  |  | SP | WI | COS | Sales of Parts |  |  |  | 11/14/2025 | 11/14/2025 09:47 am | 11/14/2025 09:49 am | Findings - Sale of parts, Recommendation - , Repair Done - Sale of parts PCB Assembly Outdoor | Com1 | Customer Lounge
CDO-00010740 | 11/14/2025 | 09:55 am - 09:56 am | BACULIO | GAB Air Conditioning | , 2nd cor 19 st, , Nazareth, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0997-2078111 | n/a |  |  | SP | WI | COS | Sales of Parts |  |  |  | 11/14/2025 | 11/14/2025 09:58 am | 11/14/2025 10:00 am | Findings - Sale of parts, Recommendation - , Repair Done - Sale of parts Fan motor | Com1 | Customer Lounge
CDO-00010741 | 11/14/2025 | 10:00 am - 10:04 am | BACULIO | Balignot, Gerald Louie | , Block 15 Lot 21 & 23, Oman St., BCC Homes, Damilag, MANOLO FORTICH, Bukidnon | 0936-7326097 | KSM-IW20-WCT10M1M32 | Jane | ASIAN HOMES | REPL | FD | W | Others | John Donguines | Delivered Replacement Indoor Unit with Approved RFUR # 02322,, FOC#37972 dated 11-13-2025 |  | 11/15/2025 | 11/15/2025 01:00 pm | 11/15/2025 01:30 pm | Findings - , Recommendation - Delivered Replacement unit Indoor, Repair Done - Replaced Indoor Unit with FOC#37972, RDR#000271 dated 11-14-2025 | Com1 | Inter-office
CDO-00010742 | 11/14/2025 | 10:11 am - 10:12 am | BACULIO | Marjon Cool Service Center | , , , Baliwasan Moret, ZAMBOANGA CITY, Zambonga del Norte | 0926-8178786 | n/a |  |  | SP | WI | COS | Sales of Parts |  |  |  | 11/14/2025 | 11/14/2025 10:17 am | 11/14/2025 10:19 am | Findings - Sale of parts, Recommendation - , Repair Done - Sale of parts PCB Assembly & Display Board | Com1 | Customer Lounge
CDO-00010743 | 11/14/2025 | 10:32 am - 10:33 am | BACULIO | CKF Ref & Airconditioning Services | , B6 L24 Ph3, Villa Trinitas, Bugo, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0965-23160108 | n/a |  |  | SP | WI | COS | Sales of Parts |  |  |  | 11/14/2025 | 11/14/2025 10:36 am | 11/14/2025 10:38 am | Findings - Sale of parts , Recommendation - , Repair Done - Sale of asstd parts | Com1 | Customer Lounge
CDO-00010744 | 11/14/2025 | 12:56 pm - 12:57 pm | BACULIO | Irtech Aircon & Refrigeration Services | , , NHA Olape Compound Phase 3, Kauswagan, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0975-2757024 | n/a |  |  | SP | WI | COS | Sales of Parts |  |  |  | 11/14/2025 | 11/14/2025 01:00 pm | 11/14/2025 01:02 pm | Findings - Sale of parts, Recommendation - , Repair Done - `Sale of parts PCB Assembly Indoor | Com1 | Customer Lounge
CDO-00010745 | 11/14/2025 | 02:19 pm - 02:20 pm | BACULIO | Bryan Lloyd Rivera | , 113 Montalban Velez St., , , CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0927-7817132 | KSM-IW20-WCT10M1M32 | Jeanelyn | ASIAN HOMES | INST | DC | C | For Installation | BRO Refrigeration and Air-conditioning Services |  | 1 | 11/14/2025 | 11/14/2025 03:00 pm | 11/14/2025 05:00 pm | Findings - For installation, Recommendation - For installation, Repair Done - Installation done. Unit ok | Com1 | E-mail
CDO-00010746 | 11/14/2025 | 02:42 pm - 02:45 pm | BACULIO | Balignot, Gerald Louie | , Block 15 Lot 21 & 23, Oman St., BCC Homes, Damilag, MANOLO FORTICH, Bukidnon | 0936-7326097 | KSM-IW20-WCT10M1M32 | Jane | ASIAN HOMES | INST | FD | W | For Installation | John Donguines | For Installation Replacement unit | 1 | 11/15/2025 | 11/15/2025 02:30 pm | 11/15/2025 05:00 pm | Findings - Leaking evaporator coil, Dismantle Indoor Unit, Recommendation - Replace Indoor Unit & Install, Repair Done - Replace Indoor Unit & Install, System Reprocessing | Com1 | Second Action
CDO-00010747 | 11/15/2025 | 12:23 pm - 12:25 pm | BACULIO | Rivera, Jan Joseph | , #290 Zone 4, , Iponan, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0917-6513322 | KSM-IW15-WCT10M1M32 | Jane | EMCOR INC. | TS | FD | W | Insufficient Cooling | Emcor - CDO | Relayed to Emcor Inc. for re-piping & system reprocess | 2 | 11/17/2025 | 11/17/2025 01:05 pm | 11/17/2025 04:55 pm | Findings - Install new piping, Recommendation - re install new piping, Repair Done - re install new piping, for system reprocessing schedule | Inc-25 | Second Action
CDO-00010748 | 11/15/2025 | 02:59 pm - 02:59 pm | BACULIO | Paculba, Ailyn | , , VETERANS AVENUE, ZONE 3, ZAMBOANGA CITY, ZAMBOANGA DEL SUR | 0905-9450144 | KWD-BLC-2088B | Sheira Mae | VIC IMPERIAL APP | TS | DC | W | No Power Supply | Ree Cooling Services | NO POWER | 1 | 11/15/2025 | 11/15/2025 09:20 am | 11/15/2025 09:45 am | Findings - DEFECTIVE MAINBOARD, Recommendation - FOR REPLACEMENT OF MAINBOARD, Repair Done - CHECKED UP | Inc-06 | E-mail
CDO-00010749 | 11/15/2025 | 03:05 pm - 03:07 pm | BACULIO | Paculba, Ailyn | , , VETERANS AVENUE, ZONE 3, ZAMBOANGA CITY, ZAMBOANGA DEL SUR | 0905-9450144 | KWD-BLC-2088B | Jane | VIC IMPERIAL APP | TS | FD | W | No Power Supply | Ree Cooling Services | Relayed to Reecooling ASC,parts for pouch thru LBC 81203128428 11-17-2025 | 2 | 11/22/2025 | 11/25/2025 09:52 am | 11/25/2025 10:35 am | Findings - DEFECTIVE MAINBOARD, Recommendation - MAINBOARD REPLACEMENT, Repair Done - REPLACED MAINBOARD | Com1 | Second Action
CDO-00010750 | 11/15/2025 | 03:41 pm - 03:42 pm | BACULIO | Villaroya, Jay Ralph | , P-8, , Poblacion, IMPASUG-ONG, Bukidnon | 0926-8405622 | KSD-200MG1 | Jane | MINDANAO SOLIDMARK | TS | FD | W | Not Cooling | CKF Ref & Airconditioning Services | Relayed to CKF ASC, for check up & repair | 1 | 11/18/2025 | 11/18/2025 02:59 pm | 11/18/2025 03:50 pm | Findings - Defect Thermostat , Recommendation - Customer insist replace brand new chiller, Repair Done - Check up, customer refuse to repair the unit | Com2 | Viber Mobile
CDO-00010751 | 11/15/2025 | 03:53 pm - 03:55 pm | BACULIO | Lunday, Annabelle | , Zone 8, Sto. Niño Village relocation, , CITY OF EL SALVADOR, Misamis Oriental | 0927-9758506 | KSM-IW15-WCT10M1M32 | Jeanelyn | ASIAN HOMES | INST | DC | C | For Installation | BRO Refrigeration and Air-conditioning Services |  | 1 | 11/15/2025 | 11/15/2025 05:00 pm | 11/15/2025 07:00 pm | Findings - For installation, Recommendation - For installation, Repair Done - Installation done. Unit ok | Com1 | E-mail
CDO-00010752 | 11/15/2025 | 04:12 pm - 04:13 pm | BACULIO | Sisio, Lucy Jane Gamil | , Galvez Rd. 2nd Dist. Toron Drive, , Brgy. Santa Maria, ZAMBOANGA CITY, Zamboanga del Sur | 0997-2974845 | KA-100MCARINV32 | Jane | ABENSON INC. | TS | FD | W | No Power Supply | Ree Cooling Services | Relayed to Reecooling ASC, for check up | 1 | 11/17/2025 | 11/17/2025 01:10 pm | 11/17/2025 01:50 pm | Findings - DEFECTIVE MAINBOARD, Recommendation - FOR MAINBOARD REPLACEMENT, Repair Done - CHECKED UP | Inc-06 | Social Media
CDO-00010753 | 11/17/2025 | 09:30 am - 09:30 am | BACULIO | Saludar, Aivee Grace | , , P-13, BAGONTAAS, CITY OF VALENCIA, BUKIDNON | 0975-7664219 | KSM-IW10-WCT10M1M32 | Roselle | ROBINSONS | INST | DC | C | For Installation | Gab Appliance Service Center - CDO |  | 1 | 11/17/2025 | 11/17/2025 10:00 am | 11/17/2025 02:00 pm | Findings - For installation , Recommendation - Unit ready to install , Repair Done - Done installation | Com1 | E-mail
CDO-00010754 | 11/17/2025 | 10:40 am - 10:43 am | BACULIO | Lamparas, Jo Mariel | , J.Clarin St., , Pob. 1, OROQUIETA CITY (Capital), Misamis Occidental | 0976-082746 | KAG-100WCINV | Jane | MINDANAO SOLIDMARK | TS | FD | L | Auto On / Off | JRH Ref & Electronics Services | Relayed to REAM ASp, for thorough check up & repait | 2 | 11/17/2025 | 11/17/2025 02:05 pm | 11/17/2025 02:55 pm | Findings - DEFECTIVE DISPLAY BOARD AND DIRTY UNIT, Recommendation - FOR REPLACEMENT OF DISPLAY BOARD AND FOR CLEANING , Repair Done - CUSTOMER REFUSED TO REPAIR | NSC17 | E-mail
CDO-00010755 | 11/17/2025 | 12:38 pm - 12:39 pm | BACULIO | AWAYAN, JOHANNE DIANNE | , , LESSANDRA HEIGHTS GRAN EUROPA , LUMBIA, CAGAYAN DE ORO CITY (Capital), MISAMIS ORIENTAL | 0956-5729542 | KSG-IWF-15WFY-8K1M32-I | Sol | VIC IMPERIAL APP | INST | DC | C | For Installation | CKF Ref & Airconditioning Services |  | 1 | 11/17/2025 | 11/17/2025 10:30 am | 11/17/2025 02:42 pm | Findings - UNIT FOR INSTALLATION , Recommendation - INSTALLATION , Repair Done - INSTALLED/OK By CKF | Com1 | E-mail
CDO-00010756 | 11/17/2025 | 01:02 pm - 01:03 pm | BACULIO | Cafe Nicasio | -, General Luna, -, Estaka, DIPOLOG CITY (Capital), Zamboanga del Norte | 0912-3291933 | KLG-IF40-5G1M32-I | Erlinda | MINDANAO SOLIDMARK | INST | DC | C | For Installation | J Airconditioning & Refrigeration Services |  | 1 | 11/17/2025 | 11/17/2025 10:00 am | 11/17/2025 04:30 pm | Findings - Installation, Recommendation - Installation, Repair Done - Installation | Com1 | E-mail
CDO-00010757 | 11/17/2025 | 01:35 pm - 01:35 pm | BACULIO | Capundag, Evelyn | -, Bolicon, -, Turno, DIPOLOG CITY (Capital), Zamboanga del Norte | 0995-1212810 | KWD-BLC-2088B | Erlinda | ASIAN HOMES | TS | DC | W | Dripping/ Water Leak | J Airconditioning & Refrigeration Services |  | 1 | 11/15/2025 | 11/15/2025 01:30 pm | 11/15/2025 02:00 pm | Findings - Defective pump motor and Bi-metal, Recommendation - For parts replacement , Repair Done - Check up, waiting parts | Inc-06 | E-mail
CDO-00010758 | 11/17/2025 | 02:14 pm - 02:16 pm | BACULIO | Sorronda, Rosanna Puyod | , Prk. 4, , Galas, DIPOLOG CITY (Capital), Zamboanga del Norte | 0905-9435981 | KSIF-405WB1 | Jane | VIC IMPERIAL APP | TS | FD | W | No Power Supply | J Airconditioning & Refrigeration Services | Relayed to JARS ASP, parts pouched thru LBC 81203128429 11-18-2025 | 2 | 11/22/2025 | 11/26/2025 10:00 am | 11/29/2025 12:00 pm | Findings - defective board and compressor, Recommendation - replaced parts,parts received 11-25-2025 afternoon, Repair Done - check up / unit for pull out to replace parts/ unit at shop (11-26-2025), Unit Delivered: 11-29-2025 | Com1 | E-mail
CDO-00010759 | 11/17/2025 | 02:21 pm - 02:22 pm | BACULIO | Capundag, Evelyn | -, Bolicon, -, Turno, DIPOLOG CITY (Capital), Zamboanga del Norte | 0995-1212810 | KWD-BLC-2088B | Jane | ASIAN HOMES | TS | FD | W | Dripping/ Water Leak | J Airconditioning & Refrigeration Services | RElayed to JARS ASP,parts pouch thru LBC 81203128429 11-18-2025 | 2 | 11/22/2025 | 11/26/2025 10:30 am | 11/26/2025 09:30 am | Findings - Defective pump motor and bi metal, Recommendation - replace parts, Repair Done - parts received 11-24-2025 afternoon, replaced pump motor and bi metal / unit under observation (11-26-2025) | Com1 | E-mail
CDO-00010760 | 11/17/2025 | 04:59 pm - 04:59 pm | BACULIO | Galdo, Cecille | , Capili St., , Barangay 6, BALINGASAG, Misamis Oriental | 0953-4675659 | KA-100MCARINV32 | Jeanelyn | ASIAN HOMES | TS | DC | W | EH60 Error Code | BRO Refrigeration and Air-conditioning Services |  | 1 | 11/17/2025 | 11/17/2025 03:00 pm | 11/17/2025 05:00 pm | Findings - sensor socket is loose, Recommendation - Fix sensor socket., Repair Done - Fixed sensor socket. Unit is ok. | Com1 | E-mail
CDO-00010761 | 11/18/2025 | 08:13 am - 08:13 am | BACULIO | RAVACIO, CRISTINA | 435, HARPY ST., SAN ISIDRO VILLAGE, KAUSWAGAN, CAGAYAN DE ORO CITY (Capital), MISAMIS ORIENTAL | 0917-7941618 | KSG-IWF-30WFY-8K1M32-I | Roselle | ROBINSONS | INST | DC | C | For Installation | Gab Appliance Service Center - CDO |  | 1 | 11/17/2025 | 11/17/2025 10:30 am | 11/17/2025 04:20 pm | Findings - For Installation, Recommendation - Unit Ready to Install, Repair Done - Done Install | Com1 | E-mail
CDO-00010762 | 11/18/2025 | 08:16 am - 08:17 am | BACULIO | BALA, NORMAN | , 19TH ST, N/A, NAZARETH, CAGAYAN DE ORO CITY (Capital), MISAMIS ORIENTAL | 0917-6259018 | KSG-IWF-15WFY-8K1M32-I | Roselyn | ROBINSONS | INST | DC | C | For Installation | Gab Appliance Service Center - CDO |  | 1 | 11/17/2025 | 11/17/2025 02:00 pm | 11/17/2025 06:30 pm | Findings - For Installation , Recommendation - Unit Ready to install , Repair Done - Done Install | Com1 | E-mail
CDO-00010763 | 11/19/2025 | 09:49 am - 09:49 am | BACULIO | SALDIA, KIMBERLY | , , , DON JOSE AGUIRE, MANUKAN, Zamboanga del Norte | 0908-7082136 | KSM-IW10-WCT10M1M32 | John Maico | EMCOR INC. | INST | DC | C | For Installation | Emcor - CDO |  | 1 | 11/20/2025 | 11/19/2025 10:00 am | 11/19/2025 02:00 pm | Findings - For installation, Recommendation - For installation, Repair Done - DONE INSTALL UNIT | Com1 | E-mail
CDO-00010764 | 11/19/2025 | 10:03 am - 10:04 am | BACULIO | BOCAYONG, NICK | , , PUROK 1 BALAGATASA, MAIGO, MAIGO, LANAO DEL NORTE | 0954-2869812 | KSM-IW10-WCT10M1M32 | Jessa | MINDANAO SOLIDMARK | INST | DC | C | For Installation | Flerics Appliance Service Center |  | 1 | 11/19/2025 | 11/19/2025 10:00 am | 11/19/2025 03:00 pm | Findings - AC INSTALLATION, Recommendation - AC INSTALLATION, Repair Done - DONE INSTALLATION | Com1 | E-mail
CDO-00010765 | 11/19/2025 | 11:13 am - 11:14 am | BACULIO | Macarambon , Asli | , 30004 A. Blando St. , Rosario Heights, Tubod, ILIGAN CITY, Lanao del Norte | 0927-2239565 | KSM-IW10-WCT10M1M32 | Sol | MINDANAO SOLIDMARK | INST | DC | C | For Installation | CKF Ref & Airconditioning Services |  | 1 | 11/19/2025 | 11/19/2025 10:20 am | 11/19/2025 02:40 pm | Findings - UNIT FOR INSTALLATION , Recommendation - INSTALLATION , Repair Done - INSTALLED/OK By CKF | Com1 | E-mail
CDO-00010766 | 11/19/2025 | 11:17 am - 11:19 am | BACULIO | Macarambon , Asli | , 30004 A. Blando St. , Rosario Heights, Tubod, ILIGAN CITY, Lanao del Norte | 0927-2239565 | KSM-IW15-WCT10M1M32 | Sol | MINDANAO SOLIDMARK | INST | DC | C | For Installation | CKF Ref & Airconditioning Services |  | 1 | 11/19/2025 | 11/19/2025 03:00 pm | 11/19/2025 06:15 pm | Findings - UNIT FOR INSTALLATION , Recommendation - INSTALLATION, Repair Done - INSTALLED/OK By CKF | Com1 | E-mail
CDO-00010767 | 11/19/2025 | 12:46 pm - 12:47 pm | BACULIO | ONESA, PEARL MARIAM | N/A, N/A, N/A, TUMAGA, ZAMBOANGA CITY, ZAMBOANGA DEL SUR | 0906-0046258 | KSM-IW20-WCT10M1M32 | Desiree | PRICEWISE MARKETING CORP | INST | DC | C | For Installation | Marjon Cool Ref. & Aircon Service Center Co. |  | 1 | 11/19/2025 | 11/19/2025 01:00 pm | 11/19/2025 04:15 pm | Findings - for Install, Recommendation - FOR INSTALLATION, Repair Done - installed both indoor and outdoor unit | Com1 | E-mail
CDO-00010768 | 11/19/2025 | 02:57 pm - 02:57 pm | BACULIO | Flerics Appliance Service Center | , , , Port Area Poblacion, ILIGAN CITY, Lanao del Norte | 0917-7161705 | n/a |  |  | SP | WI | COS | Sales of Parts |  |  |  | 11/19/2025 | 11/19/2025 02:59 pm | 11/19/2025 03:01 pm | Findings - Sale of inst. Materials, Recommendation - , Repair Done - Sale of inst. mat | Com1 | Customer Lounge
CDO-00010769 | 11/19/2025 | 03:18 pm - 03:18 pm | BACULIO | GAB Air Conditioning | , 2nd cor 19 st, , Nazareth, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0997-2078111 | n/a |  |  | SP | WI | COS | Sales of Parts |  |  |  | 11/19/2025 | 11/19/2025 03:20 pm | 11/19/2025 03:22 pm | Findings - Sale of parts, Recommendation - , Repair Done - Sale of parts fan motor Indoor | Com1 | Customer Lounge
CDO-00010770 | 11/19/2025 | 03:31 pm - 03:31 pm | BACULIO | - Caidic, Jinky | -, -, -, Turno, DIPOLOG CITY (Capital), Zamboanga del Norte | 0935-6990034 | KCF-12SRWDC | Erlinda | VIC IMPERIAL APP | TS | DC | W | Others | J Airconditioning & Refrigeration Services | No power | 1 | 11/19/2025 | 11/19/2025 01:00 am | 11/19/2025 03:00 pm | Findings - Defective adaptor, Recommendation - Replace adaptor, Repair Done - Check up | Inc-06 | E-mail
CDO-00010771 | 11/19/2025 | 03:41 pm - 03:41 pm | BACULIO | Carpio, Jose Rafael | , Ato Drive, Zamboanga International Airport, BALIWASAN, ZAMBOANGA CITY, ZAMBOANGA DEL SUR | 0927-2271890 | KSG-IWF-20WFY-8K1M32-I | Sheira Mae | ABENSON VENTURES | INST | DC | C | For Installation | Ree Cooling Services | INSTALLATION | 1 | 11/19/2025 | 11/19/2025 03:40 pm | 11/19/2025 05:45 pm | Findings - INSTALLATION, Recommendation - INSTALLATION, Repair Done - DEMO AND INSTALLATION | Com1 | E-mail
CDO-00010772 | 11/19/2025 | 03:42 pm - 03:44 pm | BACULIO | Sisio, Lucy Jane Gamil | , Galvez Rd. 2nd Dist. Toron Drive, , Brgy. Santa Maria, ZAMBOANGA CITY, Zamboanga del Sur | 0997-2974845 | KA-100MCARINV32 | Jane | ABENSON INC. | TS | FD | W | No Power Supply | Ree Cooling Services | Relayed to Reecooling ASP,parts fo pouch thru LBC 81203128433 8-20-2025 | 2 | 11/25/2025 | 11/27/2025 04:20 pm | 11/27/2025 04:55 pm | Findings - DEFECTIVE MAINBOARD, Recommendation - MAINBOARD REPLACEMENT, Repair Done - REPLACED MAINBOARD, PARTS RECEIVED 11-26-2025 PM | Com1 | Second Action
CDO-00010773 | 11/19/2025 | 04:21 pm - 04:22 pm | BACULIO | Allure Smile Dental clinic | , Velez St., , , CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0977-6505035 | n/a |  |  | SP | WI | COS | Sales of Parts |  |  |  | 11/19/2025 | 11/19/2025 04:24 pm | 11/19/2025 04:26 pm | Findings - sale of parts, Recommendation - , Repair Done - Sale of parts Remote Control | Com1 | Customer Lounge
CDO-00010774 | 11/20/2025 | 09:21 am - 09:22 am | BACULIO | GAB Air Conditioning | , 2nd cor 19 st, , Nazareth, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0997-2078111 | n/a |  |  | SP | WI | COS | Sales of Parts |  |  |  | 11/20/2025 | 11/20/2025 09:20 am | 11/20/2025 09:22 am | Findings - Sale of parts, Recommendation - , Repair Done - Sale of parts Display Board | Com1 | Customer Lounge
CDO-00010775 | 11/20/2025 | 11:20 am - 11:20 am | BACULIO | Hontiveros, Alyanna | , B2-L5 SANTA BARBARA , SANTA BARBARA SUBD. , KAUSWAGAN , CAGAYAN DE ORO CITY (Capital), MISAMIS ORIENTAL | 0905-8385120 | KSM-IW10-WCT10M1M32 | Sol | MINDANAO SOLIDMARK | INST | DC | C | For Installation | CKF Ref & Airconditioning Services |  | 1 | 11/20/2025 | 11/20/2025 10:43 am | 11/20/2025 02:30 pm | Findings - UNIT FOR INSTALLATION , Recommendation - INSTALLATION , Repair Done - INSTALLED/OK By CKF | Com1 | E-mail
CDO-00010776 | 11/20/2025 | 12:21 pm - 12:21 pm | BACULIO | CANTA , BRYNDON JOHN MENDEZ | P-2 , , , NEW SOC, BUTUAN CITY (Capital), AGUSAN DEL NORTE | 0956-5631162 | KSIF-405WB1 | Melanie | VIC IMPERIAL APP | TS | DC | W | Temperature Control Not Functioning | Queenkrist Ref & Aircon Parts & Services |  | 1 | 11/20/2025 | 11/20/2025 08:35 am | 11/20/2025 09:05 am | Findings - internal leak , Recommendation - for replacement as per customer demand/refuse to repair " , Repair Done - check up & diagnose, for main office evaluation | Com2 | E-mail
CDO-00010777 | 11/20/2025 | 12:44 pm - 12:46 pm | BACULIO | Ree Cooling Services | , Lot 4A, Zone 1, Divisoria, ZAMBOANGA CITY, Zamboanga del Sur | 0926-4415918 | n/a |  |  | SP | WI | COS | Sales of Parts |  |  |  | 11/20/2025 | 11/20/2025 12:49 pm | 11/20/2025 12:51 pm | Findings - Sale of parts , Recommendation - , Repair Done - Sale of parts Display Board | Com1 | Customer Lounge
CDO-00010778 | 11/20/2025 | 02:28 pm - 02:29 pm | BACULIO | EMCOR INC. DULLENTE, AMDARO | NONE, NONE, NONE, CLARC 3 POBLACION, JOSE DALMAN (PONOT), ZAMBOANGA DEL NORTE | 0908-8618021 | KSM-IW10-WCT10M1M32 | John Maico | EMCOR INC. | INST | DC | C | For Installation | Emcor - CDO |  | 1 | 11/20/2025 | 11/20/2025 11:00 am | 11/20/2025 01:00 pm | Findings - For installation, Recommendation - For installation, Repair Done - DONE INSTALL UNIT | Com1 | E-mail
CDO-00010779 | 11/20/2025 | 02:32 pm - 02:32 pm | BACULIO | MI & I Refrigeration And Airconditioning Services | , Cadena de Amor, , Guiwan, ZAMBOANGA CITY, Zamboanga del Sur | 0962-069328 | n/a |  |  | SP | WI | COS | Sales of Parts |  |  |  | 11/20/2025 | 11/20/2025 12:49 pm | 11/20/2025 12:51 pm | Findings - Sale of parts , Recommendation - , Repair Done - Sale of parts Water pump | Com1 | Customer Lounge
CDO-00010780 | 11/20/2025 | 03:23 pm - 03:23 pm | BACULIO | Alfanta, Nelson | , , , Barra, OPOL, Misamis Oriental | 0917-7900092 | KSM-IW10-WCT10M1M32 | Jeanelyn | ASIAN HOMES | INST | DC | C | For Installation | BRO Refrigeration and Air-conditioning Services |  | 1 | 11/20/2025 | 11/20/2025 03:00 pm | 11/21/2025 06:00 pm | Findings - For installation, Recommendation - For installation, Repair Done - Installation done. Unit ok | Com1 | E-mail
CDO-00010781 | 11/20/2025 | 03:25 pm - 03:26 pm | BACULIO | Alfanta, Nelson | , , , Barra, OPOL, Misamis Oriental | 0917-7900092 | KSM-IW10-WCT10M1M32 | Jeanelyn | ASIAN HOMES | INST | DC | C | For Installation | BRO Refrigeration and Air-conditioning Services |  | 1 | 11/20/2025 | 11/20/2025 03:00 pm | 11/21/2025 06:00 pm | Findings - For installation, Recommendation - For installation, Repair Done - Installation done. Unit ok | Com1 | E-mail
CDO-00010782 | 11/20/2025 | 03:31 pm - 03:31 pm | BACULIO | Alfanta, Nelson | , , , Barra, OPOL, Misamis Oriental | 0917-7900092 | KSM-IW10-WCT10M1M32 | Jeanelyn | ASIAN HOMES | INST | DC | C | For Installation | BRO Refrigeration and Air-conditioning Services |  | 1 | 11/20/2025 | 11/20/2025 03:00 pm | 11/20/2025 05:30 pm | Findings - For installation, Recommendation - For installation, Repair Done - Installation done. Unit ok | Com1 | E-mail
CDO-00010783 | 11/20/2025 | 03:31 pm - 03:31 pm | BACULIO | DE LOS SANTOS , JOSHUA | , B20-L14 XAVIER HEIGHTS, XAVIER HEIGHTS SUBD. , UPPER BALULANG , CAGAYAN DE ORO CITY (Capital), MISAMIS ORIENTAL | 0992-4467834 | KSM-IW10-WCT10M1M32 | Sol | MINDANAO SOLIDMARK | INST | DC | C | For Installation | CKF Ref & Airconditioning Services |  | 1 | 11/20/2025 | 11/20/2025 03:15 pm | 11/20/2025 06:00 pm | Findings - UNIT FOR INSTALLATION , Recommendation - INSTALLATION , Repair Done - INSTALLED/OK By CKF | Com1 | E-mail
CDO-00010784 | 11/20/2025 | 04:42 pm - 04:43 pm | BACULIO | Demonteverde, Shiela | prk 5 , , Concepcion, Kabasalan, KABASALAN, Zamboanga Sibugay | 0935-2596086 | KSIF-315WB1 | Sean | BUDGETWISE | TS | DC | W | Not Functioning | MI & I Refrigeration |  | 1 | 11/17/2025 | 11/17/2025 10:00 am | 11/17/2025 11:00 am | Findings - DEFFECTIVE INVERTER BOARD, Recommendation - REPLACE INVERTER BOARD, Repair Done - WAITING FOR PART,CHECK UP | Inc-06 | E-mail
CDO-00010785 | 11/20/2025 | 05:03 pm - 05:03 pm | BACULIO | NAVARRA, LITO | 79, ZONE 4 UPPER MACAPAGAL DRIVE, N/A, BULUA, CAGAYAN DE ORO CITY (Capital), MISAMIS ORIENTAL | 0906-2163863 | KSM-IW15-WCT10M1M32 | Rosselyn | ROBINSONS | INST | DC | C | For Installation | Gab Appliance Service Center - CDO |  | 1 | 11/20/2025 | 11/20/2025 02:30 pm | 11/20/2025 06:20 pm | Findings - For Installation, Recommendation - Unit Ready to install, Repair Done - Done install | Com1 | E-mail
CDO-00010786 | 11/21/2025 | 08:20 am - 08:21 am | BACULIO | Tagayan, Sadrafsan | , , , CABALUAY, ZAMBOANGA CITY, ZAMBOANGA DEL SUR | 0906-9002376 | KSM-IW10-WCT10M1M32 | Desiree | PRICEWISE MARKETING CORP | INST | DC | C | For Installation | Marjon Cool Ref. & Aircon Service Center Co. |  | 1 | 11/21/2025 | 11/21/2025 11:00 am | 11/21/2025 03:00 pm | Findings - for Install, Recommendation - FOR INSTALLATION, Repair Done - installed both indoor and outdoor unit | Com1 | E-mail
CDO-00010787 | 11/21/2025 | 10:15 am - 10:16 am | BACULIO | REAM Refrigeration and Airconditioning Services | , Purok Palmera, Rizal Avenue, Balangasan, PAGADIAN CITY (Capital), Zambonga del Norte | 0916-5712647 | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of parts for stocking |  | 11/21/2025 | 11/21/2025 10:20 am | 11/21/2025 10:22 am | Findings - Sale of parts, Recommendation - , Repair Done - Sale of asstd parts PCB Assembly Outdoor & Display Board | Com1 | Customer Lounge
CDO-00010788 | 11/21/2025 | 02:28 pm - 02:28 pm | BACULIO | Albano, Gene Ross | , , , Mauswagon, LAGUINDINGAN, Misamis Oriental | 0939-2558680 | KSM-IW10-WCT10M1M32 | Jeanelyn | MINDANAO SOLIDMARK | INST | DC | C | For Installation | BRO Refrigeration and Air-conditioning Services |  | 1 | 11/21/2025 | 11/21/2025 09:30 am | 11/23/2025 01:30 pm | Findings - For installation, Recommendation - Install will resume on 11/23/25 Sunday., Repair Done - Installation done. Unit ok | Com1 | E-mail
CDO-00010789 | 11/21/2025 | 02:29 pm - 02:29 pm | BACULIO | Albano, Gene Ross | , , , Mauswagon, LAGUINDINGAN, Misamis Oriental | 0939-2558680 | KSM-IW10-WCT10M1M32 | Jeanelyn | MINDANAO SOLIDMARK | INST | DC | C | For Installation | BRO Refrigeration and Air-conditioning Services |  | 1 | 11/21/2025 | 11/21/2025 09:30 am | 11/23/2025 01:30 pm | Findings - For installation, Recommendation - Install will resume on 11/23/25 Sunday., Repair Done - Installation done. Unit ok | Com1 | E-mail
CDO-00010790 | 11/21/2025 | 02:34 pm - 02:35 pm | BACULIO | LA ROCKA BEACH RESORT | , , , HERMANO, BALINGASAG, MISAMIS ORIENTAL | 0917-8143729 | KSM-IW15-WCT10M1M32 | Sol | MINDANAO SOLIDMARK | INST | DC | C | For Installation | CKF Ref & Airconditioning Services |  | 1 | 11/21/2025 | 11/21/2025 01:00 pm | 11/21/2025 04:25 pm | Findings - UNIT FOR INSTALLATION , Recommendation - INSTALLATION , Repair Done - INSTALLED/OK By CKF | Com1 | E-mail
CDO-00010791 | 11/21/2025 | 02:43 pm - 02:44 pm | BACULIO | - Gimena, Joan | -, -, -, Banonong, DAPITAN CITY, Zamboanga del Norte | 0926-2147884 | KSIF-255WB1 | Erlinda | ASIAN HOMES | TS | DC | W | Not Cooling | J Airconditioning & Refrigeration Services |  | 1 | 11/21/2025 | 11/21/2025 01:30 pm | 11/21/2025 02:30 pm | Findings - Defective board (Dead set) and compressor, Recommendation - Replace Parts, Repair Done - Check up,request parts | Inc-06 | E-mail
CDO-00010792 | 11/21/2025 | 03:40 pm - 03:44 pm | BACULIO | Demonteverde, Shiela | prk 5 , , Concepcion, Kabasalan, KABASALAN, Zamboanga Sibugay | 0935-2596086 | KSIF-315WB1 | Jane | BUDGETWISE | TS | FD | W | Not Cooling | MI & I Refrigeration | Relayed to Mi & I ASP, parts pouched thru LBC 81203128436 8-22-2025 | 2 | 11/27/2025 | 11/28/2025 02:00 pm | 11/28/2025 03:00 pm | Findings - DEFECTIVE MAINBOARD, Recommendation - REPLACED PARTS, RECEIVED YESTERDAY 11/28/2025, Repair Done - UNIT IS OK | Com1 | Second Action
CDO-00010793 | 11/22/2025 | 10:03 am - 10:04 am | BACULIO | Donio, Mitchie | , , Purok 5, Poblacion, LINAMON, LANAO DEL NORTE | 0905-6415378 | KSG-IWF-15WFY-8K1M32-I | Ralph | VIC IMPERIAL APP | TS | DC | W | E6 Error Code | Flerics Appliance Service Center | DONE CHECK-UP 11/21/25 | 1 | 11/21/2025 | 11/21/2025 10:30 am | 11/21/2025 12:01 pm | Findings - ERROR E6 PCB MAINBOARD OPEN FUSE, Recommendation - FOR REPLACE OUTDOOR PCB, Repair Done - CHECK-UP / REQUEST PART | Inc-06 | E-mail
CDO-00010794 | 11/22/2025 | 11:51 am - 11:52 am | BACULIO | De Guzman, Poda Marie | -, Prk. Rose, -, Pob. North, PIÑAN (NEW PIÑAN), Zamboanga del Norte | 0946-5383135 | KSM-IW10-WCT10M1M32 | Erlinda | ASIAN HOMES | INST | DC | C | For Installation | J Airconditioning & Refrigeration Services |  | 1 | 11/22/2025 | 11/22/2025 09:30 am | 11/22/2025 12:30 pm | Findings - installation, Recommendation - Installation, Repair Done - Installation | Com1 | E-mail
CDO-00010795 | 11/22/2025 | 11:55 am - 11:56 am | BACULIO | ABERASTURI, CRISTINA | , 168 CLEMENTINO CHAVEZ ST. , , MACASANDIG , CAGAYAN DE ORO CITY (Capital), MISAMIS ORIENTAL | 0917-5003540 | KSM-IW20-WCT10M1M32 | Sol | MINDANAO SOLIDMARK | INST | DC | C | For Installation | CKF Ref & Airconditioning Services |  | 1 | 11/22/2025 | 11/22/2025 10:35 am | 11/22/2025 02:50 pm | Findings - UNIT FOR INSTALLATION , Recommendation - INSTALLATION , Repair Done - INSTALLED/OK By CKF | Com1 | E-mail
CDO-00010796 | 11/22/2025 | 11:59 am - 12:00 pm | BACULIO | ABERASTURI, CRISTINA | , 168 CLEMENTINO CHAVEZ ST. , , MACASANDIG , CAGAYAN DE ORO CITY (Capital), MISAMIS ORIENTAL | 0917-5003540 | KSM-IW15-WCT10M1M32 | Sol | MINDANAO SOLIDMARK | INST | DC | C | For Installation | CKF Ref & Airconditioning Services |  | 1 | 11/22/2025 | 11/22/2025 03:10 pm | 11/22/2025 05:55 pm | Findings - UNIT FOR INSTALLATION , Recommendation - INSTALLATION , Repair Done - INSTALLED/OK By CKF | Com1 | E-mail
CDO-00010797 | 11/22/2025 | 04:22 pm - 04:23 pm | BACULIO | CDO 2 CYCLES Marketing Corp. | , , , Lapasan, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0965-8221168 | KLG-IF40-5G1M32-I | Jeanelyn | ASIAN HOMES | INST | DC | C | For Installation | BRO Refrigeration and Air-conditioning Services |  | 1 | 11/22/2025 | 11/22/2025 04:00 pm | 11/22/2025 09:30 pm | Findings - For installation, Recommendation - For installation, Repair Done - Installation done. Unit ok | Com1 | E-mail
CDO-00010798 | 11/22/2025 | 04:24 pm - 04:25 pm | BACULIO | Wapelle, Simeon Jr. | -, -, -, Biasong, DIPOLOG CITY (Capital), Zamboanga del Norte | 0917-1039972 | KSM-IW20-WCT10M1M32 | Erlinda | MINDANAO SOLIDMARK | INST | DC | C | For Installation | J Airconditioning & Refrigeration Services |  | 1 | 11/22/2025 | 11/22/2025 01:40 pm | 11/22/2025 05:00 pm | Findings - installation, Recommendation - Installation, Repair Done - Installation | Com1 | E-mail
CDO-00010799 | 11/24/2025 | 09:52 am - 09:53 am | BACULIO | Mangubat, Mae Dianne Kristine | , , Zone 7, Lower Bulua, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0960-6420911 | KSM-IW10-WCT10M1M32 | Jeanelyn | ASIAN HOMES | INST | DC | C | For Installation | BRO Refrigeration and Air-conditioning Services |  | 1 | 11/23/2025 | 11/23/2025 08:00 am | 11/23/2025 10:00 am | Findings - For installation, Recommendation - For installation, Repair Done - Installation done. Unit ok | Com1 | E-mail
CDO-00010800 | 11/24/2025 | 09:55 am - 09:56 am | BACULIO | Patigas, Lotche | , Barra st, , Macabalan, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0993-8378624 | KSM-IW15-WCT10M1M32 | Jeanelyn | ASIAN HOMES | INST | DC | C | For Installation | BRO Refrigeration and Air-conditioning Services |  | 1 | 11/23/2025 | 11/23/2025 03:30 pm | 11/23/2025 06:30 pm | Findings - For installation, Recommendation - Installing aircon split type, Repair Done - Installation done. Unit ok | Com1 | E-mail
CDO-00010801 | 11/24/2025 | 10:03 am - 10:03 am | BACULIO | DURAN, KIRK | 095 J, 095 J, ARIOSA EXTENSION, SAN JOSE , PAGADIAN CITY (Capital), ZAMBOANGA DEL SUR | 0968-4275334 | KA-75MCARINV32 | Christine | MINDANAO SOLIDMARK | TS | DC | W | Not Cooling | Widgets | For order parts | 1 | 11/24/2025 | 11/24/2025 09:30 am | 11/24/2025 10:30 am | Findings - NOT COOLING, Recommendation - For order parts, Repair Done - defect inverter board and display board | Inc-06 | E-mail
CDO-00010802 | 11/24/2025 | 11:12 am - 11:13 am | BACULIO | CDO 2 CYCLES Marketing Corp. | , , , Lapasan, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0965-8221168 | KLG-IF40-5G1M32-I | Jeanelyn | ASIAN HOMES | INST | DC | C | For Installation | BRO Refrigeration and Air-conditioning Services |  | 1 | 11/24/2025 | 11/24/2025 11:00 am | 11/24/2025 06:00 pm | Findings - For installation, Recommendation - Installing aircon package type, Repair Done - Installation done. Unit ok | Com1 | E-mail
CDO-00010803 | 11/24/2025 | 12:36 pm - 12:38 pm | BACULIO | Latip, Madzkan | , Aljahara St. Veterans, , Tetuan, ZAMBOANGA CITY, ZAMBOANGA DEL SUR | 0976-5218715 | KAM-95CMC32 | Jane | PRICEWISE MARKETING CORP | TS | FD | P | Not Cooling | Marjon Cool Ref. & Aircon Service Center Co. | Parts pouch thru LBC 81203128439 11-25-2025 | 2 | 2025-01-12 | 2025-02-12 13:00 | 2025-02-12 04:00 | Findings - Not cooling, Recommendation - Replacement of compressor, parts received 11-29-2025, Repair Done - Replaced new compressor and system reprocessing unit okay | Com1 | Second Action
CDO-00010804 | 11/24/2025 | 02:54 pm - 02:55 pm | BACULIO | REAM Refrigeration and Airconditioning Services | , Purok Palmera, Rizal Avenue, Balangasan, PAGADIAN CITY (Capital), Zambonga del Norte | 0916-5712647 | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of inst. mat |  | 11/24/2025 | 11/24/2025 02:55 pm | 11/24/2025 02:57 pm | Findings - Sale of Inst. Mat, Recommendation - , Repair Done - Sale of Inst. Mat. | Com1 | Customer Lounge
CDO-00010805 | 11/24/2025 | 03:00 pm - 03:01 pm | BACULIO | BADAYOS, GINEZEL | N/A, N/A, N/A, BALACANAS , VILLANUEVA, MISAMIS ORIENTAL | 0906-0829432 | KLG-IF40-5G1M32-I | Sol | MINDANAO SOLIDMARK | INST | DC | C | For Installation | CKF Ref & Airconditioning Services |  | 1 | 11/24/2025 | 11/24/2025 01:30 pm | 11/24/2025 04:52 pm | Findings - UNIT FOR INSTALLATION , Recommendation - INSTALLATION , Repair Done - INSTALLED/OK By CKF | Com1 | E-mail
CDO-00010806 | 11/24/2025 | 03:19 pm - 03:20 pm | BACULIO | Donio, Mitchie | , , Purok 5, Poblacion, LINAMON, LANAO DEL NORTE | 0905-6415378 | KSG-IWF-15WFY-8K1M32-I | Jane | VIC IMPERIAL APP | TS | FD | W | E6 Error Code | Flerics Appliance Service Center | Parts pouch thru LBC 81203128439 11-25-2025 | 2 | 11/29/2025 | 11/29/2025 01:00 pm | 11/29/2025 02:00 pm | Findings - ERROR E6 PCB MAINBOARD OPEN FUSE and shorted diode, Recommendation - FOR REPLACE OUTDOOR PCB, Repair Done - replace outdoor pcb/unit is okay | Com1 | Second Action
CDO-00010807 | 11/24/2025 | 04:02 pm - 04:03 pm | BACULIO | DURAN, KIRK | 095 J, 095 J, ARIOSA EXTENSION, SAN JOSE , PAGADIAN CITY (Capital), ZAMBOANGA DEL SUR | 0968-4275334 | KA-75MCARINV32 | Jane | MINDANAO SOLIDMARK | TS | FD | W | Not Cooling | Widgets | Parts pouch thru LBC 81203128440 11-25-2025 | 2 | 2025-01-12 | 2025-01-12 10:30 | 2025-01-12 11:30 | Findings - NO POWER, Recommendation - FOR ORDER PARTS, Repair Done - REPLACED INVERTER BOARD COMPLETED | Com1 | Second Action
CDO-00010808 | 11/25/2025 | 09:46 am - 09:46 am | BACULIO | Recamadas, Lester | , B6 L13 Phase 1A, Villa Trinitas, Bugo, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0917-3076495 | KSG-IWF-10WFY-8K1M32-I | Rosselyn | ROBINSONS | INST | DC | C | For Installation | Gab Appliance Service Center - CDO |  | 1 | 11/24/2025 | 11/24/2025 09:30 am | 11/24/2025 02:00 pm | Findings - For Installation, Recommendation - Installation, Repair Done - Installed Unit/started up | Com1 | E-mail
CDO-00010809 | 11/25/2025 | 10:02 am - 10:03 am | BACULIO | Uy, Ralph | , Zone 3, Westlane, Lumbia, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0935-5789095 | KSM-IW20-WCT10M1M32 | Rosselyn | ROBINSONS | INST | DC | C | For Installation | Gab Appliance Service Center - CDO |  | 1 | 11/24/2025 | 11/24/2025 10:30 am | 11/24/2025 04:00 pm | Findings - For Installation, Recommendation - Installation, Repair Done - Installed Unit/started up | Com1 | E-mail
CDO-00010810 | 11/25/2025 | 03:01 pm - 03:08 pm | BACULIO | Bandola, Mary Grace | , , , Bagumbang, BONIFACIO, Misamis Occidental | 0930-7529294 | KEA-25BWR | Jane | MINDANAO SOLIDMARK | TS | FD | W | Button Not Functioning | Widgets | Customer complaint last saturday 11-22-2025 thru PS,schedule by ASP nov. 28,2025 due to weather condition | 1 | 11/28/2025 | 11/26/2025 04:00 pm | 11/26/2025 05:00 pm | Findings - Intermittent operation / Defect control board assy, Recommendation - Request control, Repair Done - Check up unit, customer request replaced unit | Com2 | Viber Mobile
CDO-00010811 | 11/26/2025 | 08:51 am - 08:51 am | BACULIO | SONER, NICO | N/A, B15 L24, GREENVILLE SUBD., BUGO, CAGAYAN DE ORO CITY (Capital), MISAMIS ORIENTAL | 0905-0366992 | KSM-IW10-WCT10M1M32 | Rosselyn | ROBINSONS | INST | DC | C | For Installation | Gab Appliance Service Center - CDO |  | 1 | 11/25/2025 | 11/25/2025 01:00 pm | 11/25/2025 04:40 pm | Findings - FOR INSTALLATION , Recommendation - Unit Ready to install, Repair Done - Done Install | Com1 | E-mail
CDO-00010812 | 11/26/2025 | 10:18 am - 10:35 am | BACULIO | Dagapioso, Pat Ray | , , PRK 6, POBLACION, NAAWAN, MISAMIS ORIENTAL | 0917-8548317 | KSM-IW15-WCT10M1M32 | Jessa | MINDANAO SOLIDMARK | INST | DC | C | For Installation | Flerics Appliance Service Center | FOR INSTALLATION | 1 | 11/26/2025 | 11/26/2025 11:00 am | 11/26/2025 04:00 pm | Findings - AC INSTALLATION, Recommendation - AC INSTALLATION, Repair Done - DONE INSTALLATION | Com1 | E-mail
CDO-00010813 | 11/26/2025 | 01:16 pm - 01:18 pm | BACULIO | AGENCIA RAMONA INC. - MAIN | , QUEZON AVE. , , POBLACION , ILIGAN CITY, LANAO DEL NORTE | 0917-6279459 | KLG-IF40-5G1M32-I | Sol | MINDANAO SOLIDMARK | INST | DC | C | For Installation | CKF Ref & Airconditioning Services |  | 1 | 11/26/2025 | 11/26/2025 11:10 am | 11/26/2025 02:43 pm | Findings - UNIT FOR INSTALLATION , Recommendation - INSTALLATION , Repair Done - INSTALLED/OK By CKF | Com1 | E-mail
CDO-00010814 | 11/26/2025 | 01:18 pm - 01:18 pm | BACULIO | BETE, ANTONIETA | , B25 L7, BELLA VITA SUBD. , INDAHAG, CAGAYAN DE ORO CITY (Capital), MISAMIS ORIENTAL | 0917-6279459 | KSG-IWF-20WFY-8K1M32-I | Roselyn | ROBINSONS | INST | DC | C | For Installation | Gab Appliance Service Center - CDO |  | 1 | 11/26/2025 | 11/26/2025 02:50 pm | 11/26/2025 03:35 pm | Findings - For installation , Recommendation - Unit Ready to install, Repair Done - Outdoor unit location not ready due to customer needs permission from neighbor's partition wall. and for her daughter's approval for special bracket. No exact schedule. | Inc-25 | E-mail
CDO-00010815 | 11/26/2025 | 04:07 pm - 04:10 pm | BACULIO | Beja, Jennylyn | , B1 L8, Sta. Barbara Subd., Kauswagan , CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0917-1838384 | KCB-BLC-8859T | Jane | ROBINSONS | TS | FD | W | Dripping/ Water Leak | Gab Appliance Service Center - CDO | Relayed to GAB ASP, as per customer lumalabas ang tubig sa ilalim ng unit nila di sa mismong gripo nito | 1 | 11/28/2025 | 11/28/2025 03:40 pm | 11/28/2025 04:50 pm | Findings - Hose disconnect, Recommendation - Reconnect hose, Repair Done - Reconnect hose to posistion unit is okay | Com1 | Mobile Hotline - SMS & Call
CDO-00010816 | 11/26/2025 | 04:16 pm - 04:17 pm | BACULIO | Portugues, Berlyn | , B-10 L-7, Tierra Nava Subdivision, Lumbia, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0999-8075204 | KSM-IW25-WCT10M1M32 | Jeanelyn | MINDANAO SOLIDMARK | INST | DC | C | For Installation | BRO Refrigeration and Air-conditioning Services |  | 1 | 11/26/2025 | 11/26/2025 03:00 pm | 11/26/2025 05:00 pm | Findings - For installation, Recommendation - For installation, Repair Done - Installation done. Unit ok | Com1 | E-mail
CDO-00010817 | 11/26/2025 | 04:18 pm - 04:19 pm | BACULIO | Lanzado, Mirafe | , , POBLACION, Poblacion, DINAS, ZAMBOANGA DEL SUR | 0993-5951705 | KWD-BLC-2088B | Alma | VIC IMPERIAL APP | TS | DC | W | Not Cooling | JRH Ref & Electronics Services |  | 1 | 11/26/2025 | 11/26/2025 01:11 pm | 11/26/2025 01:59 pm | Findings - DEFECTIVE MAIN BOARD, Recommendation - NEED MAINBOARD AS A WARRANTY UNIT, Repair Done - CHECKED UP- | Inc-06 | E-mail
CDO-00010818 | 11/27/2025 | 08:32 am - 08:35 am | BACULIO | Lanzado, Mirafe | , , POBLACION, Poblacion, DINAS, ZAMBOANGA DEL SUR | 0993-5951705 | KWD-BLC-2088B | Jane | VIC IMPERIAL APP | TS | FD | W | Not Cooling | JRH Ref & Electronics Services | Relayed to REAM ASP,parts pouch thru LBC 81203128444 11-27-2025 | 2 | 2025-03-12 | 2025-02-12 14:05 | 2025-02-12 14:59 | Findings - Defective main Board, Recommendation - For replacement parts, Repair Done - CHECKED UP- REPLACED MAINBOARD// UNIT OKEY | Com1 | Second Action
CDO-00010819 | 11/27/2025 | 11:23 am - 11:24 am | BACULIO | F & G Learning Hub | , PHASE 4A, NA, POBLACION, CITY OF VALENCIA, BUKIDNON | 0936-6119780 | KSM-IW15-WCT10M1M32 | Rosellyn | ROBINSONS | INST | DC | C | For Installation | Gab Appliance Service Center - CDO |  | 1 | 11/27/2025 | 11/27/2025 09:00 am | 11/27/2025 02:00 pm | Findings - For installation , Recommendation - Unit ready to install , Repair Done - Done installation | Com1 | E-mail
CDO-00010820 | 11/27/2025 | 02:10 pm - 02:12 pm | BACULIO | - Caidic, Jinky | -, -, -, Turno, DIPOLOG CITY (Capital), Zamboanga del Norte | 0935-6990034 | KCF-12SRWDC | Jane | VIC IMPERIAL APP | TS | FD | W | Defective Power Cord | J Airconditioning & Refrigeration Services | Relayed to JARS ASP, parts for pouch thru LBC 81203128445 | 2 | 2025-03-12 | 2025-03-12 15:30 | 2025-03-12 16:00 | Findings - Defective adaptor, Recommendation - replace parts,/parts received 12-3-2025, Repair Done - Done replaced adaptor,unit okay | Com1 | Second Action
CDO-00010821 | 11/27/2025 | 02:21 pm - 02:21 pm | BACULIO | Pagana Restaurant | , Heaven Road MSU, , Poblacion, MARAWI CITY (Capital), Lanao del Norte | 0965-4707381 | KLG-SF40-WBR6H1M32-I | Sol | MINDANAO SOLIDMARK | INST | DC | C | For Installation | CKF Ref & Airconditioning Services |  | 1 | 11/27/2025 | 11/27/2025 12:55 pm | 11/27/2025 04:15 pm | Findings - UNIT FOR INSTALLATION , Recommendation - INSTALLATION , Repair Done - INSTALLED/OK By CKF | Com1 | E-mail
CDO-00010822 | 11/27/2025 | 03:40 pm - 03:41 pm | BACULIO | DAVAO IMPERIAL APPLIANCE PLAZA DOS BRANCH | , , , VETERANS, ZAMBOANGA CITY, ZAMBOANGA DEL SUR | 0963-5609508 | KWD-BLC-2088B | Desiree | VIC IMPERIAL APP | TS | DC | W | Not Heating | Marjon Cool Ref. & Aircon Service Center Co. |  | 1 | 11/27/2025 | 11/27/2025 01:45 pm | 11/27/2025 02:30 pm | Findings - NOT HEATING, Recommendation - REPAIR TERMINAL WIRE- PUTOL, Repair Done - CHECKED UP AND CONNECT THE TERMINAL WIRE | Com1 | E-mail
CDO-00010823 | 11/27/2025 | 04:58 pm - 04:59 pm | BACULIO | Mabandus, Junairah | , B29 L36 , Xavier Estates Subd, , CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0915-3592587 | KSM-IW15-WCT10M1M32 | Jeanelyn | ASIAN HOMES | INST | DC | C | For Installation | BRO Refrigeration and Air-conditioning Services |  | 1 | 11/27/2025 | 11/27/2025 05:30 pm | 11/27/2025 07:00 pm | Findings - For installation, Recommendation - Installing aircon split type, Repair Done - Installation done. Unit ok | Com1 | E-mail
CDO-00010824 | 11/28/2025 | 11:09 am - 11:09 am | BACULIO | BENASA, ALVIN | , B90-L14 ROSE ST. PHASE 4, XAVIER ESTATES SUBD. , UPPER BALULANG , CAGAYAN DE ORO CITY (Capital), MISAMIS ORIENTAL | 0917-5725846 | KLG-IF40-5G1M32-I | Sol | MINDANAO SOLIDMARK | INST | DC | C | For Installation | CKF Ref & Airconditioning Services |  | 1 | 11/28/2025 | 11/28/2025 10:35 am | 11/28/2025 03:00 pm | Findings - UNIT FOR INSTALLATION , Recommendation - INSTALLATION , Repair Done - INSTALLED/OK By CKF | Com1 | E-mail
CDO-00010825 | 11/28/2025 | 11:30 am - 11:31 am | BACULIO | BUGAHOD, DEGIEL | , , IGOT, TURNO, DIPOLOG CITY (Capital), ZAMBOANGA DEL NORTE | 0917-4519772 | KSG-IWF-10WFY-8K1M32-I | John Maico | EMCOR INC. | INST | DC | C | For Installation | Emcor - CDO |  | 1 | 11/28/2025 | 11/28/2025 09:00 am | 11/29/2025 03:00 pm | Findings - For installation, Recommendation - For installation, Repair Done - DONE INSTALL UNIT | Com1 | E-mail
CDO-00010826 | 11/28/2025 | 11:35 am - 11:35 am | BACULIO | BUGAHOD, DEGIEL | , , IGOT, TURNO, DIPOLOG CITY (Capital), ZAMBOANGA DEL NORTE | 0917-4519772 | KSG-IWF-10WFY-8K1M32-I | John Maico | EMCOR INC. | INST | DC | C | For Installation | Emcor - CDO |  | 1 | 11/28/2025 | 11/28/2025 09:00 am | 11/29/2025 03:00 pm | Findings - For installation, Recommendation - For installation, Repair Done - DONE INSTALL UNIT | Com1 | E-mail
CDO-00010827 | 11/28/2025 | 03:24 pm - 03:24 pm | BACULIO | Salazar, Angelita | BLOCK 7 LOT 23, LOWER ALTA , ALTA TIERRA, TIGUMA, PAGADIAN CITY (Capital), ZAMBOANGA DEL SUR | 0909-4890722 | KWD-BLC-2088B | Sarah | VIC IMPERIAL APP | TS | DC | W | Not Functioning | JRH Ref & Electronics Services | CUSTOMER REFUSED TO REPAIR THE UNIT SINCE IT NEWLY PURCHASED AND INSIST FOR UNIT REPLACEMENT | 1 | 11/28/2025 | 11/28/2025 10:10 am | 11/28/2025 11:15 am | Findings - DEFECTIVE MAIN BOARD AND FLUT , Recommendation - NEED MAIN BOARD AND FLUT AS A WARRANTY UNIT, Repair Done - CHECKED UP- | Inc-06 | E-mail
CDO-00010828 | 11/28/2025 | 04:53 pm - 04:53 pm | BACULIO | KISOLON LGU | , , , KISOLON MUNICIPAL, SUMILAO, BUKIDNON | 0917-8108196 | KSM-IW10-WCT10M1M32 | Rosselyn | MINDANAO SOLIDMARK | INST | DC | C | For Installation | Gab Appliance Service Center - CDO |  | 1 | 11/28/2025 | 11/28/2025 01:00 pm | 11/28/2025 04:30 pm | Findings - For installation , Recommendation - Unit ready to install , Repair Done - Done Installed | Com1 | E-mail
CDO-00010829 | 11/29/2025 | 08:54 am - 08:56 am | BACULIO | San Antonio De Padua Church | , , , Nazareth, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0997-7521195 | KSM-IW25-WCT10M1M32 | Jeanelyn | ASIAN HOMES | INST | DC | C | For Installation | BRO Refrigeration and Air-conditioning Services |  | 1 | 11/28/2025 | 11/28/2025 05:00 pm | 11/28/2025 10:00 pm | Findings - For installation, Recommendation - Installing aircon split type, Repair Done - Installation done. Unit ok | Com1 | E-mail
CDO-00010830 | 11/29/2025 | 09:00 am - 09:05 am | BACULIO | Salazar, Angelita | BLOCK 7 LOT 23, LOWER ALTA , ALTA TIERRA, TIGUMA, PAGADIAN CITY (Capital), ZAMBOANGA DEL SUR | 0909-4890722 | KWD-BLC-2088B | Jane | VIC IMPERIAL APP | TS | FD | W | Others | JRH Ref & Electronics Services | Parts pouch thru LBC 81203128447 11-29-2025 | 2 | 11/28/2025 | 2025-05-12 11:00 | 2025-05-12 11:00 | Findings - , Recommendation - , Repair Done - parts received 12-4-2025 afternoon |  | Second Action
CDO-00010831 | 11/29/2025 | 11:15 am - 11:16 am | BACULIO | Emcor, Inc. | , , , Gusa, CAGAYAN DE ORO CITY (Capital), Misamis Oriental |  | n/a |  |  | SP | WI | COS | Sales of Parts |  | sale of parts |  | 11/29/2025 | 11/29/2025 11:18 am | 11/29/2025 11:20 am | Findings - Sale of parts, Recommendation - , Repair Done - Sale of parts Fan motor | Com1 | Customer Lounge
CDO-00010832 | 11/29/2025 | 12:05 pm - 12:05 pm | BACULIO | Catubig, Jerome | -, -, -, Poblacion, SIBUTAD, Zamboanga del Norte | 0920-9697466 | KSM-IW10-WCT10M1M32 | Erlinda | ASIAN HOMES | INST | DC | C | For Installation | J Airconditioning & Refrigeration Services |  | 1 | 11/29/2025 | 11/29/2025 09:20 am | 11/29/2025 01:00 pm | Findings - installation, Recommendation - Installation, Repair Done - Installation | Com1 | E-mail
CDO-00010833 | 11/29/2025 | 01:51 pm - 01:52 pm | BACULIO | AMITIE BEAUTY SALON | , Corrales St., , Brgy. 12, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0916-4809333 | KSG-IWF-30WFY-8K1M32-I | Key | VIC IMPERIAL APP | TS | DC | W | Unit Not Functioning | REM Cleanair Aircon Services Corporation CDO |  | 1 | 11/29/2025 | 11/15/2025 09:00 am | 11/15/2025 01:00 pm | Findings - Not cooling, Auto Off, Recommendation - For Replacement of Outdoor PCB and outdoor Sensor, Repair Done - checkn up only, request parts | Inc-06 | E-mail
CDO-00010834 | 11/29/2025 | 03:02 pm - 03:03 pm | BACULIO | LADRA, ALVIN | , ZONE 7 ACACIA EXT. , , MACANHAN, CAGAYAN DE ORO CITY (Capital), MISAMIS ORIENTAL | 0953-4706952 | KSM-IW15-WCT10M1M32 | Sol | ASIAN HOMES | INST | DC | C | For Installation | CKF Ref & Airconditioning Services |  | 1 | 11/29/2025 | 11/29/2025 01:30 pm | 11/29/2025 04:00 pm | Findings - UNIT FOR INSTALLATION , Recommendation - INSTALLATION , Repair Done - INSTALLED/OK By CKF | Com1 | E-mail
CDO-00010835 | 11/29/2025 | 03:24 pm - 03:25 pm | BACULIO | Capundag, Evelyn | -, Bolicon, -, Turno, DIPOLOG CITY (Capital), Zamboanga del Norte | 0995-1212810 | KWD-BLC-2088B | Erlinda | ASIAN HOMES | TS | DC | W | Others | J Airconditioning & Refrigeration Services |  | 2 | 11/29/2025 | 11/29/2025 09:35 am | 11/29/2025 10:40 am | Findings - Blinking lights/ board has defects, Recommendation - replaced parts, Repair Done - Check up | Inc-06 | Second Action
Legend:
PAO - Pick-up Admin Orders
DPO - Deliver of Dealer P.O.
DEF - Change Item
FAB - Fabrication of Bracket
CL - Copper Tube Claims
DEL - Delivery of Unit / Accessories
DSM - Dismantling
FPO - Unit for Pull-out
GC - General Cleaning
INST - Installation
MRK - Markings
PV - Project Visit
REP - Replacement as per dealer request
REPL - Replacement of Unit
SCF - Deliver / Pull-out of Scaffolding
SP - Sale of Parts
STU - Start-up
SVEY - Survey
TS - Troubleshooting
DIS - Dispose Parts
PGC - Pumpdown General Cleaning
Summary Per Job Type
JOB CLASS | CC | WI | BI | PO | FD | DC | RD | RM | TP | TOTAL
PAO | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DPO | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DEF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FAB | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CL | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DEL | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DSM | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FPO | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
GC | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
INST | 0 | 0 | 0 | 0 | 1 | 89 | 0 | 0 | 0 | 90
MRK | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 2
PV | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REP | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REPL | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1
SCF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SP | 0 | 21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 21
STU | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SVEY | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TS | 0 | 0 | 1 | 0 | 23 | 20 | 0 | 0 | 0 | 44
DIS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PGC | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1
TOTAL | 0 | 21 | 1 | 0 | 26 | 109 | 0 | 0 | 2 | 159