## sjr_masterlist (4)
FROM : | 2025-01-11 | TO : | 11-30-2025
Location Warehouse : | CEBU BRANCH
User : | All User
SJR No. | SJR Date | SJR Start/End Time | CSR Code | Customer Name | Address | Contact No. | Model | Relayed By | Dealer | Job Class | Job Type | Wty Type | Complaint | Tech Name | SJR Notes | No. of Visit | Promised Date | Date Attended | Date Finished | Repair Done | Job Status | Call Origin
CEB-00010788 | 2025-03-11 | 08:50 am - 08:51 am | DINOY | Jacalan, Pia | , Kagudoy , , Bgry. Basak, LAPU-LAPU CITY (OPON), cebu | 0995-0117189 | KCB-BLC-8859T |  | ASIAN HOMES | TS | DC | W | E5 Error Code | H-A Ref. and Airconditioning Repair & Services |  | 1 | 2025-03-11 | 2025-07-11 01:00 | 2025-07-11 01:00 | Findings - Def. Pcb board, Recommendation - for replace parts, Repair Done - check up only | Com2 | E-mail
CEB-00010789 | 2025-03-11 | 10:05 am - 10:06 am | DINOY | R.V Electrical Merchanical Engineering Services | , , , Bgry. Cebu, CEBU CITY (Capital), cebu | 0938-1352176 | KSG-100B1G |  |  | SP | WI | COS | Sales of Parts |  |  | 1 | 2025-03-11 | 2025-03-11 01:00 | 2025-03-11 01:00 | Findings - SOP, Recommendation - SOP, Repair Done - SOP | Com1 | E-mail
CEB-00010790 | 2025-06-11 | 12:59 pm - 01:00 pm | DINOY | Uy, Jon Earvin | 6th St. San Antonio Village, , , Apas, CEBU CITY (Capital), Cebu | 0917-0758175 | KAM-95CMC32 |  | ASIAN HOMES | TS | DC | W | Fan Not Functioning | H-A Ref. and Airconditioning Repair & Services |  | 1 | 10/30/2025 | 10/30/2025 12:00 am | 10/30/2025 12:00 am | Findings - fan motor won't on, Recommendation - check the fan motor, Repair Done - no defect found / check up only | Com1 | E-mail
CEB-00010791 | 2025-06-11 | 01:13 pm - 01:13 pm | DINOY | Balicoco, Merry Josephine | , , , Basdiot, MOALBOAL, Cebu | 0956-1874057 | KSM-IW10-WCT10M1M32 |  | ASIAN HOMES | INST | DC | C | For Installation | H-A Ref. and Airconditioning Repair & Services |  | 1 | 10/30/2025 | 10/30/2025 12:00 am | 10/30/2025 12:00 am | Findings - for installation, Recommendation - Install the unit, Repair Done - Installation of Class A Unit | Com1 | E-mail
CEB-00010792 | 2025-06-11 | 01:13 pm - 01:14 pm | DINOY | Royal Prince Travel | , , , Don Mariano St., CEBU CITY (Capital), Cebu | 0917-3217645 | KLG-IF40-5G1M32-I |  | ASIAN HOMES | INST | DC | C | For Installation | H-A Ref. and Airconditioning Repair & Services |  | 2 | 10/29/2025 | 10/29/2025 12:00 am | 10/29/2025 12:00 am | Findings - for installation, Recommendation - Install the unit, Repair Done - Installation of Class A Unit | Com1 | E-mail
CEB-00010793 | 2025-06-11 | 01:32 pm - 01:32 pm | DINOY | De Veyra, Claudette | n/a, Calanipawan Rd., Lolita Village, Brgy. 96, TACLOBAN CITY (Capital), Leyte | 0917-4980955 | KSM-IW10-WCT10M1M32 |  | ROBINSONS | INST | DC | C | For Installation | Carl Electronics and Refrigeration |  | 1 | 10/30/2025 | 10/30/2025 12:00 am | 10/30/2025 12:00 am | Findings - for installation, Recommendation - new SAC for installation, Repair Done - installation completed | Com1 | E-mail
CEB-00010794 | 2025-06-11 | 01:34 pm - 01:34 pm | DINOY | De Veyra, Claudette ORTEGA | n/a, Calanipawan Rd., Lolita Village, Brgy. 96, TACLOBAN CITY (Capital), LEYTE | 0917-4980955 | KSM-IW10-WCT10M1M32 |  | ROBINSONS | INST | DC | C | For Installation | Carl Electronics and Refrigeration |  | 1 | 10/30/2025 | 10/30/2025 12:00 am | 10/30/2025 12:00 am | Findings - for installation, Recommendation - new SAC for installation, Repair Done - installation completed | Com1 | E-mail
CEB-00010795 | 2025-06-11 | 01:58 pm - 02:00 pm | DINOY | Tokyo Dress Cebu Corp. | Mepz 1, , , Ibo, LAPU-LAPU CITY (OPON), Cebu | 3401-284 | KD-30L410 |  | ASIAN HOMES | TS | DC | W | Check - Up Only | H-A Ref. and Airconditioning Repair & Services |  | 1 | 10/30/2025 | 10/30/2025 12:00 am | 10/30/2025 12:00 am | Findings - Auto Drip Compressor in 30 sec. / Def. sensor, Recommendation - for replace sensor, Repair Done - Check up Only | Com2 | E-mail
CEB-00010796 | 2025-06-11 | 02:00 pm - 02:10 pm | DINOY | Quinones, Joseph | Blk 1 Lot 2 Velmira Subd., , , , MINGLANILLA, Cebu | 0949-1886083 | KSG-IWF-20WFY-8K1M32-I |  | ASIAN HOMES | INST | DC | C | For Installation | H-A Ref. and Airconditioning Repair & Services |  | 1 | 10/29/2025 | 10/29/2025 12:00 am | 10/29/2025 12:00 am | Findings - for installation, Recommendation - Install the unit, Repair Done - Installation of Class A Unit | Com1 | E-mail
CEB-00010797 | 2025-06-11 | 02:10 pm - 02:10 pm | DINOY | Provincial Government of Biliran | , National Highway, Calumpang, Calumpang, NAVAL (Capital), Biliran | 0916-3628137 | KSM-IW25-WCT10M1M32 |  | RL APPLIANCE | INST | DC | C | For Installation | GAB Appliance Service Center - Cebu |  | 1 | 10/30/2025 | 10/30/2025 11:00 am | 10/30/2025 03:00 pm | Findings - For Installation, Recommendation - For Installation, Repair Done - Installation SAC Done | Com1 | E-mail
CEB-00010798 | 2025-06-11 | 02:14 pm - 02:14 pm | DINOY | Pesigan, Marie Matt | , Noay Drive Purok Matinabangon, , Cantil-e, DUMAGUETE CITY (Capital), Negros Oriental | 0926-0365648 | KSG-IWF-30WFY-8K1M32-I |  | ABENSON INC. | INST | DC | C | For Installation | GAB Appliance Service Center - Cebu |  | 2 | 10/30/2025 | 10/30/2025 09:00 am | 10/30/2025 01:00 pm | Findings - For Installation, Recommendation - For Installation, Repair Done - Installation SAC Done | Com1 | E-mail
CEB-00010799 | 2025-06-11 | 02:14 pm - 02:14 pm | DINOY | Montero, Dale Jemar | Solinea Tower 2-27 A, Cebu Business Park, , , CEBU CITY (Capital), Cebu | 0949-3516888 | KSM-IW20-WCT10M1M32 |  | ASIAN HOMES | INST | DC | C | For Installation | H-A Ref. and Airconditioning Repair & Services |  | 2 | 10/30/2025 | 10/30/2025 12:00 am | 10/30/2025 12:00 am | Findings - for installation, Recommendation - Install the unit, Repair Done - Installation of Class A Unit | Com1 | E-mail
CEB-00010800 | 2025-06-11 | 02:14 pm - 02:15 pm | DINOY | Salvoro, Lotlot | Portal West 3rd Floor, , , Siliiman Avenue, DUMAGUETE CITY (Capital), Negros Oriental | 0917-6309157 | KSG-IWF-30WFY-8K1M32-I |  | ROBINSONS | INST | DC | C | For Installation | GAB Appliance Service Center - Cebu |  | 1 | 10/30/2025 | 10/30/2025 10:00 am | 10/30/2025 02:00 pm | Findings - For Installation, Recommendation - For Installation, Repair Done - Installation SAC Done | Com1 | E-mail
CEB-00010801 | 2025-06-11 | 02:22 pm - 02:22 pm | DINOY | romero, Chrizbell | , , , Bgry. poblacion Boljoon, CEBU CITY (Capital), cebu | 0947-4803214 | KSM-IW15-WCT10M1M32 |  | ABENSON INC. | TS | DC | C | Check - Up Only | GAB Appliance Service Center - Cebu |  | 1 | 10/30/2025 | 10/30/2025 11:00 am | 10/30/2025 01:00 am | Findings - Lose Contact Field Wiring, Recommendation - For Repair Lose Connection, Repair Done - Fix Field Wiring Connection | Com1 | E-mail
CEB-00010802 | 2025-06-11 | 02:25 pm - 02:25 pm | DINOY | Tibon, Rolando | , 289 H Abellana St., , Bgry. Basak, MANDAUE CITY, Cebu | 09664653302 | KSG-IWF-30WFY-8K1M32-I |  | GAB APPLIANCE SERVICE CTR. | INST | DC | C | For Installation | GAB Appliance Service Center - Cebu |  | 1 | 10/30/2025 | 10/30/2025 08:40 am | 10/30/2025 04:55 pm | Findings - For Installation, Recommendation - For Installation, Repair Done - Installation SAC Done | Com1 | E-mail
CEB-00010803 | 2025-06-11 | 02:35 pm - 02:35 pm | DINOY | Aouie Creative Corporation | , Portal West 3rd Floor, , Siliiman Avenue, DUMAGUETE CITY (Capital), Negros Oriental | 0927-8043031 | KSM-IW20-WCT10M1M32 |  | ROBINSONS | INST | DC | C | For Installation | GAB Appliance Service Center - Cebu |  | 1 | 10/31/2025 | 10/31/2025 09:00 am | 10/31/2025 05:00 pm | Findings - For Installation, Recommendation - For Installation, Repair Done - Installation SAC Done | Com1 | E-mail
CEB-00010804 | 2025-06-11 | 02:35 pm - 02:35 pm | DINOY | Aouie Creative Corporation | , Portal West 3rd Floor, , Siliiman Avenue, DUMAGUETE CITY (Capital), Negros Oriental | 0927-8043031 | KSM-IW10-WCT10M1M32 |  | ROBINSONS | INST | DC | C | For Installation | GAB Appliance Service Center - Cebu |  | 1 | 10/31/2025 | 10/31/2025 09:00 am | 10/31/2025 05:00 pm | Findings - For Installation, Recommendation - For Installation, Repair Done - Installation SAC Done | Com1 | E-mail
CEB-00010805 | 2025-06-11 | 02:36 pm - 02:36 pm | DINOY | Aouie Creative Corporation | , Portal West 3rd Floor, , Siliiman Avenue, DUMAGUETE CITY (Capital), Negros Oriental | 0927-8043031 | KSM-IW10-WCT10M1M32 |  | ROBINSONS | INST | DC | C | For Installation | GAB Appliance Service Center - Cebu |  | 1 | 10/31/2025 | 10/31/2025 08:00 am | 10/31/2025 05:00 pm | Findings - For Installation, Recommendation - For Installation, Repair Done - Installation SAC Done | Com1 | E-mail
CEB-00010806 | 2025-06-11 | 02:38 pm - 02:38 pm | DINOY | Blanco, Dennis | , , , East Balabag , VALENCIA, Negros Oriental | 0995-3503112 | KSG-IWF-15WFY-8K1M32-I |  | ROBINSONS | INST | DC | C | For Installation | GAB Appliance Service Center - Cebu |  | 1 | 10/31/2025 | 10/31/2025 09:00 am | 10/31/2025 01:00 pm | Findings - For Installation, Recommendation - For Installation, Repair Done - Installation SAC Done | Com1 | E-mail
CEB-00010807 | 2025-06-11 | 02:39 pm - 02:39 pm | DINOY | Jacalan, Pia | , Kagudoy , , Bgry. Basak, LAPU-LAPU CITY (OPON), cebu | 0995-0117189 | KCB-BLC-8859T |  | ASIAN HOMES | TS | DC | W | Check up Only | H-A Ref. and Airconditioning Repair & Services |  | 1 | 2025-07-11 | 2025-07-11 01:00 | 2025-07-11 01:00 | Findings - Def. Pcb board, Recommendation - For Replace Main Pcb, Repair Done - Check up only | Com2 | E-mail
CEB-00010808 | 2025-07-11 | 03:04 pm - 03:11 pm | DINOY | IRB Enterprises | , , , Bgry, San Guillermo,Matag-ob Leyte, ORMOC CITY, cebu | 0906-2625581 | KLG-IF40-5G1M32-I |  | GAB APPLIANCE SERVICE CTR. | INST | DC | C | For Installation | KLK Aircon and Refrigeration Services |  | 1 | 09/24/2025 | 10/24/2025 09:00 am | 10/29/2025 03:00 pm | Findings - FOR INSTALLATION, Recommendation - FOR INSTALLATION NEW UNIT, Repair Done - DONE INSTALLED / UNIT IS OKAY | Com1 | E-mail
CEB-00010809 | 2025-08-11 | 09:08 am - 09:14 am | COTCOT | Denura, Dr. Susan | Tower 2 Unit 922, , , Mandani Bay, MANDAUE CITY, Cebu | 0917-7241002 | KCB-BLC-8859T |  | ASIAN HOMES | TS | DC | W | Check - Up Only | H-A Ref. and Airconditioning Repair & Services |  | 1 | 2025-12-11 | 2025-08-11 01:00 | 2025-08-11 01:00 | Findings - def. sensor, Recommendation - for replace parts, Repair Done - Check up Only | Com2 | E-mail
CEB-00010810 | 2025-08-11 | 09:30 am - 09:30 am | COTCOT | Kamalig ni Terong | , Telegrafo road, Telegrafo, Telegrafo , TOLOSA, Leyte | 0917-5420122 | KSG-IWF-30WFY-8K1M32-I |  | RL APPLIANCE | INST | DC | C | For Installation | GAB Appliance Service Center - Cebu |  | 1 | 2025-06-11 | 2025-07-11 10:00 | 2025-07-11 14:00 | Findings - For Installation, Recommendation - For Installation, Repair Done - Installation SAC Done | Com1 | E-mail
CEB-00010811 | 2025-08-11 | 09:30 am - 09:32 am | COTCOT | IRB Enterprises | , , , Bgry, San Guillermo,Matag-ob Leyte, ORMOC CITY, cebu | 0906-2625581 | KLG-IF40-5G1M32-I |  | GAB APPLIANCE SERVICE CTR. | INST | DC | C | For Installation | KLK Aircon and Refrigeration Services |  | 2 | 09/29/2025 | 10/24/2025 08:00 am | 10/29/2025 03:00 pm | Findings - FOR INSTALL, Recommendation - FOR INSTALLATION NEW UNIT, Repair Done - DONE INSTALLED / UNIT IS OKAY | Com1 | E-mail
CEB-00010812 | 2025-08-11 | 01:28 pm - 01:29 pm | COTCOT | Panilagan, Janice | Blk 7 lot 71 Casa mira, , , , CITY OF NAGA, Cebu | 0946-0700655 | KSM-IW10-WCT10M1M32 |  | ASIAN HOMES | INST | DC | C | For Installation | H-A Ref. and Airconditioning Repair & Services |  | 1 | 2025-06-11 | 2025-06-11 | 2025-06-11 | Findings - For installation, Recommendation - install the unit, Repair Done - installation of class A unit | Com1 | E-mail
CEB-00010813 | 2025-08-11 | 01:29 pm - 01:31 pm | COTCOT | Villaver, Miliza | , , , Abuno, MINGLANILLA, Cebu | 0951-5797639 | KSM-IW10-WCT10M1M32 |  | ASIAN HOMES | INST | DC | C | For Installation | H-A Ref. and Airconditioning Repair & Services |  | 1 | 2025-06-11 | 2025-06-11 | 2025-06-11 | Findings - For installation, Recommendation - install the unit, Repair Done - Installation of class A unit | Com1 | E-mail
CEB-00010814 | 2025-08-11 | 01:33 pm - 01:33 pm | COTCOT | Orquinia, Vilnia | N/A, N/A, N/A, Kamsumangkay, BALANGIGA, Eastern Samar | 0945-4415371 | KSG-IWF-10WFY-8K1M32-I |  | ROBINSONS | INST | DC | C | For Installation | Carl Electronics and Refrigeration | PALO-CARL ELECTRONICS TEAM | 1 | 10/30/2025 | 2025-08-11 09:00 | 2025-08-11 10:00 | Findings - for installation, Recommendation - new SAC for installation, Repair Done - Installation complete | Com1 | E-mail
CEB-00010815 | 2025-08-11 | 01:33 pm - 01:40 pm | COTCOT | Orquinia, Vilnia | N/A, N/A, N/A, Kamsumangkay, BALANGIGA, Eastern Samar | 0945-4415371 | KSG-IWF-10WFY-8K1M32-I |  | ROBINSONS | INST | DC | C | For Installation | Carl Electronics and Refrigeration | PALO-CARL ELECTRONICS TEAM | 1 | 10/30/2025 | 2025-08-11 | 2025-08-11 | Findings - for installation, Recommendation - new SAC for installation, Repair Done - Installation complete | Com1 | E-mail
CEB-00010816 | 2025-08-11 | 01:44 pm - 01:45 pm | COTCOT | UrbanPoint Corporation | Asian Premier Res., , , , CEBU CITY (Capital), Cebu | 0951-9835792 | KSM-IW10-WCT10M1M32 |  | ASIAN HOMES | INST | DC | C | For Installation | H-A Ref. and Airconditioning Repair & Services |  | 1 | 2025-06-11 | 2025-06-11 | 2025-06-11 | Findings - For installation, Recommendation - install the unit, Repair Done - Installation of class A unit | Com1 | E-mail
CEB-00010817 | 2025-08-11 | 01:46 pm - 01:47 pm | COTCOT | Iventures Philippines Corp. | , , , Guadalupe, CEBU CITY (Capital), Cebu | 0995-6708026 | KSM-IW20-WCT10M1M32 |  | ASIAN HOMES | INST | DC | C | For Installation | H-A Ref. and Airconditioning Repair & Services |  | 2 | 2025-06-11 | 2025-06-11 | 2025-06-11 | Findings - for installation, Recommendation - Install the unit, Repair Done - Installation of Class A Unit | Com1 | E-mail
CEB-00010818 | 2025-08-11 | 01:47 pm - 01:48 pm | COTCOT | Iventures Philippines Corp. | , , , Guadalupe, CEBU CITY (Capital), Cebu | 0995-6708026 | KSM-IW20-WCT10M1M32 |  | ASIAN HOMES | INST | DC | C | For Installation | H-A Ref. and Airconditioning Repair & Services |  | 2 | 2025-06-11 | 2025-06-11 | 2025-06-11 | Findings - for installation, Recommendation - Install the unit, Repair Done - Installation of Class A Unit | Com1 | E-mail
CEB-00010819 | 2025-08-11 | 01:50 pm - 01:50 pm | COTCOT | Presbitero, Junard | 282 Gorordo Ave., , , Lahug, CEBU CITY (Capital), Cebu | 0922-5950110 | KSG-IWF-25WFY-8K1M32-I |  | ASIAN HOMES | INST | DC | C | For Installation | H-A Ref. and Airconditioning Repair & Services |  | 1 | 2025-08-11 | 2025-08-11 | 2025-08-11 | Findings - for installation, Recommendation - Install the unit, Repair Done - Installation of Class A Unit | Com1 | E-mail
CEB-00010820 | 2025-08-11 | 02:35 pm - 02:39 pm | COTCOT | Rivera, Roy Pelayo | B-1, Lot 13, Kassel Subdivision, Tacloban, TACLOBAN CITY (Capital), Leyte | 0951-8084021 | KAM-95CMC32 |  | VIC IMPERIAL APP | TS | PO | W | Not Cooling | Carl Electronics and Refrigeration |  | 1 | 2025-11-11 | 10/29/2025 09:00 am | 10/29/2025 11:00 am | Findings - Def. Compressor Not Cooling, Recommendation - For system reprocess / Replaced Comrpessor, Repair Done - System Reprocess /Replaced Compressor | Inc-01 | E-mail
CEB-00010821 | 2025-08-11 | 04:36 pm - 04:37 pm | COTCOT | Tagapan, Nilo | N/A, N/A, Sampaguita Village, Tacloban, TACLOBAN CITY (Capital), Leyte | 0906-9650979 | KA-75MCARINV32 |  | VIC IMPERIAL APP | TS | DC | W | Not Cooling | Carl Electronics and Refrigeration | PALO-CARL ELECTRONICS TEAM | 1 | 2025-07-11 | 2025-08-11 13:00 | 2025-08-11 14:00 | Findings - not cooling and defective display board, Recommendation - customer demand replacement of display board, Repair Done - check-up only | Com1 | E-mail
CEB-00010822 | 2025-08-11 | 04:46 pm - 04:49 pm | COTCOT | Jacalan, Pia | , Kagudoy , , Bgry. Basak, LAPU-LAPU CITY (OPON), cebu | 0995-0117189 | KCB-BLC-8859T |  | ASIAN HOMES | TS | DC | W | Not Cooling | H-A Ref. and Airconditioning Repair & Services |  | 1 | 2025-10-11 | 2025-10-11 | 2025-10-11 | Findings - Def. Pcb board & sensor, Recommendation - for replace parts, Repair Done - Replaced Pcb board & Sensor | Com1 | E-mail
CEB-00010823 | 2025-10-11 | 08:21 am - 08:22 am | COTCOT | Alardr, Mary Jean | Unit 16, dela vina st., semblante townhomes,, Bgry.Sambag , CITY OF BOGO, Cebu | 0927-8350729 | KAG-100WCINV |  | ASIAN HOMES | TS | FD | C | Check - Up Only | Cuartofrio Electronic Service Center |  | 1 | 2025-10-11 | 2025-10-11 01:00 | 2025-10-11 01:00 | Findings - Cancell - Customer Will Call Again, Recommendation - Cancell - Customer Will Call Again, Repair Done - Cancell - Customer Will Call Again | NSC03 | E-mail
CEB-00010824 | 2025-10-11 | 10:53 am - 10:54 am | DINOY | Denura, Dr. Susan | Tower 2 Unit 922, , , Mandani Bay, MANDAUE CITY, Cebu | 0917-7241002 | KCB-BLC-8859T |  | ASIAN HOMES | TS | DC | W | Not Cooling | H-A Ref. and Airconditioning Repair & Services |  | 2 | 2025-10-11 | 11/14/2025 01:00 am | 11/14/2025 01:00 am | Findings - def. sensor, Recommendation - for replace parts, Repair Done - Replaced Sensor | Com1 | E-mail
CEB-00010825 | 2025-10-11 | 10:58 am - 11:00 am | DINOY | Jacalan, Pia | , Kagudoy , , Bgry. Basak, LAPU-LAPU CITY (OPON), cebu | 0995-0117189 | KCB-BLC-8859T |  | ASIAN HOMES | TS | DC | W | Not Cooling | H-A Ref. and Airconditioning Repair & Services |  | 2 | 2025-10-11 | 2025-10-11 01:00 | 2025-10-11 01:00 | Findings - Def. Pcb board & sensor, Recommendation - for replace parts, Repair Done - Replaced Pcb board & Sensor | Com1 | E-mail
CEB-00010826 | 2025-10-11 | 11:16 am - 11:16 am | DINOY | Serad, Rachelle | , Blk 27 Lot 18 , Deca Homes 5, Brgy, basak, LAPU-LAPU CITY (OPON), Cebu | 0917-8073344 | KSM-IW15-4F1M |  | ASIAN HOMES | TS | FD | C | Not Cooling | H-A Ref. and Airconditioning Repair & Services |  | 1 | 2025-10-11 | 2025-10-11 01:00 | 2025-10-11 01:00 | Findings - Def. Pcb Assy, Recommendation - For Replaced Pcb, Repair Done - Check up Only | Com2 | E-mail
CEB-00010827 | 2025-10-11 | 11:38 am - 11:39 am | DINOY | Serad, Rachelle | , Blk 27 Lot 18 , Deca Homes 5, Brgy, basak, LAPU-LAPU CITY (OPON), Cebu | 0917-8073344 | KSM-IW15-4F1M |  | ASIAN HOMES | TS | FD | C | Not Cooling | H-A Ref. and Airconditioning Repair & Services |  | 1 | 2025-10-11 | 2025-10-11 01:00 | 2025-10-11 01:00 | Findings - Def. Pcb Assy , Recommendation - customer declined to Repair the unit, Repair Done - Check up Only | Com2 | E-mail
CEB-00010828 | 2025-10-11 | 12:45 pm - 12:46 pm | DINOY | K.L.K.A | , , , Bgry. bangkal, LAPU-LAPU CITY (OPON), Cebu | 0966-7424120 | KAG-150RSINV |  | ASIAN HOMES | SP | WI | COS | Sales of Parts |  |  | 1 | 2025-10-11 | 2025-10-11 01:00 | 2025-10-11 01:00 | Findings - SOP, Recommendation - SOP, Repair Done - SOP | Com1 | Customer Lounge
CEB-00010829 | 2025-10-11 | 01:59 pm - 01:59 pm | COTCOT | Palcoto, Ariel | , , Sto. Nino Village, Bgry. Banilad, CEBU CITY (Capital), Cebu | 0917-8033162 | KSM-25MB1INV |  |  | SP | WI | COS | Sales of Parts |  |  | 1 | 2025-10-11 | 2025-10-11 01:00 | 2025-10-11 01:00 | Findings - SOP, Recommendation - SOP, Repair Done - SOP | Com1 | Customer Lounge
CEB-00010830 | 2025-10-11 | 04:42 pm - 04:44 pm | DINOY | Abella, Rafel | none, none, Maria Luisa Village, Banilad Cebu, MANDAUE CITY, Cebu | 0926-0059299 | KEA-60BDRDCA |  | ECHO ELECTRICAL SUPPLY | TS | DC | W | Can't Dispense Water | Cuartofrio Electronic Service Center | Deffective motor pump | 1 | 10/29/2025 | 10/29/2025 01:00 pm | 10/29/2025 02:00 pm | Findings - Defective motor pump, Recommendation - For replacement water pump, Repair Done - Check-up only | Com2 | E-mail
CEB-00010831 | 2025-11-11 | 08:24 am - 08:24 am | DINOY | Go, Joana | , Colon Street, , Bgry. Sto.nino, CEBU CITY (Capital), Cebu | 0917-5490039 | SAC-FDC |  |  | SVEY | FD | C | For Survey | H-A Ref. and Airconditioning Repair & Services |  | 1 | 2025-12-11 | 2025-12-11 01:00 | 2025-11-11 01:00 | Findings - For survey, Recommendation - Unit recommended 4 units of wall mounted Aircon (1HP), Repair Done - Survey the area | Com1 | E-mail
CEB-00010832 | 2025-11-11 | 09:43 am - 09:44 am | DINOY | Roble, Jose | , , , Bgry. Mactan, LAPU-LAPU CITY (OPON), cebu | 0968-5532950 | KWD-BLC-2088B |  | ASIAN HOMES | TS | FD | W | Malfunctioning | H-A Ref. and Airconditioning Repair & Services |  | 1 | 2025-11-11 | 2025-11-11 01:00 | 2025-11-11 01:00 | Findings - No defect Found , Recommendation - unit is functioning ok, , Repair Done - Check up Only | Com1 | E-mail
CEB-00010833 | 2025-11-11 | 10:10 am - 10:11 am | DINOY | Rivera, Roy Pelayo | B-1, Lot 13, Kassel Subdivision, Tacloban, TACLOBAN CITY (Capital), Leyte | 0951-8084021 | KAM-95CMC32 |  | VIC IMPERIAL APP | TS | PO | W | Not Cooling | Carl Electronics and Refrigeration |  | 3 | 2025-11-11 | 2025-12-11 01:00 | 2025-12-11 01:00 | Findings - For Delivery, Recommendation - For Delivery Of Shop Repair, Repair Done - Pick Up By Customer | Com1 | E-mail
CEB-00010834 | 2025-11-11 | 02:25 pm - 02:25 pm | DINOY | JBD Airconditioning Service | , , , Bgry.Ubay Bohol, CEBU CITY (Capital), Cebu | 095-02686608 | n/a |  |  | SP | WI | COS | Sales of Parts |  |  | 1 | 2025-11-11 | 2025-11-11 01:00 | 2025-11-11 01:00 | Findings - SOP, Recommendation - SOP, Repair Done - SOP | Com1 | Customer Lounge
CEB-00010835 | 2025-11-11 | 03:30 pm - 03:31 pm | DINOY | Trazona, Kisha Marie | , , , Candugay, BARILI, Cebu | 0919-0954522 | KSM-IW15-WCT10M1M32 |  | ASIAN HOMES | INST | DC | C | For Installation | H-A Ref. and Airconditioning Repair & Services |  | 1 | 2025-10-11 | 2025-10-11 | 2025-10-11 | Findings - for installation, Recommendation - Install the unit, Repair Done - Installation of Class A Unit | Com1 | E-mail
CEB-00010836 | 2025-11-11 | 03:55 pm - 03:55 pm | DINOY | Gentallan, Clyde | , BLk8 lot11 , Country Homes , Bgry.Pajac, LAPU-LAPU CITY (OPON), cebu | 0920-2626565 | KSM-IW15-WCT10M1M32 |  | ASIAN HOMES | INST | DC | C | For Installation | H-A Ref. and Airconditioning Repair & Services |  | 1 | 2025-08-11 | 2025-08-11 | 2025-08-11 | Findings - for installation, Recommendation - Install the unit, Repair Done - Installation of Class A Unit | Com1 | E-mail
CEB-00010837 | 2025-11-11 | 03:55 pm - 03:56 pm | DINOY | Asian Home Appliance Center (Mandaue) | Centro Mandaue Branch, , , , MANDAUE CITY, Cebu | 0918-9483595 | KWD-BLC-2088B |  | ASIAN HOMES | TS | DC | W | Can't Dispense Water | H-A Ref. and Airconditioning Repair & Services |  | 1 | 2025-11-11 | 2025-11-11 | 2025-11-11 | Findings - def. Pump Switch, Recommendation - for replace parts, Repair Done - Check up Only | Com1 | E-mail
CEB-00010838 | 2025-11-11 | 03:57 pm - 03:57 pm | DINOY | Konstrak, JM Collera | NA, NA, NA, Barangay Linao, ORMOC CITY, Leyte | 0918-9117042 | KSM-IW15-WCT10M1M32 |  | RL APPLIANCE | INST | DC | C | For Installation | KLK Aircon and Refrigeration Services |  | 1 | 10/21/2025 | 09/24/2025 08:00 am | 09/29/2025 03:00 pm | Findings - FOR INSTALL, Recommendation - FOR INSTALLATION NEW UNIT, Repair Done - DONE INSTALLED / UNIT IS OKAY | Com1 | E-mail
CEB-00010839 | 2025-11-11 | 04:25 pm - 04:25 pm | DINOY | Villablanca, Aeron | , National Highway, Abucay, Brgy. 91, TACLOBAN CITY (Capital), Leyte | 0908-3889062 | KAG-100WCINV |  | RL APPLIANCE | TS | DC | W | Not Cooling | GAB Appliance Service Center - Cebu |  | 1 | 2025-11-11 | 2025-11-11 01:00 | 2025-11-11 01:00 | Findings - Def. Main Pcb, Recommendation - For Replaced Pcb assy. , Repair Done - Check up Only | Com2 | E-mail
CEB-00010840 | 2025-12-11 | 09:39 am - 09:40 am | DINOY | Kew Foods Corporation | , JA CLARIN ST, , Bgry. COGON, TAGBILARAN CITY, Bohol, cebu | 0942-4559044 | KEA-120BDR |  | GAB APPLIANCE SERVICE CTR. | TS | FD | W | Malfunctioning | JBD Ubay Bohol Ref and Airconditioning |  | 2 | 11/15/2025 | 11/15/2025 01:00 pm | 11/15/2025 03:00 pm | Findings - def. Fan Motor, Recommendation - For Replace Fan Motor, , Repair Done - Check up Only | Com2 | E-mail
CEB-00010841 | 2025-12-11 | 09:40 am - 09:41 am | DINOY | Kew Foods Corporation | , JA CLARIN ST, , Bgry. COGON, TAGBILARAN CITY, Bohol, cebu | 0942-4559044 | KEA-120BDR |  | GAB APPLIANCE SERVICE CTR. | TS | FD | W | Malfunctioning | JBD Ubay Bohol Ref and Airconditioning |  | 2 | 11/15/2025 | 11/15/2025 01:00 pm | 11/15/2025 03:00 pm | Findings - def. Fan Motor, Recommendation - For Replace Fan Motor, , Repair Done - Check up Only | Com2 | E-mail
CEB-00010842 | 2025-12-11 | 10:33 am - 10:33 am | DINOY | H-Advance Ref. and Airconditioning Repair & Services | , , , Poblacion, Carcar Cebu, CITY OF CARCAR, Cebu | 0942-2426668 | n/a |  |  | SP | WI | COS | Sales of Parts |  |  | 1 | 2025-12-11 | 2025-12-11 01:00 | 2025-12-11 01:00 | Findings - SOP, Recommendation - SOP, Repair Done - SOP | Com1 | E-mail
CEB-00010843 | 2025-12-11 | 02:57 pm - 02:58 pm | DINOY | Tolentino, Jessie | , Phase 6 Rupaz St., V&G Subd,, Brgy. 109A, TACLOBAN CITY (Capital), Leyte | 0917-3248408 | KSM-IW10-WCT10M1M32 |  | RL APPLIANCE | INST | DC | C | For Installation | GAB Appliance Service Center - Cebu |  | 1 | 2025-11-11 | 2025-11-11 10:30 | 2025-11-11 16:40 | Findings - For Installation, Recommendation - For Installation, Repair Done - Installation SAC Done | Com1 | E-mail
CEB-00010844 | 2025-12-11 | 02:58 pm - 02:58 pm | DINOY | Tolentino, Jessie | , Phase 6 Rupaz St., V&G Subd,, Brgy. 109A, TACLOBAN CITY (Capital), Leyte | 0917-3248408 | KSM-IW10-WCT10M1M32 |  | RL APPLIANCE | INST | DC | C | For Installation | GAB Appliance Service Center - Cebu |  | 1 | 2025-11-11 | 2025-11-11 09:30 | 2025-11-11 16:40 | Findings - For Installation, Recommendation - For Installation, Repair Done - Installation SAC Done | Com1 | E-mail
CEB-00010845 | 2025-12-11 | 02:58 pm - 02:59 pm | DINOY | Bernales, Letecia | Blk 31 lot 15 Gumale st., , , Bayswater Subd., LAPU-LAPU CITY (OPON), Cebu | 0998-6116961 | KSM-IW20-WCT10M1M32 |  | ASIAN HOMES | INST | DC | C | For Installation | H-A Ref. and Airconditioning Repair & Services |  | 1 | 2025-08-11 | 2025-08-11 | 2025-08-11 | Findings - for installation, Recommendation - Install the unit, Repair Done - Installation of Class A Unit | Com1 | E-mail
CEB-00010846 | 2025-12-11 | 03:13 pm - 03:13 pm | DINOY | Alano & Sons Credit Corp. | , Burgos St. , , Brgy. 16, TACLOBAN CITY (Capital), Leyte | 0917-1603066 | KSM-IW25-WCT10M1M32 |  | RL APPLIANCE | INST | DC | C | For Installation | GAB Appliance Service Center - Cebu |  | 1 | 2025-12-11 | 2025-12-11 01:00 | 2025-12-11 17:00 | Findings - For Installation, Recommendation - For Installation, Repair Done - Installation SAC Done | Com1 | E-mail
CEB-00010847 | 2025-12-11 | 03:13 pm - 03:14 pm | DINOY | Bate, Albert Jack | , , , Pulpogan, CONSOLACION, Cebu | 0910-7903409 | KA-75MCARINV32 |  | ASIAN HOMES | TS | DC | W | Not Cooling | H-A Ref. and Airconditioning Repair & Services |  | 1 | 2025-12-11 | 2025-12-11 | 2025-12-11 | Findings - Leaking Evaporator, Recommendation - for request evaporator, Repair Done - check up only | Com2 | E-mail
CEB-00010848 | 2025-12-11 | 03:23 pm - 03:25 pm | DINOY | Abella, Rafel | none, none, Maria Luisa Village, Banilad Cebu, MANDAUE CITY, Cebu | 0926-0059299 | KEA-60BDRDCA |  | ECHO ELECTRICAL SUPPLY | TS | DC | C | Can't Dispense Water | Cuartofrio Electronic Service Center |  | 2 | 11/13/2025 | 11/13/2025 09:00 am | 11/13/2025 11:00 am | Findings - Defective water pump, Recommendation - For replacement water pump, Repair Done - Replace water pump. Unit is okay. | Com1 | E-mail
CEB-00010849 | 2025-12-11 | 03:47 pm - 03:47 pm | COTCOT | Narca, Joseph | , , Camella Homes , Bgry. Pajac, LAPU-LAPU CITY (OPON), cebu | 9999-990993 | KSM-10MB1INV |  |  | SP | WI | COS | Sales of Parts |  |  | 1 | 2025-12-11 | 2025-12-11 01:00 | 2025-12-11 01:00 | Findings - SOP, Recommendation - SOP, Repair Done - SOP | Com1 | E-mail
CEB-00010850 | 2025-12-11 | 05:08 pm - 05:09 pm | DINOY | Alfon, Earl | , 1450 Villalon Drive,, , Bgry. capiltol site, CEBU CITY (Capital), cebu | 0920-9206400 | KCB-BLC-8859T |  | ROBINSONS | TS | FD | C | E2 Error Code | H-A Ref. and Airconditioning Repair & Services |  | 1 | 11/15/2025 | 11/15/2025 01:00 am | 11/15/2025 01:00 am | Findings - Def. Pcb board, Recommendation - for request board, Repair Done - check up only | Com2 | E-mail
CEB-00010851 | 11/13/2025 | 09:43 am - 09:44 am | DINOY | Tagapan, Nilo | N/A, N/A, Sampaguita Village, Tacloban, TACLOBAN CITY (Capital), Leyte | 0906-9650979 | KA-75MCARINV32 |  | VIC IMPERIAL APP | TS | DC | W | Not Cooling | Carl Electronics and Refrigeration | Palo-Carl Electronics | 1 | 11/18/2025 | 11/18/2025 09:00 am | 11/18/2025 10:40 am | Findings - not cooling and defective display board, Recommendation - for replacement display board, Repair Done - replaced display board and repair done | Com1 | E-mail
CEB-00010852 | 11/13/2025 | 09:49 am - 09:50 am | DINOY | Easy Advance Realty & Devt. Corp. | N/A, M. Logarta St., N/A, Subangdaku, MANDAUE CITY, CEBU | 0917-3296227 | KLG-IF40-5G1M32-I |  | ASIAN HOMES | INST | DC | C | For Installation | Jel Refrigeration & Airconditioning Services |  | 1 | 11/13/2025 | 11/13/2025 01:30 pm | 11/13/2025 04:40 pm | Findings - For installation, Recommendation - For install FAC, Repair Done - Installed FAC done | Com1 | E-mail
CEB-00010853 | 11/13/2025 | 09:51 am - 09:52 am | DINOY | Villablanca, Aeron | , National Highway, Abucay, Brgy. 91, TACLOBAN CITY (Capital), Leyte | 0908-3889062 | KAG-100WCINV |  | RL APPLIANCE | TS | DC | W | Not Cooling | GAB Appliance Service Center - Cebu |  | 2 | 11/20/2025 | 11/20/2025 12:50 pm | 11/20/2025 01:30 pm | Findings - Defective PCB, Recommendation - For Replacement of PCB, Repair Done - Replace PCB. Unit is okay | Com1 | E-mail
CEB-00010854 | 11/13/2025 | 11:32 am - 11:39 am | DINOY | H-Advance Ref. and Airconditioning Repair & Services | , , , Poblacion, Carcar Cebu, CITY OF CARCAR, Cebu | 0942-2426668 | n/a |  |  | SP | WI | COS | Sales of Parts |  |  | 1 | 11/13/2025 | 11/13/2025 01:00 am | 11/13/2025 01:00 am | Findings - SOP, Recommendation - SOP, Repair Done - SOP | Com1 | Customer Lounge
CEB-00010855 | 11/13/2025 | 01:07 pm - 01:07 pm | COTCOT | Petalcorin, Clif | , , , Bgry. escario, CEBU CITY (Capital), cebu | 0927-3191727 | KAG-110RSINV |  |  | SP | WI | COS | Sales of Parts |  |  | 1 | 11/13/2025 | 11/13/2025 01:00 am | 11/13/2025 01:00 am | Findings - SOP, Recommendation - SOP, Repair Done - SOP | Com1 | Customer Lounge
CEB-00010856 | 11/13/2025 | 04:30 pm - 04:31 pm | DINOY | AWG Development Corp. | , M. Cuenco Ave., , Banilad , CEBU CITY (Capital), Cebu | 0966-9960718 | KL-IF60-G6H1M32-I |  | GAB APPLIANCE SERVICE CTR. | INST | DC | C | For Installation | GAB Appliance Service Center - Cebu |  | 2 | 11/13/2025 | 11/13/2025 01:00 am | 11/13/2025 01:00 am | Findings - For Installation, , Recommendation - For installation New unit, , Repair Done - Installed done | Com1 | E-mail
CEB-00010857 | 11/13/2025 | 04:31 pm - 04:56 pm | DINOY | AWG Development Corp. | , M. Cuenco Ave., , Banilad , CEBU CITY (Capital), Cebu | 0966-9960718 | KL-IF60-G6H1M32-I |  | GAB APPLIANCE SERVICE CTR. | INST | DC | C | For Installation | GAB Appliance Service Center - Cebu |  | 2 | 11/13/2025 | 11/13/2025 01:00 am | 11/13/2025 01:00 am | Findings - For installation , Recommendation - For Installation Of New Unit, Repair Done - Installation Done | Com1 | E-mail
CEB-00010858 | 11/14/2025 | 10:48 am - 10:49 am | DINOY | Borata, Maribel | N/A, N/A, N/A, Eastern Samar, ARTECHE, Eastern Samar | 0963-1933040 | KCB-BLC-8859T |  | ROBINSONS | TS | DC | W | Dead Set | Carl Electronics and Refrigeration | Palo | 1 | 11/14/2025 | 11/14/2025 09:00 am | 11/14/2025 11:00 am | Findings - Dead set/no power, Recommendation - for replacement board and power, Repair Done - Check up Only | Com2 | E-mail
CEB-00010859 | 11/14/2025 | 10:49 am - 10:49 am | DINOY | Cometa, Arnold | , , , Pusok Mustang, LAPU-LAPU CITY (OPON), Cebu | 0966-3302267 | KSM-IW15-WCT10M1M32 |  | ASIAN HOMES | INST | DC | C | For Installation | H-A Ref. and Airconditioning Repair & Services |  | 1 | 11/13/2025 | 11/13/2025 12:00 am | 11/13/2025 12:00 am | Findings - for installation, Recommendation - Install the unit, Repair Done - Installation of Class A Unit | Com1 | E-mail
CEB-00010860 | 11/14/2025 | 10:49 am - 10:49 am | DINOY | Ethereum Technology Sales, Inc. | North Reclamation Area, , , , MANDAUE CITY, Cebu | 0917-6327888 | KSM-IW25-WCT10M1M32 |  | ASIAN HOMES | INST | DC | C | For Installation | H-A Ref. and Airconditioning Repair & Services |  | 1 | 2025-12-11 | 2025-12-11 | 2025-12-11 | Findings - for installation, Recommendation - Install the unit, Repair Done - Installation of Class A Unit | Com1 | E-mail
CEB-00010861 | 11/14/2025 | 10:53 am - 10:54 am | DINOY | Galo, Suan | , , , Bgry. Cogon Pardo, CEBU CITY (Capital), cebu | 0945-9886825 | KAG-200RSINV |  |  | SP | WI | COS | Sales of Parts |  |  | 1 | 11/14/2025 | 11/14/2025 01:00 am | 11/14/2025 01:00 am | Findings - SOP, Recommendation - SOP, Repair Done - SOP | Com1 | Customer Lounge
CEB-00010862 | 11/14/2025 | 11:50 am - 11:51 am | DINOY | H-Advance Ref. and Airconditioning Repair & Services | , , , Poblacion, Carcar Cebu, CITY OF CARCAR, Cebu | 0942-2426668 | KSM-10MB1INV |  |  | SP | WI | COS | Sales of Parts |  |  | 1 | 11/14/2025 | 11/14/2025 01:00 am | 11/14/2025 01:00 am | Findings - SOP, Recommendation - SOP, Repair Done - SOP | Com1 | Customer Lounge
CEB-00010863 | 11/14/2025 | 01:34 pm - 01:36 pm | DINOY | Mancia, Clavel | , Purok chicos letmon, , Bgry. Dumlog , CITY OF TALISAY, cebu | 0931-7993695 | KSIF-315WB1 |  |  | TS | FD | C | Check up Only | Jel Refrigeration & Airconditioning Services |  | 1 | 11/17/2025 | 11/17/2025 01:44 pm | 11/17/2025 02:24 pm | Findings - Defective PCB board, Recommendation - For replace new PCB board, Repair Done - Check-up only | Com2 | E-mail
CEB-00010864 | 11/14/2025 | 02:45 pm - 02:45 pm | DINOY | Cuartofrio Electronic Service Center | , Cabahug Street Ibabao, , Bgry, Fortuna Building, MANDALUYONG CITY, cebu | 0322-346137 | n/a |  |  | SP | WI | COS | Sales of Parts |  |  | 1 | 11/14/2025 | 11/14/2025 01:00 am | 11/14/2025 01:00 am | Findings - SOP, Recommendation - SOP, Repair Done - SOP | Com1 | Customer Lounge
CEB-00010865 | 11/14/2025 | 04:50 pm - 04:53 pm | DINOY | Bigbag Property Ventures Inc. | Ascension St. Sambag 1, , , Urgello, CEBU CITY (Capital), Cebu | 0945-3909835 | KAM-95CMC32 |  | ASIAN HOMES | TS | FD | C | Check - Up Only | H-A Ref. and Airconditioning Repair & Services |  | 1 | 11/14/2025 | 11/14/2025 12:00 am | 11/14/2025 12:00 am | Findings - def. selector switch, Recommendation - request for selector switch, Repair Done - Check up Only | Com2 | E-mail
CEB-00010866 | 11/15/2025 | 08:51 am - 08:52 am | DINOY | Ragas, Marianne Mae | , , , Candau-ay, DUMAGUETE CITY (Capital), Negros oriental | 0956-3745867 | KSM-IW15-WCT10M1M32 |  | ABENSON INC. | INST | DC | C | For Installation | GAB Appliance Service Center - Cebu |  | 1 | 11/14/2025 | 11/14/2025 10:15 am | 11/14/2025 12:00 pm | Findings - For Installation, Recommendation - For Installation, Repair Done - Installation SAC Done | Com1 | E-mail
CEB-00010867 | 11/15/2025 | 02:34 pm - 02:35 pm | DINOY | H-Advance Ref. and Airconditioning Repair & Services | , , , Poblacion, Carcar Cebu, CITY OF CARCAR, Cebu | 0942-2426668 | n/a |  |  | SP | WI | COS | Sales of Parts |  |  | 1 | 11/15/2025 | 11/15/2025 01:00 am | 11/15/2025 01:00 am | Findings - SOP, Recommendation - SOP, Repair Done - SOP | Com1 | E-mail
CEB-00010868 | 11/15/2025 | 03:00 pm - 03:02 pm | DINOY | Joy Law Office | , , , Bgry. NRA, CEBU CITY (Capital), Cebu | 0923-1557493 | KFM-400GF1INV |  |  | TS | FD | C | Not Cooling | H-A Ref. and Airconditioning Repair & Services |  | 2 | 11/17/2025 | 11/18/2025 01:00 am | 11/18/2025 01:00 am | Findings - Def. Mother board, Recommendation - for replace mother board, Repair Done - replaced new mother board | Com1 | Second Action
CEB-00010869 | 11/15/2025 | 03:26 pm - 03:26 pm | COTCOT | Turno, Sherly | M.C Briones Street., , , Toledo, CEBU CITY (Capital), Cebu | 0968-2210522 | KSM-IW20-WCT10M1M32 |  | ASIAN HOMES | INST | DC | C | For Installation | H-A Ref. and Airconditioning Repair & Services |  | 2 | 11/14/2025 | 11/14/2025 12:00 am | 11/14/2025 12:00 am | Findings - for installation, Recommendation - Install the unit, Repair Done - Installation of Class A Unit | Com1 | E-mail
CEB-00010870 | 11/15/2025 | 03:26 pm - 03:27 pm | COTCOT | Alfon, Earl | , 1450 Villalon Drive,, , Bgry. capiltol site, CEBU CITY (Capital), cebu | 0920-9206400 | KCB-BLC-8859T |  | ROBINSONS | TS | DC | W | E2 Error Code | H-A Ref. and Airconditioning Repair & Services |  | 2 | 11/18/2025 | 11/18/2025 12:00 am | 11/18/2025 12:00 am | Findings - Error 2, Recommendation - request for replace parts, Repair Done - Replaced Pcb board not okay / Error 2 / For Request Black Kettle | Com2 | E-mail
CEB-00010871 | 11/15/2025 | 03:42 pm - 03:42 pm | COTCOT | Silang, Myreel | , Block3 Lot6 Phase4, Aldea Homes, Cangmating, SIBULAN, Negros Oriental | 0967-7363920 | KSM-IW10-WCT10M1M32 |  | ROBINSONS | INST | DC | C | For Installation | GAB Appliance Service Center - Cebu |  | 1 | 11/15/2025 | 11/15/2025 01:00 pm | 11/15/2025 05:00 pm | Findings - For Installation, Recommendation - For Installation, Repair Done - Installation SAC Done | Com1 | E-mail
CEB-00010872 | 11/15/2025 | 03:43 pm - 03:43 pm | COTCOT | Pilpa, Flor | , Cor. Sto. Nino & Del Rosario St., , Poblacion, BURAUEN, Leyte | 0926-7448200 | KSM-IW10-WCT10M1M32 |  | RL APPLIANCE | INST | DC | C | For Installation | GAB Appliance Service Center - Cebu |  | 1 | 11/15/2025 | 11/15/2025 09:45 am | 11/15/2025 04:30 pm | Findings - For Installation, Recommendation - For Installation, Repair Done - Installation SAC Done | Com1 | E-mail
CEB-00010873 | 11/15/2025 | 03:43 pm - 03:43 pm | COTCOT | Pilpa, Flor | , Cor. Sto. Nino & Del Rosario St., , Poblacion, BURAUEN, Leyte | 0926-7448200 | KSM-IW10-WCT10M1M32 |  | RL APPLIANCE | INST | DC | C | For Installation | GAB Appliance Service Center - Cebu |  | 1 | 11/15/2025 | 11/15/2025 09:45 am | 11/15/2025 04:30 pm | Findings - For Installation, Recommendation - For Installation, Repair Done - Installation SAC Done | Com1 | E-mail
CEB-00010874 | 11/15/2025 | 03:43 pm - 03:43 pm | COTCOT | QkI Emulsion Phils. | Avagar bldng. Escario street, , , Lahug, CEBU CITY (Capital), Cebu | 0917-1464922 | KLG-IF40-5G1M32-I |  | ASIAN HOMES | INST | DC | C | For Installation | H-A Ref. and Airconditioning Repair & Services |  | 1 | 11/15/2025 | 11/15/2025 12:00 am | 11/15/2025 12:00 am | Findings - For installation, Recommendation - install the unit, Repair Done - Installation of brand new unit | Com1 | E-mail
CEB-00010875 | 11/17/2025 | 09:23 am - 09:34 am | DINOY | Suico, Harlie | , , , Bgry.Langub Astursias, ASTURIAS, Cebu | 0906-4411066 | KA-75MCARINV32 |  | ASIAN HOMES | TS | FD | C | Check - Up Only | H-A Ref. and Airconditioning Repair & Services |  | 1 | 11/20/2025 | 11/20/2025 01:00 am | 11/20/2025 01:00 am | Findings - No defect Found, Recommendation - for observation, Repair Done - check up only | Com1 | E-mail
CEB-00010876 | 11/17/2025 | 09:40 am - 09:41 am | DINOY | Asian Home - Balambam Branch | , , , Bgry. Pob., BALAMBAN, Cebu | 0992-3137052 | KWD-BLC-2088B |  | ASIAN HOMES | TS | FD | W | Dripping/ Water Leak | H-A Ref. and Airconditioning Repair & Services |  | 1 | 11/20/2025 | 11/20/2025 01:00 am | 11/20/2025 01:00 am | Findings - No Water dripping found, Recommendation - 40 minutes observation, Repair Done - check up only | Com1 | E-mail
CEB-00010877 | 11/17/2025 | 01:20 pm - 02:13 pm | DINOY | Pobadora, Marites | , , , Bgry. Zone 1 Buaya, LAPU-LAPU CITY (OPON), Cebu | 0919-7570246 | KA-150MCARINV32 |  | VIC IMPERIAL APP | TS | FD | W | Not Cooling | KLK Aircon and Refrigeration Services |  | 1 | 11/18/2025 | 11/18/2025 03:05 pm | 11/18/2025 04:00 pm | Findings - Not cooling and Noisy Fan Motor, Recommendation - For request New Fan Motor, Repair Done - Done Check Up | Com1 | E-mail
CEB-00010878 | 11/17/2025 | 02:16 pm - 02:17 pm | DINOY | K.L.K.A | , , , Bgry. bangkal, LAPU-LAPU CITY (OPON), Cebu | 0966-7424120 | n/a |  |  | SP | WI | COS | Sales of Parts |  |  | 1 | 11/17/2025 | 11/17/2025 01:00 am | 11/17/2025 01:00 am | Findings - SOP, Recommendation - SOP, Repair Done - SOP | Com1 | Customer Lounge
CEB-00010879 | 11/18/2025 | 10:43 am - 10:43 am | DINOY | Arabes, Paul Vincent | n/a, n/a, n/a, n/a, TABANGO, Leyte | 0920-5228609 | KSIF-405WB1 |  | RL APPLIANCE | TS | DC | W | Insufficient Cooling | KLK Aircon and Refrigeration Services |  | 1 | 11/13/2025 | 11/13/2025 03:20 pm | 11/13/2025 04:35 pm | Findings - LOW COOLING / LOW VOLTAGE, Recommendation - SUGGESTED OF AVR USE, Repair Done - CHECK UP | Com2 | E-mail
CEB-00010880 | 11/18/2025 | 10:45 am - 10:46 am | DINOY | Marigomen, Jay | , , , Bgry. Pob, MANDAUE CITY, Cebu | 0917-1733533 | KSM-IW20-4F1M |  |  | SP | WI | COS | Sales of Parts |  |  | 1 | 11/18/2025 | 11/18/2025 01:00 am | 11/18/2025 01:00 am | Findings - SOP, Recommendation - SOP, Repair Done - SOP | Com1 | Customer Lounge
CEB-00010881 | 11/18/2025 | 10:50 am - 10:51 am | DINOY | Mancia, Clavel | , Purok chicos letmon, , Bgry. Dumlog , CITY OF TALISAY, cebu | 0931-7993695 | KSIF-315WB1 |  |  | TS | FD | C | Not Cooling | Jel Refrigeration & Airconditioning Services |  | 2 | 11/18/2025 | 11/18/2025 04:20 pm | 11/18/2025 05:16 pm | Findings - Defective PCB board, Recommendation - For replace new PCB board, Repair Done - Replaced new PCB board | Com1 | E-mail
CEB-00010882 | 11/18/2025 | 12:11 pm - 12:11 pm | COTCOT | Pinili, Jag Freggy | , , , Poblacion, SIBULAN, Negros Oriental | 0975-4445258 | KSM-IW10-WCT10M1M32 |  | ROBINSONS | INST | DC | C | For Installation | GAB Appliance Service Center - Cebu |  | 1 | 11/17/2025 | 11/17/2025 01:00 am | 11/17/2025 01:00 am | Findings - For installation of new unit, , Recommendation - For Installation, , Repair Done - Installation Done | Com1 | E-mail
CEB-00010883 | 11/18/2025 | 12:15 pm - 12:15 pm | COTCOT | BPR Civil Engineering Services | n/a, Ninoy Aquino Ave., Apitong, Brgy. 92, TACLOBAN CITY (Capital), Leyte | 0965-4123929 | KSM-IW15-WCT10M1M32 |  | ROBINSONS | INST | DC | C | For Installation | Carl Electronics and Refrigeration |  | 1 | 11/17/2025 | 11/17/2025 09:00 am | 11/17/2025 12:00 pm | Findings - for installation, Recommendation - new SAC for installation, Repair Done - installation SAC done | Com1 | E-mail
CEB-00010884 | 11/18/2025 | 12:15 pm - 12:15 pm | COTCOT | Fernandez, John Micheal | , , , Calabnugan, SIBULAN, Negros Oriental | 0966-0218867 | KSM-IW10-WCT10M1M32 |  | ROBINSONS | INST | DC | C | For Installation | GAB Appliance Service Center - Cebu |  | 1 | 11/17/2025 | 11/17/2025 01:00 am | 11/17/2025 01:00 am | Findings - For installation of new unit, , Recommendation - For Installation, , Repair Done - Installation Done | Com1 | E-mail
CEB-00010885 | 11/18/2025 | 12:15 pm - 12:16 pm | COTCOT | Cotin, Catalina | , National Highway, Camella Homes, Campetic, PALO, Leyte | 0966-8430098 | KSM-IW10-WCT10M1M32 |  | RL APPLIANCE | INST | DC | C | For Installation | GAB Appliance Service Center - Cebu |  | 1 | 10/29/2025 | 10/29/2025 10:00 am | 10/29/2025 04:30 pm | Findings - For Installation, Recommendation - For Installation, Repair Done - Installation SAC Done | Com1 | E-mail
CEB-00010886 | 11/18/2025 | 12:16 pm - 12:16 pm | COTCOT | Cotin, Catalina | , National Highway, Camella Homes, Campetic, PALO, Leyte | 0966-8430098 | KSM-IW10-WCT10M1M32 |  | RL APPLIANCE | INST | DC | C | For Installation | GAB Appliance Service Center - Cebu |  | 1 | 10/29/2025 | 10/29/2025 10:00 am | 10/29/2025 04:30 pm | Findings - For Installation, Recommendation - For Installation, Repair Done - Installation SAC Done | Com1 | E-mail
CEB-00010887 | 11/18/2025 | 12:16 pm - 12:16 pm | COTCOT | Kew Foods Corporation | , JA CLARIN ST, , Bgry. COGON, TAGBILARAN CITY, Bohol, cebu | 0942-4559044 | KEA-120BDR |  | GAB APPLIANCE SERVICE CTR. | TS | DC | W | Malfunctioning | JBD Ubay Bohol Ref and Airconditioning |  | 2 | 11/27/2025 | 11/15/2025 12:00 am | 11/15/2025 12:00 am | Findings - Defective fan motor, Recommendation - Subject to request fan motor, Repair Done - check-up the unit |  | E-mail
CEB-00010888 | 11/18/2025 | 12:16 pm - 12:17 pm | COTCOT | Kew Foods Corporation | , JA CLARIN ST, , Bgry. COGON, TAGBILARAN CITY, Bohol, cebu | 0942-4559044 | KEA-120BDR |  | GAB APPLIANCE SERVICE CTR. | TS | DC | W | Malfunctioning | JBD Ubay Bohol Ref and Airconditioning |  | 2 | 2025-03-12 | 11/15/2025 12:00 am | 11/15/2025 12:00 am | Findings - Defective fan motor, Recommendation - Subject to request fan motor, Repair Done - check-up the unit |  | E-mail
CEB-00010889 | 11/18/2025 | 01:57 pm - 01:58 pm | DINOY | Zenith Trade and Industries | , B5 L-30 , Deca Homes , Bgry.Jagobiao, MANDAUE CITY, Cebu | 0998-9992672 | KSM-IW10-WCT10M1M32 |  | VIC IMPERIAL APP | INST | DC | C | For Installation | KLKA Air-conditioning and Refrigeration Services |  | 1 | 11/18/2025 | 11/18/2025 01:00 am | 11/18/2025 01:00 am | Findings - For Installation, , Recommendation - For Installation, Repair Done - Installation done | Com1 | E-mail
CEB-00010890 | 11/18/2025 | 01:59 pm - 01:59 pm | DINOY | Zenith Trade and Industries | , B5 L-30 , Deca Homes , Bgry.Jagobiao, MANDAUE CITY, Cebu | 0998-9992672 | KSM-IW20-WCT10M1M32 |  | VIC IMPERIAL APP | INST | DC | C | For Installation | KLKA Air-conditioning and Refrigeration Services |  | 1 | 11/18/2025 | 11/18/2025 01:00 am | 11/18/2025 01:00 am | Findings - For Installation, Recommendation - For Installation, , Repair Done - Installation Done | Com1 | E-mail
CEB-00010891 | 11/18/2025 | 04:04 pm - 04:05 pm | DINOY | Zgv Excel Aircon Services | , Blk. 9 Lot 6 Ph3 , V&G Subdivision, , TACLOBAN CITY (Capital), | 0945-9902233 | n/a |  |  | SP | WI | COS | Sales of Parts |  |  | 1 | 11/18/2025 | 11/18/2025 01:00 am | 11/18/2025 01:00 am | Findings - SOP, Recommendation - SOP, Repair Done - SOP | Com1 | Customer Lounge
CEB-00010892 | 11/18/2025 | 04:17 pm - 04:18 pm | DINOY | Alfon, Earl | , 1450 Villalon Drive,, , Bgry. capiltol site, CEBU CITY (Capital), cebu | 0920-9206400 | KCB-BLC-8859T |  | ROBINSONS | TS | DC | W | Not Heating | H-A Ref. and Airconditioning Repair & Services |  | 3 | 11/19/2025 | 11/18/2025 12:00 am | 11/18/2025 12:00 am | Findings - Not heating / Error 2, Recommendation - Request for kettle, Repair Done - Replaced new kettle and Pcb Assy / request for water pump | Com1 | E-mail
CEB-00010893 | 11/18/2025 | 04:26 pm - 04:27 pm | DINOY | H-Advance Ref. and Airconditioning Repair & Services | , , , Poblacion, Carcar Cebu, CITY OF CARCAR, Cebu | 0942-2426668 | n/a |  |  | SP | WI | COS | Sales of Parts |  |  | 1 | 11/18/2025 | 11/18/2025 01:00 am | 11/18/2025 01:00 am | Findings - SOP, Recommendation - SOP, Repair Done - SOP | Com1 | Customer Lounge
CEB-00010894 | 11/19/2025 | 11:59 am - 11:59 am | DINOY | GAB Appliance Service Center | Unit 5 THP Building, National Hi-Way, , Pitogo Consolacion Cebu, CONSOLACION, Cebu |  | n/a |  |  | SP | WI | COS | Sales of Parts |  |  | 1 | 11/19/2025 | 11/19/2025 01:00 am | 11/19/2025 01:00 am | Findings - SOP, Recommendation - SOP, Repair Done - SOP | Com1 | Customer Lounge
CEB-00010895 | 11/19/2025 | 12:13 pm - 12:17 pm | DINOY | Alfon, Earl | , 1450 Villalon Drive,, , Bgry. capiltol site, CEBU CITY (Capital), cebu | 0920-9206400 | KCB-BLC-8859T |  | ROBINSONS | TS | FD | W | Can't Dispense Water | H-A Ref. and Airconditioning Repair & Services |  | 4 | 11/20/2025 | 11/18/2025 12:00 am | 11/18/2025 12:00 am | Findings - Def. Water Pump, Recommendation - request for water pump, Repair Done - Check up Only | Com2 | Second Action
CEB-00010896 | 11/19/2025 | 02:21 pm - 02:21 pm | DINOY | Jel Refrigeration & Airconditioning Services | , 1363 st., , Brgy.Pooc Talisay, CEBU CITY (Capital), Cebu | 2737824 | n/a |  |  | SP | WI | COS | Sales of Parts |  |  | 1 | 11/19/2025 | 11/19/2025 01:00 am | 11/19/2025 01:00 am | Findings - SOP, Recommendation - SOP, Repair Done - SOP | Com1 | E-mail
CEB-00010897 | 11/19/2025 | 02:28 pm - 02:29 pm | DINOY | K.L.K.A | , , , Bgry. bangkal, LAPU-LAPU CITY (OPON), Cebu | 0966-7424120 | n/a |  |  | SP | WI | COS | Sales of Parts |  |  | 1 | 11/19/2025 | 11/19/2025 01:00 am | 11/19/2025 01:00 am | Findings - SOP, Recommendation - SOP, Repair Done - SOP | Com1 | Customer Lounge
CEB-00010898 | 11/19/2025 | 04:05 pm - 04:06 pm | DINOY | Muntuerto Management & Development Corp. | 6th floor Muntuerto bldg. , , , J. Llorente St., CEBU CITY (Capital), Cebu | 0925-5025310 | KSM-IW15-WCT10M1M32 |  | ASIAN HOMES | INST | DC | C | For Installation | H-A Ref. and Airconditioning Repair & Services |  | 2 | 11/16/2025 | 11/16/2025 12:00 am | 11/16/2025 12:00 am | Findings - for installation, Recommendation - Install the unit, Repair Done - Installation of Class A Unit | Com1 | E-mail
CEB-00010899 | 11/19/2025 | 04:07 pm - 04:11 pm | DINOY | Muntuerto Management & Development Corp. | 6th floor Muntuerto bldg. , , , J. Llorente St., CEBU CITY (Capital), Cebu | 0925-5025310 | KSM-IW25-WCT10M1M32 |  | ASIAN HOMES | INST | DC | C | For Installation | H-A Ref. and Airconditioning Repair & Services |  | 2 | 11/18/2025 | 11/18/2025 12:00 am | 11/18/2025 12:00 am | Findings - for installation, Recommendation - Install the unit, Repair Done - Installation of Class A Unit | Com1 | E-mail
CEB-00010900 | 11/19/2025 | 04:11 pm - 04:12 pm | DINOY | Campaner, Jessierose | , , , Baslay, DAUIN, Negros Oriental | 0961-4893749 | KSM-IW10-WCT10M1M32 |  | ROBINSONS | INST | DC | C | For Installation | GAB Appliance Service Center - Cebu |  | 1 | 11/19/2025 | 11/19/2025 10:15 am | 11/19/2025 12:00 pm | Findings - For Installation, Recommendation - For Installation, Repair Done - Installation SAC Done | Com1 | E-mail
CEB-00010901 | 11/19/2025 | 04:12 pm - 04:12 pm | DINOY | Castro, Kent Jude | , Purok Tambis Street, , Brgy. 87, TACLOBAN CITY (Capital), Leyte | 0906-5646175 | KSM-IW10-WCT10M1M32 |  | ABENSON INC. | INST | DC | C | For Installation | GAB Appliance Service Center - Cebu |  | 1 | 11/19/2025 | 11/19/2025 10:15 am | 11/19/2025 12:00 pm | Findings - For Installation, Recommendation - For Installation, Repair Done - Installation SAC Done | Com1 | E-mail
CEB-00010902 | 11/19/2025 | 04:13 pm - 04:13 pm | DINOY | Pobadora, Marites | , , , Bgry. Zone 1 Buaya, LAPU-LAPU CITY (OPON), Cebu | 0919-7570246 | KA-150MCARINV32 |  | VIC IMPERIAL APP | TS | DC | W | Not Cooling | KLK Aircon and Refrigeration Services |  | 2 | 11/20/2025 | 11/20/2025 12:00 am | 11/20/2025 12:00 am | Findings - Not cooling and Noisy Fan Motor, Recommendation - For Replace Fan Motor, , Repair Done - Replaced Fan Motor / Units Is ok |  | E-mail
CEB-00010903 | 11/20/2025 | 08:54 am - 08:55 am | COTCOT | R.O.D | Camp Sergio, , , Osmena Blvrd., CEBU CITY (Capital), Cebu | 0933-5003345 | KLG-SF40-WBR6H1M32-I |  | SUB-Asian Home - Smart Zone Appliance Square | INST | DC | C | For Installation | H-A Ref. and Airconditioning Repair & Services |  | 1 | 11/19/2025 | 11/19/2025 12:00 am | 11/19/2025 12:00 am | Findings - for installation, Recommendation - Install the unit, Repair Done - Installation of Class A Unit | Com1 | E-mail
CEB-00010904 | 11/20/2025 | 08:58 am - 08:59 am | DINOY | H-Advance Ref. and Airconditioning Repair & Services | , , , Poblacion, Carcar Cebu, CITY OF CARCAR, Cebu | 0942-2426668 | n/a |  |  | SP | WI | COS | Sales of Parts |  |  | 1 | 11/20/2025 | 11/20/2025 01:00 am | 11/20/2025 01:00 am | Findings - SOP, Recommendation - SOP, Repair Done - SOP | Com1 | Customer Lounge
CEB-00010905 | 11/20/2025 | 02:05 pm - 02:05 pm | DINOY | Balbona, Maskari帽o | , , , Bgry.Albuera Public Market Leyte , LEYTE, Cebu | 0954-0436366 | KSIF-405WB1 |  | VIC IMPERIAL APP | TS | FD | W | Check up Only | KLK Aircon and Refrigeration Services |  | 1 | 11/22/2025 | 11/22/2025 11:20 am | 11/22/2025 10:30 am | Findings - No defect Found Unit is Ok, Recommendation - No defect found. Unit is okay, Repair Done - Check up only | Com1 | E-mail
CEB-00010906 | 11/20/2025 | 04:18 pm - 04:19 pm | DINOY | Alfon, Earl | , 1450 Villalon Drive,, , Bgry. capiltol site, CEBU CITY (Capital), cebu | 0920-9206400 | KCB-BLC-8859T |  | ROBINSONS | TS | DC | W | Can't Dispense Water | H-A Ref. and Airconditioning Repair & Services |  | 3 | 11/20/2025 | 11/20/2025 01:00 am | 11/20/2025 01:00 am | Findings - Def. Water Pump, Recommendation - request for water pump, Repair Done - Replaced Water Pump | Com1 | E-mail
CEB-00010907 | 11/20/2025 | 04:22 pm - 04:23 pm | DINOY | Ongco, Edmer | , 2062 Drive, , Bgry. Humay-humay , LAPU-LAPU CITY (OPON), Cebu | 0991-2172454 | KSM-IW15-WCT10M1M32 |  | VIC IMPERIAL APP | INST | DC | C | For Installation | KLKA Air-conditioning and Refrigeration Services |  | 1 | 11/20/2025 | 11/19/2025 12:00 am | 11/19/2025 01:00 am | Findings - For Installation, , Recommendation - For Installation for new unit, Repair Done - Installation done | Com1 | E-mail
CEB-00010908 | 11/22/2025 | 08:41 am - 08:42 am | DINOY | Laureano , Rene John | , 27 Bayabas Street, Lower Calvary Hills, , Bgry., Apas, CEBU CITY (Capital), cebu | 0969-5342786 | KAG-75WCINV |  | ASIAN HOMES | GC | FD | C | For GC | H-A Ref. and Airconditioning Repair & Services |  | 1 | 11/24/2025 | 11/24/2025 01:00 am | 11/24/2025 01:00 am | Findings - Dirty Unit, Recommendation - Need for Cleaning, Repair Done - General Aircon Cleaning | Com1 | E-mail
CEB-00010909 | 11/22/2025 | 08:46 am - 08:47 am | DINOY | Baterna, Gwen | , Sitio Bocalor, , Bgry. Cabitoonan, TOLEDO CITY, Cebu | 0997-9080699 | KWD-BLC-2088B |  | ASIAN HOMES | TS | FD | C | Can't Dispense Water | H-A Ref. and Airconditioning Repair & Services |  | 1 | 11/26/2025 | 11/26/2025 01:00 am | 11/26/2025 01:00 am | Findings - Def. main board, Recommendation - for replace parts, Repair Done - check up only | Com2 | E-mail
CEB-00010910 | 11/22/2025 | 10:08 am - 10:08 am | DINOY | Rasayan, Khaila Messa Marie | Sitio Plaza, , , Lahug, CEBU CITY (Capital), Cebu | 0923-3957292 | KSM-IW10-WCT10M1M32 |  | ASIAN HOMES | INST | DC | C | For Installation | H-A Ref. and Airconditioning Repair & Services |  | 2 | 11/21/2025 | 11/21/2025 12:00 am | 11/21/2025 12:00 am | Findings - for installation, Recommendation - Install the unit, Repair Done - Installation of Class A Unit | Com1 | E-mail
CEB-00010911 | 11/22/2025 | 10:09 am - 10:09 am | DINOY | RL Appliance Inc. | 353, Real St., , , TACLOBAN CITY (Capital), Cebu | 0920-2607369 | KWD-BLC-3088S |  | RL APPLIANCE | TS | DC | W | Water Pump Malfunctioning | Carl Electronics and Refrigeration |  | 1 | 11/21/2025 | 11/21/2025 12:00 am | 11/21/2025 12:00 am | Findings - defective motor pump & pcb, Recommendation - for replacement motor pump & pcb, Repair Done - check-up only | Com1 | E-mail
CEB-00010912 | 11/22/2025 | 10:09 am - 10:10 am | DINOY | Serrano, Ann Klein | Blk 1 lot 10 La Citabela Subd., , , Talamban, CEBU CITY (Capital), Cebu | 0917-1628111 | KSM-IW25-WCT10M1M32 |  | ASIAN HOMES | INST | DC | C | For Installation | H-A Ref. and Airconditioning Repair & Services |  | 1 | 11/20/2025 | 11/20/2025 12:00 am | 11/20/2025 12:00 am | Findings - for installation, Recommendation - Install the unit, Repair Done - Installation of Class A Unit | Com1 | E-mail
CEB-00010913 | 11/22/2025 | 02:26 pm - 02:26 pm | COTCOT | Lomongo, Joy Marie | Purok 6, , , Apas San Miguel, CEBU CITY (Capital), Cebu | 0994-8909176 | KSM-IW10-WCT10M1M32 |  | ASIAN HOMES | INST | DC | C | For Installation | H-A Ref. and Airconditioning Repair & Services |  | 1 | 11/21/2025 | 11/21/2025 12:00 am | 11/21/2025 12:00 am | Findings - for installation, Recommendation - Install the unit, Repair Done - Installation of Class A Unit | Com1 | E-mail
CEB-00010914 | 11/24/2025 | 09:06 am - 09:07 am | DINOY | Lee, Maria Remy Riza | , 168 M. H Del Pilar St., , Brgy. 21, TACLOBAN CITY (Capital), Leyte | 0917-1666539 | KSM-IW20-WCT10M1M32 |  | RL APPLIANCE | INST | DC | C | For Installation | GAB Appliance Service Center - Cebu |  | 1 | 11/22/2025 | 11/22/2025 01:00 am | 11/22/2025 01:00 am | Findings - for installation, , Recommendation - For installation New unit, , Repair Done - Installation Done | Com1 | E-mail
CEB-00010915 | 11/24/2025 | 09:07 am - 09:07 am | DINOY | Go, Sarah Jane | , Baybay Road, , Brgy. Baybay, CARIGARA, Leyte | 0919-0067223 | KSM-IW10-WCT10M1M32 |  | ABENSON INC. | INST | DC | C | For Installation | GAB Appliance Service Center - Cebu |  | 1 | 11/22/2025 | 11/22/2025 01:00 am | 11/22/2025 01:00 am | Findings - For Installation, , Recommendation - For installation new unit, , Repair Done - Installation Done | Com1 | E-mail
CEB-00010916 | 11/24/2025 | 11:55 am - 11:56 am | DINOY | Fast Cat | Fast Cat Ticketing, Pier 2 CP Building,, , , Barangay. San Roque , CITY OF TALISAY, Cebu | 0961-7499408 | KEA-60BDRDCA |  | ASIAN HOMES | TS | FD | W | Malfunctioning | H-A Ref. and Airconditioning Repair & Services |  | 1 | 11/27/2025 | 11/26/2025 01:00 am | 11/26/2025 01:00 am | Findings - Malfunction Display board, Recommendation - for replace parts, Repair Done - check up only | Com2 | E-mail
CEB-00010917 | 11/24/2025 | 12:01 pm - 12:04 pm | DINOY | Ballespin, Cheryl Mae | , Highway , , Bgry. Looc , DANAO, Cebu | 0999-1122175 | KSIF-255WB1 |  | ASIAN HOMES | TS | FD | W | Broken Plastic Part | H-A Ref. and Airconditioning Repair & Services | Parts already inquiry @ Head office -Parts No available Yet | 1 | 2026-03-01 |  |  |  |  | E-mail
CEB-00010918 | 11/24/2025 | 02:19 pm - 02:20 pm | DINOY | H-Advance Ref. and Airconditioning Repair & Services | , , , Poblacion, Carcar Cebu, CITY OF CARCAR, Cebu | 0942-2426668 | n/a |  |  | SP | WI | COS | Sales of Parts |  |  | 1 | 11/24/2025 | 11/24/2025 01:00 am | 11/24/2025 01:00 am | Findings - SOP, Recommendation - SOP, Repair Done - SOP | Com1 | Customer Lounge
CEB-00010919 | 11/24/2025 | 02:34 pm - 02:39 pm | DINOY | H-Advance Ref. and Airconditioning Repair & Services | , , , Poblacion, Carcar Cebu, CITY OF CARCAR, Cebu | 0942-2426668 | n/a |  |  | DEF | TP | P | Others |  |  | 2 | 11/24/2025 | 11/24/2025 01:00 am | 11/24/2025 01:00 am | Findings - Change Item , Recommendation - Change Item, Repair Done - Change Item | Com1 | Customer Lounge
CEB-00010920 | 11/24/2025 | 04:57 pm - 04:58 pm | DINOY | Robinsons-Tacloban | , , , Bgry.Pob Tac., TACLOBAN CITY (Capital), Cebu | 0946-5184426 | KWD-BLC-3088S |  | ROBINSONS | TS | FD | W | Water Leak | Carl Electronics and Refrigeration |  | 1 | 2025-01-12 |  |  |  |  | E-mail
CEB-00010921 | 11/25/2025 | 08:54 am - 08:54 am | DINOY | Gemson Marketing | n/a, Real St., n/a, Poblacion, TAFT, Eastern Samar | 0936-9903517 | KWD-BLC-2088B |  | RL APPLIANCE | TS | DC | W | Water Pump Malfunctioning | Carl Electronics and Refrigeration |  | 1 | 11/24/2025 | 11/24/2025 01:00 pm | 11/24/2025 02:00 pm | Findings - defective motor pump & pcb, Recommendation - request for board and pump, Repair Done - check up only | Com1 | E-mail
CEB-00010922 | 11/25/2025 | 10:32 am - 10:33 am | DINOY | K.L.K.A | , , , Bgry. bangkal, LAPU-LAPU CITY (OPON), Cebu | 0966-7424120 | n/a |  |  | SP | WI | COS | Sales of Parts |  |  | 1 | 11/25/2025 | 11/25/2025 01:00 am | 11/25/2025 01:00 am | Findings - SOP, Recommendation - SOP, Repair Done - SOP | Com1 | Customer Lounge
CEB-00010923 | 11/25/2025 | 10:43 am - 10:44 am | DINOY | Panimdim, Jeriel | , , , Bgry. Cot-cot , Liloan, LILOAN, Cebu | 0956-8474875 | KSM-IW20WAE-7J1M |  |  | SP | WI | COS | Sales of Parts |  |  | 1 | 11/25/2025 | 11/25/2025 01:00 am | 11/25/2025 01:00 am | Findings - SOP, Recommendation - SOP, Repair Done - SOP | Com1 | Customer Lounge
CEB-00010924 | 11/25/2025 | 12:43 pm - 01:16 pm | DINOY | Orbeta, Grace | , Unit A, francisca village happy valley, Bgry. Labangon, CEBU CITY (Capital), Cebu | 0920-9488306 | KWD-BLC-2088B |  | ECHO ELECTRICAL SUPPLY | TS | DC | W | Not Cooling | KLKA Air-conditioning and Refrigeration Services |  | 1 | 11/24/2025 | 11/24/2025 01:00 am | 11/24/2025 01:00 am | Findings - check Up Only /Def. Main Pcb and thermostat, Recommendation - For Replace main Pcb, Repair Done - Check up Only | Com2 | E-mail
CEB-00010925 | 11/25/2025 | 02:37 pm - 02:37 pm | DINOY | Blazo, Roderick | Lemonville, , , Cansojong, CEBU CITY (Capital), Cebu | 0917-7241172 | KSM-IW10-WCT10M1M32 |  | ECHO ELECTRICAL SUPPLY | INST | DC | C | For Installation | H-A Ref. and Airconditioning Repair & Services |  | 1 | 11/25/2025 | 11/25/2025 12:00 am | 11/25/2025 12:00 am | Findings - for installation, Recommendation - Install the unit, Repair Done - Installation of Class A Unit | Com1 | E-mail
CEB-00010926 | 11/25/2025 | 03:32 pm - 03:33 pm | DINOY | Ando, Jonathanne | , Purok 4, , Boloc-Boloc, SIBULAN, Negros Oriental | 0927-1442187 | KSG-IWF-15WFY-8K1M32-I |  | ABENSON INC. | INST | DC | C | For Installation | GAB Appliance Service Center - Cebu |  | 1 | 11/27/2025 | 11/27/2025 09:30 am | 11/27/2025 12:30 pm | Findings - For Installation, Recommendation - For Installation, Repair Done - Installation SAC Done | Com1 | E-mail
CEB-00010927 | 11/25/2025 | 03:36 pm - 03:36 pm | DINOY | Dormal, Josie | RL Bldg,, Real St., n/a, Downtown Area, TACLOBAN CITY (Capital), Leyte | 0999-4967541 | KWD-BLC-2088B |  | RL APPLIANCE | TS | DC | W | Water Pump Malfunctioning | Carl Electronics and Refrigeration | c/o RL Appliance, Dealer delivered the unit to ASC. | 1 | 11/24/2025 | 11/24/2025 03:00 pm | 11/24/2025 04:00 pm | Findings - defective motor pump & pcb, Recommendation - for replacement motor pump & pcb, Repair Done - check up only | Com2 | E-mail
CEB-00010928 | 11/25/2025 | 03:51 pm - 03:52 pm | DINOY | Cebu Manila Water Dev. Inc. | Acc Tower , Business Park , . Cebu Manila Water Dev. Inc. 09178037135 , Bgry. Ayala, CEBU CITY (Capital), cebu | 0917-8037135 | KCB-BLC-8859T |  | ASIAN HOMES | TS | FD | W | Can't Dispense Water | H-A Ref. and Airconditioning Repair & Services |  | 2 | 11/26/2025 | 11/26/2025 01:00 am | 11/26/2025 01:00 am | Findings - def. pcb board & water pump, Recommendation - for replace parts, Repair Done - Replaced new pcb board & water pump | Com1 | E-mail
CEB-00010929 | 11/25/2025 | 04:09 pm - 04:09 pm | DINOY | GAB Appliance Service Center | Unit 5 THP Building, National Hi-Way, , Pitogo Consolacion Cebu, CONSOLACION, Cebu |  | n/a |  |  | SP | WI | COS | Sales of Parts |  |  | 1 | 11/25/2025 | 11/25/2025 01:00 am | 11/25/2025 01:00 am | Findings - SOP, Recommendation - SOP, Repair Done - SOP | Com1 | Customer Lounge
CEB-00010930 | 11/25/2025 | 04:29 pm - 04:31 pm | DINOY | Kew Foods Corporation | , JA CLARIN ST, , Bgry. COGON, TAGBILARAN CITY, Bohol, cebu | 0942-4559044 | KEA-120BDR |  | GAB APPLIANCE SERVICE CTR. | TS | DC | W | Malfunctioning | JBD Ubay Bohol Ref and Airconditioning |  | 3 | 2025-03-12 |  |  |  |  | E-mail
CEB-00010931 | 11/25/2025 | 04:36 pm - 04:38 pm | DINOY | Nacua, Nathally Tampus | , Purok 1 oval,, , Bgry.Oca帽a, CITY OF CARCAR, Cebu | 0995-4292866 | KWD-BLC-2088B |  | ASIAN HOMES | TS | FD | C | Can't Dispense Water | H-A Ref. and Airconditioning Repair & Services |  | 1 | 11/27/2025 | 11/26/2025 01:00 am | 11/26/2025 01:00 am | Findings - No signs of trouble found, Recommendation - for observation, Repair Done - check up only | Com2 | E-mail
CEB-00010932 | 11/26/2025 | 11:07 am - 11:09 am | DINOY | RL Appliance Inc. | 353, Real St., , , TACLOBAN CITY (Capital), Cebu | 0920-2607369 | KWD-BLC-3088S |  | RL APPLIANCE | TS | DC | W | Water Pump Malfunctioning | Carl Electronics and Refrigeration |  | 2 | 2025-02-12 | 11/25/2025 12:00 am | 11/25/2025 12:00 am | Findings - defective motor pump & pcb, Recommendation - , Repair Done - for part replacement |  | E-mail
CEB-00010933 | 11/26/2025 | 11:09 am - 11:10 am | DINOY | Gemson Marketing | n/a, Real St., n/a, Poblacion, TAFT, Eastern Samar | 0936-9903517 | KWD-BLC-2088B |  | RL APPLIANCE | TS | DC | W | Water Pump Malfunctioning | Carl Electronics and Refrigeration |  | 2 | 2025-03-12 |  |  | Findings - defective motor pump & pcb, Recommendation - , Repair Done - for part replacement |  | E-mail
CEB-00010934 | 11/26/2025 | 11:10 am - 11:11 am | DINOY | Dormal, Josie | RL Bldg,, Real St., n/a, Downtown Area, TACLOBAN CITY (Capital), Leyte | 0999-4967541 | KWD-BLC-2088B |  | RL APPLIANCE | TS | DC | W | Water Pump Malfunctioning | Carl Electronics and Refrigeration |  | 2 | 2025-03-12 |  |  | Findings - defective motor pump & pcb, Recommendation - , Repair Done - for part replacement |  | E-mail
CEB-00010935 | 11/26/2025 | 01:21 pm - 01:21 pm | DINOY | K.L.K.A | , , , Bgry. bangkal, LAPU-LAPU CITY (OPON), Cebu | 0966-7424120 | n/a |  |  | SP | WI | COS | Sales of Parts |  |  | 1 | 11/26/2025 | 11/26/2025 01:00 am | 11/26/2025 01:00 am | Findings - SOP, Recommendation - SOP, Repair Done - SOP | Com1 | Customer Lounge
CEB-00010936 | 11/26/2025 | 02:55 pm - 02:56 pm | DINOY | Amoy, trichie | , , , Bgry. Tunghaan , MINGLANILLA, cebu | 0917-6227706 | KWD-BLC-2088B |  | ASIAN HOMES | TS | FD | W | Can't Dispense Water | H-A Ref. and Airconditioning Repair & Services |  | 1 | 11/29/2025 | 11/30/2025 01:00 am | 11/30/2025 01:00 am | Findings - Can't dispense water /Def. Pump Motor, Recommendation - need to replace parts, Repair Done - Check up Only | Com1 | E-mail
CEB-00010937 | 11/26/2025 | 03:01 pm - 03:05 pm | DINOY | Kho, Lilibeth | , , Casa Mira, Bgry, Labangon, CEBU CITY (Capital), Cebu | 0917-3166750 | KAG-145WCINV |  | ASIAN HOMES | TS | BI | P | Not Cooling | H-A Ref. and Airconditioning Repair & Services |  | 2 | 11/27/2025 | 11/27/2025 01:00 am | 11/27/2025 01:00 am | Findings - Def. Compressor, Recommendation - For replaced compressor, Repair Done - Replaced Compressor System Reprocess | Com1 | E-mail
CEB-00010938 | 11/26/2025 | 03:05 pm - 03:05 pm | DINOY | Quadro Meatshop | , National Highway, , Cabalawan, TACLOBAN CITY (Capital), Leyte | 0955-7017663 | KL-IF60-G6H1M32-I |  | RL APPLIANCE | INST | DC | C | For Installation | GAB Appliance Service Center - Cebu |  | 1 | 11/26/2025 | 11/26/2025 01:00 pm | 11/26/2025 05:00 pm | Findings - For Installation, Recommendation - For Installation, Repair Done - Installation SAC Done | Com1 | E-mail
CEB-00010939 | 11/26/2025 | 03:07 pm - 03:08 pm | DINOY | Henluz Corporation | , , Fatima Village, Bagacay, DUMAGUETE CITY (Capital), Negros Oriental | 0906-3121607 | KSG-IWF-30WFY-8K1M32-I |  | ASIAN HOMES | INST | DC | C | For Installation | GAB Appliance Service Center - Cebu |  | 1 | 11/25/2025 | 11/25/2025 10:00 am | 11/25/2025 02:30 pm | Findings - For Installation, Recommendation - For Installation, Repair Done - Installation SAC Done | Com1 | E-mail
CEB-00010940 | 11/26/2025 | 04:38 pm - 04:46 pm | DINOY | Fast Cat | Fast Cat Ticketing, Pier 2 CP Building,, , , Barangay. San Roque , CITY OF TALISAY, Cebu | 0961-7499408 | KEA-60BDRDCA |  | ASIAN HOMES | TS | DC | W | Malfunctioning | H-A Ref. and Airconditioning Repair & Services |  | 2 | 11/29/2025 | 11/28/2025 12:00 am | 11/28/2025 12:00 am | Findings - def. main pcb Board, Recommendation - for replace main pcb, Repair Done - Replaced Main Pcb/ unit is okay | Com1 | E-mail
CEB-00010941 | 11/26/2025 | 05:01 pm - 05:02 pm | DINOY | Fast Cat | Fast Cat Ticketing, Pier 2 CP Building,, , , Barangay. San Roque , CITY OF TALISAY, Cebu | 0961-7499408 | KEA-60BDRDCA |  | ASIAN HOMES | TS | DC | W | Check - Up Only | H-A Ref. and Airconditioning Repair & Services |  | 1 | 11/26/2025 | 11/26/2025 12:00 am | 11/26/2025 12:00 am | Findings - def. pcb board & fan motor, Recommendation - request for Parts, Repair Done - check up only | Com2 | E-mail
CEB-00010942 | 11/26/2025 | 05:02 pm - 05:03 pm | DINOY | I.Teach Ventures | Dannara South, , , Tungkop, MINGLANILLA, Cebu | 0917-1366659 | KAM-150CMC32 |  | ASIAN HOMES | TS | DC | W | Not Cooling | H-A Ref. and Airconditioning Repair & Services |  | 1 | 11/26/2025 | 11/26/2025 12:00 am | 11/26/2025 12:00 am | Findings - Low voltage-170V Only, Recommendation - Refer to Electrical Maintenance, Repair Done - check up only | Com2 | E-mail
CEB-00010943 | 11/26/2025 | 05:34 pm - 05:35 pm | DINOY | RL- Tacloban City | , RL Bldg. 353 Real St., , Bgry. 48 Poblacion Tac. City, LEYTE, cebu | 0535-237442 | KWD-BLC-2088B |  | RL APPLIANCE | TS | FD | W | Dripping/ Water Leak | Carl Electronics and Refrigeration |  | 1 | 2025-03-12 |  |  |  |  | E-mail
CEB-00010944 | 11/26/2025 | 05:35 pm - 05:36 pm | DINOY | RL- Tacloban City | , RL Bldg. 353 Real St., , Bgry. 48 Poblacion Tac. City, LEYTE, cebu | 0535-237442 | KWD-BLC-2088B |  | RL APPLIANCE | TS | FD | W | Dripping/ Water Leak | Carl Electronics and Refrigeration |  | 1 | 2025-03-12 |  |  |  |  | E-mail
CEB-00010945 | 11/26/2025 | 05:36 pm - 05:37 pm | DINOY | RL- Tacloban City | , RL Bldg. 353 Real St., , Bgry. 48 Poblacion Tac. City, LEYTE, cebu | 0535-237442 | KWD-BLC-2088B |  | RL APPLIANCE | TS | FD | W | Can't Dispense Water | Carl Electronics and Refrigeration |  | 1 | 2025-03-12 |  |  |  |  | Inter-office
CEB-00010946 | 11/27/2025 | 08:48 am - 08:49 am | DINOY | Malubay, Arthur Yob Sison | 52-F , Don Pedro Cui St., Sitio DPC, Brgy. San Antonio , CEBU CITY (Capital), Cebu | 0966-6345101 | KAG-100WCINV |  | ROBINSONS | GC | FD | C | For GC | KLKA Air-conditioning and Refrigeration Services |  | 1 | 11/29/2025 | 11/28/2025 01:00 am | 11/28/2025 01:00 am | Findings - Dirty unit, , Recommendation - For General Cleaning, Repair Done - Rendered General Cleaning | Com1 | E-mail
CEB-00010947 | 11/27/2025 | 09:16 am - 09:16 am | DINOY | Rubin, Leonardo | Blk 3 Missionaire St., , , Suba, CEBU CITY (Capital), Cebu | 0916-3888574 | KSM-IW10-WCT10M1M32 |  | SUB-Asian Home - Smart Zone Appliance Square | INST | DC | C | For Installation | H-A Ref. and Airconditioning Repair & Services |  | 1 | 11/26/2025 | 11/26/2025 12:00 am | 11/26/2025 12:00 am | Findings - for installation, Recommendation - Install the unit, Repair Done - Installation of Class A Unit | Com1 | E-mail
CEB-00010948 | 11/27/2025 | 10:59 am - 10:59 am | DINOY | Prias, Xandra | , Sitio Busay,, , Brgy. San Miguel, Palompon, Leyte., LEYTE, Cebu | 0915-9528523 | KWD-BLC-2088B |  | WELCOME HOME APPLIANCES | TS | FD | W | Can't Dispense Water | KLK Aircon and Refrigeration Services |  | 1 | 11/27/2025 | 11/27/2025 01:00 am | 11/27/2025 01:00 am | Findings - Def. Faucet Warm, Recommendation - for replace faucet, , Repair Done - Check up Only | Com2 | E-mail
CEB-00010949 | 11/27/2025 | 11:08 am - 11:44 am | DINOY | Ponferrada, Kennie Jhie | n/a, n/a, Apitong, Brgy. 92, TACLOBAN CITY (Capital), Leyte | 0919-0029210 | KSG-IWF-20WFY-8K1M32-I |  | VIC IMPERIAL APP | INST | DC | C | For Installation | Carl Electronics and Refrigeration |  | 1 | 11/27/2025 | 11/27/2025 01:00 pm | 11/27/2025 03:00 pm | Findings - for installation, Recommendation - new SAC for installation, Repair Done - installation completed | Com1 | E-mail
CEB-00010950 | 11/27/2025 | 11:50 am - 11:50 am | DINOY | Asian home App. / Office | , Sudlon St., , Bgry. Lahug, CEBU CITY (Capital), Cebu | 918-9483597 | n/a |  |  | SP | WI | COS | Sales of Parts |  |  | 1 | 11/27/2025 | 11/27/2025 01:00 am | 11/27/2025 01:00 am | Findings - SOP, Recommendation - SOP, Repair Done - SOP | Com1 | Customer Lounge
CEB-00010951 | 11/27/2025 | 01:55 pm - 01:55 pm | DINOY | Severino, Cherry Duaso | , 3rd st, , Brgy 59-a sampaguita, TACLOBAN CITY (Capital), cebu | 0956-9268551 | KAG-100WCINV |  | VIC IMPERIAL APP | GC | FD | C | For GC | Carl Electronics and Refrigeration |  | 1 | 11/29/2025 | 11/29/2025 09:00 am | 11/29/2025 11:30 am | Findings - Dirty unit, , Recommendation - dirty unit for general cleaning, Repair Done - General cleaning unit ok | Com1 | E-mail
CEB-00010952 | 11/27/2025 | 02:44 pm - 02:50 pm | DINOY | Fast Cat | Fast Cat Ticketing, Pier 2 CP Building,, , , Barangay. San Roque , CITY OF TALISAY, Cebu | 0961-7499408 | KEA-60BDRDCA |  | ASIAN HOMES | TS | DC | W | Malfunctioning | H-A Ref. and Airconditioning Repair & Services |  | 2 | 11/27/2025 | 11/28/2025 12:00 am | 11/28/2025 12:00 am | Findings - Def. Main Pcb, Recommendation - for request Parts/ Need New Version Pcb , Repair Done - Check up Only | Com2 | E-mail
CEB-00010953 | 11/27/2025 | 04:47 pm - 04:48 pm | DINOY | Plaspack Industrial Corp. | No. 27 Amihan St. , , , Gentle Breeze Subd., MANDAUE CITY, Cebu | 0917-3215181 | KSM-IW25-WCT10M1M32 |  | ASIAN HOMES | INST | DC | C | For Installation | H-A Ref. and Airconditioning Repair & Services |  | 2 | 11/27/2025 | 11/27/2025 12:00 am | 11/27/2025 12:00 am | Findings - for installation, Recommendation - Install the unit, Repair Done - Installation of Class A Unit | Com1 | E-mail
CEB-00010954 | 11/27/2025 | 04:48 pm - 04:48 pm | DINOY | Velbros Ventures | , Quezon St., Castilix Compound, Bgry. Cabancalan, MANDAUE CITY, Cebu | 0916-2368234 | KWD-BLC-2088B |  | ECHO ELECTRICAL SUPPLY | TS | DC | W | Can't Dispense Water | KLKA Air-conditioning and Refrigeration Services |  | 1 | 11/26/2025 | 11/26/2025 12:00 am | 11/26/2025 01:00 am | Findings - Def. Door Switch, Recommendation - For Replaced door Switch, Repair Done - Check up Only | Com2 | E-mail
CEB-00010955 | 11/27/2025 | 04:49 pm - 04:49 pm | DINOY | Velbros Ventures | , Quezon St., Castilix Compound, Bgry. Cabancalan, MANDAUE CITY, Cebu | 0916-2368234 | KWD-BLC-2088B |  | ECHO ELECTRICAL SUPPLY | TS | DC | W | Can't Dispense Water | KLKA Air-conditioning and Refrigeration Services |  | 1 | 11/26/2025 | 11/26/2025 12:00 am | 11/26/2025 01:00 am | Findings - Def. Door Switch, Recommendation - For replace Door Switch, Repair Done - Check up Only | Com2 | E-mail
CEB-00010956 | 11/28/2025 | 03:40 pm - 03:40 pm | DINOY | Sayson, Angel | Lahing-Lahing St., , , Mabolo, CEBU CITY (Capital), Cebu | 0965-4078314 | KAM-55CMC32 |  | ROBINSONS | TS | DC | W | System Leak | H-A Ref. and Airconditioning Repair & Services |  | 1 | 11/28/2025 | 11/28/2025 12:00 am | 11/28/2025 12:00 am | Findings - Leaking Evaporator, Recommendation - for replace parts, Repair Done - Check up only | Com2 | E-mail
CEB-00010957 | 11/28/2025 | 03:40 pm - 03:40 pm | DINOY | Province of Southern Leyte | , , , Asuncion, CITY OF MAASIN (Capital), So. Leyte | 0917-1083313 | KSM-IW15-WCT10M1M32 |  | RL APPLIANCE | INST | DC | C | For Installation | GAB Appliance Service Center - Cebu |  | 1 | 11/28/2025 | 11/28/2025 01:00 am | 11/28/2025 01:00 am | Findings - for installation, , Recommendation - For Installation, , Repair Done - Installation Done | Com1 | E-mail
CEB-00010958 | 11/28/2025 | 03:40 pm - 03:41 pm | DINOY | Province of Southern Leyte | , , , Asuncion, CITY OF MAASIN (Capital), So. Leyte | 0917-1083313 | KSM-IW15-WCT10M1M32 |  | RL APPLIANCE | INST | DC | C | For Installation | GAB Appliance Service Center - Cebu |  | 1 | 11/28/2025 | 11/28/2025 01:00 am | 11/28/2025 01:00 am | Findings - for installation, , Recommendation - For Installation, , Repair Done - Installation Done | Com1 | E-mail
CEB-00010959 | 11/28/2025 | 03:41 pm - 03:41 pm | DINOY | Abad, Ferdielyn | , , , Centro, MANDAUE CITY, Cebu | 0917-1170131 | KSM-IW10-WCT10M1M32 |  | ASIAN HOMES | INST | DC | C | For Installation | H-A Ref. and Airconditioning Repair & Services |  | 1 | 11/28/2025 | 11/28/2025 12:00 am | 11/28/2025 12:00 am | Findings - for installation, Recommendation - Install the unit, Repair Done - Installation of Class A Unit | Com1 | E-mail
CEB-00010960 | 11/28/2025 | 03:41 pm - 03:41 pm | DINOY | Mabute, Arlyn | , National Highway, , Brgy. 2, PINABACDAO, Leyte | 0954-1662721 | KSG-IWF-30WFY-8K1M32-I |  | ABENSON INC. | INST | DC | C | For Installation | GAB Appliance Service Center - Cebu |  | 1 | 11/28/2025 | 11/28/2025 10:30 am | 11/28/2025 02:55 pm | Findings - For Installation, Recommendation - For Installation, Repair Done - Installation SAC Done | Com1 | E-mail
CEB-00010961 | 11/28/2025 | 04:25 pm - 04:31 pm | DINOY | Zgv Excel Aircon Services | , Blk. 9 Lot 6 Ph3 , V&G Subdivision, , TACLOBAN CITY (Capital), | 0945-9902233 | n/a |  |  | SP | WI | COS | Sales of Parts |  |  | 1 | 11/28/2025 | 11/28/2025 01:00 am | 11/28/2025 01:00 am | Findings - SOP, Recommendation - SOP, Repair Done - SOP | Com1 | Customer Lounge
CEB-00010962 | 11/28/2025 | 04:39 pm - 04:39 pm | DINOY | Ignacio, Son Jr. | , , , Bgry.Cebu, CEBU CITY (Capital), Cebu | 0928-6753759 | n/a |  |  | SP | WI | COS | Sales of Parts |  |  | 1 | 11/28/2025 | 11/28/2025 01:00 am | 11/28/2025 01:00 am | Findings - SOP, Recommendation - SOP, Repair Done - SOP | Com1 | Customer Lounge
CEB-00010963 | 11/28/2025 | 05:04 pm - 05:05 pm | DINOY | Bato, Marie | , , , Bgry.Liloan, CEBU CITY (Capital), Cebu | 0920-4986598 | KSM-IW10WAE-7J1M |  |  | SP | WI | COS | Sales of Parts |  |  | 1 | 11/28/2025 | 11/28/2025 01:00 am | 11/28/2025 01:00 am | Findings - SOP, Recommendation - SOP, Repair Done - SOP | Com1 | Customer Lounge
CEB-00010964 | 11/28/2025 | 05:27 pm - 05:28 pm | DINOY | KLK Aircon & Refrigeration Services | , , , Bgry.Purok 5 Linao Ormoc Leyte, ORMOC CITY, Cebu | 0926-7178976 | KSM-IW10-6H1M |  |  | SP | WI | COS | Sales of Parts |  |  | 1 | 11/28/2025 | 11/28/2025 01:00 am | 11/28/2025 01:00 am | Findings - SOP, Recommendation - SOP, Repair Done - SOP | Com1 | Customer Lounge
Legend:
PAO - Pick-up Admin Orders
DPO - Deliver of Dealer P.O.
DEF - Change Item
FAB - Fabrication of Bracket
CL - Copper Tube Claims
DEL - Delivery of Unit / Accessories
DSM - Dismantling
FPO - Unit for Pull-out
GC - General Cleaning
INST - Installation
MRK - Markings
PV - Project Visit
REP - Replacement as per dealer request
REPL - Replacement of Unit
SCF - Deliver / Pull-out of Scaffolding
SP - Sale of Parts
STU - Start-up
SVEY - Survey
TS - Troubleshooting
DIS - Dispose Parts
PGC - Pumpdown General Cleaning
Summary Per Job Type
JOB CLASS | CC | WI | BI | PO | FD | DC | RD | RM | TP | TOTAL
PAO | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DPO | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DEF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
FAB | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CL | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DEL | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DSM | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FPO | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
GC | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 3
INST | 0 | 0 | 0 | 0 | 0 | 72 | 0 | 0 | 0 | 72
MRK | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PV | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REP | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REPL | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SCF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SP | 0 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 30
STU | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SVEY | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1
TS | 0 | 0 | 1 | 2 | 27 | 40 | 0 | 0 | 0 | 70
DIS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PGC | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL | 0 | 30 | 1 | 2 | 31 | 112 | 0 | 0 | 1 | 177