## sjr_masterlist (3)
FROM : | 2025-01-11 | TO : | 11-30-2025
Location Warehouse : | ILO-ILO BRANCH
User : | All User
SJR No. | SJR Date | SJR Start/End Time | CSR Code | Customer Name | Address | Contact No. | Model | Relayed By | Dealer | Job Class | Job Type | Wty Type | Complaint | Tech Name | SJR Notes | No. of Visit | Promised Date | Date Attended | Date Finished | Repair Done | Job Status | Call Origin
ILO-00007444 | 2025-03-11 | 09:50 am - 09:50 am | falogme | Rodrigo, Vanessa | , , , Nalumsan, CARLES, Iloilo | 0912-9164792 | KSM-IW10-WCT10M1M32 |  | VIC IMPERIAL APP | INST | DC | C | For Installation | Jomehc Airconditioning System Services | For Record Purpose Only | 1 | 10/30/2025 | 10/30/2025 01:00 pm | 10/30/2025 04:00 pm | Findings - N/A, Recommendation - N/A, Repair Done - Installed | Com1 | E-mail
ILO-00007445 | 2025-03-11 | 10:36 am - 10:39 am | falogme | J7 Hotel And Resort Corp. | , , , Mandurraio, ILOILO CITY (Capital), Iloilo |  | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of Parts | 1 | 2025-03-11 | 2025-03-11 10:30 | 2025-03-11 10:40 | Findings - Sale of Parts, , , Recommendation - Sale of Parts, , Repair Done - Sale of Parts | Com1 | Customer Lounge
ILO-00007446 | 2025-03-11 | 04:06 pm - 04:09 pm | falogme | Labrador, Analen | , , , Sitio Dadoy Brgy Nipa, CONCEPCION, Iloilo | 0965-4787651 | KCF-12SRWDC |  | VIC IMPERIAL APP | TS | BI | W | Others | Laurence Pagayunan | TS / No Power | 1 | 2025-10-11 |  |  |  |  | Viber Mobile
ILO-00007447 | 2025-05-11 | 12:16 pm - 12:19 pm | falogme | Siador, Claire | , , , , LA PAZ, Iloilo | 0076-210043 | KWD-BLC-2088B |  | VIC IMPERIAL APP | TS | BI | W | Not Producing Water | Laurence Pagayunan | TS/ For shop repair | 1 | 2025-06-11 | 2025-06-11 13:30 | 2025-06-11 17:00 | Findings - Unit is okay / Adjustment Only, Recommendation - Adjustment of wiring , Repair Done - Adjusted of wiring / Observed / Unit is Okay | Com1 | Customer Lounge
ILO-00007448 | 2025-06-11 | 10:59 am - 10:59 am | falogme | Nig Marketing Corp | , Mabin St., , , ILOILO CITY (Capital), Iloilo |  | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of Parts | 1 | 2025-06-11 | 2025-06-11 10:55 | 2025-06-11 11:00 | Findings - Sale of Parts, , Recommendation - Sale of Parts, Repair Done - Sale of Parts | Com1 | Customer Lounge
ILO-00007449 | 2025-06-11 | 11:12 am - 11:13 am | falogme | Nig Marketing Corp | , Mabin St., , , ILOILO CITY (Capital), Iloilo |  | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of Parts | 1 | 2025-06-11 | 2025-06-11 11:10 | 2025-06-11 11:20 | Findings - Sale of Parts, , Recommendation - Sale of Parts, Repair Done - Sale of Parts | Com1 | Customer Lounge
ILO-00007450 | 2025-06-11 | 02:07 pm - 02:09 pm | falogme | Iloilo Cooled Air Service Center | , Rizal St., , Lapaz, ILOILO CITY (Capital), Iloilo |  | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of Parts | 1 | 2025-06-11 | 2025-06-11 14:05 | 2025-06-11 14:15 | Findings - Sale of Parts, , Recommendation - Sale of Parts, Repair Done - Sale of Parts | Com1 | Customer Lounge
ILO-00007451 | 2025-06-11 | 03:02 pm - 03:02 pm | falogme | Cool Zone Ref & Aircon Repair & Service | , , National Highway, Estancia, KALIBO (Capital), Aklan | 0920-2397603 | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of Parts | 1 | 2025-06-11 | 2025-06-11 15:00 | 2025-06-11 15:10 | Findings - Sale of Parts, , Recommendation - Sale of Parts, Repair Done - Sale of Parts | Com1 | Customer Lounge
ILO-00007452 | 2025-07-11 | 10:43 am - 10:44 am | falogme | J7 Hotel And Resort Corp. | , , , Mandurraio, ILOILO CITY (Capital), Iloilo |  | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of Parts | 1 | 2025-07-11 | 2025-07-11 10:40 | 2025-07-11 10:50 | Findings - Sale of Parts, , Recommendation - Sale of Parts, Repair Done - Sale of Parts | Com1 | Customer Lounge
ILO-00007453 | 2025-07-11 | 01:45 pm - 01:53 pm | falogme | Iloilo Cooled Air Service Center | , Rizal St., , Lapaz, ILOILO CITY (Capital), Iloilo |  | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of Parts | 1 | 2025-07-11 | 2025-07-11 13:50 | 2025-07-11 14:00 | Findings - Sale of Parts, , Recommendation - Sale of Parts, Repair Done - Sale of Parts | Com1 | Customer Lounge
ILO-00007454 | 2025-08-11 | 08:41 am - 08:51 am | falogme | Baldago, Lily Ann | , , , Jaro, ILOILO CITY (Capital), | 0917-7011152 | KWD-BLC-2088B |  | VIC IMPERIAL APP | TS | BI | W | Others | Laurence Pagayunan | TS / Switch button area, Cold water instead of Warm when turned on / For Shop Repair | 1 | 2025-12-11 | 2025-12-11 10:00 | 2025-12-11 17:00 | Findings - Cold Water instead of warm water when turned on, Recommendation - Adjustment of wiring , Repair Done - Adjusted of wiring / Observed / Unit is Okay | Com1 | Customer Lounge
ILO-00007455 | 2025-08-11 | 09:06 am - 09:07 am | falogme | Espa帽a, Arra | , , , , TUBUNGAN, IloIlo | 0995-2745829 | KAG-145WCINV |  | VIC IMPERIAL APP | TS | BI | W | FO Error Code | Laurence Pagayunan | TS FO error/ For Shop Repair / No parts Available | 1 | 11/18/2025 | 11/19/2025 09:00 am | 11/19/2025 05:00 pm | Findings - FO Error, Recommendation - Need to Replace Condenser; System reprocess & Cleaning, Repair Done - Replaced Condenser; System Reprocess & Cleaning / Observed / Unit is Okay | Com1 | Customer Lounge
ILO-00007456 | 2025-08-11 | 09:25 am - 09:28 am | falogme | Malones, Catherine | , , , Pob. South, OTON, Iloilo | 0906-3759922 | KEA-25BWR |  | VIC IMPERIAL APP | TS | BI | W | Auto On / Off | Laurence Pagayunan | TS / Auto Shutdown / For Shop Repair | 1 | 11/18/2025 | 11/19/2025 02:00 pm | 11/19/2025 05:00 pm | Findings - Auto Shut off, Recommendation - Need Replace PCB Board, Repair Done - Replaced PCB Assy / Observed units is Okay | Com1 | Customer Lounge
ILO-00007457 | 2025-08-11 | 09:42 am - 09:43 am | falogme | Ang, Lilia | , Gusman St., , Mandurriao, ILOILO CITY (Capital), Iloilo | 0918-9671213 | KAG-145WCINV |  | EMCOR INC. | TS | BI | W | Not Cooling | Laurence Pagayunan | TS Not Cooling / For Shop Repair / No parts Available | 1 | 11/15/2025 | 11/15/2025 01:00 pm | 11/15/2025 05:00 pm | Findings - Not Cooling, Recommendation - Need to Replace PCB, Repair Done - Replaced PCB Assy / Observed units is Okay | Com1 | Customer Lounge
ILO-00007458 | 2025-08-11 | 09:49 am - 09:52 am | falogme | Javero, Lerma | , Alibango St., , Poblacion, ALIMODIAN, Iloilo | 0907-2330615 | KEA-25BWR |  | EMCOR INC. | TS | BI | W | Not Cooling | Laurence Pagayunan | TS Not Cooling / For Shop Repair | 1 | 11/18/2025 | 11/18/2025 01:00 pm | 11/18/2025 05:00 pm | Findings - Auto Shut off, Recommendation - Need to Replace Main Board, Repair Done - Replaced PCB Assy / Observed units is Okay | Com1 | Customer Lounge
ILO-00007459 | 2025-08-11 | 03:49 pm - 03:50 pm | falogme | Sindol, April Rose | , , , Avida Atria, ILOILO CITY (Capital), | 0907-1517655 | KAG-145WCINV |  | VIC IMPERIAL APP | TS | FD | W | Not Cooling | Lopel Airconditioning Services | TS / Relayed to LOPEL | 1 | 2025-11-11 | 2025-11-11 14:00 | 2025-11-11 15:00 | Findings - Aircon unit vibrates, pipes rub against with each other and produces noisy operation, Recommendation - For adjustment, Repair Done - Check, adjust pipes, adjust the aircon unit level/ observed/ unit is okay | Com1 | E-mail
ILO-00007460 | 2025-08-11 | 03:59 pm - 03:59 pm | falogme | Lopel Airconditioning Services | Juliana Bldg., Road 10, , Brgy. Aganan, PAVIA, Iloilo |  | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of Parts | 1 | 2025-08-11 | 2025-08-11 15:55 | 2025-08-11 16:00 | Findings - Sale of Parts, , Recommendation - Sale of Parts, Repair Done - Sale of Parts | Com1 | Customer Lounge
ILO-00007461 | 2025-08-11 | 04:12 pm - 04:13 pm | falogme | ILLITCOOL | , , , Lapaz, ILOILO CITY (Capital), | 0993-9257022 | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of Parts | 1 | 2025-08-11 | 2025-08-11 16:10 | 2025-08-11 16:20 | Findings - Sale of Parts, , Recommendation - Sale of Parts, Repair Done - Sale of Parts | Com1 | Customer Lounge
ILO-00007462 | 2025-10-11 | 01:38 pm - 01:38 pm | falogme | Jumayao, Sandy | , , Evelyn Manor Subd., Balantang, Jaro, ILOILO CITY (Capital), Iloilo |  | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of Parts | 1 | 2025-10-11 | 2025-10-11 13:35 | 2025-10-11 13:45 | Findings - Sale of Parts, , Recommendation - Sale of Parts, Repair Done - Sale of Parts | Com1 | Customer Lounge
ILO-00007463 | 2025-10-11 | 04:00 pm - 04:01 pm | falogme | Cool Site Airconditioning Service | , , , Brgy. Inzo Arnaldo, ROXAS, Capiz |  | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of Parts | 1 | 2025-10-11 | 2025-10-11 16:00 | 2025-10-11 16:10 | Findings - Sale of Parts, , Recommendation - Sale of Parts, Repair Done - Sale of Parts | Com1 | Customer Lounge
ILO-00007464 | 2025-11-11 | 08:25 am - 08:27 am | falogme | Tre帽as, Jose | 32 A, MH Del Pilar St., , Molo, ILOILO CITY (Capital), Iloilo | 0936-9173056 | KWD-BLC-2088B |  | VIC IMPERIAL APP | TS | BI | W | Others | Laurence Pagayunan | TS / no power / For Shop Repair | 1 | 2025-11-11 | 2025-11-11 09:00 | 2025-11-11 15:00 | Findings - No Power, Recommendation - Need to Replace PCB, Repair Done - Replaced PCB / Observed units is Okay | Com1 | Customer Lounge
ILO-00007465 | 2025-11-11 | 02:23 pm - 02:23 pm | falogme | WEST VISAYAS MEDICAL CENTER | N/A, N/A, N/A, Q ABETO ST. MANDURRIAO ILOILO CITY, ILOILO CITY (Capital), | 0945-9603215 | KLM-IX40-AA1M32-O |  | NIG MARKETING | INST | DC | C | For Installation | NIG Marketing Corporation | For Record Purpose Only | 1 | 10/14/2025 | 10/14/2025 08:00 am | 10/14/2025 05:00 pm | Findings - N/A, Recommendation - N/A, Repair Done - Installed | Com1 | E-mail
ILO-00007466 | 2025-11-11 | 02:31 pm - 02:31 pm | falogme | WEST VISAYAS MEDICAL CENTER | N/A, N/A, N/A, Q ABETO ST. MANDURRIAO ILOILO CITY, ILOILO CITY (Capital), | 0945-9603215 | KLM-IX40-AA1M32-O |  | NIG MARKETING | INST | DC | C | For Installation | NIG Marketing Corporation | For Record Purpose Only | 1 | 10/14/2025 | 10/14/2025 08:00 am | 10/14/2025 05:00 pm | Findings - N/A, Recommendation - N/A, Repair Done - Installed | Com1 | E-mail
ILO-00007467 | 2025-11-11 | 02:43 pm - 02:43 pm | falogme | Sumindol , Florentino | , , , Brgy. Baclayan , NEW LUCENA, ILOILO | 0945-9603215 | KSM-IW10-WCT10M1M32 |  | NIG MARKETING | INST | DC | C | For Installation | NIG Marketing Corporation | For Record Purpose Only | 1 | 10/20/2025 | 10/20/2025 08:00 am | 10/20/2025 05:00 pm | Findings - N/A, Recommendation - N/A, Repair Done - Installed | Com1 | E-mail
ILO-00007468 | 2025-11-11 | 02:48 pm - 02:48 pm | falogme | WEST VISAYAS MEDICAL CENTER | N/A, N/A, N/A, Q ABETO ST. MANDURRIAO ILOILO CITY, ILOILO CITY (Capital), | 0945-9603215 | KLM-IX40-AA1M32-O |  | NIG MARKETING | INST | DC | C | For Installation | NIG Marketing Corporation | For Record Purpose Only | 1 | 10/14/2025 | 10/14/2025 08:00 am | 10/14/2025 05:00 pm | Findings - N/A, Recommendation - N/A, Repair Done - Installed | Com1 | E-mail
ILO-00007469 | 2025-11-11 | 03:00 pm - 03:01 pm | falogme | EDE Engineering Enterprise | , , , , SAN JOSE, Antique |  | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of Parts | 1 | 2025-11-11 | 2025-11-11 15:00 | 2025-11-11 15:10 | Findings - Sale of Parts, , , Recommendation - Sale of Parts, , Repair Done - Sale of Parts | Com1 | Customer Lounge
ILO-00007470 | 2025-11-11 | 03:21 pm - 03:25 pm | falogme | Lopel Airconditioning Services | Juliana Bldg., Road 10, , Brgy. Aganan, PAVIA, Iloilo |  | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of Parts | 1 | 2025-11-11 | 2025-11-11 15:25 | 2025-11-11 15:35 | Findings - Sale of Parts, , , Recommendation - Sale of Parts, Repair Done - Sale of Parts | Com1 | Customer Lounge
ILO-00007471 | 2025-11-11 | 03:49 pm - 03:50 pm | falogme | Lao, Maria Analyn | , , Park Place Subd. Blk1 Lot7 Pob., , LEGANES, Iloilo | 0954-3517021 | KAG-100WCINV |  | VIC IMPERIAL APP | TS | BI | W | Noisy | Lopel Airconditioning Services | TS / Noisy Motor / Relayed to Lopel | 1 | 11/15/2025 | 11/15/2025 03:45 pm | 11/15/2025 04:40 pm | Findings - noisy fan motor, Recommendation - dirty unit, for general cleaning, Repair Done - greased the louver of the unit/ observe/ unit is okay, no unusual sound/General Cleaning | Com1 | Viber Mobile
ILO-00007472 | 2025-12-11 | 08:14 am - 08:16 am | falogme | Sumindol , Florentino | , , , Brgy. Baclayan , NEW LUCENA, ILOILO | 0945-9603215 | KSM-IW10-WCT10M1M32 |  | NIG MARKETING | INST | DC | C | For Installation | NIG Marketing Corporation | For Record Purpose Only | 1 | 10/20/2025 | 10/20/2025 08:00 am | 10/20/2025 05:00 pm | Findings - N/A, Recommendation - N/A, Repair Done - Installed | Com1 | E-mail
ILO-00007473 | 2025-12-11 | 02:35 pm - 02:36 pm | falogme | Gumban, Noel | , Blk 21 Lot 7, Westville Subd., Pandac, PAVIA, Iloilo | 0961-9742749 | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of Parts | 1 | 2025-12-11 | 2025-12-11 14:35 | 2025-12-11 14:45 | Findings - Sale of Parts, , Recommendation - Sale of Parts, Repair Done - Sale of Parts | Com1 | Customer Lounge
ILO-00007474 | 2025-12-11 | 03:48 pm - 03:48 pm | falogme | Carescool Refrigeration & Air Conditioning Services | , , , Brgy. Gines Patag, CABATUAN, Iloilo |  | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of Parts | 1 | 2025-12-11 | 2025-12-11 15:45 | 2025-12-11 15:50 | Findings - Sale of Parts, , Recommendation - Sale of Parts, Repair Done - Sale of Parts | Com1 | Customer Lounge
ILO-00007475 | 11/13/2025 | 09:45 am - 09:47 am | falogme | Macayan, Mary Grace | , Zone 6, Blanco St., , , SANTA BARBARA, Iloilo | 0907-8469828 | KAM-55CMC32 |  | VIC IMPERIAL APP | TS | FD | W | Others | Lopel Airconditioning Services | TS / Relayed to Lopel | 1 | 11/13/2025 | 11/13/2025 09:00 am | 11/13/2025 10:30 am | Findings - Dirty Unit, Recommendation - for General Cleaning, , Repair Done - Rendered General Cleaning/ Observed/ Unit is okay | Com1 | Viber Mobile
ILO-00007476 | 11/13/2025 | 01:54 pm - 01:55 pm | falogme | Betita, Royalin | , , Imperial Homes II, Quintin Salas, Jaro, ILOILO CITY (Capital), Iloilo | 0998-5447488 | KAM-75CMC32 |  | VIC IMPERIAL APP | TS | FD | W | Noisy | Cool Site Air-conditioning Services | TS / Relayed to Cool Site | 1 | 11/14/2025 | 11/14/2025 08:00 am | 11/14/2025 05:00 pm | Findings - CANCELLED BY CUSTOMER , "Unit is Okay na daw", Recommendation - CANCELLED BY CUSTOMER, "Unit is Okay na daw", Repair Done - CANCELLED BY CUSTOMER, "Unit is Okay na daw" | NSC09 | Social Media
ILO-00007477 | 11/13/2025 | 03:16 pm - 03:17 pm | falogme | Cool Site Airconditioning Service | , , , Brgy. Inzo Arnaldo, ROXAS, Capiz |  | n/a |  |  | SP | WI | COS | Sales of Parts | Cool Site Air-conditioning Services | Sale of Parts | 1 | 11/13/2025 | 11/13/2025 03:15 pm | 11/13/2025 03:25 pm | Findings - Sale of Parts, , Recommendation - Sale of Parts, , Repair Done - Sale of Parts | Com1 | Customer Lounge
ILO-00007478 | 11/14/2025 | 11:06 am - 11:08 am | falogme | Bagcal, Billy | , , , , BANATE, Iloilo | 0999-6542845 | KSG-IWF-25WFY-8K1M32-I |  | VIC IMPERIAL APP | INST | DC | C | For Installation | Cool Site Air-conditioning Services | For Record Purpose Only | 1 | 11/14/2025 | 11/14/2025 08:00 am | 11/14/2025 05:00 pm | Findings - N/A, Recommendation - N/A, Repair Done - Installed | Com1 | E-mail
ILO-00007479 | 11/14/2025 | 03:53 pm - 03:53 pm | falogme | Dialysis Center | , , , Boulevard, ROXAS CITY (Capital), |  | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of Parts | 1 | 11/14/2025 | 11/14/2025 03:50 pm | 11/14/2025 04:00 pm | Findings - Sale of Parts, , Recommendation - Sale of Parts, Repair Done - Sale of Parts | Com1 | Customer Lounge
ILO-00007480 | 11/14/2025 | 04:28 pm - 04:28 pm | falogme | Pampliega, Leo-Ann Alleno | , , , , BATAD, Iloilo | 0992-9713825 | KSM-IW25-WCT10M1M32 |  | VIC IMPERIAL APP | INST | DC | C | For Installation | Jomehc Airconditioning System Services | For Record Purpose Only | 1 | 2025-12-11 | 11/13/2025 09:00 am | 11/13/2025 02:00 pm | Findings - N/A, Recommendation - N/A, Repair Done - Installed | Com1 | E-mail
ILO-00007481 | 11/14/2025 | 04:50 pm - 04:50 pm | falogme | Road Cafe | , , , Zarraga, ZARRAGA, Iloilo | 0961-7697543 | KSG-IWF-15WFY-8K1M32-I |  | VIC IMPERIAL APP | INST | DC | C | For Installation | Lopel Airconditioning Services | For Record Purpose Only | 1 | 11/13/2025 | 11/13/2025 08:00 am | 11/13/2025 05:00 pm | Findings - N/A, Recommendation - N/A, Repair Done - Installed | Com1 | E-mail
ILO-00007482 | 11/15/2025 | 08:25 am - 08:26 am | falogme | Enarsao, Alma | , , , Buenvista, BUENAVISTA, Guimaras |  | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of Parts | 1 | 11/15/2025 | 11/15/2025 08:25 am | 11/15/2025 08:30 am | Findings - Sale of Parts, , Recommendation - Sale of Parts, Repair Done - Sale of Parts | Com1 | Customer Lounge
ILO-00007483 | 11/15/2025 | 09:07 am - 09:10 am | falogme | Pancho, Christian | , , , Lapuz, ILOILO CITY (Capital), | 0946-1524932 | KCB-BLC-8859T |  | VIC IMPERIAL APP | TS | BI | W | Others | Laurence Pagayunan | TS / Water Leak / For Shop Repair | 1 | 11/18/2025 | 11/18/2025 10:00 am | 11/18/2025 05:00 pm | Findings - No Power, Recommendation - Solder wire harness from Main board to Display Board, Repair Done - Solder wire harness from Main board to Display Board / Observed / Unit is Okay | Com1 | Customer Lounge
ILO-00007484 | 11/15/2025 | 01:43 pm - 01:43 pm | falogme | Gambe, Steffi Colline | , Ilawod, , Poblacion, ZARRAGA, Iloilo | 0910-2053058 | KSM-IW10-WCT10M1M32 |  | ROBINSONS | INST | DC | C | For Installation | Ilo-Ilo Whitelines Service Center Co. | For Record Purpose Only | 1 | 11/14/2025 | 11/14/2025 08:00 am | 11/14/2025 05:00 pm | Findings - N/A, Recommendation - N/A, Repair Done - Installed | Com1 | E-mail
ILO-00007485 | 11/15/2025 | 01:58 pm - 02:01 pm | falogme | Cool Site Airconditioning Service | , , , Brgy. Inzo Arnaldo, ROXAS, Capiz |  | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of Parts | 1 | 11/15/2025 | 11/15/2025 02:00 pm | 11/15/2025 02:10 pm | Findings - Sale of Parts, , , Recommendation - Sale of Parts, , Repair Done - Sale of Parts | Com1 | Customer Lounge
ILO-00007486 | 11/15/2025 | 03:09 pm - 03:10 pm | falogme | Panes, Tony | , , , , ILOILO CITY (Capital), Iloilo |  | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of Parts | 1 | 11/15/2025 | 11/15/2025 03:10 pm | 11/15/2025 03:20 pm | Findings - Sale of Parts, , Recommendation - Sale of Parts, Repair Done - Sale of Parts | Com1 | Customer Lounge
ILO-00007487 | 11/17/2025 | 01:27 pm - 01:28 pm | falogme | Carescool Refrigeration & Air Conditioning Services | , , , Brgy. Gines Patag, CABATUAN, Iloilo |  | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of Parts | 1 | 11/17/2025 | 11/17/2025 01:25 pm | 11/17/2025 01:30 pm | Findings - Sale of Parts, , Recommendation - Sale of Parts, Repair Done - Sale of Parts | Com1 | Customer Lounge
ILO-00007488 | 11/17/2025 | 03:04 pm - 03:04 pm | falogme | RV Empire Inc. | , , , Tabuc Suba, ROXAS, Capiz |  | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of Parts | 1 | 11/17/2025 | 11/17/2025 03:05 pm | 11/17/2025 03:10 pm | Findings - Sale of Parts, , Recommendation - Sale of Parts, Repair Done - Sale of Parts | Com1 | Customer Lounge
ILO-00007489 | 11/17/2025 | 03:55 pm - 03:56 pm | falogme | Demacais, Annabelle | , 45 Crispa St. Villa Hermosa Subd.,, , Brgy. Baldoza, Lapaz Iloilo, Red Fox Cabugao Sur, PAVIA, Iloilo | 0912-9386147 | KSM-IW15-WCT10M1M32 |  | ABENSON INC. | INST | DC | C | For Installation | Ilo-Ilo Cooled Air Service Center | For Record Purpose Only | 1 | 11/17/2025 | 11/17/2025 08:00 am | 11/17/2025 05:00 pm | Findings - N/A, Recommendation - N/A, Repair Done - Installed | Com1 | E-mail
ILO-00007490 | 11/17/2025 | 04:04 pm - 04:04 pm | falogme | Demacais, Annabelle | , 45 Crispa St. Villa Hermosa Subd.,, , Brgy. Baldoza, Lapaz Iloilo, Red Fox Cabugao Sur, PAVIA, Iloilo | 0912-9386147 | KSM-IW15-WCT10M1M32 |  | ABENSON INC. | INST | DC | C | For Installation | Ilo-Ilo Cooled Air Service Center | For Record Purpose Only | 1 | 11/17/2025 | 11/17/2025 08:00 am | 11/17/2025 05:00 pm | Findings - N/A, Recommendation - N/A, Repair Done - Installed | Com1 | E-mail
ILO-00007491 | 11/18/2025 | 01:31 pm - 01:32 pm | falogme | Pagayunan, Laurence | , Zone 1, Calumpang, Molo, ILOILO CITY (Capital), Iloilo |  | KSM-IW10-WCT10M1M32 |  | VIC IMPERIAL APP | INST | DC | C | For Installation | Lopel Airconditioning Services | For Record Purpose Only | 1 | 11/17/2025 | 11/17/2025 08:00 am | 11/17/2025 05:00 pm | Findings - N/A, Recommendation - N/A, Repair Done - Installed | Com1 | E-mail
ILO-00007492 | 11/18/2025 | 03:45 pm - 03:48 pm | falogme | Lorenzana, Jay | 1, 1/3/2/ sta.ana, Lj Ledesma Ph 2, Buhang , Jaro, ILOILO CITY (Capital), Iloilo | 0998-9864598 | KSM-IW10-WCT10M1M32 |  | VIC IMPERIAL APP | TS | DC | W | Noisy | REM Cleanair Aircon Services Corporation ILO | TS / For Parts Replacement | 1 | 11/18/2025 | 11/18/2025 03:00 pm | 11/18/2025 04:00 pm | Findings - Leakage on Evaporator, Recommendation - For Replacement of Evaporator, Repair Done - Check Up / For Parts Replacement | Com1 | E-mail
ILO-00007493 | 11/18/2025 | 04:08 pm - 04:09 pm | falogme | Naldoza, Lea Marie | , , , , MIAGAO, Iloilo | 0917-3019305 | KAM-55CMC32 |  |  | TS | BI | C | Noisy | Laurence Pagayunan | TS / Noisy / For Shop Repair | 1 | 11/19/2025 | 11/19/2025 01:00 pm | 11/19/2025 05:00 pm | Findings - Noisy Operation, Recommendation - Need to Replace Fan Motor & General Cleaning, Repair Done - Replaced Fan Motor/ General Cleaning / Observed / Unit is okay | Com1 | Customer Lounge
ILO-00007494 | 11/19/2025 | 11:35 am - 11:36 am | APAITAN | Barcelona Airconditioning Repair Shop | , , , Balantang , JARO, Iloilo |  | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of Parts | 1 | 11/19/2025 | 11/19/2025 11:00 am | 11/19/2025 11:42 am | Findings - Sale of parts, Recommendation - Sale of Parts, Repair Done - Sale of parts | Com1 | Customer Lounge
ILO-00007495 | 11/19/2025 | 02:04 pm - 02:05 pm | falogme | Pampliega, Leo-Ann Alleno | , , , , BATAD, Iloilo | 0992-9713825 | KSM-IW20-WCT10M1M32 |  | VIC IMPERIAL APP | INST | DC | C | For Installation | Jomehc Airconditioning System Services | For Record Purpose Only | 1 | 11/16/2025 | 11/17/2025 08:00 am | 11/17/2025 05:00 pm | Findings - N/A, Recommendation - N/A, Repair Done - Installed | Com1 | E-mail
ILO-00007496 | 11/19/2025 | 02:26 pm - 02:27 pm | falogme | Pampliega, Leo-Ann Alleno | , , , , BATAD, Iloilo | 0992-9713825 | KSM-IW10-WCT10M1M32 |  | VIC IMPERIAL APP | INST | DC | C | For Installation | Jomehc Airconditioning System Services | For Record Purpose Only | 1 | 11/16/2025 | 11/17/2025 08:00 am | 11/17/2025 05:00 pm | Findings - N/A, Recommendation - N/A, Repair Done - Installed | Com1 | E-mail
ILO-00007497 | 11/19/2025 | 02:30 pm - 02:31 pm | falogme | Pampliega, Leo-Ann Alleno | , , , , BATAD, Iloilo | 0992-9713825 | KSM-IW10-WCT10M1M32 |  | VIC IMPERIAL APP | INST | DC | C | For Installation | Jomehc Airconditioning System Services | For Record Purpose Only | 1 | 11/17/2025 | 11/17/2025 08:00 am | 11/17/2025 05:00 pm | Findings - N/A, Recommendation - N/A, Repair Done - Installed | Com1 | E-mail
ILO-00007498 | 11/19/2025 | 04:44 pm - 04:45 pm | falogme | Lopez Jr., Ernesto | , Blk. 10 Lot4 Jasmin St. , Landheights Subd., Phase 1 Villa Arevalo, ILOILO CITY (Capital), | 0909-2194571 | KSM-IW10-WCT10M1M32 |  | VIC IMPERIAL APP | INST | DC | C | For Installation | Lopel Airconditioning Services | For Record Purpose Only | 1 | 11/18/2025 | 11/18/2025 08:00 am | 11/18/2025 05:00 pm | Findings - N/A, Recommendation - N/A, Repair Done - Installed | Com1 | E-mail
ILO-00007499 | 11/20/2025 | 11:31 am - 11:32 am | falogme | Lorenzana, Jay | 1, 1/3/2/ sta.ana, Lj Ledesma Ph 2, Buhang , Jaro, ILOILO CITY (Capital), Iloilo | 0998-9864598 | KSM-IW10-WCT10M1M32 |  | VIC IMPERIAL APP | TS | FD | W | System Leak | REM Cleanair Aircon Services Corporation ILO | For Replacement of Parts | 2 | 11/27/2025 | 11/27/2025 03:00 pm | 11/27/2025 05:00 pm | Findings - Leakage on Evaporator, Recommendation - For Replacement of Evaporator, Repair Done - Replaced of Evaporator, unit is okay | Com1 | Second Action
ILO-00007500 | 11/20/2025 | 01:24 pm - 01:25 pm | falogme | Cool Site Airconditioning Service | , , , Brgy. Inzo Arnaldo, ROXAS, Capiz |  | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of Parts | 1 | 11/20/2025 | 11/20/2025 01:25 pm | 11/20/2025 01:35 pm | Findings - Sale of Parts, , Recommendation - Sale of Parts, Repair Done - Sale of Parts | Com1 | Customer Lounge
ILO-00007501 | 11/20/2025 | 03:11 pm - 03:13 pm | falogme | Malones, Catherine | , , , Pob. South, OTON, Iloilo | 0906-3759922 | KEA-25BWR |  | VIC IMPERIAL APP | TS | BI | W | Auto On / Off | Laurence Pagayunan | TS / For Shop Repair | 1 | 11/20/2025 | 11/20/2025 10:00 am | 11/20/2025 05:00 pm | Findings - Auto Shut off, Recommendation - Need to Replace PCB, Repair Done - Replaced PCB main/ observe/ unit is okay | Com1 | Customer Lounge
ILO-00007502 | 11/20/2025 | 03:37 pm - 03:38 pm | falogme | Lopel Airconditioning Services | Juliana Bldg., Road 10, , Brgy. Aganan, PAVIA, Iloilo |  | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of Parts | 1 | 11/20/2025 | 11/20/2025 03:35 pm | 11/20/2025 03:45 pm | Findings - Sale of Parts, , Recommendation - Sale of Parts, Repair Done - Sale of Parts | Com1 | Customer Lounge
ILO-00007503 | 11/20/2025 | 03:47 pm - 03:48 pm | falogme | Lopel Airconditioning Services | Juliana Bldg., Road 10, , Brgy. Aganan, PAVIA, Iloilo |  | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of Parts | 1 | 11/20/2025 | 11/20/2025 03:45 pm | 11/20/2025 03:55 pm | Findings - Sale of Parts, , Recommendation - Sale of Parts, Repair Done - Sale of Parts | Com1 | Customer Lounge
ILO-00007504 | 11/20/2025 | 04:12 pm - 04:13 pm | falogme | Gencianeo, Isidro | UPDC Ph1, Lot 2, Blk 9, Santo Nino Sur, Santo Nino Sur, ILOILO CITY (Capital), | 0927-2701582 | KSG-IWF-10WFY-8K1M32-I |  | ROBINSONS | INST | DC | C | For Installation | Ilo-Ilo Whitelines Service Center Co. | For Record Purpose Only | 1 | 11/19/2025 | 11/19/2025 08:00 am | 11/19/2025 05:00 pm | Findings - N/A, Recommendation - N/A, Repair Done - Installed | Com1 | E-mail
ILO-00007505 | 11/21/2025 | 11:08 am - 11:10 am | falogme | Chiva, Raisha Mae | , , , , BINGAWAN, Iloilo | 0961-1079332 | KEA-60BDRDCA |  | VIC IMPERIAL APP | TS | BI | W | Others | Laurence Pagayunan | TS / For Shop Repair | 1 | 11/24/2025 | 11/24/2025 01:00 pm | 11/24/2025 03:00 pm | Findings - Unit is okay, Recommendation - Please Check AC Outlet, Repair Done - Unit function normally/ Observed | Com1 | Customer Lounge
ILO-00007506 | 11/21/2025 | 11:10 am - 11:11 am | falogme | Chiva, Raisha Mae | , , , , BINGAWAN, Iloilo | 0961-1079332 | KEA-60BDRDCA |  | VIC IMPERIAL APP | TS | BI | W | Others | Laurence Pagayunan | TS / For Shop Repair | 1 | 11/24/2025 | 11/24/2025 10:00 am | 11/24/2025 05:00 pm | Findings - No Power, Recommendation - Need to Replace Power Supply Board, Repair Done - Replaced Power Supply Board / Observed / unit is Okay | Com1 | Customer Lounge
ILO-00007507 | 11/21/2025 | 01:44 pm - 01:46 pm | falogme | Cool Air Stream Sales & Services | , , , Lapaz, ILOILO CITY (Capital), Iloilo |  | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of Parts | 1 | 11/21/2025 | 11/21/2025 01:45 pm | 11/21/2025 01:55 pm | Findings - Sale of Parts, , Recommendation - Sale of Parts, Repair Done - Sale of Parts | Com1 | Customer Lounge
ILO-00007508 | 11/21/2025 | 04:14 pm - 04:15 pm | falogme | NH Motor Sales | , , , Molo, ILOILO CITY (Capital), Iloilo | 0930-6357731 | KLG-SF40-WBR6H1M32-I |  | VIC IMPERIAL APP | INST | DC | C | For Installation | Cool Site Air-conditioning Services | For Record Purpose Only | 1 | 11/19/2025 | 11/19/2025 08:00 am | 11/19/2025 07:00 pm | Findings - N/A, Recommendation - N/A, Repair Done - Installed | Com1 | E-mail
ILO-00007509 | 11/21/2025 | 04:22 pm - 04:23 pm | falogme | NH MOTOR SALES | , , , , JARO, Iloilo City | 0917-8273862 | KLG-SF40-WBR6H1M32-I |  | VIC IMPERIAL APP | INST | DC | C | For Installation | Cool Site Air-conditioning Services | Overtime Until 7PM / For Record Purpose Only | 1 | 11/19/2025 | 11/19/2025 08:00 am | 11/19/2025 07:00 pm | Findings - N/A, Recommendation - N/A, Repair Done - Installed | Com1 | E-mail
ILO-00007510 | 11/21/2025 | 04:30 pm - 04:31 pm | falogme | NH MOTOR SALES | , , , , JARO, Iloilo City | 0917-8273862 | KL-IF60-G6H1M32-I |  | VIC IMPERIAL APP | INST | DC | C | For Installation | Cool Site Air-conditioning Services | Overtime Until 7PM / For Record Purpose Only | 1 | 11/19/2025 | 11/19/2025 08:00 am | 11/19/2025 07:00 pm | Findings - N/A, Recommendation - N/A, Repair Done - Installed | Com1 | E-mail
ILO-00007511 | 11/21/2025 | 04:41 pm - 04:41 pm | falogme | NH MOTOR SALES | , , , , JARO, Iloilo City | 0917-8273862 | KSM-IW25-WCT10M1M32 |  | VIC IMPERIAL APP | INST | DC | C | For Installation | Cool Site Air-conditioning Services | Overtime Until 7PM / For Record Purpose Only | 1 | 11/19/2025 | 11/19/2025 08:00 am | 11/19/2025 07:00 pm | Findings - N/A, Recommendation - N/A, Repair Done - Installed | Com1 | E-mail
ILO-00007512 | 11/21/2025 | 04:48 pm - 04:48 pm | falogme | NH MOTOR SALES | , , , , JARO, Iloilo City | 0917-8273862 | KSM-IW20-WCT10M1M32 |  | VIC IMPERIAL APP | INST | DC | C | For Installation | Cool Site Air-conditioning Services | Overtime Until 7PM / For Record Purpose Only | 1 | 11/19/2025 | 11/19/2025 08:00 am | 11/19/2025 05:00 pm | Findings - N/A, Recommendation - N/A, Repair Done - Installed | Com1 | E-mail
ILO-00007513 | 11/24/2025 | 04:33 pm - 04:34 pm | falogme | Pasco, Lyna B. | , , , Pueblo Mandurriao, ILOILO CITY (Capital), Iloilo | 0917-7138736 | KSM-IW15-WCT10M1M32 |  | VIC IMPERIAL APP | INST | DC | C | For Installation | Lopel Airconditioning Services | For Record Purpose Only | 1 | 11/22/2025 | 11/22/2025 08:00 am | 11/22/2025 05:00 pm | Findings - N/A, Recommendation - N/A, Repair Done - Installed | Com1 | E-mail
ILO-00007514 | 11/24/2025 | 04:41 pm - 04:41 pm | falogme | Pasco, Lyna B. | , , , Pueblo Mandurriao, ILOILO CITY (Capital), Iloilo | 0917-7138736 | KSM-IW15-WCT10M1M32 |  | VIC IMPERIAL APP | INST | DC | C | For Installation | Lopel Airconditioning Services | For Record Purpose Only | 1 | 11/22/2025 | 11/22/2025 08:00 am | 11/22/2025 05:00 pm | Findings - N/A, Recommendation - N/A, Repair Done - Installed | Com1 | E-mail
ILO-00007515 | 11/24/2025 | 04:46 pm - 04:47 pm | falogme | Pasco, Lyna B. | , , , Pueblo Mandurriao, ILOILO CITY (Capital), Iloilo | 0917-7138736 | KSM-IW15-WCT10M1M32 |  | VIC IMPERIAL APP | INST | DC | C | For Installation | Lopel Airconditioning Services | For Record Purpose Only | 1 | 11/22/2025 | 11/22/2025 08:00 am | 11/22/2025 05:00 pm | Findings - N/A, Recommendation - N/A, Repair Done - Installed | Com1 | E-mail
ILO-00007516 | 11/25/2025 | 03:15 pm - 03:16 pm | falogme | RCG Electro Mechanical Ent. & Inc. | , , , Mandurriao, ILOILO CITY (Capital), | 0951-4542300 | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale Of Parts | 1 | 11/25/2025 | 11/25/2025 03:15 pm | 11/25/2025 03:25 pm | Findings - Sale of Parts, , Recommendation - Sale of Parts, Repair Done - Sale of Parts | Com1 | E-mail
ILO-00007517 | 11/25/2025 | 03:28 pm - 03:29 pm | falogme | J7 Hotel And Resort Corp. | , , , Mandurraio, ILOILO CITY (Capital), Iloilo |  | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of Parts | 1 | 11/25/2025 | 11/25/2025 03:25 pm | 11/25/2025 03:35 pm | Findings - Sale of Parts, , Recommendation - Sale of Parts, Repair Done - Sale of Parts | Com1 | E-mail
ILO-00007518 | 11/25/2025 | 04:07 pm - 04:08 pm | falogme | Medicus Philippines Inc. | , , , Inzo Arnaldo Vill.. Brgy. Inzo, ROXAS CITY (Capital), Capiz | 0939-4490049 | KSM-IW10-WCT10M1M32 |  | RV MARKETING | INST | DC | C | For Installation | Cool Site Air-conditioning Services | For Record Purpose Only | 1 | 11/24/2025 | 11/24/2025 08:00 am | 11/24/2025 05:00 pm | Findings - N/A, Recommendation - N/A, Repair Done - Installed | Com1 | E-mail
ILO-00007519 | 11/25/2025 | 04:17 pm - 04:18 pm | falogme | Medicus Philippines Inc. | , , , Inzo Arnaldo Vill.. Brgy. Inzo, ROXAS CITY (Capital), Capiz | 0939-4490049 | KSM-IW10-WCT10M1M32 |  | VIC IMPERIAL APP | INST | DC | C | For Installation | Cool Site Air-conditioning Services | Overtime Until 8pm / For Record Purpose Only | 1 | 11/24/2025 | 11/24/2025 08:00 am | 11/24/2025 08:00 pm | Findings - N/A, Recommendation - N/A, Repair Done - Installed | Com1 | E-mail
ILO-00007520 | 11/26/2025 | 10:20 am - 10:20 am | falogme | KMSI | , , , , PAVIA, Iloilo |  | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of Parts | 1 | 11/26/2025 | 11/26/2025 10:20 am | 11/26/2025 10:30 am | Findings - Sale of Parts, , Recommendation - Sale of Parts, , Repair Done - Sale of Parts | Com1 | Customer Lounge
ILO-00007521 | 11/26/2025 | 02:48 pm - 02:49 pm | falogme | Ara帽a, Rojie Ann Montenegro | , , , , SAN JOSE (Capital), Antique | 0917-1352632 | KSG-IWF-15WFY-8K1M32-I |  | VIC IMPERIAL APP | INST | DC | C | For Installation | Ede Engineering Enterprises | For Record Purpose Only | 1 | 11/26/2025 | 11/26/2025 08:00 am | 11/26/2025 05:00 pm | Findings - N/A, Recommendation - N/A, Repair Done - Installed | Com1 | E-mail
ILO-00007522 | 11/26/2025 | 03:09 pm - 03:10 pm | falogme | Sagarang, Reynaldo | , , , Camambugan, BALASAN, iloilo | 0931-8352392 | KSM-IW10-WCT10M1M32 |  | VIC IMPERIAL APP | INST | DC | C | For Installation | Jomehc Airconditioning System Services | For Record Purpose Only | 1 | 11/23/2025 | 11/24/2025 08:00 am | 11/24/2025 05:00 pm | Findings - N/A, Recommendation - N/A, Repair Done - Installed | Com1 | E-mail
ILO-00007523 | 11/26/2025 | 04:07 pm - 04:08 pm | falogme | Cool Site Airconditioning Service | , , , Brgy. Inzo Arnaldo, ROXAS, Capiz |  | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of Parts | 1 | 11/26/2025 | 11/26/2025 04:05 pm | 11/26/2025 04:15 am | Findings - Sale of Parts, , Recommendation - Sale of Parts, Repair Done - Sale of Parts | Com1 | Customer Lounge
ILO-00007524 | 11/27/2025 | 09:41 am - 09:42 am | falogme | Iloilo Cooled Air Service Center | , Rizal St., , Lapaz, ILOILO CITY (Capital), Iloilo |  | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of Parts | 1 | 11/27/2025 | 11/27/2025 09:40 am | 11/27/2025 09:50 am | Findings - Sale of Parts, , Recommendation - Sale of Parts, Repair Done - Sale of Parts | Com1 | Customer Lounge
ILO-00007525 | 11/27/2025 | 11:26 am - 11:27 am | falogme | Montaya, Ian John | , , , Bitoon, JARO, Iloilo | 0949-7738159 | KSG-IWF-15WFY-8K1M32-I |  | VIC IMPERIAL APP | TS | FD | W | Not Cooling | Cool Site Air-conditioning Services | Relayed to Cool Site | 1 | 11/27/2025 | 11/27/2025 02:00 pm | 11/27/2025 03:35 pm | Findings - Under Charge of Freon Gas Error FO, Recommendation - For Leak testing & Recharging of Freon Gas , Repair Done - check up only | Com1 | Viber Mobile
ILO-00007526 | 11/27/2025 | 02:00 pm - 02:01 pm | falogme | NH MOTOR SALES | , , , , JARO, Iloilo City | 0917-8273862 | KSM-SW10-5G1M |  | VIC IMPERIAL APP | INST | DC | C | For Installation | Cool Site Air-conditioning Services | Customer late Submission of sale Invoice due of DOP 2022 / For Record Purpose Only | 1 | 11/19/2025 | 11/19/2025 08:00 am | 11/19/2025 05:00 pm | Findings - N/A, Recommendation - N/A, Repair Done - Installed | Com1 | E-mail
ILO-00007527 | 11/27/2025 | 02:09 pm - 02:11 pm | falogme | NH MOTOR SALES | , , , , JARO, Iloilo City | 0917-8273862 | KLG-SF40-5G1M-I |  | VIC IMPERIAL APP | INST | DC | C | For Installation | Cool Site Air-conditioning Services | Customer late Submission of Sale Invoice due of DOP 2022 / For Record Purpose Only | 1 | 11/19/2025 | 11/19/2025 08:00 am | 11/19/2025 05:00 pm | Findings - N/A, Recommendation - N/A, Repair Done - Installed | Com1 | E-mail
ILO-00007528 | 11/27/2025 | 02:18 pm - 02:19 pm | falogme | Pd Monfort Central Elementary School | , , , , DUMANGAS, Iloilo City | 0960-8980133 | KSG-IWF-20WFY-8K1M32-I |  | VIC IMPERIAL APP | INST | DC | C | For Installation | Cool Site Air-conditioning Services | For Record Purpose Only | 1 | 11/26/2025 | 11/26/2025 08:00 am | 11/26/2025 05:00 pm | Findings - N/A, Recommendation - N/A, Repair Done - Installed | Com1 | E-mail
ILO-00007529 | 11/27/2025 | 02:29 pm - 02:30 pm | falogme | Pd Monfort Central Elementary School | , , , , DUMANGAS, Iloilo City | 0960-8980133 | KSG-IWF-20WFY-8K1M32-I |  | VIC IMPERIAL APP | INST | DC | C | For Installation | Cool Site Air-conditioning Services | For Record Purpose Only | 1 | 11/26/2025 | 11/26/2025 08:00 am | 11/26/2025 05:00 pm | Findings - N/A, Recommendation - N/A, Repair Done - Installed | Com1 | Customer Lounge
ILO-00007530 | 11/27/2025 | 03:06 pm - 03:07 pm | falogme | Arguelles, Michael Ong | Not applicable, 53-A Luna Street, Asico Compound, Bantud La Paz, ILOILO CITY (Capital), Iloilo | 0917-6222991 | KLG-IF40-5G1M32-I |  | VIC IMPERIAL APP | INST | DC | C | For Installation | Lopel Airconditioning Services | For Record Purpose Only | 1 | 11/26/2025 | 11/26/2025 08:00 am | 11/26/2025 05:00 pm | Findings - N/A, Recommendation - N/A, Repair Done - Installed | Com1 | Customer Lounge
ILO-00007531 | 11/27/2025 | 03:48 pm - 03:51 pm | falogme | Remard Eng'g Works & Ent. | , , Sambag, Jaro, ILOILO CITY (Capital), Iloilo |  | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of Parts | 1 | 11/27/2025 | 11/27/2025 03:50 pm | 11/27/2025 04:00 pm | Findings - Sale of Parts, , Recommendation - Sale of Parts, Repair Done - Sale of Parts | Com1 | Customer Lounge
ILO-00007532 | 11/28/2025 | 09:32 am - 09:33 am | falogme | Lopel Airconditioning Services | Juliana Bldg., Road 10, , Brgy. Aganan, PAVIA, Iloilo |  | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of Parts | 1 | 11/28/2025 | 11/28/2025 09:30 am | 11/28/2025 09:40 am | Findings - Sale of Parts, , Recommendation - Sale of Parts, Repair Done - Sale of Parts | Com1 | Customer Lounge
ILO-00007533 | 11/28/2025 | 04:19 pm - 04:26 pm | falogme | Sangumay, Lorna | , , , , OTON, Iloilo | 0985-8292996 | KDM-20LWRC290 |  | VIC IMPERIAL APP | TS | BI | W | Auto On / Off | Laurence Pagayunan | TS / For Shop Repair | 1 | 2025-03-12 |  |  |  |  | Customer Lounge
ILO-00007534 | 11/29/2025 | 02:13 pm - 02:14 pm | falogme | Montaya, Ian John | , , , Bitoon, JARO, Iloilo | 0949-7738159 | KSG-IWF-15WFY-8K1M32-I |  | VIC IMPERIAL APP | TS | FD | W | Not Cooling | Cool Site Air-conditioning Services | for Repair / Rechanging | 2 | 11/28/2025 | 11/28/2025 09:30 am | 11/28/2025 10:30 am | Findings - Under Charge of Freon Gas / Leak found on Flair, Recommendation - Action taken leaking test and Reprocessing, Repair Done - Leak tested & reprocessing / observed unit is okay | Com1 | Viber Mobile
ILO-00007535 | 11/29/2025 | 03:24 pm - 03:25 pm | falogme | Toyota Iloilo Inc. | , , Grand Plains Highway, M.V Hechanova, ILOILO CITY (Capital), Iloilo | 0966-4588474 | KSM-IW10-WCT10M1M32 |  | VIC IMPERIAL APP | INST | DC | C | For Installation | Cool Site Air-conditioning Services | For Record Purpose Only | 1 | 11/28/2025 | 11/28/2025 08:00 am | 11/28/2025 05:00 pm | Findings - N/A, Recommendation - N/A, Repair Done - Installed | Com1 | E-mail
ILO-00007536 | 11/29/2025 | 04:44 pm - 04:45 pm | falogme | Maquiran , Nora mae | , , Fuentes Subd., , ROXAS CITY (Capital), Capiz | 0906-3377429 | KSM-IW10-WCT10M1M32 |  | VIC IMPERIAL APP | INST | DC | C | For Installation | Cool Site Air-conditioning Services | For Record Purpose Only | 1 | 11/29/2025 | 11/29/2025 08:00 am | 11/29/2025 05:00 pm | Findings - N/A, Recommendation - N/A, Repair Done - Installed | Com1 | E-mail
Legend:
PAO - Pick-up Admin Orders
DPO - Deliver of Dealer P.O.
DEF - Change Item
FAB - Fabrication of Bracket
CL - Copper Tube Claims
DEL - Delivery of Unit / Accessories
DSM - Dismantling
FPO - Unit for Pull-out
GC - General Cleaning
INST - Installation
MRK - Markings
PV - Project Visit
REP - Replacement as per dealer request
REPL - Replacement of Unit
SCF - Deliver / Pull-out of Scaffolding
SP - Sale of Parts
STU - Start-up
SVEY - Survey
TS - Troubleshooting
DIS - Dispose Parts
PGC - Pumpdown General Cleaning
Summary Per Job Type
JOB CLASS | CC | WI | BI | PO | FD | DC | RD | RM | TP | TOTAL
PAO | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DPO | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DEF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FAB | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CL | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DEL | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DSM | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FPO | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
GC | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
INST | 0 | 0 | 0 | 0 | 0 | 37 | 0 | 0 | 0 | 37
MRK | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PV | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REP | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REPL | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SCF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SP | 0 | 34 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 34
STU | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SVEY | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TS | 0 | 0 | 15 | 0 | 6 | 1 | 0 | 0 | 0 | 22
DIS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PGC | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL | 0 | 34 | 15 | 0 | 6 | 38 | 0 | 0 | 0 | 93