## sjr_masterlist (17)
FROM : | 2025-01-10 | TO : | 10-31-2025
Location Warehouse : | CEBU BRANCH
User : | All User
SJR No. | SJR Date | SJR Start/End Time | CSR Code | Customer Name | Address | Contact No. | Model | Relayed By | Dealer | Job Class | Job Type | Wty Type | Complaint | Tech Name | SJR Notes | No. of Visit | Promised Date | Date Attended | Date Finished | Repair Done | Job Status | Call Origin
CEB-00010586 | 2025-02-10 | 02:03 pm - 02:04 pm | DINOY | GAB Appliance Service Center | Unit 5 THP Building, National Hi-Way, , Pitogo Consolacion Cebu, CONSOLACION, Cebu |  | n/a |  |  | SP | WI | COS | Sales of Parts |  | PO# 7909 | 1 | 2025-02-10 | 2025-02-10 01:00 | 2025-02-10 01:00 | Findings - SOP, Recommendation - SOP, Repair Done - SOP | Com1 | Customer Lounge
CEB-00010587 | 2025-02-10 | 04:19 pm - 04:21 pm | DINOY | Bohol Quality Corp. | , North 6300, Carlos P. Garcia East Avenue, ,, Dakabayan, TAGBILARAN CITY (Capital), Cebu | 411-3164 | KEA-50BLRDCA |  | BOHOL QUALITY CORP | TS | DC | W | Malfunctioning | JBD Ubay Bohol Ref and Airconditioning |  | 2 | 2025-02-10 | 10/20/2025 01:00 pm | 10/20/2025 02:00 pm | Findings - Defective Fan Motor, Recommendation - Subject to replace fan motor, Repair Done - Replace fan motor | Com1 | E-mail
CEB-00010588 | 2025-02-10 | 04:21 pm - 04:22 pm | DINOY | Bohol Quality Corp. | , North 6300, Carlos P. Garcia East Avenue, ,, Dakabayan, TAGBILARAN CITY (Capital), Cebu | 411-3164 | KEA-50BLRDCA |  | BOHOL QUALITY CORP | TS | DC | W | Dead Set | JBD Ubay Bohol Ref and Airconditioning |  | 2 | 2025-02-10 | 10/20/2025 01:00 pm | 10/20/2025 02:00 pm | Findings - Defective Power Supply, Recommendation - Subject to replace power supply, Repair Done - Replace power supply/ unit okay | Com1 | E-mail
CEB-00010589 | 2025-02-10 | 04:29 pm - 04:31 pm | DINOY | Balbedo, Helen | , GUIWANON, , Bgry. Baclayon, Bohol, cebu | 0912-7853219 | KEA-25BWR |  | BOHOL QUALITY CORP | TS | DC | W | Fan Not Functioning | JBD Ubay Bohol Ref and Airconditioning |  | 2 | 2025-02-10 | 10/20/2025 01:00 pm | 10/20/2025 02:00 pm | Findings - Defective Fan Motor, Recommendation - Subject to replace fan motor, Repair Done - Replace fan motor | Com1 | E-mail
CEB-00010590 | 2025-03-10 | 02:52 pm - 02:53 pm | DINOY | Brocoy, Joana Marie | , , , Bgry.Apas, CEBU CITY (Capital), CEBU | 0981-6323787 | KAG-75WCINV |  | ASIAN HOMES | TS | DC | C | Not Cooling | H-A Ref. and Airconditioning Repair & Services |  | 2 | 2025-03-10 | 2025-06-10 13:00 | 2025-06-10 13:00 | Findings - Leaking Evaporator, Recommendation - for replace parts, Repair Done - Check up Only | Com2 | E-mail
CEB-00010591 | 2025-04-10 | 11:00 am - 11:01 am | DINOY | K.L.K.A | , , , Bgry. bangkal, LAPU-LAPU CITY (OPON), Cebu | 0966-7424120 | n/a |  |  | SP | WI | COS | Sales of Parts |  |  | 1 | 2025-04-10 | 2025-04-10 01:00 | 2025-04-10 01:00 | Findings - SOP, Recommendation - SOP, Repair Done - SOP | Com1 | Customer Lounge
CEB-00010592 | 2025-04-10 | 01:32 pm - 01:33 pm | DINOY | Mendoza, Cathy | , , , Bgry. Paknaan, MANDAUE CITY, cebu | 0991-8251886 | KCB-BLC-8859T |  | ROBINSONS | TS | DC | W | Can't Dispense Water | KLKA Air-conditioning and Refrigeration Services |  | 1 | 2025-04-10 | 2025-04-10 01:00 | 2025-04-10 01:00 | Findings - Def. Pump Not Working, Recommendation - For Replaced Pump, Repair Done - Check up Only | Com2 | E-mail
CEB-00010593 | 2025-04-10 | 01:52 pm - 01:53 pm | DINOY | Macdonagh, Gwen Meneses | , , , Bgry.Gungab Albuera, LEYTE, cebu | 0916-6231017 | KSM-IW10-WCT10M1M32 |  | RL APPLIANCE | INST | DC | C | For Installation | KLK Aircon and Refrigeration Services |  | 2 | 2025-04-10 | 2025-04-10 01:00 | 2025-04-10 01:00 | Findings - For installation, , Recommendation - For Installation, , Repair Done - Installation SAC Done | Com1 | E-mail
CEB-00010594 | 2025-04-10 | 01:53 pm - 01:53 pm | DINOY | Macdonagh, Gwen Meneses | , , , Bgry.Gungab Albuera, LEYTE, cebu | 0916-6231017 | KSM-IW10-WCT10M1M32 |  | RL APPLIANCE | INST | DC | C | For Installation | KLK Aircon and Refrigeration Services |  | 2 | 2025-04-10 | 09/30/2025 12:30 pm | 09/30/2025 04:30 pm | Findings - FOR INSTALL, Recommendation - INSTALLATION UNIT, Repair Done - DONE INSTALLED / UNIT IS OKAY | Com1 | E-mail
CEB-00010595 | 2025-04-10 | 03:21 pm - 03:21 pm | DINOY | Cabanero, Luth | , dela cerna st., Papsys bbq,, Bgry. Opon, LAPU-LAPU CITY (OPON), cebu | 0917-6255938 | KL-IF40-G6H1M32-I |  |  | SVEY | FD | C | For Survey | H-A Ref. and Airconditioning Repair & Services |  | 1 | 2025-04-10 | 2025-06-10 01:00 | 2025-06-10 01:00 | Findings - For Survey, Recommendation - Survey, Repair Done - Done Survey | Com1 | E-mail
CEB-00010596 | 2025-04-10 | 03:31 pm - 03:31 pm | DINOY | Abaca, Gilbert | , , , Bgry. Brgy. Lukay Alang-alang , LEYTE, cebu | 0991-2321346 | KSG-IWF-10WFY-8K1M32-I |  | ROBINSONS | INST | DC | C | For Installation | Carl Electronics and Refrigeration |  | 1 | 2025-04-10 | 09/24/2025 01:00 pm | 09/24/2025 03:00 pm | Findings - for installation, Recommendation - new unit for installation, Repair Done - installation SAC done | Com1 | E-mail
CEB-00010597 | 2025-04-10 | 03:45 pm - 03:47 pm | DINOY | Santo, Atty. Patrick | , 27 Arellano St. , , Bgry. 91 Abucay, TACLOBAN CITY (Capital), cebu | 0917-3214916 | KSG-IWF-30WFY-8K1M32-I |  | ROBINSONS | INST | DC | C | For Installation | Carl Electronics and Refrigeration |  | 2 | 2025-04-10 | 09/30/2025 09:00 am | 09/30/2025 11:00 am | Findings - for installation, Recommendation - new unit for installation, Repair Done - installation SAC done | Com1 | E-mail
CEB-00010598 | 2025-04-10 | 03:47 pm - 03:47 pm | DINOY | Santo, Atty. Patrick | , 27 Arellano St. , , Bgry. 91 Abucay, TACLOBAN CITY (Capital), cebu | 0917-3214916 | KSG-IWF-30WFY-8K1M32-I |  | ROBINSONS | INST | DC | C | For Installation | Carl Electronics and Refrigeration |  | 1 | 2025-04-10 | 09/30/2025 11:00 am | 09/30/2025 01:00 pm | Findings - for installation, Recommendation - new unit for installation, Repair Done - installation SAC done | Com1 | E-mail
CEB-00010599 | 2025-04-10 | 03:46 pm - 03:56 pm | DINOY | Santo, Atty. Patrick | , 27 Arellano St. , , Bgry. 91 Abucay, TACLOBAN CITY (Capital), cebu | 0917-3214916 | KSG-IWF-25WFY-8K1M32-I |  | ROBINSONS | INST | DC | C | For Installation | Carl Electronics and Refrigeration |  | 2 | 2025-04-10 | 09/30/2025 01:00 pm | 09/30/2025 03:00 pm | Findings - for installation, Recommendation - new unit for installation, Repair Done - installation SAC done | Com1 | E-mail
CEB-00010600 | 2025-04-10 | 04:28 pm - 04:28 pm | DINOY | JJM Trading ( Bgry. Hall Paknaan) | , , , Bgry.Paknaan, MANDAUE CITY, cebu | 9063-749321 | KSM-IW10-WCT10M1M32 |  | ASIAN HOMES | INST | DC | C | For Installation | Carl Electronics and Refrigeration |  | 2 | 2025-04-10 | 2025-04-10 01:00 | 2025-04-10 01:00 | Findings - for installation, , Recommendation - For Installation, , Repair Done - Installation SAC Done | Com1 | E-mail
CEB-00010601 | 2025-04-10 | 04:28 pm - 04:29 pm | DINOY | JJM Trading ( Bgry. Hall Paknaan) | , , , Bgry.Paknaan, MANDAUE CITY, cebu | 9063-749321 | KSM-IW15-WCT10M1M32 |  | ASIAN HOMES | INST | DC | C | For Installation | Carl Electronics and Refrigeration |  | 2 | 2025-04-10 | 2025-04-10 01:00 | 2025-04-10 01:00 | Findings - for installation, , Recommendation - For Installation, , Repair Done - installation SAC done | Com1 | E-mail
CEB-00010602 | 2025-04-10 | 04:29 pm - 04:29 pm | DINOY | JJM Trading ( Bgry. Hall Paknaan) | , , , Bgry.Paknaan, MANDAUE CITY, cebu | 9063-749321 | KSM-IW15-WCT10M1M32 |  | ASIAN HOMES | INST | DC | C | For Installation | Carl Electronics and Refrigeration |  | 2 | 2025-04-10 | 2025-04-10 01:00 | 2025-04-10 01:00 | Findings - for installation, , Recommendation - For Installation, , Repair Done - installation SAC done | Com1 | E-mail
CEB-00010603 | 2025-06-10 | 10:21 am - 10:21 am | DINOY | United Multi System Solutions Inc. | 208 LK Bldg., , , Bgry.Subangdaku, MANDAUE CITY, Cebu |  | n/a |  |  | SP | WI | COS | Sales of Parts |  |  | 1 | 2025-06-10 | 2025-06-10 01:00 | 2025-06-10 01:00 | Findings - SOP, Recommendation - SOP, Repair Done - SOP | Com1 | Customer Lounge
CEB-00010604 | 2025-06-10 | 11:57 am - 11:58 am | DINOY | Llama Construction and Development Corporation | , , , Bgry. Zapatera, CEBU CITY (Capital), cebu | 0927-3191727 | KAG-150RSINV |  |  | SP | WI | COS | Sales of Parts |  |  | 1 | 2025-06-10 | 2025-06-10 01:00 | 2025-06-10 01:00 | Findings - SOP, Recommendation - SOP, Repair Done - SOP | Com1 | Customer Lounge
CEB-00010605 | 2025-06-10 | 12:58 pm - 01:02 pm | DINOY | H-Advance Ref. and Airconditioning Repair & Services | , , , Poblacion, Carcar Cebu, CITY OF CARCAR, Cebu | 0942-2426668 | KAG-100WCINV |  | ASIAN HOMES | SP | WI | COS | Sales of Parts |  |  | 1 | 2025-06-10 | 2025-06-10 01:00 | 2025-06-10 01:00 | Findings - SOP, Recommendation - SOP, Repair Done - SOP | Com1 | Customer Lounge
CEB-00010606 | 2025-06-10 | 01:24 pm - 01:25 pm | DINOY | H-Advance Ref. and Airconditioning Repair & Services | , , , Poblacion, Carcar Cebu, CITY OF CARCAR, Cebu | 0942-2426668 | n/a |  |  | SP | WI | COS | Sales of Parts |  |  | 1 | 2025-06-10 | 2025-06-10 01:00 | 2025-06-10 01:00 | Findings - SOP, Recommendation - SOP, Repair Done - SOP | Com1 | Customer Lounge
CEB-00010607 | 2025-06-10 | 01:55 pm - 01:55 pm | DINOY | Cuizon, Dianne Pearl | , RBI Spring Matumbo, , Pusok , LAPU-LAPU CITY (OPON), cebu | 0955-437529 | KAG-100WCINV |  | VIC IMPERIAL APP | GC | DC | C | For GC | KLKA Air-conditioning and Refrigeration Services |  | 1 | 10/18/2025 | 10/18/2025 01:00 am | 10/18/2025 01:00 am | Findings - Dirty unit, , Recommendation - For General Cleaning, Repair Done - Rendered General Cleaning | Com1 | E-mail
CEB-00010608 | 2025-06-10 | 03:31 pm - 03:31 pm | DINOY | Gimenez , Jose Mari | Phase 2 unit 63, N/A, TPI Homes , Bgry. Basak, LAPU-LAPU CITY (OPON), CEBU | 0917-1261669 | KSM-IW10-WCT10M1M32 |  | ASIAN HOMES | INST | DC | C | For Installation | H-A Ref. and Airconditioning Repair & Services |  | 1 | 09/20/2025 | 09/20/2025 12:00 am | 09/20/2025 12:00 am | Findings - for installation, Recommendation - Install the unit, Repair Done - Installation of Class A Unit, late controlled | Com1 | E-mail
CEB-00010609 | 2025-07-10 | 08:29 am - 08:29 am | DINOY | Cuartofrio Electronic Service Center | , Cabahug Street Ibabao, , Bgry, Fortuna Building, MANDALUYONG CITY, cebu | 0322-346137 | n/a |  |  | SP | WI | COS | Sales of Parts |  |  | 1 | 2025-07-10 | 2025-07-10 01:00 | 2025-07-10 01:00 | Findings - SOP, Recommendation - SOP, Repair Done - SOP | Com1 | Customer Lounge
CEB-00010610 | 2025-07-10 | 08:28 am - 08:29 am | DINOY | AMMICOR MANAGMENT AND DEVELOPMENT | , , , Bgry,Guadalupe, CEBU CITY (Capital), cebu | 0991-2075501 | KAG-100WCINV |  | ECHO ELECTRICAL SUPPLY | SP | WI | COS | Sales of Parts |  |  | 1 | 2025-07-10 | 2025-07-10 01:00 | 2025-07-10 01:00 | Findings - SOP, Recommendation - SOP, Repair Done - SOP | Com1 | Customer Lounge
CEB-00010611 | 2025-07-10 | 10:21 am - 10:22 am | DINOY | St. Roch Chaplaincy | Arado Road, Arado Road, , Arado, PALO, Leyte | 0916-3939631 | KSM-IW20-WCT10M1M32 |  | RL APPLIANCE | INST | DC | C | For Installation | GAB Appliance Service Center - Cebu |  | 1 | 2025-02-10 | 2025-03-10 | 2025-03-10 | Findings - Installation New Unit, Recommendation - For installation, , Repair Done - Installed SAC done | Com1 | E-mail
CEB-00010612 | 2025-07-10 | 01:25 pm - 01:25 pm | DINOY | Merin, Glindo | , , , Bgry. Tugbungan, CONSOLACION, cebu | 9255-885573 | KAG-60HME4 |  | ASIAN HOMES | SP | WI | COS | Sales of Parts |  |  | 1 | 2025-07-10 | 2025-07-10 01:00 | 2025-07-10 01:00 | Findings - SOP, Recommendation - SOP, Repair Done - SOP | Com1 | Customer Lounge
CEB-00010613 | 2025-07-10 | 03:51 pm - 03:51 pm | DINOY | Quezon, Aletheia | , Block6 lot2 phase1, Casa Mira Coast, Maslog, SIBULAN, Negros Oriental | 0917-1684232 | KSM-IW10-WCT10M1M32 |  | ABENSON INC. | INST | DC | C | For Installation | GAB Appliance Service Center - Cebu |  | 1 | 2025-03-10 | 2025-07-10 01:00 | 2025-07-10 01:00 | Findings - for installation, , Recommendation - For Installation, , Repair Done - Installation SAC Done | Com1 | E-mail
CEB-00010614 | 2025-07-10 | 03:53 pm - 03:53 pm | DINOY | Canizarez, Bryan Angelo | , , , Brgy. Tawason, MANDAUE CITY, Cebu | 0993-0164962 | KSM-IW15-WCT10M1M32 |  | ABENSON INC. | INST | DC | C | For Installation | GAB Appliance Service Center - Cebu |  | 1 | 2025-03-10 | 2025-08-10 01:00 | 2025-08-10 01:00 | Findings - for installation, , Recommendation - For Installation, , Repair Done - Installation SAC Done | Com1 | E-mail
CEB-00010615 | 2025-07-10 | 03:53 pm - 03:53 pm | DINOY | Timlin, Jane | , #8A Quijada St. , Villa Salud, Guadalupe , CEBU CITY (Capital), Cebu | 0917-6278261 | KSM-IW25-WCT10M1M32 |  | GAB APPLIANCE SERVICE CTR. | INST | DC | C | For Installation | GAB Appliance Service Center - Cebu |  | 2 | 2025-03-10 | 2025-07-10 01:00 | 2025-07-10 01:00 | Findings - for installation, , Recommendation - For Installation, , Repair Done - Installation SAC Done | Com1 | E-mail
CEB-00010616 | 2025-07-10 | 04:17 pm - 04:18 pm | DINOY | JGC financing Co. Inc. Canlupo, Johnson | , , , Cansaga, CONSOLACION, Cebu | 0990-9612586 | KLG-SF40-WBR6H1M32-I |  | ASIAN HOMES | INST | DC | C | For Installation | H-A Ref. and Airconditioning Repair & Services |  | 1 | 2025-03-10 | 2025-03-10 | 2025-03-10 | Findings - for installation, Recommendation - Install the unit, Repair Done - Installation of Class A Unit | Com1 | E-mail
CEB-00010617 | 2025-07-10 | 04:19 pm - 04:20 pm | DINOY | Ploton, Rogelio | , , , San Rafael Parish Church, ALOGUINSAN, Cebu | 0939-9311776 | KSM-IW15-WCT10M1M32 |  | ASIAN HOMES | INST | DC | C | For Installation | H-A Ref. and Airconditioning Repair & Services |  | 2 | 2025-03-10 | 2025-03-10 | 2025-03-10 | Findings - for installation, Recommendation - Install the unit, Repair Done - Installation of Class A Unit | Com1 | E-mail
CEB-00010618 | 2025-07-10 | 04:20 pm - 04:20 pm | DINOY | Piloto, Ivy | Labagan 2, , , Biasong, BALAMBAN, Cebu | 0985-0949382 | KSM-IW10-WCT10M1M32 |  | ASIAN HOMES | INST | DC | C | For Installation | H-A Ref. and Airconditioning Repair & Services |  | 2 | 2025-01-10 | 2025-01-10 | 2025-01-10 | Findings - for installation, Recommendation - Install the unit, Repair Done - Installation of Class A Unit | Com1 | E-mail
CEB-00010619 | 2025-07-10 | 04:20 pm - 04:21 pm | DINOY | Bonite, Melani Jane | Figueroa Street, C. Padilla, , Bgry. Faitma, CEBU CITY (Capital), Cebu | 0967-2276801 | KSM-IW10-WCT10M1M32 |  | ASIAN HOMES | INST | DC | C | For Installation | H-A Ref. and Airconditioning Repair & Services |  | 2 | 2025-01-10 | 2025-01-10 | 2025-01-10 | Findings - For Installation, Recommendation - For Installation New Unit, Repair Done - Installation SAC Done | Com1 | E-mail
CEB-00010620 | 2025-08-10 | 10:12 am - 10:13 am | DINOY | CSK TRADING | , , , Brgy.Basak, MANDAUE CITY, cebu | 0956-2667573 | KAG-240RSINV |  |  | SP | WI | COS | Sales of Parts |  |  | 1 | 2025-08-10 | 2025-08-10 01:00 | 2025-08-10 01:00 | Findings - SOP, Recommendation - SOP, Repair Done - SOP | Com1 | Customer Lounge
CEB-00010621 | 2025-08-10 | 10:18 am - 10:18 am | DINOY | Ecool Phils. Corp. | , , Castelex Compound , Brgy. Cabancalan Mandaue, MANDAUE CITY, Cebu |  | n/a |  |  | SP | WI | COS | Sales of Parts |  |  | 1 | 2025-08-10 | 2025-08-10 01:00 | 2025-08-10 01:00 | Findings - SOP, Recommendation - SOP, Repair Done - SOP | Com1 | Customer Lounge
CEB-00010622 | 2025-08-10 | 12:28 pm - 12:29 pm | DINOY | Pages Holding Group | , , Maria Luisa Subd. , Bgry. Banilad, CEBU CITY (Capital), cebu | 0917-3254504 | KWD-BLC-2088B |  | ASIAN HOMES | TS | DC | P | Can't Dispense Water | H-A Ref. and Airconditioning Repair & Services |  | 1 | 2025-08-10 |  |  |  |  | E-mail
CEB-00010623 | 2025-08-10 | 01:10 pm - 01:13 pm | DINOY | Mendoza, Cathy | , , , Bgry. Paknaan, MANDAUE CITY, cebu | 0991-8251886 | KCB-BLC-8859T |  | ROBINSONS | TS | DC | W | Can't Dispense Water | KLKA Air-conditioning and Refrigeration Services |  | 2 | 2025-08-10 | 09/27/2025 01:00 am | 2025-11-10 01:00 | Findings - COOL FAUCET NO WATER, WATER PUMP COOL PROBLEM, Recommendation - REPLACE NEW WATER PUMP ON COOL FAUCET, Repair Done - DONE REPLACED WATER PUMP, UNIT OKAY | Com1 | E-mail
CEB-00010624 | 2025-08-10 | 01:20 pm - 01:21 pm | DINOY | Vineyard Construction | , , , Bgry. Apas, CEBU CITY (Capital), cebu | 0995-4221722 | KWD-BLC-3088S |  | ECHO ELECTRICAL SUPPLY | TS | DC | W | Check - Up Only | KLKA Air-conditioning and Refrigeration Services |  | 1 | 2025-08-10 | 2025-08-10 01:00 | 2025-08-10 01:00 | Findings - Def. Pump Not Working, Recommendation - For Replaced Pump, Repair Done - Check up Only | Com2 | E-mail
CEB-00010625 | 2025-08-10 | 01:21 pm - 01:21 pm | DINOY | Vineyard Construction | , , , Bgry. Apas, CEBU CITY (Capital), cebu | 0995-4221722 | KWD-BLC-3088S |  | ECHO ELECTRICAL SUPPLY | TS | DC | W | Can't Dispense Water | KLKA Air-conditioning and Refrigeration Services |  | 2 | 2025-08-10 | 2025-10-10 01:00 | 2025-10-10 01:00 | Findings - Def. Pump Not Working, Recommendation - For Replaced Pump, Repair Done - Repalced Water Pump unit ok |  | E-mail
CEB-00010626 | 2025-08-10 | 01:31 pm - 01:32 pm | DINOY | K.L.K.A | , , , Bgry. bangkal, LAPU-LAPU CITY (OPON), Cebu | 0966-7424120 | n/a |  |  | SP | WI | COS | Sales of Parts |  |  | 1 | 2025-08-10 | 2025-08-10 01:00 | 2025-08-10 01:00 | Findings - SOP, Recommendation - SOP, Repair Done - SOP | Com1 | Customer Lounge
CEB-00010627 | 2025-09-10 | 11:55 am - 11:56 am | COTCOT | Jel Refrigeration & Airconditioning Services | , 1363 st., , Brgy.Pooc Talisay, CEBU CITY (Capital), Cebu | 2737824 | n/a |  |  | SP | WI | COS | Sales of Parts |  |  | 1 | 2025-09-10 | 2025-09-10 01:00 | 2025-09-10 01:00 | Findings - SOP, Recommendation - SOP, Repair Done - SOP | Com1 | Customer Lounge
CEB-00010628 | 2025-10-10 | 09:16 am - 09:17 am | DINOY | The Area Pres. Cjclds Phils. Inc. | , , , Bgry. Gorordo, CEBU CITY (Capital), cebu | 0947-8900161 | KAG-145WCINV |  | APPLIANCE CENTRUM | TS | DC | W | Not Cooling | H-A Ref. and Airconditioning Repair & Services |  | 1 | 2025-10-10 | 2025-08-10 13:00 | 2025-08-10 13:00 | Findings - Def. Pcb Board, Recommendation - for replace board, Repair Done - Check up Only | Com2 | E-mail
CEB-00010629 | 2025-10-10 | 09:17 am - 09:18 am | DINOY | The Area Pres. Cjclds Phils. Inc. | , , , Bgry. Gorordo, CEBU CITY (Capital), cebu | 0947-8900161 | KAG-145WCINV |  | APPLIANCE CENTRUM | TS | DC | W | Not Cooling | H-A Ref. and Airconditioning Repair & Services |  | 2 | 2025-10-10 | 2025-10-10 13:00 | 2025-10-10 13:00 | Findings - Def. Pcb Board, Recommendation - for replace board, Repair Done - Replaced Pcb board | Com1 | E-mail
CEB-00010630 | 2025-10-10 | 10:36 am - 10:36 am | DINOY | K.L.K.A | , , , Bgry. bangkal, LAPU-LAPU CITY (OPON), Cebu | 0966-7424120 | n/a |  |  | SP | WI | COS | Sales of Parts |  |  | 1 | 2025-10-10 | 2025-10-10 01:00 | 2025-10-10 01:00 | Findings - SOP, Recommendation - SOP, Repair Done - SOP | Com1 | Customer Lounge
CEB-00010631 | 2025-10-10 | 10:52 am - 10:53 am | COTCOT | K.L.K.A | , , , Bgry. bangkal, LAPU-LAPU CITY (OPON), Cebu | 0966-7424120 | n/a |  |  | SP | WI | COS | Sales of Parts |  |  | 1 | 2025-10-10 | 2025-10-10 01:00 | 2025-10-10 01:00 | Findings - SOP, Recommendation - SOP, Repair Done - SOP | Com1 | Customer Lounge
CEB-00010632 | 2025-10-10 | 03:40 pm - 04:03 pm | DINOY | Sew Fit Alternation Services | Aboitez street, , , Camputhaw, CEBU CITY (Capital), Cebu | 0917-3210432 | KSM-IW15-WCT10M1M32 |  | ASIAN HOMES | INST | DC | C | For Installation | H-A Ref. and Airconditioning Repair & Services |  | 2 | 2025-04-10 | 2025-04-10 | 2025-04-10 | Findings - for installation, Recommendation - Install the unit, Repair Done - Installation of Class A Unit | Com1 | E-mail
CEB-00010633 | 2025-10-10 | 04:03 pm - 04:04 pm | DINOY | Lirit, Theody | , 102 Tres de Abril St., , Brgy. San Nicolas Central, CEBU CITY (Capital), Cebu | 0932-7923677 | KSM-IW10-WCT10M1M32 |  | ASIAN HOMES | INST | DC | C | For Installation | H-A Ref. and Airconditioning Repair & Services |  | 2 | 2025-10-10 | 2025-05-10 13:00 | 2025-05-10 13:00 | Findings - for installation, Recommendation - Install the unit, Repair Done - Installation of Class A Unit | Com1 | E-mail
CEB-00010634 | 2025-10-10 | 04:04 pm - 04:04 pm | DINOY | Cebrecus , Corazon | , 134 Real St., , Poblacion, TAFT, Samar | 0917-3249081 | KSM-IW15-WCT10M1M32 |  | RL APPLIANCE | INST | DC | C | For Installation | GAB Appliance Service Center - Cebu |  | 1 | 2025-06-10 | 2025-06-10 09:00 | 2025-06-10 14:00 | Findings - For Installation, Recommendation - For Installation, Repair Done - Installation SAC Done | Com1 | E-mail
CEB-00010635 | 2025-10-10 | 04:04 pm - 04:04 pm | DINOY | Ty, Joel | , Salazar St., Quarry, Brgy. 4, TACLOBAN CITY (Capital), Leyte | 0915-2347582 | KSM-IW25-WCT10M1M32 |  | RL APPLIANCE | INST | DC | C | For Installation | GAB Appliance Service Center - Cebu |  | 1 | 2025-06-10 | 2025-06-10 10:00 | 2025-06-10 14:00 | Findings - For Installation, Recommendation - For Installation, Repair Done - Installation SAC Done | Com1 | E-mail
CEB-00010636 | 2025-10-10 | 05:02 pm - 05:02 pm | DINOY | Sta. Rosa National High School Duran, Marilyn | Sta. Rosa, , , Olango, LAPU-LAPU CITY (OPON), Cebu | 0966-1536044 | KSM-IW20-WCT10M1M32 |  | ASIAN HOMES | INST | DC | C | For Installation | H-A Ref. and Airconditioning Repair & Services |  | 2 | 2025-03-10 | 2025-03-10 | 2025-03-10 | Findings - for installation, Recommendation - Install the unit, Repair Done - Installation of Class A Unit | Com1 | E-mail
CEB-00010637 | 2025-10-10 | 05:05 pm - 05:05 pm | DINOY | Lirit, Theody | , 102 Tres de Abril St., , Brgy. San Nicolas Central, CEBU CITY (Capital), Cebu | 0932-7923677 | KSM-IW10-WCT10M1M32 |  | ASIAN HOMES | INST | DC | C | For Installation | H-A Ref. and Airconditioning Repair & Services |  | 2 | 2025-05-10 | 2025-05-10 | 2025-05-10 | Findings - for installation, Recommendation - Install the unit, Repair Done - Installation of Class A Unit | Com1 | E-mail
CEB-00010638 | 2025-10-10 | 05:25 pm - 05:26 pm | DINOY | Denura, Dr. Susan | Tower 2 Unit 922, , , Mandani Bay, MANDAUE CITY, Cebu | 0917-7241002 | KCB-BLC-8859T |  | ASIAN HOMES | TS | DC | W | Check up Only | H-A Ref. and Airconditioning Repair & Services |  | 1 | 2025-06-10 | 2025-09-10 | 2025-09-10 | Findings - Leaking water hose, Recommendation - need to fix, Repair Done - Fixed hose | Com1 | E-mail
CEB-00010639 | 2025-10-10 | 05:26 pm - 05:27 pm | DINOY | Alnair, Flordeliz | , , , , ALOGUINSAN, Cebu | 0917-7194993 | KWD-BLC-2088B |  | ASIAN HOMES | TS | DC | W | Can't Dispense Water | H-A Ref. and Airconditioning Repair & Services |  | 1 | 2025-05-10 | 2025-05-10 | 2025-05-10 | Findings - Def. Water Pump, Recommendation - for replace parts, Repair Done - Check up Only | Com2 | E-mail
CEB-00010640 | 2025-10-10 | 05:37 pm - 05:38 pm | DINOY | Saducas, Mercy | , , , Upper bhokyol, CITY OF CARCAR, Cebu | 0967-3305653 | KSM-IW15-WCT10M1M32 |  | ASIAN HOMES | INST | DC | C | For Installation | H-A Ref. and Airconditioning Repair & Services |  | 2 | 2025-06-10 | 2025-06-10 | 2025-06-10 | Findings - for installation, Recommendation - Install the unit, Repair Done - Installation of Class A Unit | Com1 | E-mail
CEB-00010641 | 2025-10-10 | 05:32 pm - 05:38 pm | DINOY | Saducas, Mercy | , , , Upper bhokyol, CITY OF CARCAR, Cebu | 0967-3305653 | KSM-IW15-WCT10M1M32 |  | ASIAN HOMES | INST | DC | C | For Installation | H-A Ref. and Airconditioning Repair & Services |  | 2 | 2025-06-10 | 2025-06-10 | 2025-06-10 | Findings - for installation, Recommendation - Install the unit, Repair Done - Installation of Class A Unit | Com1 | E-mail
CEB-00010642 | 2025-10-10 | 05:38 pm - 05:38 pm | DINOY | Pilare, Rosa | Sta.Cruz, , , , RONDA, Cebu | 0943-5012299 | KSM-IW20-WCT10M1M32 |  | ASIAN HOMES | INST | DC | C | For Installation | H-A Ref. and Airconditioning Repair & Services |  | 2 | 2025-04-10 | 2025-04-10 | 2025-04-10 | Findings - for installation, Recommendation - Install the unit, Repair Done - Installation of Class A Unit | Com1 | E-mail
CEB-00010643 | 2025-10-10 | 05:39 pm - 05:39 pm | DINOY | Matas, Grace | No.87 Vista Bella Subd., , , Basak, LAPU-LAPU CITY (OPON), Cebu | 0906-4235721 | KCB-BLC-8859T |  | ASIAN HOMES | INST | DC | W | Water Dripping | H-A Ref. and Airconditioning Repair & Services |  | 1 | 2025-07-10 | 2025-07-10 | 2025-07-10 | Findings - Loosen Hose, Recommendation - need to fix, Repair Done - Fixed Connection of Hose | Com1 | E-mail
CEB-00010644 | 2025-10-10 | 05:39 pm - 05:39 pm | DINOY | Minguito, Isagani | Garfield St. Suba, , , Pasil, CEBU CITY (Capital), Cebu | 0939-8149873 | KSM-IW15-WCT10M1M32 |  | ASIAN HOMES | INST | DC | C | For Installation | H-A Ref. and Airconditioning Repair & Services |  | 2 | 2025-07-10 | 2025-07-10 | 2025-07-10 | Findings - for installation, Recommendation - Install the unit, Repair Done - Installation of Class A Unit | Com1 | E-mail
CEB-00010645 | 2025-10-10 | 05:44 pm - 05:45 pm | DINOY | Villarima, Mary Rose | , , Rading Apartment , Bgry. Banawa, CEBU CITY (Capital), cebu | 0915-0266188 | KCB-BLC-8859T |  | ASIAN HOMES | TS | DC | W | Check - Up Only | H-A Ref. and Airconditioning Repair & Services |  | 1 | 2025-01-10 | 2025-01-10 | 2025-01-10 | Findings - def. sensor, Recommendation - need to replace parts, Repair Done - Check up Only | Com1 | E-mail
CEB-00010646 | 2025-10-10 | 05:47 pm - 05:48 pm | DINOY | , Maam Arlyn | No. 19 Dagohoy St., San Antonio Village, , Apas, CEBU CITY (Capital), Cebu | 0917-3217056 | KSM-IW10-WCT10M1M32 |  | ASIAN HOMES | INST | DC | C | For Installation | H-A Ref. and Airconditioning Repair & Services |  | 2 | 2025-07-10 | 2025-07-10 | 2025-07-10 | Findings - for installation, Recommendation - Install the unit, Repair Done - Installation of Class A Unit | Com1 | E-mail
CEB-00010647 | 2025-10-10 | 06:01 pm - 06:01 pm | DINOY | Andon, Aldela | , , , Poblacion, DAUIN, Negros Oriental | 0956-6212916 | KSM-IW15-WCT10M1M32 |  | ROBINSONS | INST | DC | C | For Installation | GAB Appliance Service Center - Cebu |  | 1 | 2025-08-10 | 10/21/2025 01:00 am | 10/21/2025 01:00 am | Findings - for installation, , Recommendation - For Installation, , Repair Done - Installation SAC Done | Com1 | E-mail
CEB-00010648 | 2025-10-10 | 06:01 pm - 06:02 pm | DINOY | Siclot, Karynne | Fairview Village, , , Lawaan II, CITY OF TALISAY, Cebu | 0917-5812932 | KWD-BLC-2088B |  | ASIAN HOMES | TS | DC | W | Dripping/ Water Leak | H-A Ref. and Airconditioning Repair & Services |  | 2 | 2025-09-10 | 2025-09-10 | 2025-09-10 | Findings - Leaking System, Recommendation - need to fix, Repair Done - System Reprocess | Com1 | E-mail
CEB-00010649 | 2025-10-10 | 06:02 pm - 06:02 pm | DINOY | Hubayan, Judge Norberto | , Sun Alley, V&G Subd., Brgy. 109, TACLOBAN CITY (Capital), Leyte | 0905-516838 | KSG-IWF-30WFY-8K1M32-I |  | RL APPLIANCE | INST | DC | C | For Installation | GAB Appliance Service Center - Cebu |  | 1 | 2025-09-10 | 2025-09-10 09:00 | 2025-09-10 14:00 | Findings - For Installation, Recommendation - For Installation, Repair Done - Installation SAC Done | Com1 | E-mail
CEB-00010650 | 2025-10-10 | 06:03 pm - 06:04 pm | DINOY | Alberto, Josie | , Retana St., , Bgry. Pob. Alang - Alang , LEYTE, cebu | 0977-0940766 | KSM-IW10-WCT10M1M32 |  | RL APPLIANCE | TS | DC | W | Check - Up Only | GAB Appliance Service Center - Cebu |  | 1 | 2025-10-10 | 2025-10-10 01:00 | 2025-10-10 01:00 | Findings - For check-up, , Recommendation - Check Up only, Repair Done - Check up Only Unit is Ok | Com1 | E-mail
CEB-00010651 | 2025-10-10 | 06:08 pm - 06:08 pm | DINOY | SBFISA | , National Highway, , Lingayon, ALANGALANG, Leyte | 0921-7469142 | KLG-IF40-5G1M32-I |  | RL APPLIANCE | INST | DC | C | For Installation | GAB Appliance Service Center - Cebu |  | 1 | 2025-10-10 | 2025-10-10 10:00 | 2025-10-10 14:00 | Findings - For Installation, Recommendation - For Installation, Repair Done - Installation FAC Done | Com1 | E-mail
CEB-00010652 | 2025-10-10 | 06:08 pm - 06:08 pm | DINOY | SBFISA | , National Highway, , Lingayon, ALANGALANG, Leyte | 0921-7469142 | KLG-IF40-5G1M32-I |  | RL APPLIANCE | INST | DC | C | For Installation | GAB Appliance Service Center - Cebu |  | 1 | 2025-10-10 | 2025-10-10 09:00 | 2025-10-10 13:00 | Findings - For Installation, Recommendation - For Installation, Repair Done - Installation FAC Done | Com1 | E-mail
CEB-00010653 | 2025-10-10 | 06:09 pm - 06:09 pm | DINOY | Alberto, Josie | , Retana St., , Bgry. Pob. Alang - Alang , LEYTE, cebu | 0977-0940766 | KSM-IW10-WCT10M1M32 |  | RL APPLIANCE | TS | DC | W | Check - Up Only | GAB Appliance Service Center - Cebu |  | 1 | 2025-10-10 | 2025-10-10 13:00 | 2025-10-10 14:00 | Findings - For check-up, Recommendation - For check-up, Repair Done - Check-up only. Unit is okay | Com1 | E-mail
CEB-00010654 | 2025-11-10 | 03:30 pm - 03:31 pm | DINOY | Alnair, Flordeliz | , , , , ALOGUINSAN, Cebu | 0917-7194993 | KWD-BLC-2088B |  | ASIAN HOMES | TS | DC | W | Can't Dispense Water | H-A Ref. and Airconditioning Repair & Services |  | 1 | 2025-11-10 | 2025-05-10 01:00 | 2025-05-10 01:00 | Findings - def. water pump, Recommendation - for replace parts, Repair Done - Replaced new water pump | Com1 | E-mail
CEB-00010655 | 2025-11-10 | 03:46 pm - 03:47 pm | DINOY | Pages Holding Group | , , Maria Luisa Subd. , Bgry. Banilad, CEBU CITY (Capital), cebu | 0917-3254504 | KWD-BLC-2088B |  | ASIAN HOMES | TS | DC | W | Can't Dispense Water | H-A Ref. and Airconditioning Repair & Services |  | 2 | 2025-11-10 | 2025-04-10 13:00 | 2025-04-10 13:00 | Findings - def. pcb board & water pump, Recommendation - for replaced parts, Repair Done - Replaced new pcb board & water pump | Com1 | E-mail
CEB-00010656 | 2025-11-10 | 03:58 pm - 03:58 pm | DINOY | Jel Refrigeration & Airconditioning Services | , 1363 st., , Brgy.Pooc Talisay, CEBU CITY (Capital), Cebu | 2737824 | n/a |  |  | SP | WI | COS | Sales of Parts |  |  | 1 | 2025-11-10 | 2025-11-10 01:00 | 2025-11-10 01:00 | Findings - SOP, Recommendation - SOP, Repair Done - SOP | Com1 | Customer Lounge
CEB-00010657 | 10/13/2025 | 09:30 am - 09:30 am | COTCOT | K.L.K.A | , , , Bgry. bangkal, LAPU-LAPU CITY (OPON), Cebu | 0966-7424120 | n/a |  |  | SP | WI | COS | Sales of Parts |  |  | 1 | 10/13/2025 | 10/13/2025 01:00 am | 10/13/2025 01:00 am | Findings - SOP, Recommendation - SOP, Repair Done - SOP | Com1 | Customer Lounge
CEB-00010658 | 10/13/2025 | 12:17 pm - 12:17 pm | DINOY | Yusoco Export Inc. | , , , Bgry. Sto. Nino, CEBU CITY (Capital), cebu | 0917-3200064 | KAG-150RSINV |  | ASIAN HOMES | TS | FD | C | Not Cooling | Jel Refrigeration & Airconditioning Services |  | 1 | 10/13/2025 | 10/13/2025 01:00 pm | 10/13/2025 02:00 pm | Findings - Defective PCB board, Recommendation - For replace PCB board, Repair Done - Replaced new PCB board | Com1 | E-mail
CEB-00010659 | 10/13/2025 | 12:46 pm - 12:46 pm | DINOY | Jel Refrigeration & Airconditioning Services | , 1363 st., , Brgy.Pooc Talisay, CEBU CITY (Capital), Cebu | 2737824 | n/a |  |  | SP | WI | COS | Sales of Parts |  | Refer To: CEB-00010656 Usser Error No Parts Input On SR. | 1 | 10/13/2025 | 10/13/2025 01:00 am | 10/13/2025 01:00 am | Findings - SOP, Recommendation - SOP, Repair Done - SOP | Com1 | Customer Lounge
CEB-00010660 | 10/13/2025 | 12:50 pm - 12:50 pm | DINOY | H-Advance Ref. and Airconditioning Repair & Services | , , , Poblacion, Carcar Cebu, CITY OF CARCAR, Cebu | 0942-2426668 | n/a |  |  | SP | WI | COS | Sales of Parts |  |  | 1 | 10/13/2025 | 10/13/2025 01:00 am | 10/13/2025 01:00 am | Findings - SOP, Recommendation - SOP, Repair Done - SOP | Com1 | Customer Lounge
CEB-00010661 | 10/14/2025 | 10:36 am - 10:37 am | DINOY | K.L.K.A | , , , Bgry. bangkal, LAPU-LAPU CITY (OPON), Cebu | 0966-7424120 | n/a |  |  | SP | WI | COS | Sales of Parts |  |  | 1 | 10/14/2025 | 10/14/2025 01:00 am | 10/14/2025 01:00 am | Findings - SOP, Recommendation - SOP, Repair Done - SOP | Com1 | Customer Lounge
CEB-00010662 | 10/14/2025 | 04:51 pm - 04:52 pm | DINOY | Kew Foods Corporation | , JA CLARIN ST, , Bgry. COGON, TAGBILARAN CITY, Bohol, cebu | 6394-2455904 | KEA-120BDR |  | GAB APPLIANCE SERVICE CTR. | TS | DC | W | Malfunctioning | JBD Ubay Bohol Ref and Airconditioning |  | 2 | 10/14/2025 | 10/18/2025 01:00 pm | 10/18/2025 03:00 am | Findings - Defective PCB, Recommendation - Subject to replace PCB, Repair Done - Replace PCB | Com1 | E-mail
CEB-00010663 | 10/14/2025 | 04:52 pm - 04:53 pm | DINOY | Kew Foods Corporation | , JA CLARIN ST, , Bgry. COGON, TAGBILARAN CITY, Bohol, cebu | 6394-2455904 | KEA-120BDR |  | GAB APPLIANCE SERVICE CTR. | TS | DC | W | Malfunctioning | JBD Ubay Bohol Ref and Airconditioning |  | 2 | 10/14/2025 | 10/18/2025 01:00 pm | 10/18/2025 03:00 pm | Findings - Defective PCB, Recommendation - Subject to replace PCB, Repair Done - Replace PCB | Com1 | E-mail
CEB-00010664 | 10/14/2025 | 04:53 pm - 04:53 pm | DINOY | Kew Foods Corporation | , JA CLARIN ST, , Bgry. COGON, TAGBILARAN CITY, Bohol, cebu | 6394-2455904 | KEA-120BDR |  | GAB APPLIANCE SERVICE CTR. | TS | DC | W | Malfunctioning | JBD Ubay Bohol Ref and Airconditioning |  | 2 | 10/14/2025 |  |  |  |  | E-mail
CEB-00010665 | 10/15/2025 | 10:05 am - 10:06 am | DINOY | Iran, Randy | , , , Bgry. Cebu, CEBU CITY (Capital), cebu | 0919-6879020 | KAG-150RSINV |  | ASIAN HOMES | SP | WI | COS | Sales of Parts |  |  | 1 | 10/15/2025 | 10/15/2025 01:00 am | 10/15/2025 01:00 am | Findings - SOP, Recommendation - SOP, Repair Done - SOP | Com1 | Customer Lounge
CEB-00010666 | 10/15/2025 | 11:18 am - 11:19 am | DINOY | Jel Refrigeration & Airconditioning Services | , 1363 st., , Brgy.Pooc Talisay, CEBU CITY (Capital), Cebu | 2737824 | n/a |  |  | SP | WI | COS | Sales of Parts |  |  | 1 | 10/15/2025 | 10/15/2025 01:00 am | 10/15/2025 01:00 am | Findings - SOP, Recommendation - SOP, Repair Done - SOP | Com1 | Customer Lounge
CEB-00010667 | 10/15/2025 | 04:39 pm - 04:40 pm | DINOY | H-Advance Ref. and Airconditioning Repair & Services | , , , Poblacion, Carcar Cebu, CITY OF CARCAR, Cebu | 0942-2426668 | n/a |  |  | SP | WI | COS | Sales of Parts |  |  | 1 | 10/15/2025 | 10/15/2025 01:00 am | 10/15/2025 01:00 am | Findings - SOP, Recommendation - SOP, Repair Done - SOP | Com1 | Customer Lounge
CEB-00010668 | 10/16/2025 | 02:44 pm - 02:45 pm | DINOY | Seaquest Food Producs | , , , Bgry. Dumlog, CITY OF TALISAY, cebu | 0917-6280628 | KAG-150RSINV |  |  | SP | WI | COS | Sales of Parts |  |  | 1 | 10/16/2025 | 10/16/2025 01:00 am | 10/16/2025 01:00 am | Findings - SOP, Recommendation - SOP, Repair Done - SOP | Com1 | Customer Lounge
CEB-00010669 | 10/17/2025 | 09:45 am - 09:46 am | DINOY | H-Advance Ref. and Airconditioning Repair & Services | , , , Poblacion, Carcar Cebu, CITY OF CARCAR, Cebu | 0942-2426668 | n/a |  |  | SP | WI | COS | Sales of Parts |  |  | 1 | 10/17/2025 | 10/17/2025 01:00 am | 10/17/2025 01:00 am | Findings - SOP, Recommendation - SOP, Repair Done - SOP | Com1 | Customer Lounge
CEB-00010670 | 10/17/2025 | 10:29 am - 10:31 am | DINOY | Robinsons Appliances Corporation (Galleria) | Roninsons Bldg., , , Bgry. Tejero, CEBU CITY (Capital), Cebu | 0923-5605464 | KCB-BLC-8859T |  | ROBINSONS | TS | RM | W | Malfunctioning |  |  | 2 | 10/17/2025 | 10/17/2025 01:00 am | 10/17/2025 01:00 am | Findings - Def.Touch Glass Panel, Recommendation - For Replaced Panel, Repair Done - Replaced Panel | Com1 | Inter-office
CEB-00010671 | 10/17/2025 | 11:10 am - 11:11 am | DINOY | Ecool Phils. Corp. | , , Castelex Compound , Brgy. Cabancalan Mandaue, MANDAUE CITY, Cebu |  | n/a |  |  | SP | WI | COS | Sales of Parts |  |  | 1 | 10/17/2025 | 10/17/2025 01:00 am | 10/17/2025 01:00 am | Findings - SOP, Recommendation - SOP, Repair Done - SOP | Com1 | Customer Lounge
CEB-00010672 | 10/17/2025 | 01:07 pm - 01:08 pm | DINOY | RHU | , Pambujan St. Pambujan, , Bgry.5 Gen. Mac Arthur Samar, LEYTE, cebu | 0932-5893997 | KSM-IW20-WCT10M1M32 |  | RL APPLIANCE | TS | DC | W | Not Cooling | GAB Appliance Service Center - Cebu |  | 1 | 10/17/2025 | 10/17/2025 01:00 am | 10/17/2025 01:00 am | Findings - Not Cooling Def. COmpressor, Recommendation - For Replaced Compressor, Repair Done - Check up Only | Com2 | E-mail
CEB-00010673 | 10/17/2025 | 01:16 pm - 01:17 pm | COTCOT | RHU | , Pambujan St. Pambujan, , Bgry.5 Gen. Mac Arthur Samar, LEYTE, cebu | 0932-5893997 | KSM-IW20-WCT10M1M32 |  | RL APPLIANCE | TS | DC | W | Not Cooling | GAB Appliance Service Center - Cebu |  | 2 | 10/17/2025 |  |  |  |  | E-mail
CEB-00010674 | 10/17/2025 | 01:19 pm - 01:19 pm | COTCOT | GAB Appliance Service Center | Unit 5 THP Building, National Hi-Way, , Pitogo Consolacion Cebu, CONSOLACION, Cebu |  | n/a |  |  | SP | WI | COS | Sales of Parts |  |  | 1 | 10/17/2025 | 10/17/2025 01:00 am | 10/17/2025 01:00 am | Findings - SOP, Recommendation - SOP, Repair Done - SOP | Com1 | Customer Lounge
CEB-00010675 | 10/17/2025 | 01:19 pm - 01:20 pm | COTCOT | GAB Appliance Service Center | Unit 5 THP Building, National Hi-Way, , Pitogo Consolacion Cebu, CONSOLACION, Cebu |  | n/a |  |  | SP | WI | COS | Sales of Parts |  |  | 1 | 10/17/2025 | 10/18/2025 01:00 am | 10/18/2025 01:00 am | Findings - SOP, Recommendation - SOP, Repair Done - SOP | Com1 | Customer Lounge
CEB-00010676 | 10/18/2025 | 11:13 am - 11:13 am | DINOY | Abello, Reina | , , , Liloan Branch, LILOAN, Cebu | 0999-7315811 | KCB-BLC-8859T |  | ASIAN HOMES | TS | DC | W | Check up Only | H-A Ref. and Airconditioning Repair & Services |  | 1 | 2025-10-10 | 2025-10-10 | 2025-10-10 | Findings - Loosen Hose, Recommendation - fix the hose, Repair Done - Fixed Connection of Hose | Com2 | E-mail
CEB-00010677 | 10/18/2025 | 11:13 am - 11:15 am | DINOY | Asian Home Appliance Center | Country Mall, , , Banilad, CEBU CITY (Capital), Cebu | 0918-9483595 | KEA-50BLRDCA |  | ASIAN HOMES | TS | DC | W | No Power Supply | H-A Ref. and Airconditioning Repair & Services |  | 1 | 2025-10-10 | 2025-10-10 | 2025-10-10 | Findings - Def. Pcb Board, Recommendation - for replace parts, Repair Done - Check up Only | Com2 | E-mail
CEB-00010678 | 10/18/2025 | 03:30 pm - 03:30 pm | DINOY | Asian Home Appliance Center (Mandaue) | Centro Mandaue Branch, , , , MANDAUE CITY, Cebu | 0918-9483595 | KWD-BLC-2088B |  | ASIAN HOMES | TS | DC | W | Can't Dispense Water | H-A Ref. and Airconditioning Repair & Services |  | 1 | 2025-10-10 | 2025-10-10 | 2025-10-10 | Findings - Def. Water Pump, Recommendation - for replace parts, Repair Done - Check up Only | Com2 | E-mail
CEB-00010679 | 10/18/2025 | 03:30 pm - 03:31 pm | DINOY | Asian Home Appliance Center (Mandaue) | Centro Mandaue Branch, , , , MANDAUE CITY, Cebu | 0918-9483595 | KWD-BLC-2088B |  | ASIAN HOMES | TS | DC | W | Can't Dispense Water | H-A Ref. and Airconditioning Repair & Services |  | 1 | 2025-10-10 | 2025-10-10 | 2025-10-10 | Findings - Def. Water Pump, Recommendation - for replace parts, Repair Done - Check up Only | Com2 | E-mail
CEB-00010680 | 10/18/2025 | 03:44 pm - 03:44 pm | DINOY | Atilano, Nico | Blk 3 Lot 10, , , Mohon, CITY OF TALISAY, Cebu | 0949-4583356 | KSM-IW10-WCT10M1M32 |  | ASIAN HOMES | INST | DC | C | For Installation | H-A Ref. and Airconditioning Repair & Services |  | 1 | 2025-10-10 | 2025-10-10 | 2025-10-10 | Findings - for installation, Recommendation - Install the unit, Repair Done - Installation of Class A Unit | Com1 | E-mail
CEB-00010681 | 10/18/2025 | 03:48 pm - 03:49 pm | DINOY | Blanco, Philip | , Filipinas St., Philip Blanco 09217435538 , Bgry. Campetic Palo, LEYTE, Cebu | 09217435538 | KSG-IWF-15WFY-8K1M32-I |  | RL APPLIANCE | INST | DC | C | For Installation | GAB Appliance Service Center - Cebu |  | 1 | 2025-11-10 | 2025-11-10 10:00 | 2025-11-10 13:00 | Findings - For Installation, Recommendation - For Installation, Repair Done - Installation SAC Done | Com1 | E-mail
CEB-00010682 | 10/18/2025 | 03:54 pm - 03:54 pm | DINOY | Ortega, Grecie Rose | , , , Tubod, MINGLANILLA, Cebu | 0921-9919655 | KSM-IW10-WCT10M1M32 |  | ASIAN HOMES | INST | DC | C | For Installation | H-A Ref. and Airconditioning Repair & Services |  | 1 | 2025-11-10 | 2025-11-10 | 2025-11-10 | Findings - for installation, Recommendation - Install the unit, Repair Done - Installation of Class A Unit | Com1 | E-mail
CEB-00010683 | 10/18/2025 | 03:59 pm - 04:00 pm | DINOY | Ortega, Remedios | , B1 L4 1st St., Raymond Homes Calendola Ville, Brgy. Calendola, CITY OF SAN PEDRO, Laguna | 0917-7262201 | KSM-IW10-WCT10M1M32 |  | ROBINSONS | INST | DC | C | For Installation | H-A Ref. and Airconditioning Repair & Services |  | 1 | 10/18/2025 | 10/20/2025 01:00 am | 10/20/2025 01:00 am | Findings - Cancelled User Error, Recommendation - Cancelled User Error, Repair Done - User Error | NSC12 | E-mail
CEB-00010684 | 10/18/2025 | 04:07 pm - 04:08 pm | DINOY | Garcia Quijano Law Office | 703 Apple One , , , Ayala Business, CEBU CITY (Capital), Cebu | 0967-8247279 | KCB-BLC-8859T |  | ASIAN HOMES | TS | DC | W | Not Heating | H-A Ref. and Airconditioning Repair & Services |  | 1 | 10/14/2025 | 10/14/2025 12:00 am | 10/14/2025 12:00 am | Findings - Heater not Functioning, Recommendation - customer demand for replacement of unit, Repair Done - Check up only | Com2 | E-mail
CEB-00010685 | 10/18/2025 | 04:11 pm - 04:11 pm | DINOY | Vicentillo, Jared Kislev | , L9 B13, V & G Subdivision, Casili, CONSOLACION, Cebu | 0923-3143635 | KSM-IW20-WCT10M1M32 |  | ABENSON INC. | INST | DC | C | For Installation | GAB Appliance Service Center - Cebu |  | 1 | 10/16/2025 | 10/15/2025 08:40 am | 10/15/2025 02:30 pm | Findings - For Installation, Recommendation - For Installation, Repair Done - Installation SAC Done | Com1 | E-mail
CEB-00010686 | 10/18/2025 | 04:30 pm - 04:31 pm | DINOY | Taczanuwski, Richelle Ann | , , , Barangay 2, SIATON, Negros Oriental | 0967-4523054 | KSG-IWF-10WFY-8K1M32-I |  | ABENSON INC. | INST | DC | C | For Installation | GAB Appliance Service Center - Cebu |  | 1 | 10/16/2025 | 10/16/2025 09:00 am | 10/16/2025 01:00 am | Findings - For Installation, Recommendation - For Installation, Repair Done - Installation SAC Done | Com2 | E-mail
CEB-00010687 | 10/20/2025 | 10:56 am - 10:57 am | DINOY | Donio, Jonathan | , B25 L18, Deca Homes, Brgy. Concepcion, ORMOC CITY, Leyte | 0948-0495135 | KAG-75WCINV |  | VIC IMPERIAL APP | TS | FD | P | Not Cooling | KLK Aircon and Refrigeration Services |  | 1 | 10/20/2025 |  |  |  |  | E-mail
CEB-00010688 | 10/20/2025 | 11:26 am - 11:27 am | DINOY | Lomindque, Frank Jonh | , , Model of aircon: KEA-25BW Serial number:22032502-11582 Date of purchase: 10/15/25, Bgry. Rawis, CALBAYOG CITY, cebu | 0919-7830970 | KEA-25BWR |  | n/a | TS | DC | W | Malfunctioning | Jovan Appliance Service Center |  | 1 | 10/20/2025 |  |  |  |  | E-mail
CEB-00010689 | 10/20/2025 | 01:54 pm - 01:55 pm | DINOY | Vermedes, Inc. | , 441-1B V. Rama Ave., , Bgry. Guadalupe, CEBU CITY (Capital), cebu | 0922-9880707 | KLG-IF40-2C1M |  | ASIAN HOMES | SP | WI | COS | Sales of Parts |  |  | 1 | 10/20/2025 | 10/20/2025 01:00 am | 10/20/2025 01:00 am | Findings - SOP, Recommendation - SOP, Repair Done - SOP | Com1 | Customer Lounge
CEB-00010690 | 10/20/2025 | 04:39 pm - 04:42 pm | DINOY | Apindig, Sitie Mufaidah | Sangi, , , Tabunok, CITY OF TALISAY, Cebu | 0995-5863799 | KA-100MCARINV32 |  | ASIAN HOMES | TS | DC | W | Check - Up Only | H-A Ref. and Airconditioning Repair & Services |  | 1 | 10/16/2025 | 10/23/2025 12:00 am | 10/23/2025 12:00 am | Findings - def. Fan Motor, Recommendation - for replace parts, Repair Done - Replaced new fan motor | Com1 | E-mail
CEB-00010691 | 10/20/2025 | 04:45 pm - 04:45 pm | DINOY | Apindig, Sitie Mufaidah | Sangi, , , Tabunok, CITY OF TALISAY, Cebu | 0995-5863799 | KA-100MCARINV32 |  | ASIAN HOMES | TS | DC | W | Not Cooling | H-A Ref. and Airconditioning Repair & Services |  | 2 | 10/20/2025 | 10/16/2025 01:00 pm | 10/16/2025 01:00 pm | Findings - Def. Fan Motor / Noisy Sound, Recommendation - for replace parts, Repair Done - Check up Only | Com2 | E-mail
CEB-00010692 | 10/20/2025 | 04:52 pm - 04:53 pm | DINOY | Bate, Albert Jack | , , , Pulpogan, CONSOLACION, Cebu | 0910-7903409 | KA-75MCARINV32 |  | ASIAN HOMES | TS | DC | W | Check - Up Only | H-A Ref. and Airconditioning Repair & Services |  | 1 | 10/17/2025 | 10/17/2025 12:00 am | 10/17/2025 12:00 am | Findings - Leaking evaporator, Recommendation - for replace parts, Repair Done - check up only | Com1 | E-mail
CEB-00010693 | 10/20/2025 | 04:57 pm - 04:57 pm | DINOY | Asian Home Appliance Center (Mandaue) | Centro Mandaue Branch, , , , MANDAUE CITY, Cebu | 0918-9483595 | KWD-BLC-2088B |  | ASIAN HOMES | TS | DC | W | Can't Dispense Water | H-A Ref. and Airconditioning Repair & Services |  | 2 | 10/20/2025 | 10/23/2025 01:00 am | 10/23/2025 01:00 am | Findings - Def. Water Pump, Recommendation - need to replace parts, Repair Done - Replaced Water Pump | Com1 | E-mail
CEB-00010694 | 10/20/2025 | 05:01 pm - 05:02 pm | DINOY | Asian Home Appliance Center (Mandaue) | Centro Mandaue Branch, , , , MANDAUE CITY, Cebu | 0918-9483595 | KWD-BLC-2088B |  | ASIAN HOMES | TS | DC | W | Can't Dispense Water | H-A Ref. and Airconditioning Repair & Services |  | 2 | 10/20/2025 | 10/23/2025 01:00 am | 10/23/2025 01:00 am | Findings - Def. Water Pump, Recommendation - for replace board, Repair Done - Replaced Water Pump | Com1 | E-mail
CEB-00010695 | 10/21/2025 | 09:01 am - 09:01 am | DINOY | Carl Electronics Ref and Aircon | , , , Palo, LEYTE, Cebu | 0927-5583722 | n/a |  |  | SP | WI | COS | Sales of Parts |  |  | 1 | 10/21/2025 | 10/21/2025 01:00 am | 10/21/2025 01:00 am | Findings - SOP, Recommendation - SOP, Repair Done - SOP | Com1 | Customer Lounge
CEB-00010696 | 10/21/2025 | 11:53 am - 11:53 am | DINOY | Sismundo, Elpidio | , , , Bgry.cebu, CEBU CITY (Capital), cebu | 0927-3191727 | KAM-75BMC |  |  | SP | WI | COS | Sales of Parts |  |  | 1 | 10/21/2025 | 10/21/2025 01:00 am | 10/21/2025 01:00 am | Findings - SOP, Recommendation - SOP, Repair Done - SOP | Com1 | Customer Lounge
CEB-00010697 | 10/21/2025 | 02:10 pm - 02:11 pm | DINOY | The First Family App.Circle | , , Castelex Compound, Bgry. Cabancalan, MANDAUE CITY, Cebu | 2537944 | KCF-14WRWDC |  | THE FIRST FAMILY APPLIANCE | TS | BI | W | Malfunctioning |  |  | 1 | 10/21/2025 | 10/21/2025 01:00 am | 10/21/2025 01:00 am | Findings - Def, Swing Up and Down, Recommendation - For Replaced Swing, Repair Done - Check up Only | Com2 | E-mail
CEB-00010698 | 10/21/2025 | 03:02 pm - 03:03 pm | COTCOT | Otade, Francis | , , , Bgry. Cabancalan, MANDAUE CITY, Cebu | 0922-3530088 | KSM-10MB1INV |  | ASIAN HOMES | TS | FD | C | Not Cooling | H-A Ref. and Airconditioning Repair & Services |  | 1 | 10/21/2025 | 10/21/2025 01:00 am | 10/21/2025 01:00 am | Findings - Def. Pcb Assy., Recommendation - For Replaced Pcb assy. , Repair Done - Replaced Pcb Assy./ Unit Ok | Com1 | Mobile Hotline - SMS & Call
CEB-00010699 | 10/21/2025 | 03:15 pm - 03:16 pm | COTCOT | Asian Home Appliance Center | Country Mall, , , Banilad, CEBU CITY (Capital), Cebu | 0918-9483595 | KEA-50BLRDCA |  | ASIAN HOMES | TS | DC | W | Malfunctioning | H-A Ref. and Airconditioning Repair & Services |  | 2 | 10/21/2025 | 10/23/2025 01:00 am | 10/23/2025 01:00 am | Findings - Def. Pcb Board, Recommendation - for replace board, Repair Done - Replaced Pcb board | Com1 | E-mail
CEB-00010700 | 10/21/2025 | 03:25 pm - 03:25 pm | COTCOT | Coyoca, Darren | , Gen. Maxillom Ave., Darren Coyoca 09958930806 , Bgry. Careta, CEBU CITY (Capital), cebu | 0995-8930806 | KEA-25BWR |  | ASIAN HOMES | TS | DC | W | Malfunctioning | H-A Ref. and Airconditioning Repair & Services |  | 3 | 10/21/2025 |  |  |  |  | E-mail
CEB-00010701 | 10/21/2025 | 03:39 pm - 03:40 pm | COTCOT | Camiso, Angela | , , Angela Camiso 09300447032 , Bgry.Cambuhawi Balamban , BALAMBAN, cebu | 09300447032 | KEA-25BWR |  | ASIAN HOMES | TS | DC | W | Fan Not Functioning | H-A Ref. and Airconditioning Repair & Services |  | 2 | 10/21/2025 | 10/23/2025 01:00 am | 10/23/2025 01:00 am | Findings - Def. Fan Motor / Noisy Sound, Recommendation - need to replace parts, Repair Done - Replaced Fan Motor | Com1 | E-mail
CEB-00010702 | 10/21/2025 | 04:37 pm - 04:37 pm | DINOY | CAYANA, ROSE GABRIEL N/A | n/a, n/a, n/a, San Miguel, SAN MIGUEL, LEYTE | 0916-4068946 | KSM-IW25-WCT10M1M32 |  | ROBINSONS | INST | DC | C | For Installation | Carl Electronics and Refrigeration | PALO-BRANCH | 1 | 2025-03-10 | 2025-06-10 | 2025-06-10 | Findings - for installation, Recommendation - new unit for installation, Repair Done - Installation complete | Com1 | E-mail
CEB-00010703 | 10/21/2025 | 04:38 pm - 04:38 pm | DINOY | CAYANA, ROSE GABRIEL n/a | n/a, n/a, n/a, San Miguel, SAN MIGUEL, LEYTE | 0916-4068946 | KSM-IW25-WCT10M1M32 |  | ROBINSONS | INST | DC | C | For Installation | Carl Electronics and Refrigeration | PALO-BRANCH | 1 | 2025-03-10 | 2025-06-10 | 2025-06-10 | Findings - for installation, Recommendation - new unit for installation, Repair Done - Installation complete | Com1 | E-mail
CEB-00010704 | 10/21/2025 | 04:42 pm - 04:42 pm | DINOY | Coyoca, Darren | , Gen. Maxillom Ave., Darren Coyoca 09958930806 , Bgry. Careta, CEBU CITY (Capital), cebu | 0995-8930806 | KEA-25BWR |  | ASIAN HOMES | TS | DC | W | Not Cooling | H-A Ref. and Airconditioning Repair & Services |  | 2 | 2025-10-10 | 2025-10-10 | 2025-10-10 | Findings - Def. Pcb Board & Water Pump, Recommendation - for replace parts, Repair Done - Check up Only | Com2 | E-mail
CEB-00010705 | 10/21/2025 | 04:50 pm - 04:51 pm | DINOY | Morito, Juliet | , , , Balugo, DUMAGUETE CITY (Capital), Negros Oriental | 0919-0791778 | KSM-IW10-WCT10M1M32 |  | ROBINSONS | INST | DC | C | For Installation | GAB Appliance Service Center - Cebu |  | 1 | 10/16/2025 | 10/16/2025 10:00 am | 10/16/2025 02:00 pm | Findings - For Installation, Recommendation - For Installation, Repair Done - Installation SAC Done | Com1 | E-mail
CEB-00010706 | 10/21/2025 | 04:51 pm - 04:51 pm | DINOY | Jundy Ramon, Jundy Ramon | , , , Magatas, SIBULAN, Negros Oriental | 0917-1400722 | KSM-IW10-WCT10M1M32 |  | ROBINSONS | INST | DC | C | For Installation | GAB Appliance Service Center - Cebu |  | 1 | 10/16/2025 | 10/16/2025 01:00 pm | 10/16/2025 04:00 pm | Findings - For Installation, Recommendation - For Installation, Repair Done - Installation SAC Done | Com1 | E-mail
CEB-00010707 | 10/21/2025 | 04:55 pm - 04:56 pm | DINOY | De Guzman , Brendalyn | ., ., ., 164 Paitan, Panoypoy, SAN CARLOS CITY, Pangasinan | 0917 300 6043 | KLG-IF40-5G1M32-I |  | ASIAN HOMES | INST | DC | C | For Installation | H-A Ref. and Airconditioning Repair & Services |  | 2 | 2025-09-10 | 2025-09-10 | 2025-09-10 | Findings - for installation, Recommendation - Install the unit, Repair Done - Installation of Class A Unit | Com1 | E-mail
CEB-00010708 | 10/23/2025 | 07:57 am - 07:57 am | DINOY | K.L.K.A | , , , Bgry. bangkal, LAPU-LAPU CITY (OPON), Cebu | 0966-7424120 | n/a |  |  | SP | WI | COS | Sales of Parts |  |  | 1 | 10/23/2025 | 10/23/2025 01:00 am | 10/23/2025 01:00 am | Findings - SOP, Recommendation - SOP, Repair Done - SOP | Com1 | Customer Lounge
CEB-00010709 | 10/23/2025 | 09:10 am - 09:11 am | DINOY | Joshua , Senica | , , , Bgry. Poblacion Carmen, CARMEN, Cebu | 0919-8181621 | KSM-IW15-WCT10M1M32 |  | ECHO ELECTRICAL SUPPLY | TS | FD | W | Check - Up Only |  |  | 1 | 10/23/2025 | 10/24/2025 01:00 am | 10/24/2025 01:00 am | Findings - Cancel / Service by Un-authorize, Recommendation - Cancel / Service by Un-authorize, Repair Done - Cancel / Service by Un-authorize | Com2 | E-mail
CEB-00010710 | 10/23/2025 | 09:32 am - 09:33 am | DINOY | GAB Appliance Service Center | Unit 5 THP Building, National Hi-Way, , Pitogo Consolacion Cebu, CONSOLACION, Cebu |  | n/a |  |  | SP | WI | COS | Sales of Parts |  |  | 1 | 10/23/2025 | 10/23/2025 01:00 am | 10/23/2025 01:00 am | Findings - SOP, Recommendation - SOP, Repair Done - SOP | Com1 | Customer Lounge
CEB-00010711 | 10/23/2025 | 09:34 am - 09:34 am | DINOY | GAB Appliance Service Center | Unit 5 THP Building, National Hi-Way, , Pitogo Consolacion Cebu, CONSOLACION, Cebu |  | n/a |  |  | SP | WI | COS | Sales of Parts |  |  | 1 | 10/23/2025 | 10/23/2025 01:00 am | 10/23/2025 01:00 am | Findings - SOP, Recommendation - SOP, Repair Done - SOP | Com1 | Customer Lounge
CEB-00010712 | 10/23/2025 | 09:42 am - 09:42 am | DINOY | GAB Appliance Service Center | Unit 5 THP Building, National Hi-Way, , Pitogo Consolacion Cebu, CONSOLACION, Cebu |  | KAG-110RSINV |  |  | SP | WI | COS | Sales of Parts |  |  | 1 | 10/23/2025 | 10/23/2025 01:00 am | 10/23/2025 01:00 am | Findings - SOP, Recommendation - SOP, Repair Done - SOP | Com1 | Customer Lounge
CEB-00010713 | 10/23/2025 | 09:53 am - 09:54 am | DINOY | United Multi System Solutions Inc. | 208 LK Bldg., , , Bgry.Subangdaku, MANDAUE CITY, Cebu |  | n/a |  |  | SP | WI | COS | Sales of Parts |  |  | 1 | 10/23/2025 | 10/23/2025 01:00 am | 10/23/2025 01:00 am | Findings - SOP, Recommendation - SOP, Repair Done - SOP | Com1 | Customer Lounge
CEB-00010714 | 10/23/2025 | 11:19 am - 11:19 am | DINOY | H-Advance Ref. and Airconditioning Repair & Services | , , , Poblacion, Carcar Cebu, CITY OF CARCAR, Cebu | 0942-2426668 | n/a |  |  | SP | WI | COS | Sales of Parts |  |  | 1 | 10/23/2025 | 10/23/2025 01:00 am | 10/23/2025 01:00 am | Findings - SOP, Recommendation - SOP, Repair Done - SOP | Com1 | Customer Lounge
CEB-00010715 | 10/23/2025 | 01:46 pm - 01:46 pm | DINOY | Umbac, Ephraim Cris | , Purok 3 Rosas, , Bagacay, DUMAGUETE CITY (Capital), Negros Oriental | 0927-5632301 | KSG-IWF-10WFY-8K1M32-I |  | ABENSON INC. | INST | DC | C | For Installation | GAB Appliance Service Center - Cebu |  | 1 | 10/14/2025 | 10/18/2025 10:00 am | 10/18/2025 02:00 pm | Findings - For Installation, Recommendation - For Installation, Repair Done - Installation SAC Done | Com1 | E-mail
CEB-00010716 | 10/23/2025 | 01:46 pm - 01:47 pm | DINOY | Montano, Kathrina Joyce | , block 5 Lot 14 , PHHC, Brgy. 73, TACLOBAN CITY (Capital), Leyte | 0939-9063080 | KSG-IWF-30WFY-8K1M32-I |  | RL APPLIANCE | INST | DC | C | For Installation | GAB Appliance Service Center - Cebu |  | 1 | 10/14/2025 | 10/14/2025 10:00 am | 10/14/2025 02:00 pm | Findings - For Installation, Recommendation - For Installation, Repair Done - Installation SAC Done | Com1 | E-mail
CEB-00010717 | 10/23/2025 | 01:47 pm - 01:47 pm | DINOY | Dealagdon, Maria Rhodora | Camomot St., , , Poblacion 1, CEBU CITY (Capital), Cebu | 0906-0555293 | KSM-IW10-WCT10M1M32 |  | ASIAN HOMES | INST | DC | C | For Installation | H-A Ref. and Airconditioning Repair & Services |  | 2 | 2025-11-10 | 2025-11-10 | 2025-11-10 | Findings - for installation, Recommendation - Install the unit, Repair Done - Installation of Class A Unit | Com1 | E-mail
CEB-00010718 | 10/23/2025 | 02:35 pm - 02:36 pm | DINOY | Lao, Nelson Lim | Eagle Ridge Estate Subd., , , Guadalupe, CEBU CITY (Capital), Cebu | 0920-4199000 | KSM-IW10-WCT10M1M32 |  | ASIAN HOMES | INST | DC | C | For Installation | H-A Ref. and Airconditioning Repair & Services |  | 1 | 10/16/2025 | 10/16/2025 12:00 am | 10/16/2025 12:00 am | Findings - for installation, Recommendation - Install the unit, Repair Done - Installation of Class A Unit | Com1 | E-mail
CEB-00010719 | 10/23/2025 | 02:36 pm - 02:36 pm | DINOY | Malinao, Fe | Meredian Hotel, , , Mabolo, CEBU CITY (Capital), Cebu | 0923-5597159 | KSG-IWF-30WFY-8K1M32-I |  | ASIAN HOMES | INST | DC | C | For Installation | H-A Ref. and Airconditioning Repair & Services |  | 1 | 10/16/2025 | 10/16/2025 12:00 am | 10/16/2025 12:00 am | Findings - for installation, Recommendation - Install the unit, Repair Done - Installation of Class A Unit | Com1 | E-mail
CEB-00010720 | 10/23/2025 | 02:36 pm - 02:37 pm | DINOY | Noval, Anna | , , , Looc Poblacion, LILOAN, Cebu | 0991-6530945 | KSM-IW10-WCT10M1M32 |  | ASIAN HOMES | INST | DC | C | For Installation | H-A Ref. and Airconditioning Repair & Services |  | 1 | 10/17/2025 | 10/17/2025 12:00 am | 10/17/2025 12:00 am | Findings - For Installation, Recommendation - Install the unit, Repair Done - Installation of brand new unit | Com1 | E-mail
CEB-00010721 | 10/23/2025 | 02:40 pm - 02:41 pm | DINOY | Cadism, Richard | , , , Tungkop, MINGLANILLA, Cebu | 0935-5352164 | KSM-IW10-WCT10M1M32 |  | ASIAN HOMES | INST | DC | C | For Installation | H-A Ref. and Airconditioning Repair & Services |  | 1 | 10/17/2025 | 10/17/2025 12:00 am | 10/17/2025 12:00 am | Findings - For Installation, Recommendation - Install the unit, Repair Done - Installation of brand new unit | Com1 | E-mail
CEB-00010722 | 10/23/2025 | 02:43 pm - 02:43 pm | DINOY | SILVANO, EVANGELINE N/A | n/a, n/a, n/a, LIMBUAN DAKO, TANAUAN, LEYTE | 0916-4284180 | KSM-IW15-WCT10M1M32 |  | ROBINSONS | INST | DC | C | For Installation | Carl Electronics and Refrigeration | PALO- CARL ELECTRONICS BRANCH TEAM | 1 | 10/18/2025 | 10/18/2025 12:00 am | 10/18/2025 12:00 am | Findings - for installation, Recommendation - new unit for installation, Repair Done - Installation complete | Com1 | E-mail
CEB-00010723 | 10/23/2025 | 02:45 pm - 02:45 pm | DINOY | SILVANO, EVANGELINE n/a | n/a, N/A, n/a, LIMBUAN DAKO, TANAUAN, LEYTE | 0916-4284180 | KSM-IW15-WCT10M1M32 |  | ROBINSONS | INST | DC | C | For Installation | Carl Electronics and Refrigeration | PALO-CARL ELECTRONICS BRANCH TEAM | 1 | 10/18/2025 | 10/18/2025 12:00 am | 10/18/2025 12:00 am | Findings - for installation, Recommendation - new unit for installation, Repair Done - Installation complete | Com1 | E-mail
CEB-00010724 | 10/23/2025 | 02:53 pm - 02:53 pm | DINOY | Gemson Marketing | n/a, Real St., n/a, Poblacion, TAFT, Eastern Samar | 0936-9903517 | KWD-BLC-3088S |  | RL APPLIANCE | TS | DC | W | Not Heating | Carl Electronics and Refrigeration |  | 1 | 10/22/2025 | 10/22/2025 12:00 am | 10/22/2025 12:00 am | Findings - no hot & cold water , Recommendation - for system reprocess, Repair Done - recharging of freon & system reprocess | Com1 | E-mail
CEB-00010725 | 10/23/2025 | 02:53 pm - 02:53 pm | DINOY | Harmone Jay Naparota, Harmone Jay Naparota | , Purok cacao, , San Jose Ext., DUMAGUETE CITY (Capital), Negros Oriental | 0917-6519184 | KSM-IW10-WCT10M1M32 |  | ABENSON INC. | INST | DC | C | For Installation | GAB Appliance Service Center - Cebu |  | 1 | 10/21/2025 | 10/21/2025 09:00 am | 10/21/2025 02:00 pm | Findings - For Installation, Recommendation - For Installation, Repair Done - Installation SAC Done | Com1 | E-mail
CEB-00010726 | 10/23/2025 | 03:07 pm - 03:07 pm | DINOY | TESDA RO8 | n/a, Trece Martires St., n/a, Downtown Area, TACLOBAN CITY (Capital), LEYTE | 0936-6990351 | KWD-BLC-3088S |  | RL APPLIANCE | TS | DC | W | Water Leak | Carl Electronics and Refrigeration |  | 1 | 10/22/2025 | 10/22/2025 12:00 am | 10/22/2025 12:00 am | Findings - water leaking, Recommendation - customer demand unit replacement, Repair Done - check-up only | Com2 | E-mail
CEB-00010727 | 10/23/2025 | 03:07 pm - 03:08 pm | DINOY | Apindig, Sitie Mufaidah | Sangi, , , Tabunok, CITY OF TALISAY, Cebu | 0995-5863799 | KA-100MCARINV32 |  | ASIAN HOMES | TS | WI | W | Noisy | H-A Ref. and Airconditioning Repair & Services |  | 1 | 10/23/2025 | 10/23/2025 12:00 am | 10/23/2025 12:00 am | Findings - Def. Fan Motor / Noisy Sound, Recommendation - for replace parts, Repair Done - Check up Only | Com2 | Customer Lounge
CEB-00010728 | 10/23/2025 | 03:08 pm - 03:08 pm | DINOY | Qualey Properties Inc. | AS Fortuna, , , , CEBU CITY (Capital), Cebu | 0917-3294368 | KLG-SF40-WBR6H1M32-I |  | ASIAN HOMES | INST | DC | C | For Installation | H-A Ref. and Airconditioning Repair & Services |  | 2 | 10/23/2025 | 10/23/2025 12:00 am | 10/23/2025 12:00 am | Findings - for installation, Recommendation - Install the unit, Repair Done - Installation of Class A Unit | Com1 | E-mail
CEB-00010729 | 10/23/2025 | 03:14 pm - 03:16 pm | DINOY | Barrera, Maria Ritchell | , , , Bgry. bayawan Negros Oriental, DUMAGUETE CITY (Capital), cebu | 0917-3014050 | KCB-BLC-8859T |  | ROBINSONS | TS | DC | W | Others | GAB Appliance Service Center - Cebu |  | 1 | 10/20/2025 |  |  | Findings - , Recommendation - , Repair Done - |  | E-mail
CEB-00010730 | 10/24/2025 | 01:12 pm - 01:12 pm | DINOY | H-Advance Ref. and Airconditioning Repair & Services | , , , Poblacion, Carcar Cebu, CITY OF CARCAR, Cebu | 0942-2426668 | n/a |  |  | SP | WI | COS | Sales of Parts |  |  | 1 | 10/24/2025 | 10/24/2025 01:00 am | 10/24/2025 01:00 am | Findings - SOP, Recommendation - SOP, Repair Done - SOP | Com1 | Customer Lounge
CEB-00010731 | 10/24/2025 | 03:34 pm - 03:34 pm | COTCOT | United Multi System Solutions Inc. | 208 LK Bldg., , , Bgry.Subangdaku, MANDAUE CITY, Cebu |  | n/a |  |  | SP | WI | COS | Sales of Parts |  |  | 1 | 10/24/2025 | 10/24/2025 01:00 am | 10/24/2025 01:00 am | Findings - SOP, Recommendation - SOP, Repair Done - SOP | Com1 | Customer Lounge
CEB-00010732 | 10/25/2025 | 08:10 am - 08:11 am | DINOY | K.L.K.A | , , , Bgry. bangkal, LAPU-LAPU CITY (OPON), Cebu | 0966-7424120 | n/a |  |  | SP | WI | COS | Sales of Parts |  |  | 1 | 10/25/2025 | 10/25/2025 01:00 am | 10/25/2025 01:00 am | Findings - SOP, Recommendation - SOP, Repair Done - SOP | Com1 | Customer Lounge
CEB-00010733 | 10/25/2025 | 08:45 am - 08:46 am | DINOY | Delgamo, Chanda | Malvar St., , , Sta. Cruz, BALAMBAN, Cebu | 0956-1864995 | KSM-IW25-WCT10M1M32 |  | ASIAN HOMES | INST | DC | C | For Installation | H-A Ref. and Airconditioning Repair & Services |  | 1 | 10/22/2025 | 10/22/2025 12:00 am | 10/22/2025 12:00 am | Findings - for installation, Recommendation - Install the unit, Repair Done - unit tested with normal operation | Com1 | E-mail
CEB-00010734 | 10/25/2025 | 08:46 am - 08:46 am | DINOY | Universal Feed Mill Corporation | N/A, N/A, N/A, TAYUD, CONSOLACION, CEBU | 0920-9512438 | KSG-IWF-30WFY-8K1M32-I |  | ASIAN HOMES | INST | DC | C | For Installation | Jel Refrigeration & Airconditioning Services |  | 1 | 10/23/2025 | 10/23/2025 09:00 am | 10/23/2025 04:00 pm | Findings - For installation, Recommendation - For install SAC, Repair Done - Installed SAC done | Com1 | E-mail
CEB-00010735 | 10/25/2025 | 08:46 am - 08:46 am | DINOY | Universal Feed Mill Corporation | N/A, N/A, N/A, TAYUD, CONSOLACION, CEBU | 0920-9512438 | KSG-IWF-30WFY-8K1M32-I |  | ASIAN HOMES | INST | DC | C | For Installation | Jel Refrigeration & Airconditioning Services |  | 1 | 10/23/2025 | 10/23/2025 09:00 am | 10/23/2025 04:00 pm | Findings - For installation, Recommendation - For install SAC, Repair Done - Installed SAC done | Com1 | E-mail
CEB-00010736 | 10/25/2025 | 09:05 am - 09:06 am | DINOY | Ponio, Albee Charis | , Lawrence st. 10/30, Be residences - - , Bgry. Lahug, CEBU CITY (Capital), cebu | 0915-0244505 | KA-150MCARINV32 |  | ABENSON INC. | TS | DC | W | Noisy | Coolshine Refrigeration & Aircon Services |  | 1 | 10/25/2025 |  |  |  |  | E-mail
CEB-00010737 | 10/25/2025 | 09:12 am - 09:12 am | DINOY | Accardo , Gary | , Tapon Norte A, , Bgry. San Jose , Negros Oriental, DUMAGUETE CITY (Capital), Cebu | 0948-5263073 | KSM-IW15-WCT10M1M32 |  | ABENSON INC. | INST | DC | C | For Installation | Coolshine Refrigeration & Aircon Services |  | 1 | 10/25/2025 | 2025-01-10 13:00 | 2025-01-10 01:05 | Findings - For installation of new unit, Recommendation - For installation, Repair Done - For installation SAC done, late controlled | Com1 | E-mail
CEB-00010738 | 10/25/2025 | 09:12 am - 09:13 am | DINOY | Accardo , Gary | , Tapon Norte A, , Bgry. San Jose , Negros Oriental, DUMAGUETE CITY (Capital), Cebu | 0948-5263073 | KSM-IW10-WCT10M1M32 |  | ABENSON INC. | INST | DC | C | For Installation | Coolshine Refrigeration & Aircon Services |  | 2 | 10/25/2025 | 2025-01-10 13:00 | 2025-01-10 01:00 | Findings - For installation of new unit, Recommendation - For installation, Repair Done - For installation SAC done, late controlled | Com1 | E-mail
CEB-00010739 | 10/25/2025 | 10:11 am - 10:12 am | DINOY | Boiser Construction Services | , , Asilo Dela Milagrosa , Bgry. Gorordo ave., CEBU CITY (Capital), Cebu | 0925-5028610 | KSM-IW20-WCT10M1M32 |  | ASIAN HOMES | INST | DC | C | For Installation | Jel Refrigeration & Airconditioning Services |  | 1 | 10/25/2025 | 2025-09-09 09:00 | 2025-09-09 16:00 | Findings - For installation, Recommendation - For install SAC, Repair Done - Installed SAC done, late controlled | Com1 | E-mail
CEB-00010740 | 10/25/2025 | 10:12 am - 10:13 am | DINOY | Boiser Construction Services | , , Asilo Dela Milagrosa , Bgry. Gorordo ave., CEBU CITY (Capital), Cebu | 0925-5028610 | KSM-IW20-WCT10M1M32 |  | ASIAN HOMES | INST | DC | C | For Installation | Jel Refrigeration & Airconditioning Services |  | 1 | 10/25/2025 | 2025-09-09 09:00 | 2025-09-09 16:00 | Findings - For installation, Recommendation - For install SAC, Repair Done - Installed SAC done, late controlled | Com1 | E-mail
CEB-00010741 | 10/25/2025 | 10:28 am - 10:28 am | DINOY | Gimperoso, Cathryn Kirby | , B10, L45 , Evissa Subd. - , Bgry. Calawisan, LAPU-LAPU CITY (OPON), cebu | 0995-0451552 | KSM-IW15-WCT10M1M32 |  | ABENSON INC. | INST | DC | C | For Installation | Coolshine Refrigeration & Aircon Services |  | 1 | 10/25/2025 | 2025-11-10 13:00 | 2025-11-10 01:00 | Findings - For installation of new unit, Recommendation - For installation, Repair Done - FOR INSTALLATION SAC DONE | Com1 | E-mail
CEB-00010742 | 10/25/2025 | 10:40 am - 10:42 am | DINOY | Longos, Marie Karina | unit 201 2F, Ga bldg., archbishop reyes ave., Marie Karina Longos 09688968803 , Bgry. Lahug, CEBU CITY (Capital), cebu | 0968-8968803 | KSG-IWF-30WFY-8K1M32-I |  | ABENSON INC. | INST | DC | C | For Installation | Coolshine Refrigeration & Aircon Services |  | 2 | 10/25/2025 | 10/16/2025 01:00 am | 10/16/2025 01:00 am | Findings - FOR INSTALLATION OF NEW UNIT, Recommendation - FOR INSTALLATION, Repair Done - For installation SAC done | Com1 | E-mail
CEB-00010743 | 10/25/2025 | 02:33 pm - 02:33 pm | DINOY | Santamaria, Marilag | , Purok 4, , Boloc-boloc, SIBULAN, Negros Oriental | 0962-3991022 | KSM-IW25-WCT10M1M32 |  | ABENSON INC. | INST | DC | C | For Installation | GAB Appliance Service Center - Cebu |  | 1 | 10/23/2025 | 10/23/2025 09:00 am | 10/23/2025 03:00 pm | Findings - For Installation, Recommendation - For Installation, Repair Done - Installation SAC Done | Com1 | E-mail
CEB-00010744 | 10/25/2025 | 02:33 pm - 02:34 pm | DINOY | Santamaria, Marilag | , Purok 4, , Boloc-boloc, SIBULAN, Negros Oriental | 0962-3991022 | KSG-IWF-15WFY-8K1M32-I |  | ABENSON INC. | INST | DC | C | For Installation | GAB Appliance Service Center - Cebu |  | 1 | 10/23/2025 | 10/23/2025 09:00 am | 10/23/2025 03:00 pm | Findings - For Installation, Recommendation - For Installation, Repair Done - Installation SAC Done | Com1 | E-mail
CEB-00010745 | 10/25/2025 | 03:09 pm - 03:09 pm | DINOY | Belongits Residences, - - | Belongits Residences, Avocado St., Avocado St., Kalunasan, CEBU CITY (Capital), REGION 7 - CENTRAL VISAYAS | 0925-5025408 | KSM-IW15-WCT10M1M32 |  | ROBINSONS | INST | DC | C | For Installation | Coolshine Refrigeration & Aircon Services | unit is okay | 1 | 10/21/2025 | 10/21/2025 12:00 am | 10/21/2025 12:00 am | Findings - For installation of new unit, Recommendation - For installation, Repair Done - For installation SAC done | Com1 | E-mail
CEB-00010746 | 10/25/2025 | 03:13 pm - 03:13 pm | COTCOT | Electroworx Services | , , , Cebu, CEBU CITY (Capital), Cebu | 518-6567 | n/a |  |  | SP | WI | COS | Sales of Parts |  |  | 1 | 10/25/2025 | 10/25/2025 01:00 am | 10/25/2025 01:00 am | Findings - SOP, Recommendation - SOP, Repair Done - SOP | Com1 | Customer Lounge
CEB-00010747 | 10/25/2025 | 03:35 pm - 03:36 pm | DINOY | Jerbans Ventures Inc. | , , , Sanciangko St., CEBU CITY (Capital), Cebu | 0991-4142096 | KSM-IW10-WCT10M1M32 |  | SUB-Asian Home - Smart Zone Appliance Square | INST | DC | C | For Installation | H-A Ref. and Airconditioning Repair & Services |  | 2 | 10/24/2025 | 10/24/2025 12:00 am | 10/24/2025 12:00 am | Findings - for installation, Recommendation - Install the unit, Repair Done - Installation of Class A Unit | Com1 | E-mail
CEB-00010748 | 10/25/2025 | 03:36 pm - 03:37 pm | DINOY | Tuico, Jonas | B13 L40 Park Place 2, Pueblo de Oro, , Babag 2, LAPU-LAPU CITY (OPON), Cebu | 0956-0361745 | KSM-IW20-WCT10M1M32 |  | ASIAN HOMES | INST | DC | C | For Installation | H-A Ref. and Airconditioning Repair & Services |  | 1 | 10/24/2025 | 10/24/2025 12:00 am | 10/24/2025 12:00 am | Findings - for installation, Recommendation - Install the unit, Repair Done - Installation of Class A Unit | Com1 | E-mail
CEB-00010749 | 10/25/2025 | 03:45 pm - 03:46 pm | DINOY | Tacloban Dialysis Care Inc. | , Real St., , Pampango District, TACLOBAN CITY (Capital), LEYTE | 0995-7157969 | KLG-SF40-WBR6H1M32-I |  | RL APPLIANCE | TS | DC | W | Not Cooling | GAB Appliance Service Center - Cebu |  | 1 | 2025-03-10 | 2025-03-10 | 2025-03-10 | Findings - , Recommendation - , Repair Done - |  | E-mail
CEB-00010750 | 10/27/2025 | 08:21 am - 08:22 am | DINOY | The First Family App Circle Corp. -Park Mall Branch | , , , Bgry. Mandaue Pob, MANDAUE CITY, cebu | 0917-8365848 | KWD-BLC-2088B |  | THE FIRST FAMILY APPLIANCE | FPO | FD | W | Others |  |  | 1 | 10/27/2025 |  |  |  |  | E-mail
CEB-00010751 | 10/27/2025 | 08:23 am - 08:23 am | DINOY | Echo Electrical App (Banilad) | , , , Bgry. banilad, CEBU CITY (Capital), Cebu | 2326628 | KWD-BLC-2088B |  | ECHO ELECTRICAL SUPPLY | FPO | FD | W | Others |  |  | 1 | 10/27/2025 |  |  |  |  | E-mail
CEB-00010752 | 10/27/2025 | 01:00 pm - 01:01 pm | DINOY | Abello, Reina | , , , Liloan Branch, LILOAN, Cebu | 0999-7315811 | KCB-BLC-8859T |  | ASIAN HOMES | TS | DC | C | Malfunctioning | H-A Ref. and Airconditioning Repair & Services |  | 2 | 10/27/2025 | 10/27/2025 01:00 am | 10/27/2025 01:00 am | Findings - def. sensor, Recommendation - for replace parts, Repair Done - replaced new sensor | Com1 | E-mail
CEB-00010753 | 10/27/2025 | 02:01 pm - 02:03 pm | DINOY | Jel Refrigeration & Airconditioning Services | , 1363 st., , Brgy.Pooc Talisay, CEBU CITY (Capital), Cebu | 2737824 | n/a |  |  | SP | WI | COS | Sales of Parts |  |  | 1 | 10/27/2025 | 10/27/2025 01:00 am | 10/27/2025 01:00 am | Findings - SOP, Recommendation - SOP, Repair Done - SOP | Com1 | Customer Lounge
CEB-00010754 | 10/27/2025 | 03:13 pm - 03:14 pm | DINOY | Yoyo, Merilo | , , Summit Galleria, Bgry. Tejero, CEBU CITY (Capital), cebu | 0917-7051149 | KAG-145WCINV |  | ASIAN HOMES | TS | FD | C | Not Cooling | H-A Ref. and Airconditioning Repair & Services |  | 1 | 10/27/2025 | 10/27/2025 03:00 pm | 10/27/2025 04:00 pm | Findings - Def. Pcb Assy., Recommendation - For Replaced Pcb assy. , Repair Done - Replaced Pcb Assy./ Unit Ok |  | E-mail
CEB-00010755 | 10/27/2025 | 03:26 pm - 03:28 pm | COTCOT | Cebu Manila Water Dev. Inc. | Acc Tower , Business Park , . Cebu Manila Water Dev. Inc. 09178037135 , Bgry. Ayala, CEBU CITY (Capital), cebu | 0917-8037135 | KCB-BLC-8859T |  | ASIAN HOMES | TS | DC | W | Can't Dispense Water | H-A Ref. and Airconditioning Repair & Services |  | 2 | 10/27/2025 |  |  |  |  | E-mail
CEB-00010756 | 10/27/2025 | 03:43 pm - 03:43 pm | DINOY | BAQUE, THOMPSON | N/A, ZONE 1, N/A, DISTRICT 1, BABATNGON, LEYTE | 0907-1287243 | KSM-IW10-WCT10M1M32 |  | ROBINSONS | INST | DC | C | For Installation | Carl Electronics and Refrigeration | PALO- CARL ELECTRONIC BRANCHTEAMS | 1 | 10/24/2025 | 10/27/2025 12:00 am | 10/27/2025 12:00 am | Findings - for installation, Recommendation - new unit for installation, Repair Done - Installation complete | Com1 | E-mail
CEB-00010757 | 10/27/2025 | 03:45 pm - 03:47 pm | DINOY | Abello, Reina | , , , Liloan Branch, LILOAN, Cebu | 0999-7315811 | KCB-BLC-8859T |  | ASIAN HOMES | TS | DC | W | Not Collecting Water | H-A Ref. and Airconditioning Repair & Services |  | 1 | 10/27/2025 | 10/27/2025 12:00 am | 10/27/2025 12:00 am | Findings - def. sensor, Recommendation - for replace parts, Repair Done - Check up Only | Com2 | E-mail
CEB-00010758 | 10/27/2025 | 04:08 pm - 04:10 pm | DINOY | Amiel Cake Shop | , Rizal St., Sawang, Sawang, CARIGARA, Leyte | 0 | KSM-IW20-WCT10M1M32 |  | RL APPLIANCE | INST | DC | C | For Installation | GAB Appliance Service Center - Cebu |  | 1 | 10/27/2025 | 10/27/2025 10:00 am | 10/27/2025 02:00 pm | Findings - For Installation, Recommendation - For Installation, Repair Done - Installation SAC Done | Com1 | E-mail
CEB-00010759 | 10/27/2025 | 04:10 pm - 04:10 pm | DINOY | Maraya, Jesusa | , Penalosa St., Dapdap, Dapdap, ALANGALANG, Leyte | 0995-0276129 | KLG-IF40-5G1M32-I |  | RL APPLIANCE | INST | DC | C | For Installation | GAB Appliance Service Center - Cebu |  | 1 | 10/27/2025 | 10/28/2025 10:30 am | 10/28/2025 04:00 pm | Findings - For Installation, Recommendation - For Installation, Repair Done - Installation FAC Done |  | E-mail
CEB-00010760 | 10/27/2025 | 04:25 pm - 04:25 pm | DINOY | Chrismark Gen. Merchandise | , , , Gorordo Ave., CEBU CITY (Capital), Cebu | 0995-8345176 | KSM-IW20-WCT10M1M32 |  | SUB-Asian Home - Smart Zone Appliance Square | INST | DC | C | For Installation | H-A Ref. and Airconditioning Repair & Services |  | 2 | 10/26/2025 | 10/26/2025 12:00 am | 10/26/2025 12:00 am | Findings - for installation, Recommendation - Install the unit, Repair Done - Installation of Class A Unit | Com1 | E-mail
CEB-00010761 | 10/27/2025 | 04:26 pm - 04:26 pm | DINOY | Baker, Tony | , , , Junob, DUMAGUETE CITY (Capital), Negros Oriental | 0949-8304915 | KSM-IW10-WCT10M1M32 |  | ROBINSONS | INST | DC | C | For Installation | GAB Appliance Service Center - Cebu |  | 1 | 10/27/2025 | 10/27/2025 10:00 am | 10/27/2025 02:00 pm | Findings - For Installation, Recommendation - For Installation, Repair Done - Installation SAC Done | Com1 | E-mail
CEB-00010762 | 10/27/2025 | 04:29 pm - 04:29 pm | DINOY | Torres, Raymond | , Phase3 Block23 lot9 , Richwood Homes, Isugan, BACONG, Negros Oriental | 0906-3230578 | KSM-IW10-WCT10M1M32 |  | ROBINSONS | INST | DC | C | For Installation | GAB Appliance Service Center - Cebu |  | 1 | 10/27/2025 | 10/27/2025 08:00 am | 10/27/2025 01:00 pm | Findings - For Installation, Recommendation - For Installation, Repair Done - Installation SAC Done | Com1 | E-mail
CEB-00010763 | 10/28/2025 | 09:28 am - 09:29 am | DINOY | Lomocso, Sheremie | , Dinataga st., , Bgry. Pob. Lapu-lapu, LAPU-LAPU CITY (OPON), cebu | 0936-9034711 | KA-100MCARINV32 |  | VIC IMPERIAL APP | TS | DC | W | Not Cooling | KLKA Air-conditioning and Refrigeration Services |  | 1 | 10/28/2025 | 10/28/2025 01:00 am | 10/28/2025 01:00 am | Findings - def. Fan Motor, Recommendation - For Replace Fan Motor, , Repair Done - Check up Only | Com2 | E-mail
CEB-00010764 | 10/28/2025 | 09:29 am - 09:29 am | DINOY | Lomocso, Sheremie | , Dinataga st., , Bgry. Pob. Lapu-lapu, LAPU-LAPU CITY (OPON), cebu | 0936-9034711 | KA-100MCARINV32 |  | VIC IMPERIAL APP | TS | DC | W | Not Cooling | KLKA Air-conditioning and Refrigeration Services |  | 2 | 10/28/2025 | 10/28/2025 01:00 pm | 10/28/2025 02:00 pm | Findings - def. Fan Motor, Recommendation - For Replaced Fan Motor, Repair Done - Replaced Fan Motor / Units Is Ok | Com1 | E-mail
CEB-00010765 | 10/28/2025 | 10:21 am - 10:22 am | DINOY | Jel Refrigeration & Airconditioning Services | , 1363 st., , Brgy.Pooc Talisay, CEBU CITY (Capital), Cebu | 2737824 | n/a |  |  | SP | WI | COS | Sales of Parts |  |  | 1 | 10/28/2025 | 10/28/2025 01:00 am | 10/28/2025 01:00 am | Findings - SOP, Recommendation - SOP, Repair Done - SOP | Com1 | Customer Lounge
CEB-00010766 | 10/28/2025 | 11:10 am - 11:11 am | DINOY | Chrismark Gen. Merchandise | , , , Gorordo Ave., CEBU CITY (Capital), Cebu | 0995-8345176 | KLG-IF40-5G1M32-I |  | SUB-Asian Home - Smart Zone Appliance Square | INST | DC | C | For Installation | H-A Ref. and Airconditioning Repair & Services |  | 2 | 10/24/2025 | 10/24/2025 12:00 am | 10/24/2025 12:00 am | Findings - for installation, Recommendation - Install the unit, Repair Done - Installation of Class A Unit | Com1 | E-mail
CEB-00010767 | 10/28/2025 | 11:11 am - 11:12 am | DINOY | Chrismark Gen. Merchandise | , , , Gorordo Ave., CEBU CITY (Capital), Cebu | 0995-8345176 | KLG-IF40-5G1M32-I |  | SUB-Asian Home - Smart Zone Appliance Square | INST | DC | C | For Installation | H-A Ref. and Airconditioning Repair & Services |  | 2 | 10/24/2025 | 10/24/2025 12:00 am | 10/24/2025 12:00 am | Findings - for installation, Recommendation - Install the unit, Repair Done - Installation of Class A Unit | Com1 | E-mail
CEB-00010768 | 10/28/2025 | 02:05 pm - 02:05 pm | DINOY | Hotel Consuelo | , Veteranos St., , Bgry. 46 Avenida, TACLOBAN CITY (Capital), Cebu | 0917-6283588 | n/a |  |  | SP | WI | COS | Sales of Parts |  |  | 1 | 10/28/2025 | 10/28/2025 01:00 am | 10/28/2025 01:00 am | Findings - SOP, Recommendation - SOP, Repair Done - SOP | Com1 | Customer Lounge
CEB-00010769 | 10/28/2025 | 02:27 pm - 02:27 pm | DINOY | JBD Airconditioning Service | , , , Bgry.Ubay Bohol, CEBU CITY (Capital), Cebu | 095-02686608 | n/a |  |  | SP | WI | COS | Sales of Parts |  |  | 1 | 10/28/2025 | 10/28/2025 01:00 am | 10/28/2025 01:00 am | Findings - SOP, Recommendation - SOP, Repair Done - SOP | Com1 | Customer Lounge
CEB-00010770 | 10/28/2025 | 02:32 pm - 02:32 pm | DINOY | H-Advance Ref. and Airconditioning Repair & Services | , , , Poblacion, Carcar Cebu, CITY OF CARCAR, Cebu | 0942-2426668 | n/a |  |  | SP | WI | COS | Sales of Parts |  |  | 1 | 10/28/2025 | 10/28/2025 01:00 am | 10/28/2025 01:00 am | Findings - SOP, Recommendation - SOP, Repair Done - SOP | Com1 | E-mail
CEB-00010771 | 10/29/2025 | 08:21 am - 08:21 am | DINOY | Roa, Junard | , , , Lahug, CEBU CITY (Capital), Cebu | 0917-1199746 | KWD-BLC-2088B |  | ASIAN HOMES | TS | DC | W | Check - Up Only | H-A Ref. and Airconditioning Repair & Services |  | 1 | 10/28/2025 | 10/28/2025 12:00 am | 10/28/2025 12:00 am | Findings - No defect found, Recommendation - for check up, Repair Done - Check up Only |  | E-mail
CEB-00010772 | 10/29/2025 | 08:22 am - 08:22 am | DINOY | Abella, Maria Eulanda | , 515C Tres de Abril St. , , Bgry. Labangon, CEBU CITY (Capital), cebu | 0917-6287744 | KSM-IW20-WCT10M1M32 |  | ASIAN HOMES | INST | DC | C | For Installation | H-A Ref. and Airconditioning Repair & Services |  | 1 | 10/27/2025 | 10/27/2025 12:00 am | 10/27/2025 12:00 am | Findings - for installation, Recommendation - Install the unit, Repair Done - Installation of Class A Unit |  | E-mail
CEB-00010773 | 10/29/2025 | 09:55 am - 09:55 am | DINOY | K.L.K.A | , , , Bgry. bangkal, LAPU-LAPU CITY (OPON), Cebu | 0966-7424120 | n/a |  |  | SP | WI | COS | Sales of Parts |  |  | 1 | 10/29/2025 | 10/29/2025 01:00 am | 10/29/2025 01:00 am | Findings - SOP, Recommendation - SOP, Repair Done - SOP | Com1 | Customer Lounge
CEB-00010774 | 10/29/2025 | 10:24 am - 10:25 am | DINOY | Rivera, Roy Pelayo | B-1, Lot 13, Kassel Subdivision, Tacloban, TACLOBAN CITY (Capital), Leyte | 0951-8084021 | KAM-95CMC32 |  | VIC IMPERIAL APP | TS | FD | C | Not Cooling | Carl Electronics and Refrigeration | PALO-CARL ELECTRONICS TEAM BRANCH | 1 | 10/29/2025 | 10/29/2025 12:00 am | 10/29/2025 12:00 am | Findings - Def.compressor, Recommendation - , Repair Done - |  | E-mail
CEB-00010775 | 10/29/2025 | 11:09 am - 11:09 am | DINOY | Coolshine Ref and Service | , , , Bgry. Tuyan , CITY OF NAGA, Cebu | 3847616 | n/a |  |  | SP | WI | COS | Sales of Parts |  |  | 1 | 10/29/2025 | 10/29/2025 01:00 am | 10/29/2025 01:00 am | Findings - SOP, Recommendation - SOP, Repair Done - SOP | Com1 | Customer Lounge
CEB-00010776 | 10/29/2025 | 11:22 am - 11:23 am | DINOY | H-Advance Ref. and Airconditioning Repair & Services | , , , Poblacion, Carcar Cebu, CITY OF CARCAR, Cebu | 0942-2426668 | n/a |  |  | SP | WI | COS | Sales of Parts |  |  | 1 | 10/29/2025 | 10/29/2025 01:00 am | 10/29/2025 01:00 am | Findings - SOP, Recommendation - SOP, Repair Done - SOP | Com1 | Customer Lounge
CEB-00010777 | 10/29/2025 | 01:56 pm - 01:56 pm | DINOY | Cebu Peoples Multi-Purpose | , , , Bgry.Cebu, CEBU CITY (Capital), cebu | 0917-2461208 | KSM-IW20AE-5G1M |  |  | SP | WI | COS | Sales of Parts |  |  | 1 | 10/29/2025 | 10/29/2025 01:00 am | 10/29/2025 01:00 am | Findings - SOP, Recommendation - SOP, Repair Done - SOP | Com1 | Customer Lounge
CEB-00010778 | 10/29/2025 | 02:39 pm - 02:41 pm | DINOY | Borata, Maribel | N/A, N/A, N/A, Eastern Samar, ARTECHE, Eastern Samar | 0931-933040 | KCB-BLC-8859T |  | ROBINSONS | TS | DC | W | Dead Set | Carl Electronics and Refrigeration | PALO- CARL ELECTRONICS TEAM BRANCH | 1 | 10/29/2025 | 10/29/2025 12:00 am | 10/29/2025 12:00 am | Findings - dead set/no power, Recommendation - request for board and pump, Repair Done - check-up only |  | E-mail
CEB-00010779 | 10/29/2025 | 02:42 pm - 02:44 pm | DINOY | Casas, Lindsy | Bldng. 6 unit 215 Urban Deca Homes, Hernan Cortes, , , CEBU CITY (Capital), Cebu | 0920-9469284 | KCB-BLC-8859T |  | ASIAN HOMES | TS | DC | W | Dripping/ Water Leak | H-A Ref. and Airconditioning Repair & Services |  | 1 | 2025-10-10 | 2025-10-10 | 2025-10-10 | Findings - Leaking hose, Recommendation - need to fix, Repair Done - Fixed the hose |  | E-mail
CEB-00010780 | 10/29/2025 | 02:45 pm - 02:45 pm | DINOY | Casas, Lindsy | Bldng. 6 unit 215 Urban Deca Homes, Hernan Cortes, , , CEBU CITY (Capital), Cebu | 0920-9469284 | KCB-BLC-8859T |  | ASIAN HOMES | TS | DC | W | Not Cooling | H-A Ref. and Airconditioning Repair & Services |  | 1 | 10/29/2025 | 10/29/2025 01:00 am | 10/29/2025 01:00 am | Findings - def. sensor, Recommendation - for replace parts, Repair Done - Replaced Sensor |  | E-mail
CEB-00010781 | 10/29/2025 | 03:34 pm - 03:39 pm | DINOY | Donio, Jonathan | , B25 L18, Deca Homes, Brgy. Concepcion, ORMOC CITY, Leyte | 0948-0495135 | KAG-75WCINV |  | VIC IMPERIAL APP | TS | FD | P | Not Cooling | KLK Aircon and Refrigeration Services |  | 2 | 10/29/2025 |  |  |  |  | E-mail
CEB-00010782 | 10/30/2025 | 08:35 am - 08:36 am | DINOY | SOLIDMARK ( CEBU BRANCH) | , , , Bgry. Lahug, CEBU CITY (Capital), Cebu | 0917-7732202 | KSM-IW20-WCT10M1M32 |  |  | FPO | FD | C | Others |  |  | 2 | 10/30/2025 |  |  |  |  | E-mail
CEB-00010783 | 10/30/2025 | 12:09 pm - 12:10 pm | DINOY | Dinoy, Lou Adrian Padilla | , Bkl 21 Lot 9, Casa Mira, Bgry. Talisay, CEBU CITY (Capital), Cebu | 0921-2604092 | KSM-IW20-9L1M-I |  | KMI | TS | DC | W | No Swing Function | H-A Ref. and Airconditioning Repair & Services |  | 1 | 10/30/2025 | 10/31/2025 01:00 am | 10/31/2025 01:00 am | Findings - Def, Swing Motor, Recommendation - For Replaced Swing Motor, Repair Done - Replaced Swing Motor unit is oke |  | E-mail
CEB-00010784 | 10/30/2025 | 12:31 pm - 12:32 pm | DINOY | Gakken Philippines | , , Castilex, Bgry. Cabancalan, CEBU CITY (Capital), cebu | 0997-7934392 | KEA-25BWR |  | THE FIRST FAMILY APPLIANCE | TS | DC | W | Not Collecting Water | Carl Electronics and Refrigeration |  | 1 | 10/30/2025 | 10/30/2025 01:00 am | 10/30/2025 01:00 am | Findings - Def, Pcb assy , Recommendation - For Replaced Pcb assy. , Repair Done - Check up Only | Com2 | E-mail
CEB-00010785 | 10/30/2025 | 12:33 pm - 12:34 pm | DINOY | Gakken Philippines | , , Castilex, Bgry. Cabancalan, CEBU CITY (Capital), cebu | 0997-7934392 | KEA-25BWR |  | THE FIRST FAMILY APPLIANCE | TS | DC | W | Not Collecting Water | KLKA Air-conditioning and Refrigeration Services |  | 1 | 10/30/2025 | 10/30/2025 01:00 pm | 10/30/2025 02:00 pm | Findings - Def. Pump Not Working, Recommendation - For Replaced Pump, Repair Done - Replaced Pump Motor / Units Is ok |  | E-mail
CEB-00010786 | 10/30/2025 | 02:15 pm - 02:16 pm | DINOY | Del Mar, Mario P. | , Purok Pagatpat Uno, Suba, Bgry. Purok Pagatpat, LILOAN, Cebu | 0932-7898055 | KAG-100WCINV |  | ECHO ELECTRICAL SUPPLY | GC | FD | C | For GC | KLKA Air-conditioning and Refrigeration Services |  | 1 | 2025-03-11 |  |  |  |  | E-mail
CEB-00010787 | 10/30/2025 | 03:52 pm - 03:53 pm | DINOY | K.L.K.A | , , , Bgry. bangkal, LAPU-LAPU CITY (OPON), Cebu | 0966-7424120 | n/a |  |  | SP | WI | COS | Sales of Parts |  |  | 1 | 10/30/2025 | 10/30/2025 01:00 am | 10/30/2025 01:00 am | Findings - SOP, Recommendation - SOP, Repair Done - SOP | Com1 | Customer Lounge
Legend:
PAO - Pick-up Admin Orders
DPO - Deliver of Dealer P.O.
DEF - Change Item
FAB - Fabrication of Bracket
CL - Copper Tube Claims
DEL - Delivery of Unit / Accessories
DSM - Dismantling
FPO - Unit for Pull-out
GC - General Cleaning
INST - Installation
MRK - Markings
PV - Project Visit
REP - Replacement as per dealer request
REPL - Replacement of Unit
SCF - Deliver / Pull-out of Scaffolding
SP - Sale of Parts
STU - Start-up
SVEY - Survey
TS - Troubleshooting
DIS - Dispose Parts
PGC - Pumpdown General Cleaning
Summary Per Job Type
JOB CLASS | CC | WI | BI | PO | FD | DC | RD | RM | TP | TOTAL
PAO | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DPO | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DEF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FAB | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CL | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DEL | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DSM | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FPO | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 3
GC | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 2
INST | 0 | 0 | 0 | 0 | 0 | 79 | 0 | 0 | 0 | 79
MRK | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PV | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REP | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REPL | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SCF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SP | 0 | 51 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 51
STU | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SVEY | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1
TS | 0 | 1 | 1 | 0 | 7 | 56 | 0 | 1 | 0 | 66
DIS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PGC | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL | 0 | 52 | 1 | 0 | 12 | 136 | 0 | 1 | 0 | 202