## sjr_masterlist (18)
FROM : | 2025-01-09 | TO : | 09-30-2025
Location Warehouse : | DAVAO BRANCH
User : | All User
SJR No. | SJR Date | SJR Start/End Time | CSR Code | Customer Name | Address | Contact No. | Model | Relayed By | Dealer | Job Class | Job Type | Wty Type | Complaint | Tech Name | SJR Notes | No. of Visit | Promised Date | Date Attended | Date Finished | Repair Done | Job Status | Call Origin
DAV-00005221 | 2025-01-09 | 03:54 pm - 03:54 pm | DOMINGUEZ | On-Aire Airconditioning Trading | , , , , DAVAO CITY, DAVAO DELSUR | 0912-9659390 | n/a |  |  | SP | WI | COS | Sales of Parts |  |  | 1 | 2025-01-09 | 2025-01-09 16:00 | 2025-01-09 16:00 | Sale of Parts | Com1 | Customer Lounge
DAV-00005222 | 2025-01-09 | 04:18 pm - 04:19 pm | DOMINGUEZ | Master Cool | , , , Matina Aplaya, DAVAO CITY, DAVAO DEL SUR | DPA | n/a |  |  | SP | WI | COS | Sales of Parts |  |  | 1 | 2025-01-09 | 2025-01-09 16:35 | 2025-01-09 16:35 | Sale of Parts | Com1 | Customer Lounge
DAV-00005223 | 2025-02-09 | 09:16 am - 09:17 am | DOMINGUEZ | CARDEÑO, CHRISTINE | , PRK 2 AMOLO STREET, , BALUSONG MATINA , DAVAO CITY, DAVAO DELSUR | 0995-7719434 | KAG-75WCINV | In house | VIC IMPERIAL APP | TS | FD | W | E6 Error Code | Geffrey Perez, Joselito Salibay Jr. |  | 2 | 2025-02-09 | 2025-02-09 | 2025-02-09 | Findings - As technician observation,wifi module is defective., , , Recommendation - Replaced wifi module, , , Repair Done - Unit is Ok. | Com1 | Social Media
DAV-00005224 | 2025-06-09 | 02:04 pm - 02:06 pm | DOMINGUEZ | Cordero, Cathy Mae | , blk 38 Lot 10 , Bria Homes , San Isidro, GENERAL SANTOS CITY (DADIANGAS), South Cotabato | 0920-3376393 | KSM-IW15-WCT10M1M32 | Smart Aire | FIESTA APPLIANCE CENTER | TS | DC | W | EH03 Error Code | Smartaire Aircon Specialist | Error EH03 | 1 | 2025-04-09 | 2025-04-09 | 2025-04-09 | Findings - EH03 problem with the indoor fan speed being out of the normal range, , , , Recommendation - For replacement of Fan motor., / Customer refuse to repair unit demand to replaced unit. , , , Repair Done - Done Check up | Com2 | Social Media
DAV-00005225 | 2025-08-09 | 01:01 pm - 01:02 pm | DOMINGUEZ | Emcor Digos | JVR BLDG. , Rizal Avenue, Corner Lapu-lapu, , , CITY OF DIGOS (Capital), Davao Del Sur | 0926-1493435 | n/a |  |  | SP | WI | COS | Sales of Parts |  |  | 1 | 2025-08-09 | 2025-08-09 13:10 | 2025-08-09 13:10 | Sale of Parts;NA;Sale of Parts | Com1 | Customer Lounge
DAV-00005226 | 2025-08-09 | 01:21 pm - 01:22 pm | DOMINGUEZ | SKSU-SBO- TACURONG CAMPUS | , , , National Highway, CITY OF TACURONG, Sultan Kudarat | 0642-0042 | KSM-IW15-WCT10M1M32 | EMCOR INC | EMCOR INC. | TS | DC | W | EL01 Error Code | Emcor Incorporated |  | 1 | 2025-08-09 | 09/17/2025 01:00 pm | 09/17/2025 03:00 pm | Findings - Defective PCB board, Recommendation - for replacement of OUTDOOR BOARD, Repair Done - Repaired Done | Com1 | Social Media
DAV-00005227 | 2025-08-09 | 01:39 pm - 01:41 pm | DOMINGUEZ | Cordero, Cathy Mae | , blk 38 Lot 10 , Bria Homes , San Isidro, GENERAL SANTOS CITY (DADIANGAS), South Cotabato | 0920-3376393 | KSM-IW15-WCT10M1M32 | Smart Aire | FIESTA APPLIANCE CENTER | TS | DC | W | EH03 Error Code | Smartaire Aircon Specialist |  | 1 | 2025-12-09 | 09/15/2025 12:00 am | 09/15/2025 12:00 am | Findings - Def. indoor board, , , Recommendation - Replaced indoor board, but still unit is not functioning normally, , , Repair Done - Customer demand to replace unit | Com1 | Social Media
DAV-00005228 | 2025-09-09 | 09:25 am - 09:25 am | DOMINGUEZ | Velasquez, Jerry | , , , Brgy Buhangin, DAVAO CITY, DAVAO DELSUR | 0955-7095887 | n/a |  |  | SP | WI | COS | Sales of Parts |  |  | 1 | 2025-09-09 | 2025-09-09 09:30 | 2025-09-09 09:30 | Sale of Parts | Com1 | Customer Lounge
DAV-00005229 | 2025-09-09 | 09:29 am - 09:29 am | DOMINGUEZ | Velasquez, Jerry | , , , Brgy Buhangin, DAVAO CITY, DAVAO DELSUR | 0955-7095887 | n/a |  |  | SP | WI | COS | Sales of Parts |  |  | 1 | 2025-09-09 | 2025-09-09 09:35 | 2025-09-09 09:35 | Sale of Parts | Com1 | Customer Lounge
DAV-00005230 | 2025-09-09 | 09:33 am - 09:34 am | DOMINGUEZ | Velasquez, Jerry | , , , Brgy Buhangin, DAVAO CITY, DAVAO DELSUR | 0955-7095887 | n/a |  |  | SP | WI | COS | Sales of Parts |  |  | 1 | 2025-09-09 | 2025-09-09 09:40 | 2025-09-09 09:40 | Sale of Parts | Com1 | Customer Lounge
DAV-00005231 | 2025-09-09 | 10:52 am - 10:53 am | DOMINGUEZ | Aranda Engineering Services | , , , Mintal, DAVAO CITY, DAVAO DEL SUR | 0906-332-8523 | n/a |  |  | SP | WI | COS | Sales of Parts |  |  | 1 | 2025-09-09 | 2025-09-09 10:55 | 2025-09-09 10:55 | Sale of Parts | Com1 | Customer Lounge
DAV-00005232 | 2025-09-09 | 11:07 am - 11:08 am | DOMINGUEZ | C&S Airconditioning and Ref. Services | , , , , SANTO TOMAS, Davao del Norte | 0967-8947188 | n/a |  |  | SP | WI | COS | Sales of Parts |  |  | 1 | 2025-09-09 | 2025-09-09 11:10 | 2025-09-09 11:10 | Sale of Parts | Com1 | Customer Lounge
DAV-00005233 | 2025-10-09 | 08:36 am - 08:37 am | DOMINGUEZ | C&S Airconditioning and Ref. Services | , , , , SANTO TOMAS, Davao del Norte | 0967-8947188 | n/a |  |  | SP | WI | COS | Sales of Parts |  | Parts return ref SJR DAV-5232 & SR 2972 |  | 2025-10-09 | 2025-10-09 | 2025-10-09 | Findings - Sale of Parts, , , Recommendation - NA, , , , , Repair Done - Sale of Parts | Com1 | Customer Lounge
DAV-00005234 | 2025-10-09 | 09:15 am - 09:17 am | DOMINGUEZ | CARDEÑO, CHRISTINE | , PRK 2 AMOLO STREET, , BALUSONG MATINA , DAVAO CITY, DAVAO DELSUR | 0995-7719434 | KAG-75WCINV |  | VIC IMPERIAL APP | TS | WI | W | E6 Error Code | Geffrey Perez, Joselito Salibay Jr. |  | 1 | 2025-10-09 | 2025-11-09 | 2025-11-09 | Findings - Defective main board, , , Recommendation - Replaced Main Board, , , Repair Done - Repair Done | Com1 | Customer Lounge
DAV-00005235 | 2025-10-09 | 10:40 am - 10:40 am | DOMINGUEZ | Aranda Engineering Services | , , , Mintal, DAVAO CITY, DAVAO DEL SUR | 0906-332-8523 | n/a |  |  | SP | WI | COS | Sales of Parts |  |  | 1 | 2025-10-09 | 2025-10-09 10:45 | 2025-10-09 10:45 | Sale of Parts; NA; Sale of Parts | Com1 | Customer Lounge
DAV-00005236 | 2025-10-09 | 02:20 pm - 02:21 pm | DOMINGUEZ | Ando, Joy | , , , Jacinto St. Poblacion Kabacan, COTABATO CITY, | 0952-6056743 | KAG-145WCINV | Safety Electronics | ROBINSONS | TS | FD | C | F5 Error Code | Safety Electronics & Aircon Services | Error code F5 | 1 | 2025-11-09 | 09/17/2025 12:00 am | 09/17/2025 12:00 am | Findings - Cancelled schedule, , , Recommendation - NA, , , Repair Done - Cancelled schedule | NSC01 | Social Media
DAV-00005237 | 2025-10-09 | 02:29 pm - 02:30 pm | DOMINGUEZ | PEÑA, Christopher M | , B7L7, Phase 3 Khone Falls street,, Wellspring Village,, Catalunan Pequenio, , DAVAO CITY, DAVAO DELSUR | 0955-7624924 | KAG-110RSINV | RJJ |  | TS | FD | C | F4 Error Code | RJJ Horse Power Airconditioning Services | Error code F4 | 1 | 2025-11-09 | 09/13/2025 03:00 pm | 09/13/2025 05:00 pm | Findings - Defective PCB BOARD, Recommendation - For replacement of PCB BOARD, Repair Done - Done Check up | Com1 | Social Media
DAV-00005238 | 2025-11-09 | 09:24 am - 09:24 am | DOMINGUEZ | RJJ Horse Power Air-conditioning Services | , , , Bucana Talomo District, DAVAO CITY, Davao Del Sur | 0917-7857-745 | n/a |  |  | SP | WI | COS | Sales of Parts |  |  | 1 | 2025-11-09 | 2025-11-09 12:00 | 2025-11-09 13:00 | Findings - Sale of Parts, Recommendation - NA, , , Repair Done - Sale of Parts | Com1 | Customer Lounge
DAV-00005239 | 2025-11-09 | 02:23 pm - 02:24 pm | DOMINGUEZ | EMCOR GENERAL SANTOS | 4th Floor, AMA Bldg, , , Pioneer Ave., Dadiangas West , GENERAL SANTOS CITY (DADIANGAS), South Cotabato | 0909-9102249 | KLM-IS60-AA1M32-I |  | EMCOR INC. | TS | DC | W | No Display | Emcor Incorporated |  |  | 2025-11-09 | 2025-11-09 | 2025-11-09 | Findings - Remote cannot connect to the indoor unit, defective display board, , , Recommendation - temperature cannot be set by the remote, , , Repair Done - check up | Com2 | Social Media
DAV-00005240 | 2025-11-09 | 02:34 pm - 02:35 pm | DOMINGUEZ | EMCOR GENERAL SANTOS | 4th Floor, AMA Bldg, , , Pioneer Ave., Dadiangas West , GENERAL SANTOS CITY (DADIANGAS), South Cotabato | 0909-9102249 | KLM-IS60-AA1M32-I |  | EMCOR INC. | TS | DC | W | No Display | Emcor Incorporated |  | 2 | 09/15/2025 | 09/23/2025 01:00 pm | 09/23/2025 03:00 pm | Findings - defective display board, Recommendation - for replacement of display board, Repair Done - Repaired Done | Com1 | Social Media
DAV-00005241 | 2025-12-09 | 09:12 am - 09:12 am | DOMINGUEZ | Jang Jang Bakeshop | , , , Sasa, DAVAO CITY, DAVAO DELSUR | 0926-7040149 | KAG-150RSINV | In house |  | TS | BI | C | Not Cooling | Geffrey Perez, Joselito Salibay Jr. |  | 1 | 2025-12-09 | 2025-12-09 | 2025-12-09 | Findings - Unit is ok, cool is normal, , , Recommendation - Unit is Ok, , , Repair Done - | Com1 | Customer Lounge
DAV-00005242 | 09/13/2025 | 01:16 pm - 01:17 pm | DOMINGUEZ | RJJ Horse Power Air-conditioning Services | , , , Bucana Talomo District, DAVAO CITY, Davao Del Sur | 0917-7857-745 | n/a |  |  | SP | WI | COS | Sales of Parts |  |  | 1 | 09/13/2025 | 09/13/2025 12:00 pm | 09/13/2025 12:05 pm | Findings - Sale of Parts, , , Recommendation - NA, , , Repair Done - Sale of Parts | Com1 | Customer Lounge
DAV-00005243 | 09/15/2025 | 01:30 pm - 01:31 pm | DOMINGUEZ | Reyboq's Electronics and Refcon Services | , , , Brgy West , CITY OF TAGUM (Capital), Davao Del Norte | 0992-8778022 | n/a |  |  | SP | WI | COS | Sales of Parts |  |  | 1 | 09/15/2025 | 09/15/2025 01:35 pm | 09/15/2025 01:35 pm | Sale of Parts | Com1 | Customer Lounge
DAV-00005244 | 09/17/2025 | 08:26 am - 08:27 am | DOMINGUEZ | LJP Refrigeration and Airconditioning | , , , , DAVAO CITY, Davao Del Sur | 0908-6078516 | n/a |  |  | SP | WI | COS | Sales of Parts |  |  |  | 09/17/2025 | 09/17/2025 08:35 am | 09/17/2025 08:35 am | Sale of Parts | Com1 | Customer Lounge
DAV-00005245 | 09/17/2025 | 03:39 pm - 03:41 pm | DOMINGUEZ | Dequina, Jennifer Michelle | , 10 Peacock St. Phase 4, Ecoland Subd, Bucana, DAVAO CITY, Davao Del Sur | 0917-1822292 | KAG-100WCINV | In house | DAVAO IMPORT DIST. (DIMDI) | TS | FD | COS | Dead Set | Geffrey Perez, Joselito Salibay Jr. | Dead Set | 1 | 09/18/2025 | 09/18/2025 12:00 am | 09/18/2025 12:00 am | Findings - Defective Display Board, Anti Freeze & Thermistor, , , Recommendation - Replaced Display Board, Anti Freeze & Thermistor, , , Repair Done - Repaired Done | Com1 | Social Media
DAV-00005246 | 09/17/2025 | 03:51 pm - 03:52 pm | DOMINGUEZ | Flores, Flhorepie A. | Purok Silangan 1st Crumb St., Zone 1 , , , CITY OF DIGOS (Capital), DAVAO DELSUR | 0930-2705502 | KSM-IW10-9L1M-I | EMCOR INC | EMCOR INC. | TS | DC | W | High Current / Stuck up Motor | Emcor Incorporated |  | 2 | 09/17/2025 | 09/30/2025 12:00 pm | 09/30/2025 03:00 pm | Findings - defective compressor, Recommendation - For replacement of compressor, Repair Done - Done Check up | Com1 | Social Media
DAV-00005247 | 09/17/2025 | 04:10 pm - 04:11 pm | DOMINGUEZ | Minoza, Arnel | , 128C Mahagony St., Dona Pilar Village, Sasa, DAVAO CITY, DAVAO DELSUR | 0909-8249766 | KWD-BLC-2088B | EMCOR INC | EMCOR INC. | TS | DC | W | Can't Dispense Water | Emcor Incorporated |  | 1 | 09/17/2025 | 09/17/2025 12:00 am | 09/17/2025 12:00 am | Findings - cant dispense water, , , Recommendation - defective water pump, , , Repair Done - for replacement of water pump | Com2 | Social Media
DAV-00005248 | 09/17/2025 | 04:19 pm - 04:20 pm | DOMINGUEZ | Minoza, Arnel | , 128C Mahagony St., Dona Pilar Village, Sasa, DAVAO CITY, DAVAO DELSUR | 0909-8249766 | KWD-BLC-2088B | EMCOR INC | EMCOR INC. | TS | DC | W | Can't Dispense Water | Emcor Incorporated |  | 2 | 09/20/2025 | 09/27/2025 03:00 pm | 09/27/2025 05:00 pm | Findings - Def. water pump, cannot dispense, Recommendation - For Replacement of Water Pump., , , Repair Done - Repaired Done | Com1 | Social Media
DAV-00005249 | 09/18/2025 | 08:52 am - 08:54 am | DOMINGUEZ | Carnecer, Niza M. | , , , Tagamot Dawan, CITY OF MATI (Capital), Davao Oriental | 0999-8856764 | KEA-25BWR | EMCOR INC | EMCOR INC. | TS | DC | W | Auto On/Off | Emcor Incorporated |  | 1 | 09/18/2025 | 09/25/2025 09:00 am | 09/25/2025 11:00 am | Findings - Def. fan motor and PCB board, Recommendation - for replacement of FAN MOTOR and PCB BOARD, Repair Done - Repaired Done | Com1 | Customer Lounge
DAV-00005250 | 09/18/2025 | 09:05 am - 09:06 am | DOMINGUEZ | Emcor Tagum Highway | , , , JVR Bldg Nat'l Highway Visayan Vill, CITY OF TAGUM (Capital), Davao Del Norte | 0919-0798281 | KEA-60BDRDCA | EMCOR INC | EMCOR INC. | TS | DC | W | No Power Supply | Emcor Incorporated |  | 1 | 09/20/2025 | 2025-01-10 09:00 | 2025-01-10 11:00 | Findings - defective power supply, Recommendation - for replacement of power supply, Repair Done - Repaired Done | Com1 | Social Media
DAV-00005251 | 09/20/2025 | 10:05 am - 10:06 am | DOMINGUEZ | Vic Imperial App. Corp. (Tacurong) | , , , , CITY OF TACURONG, Sultan Kudarat |  | KIF-26SMBBLDC |  | VIC IMPERIAL APP | TS | FD | W | Others | Geffrey Perez, Joselito Salibay Jr. | Upon opening the box they found out that the base stand was already broken... | 1 | 09/20/2025 | 2025-02-10 10:00 | 2025-02-10 10:35 | Findings - Base is broken, Recommendation - For replacement of Base, Repair Done - | Com1 | Social Media
DAV-00005252 | 09/22/2025 | 11:32 am - 11:32 am | DOMINGUEZ | ASC-MELGENEAIRCON MKTG AND SERVICES | , , , JAVELLANA BLDG., DRIVE ZONE 1, CITY OF KORONADAL (Capital), SOUTH COTABATO |  | n/a |  |  | SP | WI | COS | Sales of Parts |  |  | 1 | 09/22/2025 | 09/22/2025 11:37 am | 09/22/2025 11:45 am | Findings - Sale of Parts, Recommendation - NA, Repair Done - Sale of Parts | Com1 | Customer Lounge
DAV-00005253 | 09/22/2025 | 03:24 pm - 03:34 pm | DOMINGUEZ | Pacana VI, Benjamin C. | , , , Lim Extension , CITY OF DIGOS (Capital), | 0917-8928794 | KCB-BLC-8859T |  |  | TS | BI | C | E2 Error Code | Geffrey Perez, Joselito Salibay Jr. | E2 Error code. | 1 | 09/22/2025 | 09/22/2025 01:00 pm | 09/22/2025 02:00 pm | Findings - Cancelled schedule, Recommendation - Cancelled schedule, , Repair Done - No repaired done | NSC15 | Customer Lounge
DAV-00005254 | 09/23/2025 | 08:50 am - 08:51 am | DOMINGUEZ | 126 AIR ENERGY AIRCON SVC | , , , , DAVAO CITY, DAVAO DEL SUR | 0945-711-8245 | n/a |  |  | SP | WI | COS | Sales of Parts |  |  | 1 | 09/23/2025 | 09/23/2025 08:54 am | 09/23/2025 09:00 am | Findings - Sale of Parts, Recommendation - NA, , , Repair Done - Sale of Parts | Com1 | Customer Lounge
DAV-00005255 | 09/23/2025 | 09:20 am - 09:20 am | DOMINGUEZ | Clean Crew Services Inc., | , Bonifacio St., , Bolton, DAVAO CITY, DAVAO DELSUR | 0957-2986372 | n/a |  |  | SP | WI | COS | Sales of Parts |  |  | 1 | 09/23/2025 | 09/23/2025 09:23 am | 09/23/2025 09:28 am | Findings - Sale of Parts, Recommendation - NA, , , Repair Done - Sale of Parts | Com1 | Customer Lounge
DAV-00005256 | 09/24/2025 | 11:59 am - 12:01 pm | DOMINGUEZ | ANUNCIADO, JENO GABRIEL J. | , BLK17 7 LOT 5 CROWN STREET, SAMANTHA HOMES, CATALUNAN GRANDE, DAVAO CITY, DAVAO DELSUR | 0993-5727556 | KSM-10MB1INV |  |  | TS | FD | C | Auto On / Off | Geffrey Perez, Joselito Salibay Jr. |  | 1 | 09/30/2025 | 09/30/2025 01:00 pm | 09/30/2025 02:50 am | Findings - Auto on and Off, Recommendation - for replacement of display board, Repair Done - Done Check Up | Com2 | Vanity Hotline
DAV-00005257 | 09/25/2025 | 01:12 pm - 01:12 pm | DOMINGUEZ | Dacut, Edgar Mel | , , , Purok Maunlad Brgy Saravia, CITY OF KORONADAL (Capital), | 0927-6127060 | KA-75MCARINV32 | 3 KING | VIC IMPERIAL APP | TS | DC | W | EH03 Error Code | 3King Aircon Installation and Maintenance Services | Error EH03 | 1 | 09/20/2025 | 09/20/2025 01:00 pm | 09/20/2025 02:00 pm | Findings - Defective PCB board, Recommendation - For replacement of Board, Repair Done - Done Check up | Com2 | Customer Lounge
DAV-00005258 | 09/25/2025 | 01:18 pm - 01:31 pm | DOMINGUEZ | Dacut, Edgar Mel | , , , Purok Maunlad Brgy Saravia, CITY OF KORONADAL (Capital), | 0927-6127060 | KA-75MCARINV32 |  | VIC IMPERIAL APP | TS | DC | W | EH03 Error Code | 3King Aircon Installation and Maintenance Services | ERROR CODE EH03 | 2 | 09/29/2025 | 2025-02-10 14:00 | 2025-02-10 16:00 | Findings - defective board, Recommendation - for replacement of board, Repair Done - Repaired Done | Com1 | Social Media
DAV-00005259 | 09/25/2025 | 01:46 pm - 01:47 pm | DOMINGUEZ | SEATRADE CANNING CORPORATION | , , , BO. CABU, TAMBLER, GENERAL SANTOS CITY (DADIANGAS), SOUTH COTABATO | 0917-8835867 | KSM-IW15-WCT10M1M32 |  | KMI | INST | DC | C | For Installation | 3King Aircon Installation and Maintenance Services | SAC-Installation | 1 | 09/15/2025 | 09/15/2025 10:00 am | 09/15/2025 02:00 pm | Findings - Installation, Recommendation - Installation, Repair Done - Installation | Com1 | Customer Lounge
DAV-00005260 | 09/25/2025 | 04:12 pm - 04:13 pm | DOMINGUEZ | Uy, Grace | , , , Zone 8 Bela, GENERAL SANTOS CITY (DADIANGAS), | 0909-9023324 | KAM-150CMC32 | 3 KING | VIC IMPERIAL APP | TS | DC | W | System Leak | 3King Aircon Installation and Maintenance Services | System leaking | 1 | 09/22/2025 | 09/22/2025 01:00 pm | 09/22/2025 02:00 pm | Findings - Def. condenser and Evaporator, Recommendation - for replacement of COndenser and Evaporator, Repair Done - Done Check up | Inc-05 | Social Media
DAV-00005261 | 09/27/2025 | 03:29 pm - 03:31 pm | DOMINGUEZ | Namangcayan, , Mayden Joy | , B141 L133 King Seashore St. , Deca Home Talomo , Brgy. Bago Gallera , DAVAO CITY, DAVAO DELSUR | 0917-8278902 | KSM-IW15-4F1M |  |  | TS | FD | C | Not Cooling | Geffrey Perez, Joselito Salibay Jr. |  | 1 | 09/29/2025 | 2025-01-10 14:00 | 2025-01-10 16:00 | Findings - Dirty Unit, Recommendation - For General Cleaning, Repair Done - Done cleaning | Com1 | Social Media
DAV-00005262 | 09/29/2025 | 03:54 pm - 03:54 pm | DOMINGUEZ | Dablo, Arvin | , 178 Catleya St., Alpha Homes , Matina, DAVAO CITY, DAVAO DELSUR | 0956-8148344 | n/a |  |  | SP | WI | COS | Sales of Parts |  |  | 1 | 09/29/2025 | 09/29/2025 03:45 pm | 09/29/2025 03:58 pm | Findings - Sale of Parts, Recommendation - NA, , , Repair Done - Sale of Parts | Com1 | Customer Lounge
DAV-00005263 | 09/30/2025 | 10:03 am - 10:07 am | DOMINGUEZ | Emcor (Bajada) | JVR Building, , , J.P. Laurel Ave, Bajada, DAVAO CITY, Davao Del Sur | (082) 222 1125 | KCB-BLC-8859T | EMCOR INC | EMCOR INC. | TS | DC | W | Others | Emcor Incorporated | Opon opening PROMODISER noticed that the Black heating kettle was broken. | 1 | 09/30/2025 | 2025-04-10 09:00 | 2025-04-10 10:00 | Findings - defective glass kettle, Recommendation - for replacement of glass kettle, Repair Done - Done Check up | Com1 | Social Media
Legend:
PAO - Pick-up Admin Orders
DPO - Deliver of Dealer P.O.
DEF - Change Item
FAB - Fabrication of Bracket
CL - Copper Tube Claims
DEL - Delivery of Unit / Accessories
DSM - Dismantling
FPO - Unit for Pull-out
GC - General Cleaning
INST - Installation
MRK - Markings
PV - Project Visit
REP - Replacement as per dealer request
REPL - Replacement of Unit
SCF - Deliver / Pull-out of Scaffolding
SP - Sale of Parts
STU - Start-up
SVEY - Survey
TS - Troubleshooting
DIS - Dispose Parts
PGC - Pumpdown General Cleaning
Summary Per Job Type
JOB CLASS | CC | WI | BI | PO | FD | DC | RD | RM | TP | TOTAL
PAO | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DPO | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DEF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FAB | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CL | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DEL | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DSM | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FPO | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
GC | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
INST | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1
MRK | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PV | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REP | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REPL | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SCF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SP | 0 | 18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 18
STU | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SVEY | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TS | 0 | 1 | 2 | 0 | 7 | 14 | 0 | 0 | 0 | 24
DIS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PGC | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL | 0 | 19 | 2 | 0 | 7 | 15 | 0 | 0 | 0 | 43