## sjr_masterlist (14)
FROM : | 2025-01-09 | TO : | 09-30-2025
Location Warehouse : | ILO-ILO BRANCH
User : | All User
SJR No. | SJR Date | SJR Start/End Time | CSR Code | Customer Name | Address | Contact No. | Model | Relayed By | Dealer | Job Class | Job Type | Wty Type | Complaint | Tech Name | SJR Notes | No. of Visit | Promised Date | Date Attended | Date Finished | Repair Done | Job Status | Call Origin
ILO-00007137 | 2025-01-09 | 10:39 am - 10:40 am | falogme | Almalbis, Julien | , , , Punta Tabuc, ROXAS CITY (Capital), Capiz | 6210-350 | KSM-IW10-9L1M-I |  | VIC IMPERIAL APP | TS | FD | C | Not Cooling | Cool Site Air-conditioning Services | Relayed to CoolSite | 1 | 2025-01-09 | 2025-02-09 09:00 | 2025-02-09 09:45 | Findings - CHECK UP, , , Recommendation - CLEANING, , , Repair Done - CUSTOMER REFUSE FOR CLEANING | Com1 | E-mail
ILO-00007138 | 2025-01-09 | 01:22 pm - 01:34 pm | falogme | Banglagan, Charlie | , , , Caticlan, MALAY, Aklan | 0949-4876149 | KA-75MCARINV32 |  | VIC IMPERIAL APP | TS | DC | W | Not Cooling | REM Cleanair Aircon Services Corporation ILO | TS/ For Parts Replacement | 1 | 2025-01-09 | 08/29/2025 08:00 am | 08/29/2025 05:00 pm | Findings - Not Cooling / Error EH 06, , , Recommendation - For Parts Replacement, , , Repair Done - Check Up | Com1 | E-mail
ILO-00007139 | 2025-01-09 | 01:45 pm - 01:47 pm | falogme | Banglagan, Charlie | , , , Caticlan, MALAY, Aklan | 0949-4876149 | KA-75MCARINV32 |  | VIC IMPERIAL APP | TS | FD | W | Not Cooling | REM Cleanair Aircon Services Corporation ILO | For Parts Replacement | 1 | 2025-01-09 | 2025-06-09 08:00 | 2025-06-09 17:00 | Findings - Not Cooling / Error EH 06, , , Recommendation - For Parts Replacement, , , , Repair Done - Replaced Parts/Observed Unit Okey | Com1 | E-mail
ILO-00007140 | 2025-01-09 | 04:28 pm - 04:29 pm | falogme | Lopel Airconditioning Services | Juliana Bldg., Road 10, , Brgy. Aganan, PAVIA, Iloilo |  | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of Parts | 1 | 2025-01-09 | 2025-01-09 16:30 | 2025-01-09 16:40 | Findings - Sale of Parts, , , Recommendation - Sale of Parts, , , Repair Done - Sale of Parts | Com1 | Customer Lounge
ILO-00007141 | 2025-01-09 | 04:54 pm - 04:55 pm | falogme | Lipa, Irvin Patrick | , , , Brgy. Lambuyao, OTON, Iloilo | 0966-3654616 | KSG-IWF-10WFY-8K1M32-I |  | VIC IMPERIAL APP | INST | DC | C | For Installation | Lopel Airconditioning Services | For Record Purpose Only | 1 | 2025-01-09 | 08/31/2025 08:00 am | 08/31/2025 05:00 pm | Findings - Installation, , , , Recommendation - Installation, , , Repair Done - Installation | Com1 | E-mail
ILO-00007142 | 2025-02-09 | 11:15 am - 11:18 am | falogme | Lipa, Irvin Patrick | , , , Brgy. Lambuyao, OTON, Iloilo | 0966-3654616 | KSG-IWF-10WFY-8K1M32-I |  | VIC IMPERIAL APP | INST | DC | C | For Installation | Lopel Airconditioning Services | For Record Purpose Only | 1 | 2025-02-09 | 08/31/2025 08:00 am | 08/31/2025 05:00 pm | Findings - Installation, , , , Recommendation - Installation, , , Repair Done - Installation, late controlled | Com1 | E-mail
ILO-00007143 | 2025-02-09 | 11:32 am - 11:34 am | falogme | Cool Site Airconditioning Service | , , , Brgy. Inzo Arnaldo, ROXAS, Capiz |  | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of Parts | 1 | 2025-02-09 | 2025-02-09 11:35 | 2025-02-09 11:45 | Findings - Sale of Parts, , , Recommendation - Sale of Parts, , , Repair Done - Sale of Parts | Com1 | Customer Lounge
ILO-00007144 | 2025-03-09 | 08:55 am - 08:57 am | APAITAN | Cool Site Airconditioning Service | , , , Brgy. Inzo Arnaldo, ROXAS, Capiz |  | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of parts | 1 | 2025-03-09 | 2025-03-09 08:30 | 2025-03-09 09:03 | Findings - Sale of parts, , , Recommendation - Sale of parts, , , Repair Done - Sale of parts | Com1 | Customer Lounge
ILO-00007145 | 2025-03-09 | 10:59 am - 11:03 am | falogme | IPPO | , , , , SANTA BARBARA, Iloilo | 0977-6842125 | KLG-IF40-5G1M32-I |  | VIC IMPERIAL APP | INST | DC | C | For Installation | Cool Site Air-conditioning Services | For Record Purpose Only | 1 | 2025-03-09 | 2025-02-09 08:00 | 2025-02-09 17:00 | Findings - Installation, , , , Recommendation - Installation, , , Repair Done - Installation | Com1 | E-mail
ILO-00007146 | 2025-03-09 | 02:44 pm - 02:44 pm | falogme | Cool Zone Ref & Aircon Repair & Service | , , National Highway, Estancia, KALIBO (Capital), Aklan | 0920-2397603 | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of Parts | 1 | 2025-03-09 | 2025-03-09 14:45 | 2025-03-09 14:55 | Findings - Sale of Parts, , , Recommendation - Sale of Parts, , , Repair Done - Sale of Parts | Com1 | Customer Lounge
ILO-00007147 | 2025-03-09 | 02:58 pm - 03:01 pm | falogme | Nig Marketing Corp | , Mabin St., , , ILOILO CITY (Capital), Iloilo |  | KAC-36TCRM |  | NIG MARKETING | TS | BI | W | No Power Supply | Laurence Pagayunan | TS/ Shop Repair |  | 2025-03-09 | 2025-04-09 13:00 | 2025-04-09 14:45 | Findings - No Power, , , Recommendation - For Repair and Check up, , , Repair Done - Need to Solder Crack Pcb Main | Com1 | Customer Lounge
ILO-00007148 | 2025-03-09 | 03:34 pm - 03:34 pm | falogme | Cool Site Airconditioning Service | , , , Brgy. Inzo Arnaldo, ROXAS, Capiz |  | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of Parts | 1 | 2025-03-09 | 2025-03-09 15:35 | 2025-03-09 15:50 | Findings - Sale of Parts, , , Recommendation - Sale of Parts, , , Repair Done - Sale of Parts | Com1 | Customer Lounge
ILO-00007149 | 2025-04-09 | 08:20 am - 08:21 am | falogme | Dequilla, Rhealine Joy | blk.5 lot14, , ciudad de Iloilo, Calumpang, Molo, ILOILO CITY (Capital), | 0950-6014449 | KSM-IW10-WCT10M1M32 |  | VIC IMPERIAL APP | INST | DC | C | For Installation | Lopel Airconditioning Services | For Record Purpose Only | 1 | 2025-04-09 | 08/31/2025 08:00 am | 08/31/2025 05:00 pm | Findings - Installation, , , , Recommendation - Installation, , , Repair Done - Installation | Com1 | E-mail
ILO-00007150 | 2025-04-09 | 09:53 am - 09:54 am | falogme | Iloilo Whitelines Service Center Co. | Door 119 GGRC Bldg., Rizal St., , Lapuz, ILOILO CITY (Capital), Iloilo |  | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of Parts | 1 | 2025-04-09 | 2025-04-09 10:00 | 2025-04-09 10:20 | Findings - Sale of Parts, , , Recommendation - Sale of Parts, , , Repair Done - Sale of Parts | Com1 | Customer Lounge
ILO-00007151 | 2025-04-09 | 01:19 pm - 01:19 pm | falogme | Lopel Airconditioning Services | Juliana Bldg., Road 10, , Brgy. Aganan, PAVIA, Iloilo |  | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of Parts | 1 | 2025-04-09 | 2025-04-09 13:20 | 2025-04-09 01:30 | Findings - Sale of Parts, , , Recommendation - Sale of Parts, , , Repair Done - Sale of Parts | Com1 | Customer Lounge
ILO-00007152 | 2025-04-09 | 02:03 pm - 02:04 pm | falogme | Cool Site Airconditioning Service | , , , Brgy. Inzo Arnaldo, ROXAS, Capiz |  | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of Parts | 1 | 2025-04-09 | 2025-04-09 14:05 | 2025-04-09 14:15 | Findings - Sale of Parts, , , Recommendation - Sale of Parts, , , Repair Done - Sale of Parts | Com1 | Customer Lounge
ILO-00007153 | 2025-04-09 | 02:13 pm - 02:14 pm | falogme | Rac's Engineering Ref. & Air-conditioning Services | , Blk 49, Lot 74 , NHA, Bolilao, Mandurriao, ILOILO CITY (Capital), Iloilo |  | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of Parts | 1 | 2025-04-09 | 2025-04-09 14:15 | 2025-04-09 02:20 | Findings - Sale of Parts, , , , Recommendation - Sale of Parts, , , Repair Done - Sale of Parts | Com1 | Customer Lounge
ILO-00007154 | 2025-04-09 | 03:25 pm - 03:26 pm | falogme | River Queen Hotel | , , , Bonifacio Drive , ILOILO CITY (Capital), | 0967-4126155 | KAM-95CMC32 |  |  | TS | BI | C | Icing Evaporator | Laurence Pagayunan | TS/Shop Repair | 1 | 2025-04-09 | 09/23/2025 12:00 pm | 09/23/2025 03:00 pm | Findings - System Leak, Recommendation - Need to Replace Condenser, Repair Done - Replaced Parts/Observed Unit Okey | Com1 | Customer Lounge
ILO-00007155 | 2025-04-09 | 03:46 pm - 03:53 pm | falogme | Delos Santos, Rodgie | , , , Linabuan Sur, BANGA, Aklan | 0909-4373523 | KSM-IW10-WCT10M1M32 |  | VIC IMPERIAL APP | INST | DC | C | For Installation | REM Cleanair Aircon Services Corporation ILO | For Record Purpose Only | 1 | 2025-04-09 | 2025-09-06 08:00 | 2025-09-06 17:00 | Findings - Installation, , , , Recommendation - Installation, , , Repair Done - Installation, late controlled | Com1 | E-mail
ILO-00007156 | 2025-05-09 | 10:49 am - 10:50 am | falogme | Ferraris Elementary School | , , , Ferraris, SARA, Iloilo | 0997-7424894 | KSM-IW15-WCT10M1M32 |  | VIC IMPERIAL APP | INST | DC | C | For Installation | REM Cleanair Aircon Services Corporation ILO | For Record Purpose Only | 1 | 2025-05-09 | 06/13/2025 08:00 am | 06/13/2025 05:00 pm | Findings - Installation, , , , Recommendation - Installation, , , Repair Done - Installation, late controlled | Com1 | E-mail
ILO-00007157 | 2025-05-09 | 11:13 am - 11:13 am | falogme | Villanueva, Eleen | , , , Marita Pres., ROXAS, Capiz | 0995-4332341 | KSM-IW10-WCT10M1M32 |  | VIC IMPERIAL APP | INST | DC | C | For Installation | REM Cleanair Aircon Services Corporation ILO | For Record Purpose Only | 1 | 2025-05-09 | 05/16/2025 08:00 am | 05/16/2025 05:00 pm | Findings - Installation, , , , Recommendation - Installation, , , Repair Done - Installation, late controlled | Com1 | E-mail
ILO-00007158 | 2025-05-09 | 11:20 am - 11:21 am | falogme | Aklan Catholic College | , , , , KALIBO (Capital), Aklan | 0908-8397622 | KSG-IWF-20WFY-8K1M32-I |  | VIC IMPERIAL APP | INST | DC | C | For Installation | REM Cleanair Aircon Services Corporation ILO | For Record Purpose Only | 1 | 2025-05-09 | 2025-09-06 08:00 | 2025-09-06 17:00 | Findings - Installation, , , , Recommendation - Installation, , , Repair Done - Installation, late controlled | Com1 | E-mail
ILO-00007159 | 2025-05-09 | 11:45 am - 11:46 am | falogme | Bigb's Cafe & Resto | B10 2nd f, Festive Walk Mall, , , Mandurriao, ILOILO CITY (Capital), | 0952-1362515 | KSG-IWF-30WFY-8K1M32-I |  | VIC IMPERIAL APP | INST | DC | C | For Installation | REM Cleanair Aircon Services Corporation ILO | For Record Purpose Only | 1 | 2025-05-09 | 2025-06-06 08:00 | 2025-06-06 17:00 | Findings - Installation, , , , Recommendation - Installation, , , Repair Done - Installation, late controlled | Com1 | E-mail
ILO-00007160 | 2025-05-09 | 01:43 pm - 01:43 pm | falogme | Gemudiano, Lenette | Ph1 B22 L6 , Maasdan St. Old Deca Homes, , , ILOILO CITY (Capital), | 0928-2912982 | KSM-IW20-WCT10M1M32 |  | VIC IMPERIAL APP | INST | DC | C | For Installation | REM Cleanair Aircon Services Corporation ILO | For Record Purpose Only | 1 | 2025-05-09 | 05/19/2025 08:00 am | 05/19/2025 05:00 pm | Findings - Installation, , , , , Recommendation - Installation, , , , Repair Done - Installation, late controlled | Com1 | E-mail
ILO-00007161 | 2025-05-09 | 02:03 pm - 02:07 pm | falogme | RV Empire Inc. | , , , Tabuc Suba, ROXAS, Capiz |  | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of Parts | 1 | 2025-05-09 | 2025-05-09 14:10 | 2025-05-09 14:25 | Findings - Sale of Parts, , , Recommendation - Sale of Parts, , , Repair Done - Sale of Parts | Com1 | Customer Lounge
ILO-00007162 | 2025-05-09 | 02:47 pm - 02:47 pm | falogme | Rac's Engineering Ref. & Air-conditioning Services | , Blk 49, Lot 74 , NHA, Bolilao, Mandurriao, ILOILO CITY (Capital), Iloilo |  | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of Parts | 1 | 2025-05-09 | 2025-05-09 14:50 | 2025-05-09 15:00 | Findings - Sale of Parts, , , Recommendation - Sale of Parts, , , Repair Done - Sale of Parts | Com1 | Customer Lounge
ILO-00007163 | 2025-05-09 | 03:13 pm - 03:13 pm | falogme | Bembm's Mini Mart | , , , BORACAY, MALAY, Aklan | 0916-2582612 | KSM-IW15-WCT10M1M32 |  | VIC IMPERIAL APP | INST | DC | C | For Installation | REM Cleanair Aircon Services Corporation ILO | For Record Purpose Only | 1 | 2025-05-09 | 2025-10-05 08:00 | 2025-10-05 17:00 | Findings - Installation, , , , Recommendation - Installation, , , Repair Done - Installation, late controlled | Com1 | E-mail
ILO-00007164 | 2025-05-09 | 03:24 pm - 03:25 pm | falogme | Shimadzu Philippines Corporation | 19/F Marajo Tower, 26th St. Corner 4th Ave. Bonifacio Global City, , , For Bonifacio 1634, TAGUIG CITY, Antique | 0951-8745206 | KSM-IW20-WCT10M1M32 |  | VIC IMPERIAL APP | INST | DC | C | For Installation | REM Cleanair Aircon Services Corporation ILO | For Record Purpose Only | 1 | 2025-05-09 | 2025-10-05 08:00 | 2025-10-05 17:00 | Findings - Installation, , , , Recommendation - Installation, , , Repair Done - Installation, late controlled | Com1 | E-mail
ILO-00007165 | 2025-05-09 | 03:35 pm - 03:35 pm | falogme | Maming, Lanie | , , , Napaan, MALAY, Aklan | 0985-5420858 | KSM-IW10-WCT10M1M32 |  | VIC IMPERIAL APP | INST | DC | C | For Installation | REM Cleanair Aircon Services Corporation ILO | For Record Purpose Only | 1 | 2025-05-09 | 2025-09-06 08:00 | 2025-09-06 17:00 | Findings - Installation, , , , Recommendation - Installation, , , , Repair Done - Installation, late controlled | Com1 | E-mail
ILO-00007166 | 2025-05-09 | 03:41 pm - 03:42 pm | falogme | Aklan Catholic College | , , , , KALIBO (Capital), Aklan | 0908-8397622 | KSG-IWF-20WFY-8K1M32-I |  | VIC IMPERIAL APP | INST | DC | C | For Installation | REM Cleanair Aircon Services Corporation ILO | For Record Purpose Only | 1 | 2025-05-09 | 2025-09-06 08:00 | 2025-09-06 17:00 | Findings - Installation, , , , Recommendation - Installation, , , Repair Done - Installation, late controlled | Com1 | E-mail
ILO-00007167 | 2025-05-09 | 03:47 pm - 03:48 pm | falogme | IAMUPHI | , , , , ILOILO CITY (Capital), | 0917-5474745 | KLG-SF40-WBR6H1M32-I |  | VIC IMPERIAL APP | INST | DC | C | For Installation | REM Cleanair Aircon Services Corporation ILO | For Record Purpose Only | 1 | 2025-05-09 | 2025-07-07 08:00 | 2025-07-07 17:00 | Findings - Installation, , , , Recommendation - Installation, , , Repair Done - Installation, late controlled | Com1 | E-mail
ILO-00007168 | 2025-05-09 | 03:54 pm - 03:55 pm | falogme | IAMUPHI | , , , , ILOILO CITY (Capital), | 0917-5474745 | KLG-SF40-WBR6H1M32-I |  | VIC IMPERIAL APP | INST | DC | C | For Installation | REM Cleanair Aircon Services Corporation ILO | For Record Purpose Only | 1 | 2025-05-09 | 2025-07-07 08:00 | 2025-07-07 17:00 | Findings - Installation, , , , Recommendation - Installation, , , Repair Done - Installation, late controlled | Com1 | E-mail
ILO-00007169 | 2025-05-09 | 03:59 pm - 04:00 pm | falogme | IAMUPHI | , , , , ILOILO CITY (Capital), | 0917-5474745 | KLG-SF40-WBR6H1M32-I |  | VIC IMPERIAL APP | INST | DC | C | For Installation | REM Cleanair Aircon Services Corporation ILO | For Record Purpose Only | 1 | 2025-05-09 | 2025-07-07 08:00 | 2025-07-07 17:00 | Findings - Installation, , , , Recommendation - Installation, , , Repair Done - Installation, late controlled | Com1 | E-mail
ILO-00007170 | 2025-05-09 | 04:38 pm - 04:39 pm | falogme | Rbjr Construction Services | , 121 Fajardo St., , San Pedro Molo, ILOILO CITY (Capital), | 0947-3426069 | KSG-IWF-30WFY-8K1M32-I |  | VIC IMPERIAL APP | INST | DC | C | For Installation | REM Cleanair Aircon Services Corporation ILO | For Record Purpose Only | 1 | 2025-05-09 | 2025-11-07 08:00 | 2025-11-07 17:00 | Findings - Installation, , , , Recommendation - Installation, , , Repair Done - Installation, late controlled | Com1 | E-mail
ILO-00007171 | 2025-05-09 | 04:48 pm - 04:48 pm | falogme | Legaspi, Dawn | , , , Buyo, SANTA BARBARA, Iloilo | 0969-3197651 | KSM-IW10-WCT10M1M32 |  | VIC IMPERIAL APP | INST | DC | C | For Installation | REM Cleanair Aircon Services Corporation ILO | For Record Purpose Only | 1 | 2025-05-09 | 07/16/2025 08:00 am | 07/16/2025 05:00 pm | Findings - Installation, , , , Recommendation - Installation, , , Repair Done - Installation, late controlled | Com1 | E-mail
ILO-00007172 | 2025-05-09 | 04:54 pm - 04:56 pm | falogme | Yap, Gemma | , 26 Guanco St., , Bonifacio, ILOILO CITY (Capital), Iloilo | 0919-3202573/ 0920-8114928 | KSG-IWF-15WFY-8K1M32-I |  | VIC IMPERIAL APP | INST | DC | C | For Installation | REM Cleanair Aircon Services Corporation ILO | For Record Purpose Only | 1 | 2025-05-09 | 2025-03-07 08:00 | 2025-03-07 17:00 | Findings - Installation, , , , Recommendation - Installation, , , Repair Done - Installation, late controlled | Com1 | E-mail
ILO-00007173 | 2025-05-09 | 05:06 pm - 05:07 pm | falogme | Crucero, Lawrence June | , , Sta. Rosa, Mandurriao, ILOILO CITY (Capital), | 0927-7961433 | KSM-IW15-WCT10M1M32 |  | VIC IMPERIAL APP | INST | DC | C | For Installation | REM Cleanair Aircon Services Corporation ILO | For Record Purpose Only | 1 | 2025-05-09 | 07/16/2025 08:00 am | 07/16/2025 05:00 pm | Findings - Installation, , , , Recommendation - Installation, , , Repair Done - Installation, late controlled | Com1 | E-mail
ILO-00007174 | 2025-06-09 | 08:47 am - 08:48 am | falogme | Salolog, Jonabelle | Baldoza, , , Lapaz, ILOILO CITY (Capital), | 0917-3500274 | KSM-IW10-WCT10M1M32 |  | VIC IMPERIAL APP | INST | DC | C | For Installation | REM Cleanair Aircon Services Corporation ILO | For Record Purpose Only | 1 | 2025-06-09 | 07/14/2025 08:00 am | 07/14/2025 05:00 pm | Findings - Installation, , , , Recommendation - Installation, , , Repair Done - Installation, late controlled | Com1 | E-mail
ILO-00007175 | 2025-06-09 | 09:36 am - 09:37 am | falogme | Argalles, Carol | , , , , BALASAN, Iloilo | 0938-7380883 | KSM-IW25-WCT10M1M32 |  | VIC IMPERIAL APP | INST | DC | C | For Installation | Jomehc Airconditioning System Services | For Record Purpose Only | 1 | 2025-06-09 | 2025-02-09 08:00 | 2025-02-09 17:00 | Findings - Installation, , , , Recommendation - Installation, , , Repair Done - Installation | Com1 | E-mail
ILO-00007176 | 2025-06-09 | 11:14 am - 11:15 am | falogme | Medicus Philippines Inc. | , , , Inzo Arnaldo Vill.. Brgy. Inzo, ROXAS CITY (Capital), Capiz | 0939-4490049 | KSM-IW15-WCT10M1M32 |  | VIC IMPERIAL APP | INST | DC | C | For Installation | Cool Site Air-conditioning Services | For Record Purpose Only | 1 | 2025-06-09 | 2025-03-09 08:00 | 2025-03-09 17:00 | Findings - Installation, , , , Recommendation - Installation, , , Repair Done - Installation | Com1 | E-mail
ILO-00007177 | 2025-06-09 | 02:06 pm - 02:07 pm | falogme | Iconic Dealership Inc. | , Airversion Road, , Mandurriao, ILOILO CITY (Capital), Iloilo | 0917-1866870 | KLG-SF40-WBR6H1M32-I |  | VIC IMPERIAL APP | INST | DC | C | For Installation | Cool Site Air-conditioning Services | For Record Purpose Only | 1 | 2025-06-09 | 2025-03-09 08:00 | 2025-03-09 17:00 | Findings - Installation, , , , Recommendation - Installation, , , Repair Done - Installation | Com1 | E-mail
ILO-00007178 | 2025-06-09 | 02:19 pm - 02:20 pm | falogme | Manuel, Orly | , , , 147-I Luna St. Luna Lapaz, ILOILO CITY (Capital), | 0917-8608188 | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of Parts | 1 | 2025-06-09 | 2025-06-09 14:20 | 2025-06-09 14:30 | Findings - Sale of Parts, , , Recommendation - Sale of Parts, , , Repair Done - Sale of Parts | Com1 | Customer Lounge
ILO-00007179 | 2025-06-09 | 02:43 pm - 02:44 pm | falogme | Iconic Dealership Inc. | , Airversion Road, , Mandurriao, ILOILO CITY (Capital), Iloilo | 0917-1866870 | KLG-SF40-WBR6H1M32-I |  | VIC IMPERIAL APP | INST | DC | C | For Installation | Cool Site Air-conditioning Services | For Record Purpose Only | 1 | 2025-06-09 | 2025-03-09 08:00 | 2025-03-09 17:00 | Findings - Installation, , , , Recommendation - Installation, , , Repair Done - Installation | Com1 | E-mail
ILO-00007180 | 2025-06-09 | 02:58 pm - 02:59 pm | falogme | Medicus Philippines Inc. | , RV Bernardo Ave., Brgy. San Rafael, Mandurriao, ILOILO CITY (Capital), Iloilo | 0917-7200146 | KSM-IW20-WCT10M1M32 |  | VIC IMPERIAL APP | INST | DC | C | For Installation | Cool Site Air-conditioning Services | For Record Purpose Only | 1 | 2025-06-09 | 2025-03-09 08:00 | 2025-03-09 17:00 | Findings - Installation, , , , Recommendation - Installation, , , Repair Done - Installation | Com1 | E-mail
ILO-00007181 | 2025-06-09 | 03:03 pm - 03:04 pm | falogme | Medicus Philippines Inc. | , RV Bernardo Ave., Brgy. San Rafael, Mandurriao, ILOILO CITY (Capital), Iloilo | 0917-7200146 | KLG-IF40-5G1M32-I |  | VIC IMPERIAL APP | INST | DC | C | For Installation | Cool Site Air-conditioning Services | For Record Purpose Only | 1 | 2025-06-09 | 2025-04-09 08:00 | 2025-04-09 17:00 | Findings - Installation, , , , Recommendation - Installation, , , Repair Done - Installation | Com1 | E-mail
ILO-00007182 | 2025-06-09 | 03:16 pm - 03:16 pm | falogme | Martelino, Saykeme | New Buswang, , , Poblacion, KALIBO (Capital), Aklan | 0918-7587775 | KSM-IW15-WCT10M1M32 |  | VIC IMPERIAL APP | INST | DC | C | For Installation | REM Cleanair Aircon Services Corporation ILO | For Record Purpose Only | 1 | 2025-06-09 | 2025-04-07 08:00 | 2025-04-07 17:00 | Findings - Installation, , , , Recommendation - Installation, , , Repair Done - Installation, late controlled | Com1 | E-mail
ILO-00007183 | 2025-06-09 | 03:33 pm - 03:34 pm | falogme | Lorenzo, Albert James | , Osmena St., , Arevalo, ILOILO CITY (Capital), | 0962-5585448 | KSM-IW10-WCT10M1M32 |  | VIC IMPERIAL APP | INST | DC | C | For Installation | REM Cleanair Aircon Services Corporation ILO | For Record Purpose Only | 1 | 2025-06-09 | 2025-08-07 08:00 | 2025-08-07 17:00 | Findings - Installation, , , , Recommendation - Installation, , , Repair Done - Installation, late controlled | Com1 | E-mail
ILO-00007184 | 2025-06-09 | 03:55 pm - 03:56 pm | falogme | Cabarles, Mark | , , , Caticlan, MALAY, Aklan | 0956-5433498 | KSM-IW10-WCT10M1M32 |  | VIC IMPERIAL APP | INST | DC | C | For Installation | REM Cleanair Aircon Services Corporation ILO | For Record Purpose Only | 1 | 2025-06-09 | 2025-11-07 08:00 | 2025-11-07 17:00 | Findings - Installation, , , , Recommendation - Installation, , , Repair Done - Installation, late controlled | Com1 | E-mail
ILO-00007185 | 2025-06-09 | 04:01 pm - 04:02 pm | falogme | Cabarles, Mark | , , , Caticlan, MALAY, Aklan | 0956-5433498 | KSM-IW10-WCT10M1M32 |  | VIC IMPERIAL APP | INST | DC | C | For Installation | REM Cleanair Aircon Services Corporation ILO | For Record Purpose Only | 1 | 2025-06-09 | 2025-11-07 08:00 | 2025-11-07 17:00 | Findings - Installation, , , , Recommendation - Installation, , , , Repair Done - Installation, late controlled | Com1 | E-mail
ILO-00007186 | 2025-08-09 | 09:51 am - 09:53 am | APAITAN | Cool Site Airconditioning Service | , , , Brgy. Inzo Arnaldo, ROXAS, Capiz |  | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of parts | 1 | 2025-08-09 | 2025-08-09 10:00 | 2025-08-09 10:00 | Findings - Sale of parts, , , Recommendation - Sale of parts, , , Repair Done - Sale of parts | Com1 | Customer Lounge
ILO-00007187 | 2025-08-09 | 10:09 am - 10:10 am | APAITAN | Rac's Engineering Ref. & Air-conditioning Services | , Blk 49, Lot 74 , NHA, Bolilao, Mandurriao, ILOILO CITY (Capital), Iloilo |  | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of Parts | 1 | 2025-08-09 | 2025-08-09 10:14 | 2025-08-09 10:14 | Findings - Sale of parts, , , Recommendation - Sale of parts, , , Repair Done - Sale of parts | Com1 | Customer Lounge
ILO-00007188 | 2025-08-09 | 01:34 pm - 01:35 pm | falogme | Otero, Anabelle | , , , San Isidro, Lapaz, ILOILO CITY (Capital), | 0963-0454906 | KSM-IW20-WCT10M1M32 |  | VIC IMPERIAL APP | INST | DC | C | For Installation | REM Cleanair Aircon Services Corporation ILO | For Record Purpose Only | 1 | 2025-08-09 | 2025-02-04 08:00 | 2025-02-04 17:00 | Findings - Installation, , , , Recommendation - Installation, , , Repair Done - Installation, late controlled | Com1 | E-mail
ILO-00007189 | 2025-08-09 | 01:43 pm - 01:44 pm | falogme | Agrrissential Feeds Company Inc. | Timawa Ave., , , South Timawa Molo, ILOILO CITY (Capital), | 0912-5024424 | KLM-IC60-AA1M32 |  | VIC IMPERIAL APP | INST | DC | C | For Installation | REM Cleanair Aircon Services Corporation ILO | For Record Purpose Only | 1 | 2025-08-09 | 04/24/2025 08:00 am | 04/24/2025 05:00 pm | Findings - Installation, , , , Recommendation - Installation, , , Repair Done - Installation, late controlled | Com1 | E-mail
ILO-00007190 | 2025-09-09 | 10:10 am - 10:19 am | falogme | Nig Marketing Corp | , Mabin St., , , ILOILO CITY (Capital), Iloilo |  | KCF-10SRD |  | NIG MARKETING | TS | BI | W | Others | Laurence Pagayunan | TS / Shop Repair | 1 | 2025-09-09 | 2025-09-09 08:00 | 2025-09-09 10:00 | Findings - No Power / Loose Adaptor, , , Recommendation - For Repair, , , Repair Done - Adjustment/Unit Okey | Com1 | Customer Lounge
ILO-00007191 | 2025-09-09 | 10:49 am - 10:50 am | APAITAN | Rem Cleanair Aircon Services Corp | , H. Montinola Cor Muelle Loney St, , , ILOILO CITY (Capital), Iloilo |  | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of Parts | 1 | 2025-09-09 | 2025-09-09 10:54 | 2025-09-09 10:54 | Findings - Sale of parts, , , Recommendation - Sale of parts, , , Repair Done - Sale of parts | Com1 | Customer Lounge
ILO-00007192 | 2025-09-09 | 11:03 am - 11:04 am | falogme | Rem Cleanair Aircon Services Corp | , H. Montinola Cor Muelle Loney St, , , ILOILO CITY (Capital), Iloilo |  | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale Of Parts | 1 | 2025-09-09 | 2025-09-09 11:05 | 2025-09-09 11:15 | Findings - Sale of Parts, , , Recommendation - Sale of Parts, , , Repair Done - Sale of Parts | Com1 | Customer Lounge
ILO-00007193 | 2025-09-09 | 02:42 pm - 03:02 pm | falogme | Sonza, Lilybeth | , , , Jaro, ILOILO CITY (Capital), Iloilo | 0948-4200912 | KSM-IW15-WCT10M1M32 |  | VIC IMPERIAL APP | TS | DC | W | Not Cooling | REM Cleanair Aircon Services Corporation ILO | TS / Check up / Request Parts | 1 | 2025-09-09 | 2025-05-09 08:00 | 2025-05-09 17:00 | Findings - Not Cooling, , , Recommendation - Check up / Parts Replacement, , , Repair Done - Check up/ for replacement of Parts | Com1 | E-mail
ILO-00007194 | 2025-09-09 | 03:44 pm - 03:46 pm | falogme | Lifelong Disaster Supplies Trading | , Jv Jocson St., , San Jose, Arevalo, ILOILO CITY (Capital), | 0906-3028687 | KPA-150R15D410 |  | EMCOR INC. | TS | DC | W | E2 Error Code | Emcor- Iloilo | TS/ For Parts Request | 1 | 2025-09-09 | 2025-05-09 08:00 | 2025-05-09 17:00 | Findings - E2 Error, , , Recommendation - Check up / For Parts Request, , , Repair Done - Check up / For Parts Request | Com1 | E-mail
ILO-00007195 | 2025-09-09 | 04:08 pm - 04:11 pm | falogme | Sonza, Lilybeth | , , , Jaro, ILOILO CITY (Capital), Iloilo | 0948-4200912 | KSM-IW15-WCT10M1M32 |  | VIC IMPERIAL APP | TS | FD | W | Not Cooling | REM Cleanair Aircon Services Corporation ILO | TS/ Replaced Parts | 1 | 2025-10-09 | 09/15/2025 08:00 am | 09/15/2025 05:00 pm | Findings - Not Cooling, , , Recommendation - Replacement of parts, , , Repair Done - Replaced Parts/Observed Unit Okey | Com1 | E-mail
ILO-00007196 | 2025-10-09 | 08:19 am - 08:20 am | falogme | Gabriel, Marlyn | , , , Ipil, BALASAN, Iloilo | 0963-0367668 | KSM-IW10-WCT10M1M32 |  | VIC IMPERIAL APP | INST | DC | C | For Installation | Jomehc Airconditioning System Services | For Record Purpose Only | 1 | 2025-10-09 | 2025-07-09 08:00 | 2025-07-09 17:00 | Findings - Installation, , , , Recommendation - Installation, , , Repair Done - Installation | Com1 | E-mail
ILO-00007197 | 2025-10-09 | 08:23 am - 08:24 am | falogme | Gabriel, Marlyn | , , , Ipil, BALASAN, Iloilo | 0963-0367668 | KSG-IWF-15WFY-8K1M32-I |  | VIC IMPERIAL APP | INST | DC | C | For Installation | Jomehc Airconditioning System Services | For Record Purpose Only | 1 | 2025-10-09 | 2025-07-09 08:00 | 2025-07-09 17:00 | Findings - Installation, , , , Recommendation - Installation, , , Repair Done - Installation | Com1 | E-mail
ILO-00007198 | 2025-10-09 | 08:50 am - 08:56 am | falogme | Estores, Rudy | , , , Botong, OTON, Iloilo | 0947-3605757 | KSM-IW20-WCT10M1M32 |  | VIC IMPERIAL APP | INST | DC | C | For Installation | Lopel Airconditioning Services | For Record Purpose Only | 1 | 2025-10-09 | 2025-06-09 08:00 | 2025-06-09 05:00 | Findings - Installation, , , , Recommendation - Installation, , , Repair Done - Installation | Com1 | E-mail
ILO-00007199 | 2025-10-09 | 11:03 am - 11:04 am | falogme | Contreras, Ballejo Mae | , Tacas, , , PONTEVEDRA, Capiz | 0931-8015093 | KSM-IW20-WCT10M1M32 |  | VIC IMPERIAL APP | INST | DC | C | For Installation | Cool Site Air-conditioning Services | For Record Purpose Only | 1 | 2025-10-09 | 2025-09-09 08:00 | 2025-09-09 17:00 | Findings - Installation, , , , Recommendation - Installation, , , Repair Done - Installation | Com1 | E-mail
ILO-00007200 | 2025-10-09 | 02:21 pm - 02:21 pm | falogme | Mondejar, Mike | Blk 4 Lot 5 , , , Mansilingan, BACOLOD, Negros Occidental | 0968-8567607 | KSG-IWF-30WFY-8K1M32-I |  | VIC IMPERIAL APP | INST | DC | C | For Installation | REM Cleanair Aircon Services Corporation ILO | For Record Purpose Only | 1 | 2025-10-09 | 04/24/2025 08:00 am | 04/24/2025 05:00 pm | Findings - Installation, , , , Recommendation - Installation, , , Repair Done - Installation, late controlled | Com1 | E-mail
ILO-00007201 | 2025-10-09 | 02:27 pm - 02:27 pm | falogme | Jinon, Reynaldo | Zone 5, , , Don Esteban, Lapuz, ILOILO CITY (Capital), | 0917-3308363 | KSG-IWF-15WFY-8K1M32-I |  | VIC IMPERIAL APP | INST | DC | C | For Installation | REM Cleanair Aircon Services Corporation ILO | For Record Purpose Only | 1 | 2025-10-09 | 04/19/2025 08:00 am | 04/19/2025 05:00 pm | Findings - Installation, , , , Recommendation - Installation, , , Repair Done - Installation, late controlled | Com1 | E-mail
ILO-00007202 | 2025-10-09 | 03:03 pm - 03:03 pm | falogme | Borci, Aileen | , 259e Compania St., , Molo, ILOILO CITY (Capital), | 0910-8570505 | KSG-IWF-20WFY-8K1M32-I |  | VIC IMPERIAL APP | INST | DC | C | For Installation | REM Cleanair Aircon Services Corporation ILO | For Record Purpose Only | 1 | 2025-10-09 | 04/21/2025 08:00 am | 04/21/2025 05:00 pm | Findings - Installation, , , , Recommendation - Installation, , , Repair Done - Installation, late controlled | Com1 | E-mail
ILO-00007203 | 2025-10-09 | 03:13 pm - 03:16 pm | falogme | Agchem Construction | , , , , BANGA, Aklan | 0966-6689466 | KSM-IW20-WCT10M1M32 |  | VIC IMPERIAL APP | INST | DC | C | For Installation | REM Cleanair Aircon Services Corporation ILO | For Record Purpose Only | 1 | 2025-10-09 | 04/28/2025 08:00 am | 04/28/2025 05:00 pm | Findings - Installation, , , , Recommendation - Installation, , , Repair Done - Installation, late controlled | Com1 | E-mail
ILO-00007204 | 2025-10-09 | 03:34 pm - 03:36 pm | falogme | Syl Hermanos Trade Center | , Muelle Loney St., , Pres. Roxas, ILOILO CITY (Capital), | 0956-2389562 | KLG-SF40-WBR6H1M32-I |  | VIC IMPERIAL APP | INST | DC | C | For Installation | REM Cleanair Aircon Services Corporation ILO | For Record Purpose Only | 1 | 2025-10-09 | 04/24/2025 08:00 am | 04/24/2025 05:00 pm | Findings - Installation, , , , Recommendation - Installation, , , Repair Done - Installation, late controlled | Com1 | E-mail
ILO-00007205 | 2025-10-09 | 04:20 pm - 04:20 pm | falogme | Espinosa, Jacqueline | , , Cabugao Sur, , SANTA BARBARA, Iloilo | 0998-9804720 | KSM-IW10-WCT10M1M32 |  | VIC IMPERIAL APP | INST | DC | C | For Installation | REM Cleanair Aircon Services Corporation ILO | For Record Purpose Only | 1 | 2025-10-09 | 04/22/2025 08:00 am | 04/22/2025 05:00 pm | Findings - Installation, , , , Recommendation - Installation, , , Repair Done - Installation, late controlled | Com1 | E-mail
ILO-00007206 | 2025-10-09 | 04:25 pm - 04:26 pm | falogme | Paraiso, Venus | , , , Atabay, SAN JOSE, Antique | 0927-1859073 | KSM-IW15-WCT10M1M32 |  | VIC IMPERIAL APP | INST | DC | C | For Installation | REM Cleanair Aircon Services Corporation ILO | For Record Purpose Only | 1 | 2025-10-09 | 04/28/2025 08:00 am | 04/28/2025 05:00 pm | Findings - Installation, , , , Recommendation - Installation, , , Repair Done - Installation, late controlled | Com1 | E-mail
ILO-00007207 | 2025-10-09 | 04:31 pm - 04:32 pm | falogme | Bearland Resort | Bearland Resort, , , , TIGBAUAN, Iloilo | 0949-7144555 | KSG-IWF-20WFY-8K1M32-I |  | VIC IMPERIAL APP | INST | DC | C | For Installation | REM Cleanair Aircon Services Corporation ILO | For Record Purpose Only | 1 | 2025-10-09 | 04/28/2025 08:00 am | 04/28/2025 05:00 pm | Findings - Installation, , , , Recommendation - Installation, , , Repair Done - Installation, late controlled | Com1 | E-mail
ILO-00007208 | 2025-10-09 | 04:39 pm - 04:39 pm | falogme | Arquisal, Adonio | , , , Barrido, AJUY, Iloilo | 0963-4392567 | KSM-IW15-WCT10M1M32 |  | VIC IMPERIAL APP | INST | DC | C | For Installation | REM Cleanair Aircon Services Corporation ILO | For Record Purpose Only | 1 | 2025-10-09 | 04/25/2025 08:00 am | 04/25/2025 05:00 pm | Findings - Installation, , , , Recommendation - Installation, , , Repair Done - Installation, late controlled | Com1 | E-mail
ILO-00007209 | 2025-10-09 | 04:49 pm - 04:50 pm | falogme | Grande, Imelda | , , , Patong-Patong, JANIUAY, Iloilo | 0912-8435696 | KSG-IWF-10WFY-8K1M32-I |  | VIC IMPERIAL APP | INST | DC | C | For Installation | REM Cleanair Aircon Services Corporation ILO | For Record Purpose Only | 1 | 2025-10-09 | 2025-02-05 08:00 | 2025-02-05 17:00 | Findings - Installation, , , , Recommendation - Installation, , , Repair Done - Installation, late controlled | Com1 | E-mail
ILO-00007210 | 2025-10-09 | 04:56 pm - 04:56 pm | falogme | Cabico, Henshie | , , , Lapaz, ILOILO CITY (Capital), | 0956-4262303 | KSG-IWF-10WFY-8K1M32-I |  | VIC IMPERIAL APP | INST | DC | C | For Installation | REM Cleanair Aircon Services Corporation ILO | For Record Purpose Only | 1 | 2025-10-09 | 2025-01-05 08:00 | 2025-01-05 17:00 | Findings - Installation, , , , Recommendation - Installation, , , Repair Done - Installation, late controlled | Com1 | E-mail
ILO-00007211 | 2025-10-09 | 05:02 pm - 05:03 pm | falogme | LGU Banga | , , , Poblacion, KALIBO (Capital), Aklan | 0939-8356529 | KSG-IWF-30WFY-8K1M32-I |  | VIC IMPERIAL APP | INST | DC | C | For Installation | REM Cleanair Aircon Services Corporation ILO | For Record Purpose Only | 1 | 2025-10-09 | 04/26/2025 08:00 am | 04/26/2025 05:00 pm | Findings - Installation, , , , Recommendation - Installation, , , Repair Done - Installation, late controlled | Com1 | E-mail
ILO-00007212 | 2025-10-09 | 05:09 pm - 05:09 pm | falogme | Celiz, Peter Glenn | , 27 Ortiz St., , President Roxas, ILOILO CITY (Capital), | 0929-5216188 | KSG-IWF-20WFY-8K1M32-I |  | VIC IMPERIAL APP | INST | DC | C | For Installation | REM Cleanair Aircon Services Corporation ILO | For Record Purpose Only | 1 | 2025-10-09 | 04/26/2025 08:00 am | 04/26/2025 05:00 pm | Findings - Installation, , , , Recommendation - Installation, , , Repair Done - Installation, late controlled | Com1 | E-mail
ILO-00007213 | 2025-11-09 | 11:35 am - 11:36 am | falogme | Cruz, Teresita | , Sitio Agbucad, , Aquino, IBAJAY, Aklan | 0995-1613526 | KSM-IW10-WCT10M1M32 |  | VIC IMPERIAL APP | INST | DC | C | For Installation | REM Cleanair Aircon Services Corporation ILO | For Record Purpose Only | 1 | 2025-11-09 | 04/29/2025 08:00 am | 04/29/2025 05:00 pm | Findings - Installation, , , , Recommendation - Installation, , , Repair Done - Installation, late controlled | Com1 | E-mail
ILO-00007214 | 2025-11-09 | 01:58 pm - 01:58 pm | falogme | Cruz, Teresita | , Sitio Agbucad, , Aquino, IBAJAY, Aklan | 0995-1613526 | KSM-IW10-WCT10M1M32 |  | VIC IMPERIAL APP | INST | DC | C | For Installation | REM Cleanair Aircon Services Corporation ILO | For Record Purpose Only | 1 | 2025-11-09 | 04/29/2025 08:00 am | 04/29/2025 05:00 pm | Findings - Installation, , , , Recommendation - Installation, , , Repair Done - Installation, late controlled | Com1 | E-mail
ILO-00007215 | 2025-11-09 | 02:02 pm - 02:03 pm | falogme | Cruz, Teresita | , Sitio Agbucad, , Aquino, IBAJAY, Aklan | 0995-1613526 | KSM-IW10-WCT10M1M32 |  | VIC IMPERIAL APP | INST | DC | C | For Installation | REM Cleanair Aircon Services Corporation ILO | For Record Purpose Only | 1 | 2025-11-09 | 04/29/2025 08:00 am | 04/29/2025 05:00 pm | Findings - Installation, , , , Recommendation - Installation, , , Repair Done - Installation, late controlled | Com1 | E-mail
ILO-00007216 | 2025-11-09 | 02:08 pm - 02:09 pm | falogme | Cruz, Teresita | , Sitio Agbucad, , Aquino, IBAJAY, Aklan | 0995-1613526 | KSM-IW20-WCT10M1M32 |  | VIC IMPERIAL APP | INST | DC | C | For Installation | REM Cleanair Aircon Services Corporation ILO | For Record Purpose Only | 1 | 2025-11-09 | 04/29/2025 08:00 am | 04/29/2025 05:00 pm | Findings - Installation, , , , Recommendation - Installation, , , Repair Done - Installation, late controlled | Com1 | E-mail
ILO-00007217 | 2025-11-09 | 02:14 pm - 02:16 pm | falogme | Quebral, Julius | , , , , OTON, Iloilo |  | KEA-25BWR |  | KMI | TS | BI | W | Not Cooling | Laurence Pagayunan | TS/ Shop Repair | 1 | 2025-11-09 |  |  |  |  | Customer Lounge
ILO-00007218 | 2025-11-09 | 02:34 pm - 02:35 pm | falogme | Torrecampo, Royce | , , , Bito-on, JARO, Iloilo | 0916-3938854 | KSM-IW10-WCT10M1M32 |  | VIC IMPERIAL APP | INST | DC | C | For Installation | REM Cleanair Aircon Services Corporation ILO | For Record Purpose Only | 1 | 2025-11-09 | 04/28/2025 08:00 am | 04/28/2025 05:00 pm | Findings - Installation, , , , Recommendation - Installation, , , Repair Done - Installation, late controlled | Com1 | E-mail
ILO-00007219 | 2025-11-09 | 02:42 pm - 02:43 pm | falogme | Conjug8 Corp | , , , , QUEZON, Iloilo | 0905-4050754 | KSM-IW15-WCT10M1M32 |  | VIC IMPERIAL APP | INST | DC | C | For Installation | REM Cleanair Aircon Services Corporation ILO | For Record Purpose Only | 1 | 2025-11-09 | 04/25/2025 08:00 am | 04/25/2025 05:00 pm | Findings - Installation, , , , Recommendation - Installation, , , Repair Done - Installation, late controlled | Com1 | E-mail
ILO-00007220 | 2025-11-09 | 02:47 pm - 02:48 pm | falogme | Gallenero, Dionely Shine | , Hapatag, , , HAMTIC, Antique | 0950-3042363 | KSM-IW20-WCT10M1M32 |  | VIC IMPERIAL APP | INST | DC | C | For Installation | REM Cleanair Aircon Services Corporation ILO | For Record Purpose Only | 1 | 2025-11-09 | 2025-03-05 08:00 | 2025-03-05 17:00 | Findings - Installation, , , , Recommendation - Installation, , , Repair Done - Installation, late controlled | Com1 | E-mail
ILO-00007221 | 2025-11-09 | 02:55 pm - 02:56 pm | falogme | 3D Fcrc First Leasing Corporation | , , , Napnud, LEGANES, Iloilo | 0931-8800744 | KSM-IW20-WCT10M1M32 |  | VIC IMPERIAL APP | INST | DC | C | For Installation | REM Cleanair Aircon Services Corporation ILO | For Record Purpose Only | 1 | 2025-11-09 | 04/15/2025 08:00 am | 04/15/2025 05:00 pm | Findings - Installation, , , , Recommendation - Installation, , , Repair Done - Installation, late controlled | Com1 | E-mail
ILO-00007222 | 2025-11-09 | 03:04 pm - 03:05 pm | falogme | Banares, Leo | , , , Bagumbayan, TIGBAUAN, Iloilo | 0960-8323416 | KSM-IW15-WCT10M1M32 |  | VIC IMPERIAL APP | INST | DC | C | For Installation | REM Cleanair Aircon Services Corporation ILO | For Record Purpose Only | 1 | 2025-11-09 | 2025-02-05 08:00 | 2025-02-05 17:00 | Findings - Installation, , , , Recommendation - Installation, , , Repair Done - Installation, late controlled | Com1 | E-mail
ILO-00007223 | 2025-11-09 | 03:10 pm - 03:10 pm | falogme | Parreno, Ma. Karena | , Zone 3, , Alegre, OTON, Iloilo | 0917-1499175 | KSM-IW25-WCT10M1M32 |  | VIC IMPERIAL APP | INST | DC | C | For Installation | REM Cleanair Aircon Services Corporation ILO | For Record Purpose Only | 1 | 2025-11-09 | 04/29/2025 08:00 am | 04/29/2025 05:00 pm | Findings - Installation, , , , Recommendation - Installation, , , Repair Done - Installation, late controlled | Com1 | E-mail
ILO-00007224 | 2025-11-09 | 03:16 pm - 03:17 pm | falogme | Iturralde, Virginie | , , , , MALINAO, Aklan | 0917-1444494 | KSM-IW10-WCT10M1M32 |  | VIC IMPERIAL APP | INST | DC | C | For Installation | REM Cleanair Aircon Services Corporation ILO | For Record Purpose Only | 1 | 2025-11-09 | 04/25/2025 08:00 am | 04/25/2025 05:00 pm | Findings - Installation, , , , Recommendation - Installation, , , Repair Done - Installation, late controlled | Com1 | E-mail
ILO-00007225 | 2025-11-09 | 03:20 pm - 03:21 pm | falogme | Iturralde, Virginie | , , , , MALINAO, Aklan | 0917-1444494 | KSM-IW10-WCT10M1M32 |  | VIC IMPERIAL APP | INST | DC | C | For Installation | REM Cleanair Aircon Services Corporation ILO | For Record Purpose Only | 1 | 2025-11-09 | 04/25/2025 08:00 am | 04/25/2025 05:00 pm | Findings - Installation, , , , Recommendation - Installation, , , Repair Done - Installation, late controlled | Com1 | E-mail
ILO-00007226 | 2025-11-09 | 03:24 pm - 03:25 pm | falogme | Iturralde, Virginie | , , , , MALINAO, Aklan | 0917-1444494 | KSM-IW10-WCT10M1M32 |  | VIC IMPERIAL APP | INST | DC | C | For Installation | REM Cleanair Aircon Services Corporation ILO | For Record Purpose Only | 1 | 2025-11-09 | 04/25/2025 08:00 am | 04/25/2025 05:00 pm | Findings - Installation, , , , Recommendation - Installation, , , Repair Done - Installation, late controlled | Com1 | E-mail
ILO-00007227 | 2025-11-09 | 03:30 pm - 03:31 pm | falogme | Iturralde, Virginie | , , , , MALINAO, Aklan | 0917-1444494 | KSM-IW15-WCT10M1M32 |  | VIC IMPERIAL APP | INST | DC | C | For Installation | REM Cleanair Aircon Services Corporation ILO | For Record Purpose Only | 1 | 2025-11-09 | 04/25/2025 08:00 am | 04/25/2025 05:00 pm | Findings - Installation, , , , Recommendation - Installation, , , Repair Done - Installation, late controlled | Com1 | E-mail
ILO-00007228 | 2025-11-09 | 03:36 pm - 03:37 pm | falogme | Ituralde, Judge Philbert | , Sta. Maria St., , Poblacion, MALINAO, Aklan | 0956-8767458 | KSM-IW10-WCT10M1M32 |  | VIC IMPERIAL APP | INST | DC | C | For Installation | REM Cleanair Aircon Services Corporation ILO | For Record Purpose Only | 1 | 2025-11-09 | 04/22/2025 08:00 am | 04/22/2025 05:00 pm | Findings - Installation, , , , Recommendation - Installation, , , Repair Done - Installation, late controlled | Com1 | E-mail
ILO-00007229 | 2025-11-09 | 03:42 pm - 03:43 pm | falogme | Servano, Jonalyn | , , B48 L22 Pomette St., , ILOILO CITY (Capital), | 0917-63804996 | KSM-IW15-WCT10M1M32 |  | VIC IMPERIAL APP | INST | DC | C | For Installation | REM Cleanair Aircon Services Corporation ILO | For Record Purpose Only | 1 | 2025-11-09 | 04/13/2025 08:00 am | 04/13/2025 05:00 pm | Findings - Installation, , , , Recommendation - Installation, , , Repair Done - Installation, late controlled | Com1 | E-mail
ILO-00007230 | 2025-11-09 | 03:48 pm - 03:49 pm | falogme | Abraham, Chanda | , , , Sinanay, ALIMODIAN, Iloilo | 0910-3894665 | KSG-IWF-20WFY-8K1M32-I |  | VIC IMPERIAL APP | INST | DC | C | For Installation | REM Cleanair Aircon Services Corporation ILO | For Record Purpose Only | 1 | 2025-11-09 | 04/25/2025 08:00 am | 04/25/2025 05:00 pm | Findings - Installation, , , , Recommendation - Installation, , , Repair Done - Installation, late controlled | Com1 | E-mail
ILO-00007231 | 2025-11-09 | 03:54 pm - 03:55 pm | falogme | King, Lanz Xavier | , L17 B13 Brussels , , Brgy. Kibaoan Norte, Mandurriao, ILOILO CITY (Capital), | 0921-4988888 | KSM-IW15-WCT10M1M32 |  | VIC IMPERIAL APP | INST | DC | C | For Installation | REM Cleanair Aircon Services Corporation ILO | For Record Purpose Only | 1 | 2025-11-09 | 05/29/2025 08:00 am | 05/29/2025 05:00 pm | Findings - Installation, , , , Recommendation - Installation, , , , Repair Done - Installation, late controlled | Com1 | E-mail
ILO-00007232 | 2025-11-09 | 04:02 pm - 04:03 pm | falogme | Penaflor, Rosemarie | Wesviarc , , , Hamungaya , JARO, Iloilo | 0919-8205713 | KSM-IW10-WCT10M1M32 |  | VIC IMPERIAL APP | INST | DC | C | For Installation | REM Cleanair Aircon Services Corporation ILO | For Record Purpose Only | 1 | 2025-11-09 | 05/20/2025 08:00 am | 05/20/2025 05:00 pm | Findings - Installation, , , , Recommendation - Installation, , , Repair Done - Installation, late controlled | Com1 | E-mail
ILO-00007233 | 2025-11-09 | 04:19 pm - 04:20 pm | falogme | Achterberg, Cathy Leen | B3 L3, , , Emerald Estates, OTON, Iloilo | 0966-7303692 | KSG-IWF-30WFY-8K1M32-I |  | VIC IMPERIAL APP | INST | DC | C | For Installation | REM Cleanair Aircon Services Corporation ILO | For Record Purpose Only | 1 | 2025-11-09 | 05/22/2025 08:00 am | 05/22/2025 05:00 pm | Findings - Installation, , , , Recommendation - Installation, , , Repair Done - Installation, late controlled | Com1 | E-mail
ILO-00007234 | 2025-11-09 | 04:27 pm - 04:28 pm | falogme | Catilo, Joeylen | B3 L10 Parc Regency , , , Balabag , PAVIA, Iloilo | 0917-1706616 | KSM-IW15-WCT10M1M32 |  | VIC IMPERIAL APP | INST | DC | C | For Installation | REM Cleanair Aircon Services Corporation ILO | For Record Purpose Only | 1 | 2025-11-09 | 05/24/2025 08:00 am | 05/24/2025 05:00 pm | Findings - Installation, , , , Recommendation - Installation, , , Repair Done - Installation, late controlled | Com1 | E-mail
ILO-00007235 | 2025-11-09 | 04:32 pm - 04:33 pm | falogme | Soriano, Yolanda | Calaboa Oeste , , , , SANTA BARBARA, Iloilo | 0917-6202553 | KSG-IWF-15WFY-8K1M32-I |  | VIC IMPERIAL APP | INST | DC | C | For Installation | REM Cleanair Aircon Services Corporation ILO | For Record Purpose Only | 1 | 2025-11-09 | 05/21/2025 08:00 am | 05/21/2025 05:00 pm | Findings - Installation, , , , Recommendation - Installation, , , Repair Done - Installation, late controlled | Com1 | E-mail
ILO-00007236 | 2025-11-09 | 04:37 pm - 04:38 pm | falogme | Ventura, Jo-ann | , , , Odiong, ALTAVAS, Aklan | 0920-4887475 | KSG-IWF-30WFY-8K1M32-I |  | VIC IMPERIAL APP | INST | DC | C | For Installation | REM Cleanair Aircon Services Corporation ILO | For Record Purpose Only | 1 | 2025-11-09 | 05/23/2025 08:00 am | 05/23/2025 05:00 pm | Findings - Installation, , , , Recommendation - Installation, , , Repair Done - Installation, late controlled | Com1 | E-mail
ILO-00007237 | 2025-11-09 | 04:43 pm - 04:43 pm | falogme | Abiera, Aloha Joy | , , , , LIBACAO, Aklan | 0950-1144888 | KSM-IW10-WCT10M1M32 |  | VIC IMPERIAL APP | INST | DC | C | For Installation | REM Cleanair Aircon Services Corporation ILO | For Record Purpose Only | 1 | 2025-11-09 | 05/27/2025 08:00 am | 05/27/2025 05:00 pm | Findings - Installation, , , , , Recommendation - Installation, , , , Repair Done - Installation, late controlled | Com1 | E-mail
ILO-00007238 | 2025-11-09 | 04:52 pm - 04:53 pm | falogme | Libo-on, Kris Leanne | Old deca Ph1 Blk 19 Lot 5 , , , Pandac, PAVIA, Iloilo | 0947-6013578 | KSM-IW10-WCT10M1M32 |  | VIC IMPERIAL APP | INST | DC | C | For Installation | REM Cleanair Aircon Services Corporation ILO | For Record Purpose Only | 1 | 2025-11-09 | 05/21/2025 08:00 am | 05/21/2025 05:00 pm | Findings - Installation, , , , Recommendation - Installation, , , Repair Done - Installation, late controlled | Com1 | E-mail
ILO-00007239 | 2025-11-09 | 04:58 pm - 04:59 pm | falogme | Cordero, Rhealyn | , , , Funda, HAMTIC, Antique | 0948-7216362 | KSG-IWF-10WFY-8K1M32-I |  | VIC IMPERIAL APP | INST | DC | C | For Installation | REM Cleanair Aircon Services Corporation ILO | For Record Purpose Only | 1 | 2025-11-09 | 05/23/2025 08:00 am | 05/23/2025 05:00 pm | Findings - Installation, , , , Recommendation - Installation, , , Repair Done - Installation, late controlled | Com1 | E-mail
ILO-00007240 | 2025-11-09 | 05:05 pm - 05:05 pm | falogme | Mosquera, Ma.Rita | , , Austery Subd., Pali mond, ILOILO CITY (Capital), | 0905-4024996 | KSG-IWF-30WFY-8K1M32-I |  | VIC IMPERIAL APP | INST | DC | C | For Installation | REM Cleanair Aircon Services Corporation ILO | For Record Purpose Only | 1 | 2025-11-09 | 05/23/2025 08:00 am | 05/23/2025 05:00 pm | Findings - Installation, , , , Recommendation - Installation, , , Repair Done - Installation, late controlled | Com1 | E-mail
ILO-00007241 | 2025-12-09 | 09:01 am - 09:02 am | falogme | Remard Eng'g Works & Ent. | , , Sambag, Jaro, ILOILO CITY (Capital), Iloilo |  | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of Parts | 1 | 2025-12-09 | 2025-12-09 09:05 | 2025-12-09 09:15 | Findings - Sale of Parts, , , Recommendation - Sale of Parts, , , Repair Done - Sale of Parts | Com1 | Customer Lounge
ILO-00007242 | 2025-12-09 | 09:46 am - 09:51 am | falogme | Sacay, Maximino | , , , Brgy. Santiago, SAN MIGUEL, Iloilo | 0963-6651917 | KAG-75WCINV |  | VIC IMPERIAL APP | TS | FD | W | H5 Error Code | Lopel Airconditioning Services | Relayed to Lopel Airconditioning Services | 1 | 2025-12-09 | 2025-12-09 10:00 | 2025-12-09 14:00 | Findings - H5 Error, , , Recommendation - For Check up & Repair, , , Repair Done - Remove the rug that covers the air ventilation | Com1 | E-mail
ILO-00007243 | 2025-12-09 | 10:48 am - 11:02 am | falogme | Nig Marketing Corp | , Mabin St., , , ILOILO CITY (Capital), Iloilo |  | KEA-50BLRDCA |  | NIG MARKETING | TS | BI | W | Fan Not Functioning | Laurence Pagayunan | TS/ Shop Repair | 1 | 2025-12-09 | 2025-12-09 10:45 | 2025-12-09 11:20 | Findings - Def. Display Board, , , Recommendation - Replacement of Display Board, , , Repair Done - Replaced Display Board/Observed Unit is Okay | Com1 | Customer Lounge
ILO-00007244 | 2025-12-09 | 11:36 am - 11:37 am | falogme | Nig Marketing Corp | , Mabin St., , , ILOILO CITY (Capital), Iloilo |  | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of Parts | 1 | 2025-12-09 | 2025-12-09 11:40 | 2025-12-09 11:45 | Findings - Sale of Parts, , , Recommendation - Sale of Parts, , , Repair Done - Sale of Parts | Com1 | Customer Lounge
ILO-00007245 | 2025-12-09 | 11:55 am - 11:57 am | falogme | De Pablo, Cristina | , , , , LEGANES, Iloilo |  | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of Parts | 1 | 2025-12-09 | 2025-12-09 11:55 | 2025-12-09 12:05 | Findings - Sale of Parts, , , Recommendation - Sale of Parts, , , Repair Done - Sale of Parts | Com1 | Customer Lounge
ILO-00007246 | 2025-12-09 | 01:44 pm - 01:50 pm | falogme | Atalo, Nestor | , Santiago St, , 3, SAN JOSE DE BUAN, Antique | 0939-9178638 | KSM-IW20-WCT10M1M32 |  | VIC IMPERIAL APP | INST | DC | C | For Installation | REM Cleanair Aircon Services Corporation ILO | For Record Purpose Only | 1 | 2025-12-09 | 2025-01-05 08:00 | 2025-01-05 17:00 | Findings - Installation, , , , Recommendation - Installation, , , Repair Done - Installation, late controlled | Com1 | E-mail
ILO-00007247 | 09/13/2025 | 09:37 am - 09:38 am | falogme | Robles , Sherah | Blk 11 Lt3 Parc A, , , Balasag , PAVIA, Iloilo | 0993-3004832 | KSM-IW25-WCT10M1M32 |  | VIC IMPERIAL APP | INST | DC | C | For Installation | REM Cleanair Aircon Services Corporation ILO | For Record Purpose Only | 1 | 09/13/2025 | 05/21/2025 08:00 am | 05/21/2025 05:00 pm | Findings - Installation, , , , Recommendation - Installation, , , Repair Done - Installation, late controlled | Com1 | E-mail
ILO-00007248 | 09/13/2025 | 09:43 am - 09:44 am | falogme | Parcia, Sahgiel | Ph1 Blk 32 Lot 25 Casa Mira, , , Camalig, JARO, Iloilo | 0995-9157990 | KSM-IW15-WCT10M1M32 |  | VIC IMPERIAL APP | INST | DC | C | For Installation | REM Cleanair Aircon Services Corporation ILO | For Record Purpose Only | 1 | 09/13/2025 | 05/21/2025 08:00 am | 09/21/2025 05:00 pm | Findings - Installation, , , , Recommendation - Installation, , , Repair Done - Installation, late controlled | Com1 | E-mail
ILO-00007249 | 09/13/2025 | 09:47 am - 09:48 am | falogme | Parcia, Sahgiel | Ph1 Blk 32 Lot 25 Casa Mira, , , Camalig, JARO, Iloilo | 0995-9157990 | KSM-IW15-WCT10M1M32 |  | VIC IMPERIAL APP | INST | DC | C | For Installation | REM Cleanair Aircon Services Corporation ILO | For Record Purpose Only | 1 | 09/13/2025 | 04/23/2025 12:00 am | 04/23/2025 12:00 am | Findings - Installation, , , , Recommendation - Installation, , , Repair Done - Installation, late controlled | Com1 | E-mail
ILO-00007250 | 09/13/2025 | 10:36 am - 10:37 am | falogme | Valeriano, Liezel | Purok B , , , Brgy. Guintas , LEGANES, Iloilo | 0994-3352046 | KSG-IWF-15WFY-8K1M32-I |  | VIC IMPERIAL APP | INST | DC | C | For Installation | REM Cleanair Aircon Services Corporation ILO | For Record Purpose Only | 1 | 09/13/2025 | 05/21/2025 08:00 am | 05/21/2025 05:00 pm | Findings - Installation, , , , Recommendation - Installation, , , , Repair Done - Installation, late controlled | Com1 | E-mail
ILO-00007251 | 09/13/2025 | 10:41 am - 10:42 am | falogme | Olaviaga, Richelle | , , , , OTON, Iloilo | 0950-9031364 | KSM-IW10-WCT10M1M32 |  | VIC IMPERIAL APP | INST | DC | C | For Installation | REM Cleanair Aircon Services Corporation ILO | For Record Purpose Only | 1 | 09/13/2025 | 05/19/2025 08:00 am | 05/19/2025 05:00 pm | Findings - Installation, , , , Recommendation - Installation, , , Repair Done - Installation, late controlled | Com1 | E-mail
ILO-00007252 | 09/13/2025 | 11:06 am - 11:07 am | falogme | Blacano, Kyra Jean | 877 Phil Railway St., , , , ROXAS CITY (Capital), Capiz | 0927-0286342 | KSM-IW25-WCT10M1M32 |  | VIC IMPERIAL APP | INST | DC | C | For Installation | REM Cleanair Aircon Services Corporation ILO | For Record Purpose Only | 1 | 09/13/2025 | 05/29/2025 08:00 am | 05/29/2025 05:00 pm | Findings - Installation, , , , Recommendation - Installation, , , Repair Done - Installation, late controlled | Com1 | E-mail
ILO-00007253 | 09/13/2025 | 11:50 am - 11:52 am | falogme | Vic Imperial Appliance - Showroom | , Iznart St.,, , , ILOILO CITY (Capital), Iloilo |  | KA-100MCARINV32 |  | VIC IMPERIAL APP | TS | BI | W | Broken Parts | Laurence Pagayunan | TS/ For Parts Replacement | 1 | 09/13/2025 | 09/13/2025 11:55 am | 09/13/2025 12:10 pm | Findings - Crack Face Cover, , , Recommendation - replacement of face cover, , , Repair Done - Replaced face cover/ unit is okay | Com1 | Customer Lounge
ILO-00007254 | 09/13/2025 | 02:10 pm - 02:11 pm | falogme | Depakakibo, Jerry | Parc-C B1 L92, , , Brgy. Ungka 2, PAVIA, Iloilo | 0921-7355901 | KSG-IWF-15WFY-8K1M32-I |  | VIC IMPERIAL APP | INST | DC | C | For Installation | REM Cleanair Aircon Services Corporation ILO | For Record Purpose Only | 1 | 09/13/2025 | 04/23/2025 08:00 am | 04/23/2025 05:00 pm | Findings - Installation, , , , Recommendation - Installation, , , Repair Done - Installation, late controlled | Com1 | E-mail
ILO-00007255 | 09/13/2025 | 02:20 pm - 02:23 pm | falogme | Borbon, Teresita | B28 L15-18, , , Brgy. Bito-on, JARO, Iloilo | 0919-0088216 | KL-IF40-G6H1M32-I |  | VIC IMPERIAL APP | INST | DC | C | For Installation | REM Cleanair Aircon Services Corporation ILO | For Record Purpose Only | 1 | 09/13/2025 | 04/26/2025 08:00 am | 04/26/2025 05:00 pm | Findings - Installation, , , , Recommendation - Installation, , , Repair Done - Installation, late controlled | Com1 | E-mail
ILO-00007256 | 09/13/2025 | 04:35 pm - 04:35 pm | falogme | Roche, Mae ann | 225, , , Don Lutero West , JANIUAY, Iloilo | 0968-978655 | KSG-IWF-25WFY-8K1M32-I |  | VIC IMPERIAL APP | INST | DC | C | For Installation | REM Cleanair Aircon Services Corporation ILO | For Record Purpose Only | 1 | 09/13/2025 | 04/28/2025 08:00 am | 04/28/2025 05:00 pm | Findings - Installation, , , , Recommendation - Installation, , , Repair Done - Installation, late controlled | Com1 | E-mail
ILO-00007257 | 09/13/2025 | 04:41 pm - 04:41 pm | falogme | Tarusan, Remar | , , , Tondog, TANGALAN, Aklan | 0960-5545571 | KSM-IW15-WCT10M1M32 |  | VIC IMPERIAL APP | INST | DC | C | For Installation | REM Cleanair Aircon Services Corporation ILO | For Record Purpose Only | 1 | 09/13/2025 | 05/23/2025 08:00 am | 05/23/2025 05:00 pm | Findings - Installation, , , , Recommendation - Installation, , , Repair Done - Installation, late controlled | Com1 | E-mail
ILO-00007258 | 09/13/2025 | 04:59 pm - 04:59 pm | falogme | Jalandoni, Chris | , Sitio Puntales , , Nipa, CONCEPCION, Iloilo | 0945-5002127 | KSM-IW15-WCT10M1M32 |  | VIC IMPERIAL APP | INST | DC | C | For Installation | REM Cleanair Aircon Services Corporation ILO | For Record Purpose Only | 1 | 09/13/2025 | 2025-11-07 08:00 | 2025-11-07 17:00 | Findings - Installation, , , , Recommendation - Installation, , , Repair Done - Installation, late controlled | Com1 | E-mail
ILO-00007259 | 09/13/2025 | 05:03 pm - 05:03 pm | falogme | Aklan Catholic College | , , , , KALIBO (Capital), Aklan | 0908-8397622 | KSM-IW10-WCT10M1M32 |  | VIC IMPERIAL APP | INST | DC | C | For Installation | REM Cleanair Aircon Services Corporation ILO | For Record Purpose Only | 1 | 09/13/2025 | 2025-02-07 08:00 | 2025-02-07 17:00 | Findings - Installation, , , , Recommendation - Installation, , , Repair Done - Installation, late controlled | Com1 | E-mail
ILO-00007260 | 09/15/2025 | 10:42 am - 10:52 am | falogme | Lifelong Disaster Supplies Trading | , Jv Jocson St., , San Jose, Arevalo, ILOILO CITY (Capital), | 0906-3028687 | KPA-150R15D410 |  | EMCOR INC. | TS | BI | W | E2 Error Code | Laurence Pagayunan | TS/ For Parts Replacement | 1 | 09/15/2025 | 09/15/2025 08:00 am | 09/15/2025 11:00 am | Findings - Defective Sensor, , , Recommendation - Replacement of parts, , , Repair Done - Replaced sensor / Observed/ units is Okay | Com1 | E-mail
ILO-00007261 | 09/15/2025 | 11:26 am - 11:30 am | falogme | RV Empire Inc. | , , , Tabuc Suba, ROXAS, Capiz |  | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of Parts | 1 | 09/15/2025 | 09/15/2025 11:30 am | 09/15/2025 11:45 am | Findings - Sale of Parts, , , Recommendation - Sale of Parts, , , Repair Done - Sale of Parts | Com1 | Customer Lounge
ILO-00007262 | 09/15/2025 | 02:21 pm - 02:22 pm | falogme | Lopel Airconditioning Services | Juliana Bldg., Road 10, , Brgy. Aganan, PAVIA, Iloilo |  | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of Parts | 1 | 09/15/2025 | 09/15/2025 02:25 pm | 09/15/2025 02:35 pm | Findings - Sale of Parts, , , Recommendation - Sale of Parts, , , Repair Done - Sale of Parts | Com1 | Customer Lounge
ILO-00007263 | 09/15/2025 | 03:24 pm - 03:25 pm | falogme | Phillppine Estates | , , , , JARO, Iloilo City | 3231855 | KSM-IW20-WCT10M1M32 |  | NIG MARKETING | INST | DC | C | For Installation | NIG Marketing Corporation | For Record Purpose Only | 1 | 09/15/2025 | 2025-06-08 08:00 | 2025-06-08 17:00 | Findings - Installation, , , , Recommendation - Installation, , , Repair Done - Installation, late controlled | Com1 | E-mail
ILO-00007264 | 09/15/2025 | 03:42 pm - 03:43 pm | falogme | Tabares, Fr. Francisco | , , , , TUBUNGAN, Iloilo | 0917-1160568 | KSM-IW10-WCT10M1M32 |  | NIG MARKETING | INST | DC | C | For Installation | NIG Marketing Corporation | For Record Purpose Only | 1 | 09/15/2025 | 08/19/2025 08:00 am | 08/19/2025 05:00 pm | Findings - Installation, , , , Recommendation - Installation, , , Repair Done - Installation, late controlled | Com1 | E-mail
ILO-00007265 | 09/15/2025 | 04:05 pm - 04:06 pm | falogme | Paner, Ma. Socorro | , , , Buswang, KALIBO (Capital), Aklan | 0939-3174668 | KSM-IW25-WCT10M1M32 |  | VIC IMPERIAL APP | INST | DC | C | For Installation | REM Cleanair Aircon Services Corporation ILO | For Record Purpose Only | 1 | 09/15/2025 | 04/22/2025 08:00 am | 04/22/2025 05:00 pm | Findings - Installation, , , , Recommendation - Installation, , , Repair Done - Installation, late controlled | Com1 | E-mail
ILO-00007266 | 09/15/2025 | 04:17 pm - 04:24 pm | falogme | Lifebank Foundation, Inc. | , Gov. Fermin Caram Street, , Brgy. Maria Clara, ILOILO CITY (Capital), Iloilo | 0919-0660716 | KSG-IWF-30WFY-8K1M32-I |  | VIC IMPERIAL APP | TS | DC | P | Not Cooling | Lopel Airconditioning Services | TS/ Replaced Parts | 1 | 09/15/2025 | 09/16/2025 09:00 am | 09/17/2025 12:00 pm | Findings - Not cooling/E6 Error, , , Recommendation - For replacement of outdoor board, , , Repair Done - Replaced of defective outdoor board/ Observed/ Unit is okay | Com1 | E-mail
ILO-00007267 | 09/16/2025 | 08:15 am - 08:17 am | falogme | Travi帽a, Kate | , , , Parara Sur, TIGBAUAN, Iloilo | 0945-7721309 | KAG-145WCINV |  | VIC IMPERIAL APP | TS | BI | W | F5 Error Code | Laurence Pagayunan | TS/ Shop Repair | 1 | 09/16/2025 | 09/16/2025 08:30 am | 09/16/2025 03:00 pm | Findings - Error F4/F3, , , Recommendation - Replaced Main board & Temperature Sensor, , , Repair Done - Replaced Parts/Observed Unit Okey | Com1 | Customer Lounge
ILO-00007268 | 09/16/2025 | 04:55 pm - 04:56 pm | falogme | Alindato, Atty. Remo T. | 004 , C. Fernandez St., , Poblacion, NUMANCIA, Iloilo | 0917-7910743 | KSG-IWF-30WFY-8K1M32-I |  | KMI | INST | DC | C | For Installation | Cool Zone Ref & Aircon Spare Parts & Service | For Record Purpose Only | 1 | 09/16/2025 | 08/30/2025 08:00 am | 08/30/2025 05:00 pm | Findings - Installation, , , , Recommendation - Installation, , , Repair Done - Installation | Com1 | E-mail
ILO-00007269 | 09/17/2025 | 08:43 am - 08:47 am | falogme | Imperial Appliance Corp. - Fundidor | , , South Fundidor, Molo, ILOILO CITY (Capital), Iloilo |  | KSD-240MG1 |  | VIC IMPERIAL APP | TS | BI | W | Others | Laurence Pagayunan | TS/ For Shop Repair | 1 | 09/17/2025 | 09/17/2025 08:30 am | 09/17/2025 09:00 am | Findings - Deffective Temp. Control, , , Recommendation - Replacement of Thermostat, , , Repair Done - Replaced Parts/Observed Unit Okey | Com1 | Customer Lounge
ILO-00007270 | 09/17/2025 | 09:23 am - 09:24 am | falogme | Imperial Appliance Corp. - Fundidor | , , South Fundidor, Molo, ILOILO CITY (Capital), Iloilo |  | KAG-75WCINV |  | VIC IMPERIAL APP | TS | BI | W | Others | Laurence Pagayunan | TS/ Shop Repair | 1 | 09/17/2025 | 09/17/2025 08:30 am | 09/17/2025 09:30 am | Findings - Adjusment pf Swing Motor/Replaced Face Cover, , , Recommendation - replacement of face cover, , , Repair Done - Replaced face cover/Observed Unit / Unit is Okay | Com1 | Customer Lounge
ILO-00007271 | 09/17/2025 | 10:13 am - 10:15 am | falogme | Imperial Appliance Corp. - Fundidor | , , South Fundidor, Molo, ILOILO CITY (Capital), Iloilo |  | KIF-26SMBBLDC |  | VIC IMPERIAL APP | TS | BI | W | Others | Laurence Pagayunan | TS/ Unrepairable / For CM | 1 | 09/17/2025 | 09/17/2025 08:30 am | 09/17/2025 09:30 am | Findings - Defective Thread knob, , , Recommendation - Unrepairable , , , Repair Done - TS/ Unrepairable / For CM | Com1 | Customer Lounge
ILO-00007272 | 09/17/2025 | 10:31 am - 10:33 am | falogme | Imperial Appliance Corp. - Fundidor | , , South Fundidor, Molo, ILOILO CITY (Capital), Iloilo |  | KCF-10SRD |  | VIC IMPERIAL APP | TS | BI | W | Others | Laurence Pagayunan | TS / Discoloration / Unrepairable / For CM | 1 | 09/17/2025 | 09/17/2025 08:30 am | 09/17/2025 09:30 am | Findings - Discolored Body, , , Recommendation - Discoloration / Unrepairable, , , Repair Done - Discoloration / Unrepairable / For CM | Com1 | Customer Lounge
ILO-00007273 | 09/17/2025 | 10:41 am - 10:43 am | falogme | Imperial Appliance Corp. - Fundidor | , , South Fundidor, Molo, ILOILO CITY (Capital), Iloilo |  | KCF-10TRD |  | VIC IMPERIAL APP | TS | BI | W | Others | Laurence Pagayunan | TS/ No Parts Available / For CM | 1 | 09/17/2025 | 09/17/2025 08:30 am | 09/17/2025 09:30 am | Findings - Defective Swing, , , Recommendation - No Parts Available, , , Repair Done - No Parts Available | Com1 | Customer Lounge
ILO-00007274 | 09/17/2025 | 10:50 am - 10:54 am | falogme | Imperial Appliance Corp. - Fundidor | , , South Fundidor, Molo, ILOILO CITY (Capital), Iloilo |  | KAM-55CMC32 |  | VIC IMPERIAL APP | TS | BI | W | Others | Laurence Pagayunan | TS/ Unrepairable / For CM | 1 | 09/17/2025 | 09/17/2025 08:30 am | 09/17/2025 09:35 am | Findings - Defective Unit With Crack Parts Cause of Hauling, , , Recommendation - Unrepairable, , , Repair Done - Unrepairable / Crack Housing Upper Part / For CM | Com1 | Customer Lounge
ILO-00007275 | 09/17/2025 | 11:05 am - 11:07 am | falogme | Dela Cruz, Angie | , , , Cabilao Grande, CARLES, Iloilo | 0981-4945505 | KAM-100DRC32 |  | VIC IMPERIAL APP | TS | FD | W | No Power Supply | Jomehc Airconditioning System Services | Relayed to Jomehc | 1 | 09/17/2025 | 09/17/2025 04:00 pm | 09/17/2025 06:00 pm | Findings - No power not Functioning, , , Recommendation - Damage Board/For Replacement of PCB Board,, , Repair Done - check-up/ For Parts Request | Com1 | E-mail
ILO-00007276 | 09/17/2025 | 11:40 am - 11:40 am | falogme | Palmares, Francis | , #23 Mirasol St., , , , ILOILO CITY (Capital), | 0917-7161177 | KSM-IW25-WCT10M1M32 |  | ROBINSONS | INST | DC | C | For Installation | Ilo-Ilo Whitelines Service Center Co. | For Record Purpose Only | 1 | 09/17/2025 | 2025-12-09 08:00 | 2025-12-09 17:00 | Findings - Installation, , , , Recommendation - Installation, , , Repair Done - Installation, late generated | Com1 | E-mail
ILO-00007277 | 09/17/2025 | 01:44 pm - 01:46 pm | APAITAN | Lopel Airconditioning Services | Juliana Bldg., Road 10, , Brgy. Aganan, PAVIA, Iloilo |  | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of parts | 1 | 09/17/2025 | 09/17/2025 01:00 pm | 09/17/2025 01:55 pm | Findings - Sale of parts, , , Recommendation - Sale of parts, , , Repair Done - Sale of parts | Com1 | Customer Lounge
ILO-00007278 | 09/17/2025 | 04:53 pm - 04:56 pm | falogme | Nig Marketing Corp | , Mabin St., , , ILOILO CITY (Capital), Iloilo |  | KEA-50BLRDCA |  | NIG MARKETING | TS | BI | W | Others | Laurence Pagayunan | TS/ No power / Shop Repair | 1 | 09/17/2025 | 09/17/2025 02:00 pm | 09/17/2025 04:30 pm | Findings - No Power, , , Recommendation - Need to Replace Main Board, , , Repair Done - Replaced Parts/Observed Unit Okey | Com1 | Customer Lounge
ILO-00007279 | 09/18/2025 | 03:16 pm - 03:17 pm | falogme | Policarpio, Kristine Joy | , , , Canas, San Dionisio, BATAD, Iloilo | 0930-9536856 | KSM-IW20-WCT10M1M32 |  | VIC IMPERIAL APP | INST | DC | C | For Installation | Jomehc Airconditioning System Services | For Record Purpose Only | 1 | 09/18/2025 | 09/17/2025 08:00 am | 09/17/2025 05:00 pm | Findings - Installation, , , , Recommendation - Installation, , , Repair Done - Installation | Com1 | E-mail
ILO-00007280 | 09/18/2025 | 03:41 pm - 03:42 pm | falogme | Pajarillaga, Jojith | Blk 6 Lot 18 , , Parc Regency, Ungka, PAVIA, Iloilo | 0962-7302736 | KSM-IW10-WCT10M1M32 |  | ABENSON INC. | INST | DC | C | For Installation | Ilo-Ilo Cooled Air Service Center | For Record Purpose Only | 1 | 09/18/2025 | 09/15/2025 08:00 am | 09/15/2025 05:00 pm | Findings - Installation, , , , Recommendation - Installation, , , , Repair Done - Installation, late generated | Com1 | E-mail
ILO-00007281 | 09/18/2025 | 04:03 pm - 04:04 pm | falogme | Palmares, Francis | , #23 Mirasol St., , , , ILOILO CITY (Capital), | 0917-7161177 | KSM-IW25-WCT10M1M32 |  | ROBINSONS | INST | DC | C | For Installation | Ilo-Ilo Whitelines Service Center Co. | For Record Purpose Only | 1 | 09/18/2025 | 2025-12-09 08:00 | 2025-12-09 17:00 | Findings - Installation, , , , Recommendation - Installation, , , Repair Done - Installation, late generated | Com1 | E-mail
ILO-00007282 | 09/18/2025 | 04:16 pm - 04:17 pm | falogme | Cool Site Airconditioning Service | , , , Brgy. Inzo Arnaldo, ROXAS, Capiz |  | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale Of Parts | 1 | 09/18/2025 | 09/18/2025 02:00 pm | 09/18/2025 02:15 pm | Findings - Sale of Parts, , , Recommendation - Sale of Parts, , , Repair Done - Sale of Parts | Com1 | Customer Lounge
ILO-00007283 | 09/18/2025 | 04:41 pm - 04:42 pm | falogme | Ravena , Apryl Dawn | , , , Brgy Botong, OTON, Iloilo | 0907-9917302 | KSG-IWF-10WFY-8K1M32-I |  | ROBINSONS | INST | DC | C | For Installation | Ilo-Ilo Whitelines Service Center Co. | For Record Purpose Only | 1 | 09/18/2025 | 09/15/2025 08:00 am | 09/15/2025 05:00 pm | Findings - Installation, , , , Recommendation - Installation, , , Repair Done - Installation | Com1 | E-mail
ILO-00007284 | 09/18/2025 | 04:48 pm - 04:49 pm | falogme | Pineda, Jennifer | , Buenavista Bldg., Lopez Jaena St., , , Sambag, JARO, Iloilo City | 0939-3951414 | KSM-IW25-WCT10M1M32 |  | ROBINSONS | INST | DC | C | For Installation | Ilo-Ilo Whitelines Service Center Co. | For Record Purpose Only | 1 | 09/18/2025 | 09/16/2025 08:00 am | 09/16/2025 05:00 pm | Findings - Installation, , , , Recommendation - Installation, , , Repair Done - Installation | Com1 | E-mail
ILO-00007285 | 09/19/2025 | 10:03 am - 10:04 am | APAITAN | Cool Zone Ref & Aircon Repair & Service | , , National Highway, Estancia, KALIBO (Capital), Aklan | 0920-2397603 | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of Parts | 1 | 09/19/2025 | 09/19/2025 12:05 am | 09/19/2025 10:01 am | Findings - Sale of parts, , , Recommendation - Sale of parts, , , Repair Done - Sale of parts | Com1 | Customer Lounge
ILO-00007286 | 09/19/2025 | 02:11 pm - 02:12 pm | falogme | Emcor Inc- Kalibo | JVR BLDG, JP LAUREL AVE, , BAJADA , DAVAO CITY, Davao |  | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of Parts | 1 | 09/19/2025 | 09/19/2025 02:15 pm | 09/19/2025 02:30 pm | Findings - Sale of Parts, , , Recommendation - Sale of Parts, , , Repair Done - Sale of Parts | Com1 | Customer Lounge
ILO-00007287 | 09/20/2025 | 02:48 pm - 02:49 pm | falogme | Cool Site Airconditioning Service | , , , Brgy. Inzo Arnaldo, ROXAS, Capiz |  | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of Parts | 1 | 09/20/2025 | 09/20/2025 02:40 pm | 09/20/2025 02:50 pm | Findings - Sale of Parts, Recommendation - Sale of Parts, Repair Done - Sale of Parts | Com1 | Customer Lounge
ILO-00007288 | 09/20/2025 | 04:36 pm - 04:37 pm | falogme | Collegio Del Sagrado Corazon De Jesus | , , , Gen Hughes, ILOILO CITY (Capital), | 0995-6403555 | KSG-IWF-30WFY-8K1M32-I |  | VIC IMPERIAL APP | INST | DC | C | For Installation | REM Cleanair Aircon Services Corporation ILO | For Record Purpose Only | 1 | 09/20/2025 | 2025-02-05 08:00 | 2025-02-05 17:00 | Findings - Installation, , Recommendation - Installation, Repair Done - Installation | Com1 | E-mail
ILO-00007289 | 09/20/2025 | 04:47 pm - 04:48 pm | falogme | Dilay, Loriedyl | , , , Tabucan, DUMANGAS, Iloilo | 0920-8033677 | KLG-IF40-5G1M32-I |  | VIC IMPERIAL APP | INST | DC | C | For Installation | REM Cleanair Aircon Services Corporation ILO | For Record Purpose Only | 1 | 09/20/2025 | 04/30/2025 08:00 am | 04/30/2025 05:00 pm | Findings - Installation, , Recommendation - Installation, Repair Done - Installation | Com1 | E-mail
ILO-00007290 | 09/20/2025 | 04:55 pm - 04:56 pm | falogme | Lopel Airconditioning Services | Juliana Bldg., Road 10, , Brgy. Aganan, PAVIA, Iloilo |  | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of Parts | 1 | 09/20/2025 | 09/20/2025 04:55 pm | 09/20/2025 05:05 pm | Findings - Sale of Parts, Recommendation - Sale of Parts, Repair Done - Sale of Parts | Com1 | Customer Lounge
ILO-00007291 | 09/22/2025 | 10:12 am - 10:16 am | falogme | Dela Cruz, Angie | , , , Cabilao Grande, CARLES, Iloilo | 0981-4945505 | KAM-100DRC32 |  | VIC IMPERIAL APP | TS | DC | W | No Power Supply | Jomehc Airconditioning System Services | TS/ Check up / For Parts Replacement | 1 | 09/23/2025 | 09/24/2025 03:30 pm | 09/24/2025 04:30 am | Findings - No power not Functioning, Recommendation - Change PCB Board, Repair Done - Replaced new PCB board ( Unit Working Properly) | Com1 | E-mail
ILO-00007292 | 09/22/2025 | 10:40 am - 10:42 am | falogme | Forro, Vincent Dominic | , , , Cubay, JARO, Iloilo City | 0921-8585901 | KSM-IW20-WCT10M1M32 |  | VIC IMPERIAL APP | INST | DC | C | For Installation | REM Cleanair Aircon Services Corporation ILO | For Record Purpose Only | 1 | 09/22/2025 | 2025-01-05 08:00 | 2025-01-05 17:00 | Findings - Installation, , Recommendation - Installation, Repair Done - Installation | Com1 | E-mail
ILO-00007293 | 09/22/2025 | 10:49 am - 10:50 am | falogme | JTS Corp | , Fitness Ledesma St., , Lapuz Norte, ILOILO CITY (Capital), | 0999-8895946 | KSM-IW25-WCT10M1M32 |  | VIC IMPERIAL APP | INST | DC | C | For Installation | REM Cleanair Aircon Services Corporation ILO | For Record Purpose Only | 1 | 09/22/2025 | 2025-03-05 08:00 | 2025-03-05 17:00 | Findings - Installation, , Recommendation - Installation, Repair Done - Installation | Com1 | E-mail
ILO-00007294 | 09/22/2025 | 11:12 am - 11:13 am | falogme | Lopel Airconditioning Services | Juliana Bldg., Road 10, , Brgy. Aganan, PAVIA, Iloilo |  | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of Parts | 1 | 09/22/2025 | 09/22/2025 11:15 am | 09/22/2025 11:25 am | Findings - Sale of Parts, Recommendation - Sale of Parts, Repair Done - Sale of Parts | Com1 | Customer Lounge
ILO-00007295 | 09/22/2025 | 02:07 pm - 02:11 pm | falogme | Sotomil , Ninfa Sua | , , , Brgy. Duyanduyan, SANTA BARBARA, Iloilo | 0917-1022328 | KAG-145WCINV |  | VIC IMPERIAL APP | TS | DC | W | E8 Error Code | Lopel Airconditioning Services | TS/ Check up / For Parts Replacement | 1 | 09/22/2025 | 09/22/2025 12:30 pm | 09/22/2025 01:30 pm | Findings - Not cooling, Recommendation - For replacement Of PCB Main Board, Repair Done - Checked the Unit, Defective Pcb Main | Com1 | E-mail
ILO-00007296 | 09/22/2025 | 03:49 pm - 03:50 pm | falogme | Tabares, Fr. Francisco | , , , , TUBUNGAN, Iloilo | 0917-1160568 | KLG-IF40-5G1M32-I |  | NIG MARKETING | INST | DC | C | For Installation | NIG Marketing Corporation | For Record Purpose Only | 1 | 09/22/2025 | 08/19/2025 08:00 am | 08/19/2025 05:00 pm | Findings - Installation, , Recommendation - Installation, Repair Done - Installation | Com1 | E-mail
ILO-00007297 | 09/22/2025 | 04:04 pm - 04:05 pm | falogme | Sotomil , Ninfa Sua | , , , Brgy. Duyanduyan, SANTA BARBARA, Iloilo | 0917-1022328 | KAG-145WCINV |  | VIC IMPERIAL APP | TS | FD | W | E8 Error Code | Lopel Airconditioning Services | TS / Parts Replacement | 1 | 09/22/2025 | 09/24/2025 10:00 am | 09/24/2025 11:25 am | Findings - Not cooling, defective PCB Main, Recommendation - For replacement Of PCB Main Board, Repair Done - Replaced PCB main/ observe/ unit is okay | Com1 | E-mail
ILO-00007298 | 09/23/2025 | 01:27 pm - 01:31 pm | falogme | Nig Marketing Corp | , Mabin St., , , ILOILO CITY (Capital), Iloilo |  | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of Parts | 1 | 09/23/2025 | 09/23/2025 01:35 pm | 09/23/2025 01:45 pm | Findings - Sale of Parts, Recommendation - Sale of Parts, Repair Done - Sale of Parts | Com1 | Customer Lounge
ILO-00007299 | 09/23/2025 | 01:49 pm - 01:50 pm | falogme | Nig Marketing Corp | , Mabin St., , , ILOILO CITY (Capital), Iloilo |  | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of Parts | 1 | 09/23/2025 | 09/23/2025 01:55 pm | 09/23/2025 02:10 pm | Findings - Sale of Parts, Recommendation - Sale of Parts, Repair Done - Sale of Parts | Com1 | Customer Lounge
ILO-00007300 | 09/23/2025 | 02:09 pm - 02:28 pm | falogme | Roman Catholic Archbishop of Jaro | Sta. Maria Catholic School, Gen. Blanco, , City Proper, ILOILO CITY (Capital), Iloilo | 0998-8666053 | KLG-IF40-5G1M32-I |  | NIG MARKETING | TS | DC | P | Others | NIG Marketing Corporation | TS/ For Check up | 1 | 09/23/2025 | 08/22/2025 08:00 am | 08/22/2025 05:00 pm | Findings - Loose Compression of Motor Compressor, Recommendation - Check up / Parts Replacement, Repair Done - Check Up / For Parts Replacement | Com1 | E-mail
ILO-00007301 | 09/23/2025 | 02:32 pm - 02:37 pm | falogme | Roman Catholic Archbishop of Jaro | Sta. Maria Catholic School, Gen. Blanco, , City Proper, ILOILO CITY (Capital), Iloilo | 0998-8666053 | KLG-IF40-5G1M32-I |  | NIG MARKETING | TS | DC | P | Others | NIG Marketing Corporation | TS / For Check up | 1 | 09/23/2025 | 08/22/2025 08:00 am | 08/22/2025 05:00 pm | Findings - Loose Compression of Motor Compressor, Recommendation - For Check up, Repair Done - Check Up / For Parts Replacement | Com1 | E-mail
ILO-00007302 | 09/23/2025 | 02:52 pm - 02:53 pm | falogme | Roman Catholic Archbishop of Jaro | Sta. Maria Catholic School, Gen. Blanco, , City Proper, ILOILO CITY (Capital), Iloilo | 0998-8666053 | KLG-IF40-5G1M32-I |  | NIG MARKETING | TS | FD | P | Others | NIG Marketing Corporation | For Parts Replacement | 1 | 09/27/2025 | 09/25/2025 09:00 am | 09/25/2025 04:00 pm | Findings - Unit is not working, Recommendation - For System Reprocess, Repair Done - System Reprocess, unit is okay | Com1 | Customer Lounge
ILO-00007303 | 09/23/2025 | 03:00 pm - 03:02 pm | falogme | Roman Catholic Archbishop of Jaro | Sta. Maria Catholic School, Gen. Blanco, , City Proper, ILOILO CITY (Capital), Iloilo | 0998-8666053 | KLG-IF40-5G1M32-I |  | NIG MARKETING | TS | FD | P | Others | NIG Marketing Corporation | TS / For Parts Replacement | 1 | 09/27/2025 | 09/25/2025 09:00 am | 09/25/2025 04:00 pm | Findings - Unit is not working, Recommendation - For System Reprocess, Repair Done - System Reprocess, unit is okay | Com1 | Customer Lounge
ILO-00007304 | 09/24/2025 | 09:21 am - 09:23 am | APAITAN | Cool Site Airconditioning Service | , , , Brgy. Inzo Arnaldo, ROXAS, Capiz |  | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of Parts | 1 | 09/24/2025 | 09/24/2025 09:27 am | 09/24/2025 09:28 am | Findings - Sale of parts, Recommendation - Sale of parts, Repair Done - Sale of parts | Com1 | Customer Lounge
ILO-00007305 | 09/24/2025 | 02:40 pm - 02:41 pm | falogme | Villa, Crislet May | , Purok 3 Balanti-an, , , BALASAN, Iloilo | 0977-1038011 | KSM-IW10-WCT10M1M32 |  | VIC IMPERIAL APP | INST | DC | C | For Installation | Jomehc Airconditioning System Services | For Record Purpose Only | 1 | 09/24/2025 | 09/23/2025 08:00 am | 09/23/2025 05:00 pm | Findings - Installation, , Recommendation - Installation, Repair Done - Installation | Com1 | E-mail
ILO-00007306 | 09/24/2025 | 02:55 pm - 02:56 pm | falogme | Noble, Philip | , Prl Block 3 Lot 6 , Parc Regency, Brgy. Balabag, PAVIA, Iloilo | 0918-3924275 | KSM-IW15-WCT10M1M32 |  | ABENSON INC. | INST | DC | C | For Installation | Ilo-Ilo Cooled Air Service Center | For Record Purpose Only | 1 | 09/24/2025 | 09/22/2025 08:00 am | 09/22/2025 05:00 pm | Findings - Installation, , Recommendation - Installation, Repair Done - Installation | Com1 | E-mail
ILO-00007307 | 09/24/2025 | 03:23 pm - 03:23 pm | falogme | Team Sales & Promotion | , , , Brgy Hinaktakan, Lapaz, ILOILO CITY (Capital), | 0985-2562885 | KLG-SF40-WBR6H1M32-I |  | VIC IMPERIAL APP | INST | DC | C | For Installation | REM Cleanair Aircon Services Corporation ILO | For Record Purpose Only | 1 | 09/24/2025 | 04/26/2025 08:00 am | 04/26/2025 05:00 pm | Findings - Installation, , Recommendation - Installation, Repair Done - Installation, late controlled | Com1 | E-mail
ILO-00007308 | 09/25/2025 | 01:56 pm - 01:57 pm | falogme | Lopel Airconditioning Services | Juliana Bldg., Road 10, , Brgy. Aganan, PAVIA, Iloilo |  | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of Parts | 1 | 09/25/2025 | 09/25/2025 02:05 pm | 09/25/2025 02:15 pm | Findings - Sale of Parts, Recommendation - Sale of Parts, Repair Done - Sale of Parts | Com1 | Customer Lounge
ILO-00007309 | 09/25/2025 | 02:05 pm - 02:06 pm | falogme | J7 Hotel And Resort Corp. | , , , Mandurraio, ILOILO CITY (Capital), Iloilo |  | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of Parts | 1 | 09/25/2025 | 09/25/2025 02:10 pm | 09/25/2025 02:20 pm | Findings - Sale of Parts, Recommendation - Sale of Parts, Repair Done - Sale of Parts | Com1 | Customer Lounge
ILO-00007310 | 09/25/2025 | 02:49 pm - 02:50 pm | falogme | Sustento, Corinthia | , Delgado St., , , SANTA BARBARA, Iloilo | 0919-2195569 | KSM-IW25-WCT10M1M32 |  | VIC IMPERIAL APP | INST | DC | C | For Installation | REM Cleanair Aircon Services Corporation ILO | For Record Purpose Only | 1 | 09/25/2025 | 05/30/2025 08:00 am | 05/30/2025 05:00 pm | Findings - Installation, , Recommendation - Installation, Repair Done - Installation, late controlled | Com1 | E-mail
ILO-00007311 | 09/25/2025 | 03:05 pm - 03:06 pm | falogme | Sonza, Lilybeth | , , , Jaro, ILOILO CITY (Capital), Iloilo | 0948-4200912 | KSM-IW15-WCT10M1M32 |  | VIC IMPERIAL APP | INST | DC | C | For Installation | REM Cleanair Aircon Services Corporation ILO | For Record Purpose Only | 1 | 09/25/2025 | 04/26/2025 08:00 am | 04/26/2025 05:00 pm | Findings - Installation, , Recommendation - Installation, Repair Done - Installation, late controlled | Com1 | E-mail
ILO-00007312 | 09/25/2025 | 03:22 pm - 03:23 pm | falogme | Alimo-on, Bernalyn | Tower II Wv Room 503 , , , Mandurriao, ILOILO CITY (Capital), | 0939-2792261 | KSG-IWF-15WFY-8K1M32-I |  | VIC IMPERIAL APP | INST | DC | C | For Installation | REM Cleanair Aircon Services Corporation ILO | For Record Purpose Only | 1 | 09/25/2025 | 2025-12-07 08:00 | 2025-12-07 17:00 | Findings - Installation, , Recommendation - Installation, Repair Done - Installation, late controlled | Com1 | E-mail
ILO-00007313 | 09/25/2025 | 03:38 pm - 03:39 pm | falogme | Fort San Pedro National High School | , Sto. Rosario St., , Fort San Pedro, ILOILO CITY (Capital), | 0963-7665496 | KSM-IW25-WCT10M1M32 |  | VIC IMPERIAL APP | INST | DC | C | For Installation | REM Cleanair Aircon Services Corporation ILO | For Record Purpose Only | 1 | 09/25/2025 | 07/16/2025 08:00 am | 07/16/2025 05:00 pm | Findings - Installation, , Recommendation - Installation, Repair Done - Installation, late controlled | Com1 | E-mail
ILO-00007314 | 09/25/2025 | 03:52 pm - 03:53 pm | falogme | Ng, Frederick | , 60 General Luna St., , , ILOILO CITY (Capital), | 0917-7799099 | KSG-IWF-30WFY-8K1M32-I |  | VIC IMPERIAL APP | INST | DC | C | For Installation | REM Cleanair Aircon Services Corporation ILO | For Record Purpose Only | 1 | 09/25/2025 | 06/23/2025 08:00 am | 06/23/2025 05:00 pm | Findings - Installation, , Recommendation - Installation, Repair Done - Installation, late controlled | Com1 | E-mail
ILO-00007315 | 09/29/2025 | 08:52 am - 08:55 am | falogme | Conte, Mark | , , Monte Rosa Subd., Jibao-an, ILOILO CITY (Capital), Iloilo | 0917-1078377 | KAG-150RSINV |  |  | TS | BI | W | Auto On / Off | Laurence Pagayunan | TS / Shop Repair | 1 | 09/29/2025 |  |  |  |  | Customer Lounge
ILO-00007316 | 09/29/2025 | 10:55 am - 10:56 am | APAITAN | Quintilla, Windel | , , , , PAVIA, Iloilo |  | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of Parts | 1 | 09/29/2025 | 09/29/2025 11:00 am | 09/29/2025 11:12 am | Findings - Sale of Parts, Recommendation - Sale of Parts, Repair Done - Sale of Parts | Com1 | Customer Lounge
ILO-00007317 | 09/29/2025 | 01:53 pm - 01:54 pm | falogme | Jomehc Airconditioning System Services | , , , , BALASAN, Iloilo |  | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of Parts | 1 | 09/29/2025 | 09/29/2025 02:15 pm | 09/29/2025 02:20 pm | Findings - Sale of Parts, Recommendation - Sale of Parts, Repair Done - Sale of Parts | Com1 | Customer Lounge
ILO-00007318 | 09/29/2025 | 03:20 pm - 03:22 pm | falogme | Jovero, Jhoanna | Unit# SW 16J, , Palladium Condominium Megaworld , Mandurriao, ILOILO CITY (Capital), | 0961-8551242 | KAG-145WCINV |  | VIC IMPERIAL APP | TS | FD | W | Noisy | Lopel Airconditioning Services | Relayed to Lopel Airconditioning Services | 1 | 2025-02-10 | 2025-02-10 11:00 | 2025-02-10 11:40 | Findings - Motor compressor creates sounds revolution to higher frequency on its normal operation., Recommendation - No trouble found, Repair Done - Check and observe the unit/ unit is okay |  | E-mail
ILO-00007319 | 09/30/2025 | 10:41 am - 10:42 am | falogme | Blancaflor , Rafael | , , Landheights Subdivision Phase 1, Arevalo, Villa, ILOILO CITY (Capital), | 0 | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of Parts | 1 | 09/30/2025 | 09/30/2025 10:45 am | 09/30/2025 10:55 am | Findings - Sale of Parts, Recommendation - Sale of Parts, Repair Done - Sale of Parts | Com1 | Customer Lounge
ILO-00007320 | 09/30/2025 | 01:46 pm - 01:47 pm | falogme | Toledo Jr., Mario | , Duran St., , , ILOILO CITY (Capital), Iloilo |  | n/a |  |  | SP | WI | COS | Sales of Parts |  | Sale of Parts | 1 | 09/30/2025 | 09/30/2025 01:50 pm | 09/30/2025 02:00 pm | Findings - Sale of Parts, Recommendation - Sale of Parts, Repair Done - Sale of Parts | Com1 | Customer Lounge
ILO-00007321 | 09/30/2025 | 02:31 pm - 02:32 pm | falogme | JTM Business Ventures Incorporated | JTM Bldg. New Site St. , , , San Miguel, JORDAN (Capital), Guimaras | 0927-1521063 | KLM-SF70-4F1M410 |  | VIC IMPERIAL APP | INST | DC | C | For Installation | REM Cleanair Aircon Services Corporation ILO | For Record Purpose Only | 1 | 09/30/2025 | 04/29/2025 08:00 am | 04/29/2025 05:00 pm | Findings - Installation, , Recommendation - Installation, Repair Done - Installation, late controlled | Com1 | E-mail
ILO-00007322 | 09/30/2025 | 02:35 pm - 02:36 pm | falogme | JTM Business Ventures Incorporated | JTM Bldg. New Site St. , , , San Miguel, JORDAN (Capital), Guimaras | 0927-1521063 | KLM-SF70-4F1M410 |  | VIC IMPERIAL APP | INST | DC | C | For Installation | REM Cleanair Aircon Services Corporation ILO | For Record Purpose Only | 1 | 09/30/2025 | 04/26/2025 08:00 am | 04/26/2025 05:00 pm | Findings - Installation, , Recommendation - Installation, Repair Done - Installation, late controlled | Com1 | E-mail
ILO-00007323 | 09/30/2025 | 02:39 pm - 02:40 pm | falogme | JTM Business Ventures Incorporated | JTM Bldg. New Site St. , , , San Miguel, JORDAN (Capital), Guimaras | 0927-1521063 | KLM-SF70-4F1M410 |  | VIC IMPERIAL APP | INST | DC | C | For Installation | REM Cleanair Aircon Services Corporation ILO | For Record Purpose Only | 1 | 09/30/2025 | 04/26/2025 08:00 am | 04/26/2025 05:00 pm | Findings - Installation, , Recommendation - Installation, Repair Done - Installation, late controlled | Com1 | E-mail
ILO-00007324 | 09/30/2025 | 02:47 pm - 02:48 pm | falogme | Avida Atria Condominium Corp. | , , , San Rafael, Mandurriao, ILOILO CITY (Capital), | 0945-7327464 | KSM-IW25-WCT10M1M32 |  | VIC IMPERIAL APP | INST | DC | C | For Installation | REM Cleanair Aircon Services Corporation ILO | For Record Purpose Only | 1 | 09/30/2025 | 2025-12-07 08:00 | 2025-12-07 17:00 | Findings - Installation, , Recommendation - Installation, Repair Done - Installation, late controlled | Com1 | E-mail
ILO-00007325 | 09/30/2025 | 03:23 pm - 03:23 pm | falogme | Avida Atria Condominium Corp. | , , , San Rafael, Mandurriao, ILOILO CITY (Capital), | 0945-7327464 | KSM-IW25-WCT10M1M32 |  | VIC IMPERIAL APP | INST | DC | C | For Installation | REM Cleanair Aircon Services Corporation ILO | For Record Purpose Only | 1 | 09/30/2025 | 2025-12-07 08:00 | 2025-12-07 17:00 | Findings - Installation, , Recommendation - Installation, Repair Done - Installation, late controlled | Com1 | E-mail
ILO-00007326 | 09/30/2025 | 03:29 pm - 03:30 pm | falogme | Mendoza, Edgardo | B1 Lot 5 , , St. Claire Subd., Hibao-an Norte, Mandurriao, ILOILO CITY (Capital), | 0939-7508473 | KSM-IW10-WCT10M1M32 |  | VIC IMPERIAL APP | INST | DC | C | For Installation | REM Cleanair Aircon Services Corporation ILO | For Record Purpose Only | 1 | 09/30/2025 | 2025-07-06 08:00 | 2025-07-06 17:00 | Findings - Installation, , Recommendation - Installation, Repair Done - Installation, late controlled | Com1 | Customer Lounge
ILO-00007327 | 09/30/2025 | 03:49 pm - 03:53 pm | falogme | Alicia's Batchoy | , , , , JARO, Iloilo | 0969-5737370 | KLG-IF40-5G1M32-I |  | VIC IMPERIAL APP | INST | DC | C | For Installation | REM Cleanair Aircon Services Corporation ILO | For Record Purpose Only | 1 | 09/30/2025 | 2025-06-06 08:00 | 2025-06-06 17:00 | Findings - Installation, , Recommendation - Installation, Repair Done - Installation, late controlled | Com1 | E-mail
ILO-00007328 | 09/30/2025 | 03:57 pm - 03:58 pm | falogme | Alicia's Batchoy | , , , , JARO, Iloilo | 0969-5737370 | KLG-IF40-5G1M32-I |  | VIC IMPERIAL APP | INST | DC | C | For Installation | REM Cleanair Aircon Services Corporation ILO | For Record Purpose Only | 1 | 09/30/2025 | 2025-06-06 08:00 | 2025-06-06 17:00 | Findings - Installation, , Recommendation - Installation, Repair Done - Installation, late controlled | Com1 | E-mail
ILO-00007329 | 09/30/2025 | 04:48 pm - 04:48 pm | falogme | Apostol, Delma | Anaros, , , Mandurriao, ILOILO CITY (Capital), | 0950-7971194 | KSM-IW20-WCT10M1M32 |  | VIC IMPERIAL APP | INST | DC | C | For Installation | REM Cleanair Aircon Services Corporation ILO | For Record Purpose Only | 1 | 09/30/2025 | 06/26/2025 08:00 am | 06/27/2025 05:00 pm | Findings - Installation, , Recommendation - Installation, Repair Done - Installation, late controlled | Com1 | E-mail
ILO-00007330 | 09/30/2025 | 05:07 pm - 05:07 pm | falogme | Lee, Ramir | , , , Gibon, NABAS, Aklan | 09916621399 | KSM-IW15-WCT10M1M32 |  | VIC IMPERIAL APP | INST | DC | C | For Installation | REM Cleanair Aircon Services Corporation ILO | For Record Purpose Only | 1 | 09/30/2025 | 06/27/2025 08:00 am | 06/27/2025 05:00 pm | Findings - Installation, , Recommendation - Installation, Repair Done - Installation, late controlled | Com1 | E-mail
Legend:
PAO - Pick-up Admin Orders
DPO - Deliver of Dealer P.O.
DEF - Change Item
FAB - Fabrication of Bracket
CL - Copper Tube Claims
DEL - Delivery of Unit / Accessories
DSM - Dismantling
FPO - Unit for Pull-out
GC - General Cleaning
INST - Installation
MRK - Markings
PV - Project Visit
REP - Replacement as per dealer request
REPL - Replacement of Unit
SCF - Deliver / Pull-out of Scaffolding
SP - Sale of Parts
STU - Start-up
SVEY - Survey
TS - Troubleshooting
DIS - Dispose Parts
PGC - Pumpdown General Cleaning
Summary Per Job Type
JOB CLASS | CC | WI | BI | PO | FD | DC | RD | RM | TP | TOTAL
PAO | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DPO | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DEF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FAB | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CL | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DEL | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DSM | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FPO | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
GC | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
INST | 0 | 0 | 0 | 0 | 0 | 124 | 0 | 0 | 0 | 124
MRK | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PV | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REP | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REPL | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SCF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SP | 0 | 37 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 37
STU | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SVEY | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TS | 0 | 0 | 16 | 0 | 9 | 8 | 0 | 0 | 0 | 33
DIS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PGC | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL | 0 | 37 | 16 | 0 | 9 | 132 | 0 | 0 | 0 | 194