## OPTION 1
NOVEMBER 5, 2019
GLORIA MARIS RESTAURANT C/O MR. WONG
CCP COMPLEX ROXAS BLVD. PASAY CITY
551-3691/ 831-2894/ 0919-4940818/ 0929-3956950
| MODEL |  |  | QUANTITY
| KLG-IF40-2C1M |  |  | 3
| KLG-IF70-3D3M |  |  | 1
OPTION 1
ROOM 2 | [9 empty] | Area | ≈ | 32.4
ACU1 | 4hp Floor Mounted Inverter |  | KLG-IF40-2C1M
| Estimated Pipe Length : | 30 | ft
| Estimated Royal Cord Length : | 70 | ft
| Initial Charge | [9 empty] | P | 9500
Includes:
Labor
10ft Copper Tube
10ft Royal Cord
Circuit Breaker (40A)
Other Consumables
| Additional Charges | Description | Unit |  | Price Per Unit |  |  |  |  | Subtotal
| Copper Tube | 5/8"x 3/8" | 20 | ft | P | 250 | / | ft | P | 5000
| Royal Cord | 2.mm2 x 4C | 60 | ft | P | 35 | / | ft | P | 2100
| Royal Cord (ODU-Breaker) | 5.5mm2 x 3C | 7 | ft | P | 50 | / | ft | P | 350
| PVC | 3/4" | 1 | pc | P | 150 | / | pc | P | 150
| Drain Hose | White -1/2'' | 7 | ft | P | 25 | / | ft | P | 175
| Rubber Insulation | 2 1/8" x 3/4" x 6' | 1 | pc | P | 350 | / | pc | P | 350
| Fabricated Outdoor Bracket | Floor Type | 1 | unit | P | 2500 | / | unit | P | 2500 | P | 10625
| Estimated Charges | [9 empty] | P | 20125
ROOM 3 | [9 empty] | Area | ≈ | 24.3
ACU 2 | 4hp Floor Mounted Inverter |  | KLG-IF40-2C1M
| Estimated Pipe Length : | 30 | ft
| Estimated Royal Cord Length : | 70 | ft
| Initial Charge | [9 empty] | P | 9500
Includes:
Labor
10ft Copper Tube
10ft Royal Cord
Circuit Breaker (40A)
Other Consumables
| Additional Charges | Description | Unit |  | Price Per Unit |  |  |  |  | Subtotal
| Copper Tube | 5/8"x 3/8" | 20 | ft | P | 250 | / | ft | P | 5000
| Royal Cord | 2.mm2 x 4C | 60 | ft | P | 35 | / | ft | P | 2100
| Royal Cord (ODU-Breaker) | 5.5mm2 x 3C | 7 | ft | P | 50 | / | ft | P | 350
| PVC | 3/4" | 1 | pc | P | 150 | / | pc | P | 150
| Drain Hose | White -1/2'' | 7 | ft | P | 25 | / | ft | P | 175
| Rubber Insulation | 2 1/8" x 3/4" x 6' | 1 | pc | P | 350 | / | pc | P | 350
| Fabricated Outdoor Bracket | Floor Type | 1 | unit | P | 2500 | / | unit | P | 2500 | P | 10625
| Estimated Charges | [9 empty] | P | 20125
ROOM 4 | [9 empty] | Area | ≈ | 24.3
ACU 3 | 4hp Floor Mounted Inverter |  | KLG-IF40-2C1M
| Estimated Pipe Length : | 30 | ft
| Estimated Royal Cord Length : | 70 | ft
| Initial Charge | [9 empty] | P | 9500
Includes:
Labor
10ft Copper Tube
10ft Royal Cord
Circuit Breaker (40A)
Other Consumables
| Additional Charges | Description | Unit |  | Price Per Unit |  |  |  |  | Subtotal
| Copper Tube | 5/8"x 3/8" | 20 | ft | P | 250 | / | ft | P | 5000
| Royal Cord | 2.mm2 x 4C | 60 | ft | P | 35 | / | ft | P | 2100
| Royal Cord (ODU-Breaker) | 5.5mm2 x 3C | 7 | ft | P | 50 | / | ft | P | 350
| PVC | 3/4" | 1 | pc | P | 150 | / | pc | P | 150
| Drain Hose | White -1/2'' | 7 | ft | P | 25 | / | ft | P | 175
| Rubber Insulation | 2 1/8" x 3/4" x 6' | 1 | pc | P | 350 | / | pc | P | 350
| Fabricated Outdoor Bracket | Floor Type | 1 | unit | P | 2500 | / | unit | P | 2500 | P | 10625
| Estimated Charges | [9 empty] | P | 20125
ROOM 5 | [9 empty] | Area | ≈ | 38.4
ACU 4 | 7hp Floor Mounted Inverter |  | KLG-IF70-2C1M
| Estimated Pipe Length : | 30 | ft
| Estimated Royal Cord Length : | 70 | ft
| Initial Charge | [9 empty] | P | 10500
Includes:
Labor
10ft Copper Tube
10ft Royal Cord
Circuit Breaker (40A)
Other Consumables
| Additional Charges | Description | Unit |  | Price Per Unit |  |  |  |  | Subtotal
| Copper Tube | 3/4"x 3/8" | 20 | ft | P | 300 | / | ft | P | 6000
| Royal Cord | 2.mm2 x 4C | 60 | ft | P | 35 | / | ft | P | 2100
| Royal Cord (ODU-Breaker) | 5.5mm2 x 3C | 7 | ft | P | 50 | / | ft | P | 350
| PVC | 3/4" | 1 | pc | P | 150 | / | pc | P | 150
| Drain Hose | White -1/2'' | 7 | ft | P | 25 | / | ft | P | 175
| Rubber Insulation | 2 1/8" x 3/4" x 6' | 1 | pc | P | 350 | / | pc | P | 350
| Fabricated Outdoor Bracket | Floor Type | 1 | unit | P | 2500 | / | unit | P | 2500 | P | 11625
| Estimated Charges | [9 empty] | P | 22125
| Total Estimated Charges | [9 empty] | P | 82500
Validity: | This quotation is valid for a period of fifteen (15) days from the date thereof, subject to our confirmation thereafter.
Note:
1 | Location of indoor and outdoor units were agreed by the customer and Kolin's surveyor.
2 | AC drain line will be tapped to the nearest drain provision provided by the customer's contractor.
3 | Outdoor units will be installed on the roofing
4 | Copper tubing will be concealed/cladded by customer
5 | Fabricated outdoor bracket on site
6 | Customer will provide power supply to the outdoor
7 | Mechanical Plans, Permits, Electrical permits not included.
8 | Deflectors, masonry, carpentry, chipping & plastering (finishing & restoration) are not included in the installation.
9 | Electrical power supply (feeder line) is not included in the scope of work of Kolin.
10 | Final charges will be based on actual installation.
| Prepared by: |  |  |  |  | Reviewed by:
| Engr. Noel Christopher Cortez |  |  |  |  | Engr. Kenneth Zamora
| Project Survey Head |  |  |  |  | Asst. Service Supervisor

## OPTION 2
NOVEMBER 5, 2019
GLORIA MARIS RESTAURANT C/O MR. WONG
CCP COMPLEX ROXAS BLVD. PASAY CITY
551-3691/ 831-2894/ 0919-4940818/ 0929-3956950
| MODEL |  |  | QUANTITY
| KLM-IC40-2C1M |  |  | 3
| KLM-SC70-4F3M |  |  | 1
OPTION 2
ROOM 2 | [9 empty] | Area | ≈ | 32.4
ACU1 | 4hp Floor Ceiling Inverter |  | KLM-IC40-2C1M
| Estimated Pipe Length : | 20 | ft
| Estimated Royal Cord Length : | 50 | ft
| Initial Charge | [9 empty] | P | 11500
Includes:
Labor
10ft Copper Tube
10ft Royal Cord
Circuit Breaker (40A)
Other Consumables
| Additional Charges | Description | Unit |  | Price Per Unit |  |  |  |  | Subtotal
| Copper Tube | 5/8"x 3/8" | 10 | ft | P | 250 | / | ft | P | 2500
| Royal Cord | 2.mm2 x 4C | 40 | ft | P | 35 | / | ft | P | 1400
| Royal Cord (ODU-Breaker) | 5.5mm2 x 3C | 7 | ft | P | 50 | / | ft | P | 350
| PVC | 3/4" | 1 | pc | P | 150 | / | pc | P | 150
| Drain Hose | White -1/2'' | 7 | ft | P | 25 | / | ft | P | 175
| Rubber Insulation | 2 1/8" x 3/4" x 6' | 1 | pc | P | 350 | / | pc | P | 350
| Fabricated Indoor Bracket | Concealed | 1 | unit | P | 2500 | / | unit | P | 2500
| Fabricated Outdoor Bracket | Floor Type | 1 | unit | P | 2500 | / | unit | P | 2500 | P | 9925
| Estimated Charges | [9 empty] | P | 21425
ROOM 3 | [9 empty] | Area | ≈ | 24.3
ACU 2 | 4hp Floor Ceiling Inverter |  | KLM-IC40-2C1M
| Estimated Pipe Length : | 20 | ft
| Estimated Royal Cord Length : | 50 | ft
| Initial Charge | [9 empty] | P | 11500
Includes:
Labor
10ft Copper Tube
10ft Royal Cord
Circuit Breaker (40A)
Other Consumables
| Additional Charges | Description | Unit |  | Price Per Unit |  |  |  |  | Subtotal
| Copper Tube | 5/8"x 3/8" | 10 | ft | P | 250 | / | ft | P | 2500
| Royal Cord | 2.mm2 x 4C | 40 | ft | P | 35 | / | ft | P | 1400
| Royal Cord (ODU-Breaker) | 5.5mm2 x 3C | 7 | ft | P | 50 | / | ft | P | 350
| PVC | 3/4" | 1 | pc | P | 150 | / | pc | P | 150
| Drain Hose | White -1/2'' | 7 | ft | P | 25 | / | ft | P | 175
| Rubber Insulation | 2 1/8" x 3/4" x 6' | 1 | pc | P | 350 | / | pc | P | 350
| Fabricated Indoor Bracket | Concealed | 1 | unit | P | 2500 | / | unit | P | 2500
| Fabricated Outdoor Bracket | Floor Type | 1 | unit | P | 2500 | / | unit | P | 2500 | P | 9925
| Estimated Charges | [9 empty] | P | 21425
ROOM 4 | [9 empty] | Area | ≈ | 24.3
ACU 3 | 4hp Floor Ceiling Inverter |  | KLM-IC40-2C1M
| Estimated Pipe Length : | 20 | ft
| Estimated Royal Cord Length : | 50 | ft
| Initial Charge | [9 empty] | P | 11500
Includes:
Labor
10ft Copper Tube
10ft Royal Cord
Circuit Breaker (40A)
Other Consumables
| Additional Charges | Description | Unit |  | Price Per Unit |  |  |  |  | Subtotal
| Copper Tube | 5/8"x 3/8" | 10 | ft | P | 250 | / | ft | P | 2500
| Royal Cord | 2.mm2 x 4C | 40 | ft | P | 35 | / | ft | P | 1400
| Royal Cord (ODU-Breaker) | 5.5mm2 x 3C | 7 | ft | P | 50 | / | ft | P | 350
| PVC | 3/4" | 1 | pc | P | 150 | / | pc | P | 150
| Drain Hose | White -1/2'' | 7 | ft | P | 25 | / | ft | P | 175
| Rubber Insulation | 2 1/8" x 3/4" x 6' | 1 | pc | P | 350 | / | pc | P | 350
| Fabricated Indoor Bracket | Concealed | 1 | unit | P | 2500 | / | unit | P | 2500
| Fabricated Outdoor Bracket | Floor Type | 1 | unit | P | 2500 | / | unit | P | 2500 | P | 9925
| Estimated Charges | [9 empty] | P | 21425
ROOM 5 | [9 empty] | Area | ≈ | 38.4
ACU 4 | 7hp Floor Ceiling Non-Inverter |  | KLM-SC70-4F3M
| Estimated Pipe Length : | 20 | ft
| Estimated Royal Cord Length : | 50 | ft
| Initial Charge | [9 empty] | P | 12500
Includes:
Labor
10ft Copper Tube
10ft Royal Cord
Circuit Breaker (40A)
Other Consumables
| Additional Charges | Description | Unit |  | Price Per Unit |  |  |  |  | Subtotal
| Copper Tube | 7/8" bare | 10 | ft | P | 200 | / | ft | P | 2000
| Copper Tube | 3/8" bare | 10 | ft | P | 150 | / | ft | P | 1500
| Rubber Insulation | 7/8" x 3/4" x 6' | 3 | pc | P | 200 | / | pc | P | 600
| Rubber Insulation | 3/8" x 3/4" x 6' | 3 | pc | P | 150 | / | pc | P | 450
| Royal Cord | 2.mm2 x 4C | 40 | ft | P | 35 | / | ft | P | 1400
| Royal Cord (ODU-Breaker) | 5.5mm2 x 3C | 7 | ft | P | 50 | / | ft | P | 350
| PVC | 3/4" | 1 | pc | P | 150 | / | pc | P | 150
| Drain Hose | White -1/2'' | 7 | ft | P | 25 | / | ft | P | 175
| Fabricated Indoor Bracket | Concealed | 1 | unit | P | 2500 | / | unit | P | 2500
| Fabricated Outdoor Bracket | Floor Type | 1 | unit | P | 2500 | / | unit | P | 2500 | P | 9625
| Estimated Charges | [9 empty] | P | 22125
| Total Estimated Charges | [9 empty] | P | 86400
Validity: | This quotation is valid for a period of fifteen (15) days from the date thereof, subject to our confirmation thereafter.
Note:
1 | Location of indoor and outdoor units were agreed by the customer and Kolin's surveyor.
2 | AC drain line for all ceiling mounted units will be provided by the customer
3 | Outdoor units will be installed on the roofing
5 | Fabricated outdoor bracket on site
6 | Customer will provide power supply to the outdoor
7 | Power supply for 7hp/5TR unit will be 60Hz, 230V, 3 phase
8 | Mechanical Plans, Permits, Electrical permits not included.
9 | Deflectors, masonry, carpentry, chipping & plastering (finishing & restoration) are not included in the installation.
10 | Electrical power supply (feeder line) is not included in the scope of work of Kolin.
11 | Final charges will be based on actual installation.
| Prepared by: |  |  |  |  | Reviewed by:
| Engr. Noel Christopher Cortez |  |  |  |  | Engr. Kenneth Zamora
| Project Survey Head |  |  |  |  | Asst. Service Supervisor

## OPTION 3
NOVEMBER 12, 2019
GLORIA MARIS RESTAURANT C/O MR. WONG
CCP COMPLEX ROXAS BLVD. PASAY CITY
551-3691/ 831-2894/ 0919-4940818/ 0929-3956950
| MODEL |  |  | QUANTITY
| KLM-IS40-3D1M |  |  | 3
| KLG-IF70-3D3M |  |  | 1
OPTION 3
ROOM 2 | [9 empty] | Area | ≈ | 32.4
ACU1 | 4hp Ceiling Cassette Inverter |  | KLM-IS40-3D1M
| Estimated Pipe Length : | 20 | ft
| Estimated Royal Cord Length : | 50 | ft
| Initial Charge | [9 empty] | P | 11500
Includes:
Labor
10ft Copper Tube
10ft Royal Cord
Circuit Breaker (40A)
Other Consumables
| Additional Charges | Description | Unit |  | Price Per Unit |  |  |  |  | Subtotal
| Copper Tube | 5/8"x 3/8" | 10 | ft | P | 250 | / | ft | P | 2500
| Royal Cord | 2.mm2 x 4C | 40 | ft | P | 35 | / | ft | P | 1400
| Royal Cord (ODU-Breaker) | 5.5mm2 x 3C | 7 | ft | P | 50 | / | ft | P | 350
| PVC | 3/4" | 1 | pc | P | 150 | / | pc | P | 150
| Drain Hose | White -1/2'' | 7 | ft | P | 25 | / | ft | P | 175
| Full Thread | 3m | 1 | pc | P | 150 | / | pc | P | 150
| Rubber Insulation | 2 1/8" x 3/4" x 6' | 1 | pc | P | 350 | / | pc | P | 350
| Fabricated Outdoor Bracket | Floor Type | 1 | unit | P | 2500 | / | unit | P | 2500 | P | 7575
| Estimated Charges | [9 empty] | P | 19075
ROOM 3 | [9 empty] | Area | ≈ | 24.3
ACU 2 | 4hp Ceiling Cassette Inverter |  | KLM-IS40-3D1M
| Estimated Pipe Length : | 20 | ft
| Estimated Royal Cord Length : | 50 | ft
| Initial Charge | [9 empty] | P | 11500
Includes:
Labor
10ft Copper Tube
10ft Royal Cord
Circuit Breaker (40A)
Other Consumables
| Additional Charges | Description | Unit |  | Price Per Unit |  |  |  |  | Subtotal
| Copper Tube | 5/8"x 3/8" | 10 | ft | P | 250 | / | ft | P | 2500
| Royal Cord | 2.mm2 x 4C | 40 | ft | P | 35 | / | ft | P | 1400
| Royal Cord (ODU-Breaker) | 5.5mm2 x 3C | 7 | ft | P | 50 | / | ft | P | 350
| PVC | 3/4" | 1 | pc | P | 150 | / | pc | P | 150
| Drain Hose | White -1/2'' | 7 | ft | P | 25 | / | ft | P | 175
| Rubber Insulation | 2 1/8" x 3/4" x 6' | 1 | pc | P | 350 | / | pc | P | 350
| Full Thread | 3m | 1 | pc | P | 150 | / | pc | P | 150
| Fabricated Outdoor Bracket | Floor Type | 1 | unit | P | 2500 | / | unit | P | 2500 | P | 7575
| Estimated Charges | [9 empty] | P | 19075
ROOM 4 | [9 empty] | Area | ≈ | 24.3
ACU 3 | 4hp Ceiling Cassette Inverter |  | KLM-IS40-3D1M
| Estimated Pipe Length : | 20 | ft
| Estimated Royal Cord Length : | 50 | ft
| Initial Charge | [9 empty] | P | 11500
Includes:
Labor
10ft Copper Tube
10ft Royal Cord
Circuit Breaker (40A)
Other Consumables
| Additional Charges | Description | Unit |  | Price Per Unit |  |  |  |  | Subtotal
| Copper Tube | 5/8"x 3/8" | 10 | ft | P | 250 | / | ft | P | 2500
| Royal Cord | 2.mm2 x 4C | 40 | ft | P | 35 | / | ft | P | 1400
| Royal Cord (ODU-Breaker) | 5.5mm2 x 3C | 7 | ft | P | 50 | / | ft | P | 350
| PVC | 3/4" | 1 | pc | P | 150 | / | pc | P | 150
| Drain Hose | White -1/2'' | 7 | ft | P | 25 | / | ft | P | 175
| Rubber Insulation | 2 1/8" x 3/4" x 6' | 1 | pc | P | 350 | / | pc | P | 350
| Full Thread | 3m | 1 | pc | P | 150 | / | pc | P | 150
| Fabricated Outdoor Bracket | Floor Type | 1 | unit | P | 2500 | / | unit | P | 2500 | P | 7575
| Estimated Charges | [9 empty] | P | 19075
ROOM 5 | [9 empty] | Area | ≈ | 38.4
ACU 4 | 7hp Floor Mounted Inverter |  | KLG-IF70-2C1M
| Estimated Pipe Length : | 30 | ft
| Estimated Royal Cord Length : | 70 | ft
| Initial Charge | [9 empty] | P | 10500
Includes:
Labor
10ft Copper Tube
10ft Royal Cord
Circuit Breaker (40A)
Other Consumables
| Additional Charges | Description | Unit |  | Price Per Unit |  |  |  |  | Subtotal
| Copper Tube | 3/4"x 3/8" | 20 | ft | P | 300 | / | ft | P | 6000
| Royal Cord | 2.mm2 x 4C | 60 | ft | P | 35 | / | ft | P | 2100
| Royal Cord (ODU-Breaker) | 5.5mm2 x 3C | 7 | ft | P | 50 | / | ft | P | 350
| PVC | 3/4" | 1 | pc | P | 150 | / | pc | P | 150
| Drain Hose | White -1/2'' | 7 | ft | P | 25 | / | ft | P | 175
| Rubber Insulation | 2 1/8" x 3/4" x 6' | 1 | pc | P | 350 | / | pc | P | 350
| Fabricated Outdoor Bracket | Floor Type | 1 | unit | P | 2500 | / | unit | P | 2500 | P | 11625
| Estimated Charges | [9 empty] | P | 22125
| Total Estimated Charges | [9 empty] | P | 79350
Validity: | This quotation is valid for a period of fifteen (15) days from the date thereof, subject to our confirmation thereafter.
Note:
1 | Location of indoor and outdoor units were agreed by the customer and Kolin's surveyor.
2 | AC drain line for all ceiling mounted units will be provided by the customer
3 | Unit capacity is sufficient but cassette type is not recommended.
4 | It is possible for the compressor might cut-off due to short distance to obstruction (window)
5 | Outdoor units will be installed on the roofing
6 | Fabricated outdoor bracket on site
7 | Customer will provide power supply to the outdoor
8 | Mechanical Plans, Permits, Electrical permits not included.
9 | Deflectors, masonry, carpentry, chipping & plastering (finishing & restoration) are not included in the installation.
10 | Electrical power supply (feeder line) is not included in the scope of work of Kolin.
11 | Final charges will be based on actual installation.
| Prepared by: |  |  |  |  | Reviewed by:
| Engr. Noel Christopher Cortez |  |  |  |  | Engr. Kenneth Zamora
| Project Survey Head |  |  |  |  | Asst. Service Supervisor

## OPTION 4
NOVEMBER 12, 2019
GLORIA MARIS RESTAURANT C/O MR. WONG
CCP COMPLEX ROXAS BLVD. PASAY CITY
551-3691/ 831-2894/ 0919-4940818/ 0929-3956950
| MODEL |  |  | QUANTITY
| KLM-IS40-3D1M |  |  | 3
| KLG-IS70-3D3M |  |  | 1
OPTION 4
ROOM 2 | [9 empty] | Area | ≈ | 32.4
ACU1 | 4hp Ceiling Cassette Inverter |  | KLM-IS40-3D1M
| Estimated Pipe Length : | 20 | ft
| Estimated Royal Cord Length : | 50 | ft
| Initial Charge | [9 empty] | P | 13500 | 11500 | 2000
Includes:
Labor
10ft Copper Tube
10ft Royal Cord
Circuit Breaker (40A)
Other Consumables
| Additional Charges | Description | Unit |  | Price Per Unit |  |  |  |  | Subtotal
| Copper Tube | 5/8"x 3/8" | 10 | ft | P | 250 | / | ft | P | 2500
| Royal Cord | 2.mm2 x 4C | 40 | ft | P | 35 | / | ft | P | 1400
| Royal Cord (ODU-Breaker) | 5.5mm2 x 3C | 7 | ft | P | 50 | / | ft | P | 350
| PVC | 3/4" | 1 | pc | P | 150 | / | pc | P | 150
| Drain Hose | White -1/2'' | 7 | ft | P | 25 | / | ft | P | 175
| Full Thread | 3m | 1 | pc | P | 150 | / | pc | P | 150
| Rubber Insulation | 2 1/8" x 3/4" x 6' | 1 | pc | P | 350 | / | pc | P | 350
| Indoor Bracket |  | 1 | pc | P | 1500 | / | pc | P | 1500
| Fabricated Outdoor Bracket | Floor Type | 1 | unit | P | 2500 | / | unit | P | 2500 | P | 9075
| Estimated Charges | [9 empty] | P | 22575
ROOM 3 | [9 empty] | Area | ≈ | 24.3
ACU 2 | 4hp Ceiling Cassette Inverter |  | KLM-IS40-3D1M
| Estimated Pipe Length : | 20 | ft
| Estimated Royal Cord Length : | 50 | ft
| Initial Charge | [9 empty] | P | 13500 | 11500 | 2000
Includes:
Labor
10ft Copper Tube
10ft Royal Cord
Circuit Breaker (40A)
Other Consumables
| Additional Charges | Description | Unit |  | Price Per Unit |  |  |  |  | Subtotal
| Copper Tube | 5/8"x 3/8" | 10 | ft | P | 250 | / | ft | P | 2500
| Royal Cord | 2.mm2 x 4C | 40 | ft | P | 35 | / | ft | P | 1400
| Royal Cord (ODU-Breaker) | 5.5mm2 x 3C | 7 | ft | P | 50 | / | ft | P | 350
| PVC | 3/4" | 1 | pc | P | 150 | / | pc | P | 150
| Drain Hose | White -1/2'' | 7 | ft | P | 25 | / | ft | P | 175
| Rubber Insulation | 2 1/8" x 3/4" x 6' | 1 | pc | P | 350 | / | pc | P | 350
| Full Thread | 3m | 1 | pc | P | 150 | / | pc | P | 150
| Indoor Bracket |  | 1 | pc | P | 1500 | / | pc | P | 1500
| Fabricated Outdoor Bracket | Floor Type | 1 | unit | P | 2500 | / | unit | P | 2500 | P | 9075
| Estimated Charges | [9 empty] | P | 22575
ROOM 4 | [9 empty] | Area | ≈ | 24.3
ACU 3 | 4hp Ceiling Cassette Inverter |  | KLM-IS40-3D1M
| Estimated Pipe Length : | 20 | ft
| Estimated Royal Cord Length : | 50 | ft
| Initial Charge | [9 empty] | P | 13500 | 11500 | 2000
Includes:
Labor
10ft Copper Tube
10ft Royal Cord
Circuit Breaker (40A)
Other Consumables
| Additional Charges | Description | Unit |  | Price Per Unit |  |  |  |  | Subtotal
| Copper Tube | 5/8"x 3/8" | 10 | ft | P | 250 | / | ft | P | 2500
| Royal Cord | 2.mm2 x 4C | 40 | ft | P | 35 | / | ft | P | 1400
| Royal Cord (ODU-Breaker) | 5.5mm2 x 3C | 7 | ft | P | 50 | / | ft | P | 350
| PVC | 3/4" | 1 | pc | P | 150 | / | pc | P | 150
| Drain Hose | White -1/2'' | 7 | ft | P | 25 | / | ft | P | 175
| Rubber Insulation | 2 1/8" x 3/4" x 6' | 1 | pc | P | 350 | / | pc | P | 350
| Full Thread | 3m | 1 | pc | P | 150 | / | pc | P | 150
| Indoor Bracket |  | 1 | pc | P | 1500 | / | pc | P | 1500
| Fabricated Outdoor Bracket | Floor Type | 1 | unit | P | 2500 | / | unit | P | 2500 | P | 9075
| Estimated Charges | [9 empty] | P | 22575
ROOM 5 | [9 empty] | Area | ≈ | 38.4
ACU 4 | 7hp Ceiling Cassette Inverter |  | KLG-IS70-3D3M
| Estimated Pipe Length : | 20 | ft
| Estimated Royal Cord Length : | 50 | ft
| Initial Charge | [9 empty] | P | 14500 | 12500 | 2000
Includes:
Labor
10ft Copper Tube
10ft Royal Cord
Circuit Breaker (40A)
Other Consumables
| Additional Charges | Description | Unit |  | Price Per Unit |  |  |  |  | Subtotal
| Copper Tube | 3/4"x 3/8" | 10 | ft | P | 300 | / | ft | P | 3000
| Royal Cord | 2.mm2 x 4C | 40 | ft | P | 35 | / | ft | P | 1400
| Royal Cord (ODU-Breaker) | 5.5mm2 x 3C | 7 | ft | P | 50 | / | ft | P | 350
| PVC | 3/4" | 1 | pc | P | 150 | / | pc | P | 150
| Drain Hose | White -1/2'' | 7 | ft | P | 25 | / | ft | P | 175
| Rubber Insulation | 2 1/8" x 3/4" x 6' | 1 | pc | P | 350 | / | pc | P | 350
| Indoor Bracket |  | 1 | pc | P | 1500 | / | pc | P | 1500
| Fabricated Outdoor Bracket | Floor Type | 1 | unit | P | 2500 | / | unit | P | 2500 | P | 9425
| Estimated Charges | [9 empty] | P | 23925
| Total Estimated Charges | [9 empty] | P | 91650
Validity: | This quotation is valid for a period of fifteen (15) days from the date thereof, subject to our confirmation thereafter.
Note:
1 | Location of indoor and outdoor units were agreed by the customer and Kolin's surveyor.
2 | AC drain line for all ceiling mounted units will be provided by the customer
3 | Unit capacity is sufficient but cassette type is not recommended.
4 | It is possible for the compressor might cut-off due to short distance to obstruction (window)
5 | Outdoor units will be installed on the roofing
6 | Fabricated outdoor bracket on site
7 | Customer will provide power supply to the outdoor
8 | Mechanical Plans, Permits, Electrical permits not included.
9 | Deflectors, masonry, carpentry, chipping & plastering (finishing & restoration) are not included in the installation.
10 | Electrical power supply (feeder line) is not included in the scope of work of Kolin.
11 | Final charges will be based on actual installation.
Prepared by:
Engr. Noel Christopher Cortez
Project Survey Head