## quadrant_report_service_collect
SERVICE COLLECTION
Billed By | SJR # | Column1 | SJR Date | Customer Name | Model | Team Name | Team Type | Job Class | Warranty Type | Repair Code | Parts Amount | Labor Fee | Total Amount | Amount Paid | Payment Type
PETRONIO JR COTCOT | CEB-00010281 |  | 2025-08-08 13:53 | Alberca, Noemi | KSM-IW15WAE-7J1M | CEBU- JEL | ASP | Troubleshooting | Full Warranty | Major Repair (with parts replacement not included in minor repair, leaktest,freon charge,repair drain) | 7150 | 1800 | 8950 | 0 | Full Warranty
PETRONIO JR COTCOT | CEB-00010366 | , | 08/20/2025 10:54 AM | Jel Refrigeration & Airconditioning Services | n/a | CEBU OFFICE | In House | Sale of Parts | Cost of Sales | Sale of Parts | 6600 | 0 | 6600 | 5280 | Cash, Discount
PETRONIO JR COTCOT | CEB-00010369 | , | 08/22/2025 03:31 PM | H-Advance Ref. and Airconditioning Repair & Services | n/a | CEBU OFFICE | In House | Sale of Parts | Cost of Sales | Sale of Parts | 6600 | 0 | 6600 | 5280 | Cash, Discount
PETRONIO JR COTCOT | CEB-00010409 | , | 08/28/2025 01:08 PM | Inting, Cephas | KSM-IW20-WCT10M1M32 | CEBU OFFICE | In House | Sale of Parts | Cost of Sales | Sale of Parts | 5000 | 0 | 5000 | 4750 | Cash, Discount
PETRONIO JR COTCOT | CEB-00010418 | , | 08/28/2025 04:50 PM | Zgv Excel Aircon Services | n/a | CEBU OFFICE | In House | Sale of Parts | Cost of Sales | Sale of Parts | 7150 | 0 | 7150 | 5720 | Cash, Discount
PETRONIO JR COTCOT | CEB-00010372 | , | 08/23/2025 03:23 PM | K.L.K.A | n/a | CEBU OFFICE | In House | Sale of Parts | Cost of Sales | Sale of Parts | 6600 | 0 | 6600 | 5280 | Cash, Discount
PETRONIO JR COTCOT | CEB-00010375 | , | 08/26/2025 09:15 AM | Air Doctor | n/a | CEBU OFFICE | In House | Sale of Parts | Cost of Sales | Sale of Parts | 880 | 0 | 880 | 704 | Cash, Discount
PETRONIO JR COTCOT | CEB-00010275 | , | 2025-05-08 09:40 | K.L.K.A | n/a | CEBU OFFICE | In House | Sale of Parts | Cost of Sales | Sale of Parts | 5500 | 0 | 5500 | 4400 | Cash, Discount
PETRONIO JR COTCOT | CEB-00010368 | , | 08/22/2025 01:23 PM | Jel Refrigeration & Airconditioning Services | n/a | CEBU OFFICE | In House | Sale of Parts | Cost of Sales | Sale of Parts | 550 | 0 | 550 | 440 | Cash, Discount
PETRONIO JR COTCOT | CEB-00010348 | , | 08/15/2025 09:06 AM | Menguito, Jose Nelson | KSG-15B1 | CEBU OFFICE | In House | Sale of Parts | Cost of Sales | Sale of Parts | 1100 | 0 | 1100 | 1100 | Cash
PETRONIO JR COTCOT | CEB-00010290 | , | 2025-09-08 11:37 | H-Advance Ref. and Airconditioning Repair & Services | n/a | CEBU OFFICE | In House | Sale of Parts | Cost of Sales | Sale of Parts | 1650 | 0 | 1650 | 1320 | Cash, Discount
PETRONIO JR COTCOT | CEB-00010265 | , | 2025-02-08 11:17 | Matas, Dominico | KSG-IWF-10WFY-8K1M32-I | CEBU OFFICE | In House | Sale of Parts | Cost of Sales | Sale of Parts | 1100 | 0 | 1100 | 1100 | Cash
PETRONIO JR COTCOT | CEB-00010408 | , | 08/28/2025 11:50 AM | Jel Refrigeration & Airconditioning Services | n/a | CEBU OFFICE | In House | Sale of Parts | Cost of Sales | Sale of Parts | 8800 | 0 | 8800 | 7040 | Cash, Discount
PETRONIO JR COTCOT | CEB-00010264 | , | 2025-02-08 10:27 | K.L.K.A | n/a | CEBU OFFICE | In House | Sale of Parts | Cost of Sales | Sale of Parts | 3300 | 0 | 3300 | 2640 | Cash, Discount
PETRONIO JR COTCOT | CEB-00010263 | , | 2025-02-08 10:20 | Jel Refrigeration & Airconditioning Services | n/a | CEBU OFFICE | In House | Sale of Parts | Cost of Sales | Sale of Parts | 5500 | 0 | 5500 | 4400 | Cash, Discount
PETRONIO JR COTCOT | CEB-00010272 | , | 2025-04-08 14:56 | Ecool Phils. Corp. | n/a | CEBU OFFICE | In House | Sale of Parts | Cost of Sales | Sale of Parts | 33000 | 0 | 33000 | 19888.39 | Ewt, Discount, Check
PETRONIO JR COTCOT | CEB-00010270 | , | 2025-04-08 11:50 | Jel Refrigeration & Airconditioning Services | n/a | CEBU OFFICE | In House | Sale of Parts | Cost of Sales | Sale of Parts | 3630 | 0 | 3630 | 2904 | Cash, Discount
PETRONIO JR COTCOT | CEB-00010273 | , | 2025-04-08 16:15 | Hernane, Edna | KAM-95BMC | CEBU OFFICE | In House | Sale of Parts | Cost of Sales | Sale of Parts | 660 | 0 | 660 | 660 | Cash
PETRONIO JR COTCOT | CEB-00010289 | , | 2025-09-08 11:16 | Chiang, Chona | KAG-100WCINV | CEBU OFFICE | In House | Sale of Parts | Cost of Sales | Sale of Parts | 1100 | 0 | 1100 | 1100 | Cash
PETRONIO JR COTCOT | CEB-00010285 |  | 2025-08-08 16:47 | Racuya, Robert | KSM-IW10-WCT10M1M32 | CEBU- H- ADVANCE | ASP | Troubleshooting | Full Warranty | Major Repair (with parts replacement not included in minor repair, leaktest,freon charge,repair drain) | 1500 | 1800 | 3300 | 0 | Full Warranty
PETRONIO JR COTCOT | CEB-00010376 | , | 08/26/2025 09:30 AM | Gucor, Eugene | KAG-100HRE4 | CEBU OFFICE | In House | Sale of Parts | Cost of Sales | Sale of Parts | 1100 | 0 | 1100 | 1100 | Cash
PETRONIO JR COTCOT | CEB-00010374 | , | 08/23/2025 04:09 PM | Galang, Gleen | KSF-275B1L | CEBU OFFICE | In House | Sale of Parts | Cost of Sales | Sale of Parts | 550 | 0 | 550 | 550 | Cash
PETRONIO JR COTCOT | CEB-00010359 | , | 08/18/2025 09:56 AM | Cuartofrio Electronic Service Center | n/a | CEBU OFFICE | In House | Sale of Parts | Cost of Sales | Sale of Parts | 800 | 0 | 800 | 640 | Cash, Discount
PETRONIO JR COTCOT | CEB-00010299 |  | 2025-12-08 16:23 | RHU | KSM-IW20-WCT10M1M32 | CEBU- GAB | ASP | Troubleshooting | Full Warranty | Mounting of IDU & ODU (we will use materials of old unit) | 0 | 3500 | 3500 | 0 | Full Warranty
PETRONIO JR COTCOT | CEB-00010291 | , | 2025-09-08 13:13 | K.L.K.A | KAG-150RSINV | CEBU OFFICE | In House | Sale of Parts | Cost of Sales | Sale of Parts | 715 | 0 | 715 | 572 | Cash, Discount
PETRONIO JR COTCOT | CEB-00010286 |  | 2025-08-08 17:03 | Rodriguez, Enrico | KSM-IW10-WCT10M1M32 | CEBU- H- ADVANCE | ASP | Troubleshooting | Parts Warranty | Major Repair (with parts replacement not included in minor repair, leaktest,freon charge,repair drain) | 4500 | 1800 | 6300 | 0 | Parts Warranty
PETRONIO JR COTCOT | CEB-00010417 | , | 08/28/2025 04:25 PM | Carl Electronics Ref and Aircon | n/a | CEBU OFFICE | In House | Sale of Parts | Cost of Sales | Sale of Parts | 11950 | 0 | 11950 | 9560 | Cash, Discount
PETRONIO JR COTCOT | CEB-00010365 | , | 08/19/2025 02:42 PM | K.L.K.A | n/a | CEBU OFFICE | In House | Sale of Parts | Cost of Sales | Sale of Parts | 2750 | 0 | 2750 | 2200 | Cash, Discount
PETRONIO JR COTCOT | CEB-00010287 |  | 2025-09-08 10:15 | Dy, Jan | KSG-IWF-30WFY-8K1M32-I | CEBU- Carl Electronics | ASP | Troubleshooting | Full Warranty | Major Repair (with parts replacement not included in minor repair, leaktest,freon charge,repair drain) | 830 | 1800 | 2630 | 0 | Full Warranty
PETRONIO JR COTCOT | CEB-00010371 | , | 08/23/2025 10:34 AM | GAB Appliance Service Center | n/a | CEBU OFFICE | In House | Sale of Parts | Cost of Sales | Sale of Parts | 6600 | 0 | 6600 | 0 | Discount, Check
PETRONIO JR COTCOT | CEB-00010274 | , | 2025-04-08 16:33 | K.L.K.A | n/a | CEBU OFFICE | In House | Sale of Parts | Cost of Sales | Sale of Parts | 2970 | 0 | 2970 | 2376 | Cash, Discount
PETRONIO JR COTCOT | CEB-00010373 | , | 08/23/2025 03:42 PM | JGL Prime Properties Development | KAG-200RSINV | CEBU OFFICE | In House | Sale of Parts | Cost of Sales | Sale of Parts | 6600 | 0 | 6600 | 6600 | Cash
PETRONIO JR COTCOT | CEB-00010300 | , | 08/13/2025 10:54 AM | H-Advance Ref. and Airconditioning Repair & Services | n/a | CEBU OFFICE | In House | Sale of Parts | Cost of Sales | Sale of Parts | 2750 | 0 | 2750 | 2200 | Cash, Discount
PETRONIO JR COTCOT | CEB-00010279 | , | 2025-08-08 13:37 | GAB Appliance Service Center | n/a | CEBU OFFICE | In House | Sale of Parts | Cost of Sales | Sale of Parts | 6600 | 0 | 6600 | 0 | Check, Discount
PETRONIO JR COTCOT | CEB-00010335 |  | 08/14/2025 11:35 AM | RL- Tacloban City | KWD-BLC-2088B | CEBU- Carl Electronics | ASP | Troubleshooting | Full Warranty | Repair/Replace Parts | 600 | 800 | 1400 | 0 | Full Warranty
PETRONIO JR COTCOT | CEB-00010296 | , | 2025-11-08 16:11 | Jel Refrigeration & Airconditioning Services | n/a | CEBU OFFICE | In House | Sale of Parts | Cost of Sales | Sale of Parts | 2200 | 0 | 2200 | 1760 | Cash, Discount
PETRONIO JR COTCOT | CEB-00010288 | , | 2025-09-08 10:44 | Mate, Gemwell Jonh | KSM-15CB1INV | CEBU OFFICE | In House | Sale of Parts | Cost of Sales | Sale of Parts | 2200 | 0 | 2200 | 2200 | Cash
PETRONIO JR COTCOT | CEB-00010282 | , | 2025-08-08 14:13 | United Multi System Solutions Inc. | n/a | CEBU OFFICE | In House | Sale of Parts | Cost of Sales | Sale of Parts | 2750 | 0 | 2750 | 0 | Check, Ewt, Discount
PETRONIO JR COTCOT | CEB-00010292 | , | 2025-09-08 15:02 | Carl Electronics Ref and Aircon | n/a | CEBU OFFICE | In House | Sale of Parts | Cost of Sales | Sale of Parts | 5500 | 0 | 5500 | 4400 | Cash, Discount
PETRONIO JR COTCOT | CEB-00010407 | , | 08/28/2025 10:58 AM | K.L.K.A | n/a | CEBU OFFICE | In House | Sale of Parts | Cost of Sales | Sale of Parts | 1500 | 0 | 1500 | 1200 | Cash, Discount
PETRONIO JR COTCOT | CEB-00010362 | , | 08/18/2025 02:16 PM | Duaman, Misael | n/a | CEBU OFFICE | In House | Sale of Parts | Cost of Sales | Sale of Parts | 220 | 0 | 220 | 220 | Cash
PETRONIO JR COTCOT | CEB-00010295 | , | 2025-11-08 15:36 | Carl Electronics Ref and Aircon | n/a | CEBU OFFICE | In House | Sale of Parts | Cost of Sales | Sale of Parts | 8600 | 0 | 8600 | 6880 | Cash, Discount
PETRONIO JR COTCOT | CEB-00010301 | , | 08/13/2025 12:42 PM | Jel Refrigeration & Airconditioning Services | n/a | CEBU OFFICE | In House | Sale of Parts | Cost of Sales | Sale of Parts | 10230 | 0 | 10230 | 8184 | Cash, Discount
PETRONIO JR COTCOT | CEB-00010271 | , | 2025-04-08 14:11 | GAB Appliance Service Center | n/a | CEBU OFFICE | In House | Sale of Parts | Cost of Sales | Sale of Parts | 164000 | 0 | 164000 | 0 | Discount, Check
PETRONIO JR COTCOT | CEB-00010334 |  | 08/14/2025 11:30 AM | Gemson Mktg | KWD-BLC-2088B | CEBU- Carl Electronics | ASP | Troubleshooting | Full Warranty | Repair/Replace Parts | 600 | 800 | 1400 | 0 | Full Warranty
PETRONIO JR COTCOT | CEB-00010360 | , | 08/18/2025 01:05 PM | GAB Appliance Service Center | n/a | CEBU OFFICE | In House | Sale of Parts | Cost of Sales | Sale of Parts | 164000 | 0 | 164000 | 0 | Check, Discount
Sheena M. Monserate | CEB-00010322 |  | 08/14/2025 09:35 AM | Quijano , Joan | KSM-IW10-WCT10M1M32 | CEBU- GAB | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | CEB-00010261 | , | 2025-02-08 09:00 | J Savers - Cebu | n/a | CEBU OFFICE | In House | Sale of Parts | Cost of Sales | Sale of Parts | 65600 | 0 | 65600 | 19900 | Check, Discount
Sheena M. Monserate | CEB-00010421 |  | 08/28/2025 05:19 PM | JJM Trading (health Center) | KSM-IW25-WCT10M1M32 | CEBU- Carl Electronics | ASP | Installation | Chargeable | Installation - 2.5HP - 3.0HP Inverter and Non Inverter (includes 10ft. copper tube, 10ft, royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 8500 | 8500 | 0 | Installation Record
Sheena M. Monserate | CEB-00010304 |  | 08/13/2025 03:56 PM | Aguiman , Jocelyn | KSM-IW15-WCT10M1M32 | CEBU- GAB | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | CEB-00010320 |  | 08/14/2025 09:14 AM | Divine Word Hospital | KLG-IF40-5G1M32-I | CEBU- GAB | ASP | Installation | Chargeable | Installation - 3.0TR (includes 10ft. copper tube, 10ft. royal cord, rubber insulation, circuit breaker, ordinary indoor bracket, drainhose /PVC drain pipe, consumables, flushing and testing)) | 0 | 11000 | 11000 | 0 | Installation Record
Sheena M. Monserate | CEB-00010361 | , | 08/18/2025 01:06 PM | GAB Appliance Service Center | n/a | CEBU OFFICE | In House | Sale of Parts | Cost of Sales | Sale of Parts | 715 | 0 | 715 | 572 | Check, Discount
Sheena M. Monserate | CEB-00010267 |  | 2025-04-08 08:00 | Salazar, Joe | KAG-75WCINV | CEBU- JEL | ASP | General Cleaning | Chargeable | No Dispatch Job | 0 | 0 | 0 | 0
Sheena M. Monserate | CEB-00010364 |  | 08/19/2025 09:52 AM | Najarro , Mariska Louise | KAG-145WCINV | CEB- KLKA | ASP | General Cleaning | Chargeable | General Cleaning (unit inspection,pressure washing,clean filter & drain) | 0 | 800 | 800 | 0 | Relayed Job
Sheena M. Monserate | CEB-00010330 |  | 08/14/2025 10:19 AM | Navida, Nino Marvin | KSM-IW10-WCT10M1M32 | CEBU- GAB | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | CEB-00010269 |  | 2025-04-08 08:22 | Esguerra, Edna | KSM-IW26WAE-7J1M | CEB- KLKA | ASP | General Cleaning | Chargeable | General Cleaning (Single Indoor Unit )(1 pair) | 0 | 1500 | 1500 | 0 | Relayed Job
Sheena M. Monserate | CEB-00010283 |  | 2025-08-08 16:46 | Racuya, Robert | KSM-IW10-WCT10M1M32 | CEBU- H- ADVANCE | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | CEB-00010316 |  | 08/13/2025 04:47 PM | Provincial Budget Office | KSG-IWF-30WFY-8K1M32-I | CEBU- GAB | ASP | Installation | Chargeable | Installation - 2.5HP - 3.0HP Inverter and Non Inverter (includes 10ft. copper tube, 10ft, royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 8500 | 8500 | 0 | Installation Record
Sheena M. Monserate | CEB-00010284 |  | 2025-08-08 16:46 | Racuya, Robert | KSM-IW25-WCT10M1M32 | CEBU- H- ADVANCE | ASP | Installation | Chargeable | Installation - 2.5HP - 3.0HP Inverter and Non Inverter (includes 10ft. copper tube, 10ft, royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 8500 | 8500 | 0 | Installation Record
Sheena M. Monserate | CEB-00010326 |  | 08/14/2025 09:52 AM | Dagaas, Diosem | KSG-IWF-15WFY-8K1M32-I | CEBU- GAB | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | CEB-00010318 |  | 08/13/2025 04:55 PM | Plecerda , Rodolfo | KSM-IW10-WCT10M1M32 | CEBU- GAB | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | CEB-00010308 |  | 08/13/2025 04:12 PM | Gayo, France Angelo | KSM-IW15-WCT10M1M32 | CEBU- GAB | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | CEB-00010344 |  | 08/14/2025 03:57 PM | Antido, Jude Vincent | KSM-IW20-WCT10M1M32 | CEBU- Carl Electronics | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | CEB-00010276 |  | 2025-05-08 16:29 | Mahusay , Flordeliz | KSM-IW15-WCT10M1M32 | CEBU- GAB | ASP | Installation | Chargeable | No Dispatch Job | 0 | 0 | 0 | 0
Sheena M. Monserate | CEB-00010312 |  | 08/13/2025 04:34 PM | Tamayo , Junel Edwin | KSM-IW15-WCT10M1M32 | CEBU- GAB | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | CEB-00010341 |  | 08/14/2025 03:43 PM | Cruspero , Charito | KSG-IWF-10WFY-8K1M32-I | CEBU- Carl Electronics | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | CEB-00010268 |  | 2025-04-08 08:10 | Bliss, Alfonso | KAG-100WCINV | CEBU- JEL | ASP | General Cleaning | Chargeable | No Dispatch Job | 0 | 0 | 0 | 0
Sheena M. Monserate | CEB-00010377 |  | 08/26/2025 10:00 AM | SJEST | KSM-IW15-9L1M-I | CEBU- Carl Electronics | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | CEB-00010310 |  | 08/13/2025 04:20 PM | Suarez, Stewart Espinas | KSM-IW10-WCT10M1M32 | CEBU- GAB | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | CEB-00010340 |  | 08/14/2025 03:36 PM | Macalla , Vincent | KSM-IW10-WCT10M1M32 | CEBU- Carl Electronics | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | CEB-00010331 |  | 08/14/2025 10:21 AM | Pilapil, Docile | KSM-IW15-WCT10M1M32 | CEBU- GAB | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | CEB-00010319 |  | 08/14/2025 09:10 AM | Advincula, Nikki | KSM-IW15-WCT10M1M32 | CEBU- GAB | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | CEB-00010323 |  | 08/14/2025 09:39 AM | Labrador , Maria Victoria | KSG-IWF-10WFY-8K1M32-I | CEBU- GAB | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | CEB-00010303 |  | 08/13/2025 03:52 PM | Lagunzad, Alita | KLG-SF40-WBR6H1M32-I | CEBU- GAB | ASP | Installation | Chargeable | Installation - 3.0TR (includes 10ft. copper tube, 10ft. royal cord, rubber insulation, circuit breaker, ordinary indoor bracket, drainhose /PVC drain pipe, consumables, flushing and testing)) | 0 | 11000 | 11000 | 0 | Installation Record
Sheena M. Monserate | CEB-00010327 |  | 08/14/2025 10:08 AM | Suzuki , Merryaris | KSM-IW15-WCT10M1M32 | CEBU- GAB | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | CEB-00010315 |  | 08/13/2025 04:43 PM | LGU - Samar | KLG-SF40-WBR6H1M32-I | CEBU- GAB | ASP | Installation | Chargeable | Installation - 3.0TR (includes 10ft. copper tube, 10ft. royal cord, rubber insulation, circuit breaker, ordinary indoor bracket, drainhose /PVC drain pipe, consumables, flushing and testing)) | 0 | 11000 | 11000 | 0 | Installation Record
Sheena M. Monserate | CEB-00010338 |  | 08/14/2025 11:48 AM | Tan Jr., Romeo | KSM-IW20-WCT10M1M32 | CEBU- Carl Electronics | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | CEB-00010336 |  | 08/14/2025 11:41 AM | Bertis, Rena Joy | KSG-IWF-10WFY-8K1M32-I | CEBU- Carl Electronics | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | CEB-00010328 |  | 08/14/2025 10:08 AM | Suzuki , Merryaris | KSM-IW15-WCT10M1M32 | CEBU- GAB | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | CEB-00010321 |  | 08/14/2025 09:18 AM | Pamanian, Lea | KSM-IW10-WCT10M1M32 | CEBU- GAB | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | CEB-00010329 |  | 08/14/2025 10:08 AM | Suzuki , Merryaris | KSM-IW10-WCT10M1M32 | CEBU- GAB | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | CEB-00010313 |  | 08/13/2025 04:36 PM | Garcia, Ma. Lourdes | KSM-IW10-WCT10M1M32 | CEBU- GAB | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | CEB-00010342 |  | 08/14/2025 03:45 PM | Cruspero , Charito | KSG-IWF-10WFY-8K1M32-I | CEBU- Carl Electronics | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | CEB-00010339 | , | 08/14/2025 12:03 PM | GAB Appliance Service Center | n/a | CEBU OFFICE | In House | Sale of Parts | Cost of Sales | Sale of Parts | 715 | 0 | 715 | 572 | Discount, Check
Sheena M. Monserate | CEB-00010343 |  | 08/14/2025 03:52 PM | Talay, Lynlyn | KSG-IWF-20WFY-8K1M32-I | CEBU- Carl Electronics | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | CEB-00010305 |  | 08/13/2025 04:01 PM | DOST | KSM-IW15-WCT10M1M32 | CEBU- GAB | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | CEB-00010332 |  | 08/14/2025 10:24 AM | Salvoro , Maria Georeben | KSM-IW10-WCT10M1M32 | CEBU- GAB | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | CEB-00010346 |  | 08/14/2025 04:15 PM | Miller, Maria Linda | KLG-IF40-5G1M32-I | CEBU- Carl Electronics | ASP | Installation | Chargeable | Installation - 3.0TR (includes 10ft. copper tube, 10ft. royal cord, rubber insulation, circuit breaker, ordinary indoor bracket, drainhose /PVC drain pipe, consumables, flushing and testing)) | 0 | 11000 | 11000 | 0 | Installation Record
Sheena M. Monserate | CEB-00010280 | , | 2025-08-08 13:37 | GAB Appliance Service Center | n/a | CEBU OFFICE | In House | Sale of Parts | Cost of Sales | Sale of Parts | 2200 | 0 | 2200 | 1760 | Check, Discount
Sheena M. Monserate | CEB-00010309 |  | 08/13/2025 04:16 PM | Pesedas , Sherlita | KSM-IW20-WCT10M1M32 | CEBU- GAB | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | CEB-00010324 |  | 08/14/2025 09:41 AM | Provincial Government of Biliran | KSM-IW15-WCT10M1M32 | CEBU- GAB | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | CEB-00010306 |  | 08/13/2025 04:09 PM | DOST | KSM-IW15-WCT10M1M32 | CEBU- GAB | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | CEB-00010311 |  | 08/13/2025 04:24 PM | Solis, Maria Jyndette | KLG-IF40-5G1M32-I | CEBU- GAB | ASP | Installation | Chargeable | Installation - 3.0TR (includes 10ft. copper tube, 10ft. royal cord, rubber insulation, circuit breaker, ordinary indoor bracket, drainhose /PVC drain pipe, consumables, flushing and testing)) | 0 | 11000 | 11000 | 0 | Installation Record
Sheena M. Monserate | CEB-00010419 |  | 08/28/2025 05:18 PM | JJM Trading (health Center) | KSM-IW15-WCT10M1M32 | CEBU- Carl Electronics | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | CEB-00010347 |  | 08/14/2025 04:15 PM | Miller, Maria Linda | KLG-IF40-5G1M32-I | CEBU- Carl Electronics | ASP | Installation | Chargeable | Installation - 3.0TR (includes 10ft. copper tube, 10ft. royal cord, rubber insulation, circuit breaker, ordinary indoor bracket, drainhose /PVC drain pipe, consumables, flushing and testing)) | 0 | 11000 | 11000 | 0 | Installation Record
Sheena M. Monserate | CEB-00010307 |  | 08/13/2025 04:10 PM | DOST | KSM-IW15-WCT10M1M32 | CEBU- GAB | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | CEB-00010325 |  | 08/14/2025 09:42 AM | Provincial Government of Biliran | KSM-IW25-WCT10M1M32 | CEBU- GAB | ASP | Installation | Chargeable | Installation - 2.5HP - 3.0HP Inverter and Non Inverter (includes 10ft. copper tube, 10ft, royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 8500 | 8500 | 0 | Installation Record
Sheena M. Monserate | CEB-00010345 |  | 08/14/2025 04:02 PM | Capilitan , Reychelle | KSG-IWF-30WFY-8K1M32-I | CEBU- Carl Electronics | ASP | Installation | Chargeable | Installation - 2.5HP - 3.0HP Inverter and Non Inverter (includes 10ft. copper tube, 10ft, royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 8500 | 8500 | 0 | Installation Record
Sheena M. Monserate | CEB-00010337 |  | 08/14/2025 11:44 AM | Aguilos , Kirk Patrick | KSG-IWF-20WFY-8K1M32-I | CEBU- Carl Electronics | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | CEB-00010420 |  | 08/28/2025 05:18 PM | JJM Trading (health Center) | KSM-IW25-WCT10M1M32 | CEBU- Carl Electronics | ASP | Installation | Chargeable | Installation - 2.5HP - 3.0HP Inverter and Non Inverter (includes 10ft. copper tube, 10ft, royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 8500 | 8500 | 0 | Installation Record
Sheena M. Monserate | CEB-00010317 |  | 08/13/2025 04:53 PM | Mosquida, Ariel | KSM-IW15-WCT10M1M32 | CEBU- GAB | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record