## quadrant_report_service_collect
SERVICE COLLECTION
Billed By | SJR # | Column1 | SJR Date | Customer Name | Model | Team Name | Team Type | Job Class | Warranty Type | Repair Code | Parts Amount | Labor Fee | Total Amount | Amount Paid | Payment Type
ERNIE JOVELLANOS | DAG-00015902 |  | 08/15/2025 10:31 AM | Saura, Rogelio | KEA-25BWR | DAG- Speedcool | ASP | Troubleshooting | Full Warranty | Pull-out Unit | 0 | 0 | 0 | 0
ERNIE JOVELLANOS | DAG-00015819 | , | 2025-04-08 10:59 | MFD Appliance Service Center, . . | n/a | DAGUPAN OFFICE | In House | Sale of Parts | Cost of Sales | Sale of Parts | 105000 | 0 | 105000 | 0 | Discount
ERNIE JOVELLANOS | DAG-00015892 |  | 08/14/2025 08:17 AM | Rosario, Jack | KAG-100WCINV | DAG- Speedcool | ASP | General Cleaning | Chargeable | General Cleaning (unit inspection,pressure washing,clean filter & drain) | 0 | 800 | 800 | 0 | Labor Fee Collected by ASC
ERNIE JOVELLANOS | DAG-00015851 | , | 2025-08-08 15:55 | Solis Appliance Service Center | n/a | DAGUPAN OFFICE | In House | Sale of Parts | Cost of Sales | Sale of Parts | 600 | 0 | 600 | 480 | Discount, Cash
ERNIE JOVELLANOS | DAG-00015929 | , | 08/19/2025 09:51 AM | DL Electronics Service& Spare parts | n/a | DAGUPAN OFFICE | In House | Sale of Parts | Cost of Sales | Sale of Parts | 1500 | 0 | 1500 | 1200 | Discount, Cash
ERNIE JOVELLANOS | DAG-00015899 |  | 08/14/2025 04:24 PM | Jb De Guzman Cafe & Restaurant | KLG-IF40-2C1M | DAG- Speedcool | ASP | Troubleshooting | Chargeable | Major Repair (with parts replacement not included in minor repair,leak test,freon charge,repair drain) | 0 | 2300 | 2300 | 0 | Labor Fee Collected by ASC
ERNIE JOVELLANOS | DAG-00015812 |  | 2025-04-08 08:22 | Bacara, Jennelyn | KAM-55CMC32 | DAG- Speedcool | ASP | Troubleshooting | Full Warranty | Check up (function & performance,visual check) | 0 | 450 | 450 | 0 | Full Warranty
ERNIE JOVELLANOS | DAG-00015904 |  | 08/15/2025 01:03 PM | Bacara, Jennelyn | KAM-55CMC32 | DAG- Speedcool | ASP | Delivery of Unit / Accessories | Full Warranty | Delivery of Shop Repair Unit | 0 | 0 | 0 | 0
ERNIE JOVELLANOS | DAG-00015818 | , | 2025-04-08 10:53 | Speedcool Tech Refrigeration & Airconditioning Svc. | n/a | DAGUPAN OFFICE | In House | Sale of Parts | Cost of Sales | Sale of Parts | 98400 | 0 | 98400 | 29550 | Discount, Cash
ERNIE JOVELLANOS | DAG-00015811 | , | 2025-02-08 11:02 | Salazar, Aldwin | KAG-110RSINV | DAGUPAN TECHNICIANS | In House | Troubleshooting | Chargeable | General Cleaning with major repair | 0 | 1350 | 1350 | 1350 | Cash
ERNIE JOVELLANOS | DAG-00015825 |  | 2025-05-08 11:20 | D & R Dog Clinic | KSM-IW25-4F1M | DAG- Speedcool | ASP | General Cleaning | Chargeable | General Cleaning (Single Indoor Unit )(1 pair) | 0 | 1500 | 1500 | 0 | Labor Fee Collected by ASC
ERNIE JOVELLANOS | DAG-00015986 | , | 08/28/2025 10:25 AM | Megawork Appliance Service Center | n/a | DAGUPAN OFFICE | In House | Sale of Parts | Cost of Sales | Sale of Parts | 72625 | 0 | 72625 | 0 | Discount
ERNIE JOVELLANOS | DAG-00015987 | , | 08/28/2025 10:32 AM | Megawork Appliance Service Center | n/a | DAGUPAN OFFICE | In House | Sale of Parts | Cost of Sales | Sale of Parts | 688800 | 0 | 688800 | 0 | Discount
ERNIE JOVELLANOS | DAG-00015826 |  | 2025-05-08 11:21 | D & R Dog Clinic | KSM-IW10-9L1M-I | DAG- Speedcool | ASP | General Cleaning | Chargeable | General Cleaning (Single Indoor Unit )(1 pair) | 0 | 1500 | 1500 | 0 | Labor Fee Collected by ASC
ERNIE JOVELLANOS | DAG-00015834 |  | 2025-07-08 13:42 | De Jesus, Jovy N. | KEA-50BLRDCA | DAG- SOLIS | ASP | Troubleshooting | Full Warranty | Repair/Replace Parts | 1000 | 800 | 1800 | 0 | Full Warranty
ERNIE JOVELLANOS | DAG-00015864 |  | 2025-11-08 15:17 | Build Prime Industrial Corp. | KLG-SF40-5G1M-I | DAG- Speedcool | ASP | Troubleshooting | Chargeable | Check up (function & performance, visual check) | 0 | 600 | 600 | 0 | Labor Fee Collected by ASC
ERNIE JOVELLANOS | DAG-00015903 | , | 08/15/2025 12:28 PM | Jeff Air Condition and Refrigeration Maintenance Services | n/a | DAGUPAN OFFICE | In House | Sale of Parts | Cost of Sales | Sale of Parts | 6600 | 0 | 6600 | 5280 | Discount, Cash
ERNIE JOVELLANOS | DAG-00015959 | , | 08/26/2025 10:35 AM | Dicipulo, Jane Ariane | KAG-100WCINV | DAGUPAN TECHNICIANS | In House | Troubleshooting | Chargeable | General Cleaning with major repair | 5000 | 1350 | 6350 | 6350 | Cash
ERNIE JOVELLANOS | DAG-00015823 |  | 2025-05-08 08:23 | Buyao, Mark Alarin | KSM-10MB1INV | DAG- Speedcool | ASP | Troubleshooting | Chargeable | Major Repair (with parts replacement not included in minor repair, leaktest,freon charge,repair drain) | 0 | 1800 | 1800 | 0 | Labor Fee Collected by ASC
ERNIE JOVELLANOS | DAG-00015824 |  | 2025-05-08 11:08 | Napenas, Arnold | KAG-100WCINV | DAG- Speedcool | ASP | General Cleaning | Chargeable | General Cleaning (unit inspection,pressure washing,clean filter & drain) | 0 | 800 | 800 | 0 | Labor Fee Collected by ASC
ERNIE JOVELLANOS | DAG-00015951 | , | 08/23/2025 02:43 PM | Romerzan Aircon and Refrigeration Services | n/a | DAGUPAN OFFICE | In House | Sale of Parts | Cost of Sales | Sale of Parts | 1026300 | 0 | 1026300 | 0 | Discount, Check
ERNIE JOVELLANOS | DAG-00015897 |  | 08/14/2025 03:15 PM | Amurao, Roel | KA-100MCARINV32 | DAG- Tarlac Northern Marketing (Former PANASERCO) | ASP | Troubleshooting | Full Warranty | Check up (function & performance,visual check) | 0 | 450 | 450 | 0 | Labor Fee Collected by ASC
ERNIE JOVELLANOS | DAG-00015854 |  | 2025-11-08 08:38 | Bilgera, Diana Mae | KAG-100WCINV | DAG- Alap | ASP | Troubleshooting | Full Warranty | Minor Repair (minor adjustment,replacement of filter net,louver,front panel,front case,capacitor,sensor,OLP,compressor wire,swing motor & display board) | 0 | 900 | 900 | 0 | Full Warranty
ERNIE JOVELLANOS | DAG-00015901 | , | 08/15/2025 10:21 AM | RL Manaoat Ref. & Aircon Service Center | n/a | DAGUPAN OFFICE | In House | Sale of Parts | Cost of Sales | Sale of Parts | 201000 | 0 | 201000 | 0 | Discount
ERNIE JOVELLANOS | DAG-00015983 |  | 08/27/2025 08:05 AM | Antalan, Daisy | KA-100MCARINV32 | DAG- SOLIS | ASP | Troubleshooting | Full Warranty | Check up (function & performance,visual check) | 0 | 450 | 450 | 0 | Full Warranty
ERNIE JOVELLANOS | DAG-00015852 |  | 2025-08-08 16:13 | Goyagoy, Erika | KEA-50BLRDCA | DAG- RL MANAOAT | ASP | Troubleshooting | Full Warranty | Check up (function & performance, visual check) | 0 | 400 | 400 | 0 | Full Warranty
ERNIE JOVELLANOS | DAG-00015794 |  | 2025-01-08 11:20 | Paramount Life & General Insurance Corp | KLG-IF40-2C1M | DAG- Speedcool | ASP | Troubleshooting | Chargeable | Check up (function & performance, visual check) | 0 | 600 | 600 | 0 | Labor Fee Collected by ASC
ERNIE JOVELLANOS | DAG-00015855 |  | 2025-11-08 08:52 | Dela Cruz, Jake | KEA-60BDRDCA | DAG- Tarlac Northern Marketing (Former PANASERCO) | ASP | Troubleshooting | Full Warranty | Check up (function & performance, visual check) | 0 | 400 | 400 | 0 | Full Warranty
ERNIE JOVELLANOS | DAG-00015828 | , | 2025-05-08 11:51 | Cool Aide Refrigeration Airconditioning and Electronics | n/a | DAGUPAN OFFICE | In House | Sale of Parts | Cost of Sales | Sale of Parts | 2750 | 0 | 3250 | 2655 | Discount, Discount, Cash
ERNIE JOVELLANOS | DAG-00015813 |  | 2025-04-08 08:25 | Bondoc, Mariela Bonton | KSM-IW15-WCT10M1M32 | DAG- Speedcool | ASP | General Cleaning | Chargeable | General Cleaning (Single Indoor Unit )(1 pair) | 0 | 1500 | 1500 | 0 | Labor Fee Collected by ASC
ERNIE JOVELLANOS | DAG-00015860 |  | 2025-11-08 13:39 | LGU Candon City | KEA-60BDRDCA | DAG - Magic Switch | ASP | Troubleshooting | Full Warranty | Check up (function & performance, visual check) | 0 | 400 | 400 | 0 | Full Warranty
ERNIE JOVELLANOS | DAG-00015863 |  | 2025-11-08 15:12 | Dizon , Lorencio | KSM-IW15AE-5G1M | DAG- Speedcool | ASP | General Cleaning | Chargeable | General Cleaning (Single Indoor Unit )(1 pair) | 0 | 1500 | 1500 | 0 | Labor Fee Collected by ASC
ERNIE JOVELLANOS | DAG-00015816 | , | 2025-04-08 10:34 | Rsk Appliances Repair Shop | n/a | DAGUPAN OFFICE | In House | Sale of Parts | Cost of Sales | Sale of Parts | 366500 | 0 | 366500 | 0 | Discount, Check
ERNIE JOVELLANOS | DAG-00015950 |  | 08/22/2025 01:55 PM | Saura, Rogelio | KEA-25BWR | DAG- Speedcool | ASP | Troubleshooting | Full Warranty | Repair/Replace Parts | 1500 | 800 | 2300 | 0 | Full Warranty
ERNIE JOVELLANOS | DAG-00015817 | , | 2025-04-08 10:42 | Speedcool Tech Refrigeration & Airconditioning Svc. | n/a | DAGUPAN OFFICE | In House | Sale of Parts | Cost of Sales | Sale of Parts | 41650 | 0 | 41650 | 33320 | Discount, Cash
ERNIE JOVELLANOS | DAG-00015853 |  | 2025-08-08 16:14 | Goyagoy, Erika | KEA-50BLRDCA | DAG- RL MANAOAT | ASP | Troubleshooting | Full Warranty | Repair/Replace Parts | 1000 | 800 | 1800 | 0 | Full Warranty
ERNIE JOVELLANOS | DAG-00015815 | , | 2025-04-08 10:28 | Rsk Appliances Repair Shop | n/a | DAGUPAN OFFICE | In House | Sale of Parts | Cost of Sales | Sale of Parts | 71750 | 0 | 71750 | 0 | Discount, Check
ERNIE JOVELLANOS | DAG-00015861 |  | 2025-11-08 13:40 | LGU Candon City | KEA-60BDRDCA | DAG - Magic Switch | ASP | Troubleshooting | Full Warranty | Repair/Replace Parts | 1000 | 800 | 1800 | 0 | Full Warranty
ERNIE JOVELLANOS | DAG-00015952 | , | 08/23/2025 02:52 PM | Romerzan Aircon and Refrigeration Services | n/a | DAGUPAN OFFICE | In House | Sale of Parts | Cost of Sales | Sale of Parts | 1100 | 0 | 1100 | 880 | Discount, Cash
ERNIE JOVELLANOS | DAG-00015859 |  | 2025-11-08 11:24 | CSI Warehouse Club Inc. | KEA-25BWR | DAGUPAN TECHNICIANS | In House | Troubleshooting | Full Warranty | No Repair Done | 0 | 0 | 0 | 0
ERNIE JOVELLANOS | DAG-00015940 |  | 08/20/2025 11:28 AM | Carino, Pia Marie | KAM-95CMC32 | DAG- Alap | ASP | Troubleshooting | Full Warranty | Minor Repair (minor adjustment,replacement of filter net,louver,front panel,front case,capacitor,sensor,OLP,compressor wire,swing motor & display board) | 0 | 900 | 900 | 0 | Full Warranty
ERNIE JOVELLANOS | DAG-00015948 |  | 08/22/2025 01:49 PM | CSI Warehouse Club Inc. | KAG-200WCINV | DAGUPAN TECHNICIANS | In House | Troubleshooting | Full Warranty | Major Repair (With parts replacement nt included in minor repair, rebearing of fan motor) | 6000 | 1100 | 7100 | 0 | Full Warranty
ERNIE JOVELLANOS | DAG-00015941 |  | 08/22/2025 08:13 AM | Swain, Virginia | KSM-IW15-WCT10M1M32 | DAG- Speedcool | ASP | Troubleshooting | Full Warranty | Check up (function & performance, visual check) | 0 | 450 | 450 | 0 | Full Warranty
ERNIE JOVELLANOS | DAG-00015888 |  | 2025-12-08 15:20 | Olivia's Pizzeria | KLG-SF40-3D1M | DAG- Speedcool | ASP | Troubleshooting | Chargeable | Check up (function & performance, visual check) | 0 | 450 | 450 | 0 | Labor Fee Collected by ASC
ERNIE JOVELLANOS | DAG-00015937 | , | 08/20/2025 08:44 AM | New Tarlac Northern Marketing | n/a | DAGUPAN OFFICE | In House | Sale of Parts | Cost of Sales | Sale of Parts | 22000 | 0 | 22000 | 0 | Discount
ERNIE JOVELLANOS | DAG-00015894 |  | 08/14/2025 11:43 AM | Ramos Jr , Filomeno | KPA-150R15D410 | DAG- Speedcool | ASP | Troubleshooting | Full Warranty | Check up (function & performance, visual check) | 0 | 400 | 400 | 0 | Full Warranty
ERNIE JOVELLANOS | DAG-00015900 | , | 08/15/2025 10:16 AM | RL Manaoat Ref. & Aircon Service Center | n/a | DAGUPAN OFFICE | In House | Sale of Parts | Cost of Sales | Sale of Parts | 220 | 0 | 220 | 0 | Discount
ERNIE JOVELLANOS | DAG-00015936 | , | 08/20/2025 08:37 AM | New Tarlac Northern Marketing | n/a | DAGUPAN OFFICE | In House | Sale of Parts | Cost of Sales | Sale of Parts | 11600 | 0 | 11600 | 0 | Discount
ERNIE JOVELLANOS | DAG-00015829 |  | 2025-05-08 15:14 | , Harley Abreu | KSM-IW10WAE-7J1M | DAG- Speedcool | ASP | Troubleshooting | Chargeable | Major Repair (with parts replacement not included in minor repair, leaktest,freon charge,repair drain) | 0 | 1800 | 1800 | 0 | Labor Fee Collected by ASC
ERNIE JOVELLANOS | DAG-00015838 |  | 2025-08-08 10:18 | Paduan, Teddy | KCB-BLC-8859T | DAG- SOLIS | ASP | Troubleshooting | Full Warranty | Repair/Replace Parts | 0 | 800 | 800 | 0 | Full Warranty
ERNIE JOVELLANOS | DAG-00015836 |  | 2025-07-08 14:37 | Bacara, Jennelyn | KAM-55CMC32 | DAG- Speedcool | ASP | Troubleshooting | Full Warranty | System Reprocess (0.6hp-1.5hp)(System Leak, compressor,evaporator,condenser replacement) | 5500 | 2000 | 7500 | 0 | Full Warranty
Sheena M. Monserate | DAG-00015970 |  | 08/26/2025 02:22 PM | Hendry, Myra | KSM-IW15-WCT10M1M32 | DAG- RSK | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015979 |  | 08/26/2025 02:58 PM | Concepcion , Vivencio | KSM-IW10-WCT10M1M32 | DAG- RSK | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015917 |  | 08/16/2025 01:51 PM | ROMEO LIM | KSM-IW10-9L1M-I | DAG- MEGAWORK | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015882 |  | 2025-12-08 13:56 | Fontanilla, Francisco Angelito | KSG-IWF-15WFY-8K1M32-I | DAG- RSK | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015960 |  | 08/26/2025 01:10 PM | Padilla, Vivian | KSM-IW15-WCT10M1M32 | DAG- JMD Airconice | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015889 |  | 08/13/2025 01:47 PM | Espanto, Kimberly | KSG-IWF-15WFY-8K1M32-I | DAG- VRR | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015876 |  | 2025-12-08 13:41 | Ramirez, Blanquita | KSM-IW10-WCT10M1M32 | DAG- RSK | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015850 |  | 2025-08-08 15:12 | Ramos, Daryl Homer | KSM-IW10-WCT10M1M32 | DAG- CAPITAL | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015809 |  | 2025-01-08 15:13 | Gasing, Kimberly | KSG-IWF-30WFY-8K1M32-I | DAG- JMD Airconice | ASP | Installation | Chargeable | Installation - 2.5HP - 3.0HP Inverter and Non Inverter (includes 10ft. copper tube, 10ft, royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 8500 | 8500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015839 |  | 2025-08-08 14:15 | De Vera, Imelda | KSG-IWF-25WFY-8K1M32-I | DAG- MEGAWORK | ASP | Installation | Chargeable | Installation - 2.5HP - 3.0HP Inverter and Non Inverter (includes 10ft. copper tube, 10ft, royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 8500 | 8500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015928 |  | 08/18/2025 02:10 PM | Ritualo, Angelica | KSM-IW10-WCT10M1M32 | DAG- MEGAWORK | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015880 |  | 2025-12-08 13:49 | Lorma Medical Center | KSM-IW25-WCT10M1M32 | DAG- RSK | ASP | Installation | Chargeable | Installation - 2.5HP - 3.0HP Inverter and Non Inverter (includes 10ft. copper tube, 10ft, royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 8500 | 8500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015995 |  | 08/28/2025 03:38 PM | Ordono, Fernando | KSM-IW10-WCT10M1M32 | DAG- RSK | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015872 |  | 2025-12-08 13:27 | Oro Resort | KSM-IW10-WCT10M1M32 | DAG- RSK | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015974 |  | 08/26/2025 02:36 PM | Arvin Camacho | KSM-IW15-WCT10M1M32 | DAG- RSK | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015944 |  | 08/22/2025 01:23 PM | Guiyab, Antonio | KSM-IW15-WCT10M1M32 | DAG- Green Air | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015833 |  | 2025-06-08 14:39 | Rimando, Emilio | KSM-IW10-WCT10M1M32 | DAG- JEFF | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015921 |  | 08/16/2025 02:48 PM | Ferreria, Michelle | KSM-IW10-WCT10M1M32 | DAG- RSK | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015884 |  | 2025-12-08 14:03 | Marquez, Rendel | KLG-IF40-5G1M32-I | DAG- RSK | ASP | Installation | Chargeable | Installation - 3.0TR (includes 10ft. copper tube, 10ft. royal cord, rubber insulation, circuit breaker, ordinary indoor bracket, drainhose /PVC drain pipe, consumables, flushing and testing)) | 0 | 11000 | 11000 | 0 | Installation Record
Sheena M. Monserate | DAG-00015980 |  | 08/26/2025 02:58 PM | Concepcion , Vivencio | KSM-IW15-WCT10M1M32 | DAG- RSK | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015977 |  | 08/26/2025 02:44 PM | Balanon, Virlynda | KSM-IW10-WCT10M1M32 | DAG- RSK | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015966 |  | 08/26/2025 01:32 PM | Vergara, Israel | KSM-IW10-WCT10M1M32 | DAG- JMD Airconice | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015918 |  | 08/16/2025 01:51 PM | ROMEO LIM | KSM-IW10-9L1M-I | DAG- MEGAWORK | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015887 |  | 2025-12-08 14:18 | Bassig, John Harvey | KSM-IW10-WCT10M1M32 | DAG- Green Air | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015946 |  | 08/22/2025 01:30 PM | Zareno, Lord Arin | KSM-IW10-WCT10M1M32 | DAG- JEFF | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015877 |  | 2025-12-08 13:42 | Ramirez, Blanquita | KSM-IW20-WCT10M1M32 | DAG- RSK | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015996 |  | 08/28/2025 03:39 PM | Ordono, Fernando | KSM-IW20-WCT10M1M32 | DAG- RSK | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015943 |  | 08/22/2025 01:16 PM | Municipality of San Jose | KLG-IF40-3D1M | DAG- Tarlac Northern Marketing (Former PANASERCO) | ASP | Installation | Chargeable | Installation - 3.0TR (includes 10ft. copper tube, 10ft. royal cord, rubber insulation, circuit breaker, ordinary indoor bracket, drainhose /PVC drain pipe, consumables, flushing and testing)) | 0 | 11000 | 11000 | 0 | Installation Record
Sheena M. Monserate | DAG-00015810 |  | 2025-01-08 15:14 | Gasing, Kimberly | KSG-IWF-30WFY-8K1M32-I | DAG- JMD Airconice | ASP | Installation | Chargeable | Installation - 2.5HP - 3.0HP Inverter and Non Inverter (includes 10ft. copper tube, 10ft, royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 8500 | 8500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015927 |  | 08/18/2025 10:58 AM | Caragan, Vincent | KLG-IF40-2C1M | DAG- JEFF | ASP | Troubleshooting | Chargeable | Check up (function & performance, visual check) | 0 | 600 | 600 | 0 | Relayed Job
Sheena M. Monserate | DAG-00015847 |  | 2025-08-08 14:59 | Eusebio, Mona Jane | KSM-IW25-WCT10M1M32 | DAG- Sentine | ASP | Installation | Chargeable | Installation - 2.5HP - 3.0HP Inverter and Non Inverter (includes 10ft. copper tube, 10ft, royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 8500 | 8500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015975 |  | 08/26/2025 02:37 PM | Arvin Camacho | KSM-IW15-WCT10M1M32 | DAG- RSK | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015873 |  | 2025-12-08 13:28 | Oro Resort | KSM-IW10-WCT10M1M32 | DAG- RSK | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015981 |  | 08/26/2025 02:59 PM | Concepcion , Vivencio | KSM-IW25-WCT10M1M32 | DAG- RSK | ASP | Installation | Chargeable | Installation - 2.5HP - 3.0HP Inverter and Non Inverter (includes 10ft. copper tube, 10ft, royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 8500 | 8500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015956 |  | 08/26/2025 10:20 AM | Habab, Leo | KLG-IF40-5G1M32-I | DAG- MFD | ASP | Installation | Chargeable | Installation - 3.0TR (includes 10ft. copper tube, 10ft. royal cord, rubber insulation, circuit breaker, ordinary indoor bracket, drainhose /PVC drain pipe, consumables, flushing and testing)) | 0 | 11000 | 11000 | 0 | Installation Record
Sheena M. Monserate | DAG-00015938 |  | 08/20/2025 09:37 AM | Cayabyab, Brenda | KSM-IW10-WCT10M1M32 | DAG- JEFF | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015831 |  | 2025-06-08 14:04 | Dam, Domindalyn | KSM-IW20-WCT10M1M32 | DAG- Sentine | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015972 |  | 08/26/2025 02:30 PM | Guiton, Marjelor | KSM-IW15-WCT10M1M32 | DAG- RSK | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015844 |  | 2025-08-08 14:30 | Mendoza, Arcy | KSM-IW10-WCT10M1M32 | DAG- MEGAWORK | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015807 |  | 2025-01-08 15:00 | Sarmiento, Jerry | KSM-IW10-WCT10M1M32 | DAG- Sentine | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015919 |  | 08/16/2025 01:52 PM | ROMEO LIM | KSM-IW10-9L1M-I | DAG- MEGAWORK | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015848 |  | 2025-08-08 15:06 | Agustin, Arvin | KSM-IW20-WCT10M1M32 | DAG- Green Air | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015925 |  | 08/16/2025 03:25 PM | NAGSIDORISAN BRGY HALL | KSM-IW15-WCT10M1M32 | DAG- RSK | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015910 |  | 08/16/2025 01:17 PM | Mercado, Marvin | KSG-IWF-15WFY-8K1M32-I | DAG- JEFF | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015955 |  | 08/26/2025 09:23 AM | Grapulin, Leticia | KSM-IW20-WCT10M1M32 | DAG- MFD | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015909 |  | 08/15/2025 02:37 PM | Pascua, Le Giro Lexi | KSM-IW10-WCT10M1M32 | DAG- JMD Airconice | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015881 |  | 2025-12-08 13:50 | San Miguel, Arnold | KSM-IW15-WCT10M1M32 | DAG- RSK | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015868 |  | 2025-12-08 13:14 | Abaya, Rufo | KSM-IW25-WCT10M1M32 | DAG- MFD | ASP | Installation | Chargeable | Installation - 2.5HP - 3.0HP Inverter and Non Inverter (includes 10ft. copper tube, 10ft, royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 8500 | 8500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015932 |  | 08/20/2025 08:26 AM | Cameron, Venus | KSM-IW20-WCT10M1M32 | DAG- RIVERDALE | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015896 |  | 08/14/2025 02:45 PM | Leonardo, Marjorie | KSG-IWF-10WFY-8K1M32-I | DAG- Sentine | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015988 |  | 08/28/2025 02:36 PM | Cruz, Shara Jane | KSM-IW10-WCT10M1M32 | DAG- Tarlac Northern Marketing (Former PANASERCO) | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015874 |  | 2025-12-08 13:29 | Oro Resort | KSM-IW20-WCT10M1M32 | DAG- RSK | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015913 |  | 08/16/2025 01:39 PM | Pandila, Cristina | KSM-IW15-WCT10M1M32 | DAG- MEGAWORK | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015846 |  | 2025-08-08 14:38 | Tomas, Retchie | KSM-IW10-WCT10M1M32 | DAG- MEGAWORK | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015911 |  | 08/16/2025 01:32 PM | GOLDILOCKS MALASIQUI | KSM-IW10-WCT10M1M32 | DAG- MEGAWORK | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015907 |  | 08/15/2025 02:30 PM | Centro San Antonio Brgy Council Ilagan | KSM-IW25-WCT10M1M32 | DAG- Green Air | ASP | Installation | Chargeable | Installation - 2.5HP - 3.0HP Inverter and Non Inverter (includes 10ft. copper tube, 10ft, royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 8500 | 8500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015991 |  | 08/28/2025 03:19 PM | Vision Optical | KLG-IF40-5G1M32-I | DAG- RSK | ASP | Installation | Chargeable | Installation - 3.0TR (includes 10ft. copper tube, 10ft. royal cord, rubber insulation, circuit breaker, ordinary indoor bracket, drainhose /PVC drain pipe, consumables, flushing and testing)) | 0 | 11000 | 11000 | 0 | Installation Record
Sheena M. Monserate | DAG-00015962 |  | 08/26/2025 01:20 PM | Albay, Mark Anthony | KSM-IW10-WCT10M1M32 | DAG- JMD Airconice | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015832 |  | 2025-06-08 14:12 | Magos, Cherry Ann | KSM-IW20-WCT10M1M32 | DAG- VRR | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015930 |  | 08/19/2025 11:55 AM | Buan , Ruben | KAG-100WCINV | DAG- JEFF | ASP | Troubleshooting | Chargeable | Check up (function & performance,visual check) | 0 | 450 | 450 | 0 | Relayed Job
Sheena M. Monserate | DAG-00015935 |  | 08/20/2025 08:34 AM | Pulmano, Joyce Janina Camille | KSG-IWF-10WFY-8K1M32-I | DAG- Sentine | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015890 |  | 08/13/2025 01:50 PM | De Castro, Kenneth | KSM-IW20-WCT10M1M32 | DAG- VRR | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015878 |  | 2025-12-08 13:44 | Ecolin, Belinda | KSM-IW15-WCT10M1M32 | DAG- RSK | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015804 |  | 2025-01-08 14:26 | Celeste, Diosdado | KSM-IW10-WCT10M1M32 | DAG- Speedcool | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015865 |  | 2025-11-08 15:25 | Yanes Kitchenette | KSM-IW25-WCT10M1M32 | DAG- Speedcool | ASP | Installation | Chargeable | Installation - 2.5HP - 3.0HP Inverter and Non Inverter (includes 10ft. copper tube, 10ft, royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 8500 | 8500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015857 |  | 2025-11-08 10:18 | Roque, Jeffrey | KSM-IW15-WCT10M1M32 | DAG- Green Air | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015885 |  | 2025-12-08 14:06 | Don Rufino Olarte Memorial Nhs | KSM-IW15-WCT10M1M32 | DAG- RSK | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015912 |  | 08/16/2025 01:32 PM | GOLDILOCKS MALASIQUI | KSG-IWF-30WFY-8K1M32-I | DAG- MEGAWORK | ASP | Installation | Chargeable | Installation - 2.5HP - 3.0HP Inverter and Non Inverter (includes 10ft. copper tube, 10ft, royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 8500 | 8500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015893 |  | 08/14/2025 10:57 AM | Gamu Rural School Annex | KSM-IW20-6H1M | DAG- Green Air | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015994 |  | 08/28/2025 03:34 PM | Ordono, Fernando | KSM-IW10-WCT10M1M32 | DAG- RSK | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015945 |  | 08/22/2025 01:25 PM | Salvador, Maan | KSM-IW15-WCT10M1M32 | DAG- Green Air | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015982 |  | 08/26/2025 03:01 PM | Provincial Government | KLG-IF70-5G1M32-I | DAG- RSK | ASP | Installation | Chargeable | Installation - 3.0TR (includes 10ft. copper tube, 10ft. royal cord, rubber insulation, circuit breaker, ordinary indoor bracket, drainhose /PVC drain pipe, consumables, flushing and testing)) | 0 | 11000 | 11000 | 0 | Installation Record
Sheena M. Monserate | DAG-00015806 |  | 2025-01-08 14:55 | Balbalin, Ismael | KSM-IW10-WCT10M1M32 | DAG- Sentine | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015842 |  | 2025-08-08 14:25 | Ferrer, Florante | KSM-IW10-WCT10M1M32 | DAG- MEGAWORK | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015942 |  | 08/22/2025 01:11 PM | Dizon, Love | KSM-IW20-WCT10M1M32 | DAG- Tarlac Northern Marketing (Former PANASERCO) | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015883 |  | 2025-12-08 13:59 | Mendioro, Ajel | KSM-IW20-WCT10M1M32 | DAG- RSK | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015886 |  | 2025-12-08 14:13 | Martinquilla, Sherwin | KSM-IW10-WCT10M1M32 | DAG- Green Air | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015802 |  | 2025-01-08 14:19 | PMVIC | KSM-IW10-WCT10M1M32 | DAG- Speedcool | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015990 |  | 08/28/2025 02:44 PM | Nisperos, Gerald | KSG-IWF-10WFY-8K1M32-I | DAG- VRR | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015840 |  | 2025-08-08 14:18 | Bull Consignment | KSM-IW10-WCT10M1M32 | DAG- MEGAWORK | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015954 |  | 08/26/2025 09:18 AM | Ansano, Bernadeth | KSM-IW15-WCT10M1M32 | DAG- Cool Aide | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015989 |  | 08/28/2025 02:37 PM | EMMACULADA MARIA ISIDRO /RAMOS GENERAL HOSPITAL TARLAC CITY | KSM-IW25-WCT10M1M32 | DAG- Tarlac Northern Marketing (Former PANASERCO) | ASP | Installation | Chargeable | Installation - 2.5HP - 3.0HP Inverter and Non Inverter (includes 10ft. copper tube, 10ft, royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 8500 | 8500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015961 |  | 08/26/2025 01:14 PM | Monang, Dina | KSM-IW10-WCT10M1M32 | DAG- JMD Airconice | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015933 |  | 08/20/2025 08:28 AM | Urbino, Gina | KSM-IW10-WCT10M1M32 | DAG- VRR | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015801 |  | 2025-01-08 14:12 | STAR MONICA RESORT | KLG-SF40-WBR6H1M32-I | DAG- Speedcool | ASP | Installation | Chargeable | Installation - 3.0TR (includes 10ft. copper tube, 10ft. royal cord, rubber insulation, circuit breaker, ordinary indoor bracket, drainhose /PVC drain pipe, consumables, flushing and testing)) | 0 | 11000 | 11000 | 0 | Installation Record
Sheena M. Monserate | DAG-00015866 |  | 2025-11-08 15:41 | Essilor Philippines | KSM-IW20-WCT10M1M32 | DAG- Speedcool | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015968 |  | 08/26/2025 02:19 PM | Hendry, Myra | KSM-IW10-WCT10M1M32 | DAG- RSK | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015920 |  | 08/16/2025 02:45 PM | Panida, Maridel | KSM-IW20-WCT10M1M32 | DAG- RSK | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015965 |  | 08/26/2025 01:29 PM | Saint Mary`s Funeral Homes | KSM-IW20-WCT10M1M32 | DAG- JMD Airconice | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015922 |  | 08/16/2025 03:21 PM | NPCMST | KSM-IW15-WCT10M1M32 | DAG- RSK | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015845 |  | 2025-08-08 14:33 | ASTRODOME (LIBRARY SECTION) | KLG-SF40-WBR6H1M32-I | DAG- MEGAWORK | ASP | Installation | Chargeable | Installation - 3.0TR (includes 10ft. copper tube, 10ft. royal cord, rubber insulation, circuit breaker, ordinary indoor bracket, drainhose /PVC drain pipe, consumables, flushing and testing)) | 0 | 11000 | 11000 | 0 | Installation Record
Sheena M. Monserate | DAG-00015963 |  | 08/26/2025 01:22 PM | Panta, Ma. Freda | KSM-IW10-WCT10M1M32 | DAG- JMD Airconice | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015971 |  | 08/26/2025 02:26 PM | Leones National High School | KSM-IW10-WCT10M1M32 | DAG- RSK | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015895 |  | 08/14/2025 01:36 PM | Urbino, Gina | KSM-IW10-WCT10M1M32 | DAG- VRR | ASP | Installation | Chargeable | No Repair Done | 0 | 0 | 0 | 0
Sheena M. Monserate | DAG-00015800 |  | 2025-01-08 14:06 | Archdiosesan School of San Fabian | KSM-IW25-WCT10M1M32 | DAG- Speedcool | ASP | Installation | Chargeable | Installation - 2.5HP - 3.0HP Inverter and Non Inverter (includes 10ft. copper tube, 10ft, royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 8500 | 8500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015931 |  | 08/20/2025 08:21 AM | Ricabo, Mary Ann | KSM-IW25-WCT10M1M32 | DAG- Speedcool | ASP | Installation | Chargeable | Installation - 2.5HP - 3.0HP Inverter and Non Inverter (includes 10ft. copper tube, 10ft, royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 8500 | 8500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015869 |  | 2025-12-08 13:24 | Oro Resort | KSM-IW10-WCT10M1M32 | DAG- RSK | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015867 |  | 2025-12-08 13:10 | Moreno, Edwin | KSM-IW20-WCT10M1M32 | DAG- MFD | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015992 |  | 08/28/2025 03:28 PM | Coast Light Church | KLG-IF40-5G1M32-I | DAG- RSK | ASP | Installation | Chargeable | Installation - 3.0TR (includes 10ft. copper tube, 10ft. royal cord, rubber insulation, circuit breaker, ordinary indoor bracket, drainhose /PVC drain pipe, consumables, flushing and testing)) | 0 | 11000 | 11000 | 0 | Installation Record
Sheena M. Monserate | DAG-00015830 |  | 2025-06-08 14:00 | Rosario, Jenie | KSG-IWF-10WFY-8K1M32-I | DAG- Sentine | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015906 |  | 08/15/2025 02:18 PM | Pandio, Jolmer | KSM-IW10-WCT10M1M32 | DAG- Speedcool | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015976 |  | 08/26/2025 02:41 PM | Calicdan, Tony | KSG-IWF-10WFY-8K1M32-I | DAG- RSK | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015923 |  | 08/16/2025 03:22 PM | NPCMST | KSM-IW20-WCT10M1M32 | DAG- RSK | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015822 |  | 2025-04-08 15:43 | Reyes, Gela Bianca | KSM-IW25-WCT10M1M32 | DAG- VRR | ASP | Installation | Chargeable | Installation - 2.5HP - 3.0HP Inverter and Non Inverter (includes 10ft. copper tube, 10ft, royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 8500 | 8500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015958 |  | 08/26/2025 10:31 AM | Sy, Gary | KSM-IW15-WCT10M1M32 | DAG- Speedcool | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015993 |  | 08/28/2025 03:29 PM | Coast Light Church | KLG-IF40-5G1M32-I | DAG- RSK | ASP | Installation | Chargeable | Installation - 3.0TR (includes 10ft. copper tube, 10ft. royal cord, rubber insulation, circuit breaker, ordinary indoor bracket, drainhose /PVC drain pipe, consumables, flushing and testing)) | 0 | 11000 | 11000 | 0 | Installation Record
Sheena M. Monserate | DAG-00015837 |  | 2025-07-08 16:09 | Lorenzo, Leila | KSM-IW10-WCT10M1M32 | DAG- Green Air | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015908 |  | 08/15/2025 02:33 PM | Rotico Food Products | KSG-IWF-30WFY-8K1M32-I | DAG- JMD Airconice | ASP | Installation | Chargeable | Installation - 2.5HP - 3.0HP Inverter and Non Inverter (includes 10ft. copper tube, 10ft, royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 8500 | 8500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015798 |  | 2025-01-08 13:31 | Provincial Government of Tarlac | KLG-IF40-5G1M32-I | DAG- Tarlac Northern Marketing (Former PANASERCO) | ASP | Installation | Chargeable | Installation - 3.0TR (includes 10ft. copper tube, 10ft. royal cord, rubber insulation, circuit breaker, ordinary indoor bracket, drainhose /PVC drain pipe, consumables, flushing and testing)) | 0 | 11000 | 11000 | 0 | Installation Record
Sheena M. Monserate | DAG-00015796 |  | 2025-01-08 13:24 | TARLAC AGRICULTURAL UNIVERSITY | KSM-IW25-WCT10M1M32 | DAG- Tarlac Northern Marketing (Former PANASERCO) | ASP | Installation | Chargeable | Installation - 2.5HP - 3.0HP Inverter and Non Inverter (includes 10ft. copper tube, 10ft, royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 8500 | 8500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015914 |  | 08/16/2025 01:42 PM | Tamayo, Maria | KSM-IW10-WCT10M1M32 | DAG- MEGAWORK | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015924 |  | 08/16/2025 03:22 PM | NPCMST | KSM-IW20-WCT10M1M32 | DAG- RSK | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015915 |  | 08/16/2025 01:49 PM | ROMEO LIM | KSM-IW10-9L1M-I | DAG- MEGAWORK | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015870 |  | 2025-12-08 13:26 | Oro Resort | KSM-IW10-WCT10M1M32 | DAG- RSK | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015969 |  | 08/26/2025 02:21 PM | Hendry, Myra | KSM-IW10-WCT10M1M32 | DAG- RSK | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015891 |  | 08/13/2025 01:53 PM | Ty, Mirasol | KSG-IWF-15WFY-8K1M32-I | DAG- VRR | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015843 |  | 2025-08-08 14:28 | Sequiz, Carina | KSM-IW15-WCT10M1M32 | DAG- MEGAWORK | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015875 |  | 2025-12-08 13:33 | Cunanan, Maria Luisa | KSM-IW20-WCT10M1M32 | DAG- RSK | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015803 |  | 2025-01-08 14:22 | Napao, Lourdes | KSG-IWF-15WFY-8K1M32-I | DAG- Speedcool | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015957 |  | 08/26/2025 10:25 AM | Espiritu, Dionisio | KSM-IW10-WCT10M1M32 | DAG- Speedcool | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015805 |  | 2025-01-08 14:29 | Swain, Virginia | KSM-IW15-WCT10M1M32 | DAG- Speedcool | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015797 |  | 2025-01-08 13:25 | TARLAC AGRICULTURAL UNIVERSITY | KSM-IW25-WCT10M1M32 | DAG- Tarlac Northern Marketing (Former PANASERCO) | ASP | Installation | Chargeable | Installation - 2.5HP - 3.0HP Inverter and Non Inverter (includes 10ft. copper tube, 10ft, royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 8500 | 8500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015849 |  | 2025-08-08 15:11 | Ramos, Daryl Homer | KSM-IW15-WCT10M1M32 | DAG- CAPITAL | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015808 |  | 2025-01-08 15:12 | Gasing, Kimberly | KSM-IW15-WCT10M1M32 | DAG- JMD Airconice | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015978 |  | 08/26/2025 02:57 PM | Concepcion , Vivencio | KSM-IW10-WCT10M1M32 | DAG- RSK | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015879 |  | 2025-12-08 13:48 | Lorma Medical Center | KSM-IW20-WCT10M1M32 | DAG- RSK | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015905 |  | 08/15/2025 02:13 PM | Santos, Ferdinand | KSM-IW10-WCT10M1M32 | DAG- Speedcool | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015916 |  | 08/16/2025 01:50 PM | ROMEO LIM | KSM-IW10-9L1M-I | DAG- MEGAWORK | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015964 |  | 08/26/2025 01:24 PM | Soliven, Ronalyn | KSM-IW10-WCT10M1M32 | DAG- JMD Airconice | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015871 |  | 2025-12-08 13:26 | Oro Resort | KSM-IW10-WCT10M1M32 | DAG- RSK | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015799 |  | 2025-01-08 13:32 | Provincial Government of Tarlac | KSM-IW10-WCT10M1M32 | DAG- Tarlac Northern Marketing (Former PANASERCO) | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015939 |  | 08/20/2025 09:42 AM | Bingayan, Vanessa | KSM-IW10-WCT10M1M32 | DAG- Green Air | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015926 |  | 08/16/2025 03:31 PM | Baltazar, Renato | KLG-IF40-5G1M32-I | DAG- RSK | ASP | Installation | Chargeable | Installation - 3.0TR (includes 10ft. copper tube, 10ft. royal cord, rubber insulation, circuit breaker, ordinary indoor bracket, drainhose /PVC drain pipe, consumables, flushing and testing)) | 0 | 11000 | 11000 | 0 | Installation Record
Sheena M. Monserate | DAG-00015947 |  | 08/22/2025 01:36 PM | Perez, Rosalinda | KSG-IWF-10WFY-8K1M32-I | DAG- VRR | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015841 |  | 2025-08-08 14:21 | Ong, Jimmy | KSG-IWF-15WFY-8K1M32-I | DAG- MEGAWORK | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015973 |  | 08/26/2025 02:36 PM | Arvin Camacho | KSM-IW20-WCT10M1M32 | DAG- RSK | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00015934 |  | 08/20/2025 08:31 AM | Santos, Christian | KSM-IW15-WCT10M1M32 | DAG- Sentine | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record