## quadrant_report_service_collect
SERVICE COLLECTION
Billed By | SJR # | Column1 | SJR Date | Customer Name | Model | Team Name | Team Type | Job Class | Warranty Type | Repair Code | Parts Amount | Labor Fee | Total Amount | Amount Paid | Payment Type
ERNIE JOVELLANOS | DAG-00016130 |  | 09/15/2025 11:56 AM | Garcia, Marlon | KSM-IW15-WCT10M1M32 | DAG- Alap | ASP | Troubleshooting | Full Warranty | Major Repair (with parts replacement not included in minor repair, leaktest,freon charge,repair drain) | 3370 | 1800 | 5170 | 0 | Full Warranty
ERNIE JOVELLANOS | DAG-00016152 |  | 09/19/2025 11:30 AM | Garcia, Marlon | KSM-IW15-WCT10M1M32 | DAG- Alap | ASP | Troubleshooting | Full Warranty | Major Repair (With parts replacement not included in minor repair, Leaktest, freon charge, repair drain) | 1100 | 1500 | 2600 | 0 | Full Warranty
ERNIE JOVELLANOS | DAG-00016156 | , | 09/20/2025 08:16 AM | RL Manaoat Ref. & Aircon Service Center | n/a | DAGUPAN OFFICE | In House | Sale of Parts | Cost of Sales | Sale of Parts | 478000 | 0 | 478000 | 0 | Discount
ERNIE JOVELLANOS | DAG-00016051 |  | 2025-03-09 11:42 | Concepcion , Vivencio | KSM-IW25-WCT10M1M32 | DAG- RSK | ASP | Troubleshooting | Full Warranty | Check up (function & performance, visual check) | 0 | 450 | 450 | 0 | Full Warranty
ERNIE JOVELLANOS | DAG-00016031 |  | 2025-02-09 10:11 | Dicipulo, Jane Ariane | KAG-100WCINV | DAGUPAN TECHNICIANS | In House | Troubleshooting | Full Warranty | Minor Repair (minor adjustment,replacement of filter net,louver,front panel,front case,capacitor,sensor,OLP,compressor wire,swing motor & display board) | 0 | 900 | 900 | 0 | Labor Warranty
ERNIE JOVELLANOS | DAG-00016037 |  | 2025-02-09 15:47 | Calimlim, Daryl | KWD-BLC-3088S | DAG- SOLIS | ASP | Troubleshooting | Full Warranty | System Reprocess | 0 | 1500 | 1500 | 0 | Full Warranty
ERNIE JOVELLANOS | DAG-00016113 | , | 2025-10-09 11:49 | Speedcool Tech Refrigeration & Airconditioning Svc. | n/a | DAGUPAN OFFICE | In House | Sale of Parts | Cost of Sales | Sale of Parts | 41965 | 0 | 41965 | 33572 | Discount, Cash
ERNIE JOVELLANOS | DAG-00016033 | , | 2025-02-09 12:56 | Montemayor, Franco | n/a | DAGUPAN OFFICE | In House | Sale of Parts | Cost of Sales | Sale of Parts | 1100 | 0 | 1100 | 1100 | Cash
ERNIE JOVELLANOS | DAG-00016206 | , | 09/29/2025 02:18 PM | Speedcool Tech Refrigeration & Airconditioning Svc. | n/a | DAGUPAN OFFICE | In House | Sale of Parts | Cost of Sales | Sale of Parts | 131200 | 0 | 131200 | 39400 | Discount, Cash
ERNIE JOVELLANOS | DAG-00016111 |  | 2025-10-09 10:02 | Bacsal, Bernard | KEA-50BLRDCA | DAGUPAN TECHNICIANS | In House | Troubleshooting | Full Warranty | Major Repair (With parts replacement nt included in minor repair, rebearing of fan motor) | 1700 | 1100 | 2800 | 0 | Full Warranty
ERNIE JOVELLANOS | DAG-00016205 | , | 09/29/2025 02:11 PM | Speedcool Tech Refrigeration & Airconditioning Svc. | n/a | DAGUPAN OFFICE | In House | Sale of Parts | Cost of Sales | Sale of Parts | 44500 | 0 | 44500 | 35600 | Discount, Cash
ERNIE JOVELLANOS | DAG-00016117 |  | 2025-11-09 14:04 | CSI Warehouse Club Inc. | KEA-25BWR | DAGUPAN TECHNICIANS | In House | Troubleshooting | Full Warranty | Check up (function & performance, visual check) | 0 | 400 | 400 | 0 | Full Warranty
ERNIE JOVELLANOS | DAG-00016035 |  | 2025-02-09 15:20 | Paduan, Teddy | KCB-BLC-8859T | DAG- SOLIS | ASP | Troubleshooting | Full Warranty | Check up (function & performance, visual check) | 0 | 400 | 400 | 0 | Full Warranty
ERNIE JOVELLANOS | DAG-00016019 |  | 2025-01-09 08:47 | Cantil, Ma. Ceris | KAG-200WCINV | DAG- RSK | ASP | Troubleshooting | Full Warranty | Check up (function & performance,visual check) | 0 | 450 | 450 | 0 | Full Warranty
ERNIE JOVELLANOS | DAG-00016203 |  | 09/29/2025 09:47 AM | Gacutan , Amelia | KSM-IW10-WCT10M1M32 | DAG- MFD 1 | ASP | Troubleshooting | Chargeable | Check up (function & performance, visual check) | 0 | 450 | 450 | 0 | Labor Fee Collected by ASC
ERNIE JOVELLANOS | DAG-00016088 |  | 2025-06-09 14:11 | LENOX HOTEL | KLG-IF40-2C1M | DAG- Speedcool | ASP | Troubleshooting | Chargeable | System Reprocess (System leak,compressor,evaporator,condenser replacement) (3.0tr) Regular | 0 | 3500 | 3500 | 0 | Labor Fee Collected by ASC
ERNIE JOVELLANOS | DAG-00016045 |  | 2025-03-09 09:50 | Malicdem, Maxime Galsim | KAM-100DRC32 | DAG- Speedcool | ASP | Troubleshooting | Full Warranty | Minor Repair (minor adjustment,replacement of filter net,louver,front panel,front case,capacitor,sensor,OLP,compressor wire,swing motor & display board) | 0 | 900 | 900 | 0 | Full Warranty
ERNIE JOVELLANOS | DAG-00016169 | , | 09/22/2025 09:56 AM | L5 and Sons Financing | KSM-SW20-5G1M | DAGUPAN OFFICE | In House | Sale of Parts | Cost of Sales | Sale of Parts | 1100 | 0 | 1100 | 1100 | Cash
ERNIE JOVELLANOS | DAG-00016207 | , | 09/29/2025 03:03 PM | Cool Aide Refrigeration Airconditioning and Electronics | n/a | DAGUPAN OFFICE | In House | Sale of Parts | Cost of Sales | Sale of Parts | 2200 | 0 | 2200 | 1760 | Discount, Cash
ERNIE JOVELLANOS | DAG-00016020 |  | 2025-01-09 08:48 | Cantil, Ma. Ceris | KAG-200WCINV | DAG- RSK | ASP | Troubleshooting | Full Warranty | Major Repair (With parts replacement nt included in minor repair, rebearing of fan motor) | 3500 | 1100 | 4600 | 0 | Full Warranty
ERNIE JOVELLANOS | DAG-00016202 | , | 09/27/2025 11:02 AM | RAEL KITZ CORPORATION | n/a | DAGUPAN OFFICE | In House | Sale of Parts | Cost of Sales | Sale of Parts | 5500 | 0 | 5500 | 5500 | Cash
ERNIE JOVELLANOS | DAG-00016039 | , | 2025-03-09 08:24 | Panaserco Appliance Repair Shop (ASC) | n/a | DAGUPAN OFFICE | In House | Sale of Parts | Cost of Sales | Sale of Parts | 5800 | 0 | 5800 | 0 | Discount
ERNIE JOVELLANOS | DAG-00016109 |  | 2025-09-09 13:32 | Tiri, Mark Jancel | KCB-BLC-8859T | DAG- Magic Switch | ASP | Troubleshooting | Full Warranty | Repair/Replace Parts | 1830 | 800 | 2630 | 0 | Full Warranty
ERNIE JOVELLANOS | DAG-00016090 |  | 2025-08-09 08:54 | Elinzano, Catherine | KSM-IW10WAE-7J1M | DAG- Speedcool | ASP | Troubleshooting | Chargeable | Major Repair (with parts replacement not included in minor repair, leaktest,freon charge,repair drain) | 0 | 1800 | 1800 | 0 | Labor Fee Collected by ASC
ERNIE JOVELLANOS | DAG-00016034 | , | 2025-02-09 14:16 | Jeff Air Condition and Refrigeration Maintenance Services | n/a | DAGUPAN OFFICE | In House | Sale of Parts | Cost of Sales | Sale of Parts | 7700 | 0 | 7700 | 6160 | Discount, Cash
ERNIE JOVELLANOS | DAG-00016118 |  | 2025-11-09 14:34 | LGU Agoo | KEA-50BLRDCA | DAGUPAN TECHNICIANS | In House | Troubleshooting | Full Warranty | Major Repair (With parts replacement nt included in minor repair, rebearing of fan motor) | 2000 | 1100 | 3100 | 0 | Full Warranty
ERNIE JOVELLANOS | DAG-00016036 |  | 2025-02-09 15:21 | Paduan, Teddy | KCB-BLC-8859T | DAG- SOLIS | ASP | Troubleshooting | Full Warranty | Repair/Replace Parts | 330 | 800 | 1130 | 0 | Full Warranty
ERNIE JOVELLANOS | DAG-00016136 |  | 09/15/2025 04:10 PM | Dela Cruz, Jake | KEA-60BDRDCA | DAG- Tarlac Northern Marketing (Former PANASERCO) | ASP | Troubleshooting | Full Warranty | Major Repair (With parts replacement nt included in minor repair, rebearing of fan motor) | 1700 | 1100 | 2800 | 0 | Full Warranty
ERNIE JOVELLANOS | DAG-00016040 |  | 2025-03-09 09:15 | Padilla, Vivian | KSM-IW15-WCT10M1M32 | DAG- JMD Airconice | ASP | Installation | Full Warranty | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Full Warranty
ERNIE JOVELLANOS | DAG-00016155 |  | 09/19/2025 02:11 PM | Fabian, Gilda | KAG-145WCINV | DAG- DL | ASP | Troubleshooting | Parts Warranty | Major Repair (With parts replacement not included in minor repair, Rebearing of fan motor | 5000 | 1000 | 6000 | 0 | Parts Warranty, Labor Fee Collected by ASC
ERNIE JOVELLANOS | DAG-00016029 |  | 2025-02-09 08:48 | Centro Specialist Co Ltd | KLG-SF40-WBR6H1M32-I | DAG- MEGAWORK | ASP | Troubleshooting | Full Warranty | System Reprocess (System leak,compressor,evaporator,condenser replacement) (3.0tr) Regular | 20000 | 3500 | 23500 | 0 | Full Warranty
ERNIE JOVELLANOS | DAG-00016201 | , | 09/26/2025 10:14 AM | Tubasis, Miguel Jr | KAG-150DRE | DAGUPAN TECHNICIANS | In House | Troubleshooting | Chargeable | Major Repair (With parts replacement nt included in minor repair, rebearing of fan motor) | 1320 | 1100 | 2420 | 2420 | Cash
ERNIE JOVELLANOS | DAG-00016135 |  | 09/15/2025 02:30 PM | Rescigno, Darren | KSM-IW10-6H1M | DAG- Speedcool | ASP | Troubleshooting | Chargeable | Major Repair (with parts replacement not included in minor repair, leaktest,freon charge,repair drain) | 0 | 1800 | 1800 | 0 | Labor Fee Collected by ASC
ERNIE JOVELLANOS | DAG-00016047 | , | 2025-03-09 10:13 | Rsk Appliances Repair Shop | n/a | DAGUPAN OFFICE | In House | Sale of Parts | Cost of Sales | Sale of Parts | 106850 | 0 | 106850 | 0 | Discount, Check
ERNIE JOVELLANOS | DAG-00016064 | , | 2025-04-09 14:29 | Alap Aircon and Refrigeration Services | n/a | DAGUPAN OFFICE | In House | Sale of Parts | Cost of Sales | Sale of Parts | 7150 | 0 | 7650 | 5962 | Discount, Discount, Cash
ERNIE JOVELLANOS | DAG-00016112 | , | 2025-10-09 11:45 | Speedcool Tech Refrigeration & Airconditioning Svc. | n/a | DAGUPAN OFFICE | In House | Sale of Parts | Cost of Sales | Sale of Parts | 98400 | 0 | 98400 | 29550 | Discount, Cash
ERNIE JOVELLANOS | DAG-00016038 | , | 2025-03-09 08:04 | Panaserco Appliance Repair Shop (ASC) | n/a | DAGUPAN OFFICE | In House | Sale of Parts | Cost of Sales | Sale of Parts | 17400 | 0 | 17400 | 0 | Discount
ERNIE JOVELLANOS | DAG-00016121 |  | 09/13/2025 10:30 AM | Speedcool Tech Refrigeration & Airconditioning Svc. | n/a | DAGUPAN OFFICE | In House | Sale of Parts | Cost of Sales | Sale of Parts | 22000 | 0 | 22000 | 0 | Sales Return
ERNIE JOVELLANOS | DAG-00016150 |  | 09/18/2025 09:48 AM | Beltran, Jessa | KEA-25BWR | DAGUPAN TECHNICIANS | In House | Troubleshooting | Full Warranty | Repair/Replace Parts | 1500 | 800 | 2300 | 0 | Full Warranty
ERNIE JOVELLANOS | DAG-00016157 |  | 09/20/2025 09:53 AM | Maron, John Gabriel | KA-150MCARINV32 | DAG- Speedcool | ASP | Troubleshooting | Full Warranty | Pull-out Unit | 0 | 0 | 0 | 0
ERNIE JOVELLANOS | DAG-00016046 | , | 2025-03-09 10:06 | Rsk Appliances Repair Shop | n/a | DAGUPAN OFFICE | In House | Sale of Parts | Cost of Sales | Sale of Parts | 678000 | 0 | 678000 | 0 | Discount, Check
ERNIE JOVELLANOS | DAG-00016116 |  | 2025-11-09 13:39 | Abeleda, Jomar | KA-75MCARINV32 | DAG- Speedcool | ASP | Troubleshooting | Full Warranty | Major Repair (With parts replacement nt included in minor repair, rebearing of fan motor) | 5000 | 1100 | 6100 | 0 | Full Warranty
ERNIE JOVELLANOS | DAG-00016030 |  | 2025-02-09 08:56 | Raguindin, Myla Lynne | KAG-150HRE4 | DAG- Speedcool | ASP | Troubleshooting | Chargeable | Check up (function & performance,visual check) | 0 | 450 | 450 | 0 | Labor Fee Collected by ASC
ERNIE JOVELLANOS | DAG-00016013 |  | 2025-01-09 08:36 | Flores, Julia | KPA-150R15D410 | DAG- RSK | ASP | Troubleshooting | Full Warranty | Check up (function & performance, visual check) | 0 | 400 | 400 | 0 | Full Warranty
ERNIE JOVELLANOS | DAG-00016052 |  | 2025-03-09 13:20 | Taloban , Henry . | KSM-IW10-6H1M | DAG- Speedcool | ASP | Troubleshooting | Chargeable | No Repair Done | 0 | 0 | 0 | 0
ERNIE JOVELLANOS | DAG-00016025 |  | 2025-01-09 11:14 | Fiestada, Justin Bernard | KEA-25BWR | DAGUPAN TECHNICIANS | In House | Troubleshooting | Full Warranty | Check up (function & performance, visual check) | 0 | 400 | 400 | 0 | Full Warranty
ERNIE JOVELLANOS | DAG-00016048 |  | 2025-03-09 11:40 | Concepcion , Vivencio | KSM-IW10-WCT10M1M32 | DAG- RSK | ASP | Troubleshooting | Full Warranty | Check up (function & performance, visual check) | 0 | 450 | 450 | 0 | Full Warranty
ERNIE JOVELLANOS | DAG-00016107 |  | 2025-09-09 13:20 | Edejer, Reyna Claire | KEA-120BDR | DAG- SOLIS | ASP | Troubleshooting | Full Warranty | Check up (function & performance, visual check) | 0 | 400 | 400 | 0 | Full Warranty
ERNIE JOVELLANOS | DAG-00016151 |  | 09/18/2025 10:04 AM | VIC Imperial Appliance Corporation | KIF-26SMBBLDC | DAGUPAN TECHNICIANS | In House | Troubleshooting | Full Warranty | No Repair Done | 0 | 0 | 0 | 0
ERNIE JOVELLANOS | DAG-00016032 |  | 2025-02-09 11:49 | Olivia's Pizzeria | KLG-SF40-3D1M | DAG- Speedcool | ASP | General Cleaning | Chargeable | General Cleaning (Unit inspection,pressure washing,clean filter & drain) | 0 | 2000 | 2000 | 0 | Labor Fee Collected by ASC
ERNIE JOVELLANOS | DAG-00016021 |  | 2025-01-09 08:51 | EL NAVI SURFTOWN HOSTEL AND CAFE | KSM-IW15-WCT10M1M32 | DAG- RSK | ASP | Troubleshooting | Full Warranty | Check up (function & performance, visual check) | 0 | 450 | 450 | 0 | Full Warranty
ERNIE JOVELLANOS | DAG-00016106 |  | 2025-09-09 08:42 | Fernandez, Daryl | KAM-55CMC32 | DAG- Speedcool | ASP | Troubleshooting | Full Warranty | Check up (function & performance,visual check) | 0 | 450 | 450 | 0 | Full Warranty
ERNIE JOVELLANOS | DAG-00016137 |  | 09/16/2025 08:26 AM | Garampil, Rio Camille | KSM-IW15-WCT10M1M32 | DAG- Pretty Cool | ASP | Troubleshooting | Full Warranty | General Cleaning (Single Indoor Unit )(1 pair) | 0 | 1500 | 1500 | 0 | Labor Fee Collected by ASC
ERNIE JOVELLANOS | DAG-00016027 | , | 2025-01-09 15:11 | Solis Appliance Service Center | n/a | DAGUPAN OFFICE | In House | Sale of Parts | Cost of Sales | Sale of Parts | 30210 | 0 | 30210 | 0 | Discount, Check
ERNIE JOVELLANOS | DAG-00016028 |  | 2025-01-09 16:08 | Napenas, Arnold | KAG-100WCINV | DAG- Speedcool | ASP | Troubleshooting | Chargeable | Major Repair (With parts replacement nt included in minor repair, rebearing of fan motor) | 0 | 1100 | 1100 | 0 | Labor Fee Collected by ASC
ERNIE JOVELLANOS | DAG-00016049 |  | 2025-03-09 11:41 | Concepcion , Vivencio | KSM-IW10-WCT10M1M32 | DAG- RSK | ASP | Troubleshooting | Full Warranty | Check up (function & performance, visual check) | 0 | 450 | 450 | 0 | Full Warranty
ERNIE JOVELLANOS | DAG-00016134 |  | 09/15/2025 02:26 PM | Lim, Peter | KAG-100HRE4 | DAG- Speedcool | ASP | Troubleshooting | Chargeable | Check up (function & performance,visual check) | 0 | 450 | 450 | 0 | Labor Fee Collected by ASC
ERNIE JOVELLANOS | DAG-00016062 |  | 2025-04-09 13:56 | Ibay, Beverly Anne | KAG-100WCINV | DAG- Cool Aide | ASP | Troubleshooting | Full Warranty | Check up (function & performance,visual check) | 0 | 450 | 450 | 0 | Full Warranty
ERNIE JOVELLANOS | DAG-00016022 |  | 2025-01-09 08:52 | EL NAVI SURFTOWN HOSTEL AND CAFE | KSM-IW15-WCT10M1M32 | DAG- RSK | ASP | Troubleshooting | Full Warranty | Major Repair (with parts replacement not included in minor repair, leaktest,freon charge,repair drain) | 4500 | 1800 | 6300 | 0 | Full Warranty
ERNIE JOVELLANOS | DAG-00016129 |  | 09/15/2025 11:56 AM | Garcia, Marlon | KSM-IW15-WCT10M1M32 | DAG- Alap | ASP | Troubleshooting | Full Warranty | Check up (function & performance,visual check) | 0 | 450 | 450 | 0 | Full Warranty
ERNIE JOVELLANOS | DAG-00016063 |  | 2025-04-09 13:56 | Ibay, Beverly Anne | KAG-100WCINV | DAG- Cool Aide | ASP | Troubleshooting | Full Warranty | System Reprocess (System leak,compressor,evaporator,condenser replacement) (0.6-1.5hp) | 0 | 2300 | 2300 | 0 | Full Warranty
ERNIE JOVELLANOS | DAG-00016050 |  | 2025-03-09 11:42 | Concepcion , Vivencio | KSM-IW15-WCT10M1M32 | DAG- RSK | ASP | Troubleshooting | Full Warranty | Check up (function & performance, visual check) | 0 | 450 | 450 | 0 | Full Warranty
ERNIE JOVELLANOS | DAG-00016026 | , | 2025-01-09 15:04 | Solis Appliance Service Center | n/a | DAGUPAN OFFICE | In House | Sale of Parts | Cost of Sales | Sale of Parts | 315000 | 0 | 315000 | 0 | Discount, Check
ERNIE JOVELLANOS | DAG-00016108 |  | 2025-09-09 13:29 | Tiri, Mark Jancel | KCB-BLC-8859T | DAG- Magic Switch | ASP | Troubleshooting | Full Warranty | Check up (function & performance, visual check) | 0 | 400 | 400 | 0 | Full Warranty
Sheena M. Monserate | DAG-00016171 |  | 09/22/2025 10:15 AM | Fabra, Daisy | KSM-IW15-WCT10M1M32 | DAG- MEGAWORK | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00016076 |  | 2025-05-09 13:41 | Santos, Bernadette | KSM-IW10-WCT10M1M32 | DAG- MEGAWORK | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00016145 |  | 09/17/2025 03:50 PM | Cordillera Hospital of the Divine Grace | KSG-IWF-20WFY-8K1M32-I | DAG- RSK | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00016082 |  | 2025-06-09 13:48 | Mendavia, Rosemarie | KSM-IW15-WCT10M1M32 | DAG- MEGAWORK | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00016073 |  | 2025-05-09 13:35 | Gallero, Glaiza | KSM-IW10-WCT10M1M32 | DAG- MEGAWORK | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00016086 |  | 2025-06-09 14:02 | Pascual, John Paul | KSM-IW10-WCT10M1M32 | DAG- MEGAWORK | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00016140 |  | 09/17/2025 03:44 PM | Liwan, Jesevel | KSM-IW10-WCT10M1M32 | DAG- RSK | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00016102 |  | 2025-08-09 15:33 | Cata Al, Teting | KSM-IW25-WCT10M1M32 | DAG- Speedcool | ASP | Installation | Chargeable | Installation - 2.5HP - 3.0HP Inverter and Non Inverter (includes 10ft. copper tube, 10ft, royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 8500 | 8500 | 0 | Installation Record
Sheena M. Monserate | DAG-00016093 |  | 2025-08-09 13:31 | Castro, Wilma | KSM-IW10-WCT10M1M32 | DAG- MEGAWORK | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00016078 |  | 2025-06-09 13:12 | Engr. Ed Ticson | KSM-IW25-WCT10M1M32 | DAG- Speedcool | ASP | Installation | Chargeable | Installation - 2.5HP - 3.0HP Inverter and Non Inverter (includes 10ft. copper tube, 10ft, royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 8500 | 8500 | 0 | Installation Record
Sheena M. Monserate | DAG-00016059 |  | 2025-03-09 13:59 | Hermosura, Marife | KSM-IW20-WCT10M1M32 | DAG- Sentine (Satellite) | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00016065 |  | 2025-05-09 13:06 | THE INSULAR LIFE ASSURANCE COMPANY | KSM-IW25-WCT10M1M32 | DAG- RIVERDALE | ASP | Installation | Chargeable | Installation - 2.5HP - 3.0HP Inverter and Non Inverter (includes 10ft. copper tube, 10ft, royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 8500 | 8500 | 0 | Installation Record
Sheena M. Monserate | DAG-00016174 |  | 09/22/2025 10:23 AM | Empeno, Errol | KSG-IWF-20WFY-8K1M32-I | DAG- MEGAWORK | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00016163 |  | 09/22/2025 09:33 AM | Datugar, Jaed | KSG-IWF-10WFY-8K1M32-I | DAG- MEGAWORK | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00016181 |  | 09/23/2025 02:47 PM | Bernabe, Melda | KSM-IW20-WCT10M1M32 | DAG- JMD Airconice | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00016114 |  | 2025-11-09 09:10 | Virrey, Dianne | KSM-IW10-WCT10M1M32 | DAG- VRR | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00016146 |  | 09/17/2025 03:51 PM | Cordillera Hospital of the Divine Grace | KSG-IWF-20WFY-8K1M32-I | DAG- RSK | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00016068 |  | 2025-05-09 13:21 | Macabeo, Arantra | KSM-IW10-WCT10M1M32 | DAG- MEGAWORK | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00016085 |  | 2025-06-09 13:56 | Natividad, Brendon | KSM-IW15-WCT10M1M32 | DAG- MEGAWORK | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00016097 |  | 2025-08-09 13:53 | Lui, Manuel | KLG-IF40-5G1M32-I | DAG- MEGAWORK | ASP | Installation | Chargeable | Installation - 3.0TR (includes 10ft. copper tube, 10ft. royal cord, rubber insulation, circuit breaker, ordinary indoor bracket, drainhose /PVC drain pipe, consumables, flushing and testing)) | 0 | 11000 | 11000 | 0 | Installation Record
Sheena M. Monserate | DAG-00016168 |  | 09/22/2025 09:48 AM | Valdez, Franklin | KSM-IW25-WCT10M1M32 | DAG- MEGAWORK | ASP | Installation | Chargeable | Installation - 2.5HP - 3.0HP Inverter and Non Inverter (includes 10ft. copper tube, 10ft, royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 8500 | 8500 | 0 | Installation Record
Sheena M. Monserate | DAG-00016071 |  | 2025-05-09 13:29 | Del Rosario, Bryan | KSG-IWF-15WFY-8K1M32-I | DAG- MEGAWORK | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00016122 |  | 09/13/2025 01:26 PM | Fontanilla, Aida | KSG-IWF-10WFY-8K1M32-I | DAG- RSK | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00016103 |  | 2025-08-09 15:34 | Cata Al, Teting | KSM-IW25-WCT10M1M32 | DAG- Speedcool | ASP | Installation | Chargeable | Installation - 2.5HP - 3.0HP Inverter and Non Inverter (includes 10ft. copper tube, 10ft, royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 8500 | 8500 | 0 | Installation Record
Sheena M. Monserate | DAG-00016128 |  | 09/13/2025 01:34 PM | Akasia Restaurant | KLG-IF40-5G1M32-I | DAG- RSK | ASP | Installation | Chargeable | Installation - 3.0TR (includes 10ft. copper tube, 10ft. royal cord, rubber insulation, circuit breaker, ordinary indoor bracket, drainhose /PVC drain pipe, consumables, flushing and testing)) | 0 | 11000 | 11000 | 0 | Installation Record
Sheena M. Monserate | DAG-00016057 |  | 2025-03-09 13:38 | Miguel, Pablo | KSM-IW10-WCT10M1M32 | DAG- RSK | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00016015 |  | 2025-01-09 08:40 | BETHANY HOSPITAL | KSM-IW10-WCT10M1M32 | DAG- RSK | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00016200 |  | 09/26/2025 09:58 AM | Pastor, Glen | KSG-IWF-15WFY-8K1M32-I | DAG- Sentine (Satellite) | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00016098 |  | 2025-08-09 13:54 | Lui, Manuel | KSM-IW25-WCT10M1M32 | DAG- MEGAWORK | ASP | Installation | Chargeable | Installation - 2.5HP - 3.0HP Inverter and Non Inverter (includes 10ft. copper tube, 10ft, royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 8500 | 8500 | 0 | Installation Record
Sheena M. Monserate | DAG-00016154 |  | 09/19/2025 01:34 PM | Mendoza, Abraham | KSM-IW10-WCT10M1M32 | DAG- Sentine (Satellite) | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00016089 |  | 2025-06-09 14:47 | Corpuz, Nelson | KSM-IW15-WCT10M1M32 | DAG- RSK | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00016186 |  | 09/26/2025 08:39 AM | Victory Christian Fellowship of Pangasinan | KSM-IW25-WCT10M1M32 | DAG- Speedcool | ASP | Installation | Chargeable | Installation - 2.5HP - 3.0HP Inverter and Non Inverter (includes 10ft. copper tube, 10ft, royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 8500 | 8500 | 0 | Installation Record
Sheena M. Monserate | DAG-00016194 |  | 09/26/2025 09:37 AM | San Luis Health Center | KSM-IW10-WCT10M1M32 | DAG- VRR | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00016067 |  | 2025-05-09 13:15 | Ordono, Fernando | KSM-IW20-WCT10M1M32 | DAG- RSK | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00016191 |  | 09/26/2025 09:30 AM | Puyaoan, Elaine | KSG-IWF-30WFY-8K1M32-I | DAG- ROMERZAN | ASP | Installation | Chargeable | Installation - 2.5HP - 3.0HP Inverter and Non Inverter (includes 10ft. copper tube, 10ft, royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 8500 | 8500 | 0 | Installation Record
Sheena M. Monserate | DAG-00016079 |  | 2025-06-09 13:35 | Sarap to Go | KLG-IF40-5G1M32-I | DAG- MEGAWORK | ASP | Installation | Chargeable | Installation - 3.0TR (includes 10ft. copper tube, 10ft. royal cord, rubber insulation, circuit breaker, ordinary indoor bracket, drainhose /PVC drain pipe, consumables, flushing and testing)) | 0 | 11000 | 11000 | 0 | Installation Record
Sheena M. Monserate | DAG-00016190 |  | 09/26/2025 09:01 AM | Bulatao, Amelita | KLG-IF40-5G1M32-I | DAG- Speedcool | ASP | Installation | Chargeable | Installation - 3.0TR (includes 10ft. copper tube, 10ft. royal cord, rubber insulation, circuit breaker, ordinary indoor bracket, drainhose /PVC drain pipe, consumables, flushing and testing)) | 0 | 11000 | 11000 | 0 | Installation Record
Sheena M. Monserate | DAG-00016024 |  | 2025-01-09 09:24 | Domingo, Caroline | KSM-IW25-WCT10M1M32 | DAG- Sentine (Satellite) | ASP | Installation | Chargeable | Installation - 2.5HP - 3.0HP Inverter and Non Inverter (includes 10ft. copper tube, 10ft, royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 8500 | 8500 | 0 | Installation Record
Sheena M. Monserate | DAG-00016087 |  | 2025-06-09 14:04 | Castro, Richelle Ann | KSM-IW15-WCT10M1M32 | DAG- MEGAWORK | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00016123 |  | 09/13/2025 01:27 PM | Fontanilla, Aida | KSG-IWF-10WFY-8K1M32-I | DAG- RSK | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00016058 |  | 2025-03-09 13:46 | MICHELLE DAVID | KSM-IW10-WCT10M1M32 | DAG- JMD Airconice | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00016119 |  | 2025-12-09 10:08 | Lorma Medical Center | KSG-IWF-30WFY-8K1M32-I | DAG- RSK | ASP | Installation | Chargeable | Installation - 2.5HP - 3.0HP Inverter and Non Inverter (includes 10ft. copper tube, 10ft, royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 8500 | 8500 | 0 | Installation Record
Sheena M. Monserate | DAG-00016176 |  | 09/22/2025 10:32 AM | Dullas, Emmanuel | KSM-IW10-WCT10M1M32 | DAG- MEGAWORK | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00016054 |  | 2025-03-09 13:32 | Dulay, Rubilyn | KSM-IW10-WCT10M1M32 | DAG- RSK | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00016016 |  | 2025-01-09 08:41 | BETHANY HOSPITAL | KSM-IW10-WCT10M1M32 | DAG- RSK | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00016195 |  | 09/26/2025 09:37 AM | San Luis Health Center | KSM-IW10-WCT10M1M32 | DAG- VRR | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00016104 |  | 2025-08-09 15:35 | Cata Al, Teting | KSM-IW25-WCT10M1M32 | DAG- Speedcool | ASP | Installation | Chargeable | Installation - 2.5HP - 3.0HP Inverter and Non Inverter (includes 10ft. copper tube, 10ft, royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 8500 | 8500 | 0 | Installation Record
Sheena M. Monserate | DAG-00016198 |  | 09/26/2025 09:52 AM | Delizo, Cleto | KSM-IW10-WCT10M1M32 | DAG- Sentine (Satellite) | ASP | Installation | Chargeable | Installation (included 10ft. copper tube,control wires,breaker,ordinary bracket)(under promo) | 0 | 7000 | 7000 | 0 | Installation Record
Sheena M. Monserate | DAG-00016192 |  | 09/26/2025 09:30 AM | Puyaoan, Elaine | KSM-IW15-WCT10M1M32 | DAG- ROMERZAN | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00016180 |  | 09/23/2025 10:46 AM | Labrador, Elizabeth | KSM-IW10-WCT10M1M32 | DAG- Sentine (Satellite) | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00016172 |  | 09/22/2025 10:18 AM | Quimbao, Arnel | KSM-IW15-WCT10M1M32 | DAG- MEGAWORK | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00016147 |  | 09/17/2025 03:53 PM | SAINT LOUIS COLLEGE | KSM-IW15-WCT10M1M32 | DAG- RSK | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00016196 |  | 09/26/2025 09:45 AM | Junio, Katherine | KSM-IW10-WCT10M1M32 | DAG- Sentine (Satellite) | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00016165 |  | 09/22/2025 09:43 AM | Gonzales, Hanz | KSM-IW10-WCT10M1M32 | DAG- MEGAWORK | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00016017 |  | 2025-01-09 08:42 | BETHANY HOSPITAL | KSM-IW10-WCT10M1M32 | DAG- RSK | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00016074 |  | 2025-05-09 13:38 | Adventura Resort Hotel | KSM-IW25-WCT10M1M32 | DAG- MEGAWORK | ASP | Installation | Chargeable | Installation - 2.5HP - 3.0HP Inverter and Non Inverter (includes 10ft. copper tube, 10ft, royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 8500 | 8500 | 0 | Installation Record
Sheena M. Monserate | DAG-00016083 |  | 2025-06-09 13:51 | Aquino , Renato | KSG-IWF-15WFY-8K1M32-I | DAG- MEGAWORK | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00016124 |  | 09/13/2025 01:28 PM | Fontanilla, Aida | KSG-IWF-15WFY-8K1M32-I | DAG- RSK | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00016105 |  | 2025-08-09 15:36 | Cata Al, Teting | KSM-IW25-WCT10M1M32 | DAG- Speedcool | ASP | Installation | Chargeable | Installation - 2.5HP - 3.0HP Inverter and Non Inverter (includes 10ft. copper tube, 10ft, royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 8500 | 8500 | 0 | Installation Record
Sheena M. Monserate | DAG-00016182 |  | 09/23/2025 02:49 PM | Ballesteros, George | KSM-IW25-WCT10M1M32 | DAG- JMD Airconice | ASP | Installation | Chargeable | Installation - 2.5HP - 3.0HP Inverter and Non Inverter (includes 10ft. copper tube, 10ft, royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 8500 | 8500 | 0 | Installation Record
Sheena M. Monserate | DAG-00016081 |  | 2025-06-09 13:44 | Ramirez, Emily | KSM-IW10-WCT10M1M32 | DAG- MEGAWORK | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00016185 |  | 09/26/2025 08:34 AM | Cagayan, Christian | KSM-IW15-WCT10M1M32 | DAG- Green Air | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00016110 |  | 2025-09-09 13:48 | Ganuelas, Reynaldo | KSG-IWF-10WFY-8K1M32-I | DAG- JEFF | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00016069 |  | 2025-05-09 13:24 | Ferrer, Florante | KSG-IWF-15WFY-8K1M32-I | DAG- MEGAWORK | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00016166 |  | 09/22/2025 09:43 AM | Gonzales, Hanz | KSM-IW20-WCT10M1M32 | DAG- MEGAWORK | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00016162 |  | 09/22/2025 09:29 AM | Provincial Engineering Office | KLG-SF40-WBR6H1M32-I | DAG- MEGAWORK | ASP | Installation | Chargeable | Installation - 3.0TR (includes 10ft. copper tube, 10ft. royal cord, rubber insulation, circuit breaker, ordinary indoor bracket, drainhose /PVC drain pipe, consumables, flushing and testing)) | 0 | 11000 | 11000 | 0 | Installation Record
Sheena M. Monserate | DAG-00016100 |  | 2025-08-09 14:03 | Cabansag, Linda | KSM-IW15-WCT10M1M32 | DAG- MEGAWORK | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00016094 |  | 2025-08-09 13:35 | Soquilla, Richard | KSG-IWF-10WFY-8K1M32-I | DAG- MEGAWORK | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00016125 |  | 09/13/2025 01:29 PM | Fontanilla, Aida | KSG-IWF-20WFY-8K1M32-I | DAG- RSK | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00016061 |  | 2025-03-09 14:09 | Verve, Victor | KSM-IW15-WCT10M1M32 | DAG- MFD 1 | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00016075 |  | 2025-05-09 13:38 | Adventura Resort Hotel | KSM-IW25-WCT10M1M32 | DAG- MEGAWORK | ASP | Installation | Chargeable | Installation - 2.5HP - 3.0HP Inverter and Non Inverter (includes 10ft. copper tube, 10ft, royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 8500 | 8500 | 0 | Installation Record
Sheena M. Monserate | DAG-00016092 |  | 2025-08-09 13:28 | Cruz, Marieta Albao | KSM-IW10-WCT10M1M32 | DAG- MEGAWORK | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00016148 |  | 09/17/2025 04:02 PM | Tayamen, Marina | KSG-IWF-15WFY-8K1M32-I | DAG- RSK | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00016153 |  | 09/19/2025 01:29 PM | Enrique, Rizalde | KSM-IW15-WCT10M1M32 | DAG- JMD Airconice | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00016091 |  | 2025-08-09 13:14 | Fajardo, Kathleen | KSM-IW15-WCT10M1M32 | DAG- CAPITAL | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00016170 |  | 09/22/2025 10:12 AM | Minas, Ma Angelina | KSM-IW15-WCT10M1M32 | DAG- MEGAWORK | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00016149 |  | 09/17/2025 04:02 PM | Tayamen, Marina | KSG-IWF-15WFY-8K1M32-I | DAG- RSK | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00016160 |  | 09/22/2025 09:15 AM | Gutierrez, Bella | KSM-IW20-WCT10M1M32 | DAG- Speedcool | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00016077 |  | 2025-06-09 13:09 | STAR MONICA RESORT | KSM-IW25-WCT10M1M32 | DAG- Speedcool | ASP | Installation | Chargeable | Installation - 2.5HP - 3.0HP Inverter and Non Inverter (includes 10ft. copper tube, 10ft, royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 8500 | 8500 | 0 | Installation Record
Sheena M. Monserate | DAG-00016189 |  | 09/26/2025 08:49 AM | Occena, Ronaldo | KSM-IW10-WCT10M1M32 | DAG- Speedcool | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00016072 |  | 2025-05-09 13:32 | Gaspar, Aleli rose | KSM-IW15-WCT10M1M32 | DAG- MEGAWORK | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00016126 |  | 09/13/2025 01:30 PM | Fontanilla, Aida | KSG-IWF-25WFY-8K1M32-I | DAG- RSK | ASP | Installation | Chargeable | Installation - 2.5HP - 3.0HP Inverter and Non Inverter (includes 10ft. copper tube, 10ft, royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 8500 | 8500 | 0 | Installation Record
Sheena M. Monserate | DAG-00016173 |  | 09/22/2025 10:20 AM | Quimbao, Arnel | KSM-IW20-WCT10M1M32 | DAG- MEGAWORK | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00016055 |  | 2025-03-09 13:34 | Don Rufino Olarte Memorial Nhs | KSM-IW15-WCT10M1M32 | DAG- RSK | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00016120 |  | 2025-12-09 10:10 | , NARISSA OCOL | KSM-IW10-WCT10M1M32 | DAG- RSK | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00016042 |  | 2025-03-09 09:31 | AURO GENERAL MERCHANDISING | KSM-IW10-WCT10M1M32 | DAG- JMD Airconice | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00016141 |  | 09/17/2025 03:48 PM | Cordillera Hospital of the Divine Grace | KSG-IWF-10WFY-8K1M32-I | DAG- RSK | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00016175 |  | 09/22/2025 10:27 AM | Abdon, Christine Joy | KSG-IWF-10WFY-8K1M32-I | DAG- MEGAWORK | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00016177 |  | 09/22/2025 10:35 AM | Bakasyunan Resort & Conference Center | KLG-SF40-WBR6H1M32-I | DAG- MEGAWORK | ASP | Installation | Chargeable | Installation - 3.0TR (includes 10ft. copper tube, 10ft. royal cord, rubber insulation, circuit breaker, ordinary indoor bracket, drainhose /PVC drain pipe, consumables, flushing and testing)) | 0 | 11000 | 11000 | 0 | Installation Record
Sheena M. Monserate | DAG-00016095 |  | 2025-08-09 13:50 | Malabago Elementary School | KSM-IW15-WCT10M1M32 | DAG- MEGAWORK | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00016183 |  | 09/23/2025 02:51 PM | Doria, Dexter | KSM-IW15-WCT10M1M32 | DAG- JMD Airconice | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00016066 |  | 2025-05-09 13:11 | Fernandez, Alex | KSM-IW10-WCT10M1M32 | DAG- RSK | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00016018 |  | 2025-01-09 08:44 | Blue Marlin Resort | KSM-IW20-WCT10M1M32 | DAG- RSK | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00016179 |  | 09/23/2025 10:41 AM | Banag, Rowena | KSM-IW15-WCT10M1M32 | DAG- Tarlac Northern Marketing (Former PANASERCO) | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00016142 |  | 09/17/2025 03:49 PM | Cordillera Hospital of the Divine Grace | KSG-IWF-15WFY-8K1M32-I | DAG- RSK | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00016115 |  | 2025-11-09 10:27 | Morte, Jojo | KSM-IW20-6H1M | DAG- RIVERDALE | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00016096 |  | 2025-08-09 13:51 | Malabago Elementary School | KSM-IW15-WCT10M1M32 | DAG- MEGAWORK | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00016187 |  | 09/26/2025 08:43 AM | Occena, Ronaldo | KSM-IW10-WCT10M1M32 | DAG- Speedcool | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00016084 |  | 2025-06-09 13:53 | Orpelo, Reynando | KSM-IW10-WCT10M1M32 | DAG- MEGAWORK | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00016143 |  | 09/17/2025 03:49 PM | Cordillera Hospital of the Divine Grace | KSG-IWF-15WFY-8K1M32-I | DAG- RSK | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00016127 |  | 09/13/2025 01:31 PM | Fontanilla, Aida | KSG-IWF-25WFY-8K1M32-I | DAG- RSK | ASP | Installation | Chargeable | Installation - 2.5HP - 3.0HP Inverter and Non Inverter (includes 10ft. copper tube, 10ft, royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 8500 | 8500 | 0 | Installation Record
Sheena M. Monserate | DAG-00016070 |  | 2025-05-09 13:26 | Bribon, Khatelyn | KSM-IW10-WCT10M1M32 | DAG- MEGAWORK | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00016099 |  | 2025-08-09 13:58 | Reyes, Elvie | KLG-SF40-WBR6H1M32-I | DAG- MEGAWORK | ASP | Installation | Chargeable | Installation - 3.0TR (includes 10ft. copper tube, 10ft. royal cord, rubber insulation, circuit breaker, ordinary indoor bracket, drainhose /PVC drain pipe, consumables, flushing and testing)) | 0 | 11000 | 11000 | 0 | Installation Record
Sheena M. Monserate | DAG-00016043 |  | 2025-03-09 09:32 | AURO GENERAL MERCHANDISING | KSM-IW15-WCT10M1M32 | DAG- JMD Airconice | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00016161 |  | 09/22/2025 09:17 AM | Ballesteros, Ian | KSM-IW15-WCT10M1M32 | DAG- Speedcool | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00016193 |  | 09/26/2025 09:34 AM | Susada, Jm | KSG-IWF-10WFY-8K1M32-I | DAG- VRR | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00016101 |  | 2025-08-09 15:25 | Elguira General Hospital | KSM-IW25-WCT10M1M32 | DAG- Speedcool | ASP | Installation | Chargeable | Installation - 2.5HP - 3.0HP Inverter and Non Inverter (includes 10ft. copper tube, 10ft, royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 8500 | 8500 | 0 | Installation Record
Sheena M. Monserate | DAG-00016188 |  | 09/26/2025 08:44 AM | Occena, Ronaldo | KSM-IW10-WCT10M1M32 | DAG- Speedcool | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00016197 |  | 09/26/2025 09:48 AM | Delos Santos, Melchor | KSM-IW10-WCT10M1M32 | DAG- Sentine (Satellite) | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00016056 |  | 2025-03-09 13:36 | Blue Marlin Resort | KSM-IW10-WCT10M1M32 | DAG- RSK | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00016159 |  | 09/22/2025 09:10 AM | Elma Arenas | KLG-IF40-5G1M32-I | DAG- Speedcool | ASP | Installation | Chargeable | Installation - 3.0TR (includes 10ft. copper tube, 10ft. royal cord, rubber insulation, circuit breaker, ordinary indoor bracket, drainhose /PVC drain pipe, consumables, flushing and testing)) | 0 | 11000 | 11000 | 0 | Installation Record
Sheena M. Monserate | DAG-00016144 |  | 09/17/2025 03:50 PM | Cordillera Hospital of the Divine Grace | KSG-IWF-15WFY-8K1M32-I | DAG- RSK | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00016044 |  | 2025-03-09 09:33 | AURO GENERAL MERCHANDISING | KLG-IF40-5G1M32-I | DAG- JMD Airconice | ASP | Installation | Chargeable | Installation - 3.0TR (includes 10ft. copper tube, 10ft. royal cord, rubber insulation, circuit breaker, ordinary indoor bracket, drainhose /PVC drain pipe, consumables, flushing and testing)) | 0 | 11000 | 11000 | 0 | Installation Record
Sheena M. Monserate | DAG-00016053 |  | 2025-03-09 13:29 | Santiago, Angelhart | KSM-IW10-WCT10M1M32 | DAG- RSK | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00016164 |  | 09/22/2025 09:39 AM | Layaguin, Cherrylyn | KSG-IWF-20WFY-8K1M32-I | DAG- MEGAWORK | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00016023 |  | 2025-01-09 09:21 | Fernandez, Marlon | KSG-IWF-10WFY-8K1M32-I | DAG- Sentine (Satellite) | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00016041 |  | 2025-03-09 09:19 | Panta, Ma. Freda | KSM-IW15-WCT10M1M32 | DAG- JMD Airconice | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00016167 |  | 09/22/2025 09:46 AM | Maniquiz, Kurt Justin | KSM-IW15-WCT10M1M32 | DAG- MEGAWORK | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | DAG-00016080 |  | 2025-06-09 13:40 | Salagubang, Maria | KSM-IW10-WCT10M1M32 | DAG- MEGAWORK | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record