## quadrant_report_service_collect
SERVICE COLLECTION
Billed By | SJR # | Column1 | SJR Date | Customer Name | Model | Team Name | Team Type | Job Class | Warranty Type | Repair Code | Parts Amount | Labor Fee | Total Amount | Amount Paid | Payment Type
PABLITO JR PANGAN | PAM-00018962 |  | 2025-04-09 11:12 | Vergara, Lorielyn/Carlo | KSM-IW10-WCT10M1M32 | PAM- SENTINE | ASP | Troubleshooting | Full Warranty | System Reprocess (System Leak,compressor,evaporator, condenser replacement) (1.0hp-2.0hp) Inverter | 4100 | 3500 | 7600 | 0 | Full Warranty
PABLITO JR PANGAN | PAM-00019145 |  | 09/19/2025 03:19 PM | Bacalzo, Nick | KAG-100WCINV | PAM- Mac Aire | ASP | Troubleshooting | Full Warranty | Check up (function & performance,visual check) | 0 | 450 | 450 | 0 | Full Warranty
PABLITO JR PANGAN | PAM-00018982 | , | 2025-06-09 10:27 | Sancjez, John Nick | KAG-100WCINV | PAMPANGA TECHNICIANS | In House | Troubleshooting | Chargeable | Check up (function & performance,visual check) | 0 | 450 | 450 | 450 | Cash
PABLITO JR PANGAN | PAM-00018971 |  | 2025-05-09 13:20 | Domingo, Ruel | KSM-IW20-WCT10M1M32 | PAM- JNGJ | ASP | Troubleshooting | Full Warranty | Check up (function & performance, visual check) | 0 | 450 | 450 | 0 | Full Warranty
PABLITO JR PANGAN | PAM-00019134 |  | 09/19/2025 10:26 AM | Diaz, Judith | KAM-55CMC32 | PAMPANGA TECHNICIANS | In House | Troubleshooting | Full Warranty | No Dispatch Job | 0 | 0 | 0 | 0
PABLITO JR PANGAN | PAM-00018894 |  | 2025-01-09 09:00 | Follero, Regina Bianca | KSM-IW15-WCT10M1M32 | PAMPANGA TECHNICIANS | In House | Troubleshooting | Full Warranty | No Repair Done | 0 | 0 | 0 | 0
PABLITO JR PANGAN | PAM-00019029 |  | 2025-11-09 11:47 | Atty. Lin, Chin Chih | KAG-145WCINV | PAMPANGA TECHNICIANS | In House | Troubleshooting | Chargeable | Pull-out Unit | 0 | 0 | 0 | 0
PABLITO JR PANGAN | PAM-00019154 |  | 09/20/2025 04:09 PM | MIRANDA , ARWIN / CRISTALYN | KA-100MCARINV32 | PAMPANGA TECHNICIANS | In House | Troubleshooting | Full Warranty | Check up (function & performance,visual check) | 0 | 450 | 450 | 0 | Full Warranty
PABLITO JR PANGAN | PAM-00019061 | , | 09/13/2025 01:04 PM | Lazatin, Russell | KAG-150RSINV | PAMPANGA TECHNICIANS | In House | Troubleshooting | Chargeable | Major Repair (With parts replacement nt included in minor repair, rebearing of fan motor) | 5500 | 1100 | 6600 | 6270 | Labor Discount, Parts Discount, Cash
PABLITO JR PANGAN | PAM-00019135 |  | 09/19/2025 11:24 AM | Galura, Jay | WAC-INV | PAMPANGA TECHNICIANS | In House | General Cleaning | Chargeable | No Dispatch Job | 0 | 0 | 0 | 0
PABLITO JR PANGAN | PAM-00018955 | , | 2025-04-09 08:00 | Laxamana, Katherine | KAG-100WCINV | PAMPANGA TECHNICIANS | In House | General Cleaning | Chargeable | General Cleaning (unit inspection,pressure washing,clean filter & drain) | 0 | 800 | 800 | 800 | Cash
PABLITO JR PANGAN | PAM-00019099 |  | 09/18/2025 10:28 AM | Sentine Development Corporation | KSM-IW10-WCT10M1M32 | PAMPANGA TECHNICIANS | In House | Delivery of Unit / Accessories | Full Warranty | Delivery of Remote | 0 | 250 | 250 | 0 | Full Warranty
PABLITO JR PANGAN | PAM-00019042 |  | 2025-11-09 16:34 | Sy, Jack | KA-100MCARINV32 | PAMPANGA TECHNICIANS | In House | Troubleshooting | Full Warranty | Minor Repair (minor adjustment,replacement of filter net,louver,front panel,front case,capacitor,sensor,OLP,compressor wire,swing motor & display board) | 1500 | 900 | 2400 | 0 | Full Warranty
PABLITO JR PANGAN | PAM-00018920 |  | 2025-02-09 14:36 | JDGUTZ Industrial Supplies | KCB-BLC-8859T | PAM- ST. JOSEPH | ASP | Delivery of Unit / Accessories | Full Warranty | Delivery of Shop Repair Unit | 0 | 0 | 0 | 0
PABLITO JR PANGAN | PAM-00019169 |  | 09/22/2025 02:05 PM | De Guzman, Manvelito | KAM-95CMC32 | PAMPANGA TECHNICIANS | In House | Troubleshooting | Full Warranty | Check up (function & performance,visual check) | 0 | 450 | 450 | 0 | Full Warranty
PABLITO JR PANGAN | PAM-00019117 |  | 09/18/2025 04:33 PM | Suba, Teodora | KSG-IWF-15WFY-8K1M32-I | PAM- Mac Aire | ASP | Troubleshooting | Chargeable | System Reprocess (System Leak,compressor,evaporator, condenser replacement) (1.0hp-2.0hp) Inverter | 0 | 3500 | 3500 | 0 | Full Warranty
PABLITO JR PANGAN | PAM-00019000 | , | 2025-08-09 11:30 | Calma, Patrick/Jayann Quiambao | KAG-100WCINV | PAMPANGA TECHNICIANS | In House | General Cleaning | Chargeable | General Cleaning (unit inspection,pressure washing,clean filter & drain) | 0 | 800 | 800 | 800 | Cash
PABLITO JR PANGAN | PAM-00019023 |  | 2025-10-09 15:17 | MB Construction | KAG-250WCINV | PAM- ST. JOSEPH | ASP | Troubleshooting | Full Warranty | Major Repair (With parts replacement nt included in minor repair, rebearing of fan motor) | 4000 | 1100 | 5100 | 0 | Full Warranty
PABLITO JR PANGAN | PAM-00018916 | , | 2025-02-09 14:01 | Angeles, Glenn Andre | n/a | PAMPANGA OFFICE | In House | Sale of Parts | Cost of Sales | Sale of Parts | 1100 | 0 | 1100 | 1100 | Cash
PABLITO JR PANGAN | PAM-00019192 | , | 09/23/2025 03:16 PM | DGMC Ref and Aircon Service Center | n/a | PAMPANGA OFFICE | In House | Sale of Parts | Cost of Sales | Sale of Parts | 7000 | 0 | 7000 | 5600 | Discount, Cash
PABLITO JR PANGAN | PAM-00019136 |  | 09/19/2025 11:24 AM | Galura, Jay | WAC-INV | PAMPANGA TECHNICIANS | In House | General Cleaning | Chargeable | No Dispatch Job | 0 | 0 | 0 | 0
PABLITO JR PANGAN | PAM-00019190 | , | 09/23/2025 02:26 PM | Perez, Rizalyn | KAM-95CMC32 | PAMPANGA TECHNICIANS | In House | Troubleshooting | Chargeable | Check up (function & performance,visual check) | 0 | 450 | 450 | 450 | Cash
PABLITO JR PANGAN | PAM-00019051 |  | 09/13/2025 10:13 AM | Manlulu, Oliver | KSM-IW10-WCT10M1M32 | PAM- OE App. | ASP | Troubleshooting | Full Warranty | Check up (function & performance, visual check) | 0 | 450 | 450 | 0 | Full Warranty
PABLITO JR PANGAN | PAM-00019216 | , | 09/30/2025 02:46 PM | 88 Smart Cool Aircon Inc. | n/a | PAMPANGA OFFICE | In House | Sale of Parts | Cost of Sales | Sale of Parts | 6600 | 0 | 6600 | 5185.71 | Ewt, Discount, Cash
PABLITO JR PANGAN | PAM-00019067 | , | 09/13/2025 02:31 PM | Batac, Wesley | KAG-100WCINV | PAMPANGA TECHNICIANS | In House | Troubleshooting | Chargeable | Major Repair (With parts replacement nt included in minor repair, rebearing of fan motor) | 5000 | 1100 | 6100 | 6100 | Cash
PABLITO JR PANGAN | PAM-00019166 |  | 09/22/2025 12:04 PM | The Roses Fashion | KAG-145WCINV | PAM- Avalanche | ASP | Troubleshooting | Full Warranty | No Dispatch Job | 0 | 0 | 0 | 0
PABLITO JR PANGAN | PAM-00018902 |  | 2025-02-09 09:50 | Olores, Frederick Dave | KD-30L410 | PAMPANGA TECHNICIANS | In House | Troubleshooting | Full Warranty | Repair/Replace Parts | 1200 | 800 | 2000 | 0 | Full Warranty
PABLITO JR PANGAN | PAM-00019043 | , | 2025-12-09 08:34 | Mac Aire Cooling Industries Corp. | n/a | PAMPANGA OFFICE | In House | Sale of Parts | Cost of Sales | Sale of Parts | 6245 | 0 | 6245 | 4996 | Discount, Cash
PABLITO JR PANGAN | PAM-00019047 |  | 09/13/2025 08:26 AM | Tayag, Buena Marie / Bryan John | KSM-IW15WAE-7J1M | PAMPANGA TECHNICIANS | In House | Troubleshooting | Chargeable | No Repair Done | 0 | 0 | 0 | 0
PABLITO JR PANGAN | PAM-00019045 |  | 2025-12-09 16:55 | Sy, Jack | KA-100MCARINV32 | PAMPANGA TECHNICIANS | In House | Delivery of Unit / Accessories | Full Warranty | Delivery of Shop Repair Unit | 0 | 0 | 0 | 0
PABLITO JR PANGAN | PAM-00019048 | , | 09/13/2025 08:55 AM | Catindig, Victor | KAG-110RSINV | PAMPANGA TECHNICIANS | In House | Troubleshooting | Chargeable | System Reprocess (System leak,compressor,evaporator,condenser replacement) (0.6-1.5hp) | 3300 | 2300 | 5600 | 4700 | Labor Warranty, Cash
PABLITO JR PANGAN | PAM-00019001 |  | 2025-08-09 12:00 | Domingo, Ruel | KSM-IW20-WCT10M1M32 | PAM- JNGJ | ASP | Troubleshooting | Full Warranty | Major Repair (with parts replacement not included in minor repair, leaktest,freon charge,repair drain) | 5000 | 1800 | 6800 | 0 | Full Warranty
PABLITO JR PANGAN | PAM-00019090 | , | 09/16/2025 02:06 PM | Crown Peak | n/a | PAMPANGA OFFICE | In House | Sale of Parts | Cost of Sales | Sale of Parts | 16500 | 0 | 16500 | 16205.36 | Ewt, Cash, Check, Check
PABLITO JR PANGAN | PAM-00019009 |  | 2025-09-09 15:33 | Montemayor, Angelou | KAM-95CMC32 | PAMPANGA TECHNICIANS | In House | Troubleshooting | Full Warranty | Check up (function & performance,visual check) | 0 | 450 | 450 | 0 | Full Warranty
PABLITO JR PANGAN | PAM-00019071 | , | 09/15/2025 08:46 AM | Atty. Lin, Chin Chih | KAG-145WCINV | PAMPANGA TECHNICIANS | In House | Troubleshooting | Chargeable | System Reprocess (System leak,compressor,evaporator,condenser replacement) (0.6-1.5hp) | 3300 | 2300 | 5600 | 5600 | Cash
PABLITO JR PANGAN | PAM-00018895 | , | 2025-01-09 09:45 | Tolosa, Wai | KAG-145WCINV | PAMPANGA TECHNICIANS | In House | Troubleshooting | Chargeable | System Reprocess (System leak,compressor,evaporator,condenser replacement) (0.6-1.5hp) | 3000 | 2300 | 5300 | 5300 | Cash
PABLITO JR PANGAN | PAM-00018950 |  | 2025-03-09 15:55 | Bacani, Dong | KSM-IW10-WCT10M1M32 | PAM- Mac Aire | ASP | Troubleshooting | Full Warranty | Major Repair (with parts replacement not included in minor repair, leaktest,freon charge,repair drain) | 1500 | 1800 | 3300 | 0 | Full Warranty
PABLITO JR PANGAN | PAM-00018896 | , | 2025-01-09 14:17 | Hermosa, Calo Maria | KSM-IW10-WCT10M1M32 | PAMPANGA TECHNICIANS | In House | General Cleaning | Chargeable | General Cleaning (Single Indoor Unit )(1 pair) | 0 | 1500 | 1500 | 1500 | Cash
PABLITO JR PANGAN | PAM-00019112 |  | 09/18/2025 03:09 PM | Pena, Redimer | KAG-100WCINV | PAM- Mac Aire | ASP | Troubleshooting | Full Warranty | Check up (function & performance,visual check) | 0 | 450 | 450 | 0 | Full Warranty
PABLITO JR PANGAN | PAM-00019100 |  | 09/18/2025 10:30 AM | Cortez, Mary Ann | KAG-145WCINV | PAMPANGA TECHNICIANS | In House | Delivery of Unit / Accessories | Full Warranty | Delivery of Shop Repair Unit | 0 | 0 | 0 | 0
PABLITO JR PANGAN | PAM-00019168 | , | 09/22/2025 02:00 PM | AIRSAVERS TECHNOLOGIES INC | n/a | PAMPANGA OFFICE | In House | Sale of Parts | Cost of Sales | Sale of Parts | 2970 | 0 | 2970 | 2333.57 | Discount, Ewt, Check
PABLITO JR PANGAN | PAM-00019041 | , | 2025-11-09 16:29 | SAINT RAPHAEL MEDICAL CENTER | KAG-250WCINV | PAMPANGA TECHNICIANS | In House | Troubleshooting | Chargeable | Check up (function & performance,visual check) | 0 | 450 | 450 | 450 | Cash
PABLITO JR PANGAN | PAM-00018995 | , | 2025-08-09 08:11 | Beronia, Pamela May | KAG-100WCINV | PAMPANGA TECHNICIANS | In House | General Cleaning | Chargeable | General Cleaning (unit inspection,pressure washing,clean filter & drain) | 0 | 800 | 800 | 800 | Cash
PABLITO JR PANGAN | PAM-00019200 |  | 09/27/2025 04:31 PM | Kolin Philippines International, Inc. (Pampanga Branch) | KSM-IW10-4F1M | PAMPANGA TECHNICIANS | In House | General Cleaning | Full Warranty | General Cleaning (Single Indoor Unit )(1 pair) | 0 | 1500 | 1500 | 0 | Full Warranty
PABLITO JR PANGAN | PAM-00019094 | , | 09/17/2025 08:36 AM | Batac, Wesley | KAG-100WCINV | PAMPANGA TECHNICIANS | In House | Troubleshooting | Chargeable | Major Repair (With parts replacement nt included in minor repair, rebearing of fan motor) | 330 | 1100 | 1430 | 330 | Labor Warranty, Cash
PABLITO JR PANGAN | PAM-00018994 | , | 2025-08-09 08:04 | Guevarra, Malou | KAG-100WCINV | PAMPANGA TECHNICIANS | In House | General Cleaning | Chargeable | General Cleaning (unit inspection,pressure washing,clean filter & drain) | 0 | 800 | 800 | 800 | Cash
PABLITO JR PANGAN | PAM-00019044 | , | 2025-12-09 09:54 | Miranda, Patrizia Anne | KSM-10MB1INV | PAMPANGA TECHNICIANS | In House | Troubleshooting | Chargeable | Major Repair (with parts replacement not included in minor repair, leaktest,freon charge,repair drain) | 5500 | 1800 | 7300 | 6850 | Labor Warranty, Cash
PABLITO JR PANGAN | PAM-00018960 | , | 2025-04-09 09:49 | Mac Aire Cooling Industries Corp. | n/a | PAMPANGA OFFICE | In House | Sale of Parts | Cost of Sales | Sale of Parts | 6600 | 0 | 6600 | 5280 | Discount, Cash
PABLITO JR PANGAN | PAM-00019203 |  | 09/29/2025 08:37 AM | Honcada, Julie | KSM-IW25-WCT10M1M32 | PAMPANGA TECHNICIANS | In House | Troubleshooting | Full Warranty | Check up (function & performance, visual check) | 0 | 450 | 450 | 0 | Full Warranty
PABLITO JR PANGAN | PAM-00019153 | , | 09/20/2025 09:38 AM | Mirano, Ronel | KAG-100WCINV | PAMPANGA TECHNICIANS | In House | Troubleshooting | Full Warranty | Check up (function & performance,visual check) | 0 | 450 | 450 | 450 | Cash
PABLITO JR PANGAN | PAM-00019038 |  | 2025-11-09 13:45 | MTCC ANGELES BRANCH 2 | KAM-200DRC32 | PAM- YANIT | ASP | Troubleshooting | Full Warranty | Check up (function & performance,visual check) | 0 | 450 | 450 | 0 | Full Warranty
PABLITO JR PANGAN | PAM-00018964 | , | 2025-04-09 15:48 | Jaguar Shirt Mfg Inc | KFM-400GF1INV | PAMPANGA TECHNICIANS | In House | Troubleshooting | Chargeable | Major Repair (with parts replacement not included in minor repair,leak test,freon charge,repair drain) | 9900 | 2300 | 13700 | 13482.14 | Ewt, Check
PABLITO JR PANGAN | PAM-00018897 | , | 2025-01-09 14:18 | Hermosa, Calo Maria | KSM-IW10-WCT10M1M32 | PAMPANGA TECHNICIANS | In House | General Cleaning | Chargeable | General Cleaning (Single Indoor Unit )(1 pair) | 0 | 1500 | 1500 | 1500 | Cash
PABLITO JR PANGAN | PAM-00019155 | , | 09/20/2025 04:26 PM | JAAES Airconditioning Services | n/a | PAMPANGA OFFICE | In House | Sale of Parts | Cost of Sales | Sale of Parts | 210000 | 0 | 210000 | 0 | Discount
PABLITO JR PANGAN | PAM-00019204 | , | 09/29/2025 09:06 AM | Pineda, Bernadette | KSM-IW20WAE-7J1M | PAMPANGA TECHNICIANS | In House | Troubleshooting | Chargeable | Check up (function & performance, visual check) | 0 | 450 | 450 | 450 | Cash
PABLITO JR PANGAN | PAM-00019116 |  | 09/18/2025 04:21 PM | MB Construction | KAG-250WCINV | PAMPANGA TECHNICIANS | In House | Delivery of Unit / Accessories | Full Warranty | Delivery of Replacement Unit | 0 | 0 | 0 | 0
PABLITO JR PANGAN | PAM-00019096 |  | 09/18/2025 09:33 AM | IMPERIAL APPLIANCES BALANGA | KWD-BLC-2088B | PAM- ST. JOSEPH | ASP | Troubleshooting | Full Warranty | Check up (function & performance, visual check) | 0 | 400 | 400 | 0 | Full Warranty
PABLITO JR PANGAN | PAM-00019159 |  | 09/22/2025 09:14 AM | Saver's Appliances San Fernando | KCB-BLC-8859T | PAMPANGA TECHNICIANS | In House | Troubleshooting | Full Warranty | Check up (function & performance, visual check) | 0 | 400 | 400 | 0 | Full Warranty
PABLITO JR PANGAN | PAM-00019202 |  | 09/29/2025 08:31 AM | Tapnio, Malou | KAM-100DRC32 | PAMPANGA TECHNICIANS | In House | Delivery of Unit / Accessories | Full Warranty | Delivery of Shop Repair Unit | 0 | 0 | 0 | 0
PABLITO JR PANGAN | PAM-00019205 |  | 09/29/2025 09:28 AM | Cruz, Bernard James | KAG-145WCINV | PAMPANGA TECHNICIANS | In House | Delivery of Unit / Accessories | Full Warranty | Delivery of Shop Repair Unit | 0 | 0 | 0 | 0
PABLITO JR PANGAN | PAM-00019010 | , | 2025-09-09 16:04 | Barmen Ref. Shop | n/a | PAMPANGA OFFICE | In House | Sale of Parts | Cost of Sales | Sale of Parts | 16065 | 0 | 16065 | 0 | Discount, Check
PABLITO JR PANGAN | PAM-00019197 | , | 09/27/2025 03:43 PM | DGMC Ref and Aircon Service Center | n/a | PAMPANGA OFFICE | In House | Sale of Parts | Cost of Sales | Sale of Parts | 6600 | 0 | 6600 | 0 | Discount
PABLITO JR PANGAN | PAM-00019092 | , | 09/16/2025 04:17 PM | Atty. Lin, Chin Chih | KAG-145WCINV | PAMPANGA TECHNICIANS | In House | Delivery of Unit / Accessories | Chargeable | Delivery of Shop Repair Unit | 0 | 0 | 800 | 800 | Cash
PABLITO JR PANGAN | PAM-00018998 | , | 2025-08-09 10:15 | Uy, Justo | KLG-IF40-5G1M32-I | PAMPANGA TECHNICIANS | In House | Troubleshooting | Chargeable | Check up (function & performance, visual check) | 0 | 600 | 600 | 600 | Cash
PABLITO JR PANGAN | PAM-00019091 | , | 09/16/2025 02:30 PM | JAAES Airconditioning Services | n/a | PAMPANGA OFFICE | In House | Sale of Parts | Cost of Sales | Sale of Parts | 56800 | 0 | 56800 | 0 | Discount, Check
PABLITO JR PANGAN | PAM-00019196 |  | 09/27/2025 03:08 PM | Cruz, Bernard James | KAG-145WCINV | PAMPANGA TECHNICIANS | In House | Troubleshooting | Full Warranty | Pull-out Unit | 0 | 0 | 0 | 0
PABLITO JR PANGAN | PAM-00018921 |  | 2025-03-09 08:34 | Calpito, Arnin Kaye | KSG-IWF-15WFY-8K1M32-I | PAMPANGA TECHNICIANS | In House | Dismantling | Full Warranty | Dismantle (1.0-3.0hp wall mounted split type-1pair) | 0 | 2500 | 2500 | 0 | Full Warranty
PABLITO JR PANGAN | PAM-00019188 |  | 09/23/2025 02:08 PM | Tardem and, Steffen | KEA-120BDR | PAMPANGA TECHNICIANS | In House | Troubleshooting | Full Warranty | Check up (function & performance, visual check) | 0 | 400 | 400 | 0 | Full Warranty
PABLITO JR PANGAN | PAM-00019170 |  | 09/22/2025 02:31 PM | Lacanlale, Geralyn | KSM-IW20-WCT10M1M32 | PAM- SENTINE | ASP | Troubleshooting | Full Warranty | Check up (function & performance, visual check) | 0 | 450 | 450 | 0 | Full Warranty
PABLITO JR PANGAN | PAM-00019007 |  | 2025-09-09 11:47 | Sy, Jack | KA-100MCARINV32 | PAMPANGA TECHNICIANS | In House | Troubleshooting | Full Warranty | Pull-out Unit | 0 | 0 | 0 | 0
PABLITO JR PANGAN | PAM-00019201 |  | 09/27/2025 04:34 PM | Kolin Philippines International, Inc. (Pampanga Branch) | KSM-IW25-6H1M | PAMPANGA TECHNICIANS | In House | General Cleaning | Full Warranty | General Cleaning with Major Repair | 7150 | 2400 | 9550 | 0 | Full Warranty
PABLITO JR PANGAN | PAM-00019046 |  | 09/13/2025 08:15 AM | Cortez, Mary Ann | KAG-145WCINV | PAMPANGA TECHNICIANS | In House | Troubleshooting | Full Warranty | Pull-out Unit | 0 | 0 | 0 | 0
PABLITO JR PANGAN | PAM-00019095 |  | 09/18/2025 08:23 AM | Manlulu, Oliver | KSM-IW10-WCT10M1M32 | PAM- OE App. | ASP | Troubleshooting | Full Warranty | Major Repair (with parts replacement not included in minor repair, leaktest,freon charge,repair drain) | 4500 | 1800 | 6300 | 0 | Full Warranty
PABLITO JR PANGAN | PAM-00018972 | , | 2025-05-09 15:20 | OE Appliances Shop | n/a | PAMPANGA OFFICE | In House | Sale of Parts | Cost of Sales | Sale of Parts | 550 | 0 | 550 | 440 | Discount, Cash
PABLITO JR PANGAN | PAM-00019011 | , | 2025-09-09 16:34 | Catindig, Victor | KAG-110RSINV | PAMPANGA TECHNICIANS | In House | Troubleshooting | Chargeable | Minor Repair (minor adjustment,replacement of filter net,louver,front panel,front case,capacitor,sensor,OLP,compressor wire,swing motor & display board) | 715 | 900 | 1615 | 1615 | Cash
PABLITO JR PANGAN | PAM-00019156 | , | 09/20/2025 04:28 PM | JAAES Airconditioning Services | n/a | PAMPANGA OFFICE | In House | Sale of Parts | Cost of Sales | Sale of Parts | 660 | 0 | 660 | 0 | Discount
PABLITO JR PANGAN | PAM-00019137 | , | 09/19/2025 11:36 AM | President Ramon Magsaysay State University | KSM-SW20-5G1M | PAMPANGA OFFICE | In House | Sale of Parts | Cost of Sales | Sale of Parts | 1100 | 0 | 1100 | 1100 | Cash
PABLITO JR PANGAN | PAM-00019195 |  | 09/27/2025 03:01 PM | Tardem and, Steffen | KEA-120BDR | PAMPANGA TECHNICIANS | In House | Troubleshooting | Full Warranty | Repair/Replace Parts | 2500 | 800 | 3300 | 0 | Full Warranty
PABLITO JR PANGAN | PAM-00019198 |  | 09/27/2025 04:13 PM | Cruz, Bernard James | KAG-145WCINV | PAMPANGA TECHNICIANS | In House | Troubleshooting | Full Warranty | System Reprocess (System leak,compressor,evaporator,condenser replacement) (0.6-1.5hp) | 3300 | 2300 | 5600 | 0 | Full Warranty
PABLITO JR PANGAN | PAM-00019088 |  | 09/15/2025 04:41 PM | Sebastian, Velario | KIF-26SMBBLDC | PAM- ST. JOSEPH | ASP | Troubleshooting | Full Warranty | Check up (function & performance, visual check) | 0 | 400 | 400 | 0 | Full Warranty
PABLITO JR PANGAN | PAM-00019027 |  | 2025-11-09 08:39 | Baniola, Ira | KWD-BLC-2088B | PAMPANGA TECHNICIANS | In House | Troubleshooting | Chargeable | No Dispatch Job | 0 | 0 | 0 | 0
PABLITO JR PANGAN | PAM-00018961 |  | 2025-04-09 10:21 | Vergara, Lorielyn/Carlo | KSM-IW10-WCT10M1M32 | PAM- SENTINE | ASP | Troubleshooting | Full Warranty | Check up (function & performance, visual check) | 0 | 450 | 450 | 0 | Full Warranty
PABLITO JR PANGAN | PAM-00019158 | , | 09/22/2025 09:09 AM | SAINT RAPHAEL MEDICAL CENTER | KAG-250WCINV | PAMPANGA TECHNICIANS | In House | Troubleshooting | Parts Warranty | Major Repair (With parts replacement nt included in minor repair, rebearing of fan motor) | 8000 | 1100 | 9100 | 650 | Parts Warranty, Labor Warranty, Cash
PABLITO JR PANGAN | PAM-00019097 |  | 09/18/2025 09:43 AM | Caburnay, Jesselyn | KAM-55CMC32 | PAM- Avalanche | ASP | Troubleshooting | Full Warranty | Check up (function & performance,visual check) | 0 | 450 | 450 | 0 | Full Warranty
PABLITO JR PANGAN | PAM-00019015 | , | 2025-10-09 14:25 | Sentine Development Corporation | n/a | PAMPANGA OFFICE | In House | Sale of Parts | Cost of Sales | Sale of Parts | 2200 | 0 | 2200 | 1728.57 | Ewt, Discount, Check
PABLITO JR PANGAN | PAM-00018898 | , | 2025-01-09 14:28 | Nierras, Peter | KSM-IW15AE-5G1M | PAMPANGA TECHNICIANS | In House | Troubleshooting | Chargeable | Major Repair (with parts replacement not included in minor repair, leaktest,freon charge,repair drain) | 2970 | 1800 | 4770 | 4770 | Cash
PABLITO JR PANGAN | PAM-00018963 |  | 2025-04-09 11:40 | Buan, Julie Ann | KAM-100DRC32 | PAMPANGA TECHNICIANS | In House | Troubleshooting | Full Warranty | Major Repair (With parts replacement nt included in minor repair, rebearing of fan motor) | 1500 | 1100 | 2600 | 0 | Full Warranty
PABLITO JR PANGAN | PAM-00018956 | , | 2025-04-09 08:27 | Carlos, Zyrene | KSM-IW25-WCT10M1M32 | PAMPANGA TECHNICIANS | In House | Troubleshooting | Chargeable | General Cleaning (Single Indoor Unit )(1 pair) | 0 | 1500 | 1500 | 1500 | Cash
PABLITO JR PANGAN | PAM-00019194 |  | 09/24/2025 01:54 PM | Dayrit, Mar Jay | KA-75MCARINV32 | PAMPANGA TECHNICIANS | In House | Delivery of Unit / Accessories | Full Warranty | Delivery of Shop Repair Unit | 0 | 0 | 0 | 0
PABLITO JR PANGAN | PAM-00019193 |  | 09/24/2025 12:14 PM | Saver's Appliances San Fernando | KCB-BLC-8859T | PAMPANGA TECHNICIANS | In House | Troubleshooting | Full Warranty | Repair/Replace Parts | 2000 | 800 | 2800 | 0 | Full Warranty
PABLITO JR PANGAN | PAM-00019028 |  | 2025-11-09 09:09 | Dayrit, Mar Jay | KA-75MCARINV32 | PAMPANGA TECHNICIANS | In House | Troubleshooting | Full Warranty | Pull-out Unit | 0 | 0 | 0 | 0
PABLITO JR PANGAN | PAM-00019049 |  | 09/13/2025 09:14 AM | Dayrit, Mar Jay | KA-75MCARINV32 | PAMPANGA TECHNICIANS | In House | Troubleshooting | Full Warranty | System Reprocess (System leak,compressor,evaporator,condenser replacement) (0.6-1.5hp) | 10500 | 2300 | 12800 | 0 | Full Warranty
PABLITO JR PANGAN | PAM-00019039 |  | 2025-11-09 14:10 | MTCC ANGELES BRANCH 2 | KAM-200DRC32 | PAM- YANIT | ASP | Troubleshooting | Full Warranty | Major Repair (With parts replacement nt included in minor repair, rebearing of fan motor) | 1500 | 1100 | 2600 | 0 | Full Warranty
PABLITO JR PANGAN | PAM-00018893 | , | 2025-01-09 08:17 | Rendon, John Erick | KAG-145WCINV | PAMPANGA TECHNICIANS | In House | Troubleshooting | Full Warranty | Minor Repair (minor adjustment,replacement of filter net,louver,front panel,front case,capacitor,sensor,OLP,compressor wire,swing motor & display board) | 0 | 900 | 900 | 900 | Cash
PABLITO JR PANGAN | PAM-00018926 | , | 2025-03-09 11:42 | Jarin, Nestor | KSG-IWF-10WFY-8K1M32-I | PAMPANGA TECHNICIANS | In House | General Cleaning | Chargeable | General Cleaning (Single Indoor Unit )(1 pair) | 0 | 1500 | 1500 | 1500 | Cash
PABLITO JR PANGAN | PAM-00019199 |  | 09/27/2025 04:28 PM | Kolin Philippines International, Inc. (Pampanga Branch) | KAG-160RS | PAMPANGA TECHNICIANS | In House | General Cleaning | Full Warranty | General Cleaning (unit inspection,pressure washing,clean filter & drain) | 0 | 800 | 800 | 0 | Full Warranty
Sheena M. Monserate | PAM-00019013 |  | 2025-10-09 13:57 | Fernandez, Natalia Bacani | KSM-IW10-WCT10M1M32 | PAM- Mac Aire | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00019142 |  | 09/19/2025 02:36 PM | Ocampo, Mia Joy Mangacu | KSM-IW10-WCT10M1M32 | PAM- Mac Aire | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00019050 |  | 09/13/2025 10:11 AM | Santos, Loida | KSG-IWF-30WFY-8K1M32-I | PAM- Avalanche | ASP | Installation | Chargeable | Installation - 2.5HP - 3.0HP Inverter and Non Inverter (includes 10ft. copper tube, 10ft, royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 8500 | 8500 | 0 | Installation Record
Sheena M. Monserate | PAM-00019108 |  | 09/18/2025 02:38 PM | Malonzo, Camille | KSM-IW25-WCT10M1M32 | PAM- Mac Aire | ASP | Installation | Chargeable | Installation - 2.5HP - 3.0HP Inverter and Non Inverter (includes 10ft. copper tube, 10ft, royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 8500 | 8500 | 0 | Installation Record
Sheena M. Monserate | PAM-00019053 |  | 09/13/2025 11:02 AM | Dela Cruz, Jason/Danica Tan | KSG-IWF-10WFY-8K1M32-I | PAM- REM (Satellite) | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00019114 |  | 09/18/2025 03:28 PM | Light House Church | KSM-IW15-WCT10M1M32 | PAM- OE App. | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00019185 |  | 09/22/2025 03:59 PM | Paz, Ian Karlo | KSM-IW20-WCT10M1M32 | PAM- REM (Satellite) | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00019149 |  | 09/19/2025 04:24 PM | Esguerra, Cherry Mae Amor | KSM-IW10-WCT10M1M32 | PAM- SENTINE | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00019183 |  | 09/22/2025 03:52 PM | De Guzman, Pol | KSM-IW25-WCT10M1M32 | PAM- REM (Satellite) | ASP | Installation | Chargeable | Installation - 2.5HP - 3.0HP Inverter and Non Inverter (includes 10ft. copper tube, 10ft, royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 8500 | 8500 | 0 | Installation Record
Sheena M. Monserate | PAM-00018923 |  | 2025-03-09 10:09 | Blancaflor, Shulammik | KSM-IW15-WCT10M1M32 | PAM- SENTINE | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00019055 |  | 09/13/2025 11:16 AM | Singian, Rowena | KSG-IWF-30WFY-8K1M32-I | PAM- REM (Satellite) | ASP | Installation | Chargeable | Installation - 2.5HP - 3.0HP Inverter and Non Inverter (includes 10ft. copper tube, 10ft, royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 8500 | 8500 | 0 | Installation Record
Sheena M. Monserate | PAM-00019076 |  | 09/15/2025 01:44 PM | De Jesus, Hazel | KSM-IW10-WCT10M1M32 | PAM- Mac Aire | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00019181 |  | 09/22/2025 03:45 PM | Razon, Hossana | KSM-IW15-WCT10M1M32 | PAM- REM (Satellite) | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00019068 |  | 09/13/2025 03:05 PM | SAN MIGUEL FOODS, INC. | KSM-IW25-WCT10M1M32 | PAM- JNGJ | ASP | Installation | Chargeable | Installation - 2.5HP - 3.0HP Inverter and Non Inverter (includes 10ft. copper tube, 10ft, royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 8500 | 8500 | 0 | Installation Record
Sheena M. Monserate | PAM-00018992 |  | 2025-06-09 16:40 | De Padua, Sarah | KSM-IW20-WCT10M1M32 | PAM- SENTINE | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00018931 |  | 2025-03-09 13:58 | Caliboso, Albert Espejo | KSM-IW15-WCT10M1M32 | PAM- Mac Aire | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00019110 |  | 09/18/2025 02:52 PM | Pillejera, Jeffersson Amante | KSM-IW15-WCT10M1M32 | PAM- Mac Aire | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00019104 |  | 09/18/2025 01:05 PM | Adube, Maricris/Felix Adube/Marshel | KSM-IW20-WCT10M1M32 | PAM- DGMC | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00018957 |  | 2025-04-09 09:18 | Ilano, Efrreim Louie | KSM-IW20-WCT10M1M32 | PAM- Mac Aire | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00018899 |  | 2025-01-09 15:48 | Mallari, Geselyn Ibarra | KSM-IW10-WCT10M1M32 | PAM- NEW DANS | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00019002 |  | 2025-08-09 13:38 | Villanueva, Norilyn | KSM-IW10-WCT10M1M32 | PAM- JNGJ | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00019129 |  | 09/19/2025 08:53 AM | Yaranon, Nacario | KSM-IW15-WCT10M1M32 | PAM- REM (Satellite) | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00019003 |  | 2025-08-09 14:00 | Manlapaz, Albert | KSM-IW20-WCT10M1M32 | PAM- OE App. | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00019005 |  | 2025-09-09 07:54 | Gorospe, Elyza | KAG-200WCINV | PAM- ST. JOSEPH | ASP | Troubleshooting | Chargeable | Check up (function & performance,visual check) | 0 | 450 | 450 | 0 | Relayed Job
Sheena M. Monserate | PAM-00019026 |  | 2025-10-09 15:52 | Pangan, Raymond | KSM-IW25-WCT10M1M32 | PAM- SENTINE | ASP | Installation | Chargeable | Installation - 2.5HP - 3.0HP Inverter and Non Inverter (includes 10ft. copper tube, 10ft, royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 8500 | 8500 | 0 | Installation Record
Sheena M. Monserate | PAM-00019082 |  | 09/15/2025 03:18 PM | De Leon, Karen Juan | KSM-IW15-WCT10M1M32 | PAM- REM (Satellite) | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00018911 |  | 2025-02-09 11:37 | Repuesto, Gernalyn | KSM-IW25-WCT10M1M32 | PAM- Mac Aire | ASP | Installation | Chargeable | Installation - 2.5HP - 3.0HP Inverter and Non Inverter (includes 10ft. copper tube, 10ft, royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 8500 | 8500 | 0 | Installation Record
Sheena M. Monserate | PAM-00018913 |  | 2025-02-09 11:44 | Rafael, Rosalie Garingo | KSG-IWF-10WFY-8K1M32-I | PAM- Mac Aire | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00018945 |  | 2025-03-09 15:10 | Pagbilao, Karen Jade | KSM-IW20-WCT10M1M32 | PAM- Mac Aire | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00019144 |  | 09/19/2025 02:51 PM | Bernas, Eliezer | KSM-IW15-WCT10M1M32 | PAM- Mac Aire | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00019123 |  | 09/19/2025 08:32 AM | Angeles, Lanie | KSG-IWF-30WFY-8K1M32-I | PAM- REM (Satellite) | ASP | Installation | Chargeable | Installation - 2.5HP - 3.0HP Inverter and Non Inverter (includes 10ft. copper tube, 10ft, royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 8500 | 8500 | 0 | Installation Record
Sheena M. Monserate | PAM-00019119 |  | 09/19/2025 08:11 AM | Enriquez, Aleli | KSM-IW15-WCT10M1M32 | PAM- REM (Satellite) | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00018922 |  | 2025-03-09 10:03 | Trinidad, Julie | KSG-IWF-10WFY-8K1M32-I | PAM- SENTINE | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00018938 |  | 2025-03-09 14:35 | Bagay, Alma | KSG-IWF-10WFY-8K1M32-I | PAM- Mac Aire | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00018903 |  | 2025-02-09 10:18 | Policarpio, Jesus | KSM-IW10-WCT10M1M32 | PAM- Avalanche | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00018954 |  | 2025-03-09 16:37 | GRANT | KSM-IW10-WCT10M1M32 | PAM- Mac Aire | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00018936 |  | 2025-03-09 14:21 | Mallari, Majesty | KSM-IW25-WCT10M1M32 | PAM- Mac Aire | ASP | Installation | Chargeable | Installation - 2.5HP - 3.0HP Inverter and Non Inverter (includes 10ft. copper tube, 10ft, royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 8500 | 8500 | 0 | Installation Record
Sheena M. Monserate | PAM-00019004 |  | 2025-08-09 14:00 | Manlapaz, Albert | KSM-IW25-WCT10M1M32 | PAM- OE App. | ASP | Installation | Chargeable | Installation - 2.5HP - 3.0HP Inverter and Non Inverter (includes 10ft. copper tube, 10ft, royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 8500 | 8500 | 0 | Installation Record
Sheena M. Monserate | PAM-00019019 |  | 2025-10-09 14:48 | Tacujan, Rodelia | KSM-IW15-WCT10M1M32 | PAM- Mac Aire | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00019109 |  | 09/18/2025 02:39 PM | Fajardo, Vanessa | KSM-IW15-WCT10M1M32 | PAM- Mac Aire | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00019127 |  | 09/19/2025 08:47 AM | Resilva, Amilyn | KSM-IW10-WCT10M1M32 | PAM- REM (Satellite) | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00019125 |  | 09/19/2025 08:40 AM | Ta帽ang, Jan Ireen Pamela | KSM-IW15-WCT10M1M32 | PAM- REM (Satellite) | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00018905 |  | 2025-02-09 10:26 | Ignacio, Dwayne Justine/Maria Theresa | KSM-IW10-WCT10M1M32 | PAM- Avalanche | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00019171 |  | 09/22/2025 02:41 PM | Bolus, Eugene | KSG-IWF-15WFY-8K1M32-I | PAM- SENTINE | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00018939 |  | 2025-03-09 14:42 | Villaranda, Mary Grace | KSM-IW15-WCT10M1M32 | PAM- Mac Aire | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00019140 |  | 09/19/2025 02:16 PM | Maniquiz, Jennifer | KSM-IW10-WCT10M1M32 | PAM- Mac Aire | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00018984 |  | 2025-06-09 10:43 | Dizon, Erryn | KSM-IW15-WCT10M1M32 | PAM- Mac Aire | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00019107 |  | 09/18/2025 02:03 PM | Chiu, Danbert | KSM-IW25-WCT10M1M32 | PAM- Mac Aire | ASP | Installation | Chargeable | Installation - 2.5HP - 3.0HP Inverter and Non Inverter (includes 10ft. copper tube, 10ft, royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 8500 | 8500 | 0 | Installation Record
Sheena M. Monserate | PAM-00018996 |  | 2025-08-09 08:32 | Madlangbayan, Marck Don | KAG-145WCINV | PAM- ST. JOSEPH | ASP | General Cleaning | Chargeable | General Cleaning (unit inspection,pressure washing,clean filter & drain) | 0 | 800 | 800 | 0 | Relayed Job
Sheena M. Monserate | PAM-00018946 |  | 2025-03-09 15:33 | Marvilla, Johnny | KSM-IW15-WCT10M1M32 | PAM- Mac Aire | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00019151 |  | 09/19/2025 04:25 PM | Esguerra, Cherry Mae Amor | KSM-IW15-WCT10M1M32 | PAM- SENTINE | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00019077 |  | 09/15/2025 02:43 PM | Sta Ana, Apple | KLG-IF40-5G1M32-I | PAM- NDJ'S | ASP | Installation | Chargeable | Installation - 3.0TR (includes 10ft. copper tube, 10ft. royal cord, rubber insulation, circuit breaker, ordinary indoor bracket, drainhose /PVC drain pipe, consumables, flushing and testing)) | 0 | 11000 | 11000 | 0 | Installation Record
Sheena M. Monserate | PAM-00019022 |  | 2025-10-09 15:03 | Ramos, Rosa Soblechero | KSM-IW10-WCT10M1M32 | PAM- Mac Aire | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00018907 |  | 2025-02-09 11:02 | Ursais, Keycelyn | KSM-IW20-WCT10M1M32 | PAM- Mac Aire | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00018966 |  | 2025-05-09 09:40 | Santos, Cornelia | KSG-IWF-20WFY-8K1M32-I | PAM- SENTINE | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00018965 |  | 2025-04-09 16:36 | Fabros, Riza | KSM-IW15-WCT10M1M32 | PAM- ST. JOSEPH | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00018919 |  | 2025-02-09 14:23 | Manuntag, Rodelio | KSM-IW10-WCT10M1M32 | PAM- SENTINE | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00018934 |  | 2025-03-09 14:14 | Yabut, Michelle Ann | KSM-IW15-WCT10M1M32 | PAM- Mac Aire | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00018976 |  | 2025-06-09 10:15 | PURE AND PAM | KSG-IWF-30WFY-8K1M32-I | PAM- Mac Aire | ASP | Installation | Chargeable | Lay-out copper tube | 0 | 0 | 0 | 0
Sheena M. Monserate | PAM-00019177 |  | 09/22/2025 03:25 PM | Musni, Kevin | KSM-IW20-WCT10M1M32 | PAM- REM (Satellite) | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00019131 |  | 09/19/2025 09:02 AM | Sumang, Mary Joy | KSG-IWF-25WFY-8K1M32-I | PAM- REM (Satellite) | ASP | Installation | Chargeable | Installation - 2.5HP - 3.0HP Inverter and Non Inverter (includes 10ft. copper tube, 10ft, royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 8500 | 8500 | 0 | Installation Record
Sheena M. Monserate | PAM-00018915 |  | 2025-02-09 11:53 | Flores, Neriza | KSM-IW15-WCT10M1M32 | PAM- Mac Aire | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00019105 |  | 09/18/2025 01:07 PM | Adube, Maricris/Felix Adube/Marshel | KLG-IF40-5G1M32-I | PAM- DGMC | ASP | Installation | Chargeable | Installation - 3.0TR (includes 10ft. copper tube, 10ft. royal cord, rubber insulation, circuit breaker, ordinary indoor bracket, drainhose /PVC drain pipe, consumables, flushing and testing)) | 0 | 11000 | 11000 | 0 | Installation Record
Sheena M. Monserate | PAM-00019065 |  | 09/13/2025 02:17 PM | Gobres, Joanna Marie | KSG-IWF-25WFY-8K1M32-I | PAM- REM (Satellite) | ASP | Installation | Chargeable | Installation - 2.5HP - 3.0HP Inverter and Non Inverter (includes 10ft. copper tube, 10ft, royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 8500 | 8500 | 0 | Installation Record
Sheena M. Monserate | PAM-00019178 |  | 09/22/2025 03:32 PM | Capuli, Mary Grace | KSM-IW15-WCT10M1M32 | PAM- REM (Satellite) | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00019008 |  | 2025-09-09 13:53 | Guevarra, Claudette Ruzol | KSM-IW15-WCT10M1M32 | PAM- Mac Aire | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00018968 |  | 2025-05-09 10:59 | Our Skin Dermatology Center | KFS-10BAG1M-I | PAM- 88 SMART | ASP | Installation | Chargeable | Installation- Flexmatch Inverter (1st pair) (includes 10ft. copper tube, 10ft. royal cord, rubber insulation, circuit breaker, ordinary indoor bracket, drainhose / PVC drain pipe, consumables, flushing and testing) | 0 | 8500 | 8500 | 0 | Installation Record
Sheena M. Monserate | PAM-00019070 |  | 09/13/2025 04:55 PM | Pineda, Jessica | KSM-IW10-WCT10M1M32 | PAM- REM (Satellite) | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00019059 |  | 09/13/2025 11:54 AM | Yee, Stephen | KSM-IW15-WCT10M1M32 | PAM- SENTINE | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00018933 |  | 2025-03-09 14:08 | Corpuz, Nora | KSM-IW20-WCT10M1M32 | PAM- Mac Aire | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00018967 |  | 2025-05-09 09:55 | Torres, Joshua | KSG-IWF-10WFY-8K1M32-I | PAM- SENTINE | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00019014 |  | 2025-10-09 14:07 | Velasco, Shane Ivy Blaze | KSM-IW15-WCT10M1M32 | PAM- Mac Aire | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00018989 |  | 2025-06-09 16:28 | Sevilla, Janna Wesley | KSG-IWF-15WFY-8K1M32-I | PAM- SENTINE | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00019036 |  | 2025-11-09 13:15 | Sigua, Hannah | KSM-IW15-WCT10M1M32 | PAM- Mac Aire | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00019101 |  | 09/18/2025 11:41 AM | Dimapawi, Joana | KSM-IW10-WCT10M1M32 | PAM- Avalanche | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00019081 |  | 09/15/2025 03:12 PM | Sauquillo, Rowena | KSG-IWF-15WFY-8K1M32-I | PAM- REM (Satellite) | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00019180 |  | 09/22/2025 03:40 PM | Ferrer, Gina | KSM-IW15-WCT10M1M32 | PAM- REM (Satellite) | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00018948 |  | 2025-03-09 15:48 | Viernes, Jovito Medina | KSM-IW10-WCT10M1M32 | PAM- Mac Aire | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00019052 |  | 09/13/2025 10:29 AM | Velasco, Mark Alfred | KSM-IW10-WCT10M1M32 | PAM- Mac Aire | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00018928 |  | 2025-03-09 13:32 | Engr. Abraham Aspiras | KSM-IW15-WCT10M1M32 | PAM- Mac Aire | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00018942 |  | 2025-03-09 14:58 | Cacao, Maria Liza | KSM-IW10-WCT10M1M32 | PAM- Mac Aire | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00018958 |  | 2025-04-09 09:28 | Jacamile, Louwie | KSM-IW20-WCT10M1M32 | PAM- Mac Aire | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00018953 |  | 2025-03-09 16:31 | Cabildo, Ernesto | KSM-IW25-WCT10M1M32 | PAM- Mac Aire | ASP | Installation | Chargeable | Installation - 2.5HP - 3.0HP Inverter and Non Inverter (includes 10ft. copper tube, 10ft, royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 8500 | 8500 | 0 | Installation Record
Sheena M. Monserate | PAM-00018918 |  | 2025-02-09 14:17 | Schwab, Thomas | KSM-IW15-WCT10M1M32 | PAM- SENTINE | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00019063 |  | 09/13/2025 01:56 PM | Reyes, May | KSM-IW10-WCT10M1M32 | PAM- REM (Satellite) | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00019060 |  | 09/13/2025 11:55 AM | Yee, Stephen | KSM-IW20-WCT10M1M32 | PAM- SENTINE | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00018910 |  | 2025-02-09 11:32 | Liwanag, John Leo | KSM-IW10-WCT10M1M32 | PAM- Mac Aire | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00019040 |  | 2025-11-09 15:32 | Our Skin Dermatology Center | KFS-10BAG1M-I | PAM- 88 SMART | ASP | Installation | Chargeable | Installation (succeeding IDU) | 0 | 3000 | 3000 | 0 | Installation Record
Sheena M. Monserate | PAM-00019143 |  | 09/19/2025 02:47 PM | Manalac, Renato | KSM-IW15-WCT10M1M32 | PAM- Mac Aire | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00019074 |  | 09/15/2025 11:52 AM | Tadena, Jesus | KSM-IW10-WCT10M1M32 | PAM- Mac Aire | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00018977 |  | 2025-06-09 10:16 | PURE AND PAM | KSG-IWF-30WFY-8K1M32-I | PAM- Mac Aire | ASP | Installation | Chargeable | Lay-out copper tube | 0 | 0 | 0 | 0
Sheena M. Monserate | PAM-00019111 |  | 09/18/2025 03:02 PM | Platero, Jerlyn | KSG-IWF-15WFY-8K1M32-I | PAM- Mac Aire | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00019122 |  | 09/19/2025 08:28 AM | Calimbas, Edgardo | KSM-IW25-WCT10M1M32 | PAM- REM (Satellite) | ASP | Installation | Chargeable | Installation - 2.5HP - 3.0HP Inverter and Non Inverter (includes 10ft. copper tube, 10ft, royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 8500 | 8500 | 0 | Installation Record
Sheena M. Monserate | PAM-00019141 |  | 09/19/2025 02:26 PM | Cabacungan, Erlyn | KSM-IW10-WCT10M1M32 | PAM- Mac Aire | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00018929 |  | 2025-03-09 13:47 | Gurion, Ronualdo Elmer Oriendo | KSM-IW15-WCT10M1M32 | PAM- Mac Aire | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00018925 |  | 2025-03-09 11:17 | Pineda, Rachelle | KSM-IW15-WCT10M1M32 | PAM- JNGJ | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00019078 |  | 09/15/2025 02:52 PM | Belmonte, Leodegario II | KSM-IW20-WCT10M1M32 | PAM- REM (Satellite) | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00019139 |  | 09/19/2025 02:11 PM | Mata, Winlene Belmonte | KSM-IW10-WCT10M1M32 | PAM- Mac Aire | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00019066 |  | 09/13/2025 02:26 PM | Sabala, Carlo Jose | KSG-IWF-15WFY-8K1M32-I | PAM- REM (Satellite) | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00019054 |  | 09/13/2025 11:12 AM | Cosme, Jasmine Jiren/Florence Ambrocio | KSG-IWF-20WFY-8K1M32-I | PAM- REM (Satellite) | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00019182 |  | 09/22/2025 03:48 PM | Arceo, Merlinda | KSG-IWF-15WFY-8K1M32-I | PAM- REM (Satellite) | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00018986 |  | 2025-06-09 16:07 | Bernardo, Arnel | KSG-IWF-15WFY-8K1M32-I | PAM- NDJ'S | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00019025 |  | 2025-10-09 15:48 | Malig, Veronica Rose | KSG-IWF-20WFY-8K1M32-I | PAM- SENTINE | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00018937 |  | 2025-03-09 14:23 | Lacson, Peejay | KSG-IWF-20WFY-8K1M32-I | PAM- Mac Aire | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00019165 |  | 09/22/2025 11:45 AM | Beltran, Nichie Mae | KSM-IW10-WCT10M1M32 | PAM- MAF REF | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00018930 |  | 2025-03-09 13:55 | Pajarillaga, Jhundel | KSM-IW10-WCT10M1M32 | PAM- Mac Aire | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00019075 |  | 09/15/2025 11:53 AM | Tadena, Jesus | KSM-IW10-WCT10M1M32 | PAM- Mac Aire | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00018906 |  | 2025-02-09 10:50 | Capalto, Bryan | KSM-IW25-WCT10M1M32 | PAM- Koold Aire | ASP | Installation | Chargeable | Installation - 2.5HP - 3.0HP Inverter and Non Inverter (includes 10ft. copper tube, 10ft, royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 8500 | 8500 | 0 | Installation Record
Sheena M. Monserate | PAM-00019073 |  | 09/15/2025 11:46 AM | Pagaling, Joey Urbano | KSM-IW10-WCT10M1M32 | PAM- Mac Aire | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00019017 |  | 2025-10-09 14:44 | Gamotea, Zirel Delm | KSM-IW15-WCT10M1M32 | PAM- Mac Aire | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00018944 |  | 2025-03-09 15:06 | Orane, Rubylyn | KSM-IW10-WCT10M1M32 | PAM- Mac Aire | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00018969 |  | 2025-05-09 11:01 | Our Skin Dermatology Center | KFS-10BAG1M-I | PAM- 88 SMART | ASP | Installation | Chargeable | Installation (succeeding IDU) | 0 | 3000 | 3000 | 0 | Installation Record
Sheena M. Monserate | PAM-00019128 |  | 09/19/2025 08:50 AM | Soriano, Chris Charl | KSM-IW20-WCT10M1M32 | PAM- REM (Satellite) | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00019130 |  | 09/19/2025 08:57 AM | Arriola, Nino | KSG-IWF-30WFY-8K1M32-I | PAM- REM (Satellite) | ASP | Installation | Chargeable | Installation - 2.5HP - 3.0HP Inverter and Non Inverter (includes 10ft. copper tube, 10ft, royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 8500 | 8500 | 0 | Installation Record
Sheena M. Monserate | PAM-00018951 |  | 2025-03-09 16:18 | Teran, Emy | KLG-IF40-5G1M32-I | PAM- Mac Aire | ASP | Installation | Chargeable | Installation - 3.0TR (includes 10ft. copper tube, 10ft. royal cord, rubber insulation, circuit breaker, ordinary indoor bracket, drainhose /PVC drain pipe, consumables, flushing and testing)) | 0 | 11000 | 11000 | 0 | Installation Record
Sheena M. Monserate | PAM-00018978 |  | 2025-06-09 10:17 | PURE AND PAM | KSG-IWF-30WFY-8K1M32-I | PAM- Mac Aire | ASP | Installation | Chargeable | Lay-out copper tube | 0 | 0 | 0 | 0
Sheena M. Monserate | PAM-00019184 |  | 09/22/2025 03:56 PM | Miclat, April Christian | KSM-IW10-WCT10M1M32 | PAM- REM (Satellite) | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00019072 |  | 09/15/2025 10:20 AM | Desimio, Rochele | KSM-IW10-WCT10M1M32 | PAM- REM (Satellite) | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00018975 |  | 2025-05-09 16:45 | Toda, Shotaro | KSM-IW15-WCT10M1M32 | PAM- SENTINE | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00018999 |  | 2025-08-09 10:36 | Trillo Bay Villas | KLG-SF40-3D1M | PAM- ST. JOSEPH | ASP | Troubleshooting | Chargeable | Check up (function & performance, visual check) | 0 | 600 | 600 | 0 | Relayed Job
Sheena M. Monserate | PAM-00019037 |  | 2025-11-09 13:24 | Sabiniano, Ricky Mae Canlas | KSG-IWF-15WFY-8K1M32-I | PAM- Mac Aire | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00019021 |  | 2025-10-09 14:59 | Jocsing, Alvin | KSG-IWF-10WFY-8K1M32-I | PAM- Mac Aire | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00019132 |  | 09/19/2025 09:19 AM | Calimlim, Gerald Paul | KSG-IWF-10WFY-8K1M32-I | PAM- SENTINE | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00018941 |  | 2025-03-09 14:53 | Garcia, Bernardo | KSM-IW20-WCT10M1M32 | PAM- Mac Aire | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00018988 |  | 2025-06-09 16:22 | Alcantara, Leonora | KSM-IW20-WCT10M1M32 | PAM- REM (Satellite) | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00019187 |  | 09/22/2025 04:11 PM | Ramos, Alvin | KSM-IW15-WCT10M1M32 | PAM- REM (Satellite) | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00019018 |  | 2025-10-09 14:45 | Gamotea, Zirel Delm | KSM-IW20-WCT10M1M32 | PAM- Mac Aire | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00019124 |  | 09/19/2025 08:36 AM | Anglon, Argie | KSG-IWF-20WFY-8K1M32-I | PAM- REM (Satellite) | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00018979 |  | 2025-06-09 10:17 | PURE AND PAM | KSG-IWF-30WFY-8K1M32-I | PAM- Mac Aire | ASP | Installation | Chargeable | Lay-out copper tube | 0 | 0 | 0 | 0
Sheena M. Monserate | PAM-00018987 |  | 2025-06-09 16:08 | Bernardo, Arnel | KSG-IWF-15WFY-8K1M32-I | PAM- NDJ'S | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00018912 |  | 2025-02-09 11:41 | Tuazon, Charity | KSM-IW15-WCT10M1M32 | PAM- Mac Aire | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00018940 |  | 2025-03-09 14:46 | Villas, Daisy | KSM-IW15-WCT10M1M32 | PAM- Mac Aire | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00019062 |  | 09/13/2025 01:08 PM | Nucup, Reynaldo | KSM-IW15-WCT10M1M32 | PAM- SENTINE | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00018947 |  | 2025-03-09 15:43 | Turqueza, Maria Merymasa | KSM-IW15-WCT10M1M32 | PAM- Mac Aire | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00019179 |  | 09/22/2025 03:35 PM | BATAAN CHRISTIAN SCHOOL PILAR | KSM-IW25-WCT10M1M32 | PAM- REM (Satellite) | ASP | Installation | Chargeable | Installation - 2.5HP - 3.0HP Inverter and Non Inverter (includes 10ft. copper tube, 10ft, royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 8500 | 8500 | 0 | Installation Record
Sheena M. Monserate | PAM-00019161 |  | 09/22/2025 11:32 AM | Medina, Rene | KSM-IW15-WCT10M1M32 | PAM- MAF REF | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00018935 |  | 2025-03-09 14:18 | Cortez, Mary Danielle | KSG-IWF-20WFY-8K1M32-I | PAM- Mac Aire | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00019172 |  | 09/22/2025 02:45 PM | Artizuela, Lilibeth | KSG-IWF-15WFY-8K1M32-I | PAM- SENTINE | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00019126 |  | 09/19/2025 08:44 AM | Lizarondo, Jamila | KSM-IW15-WCT10M1M32 | PAM- REM (Satellite) | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00018900 |  | 2025-01-09 16:36 | David, Ma. Kristine | KSM-IW10-WCT10M1M32 | PAM- JNGJ | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00019020 |  | 2025-10-09 14:52 | Tanedo, Ma. Vanessa | KSG-IWF-10WFY-8K1M32-I | PAM- Mac Aire | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00018924 |  | 2025-03-09 10:14 | Pagaduan, Roy | KSM-IW15-WCT10M1M32 | PAM- SENTINE | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00018980 |  | 2025-06-09 10:18 | PURE AND PAM | KSG-IWF-30WFY-8K1M32-I | PAM- Mac Aire | ASP | Installation | Chargeable | Lay-out copper tube | 0 | 0 | 0 | 0
Sheena M. Monserate | PAM-00019058 |  | 09/13/2025 11:50 AM | Lingat, James Louie | KSG-IWF-15WFY-8K1M32-I | PAM- SENTINE | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00019069 |  | 09/13/2025 03:11 PM | Merez, Zayne | KSM-IW10-WCT10M1M32 | PAM- NDJ'S | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00019186 |  | 09/22/2025 04:04 PM | Docyogen, Austin Arian | KSM-IW20-WCT10M1M32 | PAM- REM (Satellite) | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00019012 |  | 2025-10-09 13:55 | Dela Cruz, Erickson | KSM-IW10-WCT10M1M32 | PAM- Mac Aire | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00019080 |  | 09/15/2025 03:08 PM | Manalastas, Imelda | KLG-IF40-5G1M32-I | PAM- REM (Satellite) | ASP | Installation | Chargeable | Installation - 3.0TR (includes 10ft. copper tube, 10ft. royal cord, rubber insulation, circuit breaker, ordinary indoor bracket, drainhose /PVC drain pipe, consumables, flushing and testing)) | 0 | 11000 | 11000 | 0 | Installation Record
Sheena M. Monserate | PAM-00019160 |  | 09/22/2025 11:25 AM | De Guzman, Charlene | KSM-IW10-WCT10M1M32 | PAM- MAF REF | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00019162 |  | 09/22/2025 11:32 AM | Medina, Rene | KSM-IW15-WCT10M1M32 | PAM- MAF REF | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00018932 |  | 2025-03-09 14:04 | Andres, Iana Marie | KSG-IWF-15WFY-8K1M32-I | PAM- Mac Aire | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00018904 |  | 2025-02-09 10:23 | Santiago, Alexa | KSG-IWF-20WFY-8K1M32-I | PAM- Avalanche | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00018952 |  | 2025-03-09 16:27 | Lagua, Pj | KSM-IW10-WCT10M1M32 | PAM- Mac Aire | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00018927 |  | 2025-03-09 11:55 | Fanugao, Rose Ann | KSM-IW15-WCT10M1M32 | PAM- Koold Aire | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00018917 |  | 2025-02-09 14:12 | Caseja, Cedric Dominic Roxas | KSG-IWF-10WFY-8K1M32-I | PAM- SENTINE | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00019164 |  | 09/22/2025 11:40 AM | Reyes, Rachel | KSM-IW15-WCT10M1M32 | PAM- MAF REF | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00019115 |  | 09/18/2025 03:48 PM | Vista, Allen | KSM-IW10-WCT10M1M32 | PAM- OE App. | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00018914 |  | 2025-02-09 11:49 | Sembrano, Resty | KSM-IW10-WCT10M1M32 | PAM- Mac Aire | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00018974 |  | 2025-05-09 16:39 | Carmona, Carl Angelo Leonardo | KSM-IW10-WCT10M1M32 | PAM- Mac Aire | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00018908 |  | 2025-02-09 11:06 | Valino, Katherine | KSG-IWF-25WFY-8K1M32-I | PAM- Mac Aire | ASP | Installation | Chargeable | Installation - 2.5HP - 3.0HP Inverter and Non Inverter (includes 10ft. copper tube, 10ft, royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 8500 | 8500 | 0 | Installation Record
Sheena M. Monserate | PAM-00019083 |  | 09/15/2025 03:23 PM | MARITIME ACADEMY OF ASIA AND THE PACIFIC | KSG-IWF-15WFY-8K1M32-I | PAM- SENTINE | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00019102 |  | 09/18/2025 01:03 PM | Adube, Maricris/Felix Adube/Marshel | KSM-IW15-WCT10M1M32 | PAM- DGMC | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00019163 |  | 09/22/2025 11:33 AM | Medina, Rene | KSM-IW20-WCT10M1M32 | PAM- MAF REF | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00019057 |  | 09/13/2025 11:36 AM | Yalung, Al Price | KSG-IWF-15WFY-8K1M32-I | PAM- REM (Satellite) | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00019176 |  | 09/22/2025 03:08 PM | Agustin, Nelia | KSM-IW15-WCT10M1M32 | PAM- Mac Aire | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00019175 |  | 09/22/2025 03:01 PM | Antonio, Roalyn | KSM-IW10-WCT10M1M32 | PAM- Mac Aire | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00018981 |  | 2025-06-09 10:19 | PURE AND PAM | KSG-IWF-30WFY-8K1M32-I | PAM- Mac Aire | ASP | Installation | Chargeable | Lay-out copper tube | 0 | 0 | 0 | 0
Sheena M. Monserate | PAM-00019056 |  | 09/13/2025 11:22 AM | Montemayor, Hedina | KSM-IW15-WCT10M1M32 | PAM- REM (Satellite) | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00019121 |  | 09/19/2025 08:23 AM | Ermita, Alvin | KSG-IWF-15WFY-8K1M32-I | PAM- REM (Satellite) | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00019120 |  | 09/19/2025 08:16 AM | Magalona, Jessie | KSG-IWF-30WFY-8K1M32-I | PAM- REM (Satellite) | ASP | Installation | Chargeable | Installation - 2.5HP - 3.0HP Inverter and Non Inverter (includes 10ft. copper tube, 10ft, royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 8500 | 8500 | 0 | Installation Record
Sheena M. Monserate | PAM-00019084 |  | 09/15/2025 03:23 PM | MARITIME ACADEMY OF ASIA AND THE PACIFIC | KSG-IWF-25WFY-8K1M32-I | PAM- SENTINE | ASP | Installation | Chargeable | Installation - 2.5HP - 3.0HP Inverter and Non Inverter (includes 10ft. copper tube, 10ft, royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 8500 | 8500 | 0 | Installation Record
Sheena M. Monserate | PAM-00018990 |  | 2025-06-09 16:38 | De Padua, Sarah | KSM-IW15-WCT10M1M32 | PAM- SENTINE | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00018943 |  | 2025-03-09 15:02 | Domingo, Frederick | KSM-IW10-WCT10M1M32 | PAM- Mac Aire | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00019174 |  | 09/22/2025 02:54 PM | Baun, Nancy | KSM-IW15-WCT10M1M32 | PAM- Mac Aire | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00018970 |  | 2025-05-09 12:36 | David, Argel | KSM-IW15-WCT10M1M32 | PAM- MAF REF | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00018983 |  | 2025-06-09 10:41 | Dizon, Erryn | KSM-IW15-WCT10M1M32 | PAM- Mac Aire | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00019064 |  | 09/13/2025 02:07 PM | Peralta, Rea | KSG-IWF-25WFY-8K1M32-I | PAM- REM (Satellite) | ASP | Installation | Chargeable | Installation - 2.5HP - 3.0HP Inverter and Non Inverter (includes 10ft. copper tube, 10ft, royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 8500 | 8500 | 0 | Installation Record
Sheena M. Monserate | PAM-00019024 |  | 2025-10-09 15:37 | Lapus, Jonalyn | KSM-IW15-WCT10M1M32 | PAM- SENTINE | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00018909 |  | 2025-02-09 11:14 | Sembrano, Janice | KSM-IW10-WCT10M1M32 | PAM- Mac Aire | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00019103 |  | 09/18/2025 01:04 PM | Adube, Maricris/Felix Adube/Marshel | KSM-IW20-WCT10M1M32 | PAM- DGMC | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00018991 |  | 2025-06-09 16:39 | De Padua, Sarah | KSM-IW15-WCT10M1M32 | PAM- SENTINE | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record
Sheena M. Monserate | PAM-00019079 |  | 09/15/2025 03:02 PM | Navarro, Vince Daryll | KSM-IW20-WCT10M1M32 | PAM- REM (Satellite) | ASP | Installation | Chargeable | Installation - 1.0HP - 2.0HP Inverter and Non- inverter (includes 10ft. coppertube, 10 ft. royal cord, rubber insulation, ordinary bracket, drainhose / PVC drain pipe 3/4) | 0 | 7500 | 7500 | 0 | Installation Record