## sjr_masterlist (28)
FROM : | 2026-01-02 | TO : | 02-28-2026
Location Warehouse : | CAGAYAN DE ORO BRANCH
User : | All User
SJR No. | SJR Date | SJR Start/End Time | CSR Code | Customer Name | Address | Contact No. | Model | Relayed By | Dealer | Job Class | Job Type | Wty Type | Complaint | Tech Name | SJR Notes | No. of Visit | Promised Date | Date Attended | Date Finished | Repair Done | Job Status | Call Origin
CDO-00011195 | 2026-02-02 | 01:33 pm - 01:33 pm | BACULIO | Losanoy, Flordeliza | , Zone 2, , Cugman, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0905-0342146 | KS-IW10-MCAI12O1M32-I | Jeanelyn | ASIAN HOMES | INST | DC | C | For Installation | BRO Refrigeration and Air-conditioning Services |  | 1 | 2026-02-02 | 2026-02-02 09:30 | 2026-02-02 12:00 | Findings - For Installation, Recommendation - Installing aircon split type, Repair Done - Installation done. Unit ok | Com1 | E-mail / DCSJO
CDO-00011196 | 2026-02-02 | 01:58 pm - 01:59 pm | BACULIO | Capili, Edwin | , Zone 5, , Tuburan, CITY OF EL SALVADOR, Misamis Oriental | 0935-3766797 | KS-IW10-MCAI12O1M32-I | Jeanelyn | ASIAN HOMES | INST | DC | C | For Installation | BRO Refrigeration and Air-conditioning Services |  | 1 | 2026-02-02 | 2026-02-02 12:30 | 2026-02-02 15:00 | Findings - For Installation, Recommendation - Installing aircon split type, Repair Done - Installation done. Unit ok | Com1 | E-mail / DCSJO
CDO-00011197 | 2026-03-02 | 08:38 am - 08:39 am | BACULIO | Chua, Joel | , Block 10 Lot 20 Ignatius, Enclave 2, Balulang, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0917-3084222 | KA-100MCARINV32 | Jeanelyn | ASIAN HOMES | TS | DC | W | EC54 Error Code | BRO Refrigeration and Air-conditioning Services |  | 1 | 2026-02-02 | 2026-02-02 01:00 | 2026-02-02 12:00 | Findings - compressor discharge temperature sensor , Recommendation - Need parts for replacement, Repair Done - Troubleshoot | Inc-06 | E-mail / DCSJO
CDO-00011198 | 2026-03-02 | 08:46 am - 08:46 am | BACULIO | VAROZ MARKETING , | LOPE DRIVE, ZONE III, ZONE III, Divisoria, ZAMBOANGA CITY, ZAMBOANGA DEL SUR | 0917-7211225 | KS-IW15-MCAI12O1M32-I | Sheira Mae | ABENSON VENTURES | INST | DC | C | For Installation | Ree Cooling Services |  | 1 | 2026-03-02 | 2026-03-02 08:45 | 2026-03-02 13:10 | Findings - INSTALLATION, Recommendation - INSTALLATION, Repair Done - DEMO AND INSTALLATION | Com1 | E-mail / DCSJO
CDO-00011199 | 2026-03-02 | 11:28 am - 11:29 am | BACULIO | Del Rosario, Fritzgerald | , 150 ILANG-ILANG STREET, , STA. MARIA, ZAMBOANGA CITY, ZAMBOANGA DEL SUR | 0975-2295987 | KS-IW15-MCAI12O1M32-I | Sheira Mae | ABENSON VENTURES | INST | DC | C | For Installation | Ree Cooling Services |  | 1 | 2026-03-02 | 2026-03-02 09:20 | 2026-03-02 14:15 | Findings - INSTALLATION, Recommendation - INSTALLATION, Repair Done - DEMO AND INSTALLATION | Com1 | E-mail / DCSJO
CDO-00011200 | 2026-03-02 | 04:19 pm - 04:19 pm | BACULIO | Tamayo, Ronnie | , , , Macasandig, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0906-0348176 | n/a |  |  | SP | WI | COS | Sales of Parts |  |  |  | 2026-03-02 | 2026-03-02 16:22 | 2026-03-02 16:24 | Findings - Sale of parts, Recommendation - , Repair Done - Sale of parts Selector switch | Com1 | Customer Lounge
CDO-00011201 | 2026-03-02 | 04:36 pm - 04:38 pm | BACULIO | Granja | -, -, -, Barcelona, DAPITAN CITY, Zamboanga del Norte | 0995-0539839 | KLG-IF40-5G1M32-I | Jane | MINDANAO SOLIDMARK | TS | FD | W | E6 Error Code | J Airconditioning & Refrigeration Services | Relay to JARS ASP,parts handcarry by Mr. Arlan Santos | 3 | 2026-06-02 | 2026-06-02 13:40 | 2026-06-02 15:30 | Findings - E6, Recommendation - Unit under observation, Repair Done - Replaced outdoor board | Inc-25 | Second Action
CDO-00011202 | 2026-04-02 | 11:59 am - 11:59 am | BACULIO | Yasay, Olive | , D. Yasay Beach, , Zone 2, Taboc, OPOL, Misamis Oriental | 0917-7084368 | KS-IW10-MCAI12O1M32-I | Jeanelyn | MINDANAO SOLIDMARK | INST | DC | C | For Installation | BRO Refrigeration and Air-conditioning Services |  | 1 | 2026-03-02 | 2026-03-02 16:30 | 2026-03-02 18:30 | Findings - For installation, Recommendation - Installing aircon split type, Repair Done - Installation done. Unit ok | Com1 | E-mail / DCSJO
CDO-00011203 | 2026-04-02 | 12:03 pm - 12:04 pm | BACULIO | Andres, Gina | , ZONE 1 SAMBULAWAN, , AGUSAN, CAGAYAN DE ORO CITY (Capital), MISAMIS ORIENTAL | 0917-7719017 | KS-IW10-MCAI12O1M32-I | Sol | MINDANAO SOLIDMARK | INST | DC | C | For Installation | CKF Ref & Airconditioning Services |  | 1 | 2026-03-02 | 2026-03-02 11:15 | 2026-03-02 14:43 | Findings - N/A, Recommendation - INSTALLATION , Repair Done - INSTALLED/OKAY | Com1 | E-mail / DCSJO
CDO-00011204 | 2026-05-02 | 12:10 pm - 12:11 pm | BACULIO | Dela Cerna, Marietta | , B10-L71 , REGENCY SUBD. , IPONAN, CAGAYAN DE ORO CITY (Capital), MISAMIS ORIENTAL | 0916-2874268 | KS-IW10-MCAI12O1M32-I | Sol | MINDANAO SOLIDMARK | INST | DC | C | For Installation | CKF Ref & Airconditioning Services |  | 1 | 2026-03-02 | 2026-03-02 13:00 | 2026-03-02 15:22 | Findings - N/A, Recommendation - INSTALLATION , Repair Done - INSTALLED/OKAY | Com1 | E-mail / DCSJO
CDO-00011205 | 2026-05-02 | 12:33 pm - 12:33 pm | BACULIO | Ching, Michael Tan | , B6-L6 SAN DIEGO ST., GOLDEN GLOW VILLAGE, UPPER CARMEN , CAGAYAN DE ORO CITY (Capital), MISAMIS ORIENTAL | 0917-7047884 | KS-IW20-MCAI12O1M32-I | Sol | MINDANAO SOLIDMARK | INST | DC | C | For Installation | CKF Ref & Airconditioning Services |  | 1 | 2026-04-02 | 2026-04-02 13:10 | 2026-04-02 15:45 | Findings - N/A, Recommendation - INSTALLATION , Repair Done - INSTALLED/OKAY | Com1 | E-mail / DCSJO
CDO-00011206 | 2026-05-02 | 04:13 pm - 04:13 pm | BACULIO | Ely's Bistro | , South Montilla Blvd. , , Villa Kananga, BUTUAN CITY (Capital), Agusan Del Norte | 0917-7008139 | KLG-SF40-3D1M | Jane | MINDANAO SOLIDMARK | TS | FD | C | E6 Error Code | Queenkrist Ref & Aircon Parts & Services | Relayed to Queenkrist ASP | 1 | 2026-06-02 | 2026-06-02 14:30 | 2026-06-02 16:20 | Findings - LOOSE CONTACT COMMUNICATION, Recommendation - NEED TO REPLACE CONTACT COMMUNICATION WIRE, Repair Done - REPLACE COMMUNICATION WIRE / UNIT OKAY | Com1 | Social Media
CDO-00011207 | 2026-05-02 | 04:39 pm - 04:40 pm | BACULIO | Frias, Vincent | , , , Guimputlan, DAPITAN CITY, Zamboanga del Norte | 0953-5901604 | KSG-IWF-15WFY-8K1M32-I | Erlinda | MINDANAO SOLIDMARK | INST | DC | C | For Installation | J Airconditioning & Refrigeration Services |  | 1 | 2026-05-02 | 2026-05-02 13:20 | 2026-05-02 16:10 | Findings - Installation, Recommendation - Installation, Repair Done - Installation | Com1 | E-mail / DCSJO
CDO-00011208 | 2026-06-02 | 10:49 am - 10:50 am | BACULIO | Ybañez, Lolly Mae | , PUROK SILI, , STO NIÑO, PAGADIAN CITY (Capital), ZDS | 0976-0121401 | KS-IW15-MCAI12O1M32-I | Christine | MINDANAO SOLIDMARK | INST | DC | C | For Installation | Widgets |  | 1 | 2026-05-02 | 2026-05-02 09:00 | 2026-05-02 16:00 | Findings - For Installation, Recommendation - FOR INSTALLATION, Repair Done - INSTALLATION COMPELETED | Com1 | E-mail / DCSJO
CDO-00011209 | 2026-06-02 | 10:56 am - 11:01 am | BACULIO | Anino, Glofer | , , , Isis, POLANCO, Zamboanga del Norte | 0970-0479380 | KSM-IW25-WCT10M1M32 | John Maico | EMCOR INC. | TS | DC | W | Not Cooling | Emcor - CDO |  | 1 | 2026-06-02 | 2026-06-02 14:00 | 2026-06-02 15:00 | Findings - FOUND NO POWER , Recommendation - DEFECT PCB MAIN-INDOOR, Repair Done - NEED TO REPLACE PCB MAIN INDOOR | Inc-06 | E-mail / DCSJO
CDO-00011210 | 2026-06-02 | 11:08 am - 11:10 am | BACULIO | Andrada, Cecile | , , Apovel, Bulua, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0966-8855043 | KWD-BLC-2088B | Jane | MINDANAO SOLIDMARK | TS | FD | W | Dripping/ Water Leak | BRO Refrigeration and Air-conditioning Services | Relay to Bro ASP, brittle hose heat side | 2 | 2026-07-02 | 2026-07-02 13:30 | 2026-07-02 14:30 | Findings - briitle hose, Recommendation - Need new hose (heat side) for replacement, Repair Done - Troubleshoot | Inc-25 | Second Action
CDO-00011211 | 2026-06-02 | 11:10 am - 11:11 am | BACULIO | Chua, Joel | , Block 10 Lot 20 Ignatius, Enclave 2, Balulang, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0917-3084222 | KA-100MCARINV32 | Jane | ASIAN HOMES | TS | FD | W | EC54 Error Code | BRO Refrigeration and Air-conditioning Services | Relayed to Bro ASP, parts pick up 2-6-2026 | 2 | 2026-07-02 | 2026-07-02 17:00 | 2026-07-02 18:00 | Findings - Error EC54, Recommendation - Need parts for replacement, Repair Done - Replaced discharge temp sensor. Unit ok | Com1 | Second Action
CDO-00011212 | 2026-06-02 | 03:38 pm - 03:44 pm | BACULIO | Bermudez, Juniza | , P9 , , Maputi, NAAWAN, Misamis Oriental | 0998-9998761 | KCB-BLC-8859T |  | ASIAN HOMES | TS | BI | C | Weak Water Dispense | John Donguines |  |  | 2026-06-02 | 02/24/2026 09:58 am | 02/24/2026 11:59 am | Findings - Heating Kettle not functioning & defective Water pump, Recommendation - as needed, Repair Done - Replaced water pump & Kettle, unit is okay | Com1 | Customer Lounge
CDO-00011213 | 2026-07-02 | 09:46 am - 09:48 am | BACULIO | Anino, Glofer | , , , Isis, POLANCO, Zamboanga del Norte | 0970-0479380 | KSM-IW25-WCT10M1M32 | Jane | EMCOR INC. | TS | FD | W | Not Cooling | Emcor - CDO | relayed to Emcor Inc. parts pouch thru LBC 81203132030 2-07-2026 | 2 | 02/16/2026 | 02/17/2026 02:15 pm | 02/17/2026 03:15 pm | Findings - NO POWER, Recommendation - REPALCE PCB MAIN INDOOR, Repair Done - DONE REPALCE IND0OR BOARD UNIT OKAY | Com1 | Second Action
CDO-00011214 | 2026-07-02 | 10:45 am - 10:45 am | BACULIO | Pagulayan, Arminie | , MAYOR JALDON, , CANELAR, ZAMBOANGA CITY, ZAMBOANGA DEL SUR | 0905-5530945 | KS-IW20-MCAI12O1M32-I | Desiree | PRICEWISE MARKETING CORP | INST | DC | C | For Installation | Marjon Cool Ref. & Aircon Service Center Co. |  | 1 | 2026-07-02 | 2026-07-02 10:00 | 2026-07-02 10:10 | Findings - FOR INSTALL, Recommendation - FOR INSTALLATION, Repair Done - NOT YET INSTALLED, PINUTALAN SILA NG KURYENTE | Inc-25 | E-mail / DCSJO
CDO-00011215 | 2026-07-02 | 10:53 am - 10:54 am | BACULIO | Ramiro, Raby | , RAMIRO COMPOUND, CARINUGAN , BALULANG, CAGAYAN DE ORO CITY (Capital), MISAMIS ORIENTAL | 0955-1367733 | KSG-IWF-10WFY-8K1M32-I | Rosselyn | ROBINSONS | INST | DC | C | For Installation | Gab Appliance Service Center - CDO |  | 1 | 2026-05-02 | 2026-05-02 14:00 | 2026-05-02 17:00 | Findings - For installation , Recommendation - Unit ready to install , Repair Done - Done installation | Com1 | E-mail / DCSJO
CDO-00011216 | 2026-07-02 | 11:01 am - 11:02 am | BACULIO | KOLIN PHIL. CAGAYAN DE ORO BRANCH | , , J. Pacana St., Puntod, CAGAYAN DE ORO CITY (Capital), Misamis Oriental |  | KSM-25MB1INV |  |  | GC | RM | C | For GC | BRO Refrigeration and Air-conditioning Services | Service by Bro ASP | 1 | 2026-07-02 | 2026-07-02 10:30 | 2026-07-02 12:00 | Findings - Unit is dirty, Recommendation - Need General cleaning, Repair Done - General cleaning | Com1 | Inter-office
CDO-00011217 | 2026-07-02 | 02:35 pm - 02:36 pm | BACULIO | Bailey, Marietta | , PHASE 4 BLK. 69, XAVIER ESTATES , UPPER BALULANG , CAGAYAN DE ORO CITY (Capital), MISAMIS ORIENTAL | 0927-3492747 | KS-IW15-MCAI12O1M32-I | Sol | MINDANAO SOLIDMARK | INST | DC | C | For Installation | CKF Ref & Airconditioning Services |  | 1 | 2026-05-02 | 2026-05-02 14:20 | 2026-05-02 17:34 | Findings - N/A, Recommendation - INSTALLATION , Repair Done - INSTALLED/OKAY | Com1 | E-mail / DCSJO
CDO-00011218 | 2026-07-02 | 02:47 pm - 02:48 pm | BACULIO | PRICEWISE MARKETING CORP | , J. JOHNSTON ST., , SAN JOSE GUSU, ZAMBOANGA CITY, ZAMBOANGA DEL SUR | 0955-9912831 | KSIF-405WB1 | Desiree | PRICEWISE MARKETING CORP | TS | DC | W | Not Cooling | Marjon Cool Ref. & Aircon Service Center Co. | STOCK UNIT | 1 | 2026-07-02 | 2026-07-02 14:00 | 2026-07-02 14:30 | Findings - STUCK UP BLOWER, Recommendation - REQUEST NEW BLOWER, Repair Done - CHECKED UP UNIT, REQUEST FOR NEW BLOWER | Inc-06 | E-mail / DCSJO
CDO-00011219 | 2026-07-02 | 02:52 pm - 02:53 pm | BACULIO | Dimpas, Shane | , , , tuburan, TUBOD, LANAO DEL NORTE | 0961-4302007 | KS-IW10-MCAI12O1M32-I | Bernabe | MINDANAO SOLIDMARK | INST | DC | C | For Installation | Widgets |  | 1 | 2026-07-01 | 2026-07-01 09:00 | 2026-07-01 16:00 | Findings - FOR INSTALLATION, Recommendation - FOR INSTALLATION, Repair Done - INSTALLATION COMPELETED | Com1 | E-mail / DCSJO
CDO-00011220 | 2026-07-02 | 02:56 pm - 02:57 pm | BACULIO | Abdullah, Nur-ain | 009, 2nd road, Purok sampaguita, RH12, COTABATO CITY, Maguindanao | 0960-8513446 | KS-IW10-MCAI12O1M32-I | Bernabe | ROBINSONS | INST | DC | C | For Installation | Widgets |  | 1 | 2026-05-02 | 2026-05-02 09:00 | 2026-05-02 13:00 | Findings - Request installation AC, Recommendation - For Installation AC, Repair Done - Completed installation / Unit Okay | Com1 | E-mail / DCSJO
CDO-00011221 | 2026-07-02 | 03:00 pm - 03:01 pm | BACULIO | Sangual, Everilida | , , , SICAYAB, DIPOLOG CITY (Capital), ZAMBOANGA DEL NORTE | 0995-6724981 | KS-IW15-MCAI12O1M32-I | Erlinda | ASIAN HOMES | INST | DC | C | For Installation | J Airconditioning & Refrigeration Services |  | 1 | 2026-07-02 | 2026-07-02 09:40 | 2026-07-02 12:00 | Findings - Installation, Recommendation - Installation, Repair Done - Unit installed | Com1 | E-mail / DCSJO
CDO-00011222 | 2026-07-02 | 03:05 pm - 03:05 pm | BACULIO | AL-OS, MARYBETH ENOY | -, -, -, Central Brgy., DIPOLOG CITY (Capital), Zamboanga del Norte | 0953-3804160 | KSM-IW25-WCT10M1M32 | Erlinda | ASIAN HOMES | INST | DC | C | For Installation | J Airconditioning & Refrigeration Services |  | 1 | 2026-07-02 | 2026-07-02 10:00 | 2026-07-02 15:30 | Findings - Installation, Recommendation - Installation, Repair Done - Unit installed | Com1 | E-mail / DCSJO
CDO-00011223 | 2026-07-02 | 03:14 pm - 03:14 pm | BACULIO | RECAMARA, BRYAN | -, -, -, SULANGON, DAPITAN CITY, ZAMBOANGA DEL NORTE | 0994-0411065 | KS-IW10-MCAI12O1M32-I | Erlinda | ASIAN HOMES | INST | DC | C | For Installation | J Airconditioning & Refrigeration Services |  | 1 | 2026-07-02 | 2026-07-02 13:40 | 2026-07-02 04:30 | Findings - Installation, Recommendation - Installation, Repair Done - Unit installed | Com1 | E-mail / DCSJO
CDO-00011224 | 2026-07-02 | 03:24 pm - 03:24 pm | BACULIO | Banico, Roland | POBLACION, POBLACION, , POBLACION, MAHAYAG, ZAMBOANGA DEL SUR | 0961-6290153 | KWD-BLC-2088B | Sarah | VIC IMPERIAL APP | TS | DC | W | Not Cooling | JRH Ref & Electronics Services | NEED FILTER DRIER,COMPRESSOR AS A WARRANTY UNIT | 1 | 2026-07-02 | 2026-07-02 09:00 | 2026-07-02 09:50 | Findings - NOT COOLING- , Recommendation - DEFECTIVE COMPRESSOR -OPEN, Repair Done - CHECKED UP- | Inc-06 | E-mail / DCSJO
CDO-00011225 | 2026-09-02 | 08:49 am - 08:56 am | BACULIO | Banico, Roland | POBLACION, POBLACION, , POBLACION, MAHAYAG, ZAMBOANGA DEL SUR | 0961-6290153 | KWD-BLC-2088B | Jane | VIC IMPERIAL APP | TS | FD | W | Not Cooling | JRH Ref & Electronics Services | Relayed to REAM ASP,parts for pouch thru LBC81203132031 2-8-2026 | 2 | 02/16/2026 | 02/13/2026 09:10 am | 02/13/2026 11:15 am | Findings - DEFECTIVE COMPRESSOR , Recommendation - DEFECTIVE COMPRESSOR -OPEN, Repair Done - CHECKED UP- REPLACED COMPRESSOR,FILTER DRIER AND SYSTEM REPROCESS// UNIT OKEY | Com1 | Second Action
CDO-00011226 | 2026-09-02 | 12:07 pm - 12:07 pm | BACULIO | MADC DENTAL CLINIC | , CAPISTRANO MABINI ST. , , Brgy. 14 (POB.), CAGAYAN DE ORO CITY (Capital), MISAMIS ORIENTAL | 0917-1528364 | KS-IW25-MCAI12O1M32-I | Sol | MINDANAO SOLIDMARK | INST | DC | C | For Installation | CKF Ref & Airconditioning Services |  | 1 | 2026-07-02 | 2026-07-02 14:00 | 2026-07-02 17:23 | Findings - N/A, Recommendation - INSTALLATION , Repair Done - INSTALLED/OKAY | Com1 | E-mail / DCSJO
CDO-00011227 | 2026-09-02 | 01:50 pm - 01:50 pm | BACULIO | Temple, Ian | Room #34 3rd floor, , Pointe Villa Residences, , VILLANUEVA, Misamis Oriental | 0905-3105132 | KS-IW10-MCAI12O1M32-I | Jeanelyn | ASIAN HOMES | INST | DC | C | For Installation | BRO Refrigeration and Air-conditioning Services |  | 1 | 2026-09-02 | 2026-09-02 13:30 | 2026-09-02 16:00 | Findings - For Installation, Recommendation - Installing aircon split type, Repair Done - Installation done. Unit ok | Com1 | E-mail / DCSJO
CDO-00011228 | 2026-09-02 | 03:12 pm - 03:12 pm | BACULIO | Temple, Ian | , , , Lower Jasaan, JASAAN, Misamis Oriental | 0905-3105132 | KS-IW10-MCAI12O1M32-I | Jeanelyn | ASIAN HOMES | INST | DC | C | For Installation | BRO Refrigeration and Air-conditioning Services |  | 1 | 2026-09-02 | 2026-09-02 15:00 | 2026-09-02 18:00 | Findings - For Installation, Recommendation - Installing aircon split type, Repair Done - Installation done. Unit ok | Com1 | E-mail / DCSJO
CDO-00011229 | 2026-09-02 | 03:44 pm - 03:44 pm | BACULIO | Malinao, Sammy | , , , , BUTUAN CITY (Capital), AGUSAN DEL NORTE | 0917-8322629 | KEA-60BDRDCA | Queenilyn | VIC IMPERIAL APP | TS | DC | W | No Power Supply | Queenkrist Ref & Aircon Parts & Services |  | 1 | 2026-09-02 | 2026-09-02 16:00 | 2026-09-02 17:00 | Findings - DEFECTIVE BOARD (BURN) , Recommendation - NEED TO REPLACE BOARD , Repair Done - CHECK UP & DIAGNOSE | Inc-06 | E-mail / DCSJO
CDO-00011230 | 2026-10-02 | 09:30 am - 09:30 am | BACULIO | Constantino, Luningning | , P-3, , SAN MIGUEL, MARAMAG, BUKIDNON | 0953-8053607 | KS-IW25-MCAI12O1M32-I | Roselyn | ROBINSONS | INST | DC | C | For Installation | Gab Appliance Service Center - CDO |  | 1 | 2026-09-02 | 2026-09-02 11:00 | 2026-09-02 16:20 | Findings - For installation , Recommendation - Unit ready to install , Repair Done - Done Install | Com1 | E-mail / DCSJO
CDO-00011231 | 2026-10-02 | 11:15 am - 11:15 am | BACULIO | Sibugal, Calixto | , , PUROK ILANG-ILANG, SAN JOSE, PAGADIAN CITY (Capital), ZAMBOANGA DEL SUR | 0963-3987932 | KAG-145WCINV | Sarah | ROBINSONS | TS | DC | W | Dead Set | JRH Ref & Electronics Services | NEED OUTDOOR BOARD AND DISPLAY BOARD AS A WARRANTY UNIT// | 1 | 2026-10-02 | 2026-10-02 09:00 | 2026-10-02 10:40 | Findings - DEFECTIVE OUTDOOR BOARD AND DISPLAY BOARD , Recommendation - NEED OUTDOOR BOARD AND DISPLAY BOARD AS A WARRANTY UNIT, Repair Done - CHECKED UP- | Inc-06 | E-mail / DCSJO
CDO-00011232 | 2026-10-02 | 11:25 am - 11:25 am | BACULIO | Libot, Reanne | , , NHA Phase 2, Kauswagan, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0917-7090906 | KCB-BLC-8859T | Jeanelyn | ASIAN HOMES | TS | DC | W | Dripping/ Water Leak | BRO Refrigeration and Air-conditioning Services |  | 1 | 2026-10-02 | 2026-10-02 10:30 | 2026-10-02 11:00 | Findings - Pull-out, Recommendation - Pull-out unit for check-up, Repair Done - Pull-out unit for check-up | Inc-25 | E-mail / DCSJO
CDO-00011233 | 2026-10-02 | 11:38 am - 11:40 am | BACULIO | Sibugal, Calixto | , , PUROK ILANG-ILANG, SAN JOSE, PAGADIAN CITY (Capital), ZAMBOANGA DEL SUR | 0963-3987932 | KAG-145WCINV | Jane | ROBINSONS | TS | FD | W | Dead Set | JRH Ref & Electronics Services | Relayed to REAM ASP,parts pouch thru LBC 81203132032 2-11-2026 | 2 | 02/18/2026 | 02/17/2026 09:11 am | 02/17/2026 10:58 am | Findings - DEFECTIVE OUTDOOR BOARD AND DISPLAY BOARD , Recommendation - NEED OUTDOOR BOARD AND DISPLAY BOARD , Repair Done - REPLACED OUTDOOR BOARD AND DISPLAY BOARD // UNIT OKEY | Com1 | Second Action
CDO-00011234 | 2026-10-02 | 02:23 pm - 02:23 pm | BACULIO | Faderogao, Paolo Victor | , JONAH ST. B26-L14 , SAN AGUSTIN VALLEY HOMES , CANITOAN, CAGAYAN DE ORO CITY (Capital), MISAMIS ORIENTAL | 0916-1062281 | KS-IW10-MCAI12O1M32-I | Sol | MINDANAO SOLIDMARK | INST | DC | C | For Installation | CKF Ref & Airconditioning Services |  | 1 | 2026-09-02 | 2026-09-02 16:00 | 2026-09-02 18:15 | Findings - N/A, Recommendation - INSTALLATION , Repair Done - INSTALLED/OKAY | Com1 | E-mail / DCSJO
CDO-00011235 | 2026-10-02 | 02:25 pm - 02:27 pm | BACULIO | Malinao, Sammy | , , , , BUTUAN CITY (Capital), AGUSAN DEL NORTE | 0917-8322629 | KEA-60BDRDCA | Jane | VIC IMPERIAL APP | TS | FD | W | No Power Supply | Queenkrist Ref & Aircon Parts & Services | Relayed to Queenkrist ASP,parts pouched thru LBC 81203132036 2-11-2026 | 2 | 02/18/2026 | 02/19/2026 08:00 am | 02/19/2026 09:30 am | Findings - main board can't supply exact amount of voltage to display board, Recommendation - need to replace main baord and display , Repair Done - replaced board supply board. unit not okay | Inc-25 | Second Action
CDO-00011236 | 2026-10-02 | 02:34 pm - 02:34 pm | BACULIO | Faderogao, Paolo Victor | , JONAH ST. B26-L14 , SAN AGUSTIN VALLEY HOMES , CANITOAN, CAGAYAN DE ORO CITY (Capital), MISAMIS ORIENTAL | 0916-1062281 | KS-IW10-MCAI12O1M32-I | Sol | MINDANAO SOLIDMARK | INST | DC | C | For Installation | CKF Ref & Airconditioning Services |  | 1 | 2026-09-02 | 2026-09-02 18:25 | 2026-09-02 20:38 | Findings - N/A, Recommendation - INSTALLATION , Repair Done - INSTALLED/OKAY | Com1 | E-mail / DCSJO
CDO-00011237 | 2026-10-02 | 02:50 pm - 02:50 pm | BACULIO | Gonzales, Pee jay | , ENCLAVE, PUEBLO DE ORO, LUMBIA, CAGAYAN DE ORO CITY (Capital), MISAMIS ORIENTAL | 0977-2573559 | KS-IW10-MCAI12O1M32-I | Sol | MINDANAO SOLIDMARK | INST | DC | C | For Installation | CKF Ref & Airconditioning Services |  | 1 | 2026-09-02 | 2026-09-02 13:00 | 2026-09-02 15:20 | Findings - N/A, Recommendation - INSTALLATION , Repair Done - INSTALLED/OKAY | Com1 | E-mail / DCSJO
CDO-00011238 | 2026-10-02 | 04:03 pm - 04:03 pm | BACULIO | Pagulayan, Arminie | , MAYOR JALDON, , CANELAR, ZAMBOANGA CITY, ZAMBOANGA DEL SUR | 0905-5530945 | KS-IW20-MCAI12O1M32-I | Desiree | PRICEWISE MARKETING CORP | INST | DC | C | For Installation | Marjon Cool Ref. & Aircon Service Center Co. |  | 1 | 2026-10-02 | 2026-10-02 13:00 | 2026-10-02 15:00 | Findings - , Recommendation - FOR INSTALLATION, Repair Done - INSTALLED BOTH INDOOR AND OUTDOOR UNIT | Com1 | E-mail / DCSJO
CDO-00011239 | 2026-11-02 | 09:21 am - 09:21 am | BACULIO | Libot, Reanne | , , NHA Phase 2, Kauswagan, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0917-7090906 | KCB-BLC-8859T | Jeanelyn | ASIAN HOMES | TS | DC | W | Dripping/ Water Leak | BRO Refrigeration and Air-conditioning Services |  | 1 | 2026-11-02 | 2026-11-02 19:00 | 2026-11-02 20:00 | Findings - Pumutok ang hose, Recommendation - fixing hose, Repair Done - fixed hose. Unit is ok | Com1 | Second Action
CDO-00011240 | 2026-11-02 | 10:37 am - 10:37 am | BACULIO | Paluma, Maria Nera | , Blk 1 lot 3 , campbriged sub. , Iponan, CAGAYAN DE ORO CITY (Capital), Misamis Orienta | 0995-4597918 | KCB-BLC-8859T | Rosselyn | ROBINSONS | TS | DC | W | Others | Gab Appliance Service Center - CDO | kong tuplokon ang cool ang tubig mag agas sa ubos | 1 | 2026-12-02 | 2026-12-02 01:00 | 2026-12-02 01:50 | Findings - na ibot ang hose padulong sa cool loose gi balik ang cable tire unit ok , Recommendation - na ibot ang hose padulong sa cool loose gi balik ang cable tire unit ok , Repair Done - na ibot ang hose padulong sa cool loose gi balik ang cable tire unit ok | Com1 | E-mail / DCSJO
CDO-00011241 | 2026-11-02 | 11:05 am - 11:05 am | BACULIO | Ochoa, Antonio | , ZONE 1, , TAYTAY , CITY OF EL SALVADOR, MISAMIS ORIENTAL | 0977-8196802 | KS-IW15-MCAI12O1M32-I | Sol | MINDANAO SOLIDMARK | INST | DC | C | For Installation | CKF Ref & Airconditioning Services |  | 1 | 2026-10-02 | 2026-10-02 13:32 | 2026-10-02 15:55 | Findings - N/A, Recommendation - INSTALLATION , Repair Done - INSTALLED/OKAY | Com1 | E-mail / DCSJO
CDO-00011242 | 2026-11-02 | 11:29 am - 11:29 am | BACULIO | De Las Alas, Judith Actub | Relocation site, B7 House 15, Phase 1 Habitat, Brgy. Indahag, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0926-8292557 | KS-IW10-MCAI12O1M32-I | Sol | MINDANAO SOLIDMARK | INST | DC | C | For Installation | CKF Ref & Airconditioning Services |  | 1 | 2026-10-02 | 2026-10-02 14:46 | 2026-10-02 18:00 | Findings - N/A, Recommendation - INSTALLATION , Repair Done - INSTALLED/OKAY | Com1 | E-mail / DCSJO
CDO-00011243 | 2026-11-02 | 12:00 pm - 12:03 pm | BACULIO | Mokamad, Sarah Jane | , , , Tamontaka 1, COTABATO CITY, MAGUINDANAO | 0926-9276642 | KSG-IWF-15WFY-8K1M32-I | Rolando | ROBINSONS | INST | DC | C | For Installation | Widgets |  | 1 | 2026-08-02 | 2026-08-02 13:00 | 2026-08-02 17:00 | Findings - REQUEST INSTALLATION, Recommendation - FOR INSTALLATION, Repair Done - COMPLETED INSTALLATION / UNIT OKAY | Com1 | E-mail / DCSJO
CDO-00011244 | 2026-12-02 | 10:13 am - 10:13 am | BACULIO | National Commercial | , 303 Gov Alvare St, , , ZAMBOANGA CITY, Zambonga del Norte |  | KLM-IC40-AA1M32 | Val | NATIONAL COMMERCIAL | TS | DC | W | Weak Cooling | National Commercial Service Team | We discharge the refrigerant and then we vacuum the unit for 2hours then recharge with new refrigerant, but still the unit doesn't work well. | 1 | 02/14/2026 | 2026-05-01 10:51 | 2026-05-01 13:39 | Findings - Unit defective,no error occured on display, Recommendation - For Replace New whole unit, Repair Done - Thoroughly checked the unit. | Inc-17 | E-mail / DCSJO
CDO-00011245 | 2026-12-02 | 10:16 am - 10:16 am | BACULIO | Tomarong, Mary Recylin | , Purok 2B Phase 2, Villa Ernesto, Gusa, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0953-6150814 | KS-IW15-MCAI12O1M32-I | Jeanelyn | ASIAN HOMES | INST | DC | C | For Installation | BRO Refrigeration and Air-conditioning Services |  | 1 | 2026-12-02 | 2026-12-02 09:00 | 2026-12-02 11:00 | Findings - For Installation, Recommendation - Installing aircon split type, Repair Done - Installation done. Unit ok | Com1 | E-mail / DCSJO
CDO-00011246 | 2026-12-02 | 02:30 pm - 02:31 pm | BACULIO | National Commercial | , 303 Gov Alvare St, , , ZAMBOANGA CITY, Zambonga del Norte |  | KLM-IC40-AA1M32 | Val | NATIONAL COMMERCIAL | TS | DC | W | Weak Cooling | National Commercial Service Team |  | 1 | 02/14/2026 | 2026-05-01 10:35 | 2026-05-01 13:22 | Findings - Unit defective,no error display, Recommendation - for Replace New unit, Repair Done - Thoroughly checked the unit. | Inc-17 | E-mail / DCSJO
CDO-00011247 | 02/13/2026 | 08:54 am - 08:55 am | BACULIO | Maglangit, Ludem | , , , Sungay, ALUBIJID, Misamis Oriental | 0965-6106462 | KS-IW10-MCAI12O1M32-I | Jeanelyn | MINDANAO SOLIDMARK | INST | DC | C | For Installation | BRO Refrigeration and Air-conditioning Services |  | 1 | 2026-12-02 | 2026-12-02 13:30 | 2026-12-02 17:00 | Findings - For Installation, Recommendation - Installing aircon split type, Repair Done - Installation done. Unit ok | Com1 | E-mail / DCSJO
CDO-00011248 | 02/13/2026 | 08:59 am - 08:59 am | BACULIO | Maglangit, Ludem | , , , Sungay, ALUBIJID, Misamis Oriental | 0965-6106462 | KS-IW10-MCAI12O1M32-I | Jeanelyn | MINDANAO SOLIDMARK | INST | DC | C | For Installation | BRO Refrigeration and Air-conditioning Services |  | 1 | 2026-12-02 | 2026-12-02 13:30 | 2026-12-02 17:00 | Findings - For Installation, Recommendation - Installing aircon split type, Repair Done - Installation done. Unit ok | Com1 | E-mail / DCSJO
CDO-00011249 | 02/13/2026 | 09:01 am - 09:02 am | BACULIO | Maglangit, Ludem | , , , Sungay, ALUBIJID, Misamis Oriental | 0965-6106462 | KS-IW10-MCAI12O1M32-I | Jeanelyn | MINDANAO SOLIDMARK | INST | DC | C | For Installation | BRO Refrigeration and Air-conditioning Services |  | 1 | 2026-12-02 | 2026-12-02 13:30 | 2026-12-02 17:00 | Findings - For Installation, Recommendation - Installing aircon split type, Repair Done - Installation done. Unit ok | Com1 | E-mail / DCSJO
CDO-00011250 | 02/13/2026 | 09:05 am - 09:06 am | BACULIO | Barani, Jarah | , , , BARANGAY 19 GINGOOG , GINGOOG CITY, MISAMIS ORIENTAL | 0938-2628912 | KS-IW10-MCAI12O1M32-I | Bernabe | ROBINSONS | INST | DC | C | For Installation | Widgets |  | 1 | 2026-12-02 | 2026-12-02 10:00 | 2026-12-02 13:00 | Findings - FOR INSTALLATION, Recommendation - Installed , Repair Done - INSTALLATION COMPELETED | Com1 | E-mail / DCSJO
CDO-00011251 | 02/13/2026 | 09:08 am - 09:08 am | BACULIO | DEPARTMENT OF MIGRANT WORKERS | N/A, MAYOR JALDON, N/A, CANELAR, ZAMBOANGA CITY, ZAMBOANGA DEL SUR | 0970-6411205 | KSM-IW20-WCT10M1M32 | Desiree | PRICEWISE MARKETING CORP | INST | DC | C | For Installation | Marjon Cool Ref. & Aircon Service Center Co. |  | 1 | 02/13/2026 | 2026-12-02 09:30 | 2026-12-02 11:30 | Findings - , Recommendation - FOR INSTALLATION, Repair Done - INSTALLED BOTH INDOOR AND OUTDOOR UNIT | Com1 | E-mail / DCSJO
CDO-00011252 | 02/13/2026 | 09:14 am - 09:14 am | BACULIO | DEPARTMENT OF MIGRANT WORKERS | N/A, MAYOR JALDON, N/A, CANELAR, ZAMBOANGA CITY, ZAMBOANGA DEL SUR | 0970-6411205 | KSM-IW20-WCT10M1M32 | Desiree | PRICEWISE MARKETING CORP | INST | DC | C | For Installation | Marjon Cool Ref. & Aircon Service Center Co. |  | 1 | 02/13/2026 | 2026-12-02 13:00 | 2026-12-02 15:30 | Findings - , Recommendation - FOR INSTALLATION, Repair Done - INSTALLED BOTH INDOOR AND OUTDOOR UNIT | Com1 | E-mail / DCSJO
CDO-00011253 | 02/13/2026 | 12:08 pm - 12:10 pm | BACULIO | Tampus, Raul | , , Camella Homes, Carmen, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0917-5423239 | n/a |  |  | SP | WI | COS | Sales of Parts |  |  |  | 02/13/2026 | 02/13/2026 12:10 pm | 02/13/2026 12:12 pm | Findings - Sale of parts, Recommendation - , Repair Done - Sale of parts Discharge sensor | Com1 | Customer Lounge
CDO-00011254 | 02/13/2026 | 12:15 pm - 12:16 pm | BACULIO | 0G4-11 ID, PA | , , , MALAGUTAY, ZAMBOANGA CITY, ZAMBOANGA DEL SUR | 0926-8313541 | KS-IW20-MCAI12O1M32-I | Desiree | PRICEWISE MARKETING CORP | INST | DC | C | For Installation | Marjon Cool Ref. & Aircon Service Center Co. |  | 1 | 02/13/2026 | 02/13/2026 12:30 pm | 02/13/2026 03:00 pm | Findings - , Recommendation - FOR INSTALLATION, Repair Done - INSTALLED BOTH INDOOR AND OUTDOOR UNIT | Com1 | E-mail / DCSJO
CDO-00011255 | 02/13/2026 | 12:21 pm - 12:22 pm | BACULIO | Pitogo, Lauress May | , , Sunrise, Tiguma, PAGADIAN CITY (Capital), Zamboanga del Sur | 0999-9609679 | KS-IW20-MCAI12O1M32-I | Christine | MINDANAO SOLIDMARK | INST | DC | C | For Installation | Widgets |  | 1 | 2026-10-02 | 2026-11-02 13:00 | 2026-11-02 09:00 | Findings - FOR INSTALLATION, Recommendation - FOR INSTALLATION, Repair Done - INSTALLATION COMPELETED | Com1 | E-mail / DCSJO
CDO-00011256 | 02/13/2026 | 12:27 pm - 12:28 pm | BACULIO | Terante, Joshua | , , , Camaman-an, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0997-1043103 | n/a |  |  | SP | WI | COS | Sales of Parts |  |  |  | 02/13/2026 | 02/13/2026 12:32 pm | 02/13/2026 12:34 pm | Findings - sale of parts, Recommendation - , Repair Done - Sale of parts Temp. sensor assy. | Com1 | Customer Lounge
CDO-00011257 | 02/13/2026 | 12:44 pm - 12:45 pm | BACULIO | Guro, Marenaisah | , PRIMAVERA UPTOWN , , UPPER CARMEN , CAGAYAN DE ORO CITY (Capital), MISAMIS ORIENTAL | 0938-9002550 | KS-IW10-MCAI12O1M32-I | Sol | MINDANAO SOLIDMARK | INST | DC | C | For Installation | CKF Ref & Airconditioning Services |  | 1 | 2026-11-02 | 2026-11-02 17:45 | 2026-11-02 20:10 | Findings - N/A, Recommendation - INSTALLATION , Repair Done - INSTALLED/OKAY | Com1 | E-mail / DCSJO
CDO-00011258 | 02/13/2026 | 12:49 pm - 12:49 pm | BACULIO | Abellanosa, Christian | , 643 ZONE 7 , , BARRA, OPOL, MISAMIS ORIENTAL | 0991-5058513 | KS-IW25-MCAI12O1M32-I | Sol | MINDANAO SOLIDMARK | INST | DC | C | For Installation | CKF Ref & Airconditioning Services |  | 1 | 2026-12-02 | 2026-12-02 13:30 | 2026-12-02 16:50 | Findings - N/A, Recommendation - INSTALLATION , Repair Done - INSTALLED/OKAY | Com1 | E-mail / DCSJO
CDO-00011259 | 02/13/2026 | 12:53 pm - 12:54 pm | BACULIO | Ree Cooling Services | , Lot 4A, Zone 1, Divisoria, ZAMBOANGA CITY, Zamboanga del Sur | 0926-4415918 | n/a |  |  | SP | WI | COS | Sales of Parts |  |  |  | 02/13/2026 | 02/13/2026 01:00 pm | 02/13/2026 01:02 pm | Findings - Sale of parts, Recommendation - , Repair Done - Sale of parts PCB Assembly & Sensor Assy. | Com1 | Customer Lounge
CDO-00011260 | 02/13/2026 | 01:07 pm - 01:08 pm | BACULIO | Dablo, Jerry | , , Zone 1B, Iponan, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0966-8668342 | n/a |  |  | SP | WI | COS | Sales of Parts |  |  |  | 02/13/2026 | 02/13/2026 01:15 pm | 02/13/2026 01:17 pm | Findings - Sale of parts, Recommendation - , Repair Done - Sale of parts Selector Switch | Com1 | Customer Lounge
CDO-00011261 | 02/13/2026 | 01:30 pm - 01:32 pm | BACULIO | GAB Air Conditioning | , 2nd cor 19 st, , Nazareth, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0997-2078111 | n/a |  |  | SP | WI | COS | Sales of Parts |  |  |  | 02/13/2026 | 02/13/2026 01:35 pm | 02/13/2026 01:37 pm | Findings - Sale of parts, Recommendation - , Repair Done - Sale of parts Sensor assy. | Com1 | Customer Lounge
CDO-00011262 | 02/13/2026 | 01:44 pm - 01:45 pm | BACULIO | CKF Ref & Airconditioning Services | , B6 L24 Ph3, Villa Trinitas, Bugo, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0965-23160108 | SAC-INV |  |  | SP | WI | COS | Sales of Parts |  |  |  | 02/13/2026 | 02/13/2026 01:50 pm | 02/13/2026 01:52 pm | Findings - Sale of parts, Recommendation - , Repair Done - Sale of parts PCB Assembly Outdoor | Com1 | Customer Lounge
CDO-00011263 | 02/13/2026 | 04:35 pm - 04:35 pm | BACULIO | Castillo Law Office | Door 1, 2nd flr. Goodwill Bldg. , Rizal Fernandez St. , n/a, Brgy. 1, CAGAYAN DE ORO CITY (Capital), MISAMIS ORIENTAL | 0917-1622568 | KS-IW15-MCAI12O1M32-I | Rosselyn | ROBINSONS | INST | DC | C | For Installation | Gab Appliance Service Center - CDO |  | 1 | 02/13/2026 | 02/13/2026 10:00 am | 02/13/2026 02:00 pm | Findings - For Installation, Recommendation - Unit ready to install , Repair Done - Done installation | Com1 | E-mail / DCSJO
CDO-00011264 | 02/13/2026 | 04:46 pm - 04:46 pm | BACULIO | Bacudio, Londhel | DOOR 2, JR. BORJA EXT., MARCOSO APT., CRONIN, CAGAYAN DE ORO CITY (Capital), MISAMIS ORIENTAL | 0977-0783408 | KS-IW15-MCAI12O1M32-I | Rosselyn | ROBINSONS | INST | DC | C | For Installation | Gab Appliance Service Center - CDO |  | 1 | 2026-11-02 | 2026-11-02 17:00 | 2026-11-02 21:00 | Findings - For installation , Recommendation - Unit ready to install , Repair Done - Done Installed | Com1 | E-mail / DCSJO
CDO-00011265 | 02/14/2026 | 08:43 am - 08:44 am | BACULIO | Ramos Jr., Rodolfo | , , SOUTHCOM VILLAGE, UPPER CALARIAN, ZAMBOANGA CITY, ZAMBOANGA DEL SUR | 0917-8914431 | KS-IW20-MCAI12O1M32-I | Desiree | PRICEWISE MARKETING CORP | INST | DC | C | For Installation | Marjon Cool Ref. & Aircon Service Center Co. |  | 1 | 02/14/2026 | 02/14/2026 10:00 am | 02/14/2026 02:45 pm | Findings - , Recommendation - FOR INSTALLATION, Repair Done - DONE INSTALLED BOTH INDOOR AND OUTDOOR UNIT | Com1 | E-mail / DCSJO
CDO-00011266 | 02/14/2026 | 09:09 am - 09:10 am | BACULIO | Gallego, Glenn | , , SPUC Compound, carmen, CAGAYAN DE ORO CITY (Capital), MISAMIS ORIENTAL | 0906-3973320 | KS-IW10-MCAI12O1M32-I | Rosselyn | ROBINSONS | INST | DC | C | For Installation | Gab Appliance Service Center - CDO |  | 1 | 02/13/2026 | 02/13/2026 04:00 pm | 02/13/2026 05:55 pm | Findings - For installation , Recommendation - Unit ready to install , Repair Done - Done Install | Com1 | E-mail / DCSJO
CDO-00011267 | 02/14/2026 | 09:59 am - 09:59 am | BACULIO | Manolo, Donathan Villamor | 27C, ROBIN ST., SOUTHVIEW HOMES, MACASANDIG, CAGAYAN DE ORO CITY (Capital), MISAMIS ORIENTAL | 0917-5843124 | KSG-IWF-30WFY-8K1M32-I | Rosselyn | ABENSON INC. | INST | DC | C | For Installation | Gab Appliance Service Center - CDO |  | 1 | 02/13/2026 | 02/13/2026 03:30 pm | 02/13/2026 07:00 pm | Findings - For installation / Unit Undersized / Customer already aware /Customer Insist to install unit, even if it's undersized., Recommendation - Unit ready to install , Repair Done - Done Install | Com1 | E-mail / DCSJO
CDO-00011268 | 02/14/2026 | 02:53 pm - 02:53 pm | BACULIO | NCD Construction / Jetti Gas Station | , , , Patag highway, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0915-1793992 | KS-IW10-MCAI12O1M32-I | Jeanelyn | ASIAN HOMES | INST | DC | C | For Installation | BRO Refrigeration and Air-conditioning Services |  | 1 | 02/14/2026 | 02/14/2026 02:00 pm | 02/14/2026 07:00 pm | Findings - For Installation, Recommendation - Installing aircon split type, Repair Done - Installation done. Unit ok | Com1 | E-mail / DCSJO
CDO-00011269 | 02/14/2026 | 03:02 pm - 03:02 pm | BACULIO | PRICEWISE MARKETING CORP | , J. JOHNSTON ST., , SAN JOSE GUSU, ZAMBOANGA CITY, ZAMBOANGA DEL SUR | 0955-9912831 | KPA-150R15D410 | Desiree | PRICEWISE MARKETING CORP | TS | DC | W | Noisy | Marjon Cool Ref. & Aircon Service Center Co. | PLEASE SEE ATTACHED PICTURE ON VIBER | 1 | 02/14/2026 | 02/14/2026 01:00 pm | 02/14/2026 01:30 pm | Findings - NOISY FAN BLOWER AFTER 10-30MINS, Recommendation - DEFECTIVE WATER MOTOR, Repair Done - CHECKED UP, REQUEST NEW WATER MOTOR | Inc-06 | E-mail / DCSJO
CDO-00011270 | 02/16/2026 | 10:44 am - 10:45 am | BACULIO | Mateo, Jelyn | , HARMONY DRV, , MERCEDES, ZAMBOANGA CITY, ZAMBOANGA DEL SUR | 0952-6037835 | KS-IW15-MCAI12O1M32-I | Desiree | PRICEWISE MARKETING CORP | INST | DC | C | For Installation | Marjon Cool Ref. & Aircon Service Center Co. |  | 1 | 02/16/2026 | 02/16/2026 09:30 am | 02/16/2026 02:00 pm | Findings - FOR INSTALL, Recommendation - FOR INSTALLATION, Repair Done - DONE INSTALLED BOTH INDOOR AND OUTDOOR UNIT | Com1 | E-mail / DCSJO
CDO-00011271 | 02/16/2026 | 10:50 am - 10:50 am | BACULIO | Piencenaves, Butch | , BLK 8 L9-10 PHASE 2, SILVERCREEK SUBD., CARMEN, CAGAYAN DE ORO CITY (Capital), MISAMIS ORIENTAL | 0998-9713219 | KS-IW15-MCAI12O1M32-I | Roselyn | ROBINSONS | INST | DC | C | For Installation | Gab Appliance Service Center - CDO |  | 1 | 02/16/2026 | 02/16/2026 09:00 am | 02/16/2026 11:00 am | Findings - For installation , Recommendation - Unit ready to install , Repair Done - Done Install | Com1 | E-mail / DCSJO
CDO-00011272 | 02/16/2026 | 03:42 pm - 03:45 pm | BACULIO | BUDGETWISE/PRICEWISE | , , San Jose, Gusu, ZAMBOANGA CITY, Zamboanga Del Sur | 0955-9912831 | KWD-BLC-3088S | Jane | PRICEWISE MARKETING CORP | TS | FD | W | Can't Dispense Water | Marjon Cool Ref. & Aircon Service Center Co. | Relayed to Marjon ASP,parts for pouch thru LBC81203132040 2-18-2026 | 3 | 02/27/2026 | 02/25/2026 09:30 am | 02/25/2026 10:00 am | Findings - NO WATER SUCTION, Recommendation - REPLACEMENT OF DOOR SWITCH, Repair Done - REPLACED NEW DOOR SWITCH, UNIT OK | Com1 | Second Action
CDO-00011273 | 02/16/2026 | 03:55 pm - 03:56 pm | BACULIO | PRICEWISE MARKETING CORP | , J. JOHNSTON ST., , SAN JOSE GUSU, ZAMBOANGA CITY, ZAMBOANGA DEL SUR | 0955-9912831 | KPA-150R15D410 | Jane | PRICEWISE MARKETING CORP | TS | FD | W | Noisy | Marjon Cool Ref. & Aircon Service Center Co. | Relayed to Marjon ASP,parts pouch tyhru LBC 81203132040 2-18-2026 |  | 02/27/2026 | 02/25/2026 01:00 pm | 02/25/2026 02:00 pm | Findings - NOISY FAN BLOWER AFTER 10-30MINS, Recommendation - REPLACEMENT OF WATER MOTOR, Repair Done - REPLACED NEW WATER MOTOR, UNIT OK | Com1 | Second Action
CDO-00011274 | 02/18/2026 | 09:18 am - 09:19 am | BACULIO | Addi's Digital Printing Services | , , Zone 2 , Bulua, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0955-4865240 | KS-IW10-MCAI12O1M32-I | Jeanelyn | ASIAN HOMES | INST | DC | C | For Installation | BRO Refrigeration and Air-conditioning Services |  | 1 | 02/17/2026 | 02/16/2026 04:30 pm | 02/16/2026 07:30 pm | Findings - For installation, Recommendation - Installing aircon split type, Repair Done - Installation done. Unit ok | Com1 | E-mail / DCSJO
CDO-00011275 | 02/18/2026 | 09:32 am - 09:32 am | BACULIO | Paca, Jessel Joy | , PUROK 2, LICO SUBD., TANKULAN, MANOLO FORTICH, BUKIDNON | 0935-3817211 | KSG-IWF-10WFY-8K1M32-I | Rosselyn | ROBINSONS | INST | DC | C | For Installation | Gab Appliance Service Center - CDO |  | 1 | 02/17/2026 | 02/17/2026 09:30 am | 02/17/2026 03:40 pm | Findings - For installation , Recommendation - UNIT OKAY, Repair Done - Done installation | Com1 | E-mail / DCSJO
CDO-00011276 | 02/18/2026 | 09:36 am - 09:37 am | BACULIO | Ngoho, Felipe Jr. | , PHASE 2, NHA, POBLACION SUR, DON CARLOS, BUKIDNON | 0995-9071945 | KS-IW15-MCAI12O1M32-I | Rosselyn | ROBINSONS | INST | DC | C | For Installation | Gab Appliance Service Center - CDO |  | 1 | 02/16/2026 | 02/16/2026 01:00 pm | 02/16/2026 06:00 pm | Findings - For installation , Recommendation - Unit ready to install , Repair Done - Done Install | Com1 | E-mail / DCSJO
CDO-00011277 | 02/18/2026 | 09:43 am - 09:44 am | BACULIO | Moroscallo, Angel Gwyn | -, -, -, MIPUTAK, DIPOLOG CITY (Capital), ZAMBOANGA DEL NORTE | 0917-1242886 | KS-IW20-MCAI12O1M32-I | Erlinda | ASIAN HOMES | INST | DC | C | For Installation | J Airconditioning & Refrigeration Services |  | 1 | 02/17/2026 | 02/17/2026 01:20 pm | 02/17/2026 04:00 pm | Findings - Installation, Recommendation - Installation, Repair Done - Installed | Com1 | E-mail / DCSJO
CDO-00011278 | 02/18/2026 | 09:49 am - 09:50 am | BACULIO | Getizo, Clarice | , , , KATIPUNAN ZAMBOANGA DEL NORTE, DIPOLOG CITY (Capital), KATIPUNAN, ZAMBOANGA DEL NORTE | 0945-3558449 | KSM-IW20-WCT10M1M32 | John Maico | EMCOR INC. | INST | DC | C | For Installation | Emcor - CDO |  | 2 | 02/18/2026 | 02/18/2026 01:30 pm | 02/18/2026 03:45 pm | Findings - INSTALLATION, Recommendation - For installation, Repair Done - DONE INSTALL UNIT | Com1 | E-mail / DCSJO
CDO-00011279 | 02/18/2026 | 09:53 am - 09:55 am | BACULIO | Igcalinos, Michell Ann | , , Bontong, Camaman-an , CAGAYAN DE ORO CITY (Capital), MISAMIS ORIENTAL | 0953-1152813 | KSG-IWF-10WFY-8K1M32-I | Rosselyn | VIC IMPERIAL APP | TS | DC | W | b7 Error Code | Gab Appliance Service Center - CDO | AND ERROR TU | 1 | 02/18/2026 | 02/18/2026 03:00 pm | 02/18/2026 04:00 am | Findings - reset the breaker , Recommendation - reset the breaker, Repair Done - reset the breaker unit ok | Com2 | E-mail / DCSJO
CDO-00011280 | 02/18/2026 | 11:47 am - 11:51 am | BACULIO | Lañojan, Danilo | , , MBAA, CABATANGAN, ZAMBOANGA CITY, ZAMBOANGA DEL SUR | 0927-826636 | KA-75MCARINV32 | April Gem | EMCOR INC. | TS | DC | W | Not Cooling | Emcor - CDO |  | 3 | 02/18/2026 | 02/18/2026 12:50 pm | 02/18/2026 01:00 pm | Findings - UNIT NO COOLING, Recommendation - for parts replacement, Repair Done - NEED TO REPLACED PCB DISPLAY | Inc-25 | E-mail / DCSJO
CDO-00011281 | 02/18/2026 | 11:59 am - 11:59 am | BACULIO | MISOR RADYO MISAMIS ORIENTAL - TOWER | , , , POBLACION, LAGUINDINGAN, MISAMIS ORIENTAL | 0917-7025274 | KSM-IW15-WCT10M1M32 | Sol | VIC IMPERIAL APP | INST | DC | C | For Installation | CKF Ref & Airconditioning Services |  | 1 | 02/14/2026 | 02/14/2026 01:00 pm | 02/14/2026 03:35 pm | Findings - N/A, Recommendation - INSTALLATION , Repair Done - INSTALLED/OKAY | Com1 | E-mail / DCSJO
CDO-00011282 | 02/18/2026 | 12:06 pm - 12:07 pm | BACULIO | Tangkilan, Catherine | , P-6, , BALILA, LANTAPAN, BUKIDNON | 0926-0540153 | KS-IW10-MCAI12O1M32-I | Rosselyn | ROBINSONS | INST | DC | C | For Installation | Gab Appliance Service Center - CDO |  | 1 | 02/18/2026 | 02/18/2026 10:00 am | 02/18/2026 01:30 pm | Findings - For installation , Recommendation - Unit ready to install , Repair Done - Done installation | Com1 | E-mail / DCSJO
CDO-00011283 | 02/18/2026 | 12:11 pm - 12:12 pm | BACULIO | MOSQUE ABDULAZIZ | , PUROK 5-A SUMBOYAN, , LUINAB 1.C, ILIGAN CITY, LANAO DEL NORTE | 0917-7063354 | KS-IW20-MCAI12O1M32-I | Sol | MINDANAO SOLIDMARK | INST | DC | C | For Installation | CKF Ref & Airconditioning Services |  | 1 | 02/17/2026 | 02/17/2026 02:00 pm | 02/17/2026 04:30 pm | Findings - N/A, Recommendation - INSTALLATION , Repair Done - INSTALLED/OKAY | Com1 | E-mail / DCSJO
CDO-00011284 | 02/18/2026 | 12:19 pm - 12:19 pm | BACULIO | MOSQUE ABDULAZIZ | , PUROK 5-A SUMBOYAN, , LUINAB 1.C, ILIGAN CITY, LANAO DEL NORTE | 0917-7063354 | KS-IW20-MCAI12O1M32-I | Sol | MINDANAO SOLIDMARK | INST | DC | C | For Installation | CKF Ref & Airconditioning Services |  | 1 | 02/17/2026 | 02/17/2026 02:15 pm | 02/17/2026 05:22 pm | Findings - N/A, Recommendation - INSTALLATION , Repair Done - INSTALLED/OKAY | Com1 | E-mail / DCSJO
CDO-00011285 | 02/18/2026 | 04:20 pm - 04:20 pm | BACULIO | Uy, Richard - | -, -, -, BARRA, DIPOLOG CITY (Capital), Zamboanga del Norte | 0917-6248899 | KSG-IWF-30WFY-8K1M32-I | Erlinda | ASIAN HOMES | INST | DC | C | For Installation | J Airconditioning & Refrigeration Services |  | 1 | 02/18/2026 | 02/18/2026 01:20 pm | 02/18/2026 04:30 pm | Findings - Installation, Recommendation - Installation, Repair Done - Installed | Com1 | E-mail / DCSJO
CDO-00011286 | 02/18/2026 | 04:34 pm - 04:34 pm | BACULIO | Alcantara, Vemarian | , San Miguel Street, , Camaman-an, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0992-6725461 | KS-IW10-MCAI12O1M32-I | Jeanelyn | ASIAN HOMES | INST | DC | C | For Installation | BRO Refrigeration and Air-conditioning Services |  | 1 | 02/18/2026 | 02/18/2026 03:00 pm | 02/18/2026 05:00 pm | Findings - For Installation, Recommendation - Installing aircon split type, Repair Done - Installation done. Unit ok | Com1 | E-mail / DCSJO
CDO-00011287 | 02/19/2026 | 08:58 am - 08:58 am | BACULIO | Abu, Radzsy | , , , TUMAGA, ZAMBOANGA CITY, ZAMBOANGA DEL SUR | 0976-3169632 | KAG-100WCINV | Desiree | PRICEWISE MARKETING CORP | TS | DC | W | Noisy | Marjon Cool Ref. & Aircon Service Center Co. |  | 1 | 02/18/2026 | 02/18/2026 09:15 am | 02/18/2026 09:30 am | Findings - NOISY SWING, NAGBABANGGAAN ANG LOUVER, Recommendation - CHECKED UP , Repair Done - CHECKED UP AND ADJUST SWING,UNIT OKAY | Com1 | E-mail / DCSJO
CDO-00011288 | 02/19/2026 | 09:33 am - 09:35 am | BACULIO | Lañojan, Danilo | , , MBAA, CABATANGAN, ZAMBOANGA CITY, ZAMBOANGA DEL SUR | 0927-826636 | KA-75MCARINV32 | Jane | EMCOR INC. | TS | FD | W | Not Cooling | Emcor - CDO | Relayed to Emcor Inc. parts pouch thru LBC 81203132042 2-20-2026 | 3 | 02/27/2026 | 02/28/2026 10:00 am | 02/28/2026 11:00 am | Findings - UNIT NO COOLING, UNIT IS OKAY, Recommendation - PCB DISPLAY BOARD, Repair Done - REPLACED PCB DISPLAY BOARD | Com1 | Second Action
CDO-00011289 | 02/21/2026 | 08:35 am - 08:35 am | BACULIO | MOSQUE | , , , CACAO, ZAMBOANGA CITY, ZAMBOANGA DEL SUR | 0938-8690644 | KLG-IF40-5G1M32-I | Desiree | PRICEWISE MARKETING CORP | INST | DC | C | For Installation | Marjon Cool Ref. & Aircon Service Center Co. |  | 1 | 02/20/2026 | 02/20/2026 02:00 pm | 02/20/2026 05:00 pm | Findings - NOT COOLING, Recommendation - FOR INSTALLATION, Repair Done - DONE INSTALLED BOTH INDOOR AND OUTDOOR UNIT | Com1 | E-mail / DCSJO
CDO-00011290 | 02/21/2026 | 08:38 am - 08:38 am | BACULIO | MOSQUE | , , , CACAO, ZAMBOANGA CITY, ZAMBOANGA DEL SUR | 0938-8690644 | KLG-IF40-5G1M32-I | Desiree | PRICEWISE MARKETING CORP | INST | DC | C | For Installation | Marjon Cool Ref. & Aircon Service Center Co. |  | 1 | 02/20/2026 | 02/20/2026 10:00 am | 02/20/2026 12:00 pm | Findings - FOR INSTALLATION, Recommendation - FOR INSTALLATION, Repair Done - DONE INSTALLED BOTH INDOOR AND OUTDOOR UNIT | Com1 | E-mail / DCSJO
CDO-00011291 | 02/21/2026 | 08:42 am - 08:42 am | BACULIO | Jabone, Rosalie | , PUROK CAIMITO, , LENIENZA, PAGADIAN CITY (Capital), Zamboanga Del Sur | 0918-8744830 | KS-IW15-MCAI12O1M32-I | Christine | MINDANAO SOLIDMARK | INST | DC | C | For Installation | Widgets | FOR INSTALLATION | 1 | 02/19/2026 | 02/19/2026 09:15 am | 02/19/2026 02:00 pm | Findings - INSTALLATION COMPLETED, Recommendation - FOR INSTALLATION, Repair Done - INSTALLATION COMPELETED | Com1 | E-mail / DCSJO
CDO-00011292 | 02/21/2026 | 08:46 am - 08:47 am | BACULIO | Molok, Ross | N/A, B6-L9, GOLDEN VILLAGE, CARMEN , CAGAYAN DE ORO CITY (Capital), MISAMIS ORIENTAL | 0995-2009321 | KLG-IF40-5G1M32-I | Sol | MINDANAO SOLIDMARK | INST | DC | C | For Installation | CKF Ref & Airconditioning Services |  | 1 | 02/19/2026 | 02/19/2026 01:22 pm | 02/19/2026 04:50 pm | Findings - N/A, Recommendation - INSTALLATION , Repair Done - INSTALLED/OKAY | Com1 | E-mail / DCSJO
CDO-00011293 | 02/21/2026 | 08:51 am - 08:51 am | BACULIO | Harain, Fatima Ridzka | , , , TALON-TALON, ZAMBOANGA CITY, ZAMBOANGA DEL SUR | 0977-8128387 | KS-IW10-MCAI12O1M32-I | Desiree | PRICEWISE MARKETING CORP | INST | DC | C | For Installation | Marjon Cool Ref. & Aircon Service Center Co. |  | 1 | 02/21/2026 | 02/23/2026 01:00 pm | 02/23/2026 04:00 pm | Findings - FOR INSTALLATION, Recommendation - FOR INSTALLATION, Repair Done - DONE INSTALLED BOTH INDOOR AND OUTDOOR UNIT | Com1 | E-mail / DCSJO
CDO-00011294 | 02/21/2026 | 08:58 am - 08:59 am | BACULIO | Harain, Fatima Ridzka | , , , TALON-TALON, ZAMBOANGA CITY, ZAMBOANGA DEL SUR | 0977-8128387 | KS-IW10-MCAI12O1M32-I | Desiree | PRICEWISE MARKETING CORP | INST | DC | C | For Installation | Marjon Cool Ref. & Aircon Service Center Co. |  | 1 | 02/21/2026 | 02/23/2026 09:00 am | 02/23/2026 12:00 pm | Findings - FOR INSTALLATION, Recommendation - FOR INSTALLATION, Repair Done - DONE INSTALLED BOTH INDOOR AND OUTDOOR UNIT | Com1 | E-mail / DCSJO
CDO-00011295 | 02/21/2026 | 09:05 am - 09:06 am | BACULIO | Mangadang, Faujia | , , , STA BARBARA, ZAMBOANGA CITY, ZAMBOANGA DEL SUR | 0926-5822104 | KSM-IW25-WCT10M1M32 | Desiree | VIC IMPERIAL APP | INST | DC | C | For Installation | Marjon Cool Ref. & Aircon Service Center Co. |  | 1 | 02/20/2026 | 02/20/2026 02:30 pm | 02/20/2026 04:30 pm | Findings - FOR INSTALLATION, Recommendation - FOR INSTALLATION, Repair Done - DONE INSTALLED BOTH INDOOR AND OUTDOOR UNIT | Com1 | E-mail / DCSJO
CDO-00011296 | 02/21/2026 | 09:08 am - 09:09 am | BACULIO | TALABOC, WILMA | -, -, -, GULAYON, DIPOLOG CITY (Capital), ZAMBOANGA DEL NORTE | 0930-0662658 | KS-IW15-MCAI12O1M32-I | Erlinda | ASIAN HOMES | INST | DC | C | For Installation | J Airconditioning & Refrigeration Services |  | 1 | 02/20/2026 | 02/20/2026 10:30 am | 02/20/2026 04:30 pm | Findings - Installation, Recommendation - Installation, Repair Done - Installation | Com1 | E-mail / DCSJO
CDO-00011297 | 02/21/2026 | 09:11 am - 09:12 am | BACULIO | TALABOC, WILMA | -, -, -, GULAYON, DIPOLOG CITY (Capital), ZAMBOANGA DEL NORTE | 0930-0662658 | KS-IW20-MCAI12O1M32-I | Erlinda | ASIAN HOMES | INST | DC | C | For Installation | J Airconditioning & Refrigeration Services |  | 1 | 02/19/2026 | 02/20/2026 10:20 am | 02/20/2026 04:30 pm | Findings - Installation, Recommendation - Installation, Repair Done - Installation | Com1 | E-mail / DCSJO
CDO-00011298 | 02/21/2026 | 11:32 am - 11:34 am | BACULIO | National Commercial | , 303 Gov Alvare St, , , ZAMBOANGA CITY, Zambonga del Norte |  | KLM-IC40-AA1M32 | Jane | NATIONAL COMMERCIAL | TS | FD | W | Not Cooling | Marjon Cool Ref. & Aircon Service Center Co. | Relayed to Marjon ASP for thorough check up, parameters, temperature, piping | 1 | 02/21/2026 | 02/21/2026 11:00 am | 02/21/2026 12:00 pm | Findings - INSUFFICIENT COOLING, Recommendation - CHECKED UP , Repair Done - CHECKED UP, NOT ENOUGH COOLING THE AREA IS TOO BIG 18X24= 432 SQ.M., PARAMETER INDOOR 20°C | Com2 | Viber Mobile
CDO-00011299 | 02/21/2026 | 11:34 am - 11:35 am | BACULIO | National Commercial | , 303 Gov Alvare St, , , ZAMBOANGA CITY, Zambonga del Norte |  | KLM-IC40-AA1M32 | Jane | NATIONAL COMMERCIAL | TS | FD | W | Not Cooling | Marjon Cool Ref. & Aircon Service Center Co. | Relayed to Marjon ASP for thorough check up parameters, temperature, piping | 1 | 02/21/2026 | 02/21/2026 10:00 am | 02/21/2026 11:00 am | Findings - INSUFFICIENT COOLING, Recommendation - CHECKED UP , Repair Done - CHECKED UP, NOT ENOUGH COOLING THE AREA IS TOO BIG 18X24= 432 SQ.M., PARAMETER INDOOR 20°C | Com2 | Viber Mobile
CDO-00011300 | 02/21/2026 | 01:25 pm - 01:26 pm | BACULIO | Lim, Paulo Niño | , Capisnon, , Kauswagan, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0917-7724340 | KS-IW15-MCAI12O1M32-I | Jeanelyn | ASIAN HOMES | INST | DC | C | For Installation | BRO Refrigeration and Air-conditioning Services |  | 1 | 02/21/2026 | 02/21/2026 10:00 am | 02/21/2026 01:30 pm | Findings - For Installation, Recommendation - Installing aircon split type, Repair Done - Installation done. Unit ok | Com1 | E-mail / DCSJO
CDO-00011301 | 02/21/2026 | 01:31 pm - 01:31 pm | BACULIO | Lapinig, Grace | , Phase 2A, , Jampason, INITAO, Misamis Oriental | 0956-0547238 | KS-IW10-MCAI12O1M32-I | Jeanelyn | ASIAN HOMES | INST | DC | C | For Installation | BRO Refrigeration and Air-conditioning Services |  | 1 | 02/21/2026 | 02/21/2026 11:00 am | 02/21/2026 05:00 pm | Findings - For Installation, Recommendation - Installing aircon split type, Repair Done - Installation done. Unit ok | Com1 | E-mail / DCSJO
CDO-00011302 | 02/21/2026 | 01:37 pm - 01:37 pm | BACULIO | Lapinig, Grace | , Phase 2A, , Jampason, INITAO, Misamis Oriental | 0956-0547238 | KS-IW10-MCAI12O1M32-I | Jeanelyn | ASIAN HOMES | INST | DC | C | For Installation | BRO Refrigeration and Air-conditioning Services |  | 1 | 02/21/2026 | 02/21/2026 11:00 am | 02/21/2026 05:00 pm | Findings - For Installation, Recommendation - Installing aircon split type, Repair Done - Installation done. Unit ok | Com1 | E-mail / DCSJO
CDO-00011303 | 02/21/2026 | 02:04 pm - 02:06 pm | BACULIO | Malinao, Sammy | , , , , BUTUAN CITY (Capital), AGUSAN DEL NORTE | 0917-8322629 | KEA-60BDRDCA | Jane | VIC IMPERIAL APP | TS | FD | W | No Power Supply | Queenkrist Ref & Aircon Parts & Services | Relayed to Queenkrist ASC, parts pouch thru LBC 81203132045 2-23-2026 | 3 | 2026-03-03 | 02/26/2026 02:00 pm | 02/26/2026 02:35 pm | Findings - received parts does not match, Recommendation - need new version of main pcb and display pcb, Repair Done - unit not okay | Inc-08 | E-mail / DCSJO
CDO-00011304 | 02/21/2026 | 03:21 pm - 03:22 pm | BACULIO | DPWH | , , , Poblacion, CITY OF EL SALVADOR, Misamis Oriental | 0916-9583556 | n/a |  |  | SP | WI | COS | Sales of Parts |  |  |  | 02/21/2026 | 02/21/2026 03:26 pm | 02/21/2026 03:28 pm | Findings - sale of parts, Recommendation - , Repair Done - Sale of parts Blower Wheel | Com1 | Customer Lounge
CDO-00011305 | 02/21/2026 | 03:40 pm - 03:41 pm | BACULIO | CKF Ref & Airconditioning Services | , B6 L24 Ph3, Villa Trinitas, Bugo, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0965-23160108 | n/a |  |  | SP | WI | COS | Sales of Parts |  |  |  | 02/21/2026 | 02/21/2026 03:44 pm | 02/21/2026 03:44 pm | Findings - Sale of parts, Recommendation - , Repair Done - Sale of parts PCB Assembly Indoor | Com1 | Customer Lounge
CDO-00011306 | 02/21/2026 | 04:05 pm - 04:06 pm | BACULIO | BRO Refrigeration & Airconditioning Services | , Zone 2 A , Sto. Niño Vill., Baluarte, TAGOLOAN, Misamis Oriental | 0935-4044108 | n/a |  |  | SP | WI | COS | Sales of Parts |  |  |  | 02/21/2026 | 02/21/2026 04:09 pm | 02/21/2026 04:11 pm | Findings - Sale of parts , Recommendation - , Repair Done - Sale of parts Fan motor Outdoor | Com1 | Customer Lounge
CDO-00011307 | 02/23/2026 | 10:34 am - 10:35 am | BACULIO | Pabayo, Joseph | , Purok Sandayong, , Sto. Niño, PAGADIAN CITY (Capital), Zamboanga del Sur | 0921-3250090 | KS-IW10-MCAI12O1M32-I | Christine | MINDANAO SOLIDMARK | INST | DC | C | For Installation | Widgets | FOR INSTALLATION | 1 | 02/21/2026 | 02/21/2026 09:00 am | 02/21/2026 04:00 pm | Findings - FOR INSTALLATION, Recommendation - FOR INSTALLATION, Repair Done - INSTALLATION COMPELETED | Com1 | E-mail / DCSJO
CDO-00011308 | 02/23/2026 | 12:16 pm - 12:16 pm | BACULIO | Pabayo, Joseph | , Purok Sandayong, , Sto. Niño, PAGADIAN CITY (Capital), Zamboanga del Sur | 0921-3250090 | KS-IW10-MCAI12O1M32-I | Christine | MINDANAO SOLIDMARK | INST | DC | C | For Installation | Widgets | FOR INSTALLATION | 1 | 02/21/2026 | 02/21/2026 09:00 am | 02/21/2026 04:00 pm | Findings - FOR INSTALLATION, Recommendation - FOR INSTALLATION, Repair Done - COMPLETED INSTALLATION AC SPLIT TYPE | Com1 | E-mail / DCSJO
CDO-00011309 | 02/23/2026 | 12:22 pm - 12:22 pm | BACULIO | Sagun National High School | , , , STA MARIA, PAGADIAN CITY (Capital), ZAMBOANGA DEL SUR | 0908-8601741 | KSM-IW10-WCT10M1M32 | Christine | MINDANAO SOLIDMARK | INST | DC | C | For Installation | Widgets | FOR INSTALLATION | 1 | 02/19/2026 | 02/19/2026 09:00 am | 02/19/2026 04:00 pm | Findings - FOR INSTALLATION, Recommendation - FOR INSTALLATION, Repair Done - INSTALLATION COMPELETED | Com1 | E-mail / DCSJO
CDO-00011310 | 02/23/2026 | 12:26 pm - 12:26 pm | BACULIO | Sagun National High School | , , , STA MARIA, PAGADIAN CITY (Capital), ZAMBOANGA DEL SUR | 0908-8601741 | KSM-IW10-WCT10M1M32 | Christine | MINDANAO SOLIDMARK | INST | DC | C | For Installation | Widgets | FOR INSTALLATION | 1 | 02/19/2026 | 02/19/2026 09:00 am | 02/19/2026 04:00 pm | Findings - FOR INSTALLATION, Recommendation - FOR INSTALLATION, Repair Done - INSTALLATION COMPELETED | Com1 | E-mail / DCSJO
CDO-00011311 | 02/24/2026 | 09:50 am - 09:50 am | BACULIO | Jalad, Ted | , STA. CECILIA PHASE 1, STA. CECILIA SUBD. , GUSA, CAGAYAN DE ORO CITY (Capital), MISAMIS ORIENTAL | 0917-8755649 | KA-60MEMC32 | Sol | MINDANAO SOLIDMARK | TS | DC | W | Malfunctioning | CKF Ref & Airconditioning Services |  | 1 | 02/18/2026 | 02/18/2026 11:00 am | 02/18/2026 11:55 am | Findings - NOT FUNCTIONING/DEAD SET/UNIT MALFUNCTIONING , Recommendation - UNIT REPLACED ALREADY BY SOLIDMARK DEALER./OKAY, Repair Done - CHECK UP | Inc-17 | E-mail / DCSJO
CDO-00011312 | 02/24/2026 | 10:00 am - 10:00 am | BACULIO | Cabading, Nelda | , , Gampis , Sicayab, DIPOLOG CITY (Capital), ZAMBOANGA DEL NORTE | 0917-5753480 | KSG-IWF-15WFY-8K1M32-I | John Maico | EMCOR INC. | INST | DC | C | For Installation | Emcor - CDO |  | 1 | 02/24/2026 | 02/24/2026 10:45 pm | 02/24/2026 11:45 pm | Findings - INSTALLATION, Recommendation - For installation, Repair Done - DONE INSTALL UNIT | Com1 | E-mail / DCSJO
CDO-00011313 | 02/24/2026 | 10:06 am - 10:07 am | BACULIO | St. Mary's Maternity & Children Hospital | , , , PALA-O, ILIGAN CITY, LANAO DEL NORTE | 0951-8056698 | KSM-IW25-WCT10M1M32 | Jessa | MINDANAO SOLIDMARK | INST | DC | C | For Installation | Flerics Appliance Service Center | FOR INSTALLATION | 1 | 02/24/2026 | 02/24/2026 10:30 am | 02/24/2026 03:00 pm | Findings - AC INSTALLATION, Recommendation - AC INSTALLATION, Repair Done - DONE INSTALLATION | Com1 | E-mail / DCSJO
CDO-00011314 | 02/24/2026 | 10:19 am - 10:20 am | BACULIO | Judail, Ryan Jay | , , , BOALAN, ZAMBOANGA CITY, ZAMBOANGA DEL SUR | 0966-3859808 | KS-IW15-MCAI12O1M32-I | Desiree | PRICEWISE MARKETING CORP | INST | DC | C | For Installation | Marjon Cool Ref. & Aircon Service Center Co. |  | 1 | 02/24/2026 | 02/24/2026 10:00 am | 02/24/2026 04:30 pm | Findings - FOR INSTALLATION, Recommendation - FOR INSTALLATION, Repair Done - COMPLETED INSTALLATION AC SPLIT TYPE | Com1 | E-mail / DCSJO
CDO-00011315 | 02/24/2026 | 11:14 am - 11:14 am | BACULIO | YEO, LOURDES | 2nd Floor Bedroom 1, Lunzuran, , Lunzuran Subdivision, Barangay Lunzuran, ZAMBOANGA CITY, Zamboanga Del Sur | 0917-1451212 | KSM-IW10-WCT10M1M32 | Val | NATIONAL COMMERCIAL | TS | DC | W | System Leak | National Commercial Service Team | Please send the condensing unit ASAP, thank you. | 1 | 02/28/2026 | 02/19/2026 09:58 am | 02/23/2026 11:09 am | Findings - Leakage at Condensing unit, Recommendation - Replace condenser unit, Repair Done - checked the unit thoroughly and found leaking at condensing unit. | Inc-27 | E-mail / DCSJO
CDO-00011316 | 02/24/2026 | 04:00 pm - 04:01 pm | BACULIO | Emcor, Inc. Dipolog | , , , , DIPOLOG CITY (Capital), Zambonga del Norte | 0999-8856820 | n/a |  |  | SP | WI | COS | Sales of Parts |  |  |  | 02/24/2026 | 02/24/2026 04:05 pm | 02/24/2026 04:07 pm | Findings - Sale of parts, Recommendation - , Repair Done - Sale of parts Evaporator | Com1 | Customer Lounge
CDO-00011317 | 02/24/2026 | 04:40 pm - 04:41 pm | BACULIO | Ollave, Gracelea | , , , Lower Calarian, ZAMBOANGA CITY, Zamboanga del Sur | 0995-9878983 | KSM-IW10-WCT10M1M32 | Jane | PRICEWISE MARKETING CORP | GC | FD | C | For GC | Marjon Cool Ref. & Aircon Service Center Co. | Relayed to Marjon ASP | 1 | 02/27/2026 | 02/26/2026 09:00 am | 02/26/2026 10:00 am | Findings - INSUFFICIENT COOLING, Recommendation - GENERAL CLEANING, Repair Done - GENERAL CLEANING WITH SOAP AND PRESSURE WASHER | Com1 | Social Media
CDO-00011318 | 02/25/2026 | 10:52 am - 10:53 am | BACULIO | YEO, LOURDES | 2nd Floor Bedroom 1, Lunzuran, , Lunzuran Subdivision, Barangay Lunzuran, ZAMBOANGA CITY, Zamboanga Del Sur | 0917-1451212 | KSM-IW10-WCT10M1M32 | Jane | NATIONAL COMMERCIAL | TS | FD | W | System Leak | National Commercial Service Team | Relay to National ASP,parts pouch thru LBC 81203132046 2-25-2026 | 2 | 2026-11-03 |  |  |  |  | Second Action
CDO-00011319 | 02/25/2026 | 02:21 pm - 02:31 pm | BACULIO | PRICEWISE MARKETING CORP | , J. JOHNSTON ST., , SAN JOSE GUSU, ZAMBOANGA CITY, ZAMBOANGA DEL SUR | 0955-9912831 | KPA-150R15D410 | Jane | PRICEWISE MARKETING CORP | TS | FD | W | Noisy | Marjon Cool Ref. & Aircon Service Center Co. | Relayed to Marjon ASP,parts pouch thru LBC | 2 | 2026-11-03 | 02/25/2026 01:00 pm | 02/25/2026 02:00 pm | Findings - NOISY FAN BLOWER AFTER 10-30MINS, Recommendation - DEFECTIVE WATER MOTOR, Repair Done - REPLACED NEW WATER MOTOR, UNIT OK |  | Second Action
CDO-00011320 | 02/25/2026 | 02:40 pm - 02:40 pm | BACULIO | Valmores, Lolin | , Phase 4, , Cogon, BALINGASAG, Misamis Oriental | 0960-6424348 | KS-IW15-MCAI12O1M32-I | Jeanelyn | ASIAN HOMES | INST | DC | C | For Installation | BRO Refrigeration and Air-conditioning Services |  | 1 | 02/25/2026 | 02/25/2026 01:30 pm | 02/25/2026 04:30 pm | Findings - For Installation, Recommendation - Installing aircon split type, Repair Done - Installation done. Unit ok | Com1 | E-mail / DCSJO
CDO-00011321 | 02/25/2026 | 02:47 pm - 02:48 pm | BACULIO | Cadorna, Liezel | , , , HINAPLANON, ILIGAN CITY, LANAO DEL NORTE | 0966-1948727 | KEA-60BDRDCA | Jessa | MINDANAO SOLIDMARK | TS | DC | W | No Power Supply | Flerics Appliance Service Center | NO POWER UNDER 7 DAYS STORE REPLACEMNET | 1 | 02/25/2026 | 02/25/2026 02:00 pm | 02/25/2026 02:30 pm | Findings - shorted Q1 and burn-out fuse 5ampere, Recommendation - defective power supply board/check-up, Repair Done - under 7 days store replacement | Com2 | E-mail / DCSJO
CDO-00011322 | 02/25/2026 | 02:55 pm - 02:55 pm | BACULIO | Sansuan, Robert | -, , , GULAYON, DIPOLOG CITY (Capital), ZAMBOANGA DEL NORTE | 0968-8523656 | KS-IW25-MCAI12O1M32-I | Erlinda | MINDANAO SOLIDMARK | INST | DC | C | For Installation | J Airconditioning & Refrigeration Services |  | 1 | 02/25/2026 | 02/25/2026 01:20 pm | 02/27/2026 02:00 pm | Findings - Installation, Recommendation - Installation, Repair Done - Unit Installed | Com1 | E-mail / DCSJO
CDO-00011323 | 02/25/2026 | 03:58 pm - 03:58 pm | BACULIO | Sansuan, Robert | -, , , GULAYON, DIPOLOG CITY (Capital), ZAMBOANGA DEL NORTE | 0968-8523656 | KS-IW25-MCAI12O1M32-I | Erlinda | MINDANAO SOLIDMARK | INST | DC | C | For Installation | J Airconditioning & Refrigeration Services |  | 1 | 02/25/2026 | 02/26/2026 01:20 pm | 02/27/2026 02:00 pm | Findings - Installation, Recommendation - Installation, Repair Done - Unit Instal | Com1 | E-mail / DCSJO
CDO-00011324 | 02/25/2026 | 04:05 pm - 04:05 pm | BACULIO | Alba, Bryant | , , , MIPUTAK, DIPOLOG CITY (Capital), ZAMBOANGA DEL NORTE | 0945-1958872 | KS-IW10-MCAI12O1M32-I | Erlinda | ASIAN HOMES | INST | DC | C | For Installation | J Airconditioning & Refrigeration Services |  | 1 | 02/25/2026 | 02/25/2026 01:40 pm | 02/25/2026 04:50 pm | Findings - Installation, Recommendation - Installation, Repair Done - Unit installed | Com1 | E-mail / DCSJO
CDO-00011325 | 02/26/2026 | 10:24 am - 10:25 am | BACULIO | Demetrio, Khalil | ZONE 19B PASE 3 DALIPUGA ILIGAN CITY, ZONE 19B PASE 3 DALIPUGA ILIGAN CITY, ZONE 19B PASE 3 DALIPUGA ILIGAN CITY, ZONE 19B PASE 3 DALIPUGA ILIGAN CITY, ILIGAN CITY, LANAO DEL NORTE | 0927-8101032 | KSM-IW10-WCT10M1M32 | Herabelle | EMCOR INC. | INST | DC | C | For Installation | Emcor - CDO |  | 1 | 2025-12-11 |  |  | Findings - , Recommendation - , Repair Done - |  | E-mail / DCSJO
CDO-00011326 | 02/26/2026 | 11:17 am - 11:17 am | BACULIO | Garcia, Joseph Allan | , Block 6 Lot 8, Alegria Hills, Macasandig, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0915-5089672 | KL-IF60-G6H1M32-I | Jeanelyn | MINDANAO SOLIDMARK | INST | DC | C | For Installation | BRO Refrigeration and Air-conditioning Services |  | 1 | 02/25/2026 | 02/25/2026 01:00 pm | 02/25/2026 04:30 pm | Findings - For Installation, Recommendation - Installing aircon floor mounted type, Repair Done - Start-up done 2/26/26 - 10:30am to 11:30am. Installed done. Unit ok. | Com1 | E-mail / DCSJO
CDO-00011327 | 02/26/2026 | 11:22 am - 11:23 am | BACULIO | Department of Agriculture RFO X | N/A, Antonio Luna St. , , Brgy. 29 (Pob.), CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0969-0791051 | KS-IW20-MCAI12O1M32-I | Sol | MINDANAO SOLIDMARK | INST | DC | C | For Installation | CKF Ref & Airconditioning Services |  | 2 | 02/23/2026 | 02/23/2026 01:00 pm | 02/23/2026 03:20 pm | Findings - N/A, Recommendation - Installation , Repair Done - Installed/Okay | Com1 | E-mail / DCSJO
CDO-00011328 | 02/26/2026 | 11:28 am - 11:28 am | BACULIO | Department of Agriculture RFO X | N/A, Antonio Luna St. , , Brgy. 29 (Pob.), CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0969-0791051 | KLG-IF40-5G1M32-I | Sol | MINDANAO SOLIDMARK | INST | DC | C | For Installation | CKF Ref & Airconditioning Services |  | 2 | 02/23/2026 | 02/23/2026 03:45 pm | 02/23/2026 05:30 pm | Findings - N/A, Recommendation - Installation , Repair Done - Installed/Okay | Com1 | E-mail / DCSJO
CDO-00011329 | 02/26/2026 | 11:36 am - 11:36 am | BACULIO | Department of Agriculture RFO X | N/A, Antonio Luna St. , , Brgy. 29 (Pob.), CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0969-0791051 | KS-IW20-MCAI12O1M32-I | Sol | MINDANAO SOLIDMARK | INST | DC | C | For Installation | CKF Ref & Airconditioning Services |  | 1 | 02/24/2026 | 02/24/2026 11:00 am | 02/24/2026 02:32 pm | Findings - N/A, Recommendation - Installation , Repair Done - Installed/Okay | Com1 | E-mail / DCSJO
CDO-00011330 | 02/26/2026 | 11:52 am - 11:53 am | BACULIO | Neuskin Aesthetic & Wellness Center | 3rd Floor Gonzaga Bldg. , Regatta Square Pueblo Business Park, , Upper Carmen, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0965-3825946 | KS-IW25-MCAI12O1M32-I | Sol | MINDANAO SOLIDMARK | INST | DC | C | For Installation | CKF Ref & Airconditioning Services |  | 1 | 02/25/2026 | 02/25/2026 01:10 pm | 02/25/2026 03:40 pm | Findings - N/A, Recommendation - Installation , Repair Done - Installed/Okay | Com1 | E-mail / DCSJO
CDO-00011331 | 02/26/2026 | 01:32 pm - 01:33 pm | BACULIO | J Airconditioning & Refrigeration Services | , , , Nat'l Highway Sta Isabel, DIPOLOG CITY (Capital), Zambonga del Norte | 0920-9007707 | n/a |  |  | SP | WI | COS | Sales of Parts |  |  |  | 02/26/2026 | 02/26/2026 01:47 pm | 02/26/2026 01:49 pm | Findings - Sale of parts, Recommendation - , Repair Done - Sale of inst. materials Royal cord | Com1 | Customer Lounge
CDO-00011332 | 02/26/2026 | 02:02 pm - 02:03 pm | BACULIO | Don Carlos Bukidnon Hospital | , , , , DON CARLOS, Bukidnon | 0917-8595314 | n/a |  |  | SP | WI | COS | Sales of Parts |  |  |  | 02/26/2026 | 02/26/2026 02:04 pm | 02/26/2026 02:06 pm | Findings - sale of parts , Recommendation - , Repair Done - Sale of asstd parts | Com1 | Customer Lounge
CDO-00011333 | 02/26/2026 | 02:19 pm - 02:19 pm | BACULIO | Amigable, Divina Gracia | , , Catbide Village, , ILIGAN CITY, LANAO DEL NORTE | 0956-6107978 | KSM-IW10-WCT10M1M32 | Herabelle | EMCOR INC. | INST | DC | C | For Installation | Emcor - CDO |  | 1 | 01/15/2026 |  |  | Findings - , Recommendation - , Repair Done - |  | E-mail / DCSJO
CDO-00011334 | 02/26/2026 | 04:43 pm - 04:44 pm | BACULIO | Sansuan, Robert | -, , , GULAYON, DIPOLOG CITY (Capital), ZAMBOANGA DEL NORTE | 0968-8523656 | KS-IW25-MCAI12O1M32-I | Erlinda | MINDANAO SOLIDMARK | INST | DC | C | For Installation | J Airconditioning & Refrigeration Services |  | 1 | 02/25/2026 | 02/25/2026 01:20 pm | 02/27/2026 02:00 pm | Findings - Installation, Recommendation - Installation, Repair Done - Unit installed | Com1 | E-mail / DCSJO
CDO-00011335 | 02/26/2026 | 04:48 pm - 04:48 pm | BACULIO | Dunque, Louie Michael | , , , TAFT , SURIGAO CITY (Capital), SURIGAO | 0985-2647120 | KA-100MCARINV32 | Melanie | VIC IMPERIAL APP | TS | DC | W | Not Cooling | Queenkrist Ref & Aircon Parts & Services |  | 1 | 02/27/2026 | 02/26/2026 04:55 pm | 02/26/2026 05:55 pm | Findings - defective fan motor error EC 07, Recommendation - need to replace Fan Motor , Repair Done - Check up & Diagnose | Inc-06 | E-mail / DCSJO
CDO-00011336 | 02/26/2026 | 04:53 pm - 04:54 pm | BACULIO | Rosabal, Patriz Adim | , Block 24 Lot 5, Youngsville Subdivision, Igpit, OPOL, Misamis Oriental | 0926-3995784 | KS-IW10-MCAI12O1M32-I | Jeanelyn | MINDANAO SOLIDMARK | INST | DC | C | For Installation | BRO Refrigeration and Air-conditioning Services |  | 1 | 02/26/2026 | 02/26/2026 01:00 pm | 02/26/2026 03:30 pm | Findings - For Installation, Recommendation - Installing aircon split type, Repair Done - Installation done. Unit ok | Com1 | E-mail / DCSJO
CDO-00011337 | 02/26/2026 | 04:58 pm - 04:59 pm | BACULIO | Garcia, Joseph Allan | , Block 6 Lot 8, Alegria Hills, Macasandig, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0915-5089672 | KS-IW20-MCAI12O1M32-I | Jeanelyn | MINDANAO SOLIDMARK | INST | DC | C | For Installation | BRO Refrigeration and Air-conditioning Services |  | 1 | 02/26/2026 | 02/26/2026 10:30 am | 02/26/2026 04:30 pm | Findings - For Installation, Recommendation - Installing aircon split type, Repair Done - Installation done. Unit ok | Com1 | E-mail / DCSJO
CDO-00011338 | 02/26/2026 | 05:01 pm - 05:01 pm | BACULIO | Garcia, Joseph Allan | , Block 6 Lot 8, Alegria Hills, Macasandig, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0915-5089672 | KS-IW20-MCAI12O1M32-I | Jeanelyn | MINDANAO SOLIDMARK | INST | DC | C | For Installation | BRO Refrigeration and Air-conditioning Services |  | 1 | 02/26/2026 | 02/26/2026 10:30 am | 02/26/2026 04:30 pm | Findings - For Installation, Recommendation - Installing aircon split type, Repair Done - Installation done. Unit ok | Com1 | E-mail / DCSJO
CDO-00011339 | 02/27/2026 | 10:50 am - 10:51 am | BACULIO | Cold Pro Refrigeration & Airconditioning Service Center | , , Calamansi Drive, Carmen, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0995-5900294 | n/a |  |  | SP | WI | COS | Sales of Parts |  |  |  | 02/27/2026 | 02/27/2026 10:53 am | 02/27/2026 10:55 am | Findings - Sale of parts, Recommendation - , Repair Done - Sale of parts Swing motor | Com1 | Customer Lounge
CDO-00011340 | 02/27/2026 | 10:57 am - 10:58 am | BACULIO | Cold Pro Refrigeration & Airconditioning Service Center | , , Calamansi Drive, Carmen, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0995-5900294 | n/a |  |  | SP | WI | COS | Sales of Parts |  |  |  | 02/27/2026 | 02/27/2026 11:03 am | 02/27/2026 11:05 am | Findings - Sale of parts, Recommendation - , Repair Done - Sale of parts Pipe temp. sensor assy | Com1 | Customer Lounge
CDO-00011341 | 02/27/2026 | 11:11 am - 11:12 am | BACULIO | GAB Air Conditioning | , 2nd cor 19 st, , Nazareth, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0997-2078111 | n/a |  |  | SP | WI | COS | Sales of Parts |  |  |  | 02/27/2026 | 02/27/2026 11:17 am | 02/27/2026 11:19 am | Findings - sale of parts, Recommendation - , Repair Done - sale of parts PCB Assembly Outdoor | Com1 | Customer Lounge
CDO-00011342 | 02/27/2026 | 11:28 am - 11:29 am | BACULIO | Tamayo, Ronnie | , , , Macasandig, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0906-0348176 | n/a |  |  | SP | WI | COS | Sales of Parts |  |  |  | 02/27/2026 | 02/27/2026 11:32 am | 02/27/2026 11:34 am | Findings - sale of parts, Recommendation - , Repair Done - sale of parts Anti-freeze | Com1 | Customer Lounge
CDO-00011343 | 02/27/2026 | 11:36 am - 11:37 am | BACULIO | BRO Refrigeration & Airconditioning Services | , Zone 2 A , Sto. Niño Vill., Baluarte, TAGOLOAN, Misamis Oriental | 0935-4044108 | n/a |  |  | SP | WI | COS | Sales of Parts |  |  |  | 02/27/2026 | 02/27/2026 11:40 pm | 02/27/2026 11:42 pm | Findings - Sale of parts, Recommendation - , Repair Done - Sale of parts Fan motor & PCB Assembly | Com1 | Customer Lounge
CDO-00011344 | 02/27/2026 | 12:07 pm - 12:08 pm | BACULIO | Sulialam, Qatrafaica | , Ituralde Drive, , Talon-talon, ZAMBOANGA CITY, Zamboanga del Sur | 0916-6119338 | KSM-IW10-WCT10M1M32 | Desiree | PRICEWISE MARKETING CORP | INST | DC | C | For Installation | Marjon Cool Ref. & Aircon Service Center Co. |  | 1 | 08/27/2025 | 08/29/2025 09:30 am | 08/29/2025 10:00 am | Findings - LEAKING SA KNOT UPON OPENING THE BOX, Recommendation - FOR INSTALLATION, Repair Done - NOT INSTALLED, NEW UNIT REPLACED INDOOR AND OUTDOOR BY DEALER, SJRCDO#10142 DATED 8-29-25 | Inc-17 | E-mail / DCSJO
CDO-00011345 | 02/27/2026 | 12:12 pm - 12:12 pm | BACULIO | Garcia, Joseph Allan | , Block 6 Lot 8, Alegria Hills, Macasandig, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0915-5089672 | KS-IW15-MCAI12O1M32-I | Jeanelyn | MINDANAO SOLIDMARK | INST | DC | C | For Installation | BRO Refrigeration and Air-conditioning Services |  | 2 | 02/27/2026 | 02/27/2026 10:00 am | 02/27/2026 03:00 pm | Findings - For Installation, Recommendation - Installing aircon split type, Repair Done - Installation done. Unit ok | Com1 | E-mail / DCSJO
CDO-00011346 | 02/27/2026 | 12:19 pm - 12:20 pm | BACULIO | Flerics Appliance Service Center | , , , Port Area Poblacion, ILIGAN CITY, Lanao del Norte | 0917-7161705 | n/a |  |  | SP | WI | COS | Sales of Parts |  |  |  | 02/27/2026 | 02/27/2026 12:23 pm | 02/27/2026 12:25 pm | Findings - Sale of parts, Recommendation - , Repair Done - Sale of parts Remote control | Com1 | Customer Lounge
CDO-00011347 | 02/27/2026 | 03:40 pm - 03:41 pm | BACULIO | Tupag, Joey | , , , SAN VICENTE, BUTUAN CITY (Capital), SURIGAO DEL NORTE | 0938-9144267 | KWD-BLC-2088B | Melanie | VIC IMPERIAL APP | TS | DC | W | Water Pump Malfunctioning | Queenkrist Ref & Aircon Parts & Services | WON'T PUMP | 1 | 02/27/2026 | 02/27/2026 09:00 am | 02/27/2026 10:00 am | Findings - DEFECTIVE MAIN BOARD, Recommendation - NEED TO REPLACE MAIN BOARD , Repair Done - CHECK UP & DIAGNOSE | Inc-06 | E-mail / DCSJO
CDO-00011348 | 02/27/2026 | 03:48 pm - 03:49 pm | BACULIO | Garcia, Joseph Allan | , Block 6 Lot 8, Alegria Hills, Macasandig, CAGAYAN DE ORO CITY (Capital), Misamis Oriental | 0915-5089672 | KSG-IWF-30WFY-8K1M32-I | Jeanelyn | MINDANAO SOLIDMARK | INST | DC | C | For Installation | BRO Refrigeration and Air-conditioning Services |  | 1 | 02/27/2026 | 02/27/2026 10:00 am | 02/27/2026 03:00 pm | Findings - For Installation, Recommendation - Installing aircon split type, Repair Done - Installation done. Unit ok | Com1 | E-mail / DCSJO
CDO-00011349 | 02/27/2026 | 04:17 pm - 04:18 pm | BACULIO | Cane, Irish Mae | , , , SAN VICENTE, BUTUAN CITY (Capital), AGUSAN DEL NORTE | 0992-6004621 | KA-75MCARINV32 | Melanie | MINDANAO SOLIDMARK | TS | DC | W | Not Cooling | Queenkrist Ref & Aircon Parts & Services |  | 1 | 02/27/2026 | 02/27/2026 02:30 pm | 02/27/2026 04:00 pm | Findings - DEFECTIVE HARNESS AND DISPLAY BOARD , Recommendation - NEED TO REPLACE HARNESS AND DISPLAY BOARD , Repair Done - CHECK UP & DIAGNOSE | Com2 | E-mail / DCSJO
CDO-00011350 | 02/28/2026 | 09:46 am - 09:47 am | BACULIO | SK LIbertad | , , , Libertad, KAUSWAGAN, LANAO DEL NORTE | 0963-1309623 | KSG-IWF-30WFY-8K1M32-I | Diane | EMCOR INC. | TS | DC | W | 3C Error Code | Emcor - CDO |  | 1 | 11/25/2025 |  |  | Findings - , Recommendation - , Repair Done - |  | E-mail / DCSJO
Legend:
PAO - Pick-up Admin Orders
DPO - Deliver of Dealer P.O.
DEF - Change Item
FAB - Fabrication of Bracket
CL - Copper Tube Claims
DEL - Delivery of Unit / Accessories
DSM - Dismantling
FPO - Unit for Pull-out
GC - General Cleaning
INST - Installation
MRK - Markings
PV - Project Visit
REP - Replacement as per dealer request
REPL - Replacement of Unit
SCF - Deliver / Pull-out of Scaffolding
SP - Sale of Parts
STU - Start-up
SVEY - Survey
TS - Troubleshooting
DIS - Dispose Parts
PGC - Pumpdown General Cleaning
Summary Per Job Type
JOB CLASS | CC | WI | BI | PO | FD | DC | RD | RM | TP | TOTAL
PAO | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DPO | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DEF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FAB | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CL | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DEL | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DSM | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FPO | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
GC | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 2
INST | 0 | 0 | 0 | 0 | 0 | 96 | 0 | 0 | 0 | 96
MRK | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PV | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REP | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REPL | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SCF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SP | 0 | 19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19
STU | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SVEY | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TS | 0 | 0 | 1 | 0 | 16 | 22 | 0 | 0 | 0 | 39
DIS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PGC | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL | 0 | 19 | 1 | 0 | 17 | 118 | 0 | 1 | 0 | 156