## sjr_masterlist (27)
FROM : | 2026-01-02 | TO : | 02-28-2026
Location Warehouse : | DAVAO BRANCH
User : | All User
SJR No. | SJR Date | SJR Start/End Time | CSR Code | Customer Name | Address | Contact No. | Model | Relayed By | Dealer | Job Class | Job Type | Wty Type | Complaint | Tech Name | SJR Notes | No. of Visit | Promised Date | Date Attended | Date Finished | Repair Done | Job Status | Call Origin
DAV-00005629 | 2026-03-02 | 03:54 pm - 04:00 pm | cordova | Al Jouf Racs Electronics Trading | , , , , DAVAO CITY, Davao Del Sur | 0822-275340 | n/a |  |  | SP | BI | COS | Sales of Parts |  |  |  | 2026-03-02 | 2026-03-02 16:00 | 2026-03-02 16:00 | Findings - , Recommendation - , Repair Done - Sale of Parts | Com1 | Customer Lounge
DAV-00005630 | 2026-03-02 | 04:53 pm - 04:53 pm | cordova | Fusicero, Maribel | B10 L21, Camella Via , Arezzo St, Toscana Subd, DAVAO CITY, Davao del Sur | 0917-7177649 | KSG-IWF-10WFY-8K1M32-I |  | ROBINSONS | INST | DC | C | For Installation | RJJ Horse Power Airconditioning Services | Done install | 1 | 2026-01-02 | 2026-01-02 | 2026-01-02 | Findings - , Recommendation - , Repair Done - INSTALLATION DONE | Com1 | E-mail / DCSJO
DAV-00005631 | 2026-03-02 | 04:54 pm - 04:54 pm | cordova | Amto, Joseph | B3 L15, Segoxia St., Villa Auevida , Indangan, DAVAO CITY, Davao del Sur | 0927-2566879 | KS-IW10-MCAI12O1M32-I |  | ROBINSONS | INST | DC | C | For Installation | RJJ Horse Power Airconditioning Services | Done install | 1 | 01/31/2026 | 01/31/2026 12:00 am | 01/31/2026 12:00 am | Findings - , Recommendation - , Repair Done - Installation Done | Com1 | E-mail / DCSJO
DAV-00005632 | 2026-04-02 | 08:39 am - 08:52 am | cordova | Al Jouf Racs Electronics Trading | , , , , DAVAO CITY, Davao Del Sur | 0822-275340 | n/a |  |  | SP | BI | COS | Sales of Parts |  |  |  | 2026-04-02 | 2026-04-02 09:00 | 2026-04-02 09:00 | Findings - , Recommendation - , Repair Done - Sale of Parts | Com1 | Customer Lounge
DAV-00005633 | 2026-04-02 | 10:53 am - 11:03 am | cordova | Dacut, Edgar Mel | , , , Purok Maunlad Brgy Saravia, CITY OF KORONADAL (Capital), | 0927-6127060 | KA-75MCARINV32 |  | VIC IMPERIAL APP | TS | DC | W | EH03 Error Code | 3King Aircon Installation and Maintenance Services | deflective indoor fan motor not cooling-EH03 | 1 | 02/13/2026 | 2026-04-02 09:00 | 2026-04-02 09:00 | Findings - User error, Recommendation - , Repair Done - User error | NSC12 | E-mail / DCSJO
DAV-00005634 | 2026-04-02 | 11:40 am - 11:42 am | cordova | Dacut, Edgar Mel | , , , Purok Maunlad Brgy Saravia, CITY OF KORONADAL (Capital), | 0927-6127060 | KA-75MCARINV32 |  | VIC IMPERIAL APP | TS | DC | W | EH03 Error Code | 3King Aircon Installation and Maintenance Services | deflective indoor fan motor not cooling-EH03 | 1 | 02/13/2026 | 02/14/2026 11:00 am | 02/14/2026 11:00 am | Findings - Wrong item delivered. The item sent was an outdoor fan motor, but what we actually need is an indoor fan motor. Please correct this, Recommendation - indoor fan motor , Repair Done - Wrong item delivered. The item sent was an outdoor fan motor, but what we actually need is an indoor fan motor. Please correct this | Com1 | E-mail / DCSJO
DAV-00005635 | 2026-04-02 | 02:25 pm - 02:26 pm | cordova | Bolandres Emma | Dalangita St., , Santo Domingo 2,, , Bgry pampanga , DAVAO CITY, Davao Del Sur | 0918-4745947 | KWD-BLC-2088B |  | ROBINSONS | TS | BI | W | Can't Dispense Water | Geffrey Perez, Joselito Salibay Jr. |  | 1 | 2026-04-02 | 2026-04-02 13:00 | 2026-04-02 13:00 | Findings - User error, Recommendation - User error, Repair Done - User error | NSC12 | Customer Lounge
DAV-00005636 | 2026-05-02 | 10:58 am - 10:59 am | cordova | Bolandres Emma | Dalangita St., , Santo Domingo 2,, , Bgry pampanga , DAVAO CITY, Davao Del Sur | 0918-4745947 | KWD-BLC-2088B |  | ROBINSONS | TS | BI | W | Can't Dispense Water | Geffrey Perez, Joselito Salibay Jr. |  | 1 | 2026-04-02 | 2026-05-02 13:00 | 2026-05-02 13:00 | Findings - Defective water pump , Recommendation - for replacement of water pump , Repair Done - done replace water pump unit is okay | Com1 | Customer Lounge
DAV-00005637 | 2026-05-02 | 01:52 pm - 01:53 pm | cordova | Sanchez, Hermojenes | N/A, Purok 2 , N/A, San Jose, NEW CORELLA, Tagum City | 0905-8768207 | KSM-IW10-WCT10M1M32 |  | VIC IMPERIAL APP | TS | DC | W | Not Cooling | REM Cleanair Aircon Services Corporation DAVAO | Defective Indoor Fan | 1 | 2026-07-02 | 2026-07-02 13:00 | 2026-07-02 13:00 | Findings - User error, Recommendation - User error, Repair Done - User error | NSC12 | E-mail / DCSJO
DAV-00005638 | 2026-05-02 | 03:29 pm - 03:30 pm | cordova | Al Jouf Racs Electronics Trading | , , , , DAVAO CITY, Davao Del Sur | 0822-275340 | n/a |  |  | SP | WI | COS | Sales of Parts |  |  | 1 | 2026-05-02 | 2026-05-02 15:00 | 2026-05-02 15:00 | Findings - , Recommendation - , Repair Done - Sale of Parts | Com1 | Customer Lounge
DAV-00005639 | 2026-09-02 | 10:45 am - 10:46 am | cordova | RJJ Horse Power Air-conditioning Services | , , , Bucana Talomo District, DAVAO CITY, Davao Del Sur | 0917-7857-745 | n/a |  |  | SP | WI | COS | Sales of Parts |  |  |  | 2026-09-02 | 2026-09-02 11:00 | 2026-09-02 11:00 | Findings - , Recommendation - , Repair Done - Sale of Parts | Com1 | Customer Lounge
DAV-00005640 | 2026-09-02 | 10:56 am - 10:57 am | cordova | RJJ Horse Power Air-conditioning Services | , , , Bucana Talomo District, DAVAO CITY, Davao Del Sur | 0917-7857-745 | n/a |  |  | SP | WI | COS | Sales of Parts |  |  | 1 | 2026-09-02 | 2026-09-02 11:00 | 2026-09-02 11:00 | Findings - User Error, Recommendation - , Repair Done - User Error | NSC12 | Customer Lounge
DAV-00005641 | 2026-09-02 | 11:12 am - 11:13 am | cordova | RJJ Horse Power Air-conditioning Services | , , , Bucana Talomo District, DAVAO CITY, Davao Del Sur | 0917-7857-745 | n/a |  |  | SP | WI | COS | Sales of Parts |  |  | 1 | 2026-09-02 | 2026-09-02 11:00 | 2026-09-02 11:00 | Findings - , Recommendation - , Repair Done - Sale of Parts | Com1 | Customer Lounge
DAV-00005642 | 2026-09-02 | 02:53 pm - 03:08 pm | cordova | Sanchez, Hermojenes | N/A, Purok 2 , N/A, San Jose, NEW CORELLA, Tagum City | 0905-8768207 | KSM-IW10-WCT10M1M32 |  | VIC IMPERIAL APP | TS | TP | W | Not Cooling | REM Cleanair Aircon Services Corporation DAVAO |  | 1 | 2026-09-02 | 2026-09-02 13:00 | 2026-09-02 13:00 | Findings - Deffective indoor fan , Recommendation - for replace fan motor, Repair Done - Done replace Indoor Fan Motor | Com1 | E-mail / DCSJO
DAV-00005643 | 2026-10-02 | 11:17 am - 01:04 pm | cordova | Laniba, Bryan Vonn | Door 2, STC building , Rcastillo Street ,, Agdao , , DAVAO CITY, Davao Del Sur | 0915-4928814 | n/a |  |  | GC | FD | C | For GC | RJJ Horse Power Airconditioning Services |  | 1 | 2026-11-02 | 2026-11-02 13:00 | 2026-11-02 14:00 | Findings - Dirty Unit, Recommendation - Gen. Cleaning, Repair Done - General Cleaning | Inc-03 | Mobile Hotline - SMS & Call
DAV-00005644 | 2026-10-02 | 01:48 pm - 01:51 pm | cordova | N/A JONES, MELODINA | N/A, BLOCK.2 LOT. 25 RODE ST., ANIKA HOMES, VISAYAN VILLAGE, CITY OF TAGUM (Capital), DAVAO DEL NORTE | 0951-8952136 | KA-100MCARINV32 |  | SUB-Vic Imperial- C&C Appliance Center | TS | DC | W | Not Cooling | Fabros Aircon and Refrigeration Services | PARTS: INDOOR FAN MOTOR | 1 | 02/25/2026 | 02/26/2026 08:30 am | 02/26/2026 10:00 am | Findings - USER ERROR, Recommendation - USER ERROR, Repair Done - USER ERROR | NSC12 | E-mail / DCSJO
DAV-00005645 | 2026-10-02 | 04:02 pm - 04:04 pm | cordova | CASAS, JOEY | ., PRK 6-A, CORNER NOGRALES, BUCANA, DAVAO CITY, DAVAO DEL SUR | 0963-5524155 | KEA-50BLRDCA |  | EMCOR INC. | TS | DC | W | Dead Set | Emcor - Davao | replace PCB assembly board |  | 2026-11-02 | 2026-11-02 13:00 | 2026-11-02 13:00 | Findings - Upon checking with EMCOR Tech, we requested a power supply board; however, they advised that the unit is still not functioning and remains in a dead set condition. , Recommendation - The unit will be pulled out and brought to Davao Tech for a second opinion., Repair Done - under repair and observation under davao tech | Inc-01 | E-mail / DCSJO
DAV-00005646 | 2026-11-02 | 09:37 am - 09:38 am | cordova | RJJ Horse Power Air-conditioning Services | , , , Bucana Talomo District, DAVAO CITY, Davao Del Sur | 0917-7857-745 | KSM-10MB1INV |  |  | SP | WI | COS | Sales of Parts |  |  |  | 2026-11-02 | 2026-11-02 08:00 | 2026-11-02 08:00 | Findings - , Recommendation - , Repair Done - Sale of Parts | Com1 | Customer Lounge
DAV-00005647 | 2026-11-02 | 04:16 pm - 04:17 pm | cordova | Al Jouf Racs Electronics Trading | , , , , DAVAO CITY, Davao Del Sur | 0822-275340 | KSM-IW10-9L1M-I |  |  | SP | WI | COS | Sales of Parts |  |  |  | 2026-11-02 | 2026-11-02 13:00 | 2026-11-02 13:00 | Findings - , Recommendation - , Repair Done - Sale of Parts | Com1 | Customer Lounge
DAV-00005648 | 2026-12-02 | 09:25 am - 09:28 am | cordova | CASAS, JOEY | ., PRK 6-A, CORNER NOGRALES, BUCANA, DAVAO CITY, DAVAO DEL SUR | 0963-5524155 | KEA-50BLRDCA |  | EMCOR INC. | TS | BI | W | Dead Set | Geffrey Perez, Joselito Salibay Jr. | Upon checking with EMCOR Tech, we requested a power supply board; however, they advised that the unit is still not functioning and remains in a dead set condition. The unit will be pulled out and brought to Davao Tech for a second opinion | 1 | 2026-12-02 | 02/13/2026 01:00 pm | 02/13/2026 01:00 pm | Findings - Defective pcb board , Recommendation - for replacement pcb board , Repair Done - done replace pcb board unit is okay | Com1 | Customer Lounge
DAV-00005649 | 2026-12-02 | 09:58 am - 09:59 am | cordova | LJP Refrigeration and Airconditioning | , , , , DAVAO CITY, Davao Del Sur | 0908-6078516 | n/a |  |  | SP | WI | COS | Sales of Parts |  |  |  | 2026-12-02 | 2026-12-02 10:00 | 2026-12-02 10:00 | Findings - , Recommendation - , Repair Done - Sale of Parts | Com1 | Customer Lounge
DAV-00005650 | 2026-12-02 | 01:40 pm - 01:41 pm | cordova | Ancog, Jhon Ray | Vision , Lizada, Toril, N/a, DAVAO CITY, Davao del Sur | 0905-5101020 | KS-IW10-MCAI12O1M32-I |  | ROBINSONS | INST | DC | C | For Installation | RJJ Horse Power Airconditioning Services | Done install | 1 | 2026-11-02 | 2026-11-02 | 2026-11-02 | Findings - , Recommendation - For Installation, Repair Done - Installation Done | Com1 | E-mail / DCSJO
DAV-00005651 | 02/13/2026 | 01:51 pm - 01:58 pm | cordova | ORCULLO, ROGELIO A | P-7 CEBULANO, P-7 CEBULANO, P-7 CEBULANO, CEBULANO, CARMEN, DAVAO DEL NORTE | 0938-1559677 | KEA-25BWR |  | EMCOR INC. | TS | DC | W | Not Cooling | Emcor - Davao | The unit has a defective fan motor. During the last service conducted by the EMCOR technician, the mainboard and pump motor were replaced. However, after a few days, the customer reported that the unit was still not functioning properly. They are now requesting the replacement of the fan motor. | 1 | 02/16/2026 | 02/19/2026 10:00 am | 02/19/2026 10:00 am | Findings - deflective fan motor for replacement of the fan motor, Recommendation - request for pcb board , Repair Done - Upon repair and replacement of the fan motor, the unit is still not functioning properly. According to the Emcor technician, the replaced PCB is not working correctly. They advised requesting another PCB board since the unit is still not operational | Com1 | E-mail / DCSJO
DAV-00005652 | 02/13/2026 | 02:08 pm - 02:26 pm | cordova | BUNO, RORENE B | 2524, PUROK - 6 SAN VICENTE, PUROK - 6 SAN VICENTE, PUROK - 6 SAN VICENTE, CITY OF PANABO, DAVAO DEL NORTE | 0921-3357926 | KAM-55CMC32 |  | EMCOR INC. | TS | DC | W | Insufficient Cooling | Emcor - Davao | defective compressor | 1 | 02/18/2026 | 01/28/2026 12:00 am | 02/16/2026 02:00 pm | Findings - SLOW COOLING , Recommendation - FOR REPLACE COMPRESSOR MOTOR, Repair Done - FOR REQUEST COMPRESSOR | Com1 | E-mail / DCSJO
DAV-00005653 | 02/14/2026 | 08:22 am - 08:41 am | cordova | Kolin Philippines Int. Inc.,-DAVAO | , Prk 9 Calamansi St, Juna Subd,, Matina, DAVAO CITY, Davao Del Sur | 0917-5321439 | KLM-IS40-3D1M |  | KMI | GC | RM | L | Not Cooling | Geffrey Perez, Joselito Salibay Jr. | dirty unit for cleaning | 1 | 02/14/2026 | 02/14/2026 01:00 pm | 02/14/2026 01:00 pm | Findings - Dirty Units, Recommendation - For General Cleaning , Repair Done - Done General Cleaning | Com1 | Inter-office
DAV-00005654 | 02/14/2026 | 08:57 am - 08:58 am | cordova | Milgar, Jamnard | Habitat, Blk 17 Lot6, Habitat Phase, Habitat, GENERAL SANTOS CITY (DADIANGAS), REGION 12 - SOCCSKSARGEN | 0932-5222512 | KCB-BLC-8859T |  | ROBINSONS | TS | DC | W | Can't Dispense Water | 3King Aircon Installation and Maintenance Services | CUSTOMER WANT THE UNIT REPLACEMENT | 4 | 02/13/2026 | 02/13/2026 01:00 pm | 02/13/2026 01:00 pm | Findings - LEAKING, Recommendation - PARTS REPLACEMENT, BUT CUSTOMER INSIST FOR NEW UNIT REPLACEMENT, Repair Done - DONE CHECK UP PARTS REPLACEMENT, BUT CUSTOMER INSIST FOR NEW UNIT REPLACEMENT | Com2 | E-mail / DCSJO
DAV-00005655 | 02/14/2026 | 10:21 am - 10:22 am | cordova | SmartAire Aircon Specialist | , 12 Mansanitas St,, , , GENERAL SANTOS CITY (DADIANGAS), South Cotabato | 0995-0909622 | KAG-100WCINV |  |  | SP | WI | COS | Sales of Parts |  |  |  | 02/14/2026 | 02/14/2026 10:00 am | 02/14/2026 10:00 am | Findings - , Recommendation - , Repair Done - Sale of Parts | Com1 | Customer Lounge
DAV-00005656 | 02/14/2026 | 10:45 am - 10:47 am | cordova | Lebosada, Cleofo Mongad | UM Site , Gravahan , Matina , , DAVAO CITY, Davao Del Sur | 0932-6695704 | KAM-200DRC32 |  | VIC IMPERIAL APP | TS | DC | W | Not Cooling | RJJ Horse Power Airconditioning Services | defective evaporator | 1 | 02/18/2026 | 02/18/2026 01:00 pm | 02/18/2026 01:00 pm | Findings - Replace evaporator , Recommendation - defective evaporator , Repair Done - done replace evaporator unit is okay | Com1 | E-mail / DCSJO
DAV-00005657 | 02/14/2026 | 11:58 am - 11:59 am | cordova | Emcor Digos | , 1st Crumb Street, Zone 1, , , CITY OF DIGOS (Capital), Davao Del Sur | 0926-1493435 | KSM-IW10-9L1M-I |  |  | SP | WI | COS | Sales of Parts |  |  | 1 | 02/14/2026 | 02/14/2026 01:00 pm | 02/14/2026 01:00 pm | Findings - , Recommendation - , Repair Done - Sale of Parts | Com1 | Customer Lounge
DAV-00005658 | 02/14/2026 | 01:56 pm - 01:57 pm | cordova | Arado, Maris | Kalubin-an, daliao, N/a, Toril, DAVAO CITY, Davao del Sur | 0970-8497397 | KS-IW10-MCAI12O1M32-I |  | ROBINSONS | INST | DC | C | For Installation | RJJ Horse Power Airconditioning Services | Done Install | 1 | 02/14/2026 | 02/14/2026 12:00 am | 02/14/2026 12:00 am | Findings - Installation , Recommendation - For Installation, Repair Done - Installation Done | Com1 | E-mail / DCSJO
DAV-00005659 | 02/14/2026 | 01:56 pm - 02:02 pm | cordova | CARDEÑO, EMILY OROS | BALAKAYO, BALAKAYO, OLYMPOG, OLYMPOG, GENERAL SANTOS CITY (DADIANGAS), SOUTH COTABATO | 0927-4938327 | KWD-BLC-2088B |  | FIESTA APPLIANCE CENTER | TS | DC | W | AM/FM Not Functioning | 3King Aircon Installation and Maintenance Services | as per check-up na diagnose ni Technician na dead dset yung control board ng Unit | 1 | 2026-11-03 | 02/13/2026 12:00 am |  | Findings - DEFECTIVE CONTROL BOARD, Recommendation - NEED NEW PARTS FOR REPAIR, Repair Done - |  | E-mail / DCSJO
DAV-00005660 | 02/14/2026 | 01:56 pm - 02:17 pm | cordova | ANGEL, ALEMAR | PRK. MABIGA BRGY. LUCATAN, TARRAGONA, DAVAO ORIENTAL, PRK. MABIGA BRGY. LUCATAN, TARRAGONA, DAVAO ORIENTAL, PRK. MABIGA BRGY. LUCATAN, TARRAGONA, DAVAO ORIENTAL, LUCATAN, TARRAGONA, DAVAO ORIENTAL | 0946-7389199 | KEA-25BWR |  | EMCOR INC. | TS | DC | W | Auto On / Off | Emcor - Davao | THE PCB IS 20UDC POWER TO THE MOTOR. FOR REPLACE PCB AND FAN MOTOR -- mati branch | 1 | 03/13/2026 |  |  | Findings - , Recommendation - , Repair Done - |  | E-mail / DCSJO
DAV-00005661 | 02/19/2026 | 08:40 am - 08:41 am | cordova | Tejor, Daisy Marie | Greenland Subd., Greenland Subd., Dumoy, Toril, DAVAO CITY, Davao del Sur | 0961-4109117 | KS-IW10-MCAI12O1M32-I |  | ROBINSONS | INST | DC | C | For Installation | RJJ Horse Power Airconditioning Services | INSTALLATION DONE | 1 | 02/16/2026 | 02/16/2026 09:00 am | 02/16/2026 02:00 pm | Findings - INSTALLATION, Recommendation - GENERAL CLEANING EVERY 3 MONTHS, Repair Done - INSTALLED | Com1 | E-mail / DCSJO
DAV-00005662 | 02/19/2026 | 08:47 am - 08:50 am | cordova | Dojo, Rhe Ann | Blk 2 Lot 36, Mariveles St, Bermudez Subd, Apokon, CITY OF TAGUM (Capital), Davao del Norte | 0930-0540228 | KS-IW15-MCAI12O1M32-I |  | ROBINSONS | INST | DC | C | For Installation | RJJ Horse Power Airconditioning Services | Done install | 1 | 02/14/2026 | 02/14/2026 08:00 am | 02/14/2026 12:00 pm | Findings - INSTALLATION, Recommendation - GENERAL CLEANING EVERY 3 MONTHS, Repair Done - INSTALLED | Com1 | E-mail / DCSJO
DAV-00005663 | 02/19/2026 | 08:55 am - 08:56 am | cordova | Dacillo, John Mark | Prk 9, Southbay, Brgy Lapu-Lapu, Agdao, DAVAO CITY, Davao del Sur | 0921-9342322 | KS-IW10-MCAI12O1M32-I |  | ROBINSONS | INST | DC | C | For Installation | RJJ Horse Power Airconditioning Services | Done Install | 1 | 02/14/2026 | 02/14/2026 08:00 am | 02/14/2026 12:00 pm | Findings - INSTALLATION, Recommendation - GENERAL CLEANING EVERY 3 MONTHS, Repair Done - INSTALLED | Com1 | E-mail / DCSJO
DAV-00005664 | 02/19/2026 | 09:13 am - 09:16 am | cordova | Ailyn Tajo Tajo, Ailyn Leopoldo | Purok 6, Purok 6, Purok 6, Damilag, SAN FRANCISCO, Agusan Del Sur | 0993-9296273 | KSG-IWF-10WFY-8K1M32-I |  | ROBINSONS | INST | DC | C | For Installation | LJP Refrigeration and Airconditioning Services |  | 1 | 2026-03-01 | 2026-03-01 | 2026-03-01 | Findings - For Installation, Recommendation - , Repair Done - Installation Done | Com1 | E-mail / DCSJO
DAV-00005665 | 02/19/2026 | 09:13 am - 09:16 am | cordova | Wenneilyn Ebo Ebo, Wenneilyn Leopoldo | Purok 5a, Purok 5a, Purok 5a, Karaos, SAN FRANCISCO, Agusan Del Sur | 0963-3570138 | KS-IW10-MCAI12O1M32-I |  | ROBINSONS | INST | DC | C | For Installation | LJP Refrigeration and Airconditioning Services |  | 1 | 01/30/2026 | 01/30/2026 12:00 am | 01/30/2026 12:00 am | Findings - For Installation, Recommendation - , Repair Done - Installation Done | Com1 | E-mail / DCSJO
DAV-00005666 | 02/19/2026 | 09:14 am - 09:17 am | cordova | Andy Jun Escolaro Escolaro, Andy Jun Leopoldo | P4, P4, P4, Bitoon, HINATUAN, Surigao Del Sur | 0995-3233618 | KSG-IWF-10WFY-8K1M32-I |  | ROBINSONS | INST | DC | C | For Installation | LJP Refrigeration and Airconditioning Services |  | 1 | 02/17/2026 | 02/17/2026 12:00 am | 02/17/2026 12:00 am | Findings - For Installation, Recommendation - , Repair Done - Installation Done | Com1 | E-mail / DCSJO
DAV-00005667 | 02/19/2026 | 10:03 am - 10:03 am | cordova | Bompat, Rumark Leopoldo | Purok 4, L6, RDE Eco Homes, Patin-ay, PROSPERIDAD (Capital), Agusan del Sur | 0943-4992649 | KSG-IWF-15WFY-8K1M32-I |  | ROBINSONS | INST | DC | C | For Installation | LJP Refrigeration and Airconditioning Services |  | 1 | 01/27/2026 | 01/30/2026 12:00 am | 01/30/2026 12:00 am | Findings - For Installation, Recommendation - , Repair Done - Installation Done | Com1 | E-mail / DCSJO
DAV-00005668 | 02/19/2026 | 10:07 am - 10:07 am | cordova | Santos, Chiara Isobel | Blk 17 Lot 6 Phase 1 , Marigold St, Esmeralda Residences, Rattan Apokon , CITY OF TAGUM (Capital), Davao del Norte | 0961-4488915 | KS-IW20-MCAI12O1M32-I |  | ROBINSONS | INST | DC | C | For Installation | RJJ Horse Power Airconditioning Services | Done Install | 1 | 02/14/2026 | 02/14/2026 01:00 pm | 02/14/2026 05:00 pm | Findings - INSTALLATION, Recommendation - GENERAL CLEANING EVERY 3 MONTHS, Repair Done - INSTALLED | Com1 | E-mail / DCSJO
DAV-00005669 | 02/19/2026 | 02:42 pm - 02:42 pm | cordova | RJJ Horse Power Air-conditioning Services | , , , Bucana Talomo District, DAVAO CITY, Davao Del Sur | 0917-7857-745 | KFM-400GF1INV |  |  | SP | WI | COS | Sales of Parts |  |  | 1 | 02/19/2026 | 02/19/2026 03:00 pm | 02/19/2026 03:00 pm | Findings - , Recommendation - , Repair Done - Sale of Parts | Com1 | Customer Lounge
DAV-00005670 | 02/20/2026 | 09:39 am - 11:14 am | cordova | Asian Home Davao | 3/F Abreeza Mall,, JP Laurel Ave.,, , Bajada, Davao City., DAVAO CITY, Davao Del Sur | 0923-163011 | KCF-10TRD |  |  | REP | TP | W | Others | Geffrey Perez, Joselito Salibay Jr. | Upper portion of the tripod stand is defective stock unit | 1 | 02/28/2026 | 02/24/2026 02:50 pm | 02/24/2026 03:20 pm | Findings - defective power supply wire of the tripod , Recommendation - replace new upper dc power supply wire of the tripod , Repair Done - done replace new upper dc power supply wire of the tripod | Com1 | Dealer Service Request - Mobile
DAV-00005671 | 02/20/2026 | 01:25 pm - 01:26 pm | cordova | DYPINGCO, EDWARD JOSEPH | 43, N/A, MARIN SUBDIVISION, CITY HEIGHTS, GENERAL SANTOS CITY (DADIANGAS), SOUTH COTABATO | 0991-8157650 | KAG-100WCINV |  | FIESTA APPLIANCE CENTER | TS | DC | P | H6 Error Code | Smartaire Aircon Specialist | defective compressor | 1 | 02/28/2026 | 02/27/2026 01:00 pm | 02/27/2026 01:00 pm | Findings - Defective Compressor , Recommendation - for replacement compressor , Repair Done - done replace unit is okay | Com1 | E-mail / DCSJO
DAV-00005672 | 02/20/2026 | 03:48 pm - 04:42 pm | cordova | Maranan , Irish | One Oasis Davao Condominium , Building 6 unit 6434, Eco west Drive Ecoland , , DAVAO CITY, Davao Del Sur | 0947-1591279 | KAG-145WCINV |  |  | TS | FD | C | Others | RJJ Horse Power Airconditioning Services | TS/As per customer complaint :Our unit has a defective control panel. The temperature display is blacked out and no temperature readings are visible. | 1 | 02/23/2026 | 02/24/2026 09:30 am | 02/24/2026 10:30 am | Findings - Defective display board, Recommendation - Replace display board, Repair Done - Done Check up | Com2 | Mobile Hotline - SMS & Call
DAV-00005673 | 02/23/2026 | 10:11 am - 10:13 am | cordova | Lopez, Elvie | B9 Lot 2 PH#3 , Sebastian St,. , La Verna Hills Subd , , DAVAO CITY, Davao Del Sur | 0919-8735258 | KWD-BLC-3088S |  | METRO APPLIANCE | TS | BI | W | Check - Up Only | Geffrey Perez, Joselito Salibay Jr. |  | 1 | 02/23/2026 | 02/23/2026 10:00 am | 02/23/2026 10:00 am | Findings - Not Cooling, Recommendation - for check up unit , Repair Done - Loose wiring fixed Unit is okay | Com1 | Customer Lounge
DAV-00005674 | 02/23/2026 | 10:49 am - 10:49 am | cordova | ROJO, VERNICE S. | PUROK 5, CROSSING RUBBER, CROSSING RUBBER, CROSSING RUBBER, TUPI, SOUTH COTABATO | 0948-5061506 | KSM-IW10-WCT10M1M32 |  | EMCOR INC. | INST | DC | C | For Installation | Emcor - Davao |  | 2 | 10/14/2025 | 10/14/2025 12:00 am | 10/14/2025 12:00 am | Findings - INSTALLATION, Recommendation - FOR INSTALLATION, Repair Done - DONE INSTALLATION | Com1 | E-mail / DCSJO
DAV-00005675 | 02/24/2026 | 08:22 am - 08:23 am | cordova | Escolaro, Andy Jun | N/A, N/A, Purok Flordelis, Purok Flordelis, SAN AGUSTIN, Surigao Del Sur | 0910-3327197 | KSG-IWF-10WFY-8K1M32-I |  | ROBINSONS | INST | DC | C | For Installation | LJP Refrigeration and Airconditioning Services |  | 1 | 11/25/2025 | 11/25/2025 12:00 am | 11/25/2025 12:00 am | Findings - For Installation, Recommendation - , Repair Done - Installation Done | Com1 | E-mail / DCSJO
DAV-00005676 | 02/24/2026 | 10:07 am - 10:07 am | cordova | Al Jouf Racs Electronics Trading | , , , , DAVAO CITY, Davao Del Sur | 0822-275340 | KSM-IW20-4F1M |  |  | SP | WI | COS | Sales of Parts |  |  | 1 | 02/24/2026 | 02/24/2026 10:00 am | 02/24/2026 10:00 am | Findings - , Recommendation - , Repair Done - Sale of Parts | Com1 | Customer Lounge
DAV-00005677 | 02/25/2026 | 08:08 am - 08:20 am | cordova | ALISEN, VINCENT NICOLE L. | PRK ML QUEZON, PRK ML QUEZON, PRK ML QUEZON, SAN JOSE, CITY OF KORONADAL (Capital), SOUTH COTABATO | 0994-3685627 | KSM-IW20-WCT10M1M32 |  | EMCOR INC. | INST | DC | C | For Installation | Emcor - Davao | AIRCON INSTALLATION | 2 | 2025-12-11 | 2025-12-11 | 2025-12-11 | Findings - INSTALLATION, Recommendation - FOR INSTALLATION, Repair Done - DONE INSTALLATION | Com1 | E-mail / DCSJO
DAV-00005678 | 02/25/2026 | 08:08 am - 08:20 am | cordova | EMCOR - MARBEL CERVEZA, CHARIZZA MARIEBELLE S S | CROSSING MALAYA, CROSSING MALAYA, CROSSING MALAYA, REYES, BANGA, SOUTH COTABATO | 0908-2536931 | KS-IW15-MCAI12O1M32-I |  | EMCOR INC. | INST | DC | C | For Installation | Emcor - Davao | IRCON INSTALLATION | 2 | 12/22/2025 | 12/22/2025 12:00 am | 12/22/2025 12:00 am | Findings - INSTALLATION, Recommendation - FOR INSTALLATION, Repair Done - DONE INSTALLATION | Com1 | E-mail / DCSJO
DAV-00005679 | 02/25/2026 | 01:34 pm - 01:35 pm | cordova | RJJ Horse Power Air-conditioning Services | , , , Bucana Talomo District, DAVAO CITY, Davao Del Sur | 0917-7857-745 | n/a |  |  | SP | WI | COS | Sales of Parts |  |  | 1 | 02/25/2026 | 02/25/2026 01:00 pm | 02/25/2026 01:00 pm | Findings - , Recommendation - , Repair Done - Sale of Parts | Com1 | Customer Lounge
DAV-00005680 | 02/25/2026 | 03:37 pm - 03:38 pm | cordova | Ferrer, Kurt | Chestnut, St., Phase 7, , , DAVAO CITY, Davao Del Sur | 0917-3051202 | KAM-55CMC32 |  |  | TS | BI | C | Not Cooling | Geffrey Perez, Joselito Salibay Jr. |  | 1 | 02/23/2026 | 02/25/2026 04:00 pm | 02/25/2026 04:00 pm | Findings - defective fan motor , Recommendation - replace fan motor , Repair Done - done replace fan motor | Com1 | Customer Lounge
DAV-00005681 | 02/26/2026 | 01:40 pm - 01:41 pm | cordova | Sumalinog, Fernando Jr. | 2 storey. boarding house, Purok 33,Agro Compound, , Barangay 76-A Bucana, DAVAO CITY, Davao Del Sur | 0994-9716880 | KA-100MCARINV32 |  | ABENSON INC. | TS | FD | W | Noisy | Moana Ref & Aircon Service Center |  | 1 | 02/27/2026 | 02/27/2026 01:00 pm | 02/27/2026 01:35 pm | Findings - NORMAL SOUND, Recommendation - NORMAL SOUND ONLY, Repair Done - NOTHING TO REPAIR | Com1 | Social Media
DAV-00005682 | 02/26/2026 | 01:55 pm - 01:55 pm | cordova | ECV Office Supplies | 68 Villamor St., Brgy 15-B , , , , DAVAO CITY, Davao Del Sur | 0907-4418109 | KSM-25MB1INV |  |  | TS | FD | C | 3C Error Code | Moana Ref & Aircon Service Center |  | 1 | 02/28/2026 | 03/28/2026 01:00 pm | 03/28/2026 01:50 pm | Findings - AIRCON NOT FUNCTION , Recommendation - CHECK THE CIRCUIT BREAKER , Repair Done - DONE RESET BREAKER | Com1 | Mobile Hotline - SMS & Call
DAV-00005683 | 02/26/2026 | 03:28 pm - 03:29 pm | cordova | N/A JONES, MELODINA | N/A, BLOCK.2 LOT. 25 RODE ST., ANIKA HOMES, VISAYAN VILLAGE, CITY OF TAGUM (Capital), DAVAO DEL NORTE | 0951-8952136 | KA-100MCARINV32 |  | SUB-Vic Imperial- C&C Appliance Center | TS | DC | W | Not Cooling | Fabros Aircon and Refrigeration Services |  | 1 | 02/25/2026 | 02/26/2026 08:30 am | 02/26/2026 10:00 am | Findings - INDOOR FAN MOTOR NOT WORKING, , Recommendation - FOR REPLACEMENT FAN MOTOR, , Repair Done - DONE REPAIR - UNIT PROPERLY WORKING | Com1 | E-mail / DCSJO
DAV-00005684 | 02/26/2026 | 04:18 pm - 04:19 pm | cordova | RRSR Electronics Sales & Services | , , Mabini Exztension Zone III Digos City Davao Del Su, , CITY OF DIGOS (Capital), Davao Del Sur | 0926-8592818 | KWD-BLC-2088B |  |  | SP | WI | COS | Sales of Parts |  |  |  | 02/26/2026 | 02/26/2026 04:00 pm | 02/26/2026 04:00 pm | Findings - , Recommendation - , Repair Done - Sale of Parts | Com1 | Customer Lounge
DAV-00005685 | 02/27/2026 | 11:31 am - 11:34 am | cordova | Dacut, Edgar Mel | , , , Purok Maunlad Brgy Saravia, CITY OF KORONADAL (Capital), | 0927-6127060 | KA-75MCARINV32 |  | VIC IMPERIAL APP | TS | DC | W | EH03 Error Code | 3King Aircon Installation and Maintenance Services |  |  | 2026-10-03 |  |  |  |  | E-mail / DCSJO
DAV-00005686 | 02/27/2026 | 01:47 pm - 01:48 pm | cordova | Melgene Aircon Marketing and Services | , , Park Masagana Morales Koronadal City South Cotabato, , CITY OF KORONADAL (Capital), Davao Del Sur | 0956-6746769 | KSM-IW20-4F1M |  |  | SP | WI | COS | Sales of Parts |  |  |  | 02/27/2026 | 02/27/2026 01:00 pm | 02/27/2026 01:00 pm | Findings - , Recommendation - , Repair Done - Sale of Parts | Com1 | Customer Lounge
DAV-00005687 | 02/27/2026 | 02:37 pm - 02:45 pm | cordova | Al Jouf Racs Electronics Trading | , , , , DAVAO CITY, Davao Del Sur | 0822-275340 | KAG-110RSINV |  |  | SP | WI | COS | Sales of Parts |  |  | 1 | 02/27/2026 | 02/27/2026 02:00 pm | 02/27/2026 02:00 pm | Findings - , Recommendation - , Repair Done - Sale of Parts | Com1 | Customer Lounge
DAV-00005688 | 02/28/2026 | 11:13 am - 11:15 am | cordova | Cirunay, Sonny Paul | lock 5, Lot 21,, Mt. Apo St., Alta Monte , Residential Estates, Tigatto, Davao City, , DAVAO CITY, Davao Del Sur | 0919-3263614 | KWD-BLC-2088B |  | ASIAN HOMES | TS | FD | W | Can't Dispense Water | Geffrey Perez, Joselito Salibay Jr. |  |  | 2026-02-03 |  |  |  |  | Social Media
DAV-00005689 | 02/28/2026 | 11:16 am - 11:16 am | cordova | Moana Ref & Aircon Service Center | Blk.36 Lot 1, Phase 8-C Mt. Sembrano , St., Deca Homes, Mintal , DAVAO CITY, DAVAO DEL SUR |  | KFS-10BMINV |  |  | SP | WI | COS | Sales of Parts |  |  |  | 02/28/2026 | 02/28/2026 11:00 am | 02/28/2026 11:00 am | Findings - , Recommendation - , Repair Done - Sale of Parts | Com1 | Customer Lounge
DAV-00005690 | 02/28/2026 | 11:44 am - 11:45 am | cordova | Emata, Charlyn | Blk 2 Lot 2, Makabayan Village, San Isidro, N/a, CITY OF TAGUM (Capital), Davao del Norte | 0915-1759030 | KS-IW15-MCAI12O1M32-I |  | ROBINSONS | INST | DC | C | For Installation | RJJ Horse Power Airconditioning Services | Done Install | 1 | 02/23/2026 | 02/23/2026 12:00 am | 02/23/2026 12:00 am | Findings - , Recommendation - Installation, Repair Done - Installation Done | Com1 | E-mail / DCSJO
Legend:
PAO - Pick-up Admin Orders
DPO - Deliver of Dealer P.O.
DEF - Change Item
FAB - Fabrication of Bracket
CL - Copper Tube Claims
DEL - Delivery of Unit / Accessories
DSM - Dismantling
FPO - Unit for Pull-out
GC - General Cleaning
INST - Installation
MRK - Markings
PV - Project Visit
REP - Replacement as per dealer request
REPL - Replacement of Unit
SCF - Deliver / Pull-out of Scaffolding
SP - Sale of Parts
STU - Start-up
SVEY - Survey
TS - Troubleshooting
DIS - Dispose Parts
PGC - Pumpdown General Cleaning
Summary Per Job Type
JOB CLASS | CC | WI | BI | PO | FD | DC | RD | RM | TP | TOTAL
PAO | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DPO | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DEF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FAB | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CL | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DEL | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DSM | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FPO | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
GC | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 2
INST | 0 | 0 | 0 | 0 | 0 | 17 | 0 | 0 | 0 | 17
MRK | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PV | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REP | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
REPL | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SCF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SP | 0 | 16 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 18
STU | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SVEY | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TS | 0 | 0 | 5 | 0 | 4 | 14 | 0 | 0 | 1 | 24
DIS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PGC | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL | 0 | 16 | 7 | 0 | 5 | 31 | 0 | 1 | 2 | 62