## sjr_masterlist (20)
FROM : | 2026-01-01 | TO : | 01-31-2026
Location Warehouse : | DAVAO BRANCH
User : | All User
SJR No. | SJR Date | SJR Start/End Time | CSR Code | Customer Name | Address | Contact No. | Model | Relayed By | Dealer | Job Class | Job Type | Wty Type | Complaint | Tech Name | SJR Notes | No. of Visit | Promised Date | Date Attended | Date Finished | Repair Done | Job Status | Call Origin
DAV-00005546 | 2026-02-01 | 04:23 pm - 04:34 pm | cordova | Rulona , Allan | Blk64 Lot 23 , , , Rosalina 3 Baliok , DAVAO CITY, Davao Del Sur | 0965-8851626 | KAG-75WCINV |  | VIC IMPERIAL APP | TS | FD | W | Not Cooling | Geffrey Perez, Joselito Salibay Jr. | Due to not cooling customer demand for replacement of unit refuse to repair | 1 | 2026-05-01 | 2026-05-01 10:00 | 2026-05-01 10:20 | Findings - suffocated area, Recommendation - Transfer to another location that is not a suffocated area, Repair Done - Unit is okay | Com2 | Mobile Hotline - SMS & Call
DAV-00005547 | 2026-02-01 | 04:45 pm - 04:47 pm | cordova | Yaun , Jeoffrey | , , , Toril , ISLAND GARDEN CITY OF SAMAL, Davao Del Sur | 0917-5803271 | KWD-BLC-3088S |  | ROBINSONS | TS | BI | W | Not Cooling | Geffrey Perez, Joselito Salibay Jr. | not permanent cooling | 1 | 2026-03-01 | 2026-05-01 13:00 | 2026-05-01 14:00 | Findings - check up , Recommendation - no problem , Repair Done - normal function cool unit is okay | Com2 | Customer Lounge
DAV-00005548 | 2026-05-01 | 08:37 am - 08:39 am | cordova | ORENDAIN, JETHER | #11 , PC RESERVATION, CAMP FERMMIN G. LIRA, DADIANGAS WEST, GENERAL SANTOS CITY (DADIANGAS), SOUTH COTABATO | 0999-9866651 | KWD-BLC-2088B |  | ROBINSONS | TS | DC | L | Dented Cabinet | 3King Aircon Installation and Maintenance Services | UNIT COMPONENTS AND FUNCTIONS IS IN GOOD CONDITION ¦CUSTOMERS CONCERN IS THAT THE UNIT HAS A DENTED CABINET FRAME WHERE THE COMPRESSOR IS LOCATED. UNIT COMPRESSOR IS RUNNING FOR TOO LONG ACCORDNING TO CUSTOMERS OBSERVATION UNIT UNDER 7 DAYS | 1 | 12/29/2025 | 12/29/2025 12:00 am | 12/29/2025 12:00 am | Findings - DENTED UNIT, Recommendation - , Repair Done - Done Check up and Diagnosis, Customer insist for change unit | Com2 | E-mail / DCSJO
DAV-00005549 | 2026-05-01 | 11:00 am - 11:01 am | cordova | RJJ Horse Power Air-conditioning Services | , , , Bucana Talomo District, DAVAO CITY, Davao Del Sur | 0917-7857-745 | n/a |  |  | SP | WI | COS | Sales of Parts |  |  |  | 2026-05-01 | 2026-05-01 10:00 | 2026-05-01 10:00 | Findings - , Recommendation - , Repair Done - Sale of Parts | Com1 | Customer Lounge
DAV-00005550 | 2026-05-01 | 12:31 pm - 12:32 pm | cordova | RJJ Horse Power Air-conditioning Services | , , , Bucana Talomo District, DAVAO CITY, Davao Del Sur | 0917-7857-745 | n/a |  |  | SP | WI | COS | Sales of Parts |  |  | 1 | 2026-05-01 | 2026-05-01 10:00 | 2026-05-01 10:00 | Findings - , Recommendation - , Repair Done - Sale of Parts | Com1 | Customer Lounge
DAV-00005551 | 2026-05-01 | 01:32 pm - 01:33 pm | cordova | Manalangsang , Karlo | , 165 Mars St,., GSIS Matina , , DAVAO CITY, Davao Del Sur | 0998-5544936 | KSM-25MB1INV |  |  | TS | FD | C | E3 Error Code | Moana Ref & Aircon Service Center |  | 1 | 2026-06-01 | 2026-06-01 14:00 | 2026-06-01 14:30 | Findings - CHECK UP, Recommendation - REPLACE OUTDOOR PCB BOARD, Repair Done - CHECK UP OUTDOOR UNIT | Com2 | Mobile Hotline - SMS & Call
DAV-00005552 | 2026-05-01 | 03:39 pm - 03:48 pm | cordova | R.T. Lapena Construction and Supply, Inc. | Door 4 Lapeña Building,, 123 Mac Arthur Highway, Matina, , , DAVAO CITY, Davao Del Sur | 0917-3016613 | KSM-25MB1INV |  |  | TS | FD | C | Check - Up Only | RJJ Horse Power Airconditioning Services |  |  | 2026-07-01 | 2026-07-01 09:00 | 2026-07-01 23:00 | Findings - defective fan motor, Recommendation - Replace outdoor Fan Motor, Repair Done - Check-up | Com2 | Mobile Hotline - SMS & Call
DAV-00005553 | 2026-05-01 | 03:59 pm - 04:09 pm | cordova | Lebosada, Cleofo Mongad | UM Site , Gravahan , Matina , , DAVAO CITY, Davao Del Sur | 0932-6695704 | KAM-200DRC32 |  | VIC IMPERIAL APP | TS | FD | W | 3C Error Code | RJJ Horse Power Airconditioning Services |  |  | 2026-07-01 | 2026-07-01 14:00 | 2026-07-01 14:40 | Findings - leaking, Recommendation - pull, Repair Done - Check-up | Com2 | Mobile Hotline - SMS & Call
DAV-00005554 | 2026-06-01 | 08:05 am - 08:42 am | cordova | Ballesteros , Jenevie | Purok Green Vill , , , San Antonio Agdao , DAVAO CITY, Davao Del Sur | 0963-9254993 | KSIF-405WB1 |  | VIC IMPERIAL APP | TS | FD | W | Not Cooling | Geffrey Perez, Joselito Salibay Jr. |  | 2 | 2026-06-01 | 2026-06-01 10:30 | 2026-06-01 10:50 | Findings - Low Cooling, Recommendation - , Repair Done - Replcae new parts , thermostat and PCB ; Donper unit is okay | Com1 | Mobile Hotline - SMS & Call
DAV-00005555 | 2026-06-01 | 04:06 pm - 04:10 pm | cordova | Mansanares, Jose | 10 Carmelita Rd, , , Buahangin , , DAVAO CITY, Davao Del Sur | 0966-2454502 | KAM-150CMC32 |  |  | TS | DC | C | Not Cooling | Moana Ref & Aircon Service Center | Blk Mold in the vent area, and its not blowing cold air as much base on customer concern |  | 2026-08-01 | 2026-09-01 14:00 | 2026-09-01 14:20 | Findings - FOR CLEANING , WIRING NEED FIX, Recommendation - FOR CLEANING , Repair Done - CLEAN DONE ANF WIRING FIXED | Com1 | Mobile Hotline - SMS & Call
DAV-00005556 | 2026-07-01 | 02:49 pm - 03:08 pm | cordova | Barnes , Elizabeth | Blk 15, Lot 14 , Bloop stone St,. Illumina Estate Ph 2 , , Communal Buhangin , DAVAO CITY, Davao Del Sur | 0905-4472238 | KPA-100R10N410 |  | ROBINSONS | TS | DC | W | Not Cooling | RJJ Horse Power Airconditioning Services | Based on the inspection conducted by ASP-RJJ technician, the customer’s unit was found to be not working and not cooling. The customer is requesting a replacement and refuses to proceed with repair. | 1 | 2026-06-01 | 2026-07-01 16:00 | 2026-07-01 17:30 | Findings - check up opened and inspect all wires and socket , Recommendation - , Repair Done - unit reset due to a loose contact and unit is working properly | Com2 | Mobile Hotline - SMS & Call
DAV-00005557 | 2026-07-01 | 04:36 pm - 04:40 pm | cordova | Baya , Felicia | Zone 1 Datuc River Side , , , , CITY OF DIGOS (Capital), Davao Del Sur | 0910-9406007 | KSIF-315WB1 |  |  | TS | FD | W | Not Cooling | RRSR Electronics Sales & Services |  | 1 | 2026-08-01 | 2026-07-01 13:00 | 2026-07-01 13:00 | Findings - Wont cool, Recommendation - for replacement of thermostat, Repair Done - Check up only | Com2 | Mobile Hotline - SMS & Call
DAV-00005558 | 2026-08-01 | 10:02 am - 10:03 am | cordova | Reyes , Gelo | , , , , DAVAO CITY, Davao Del Sur | 0919-0134493 | KSG-200B1G |  |  | SP | WI | COS | Sales of Parts |  |  | 1 | 2026-08-01 | 2026-08-01 09:00 | 2026-08-01 09:00 | Findings - , Recommendation - , Repair Done - Sale of Parts | Com1 | Customer Lounge
DAV-00005559 | 2026-08-01 | 03:35 pm - 04:01 pm | cordova | Prince Educational Supply | , Gempesaw St,. , , , DAVAO CITY, Davao Del Sur | 0945-6046895 | KWD-BLC-2088B |  |  | TS | BI | W | Can't Dispense Water |  |  | 1 | 2026-08-01 | 2026-08-01 13:00 | 2026-08-01 15:00 | Findings - Defective pcb board and water pump , Recommendation - For replacement parts , Repair Done - done replace pcb board annd water pump unit is okay | Com1 | Customer Lounge
DAV-00005560 | 2026-09-01 | 08:16 am - 09:30 am | cordova | EMCOR BAJADA | JVR BLDG. JP LAUREL AVE. BAJADA, , , , DAVAO CITY, Davao del sur |  | KWD-BLC-2088B |  |  | REP | TP | W | Others | Emcor - Davao | lack of parts upon opening no rubber gasket stock unit | 1 | 2026-09-01 | 2026-10-01 13:00 | 2026-10-01 13:00 | Findings - lack of parts upon opening no rubber gasket unit , Recommendation - Replacement as per dealer request, Repair Done - done replace rubber gasket | Com1 | Viber Mobile
DAV-00005561 | 2026-09-01 | 01:02 pm - 01:02 pm | cordova | HOVER, IMELDA E. | PRK.10, PRK.10 IGANGON, IGANGON SAN ISIDRO, IGANGON, SAN ISIDRO, DAVAO DEL NORTE | 0977-0992087 | KSM-IW20-WCT10M1M32 |  | EMCOR INC. | INST | DC | C | For Installation | Emcor - Davao |  | 2 | 2026-03-01 | 2026-03-01 | 2026-03-01 | Findings - INSTALLATION, Recommendation - FOR INSTALLATION, Repair Done - INSTALLATION DONE | Com1 | E-mail / DCSJO
DAV-00005562 | 2026-09-01 | 12:36 pm - 01:03 pm | cordova | Tago, Mark Anthony | Purok 5, Brgy Gym , Purok 5, Bayugan 2, SAN FRANCISCO, Agusan Del Sur | 0907-7405130 | KSG-IWF-10WFY-8K1M32-I |  | ROBINSONS | INST | DC | C | For Installation | LJP Refrigeration and Airconditioning Services |  | 1 | 12/21/2025 | 12/21/2025 12:00 am | 12/21/2025 12:00 am | Findings - , Recommendation - , Repair Done - Installation Done | Com1 | E-mail / DCSJO
DAV-00005563 | 2026-09-01 | 03:07 pm - 03:08 pm | cordova | Metro Plaza The Appliance Center Corp | Metro Plaza, JP Laurel Avenue, , Poblacion, DAVAO CITY, Davao | 0920-9500305 | KSM-SW20-5G1M |  |  | SP | WI | C | Sales of Parts |  |  | 1 | 2026-09-01 | 2026-09-01 15:00 | 2026-09-01 15:00 | Findings - , Recommendation - , Repair Done - Sale of Parts | Com1 | Customer Lounge
DAV-00005564 | 2026-09-01 | 04:19 pm - 04:20 pm | cordova | New Lain Tai Commercial | #16 , Ramon Magsaysay , , , DAVAO CITY, Davao Del Sur | 0917-7041087 | n/a |  |  | GC | FD | C | Not Cooling | RJJ Horse Power Airconditioning Services |  | 1 | 2026-10-01 | 2026-10-01 14:30 | 2026-10-01 15:20 | Findings - Dirty Units, Recommendation - Gen. Cleaning, Repair Done - General Cleaning | Com1 | Mobile Hotline - SMS & Call
DAV-00005565 | 2026-10-01 | 08:20 am - 08:20 am | cordova | Gonzales, Jennifer | Sta. Cruz, Back of Gym , Rosario, Sta. Cruz, ROSARIO, Agusan Del Sur | 0991-6399948 | KSG-IWF-10WFY-8K1M32-I | LJP | ROBINSONS | INST | DC | C | For Installation | LJP Refrigeration and Airconditioning Services |  | 1 | 2026-04-01 | 2026-04-01 | 2026-04-01 | Findings - , Recommendation - , Repair Done - Installation Done | Com1 | E-mail / DCSJO
DAV-00005566 | 2026-10-01 | 01:11 pm - 01:13 pm | cordova | RJJ Horse Power Air-conditioning Services | , , , Bucana Talomo District, DAVAO CITY, Davao Del Sur | 0917-7857-745 | KSM-25MB1INV |  |  | SP | WI | COS | Sales of Parts | RJJ Horse Power Airconditioning Services |  | 1 | 2026-10-01 | 2026-10-01 13:00 | 2026-10-01 13:00 | Findings - , Recommendation - , Repair Done - Sale of Parts | Com1 | Customer Lounge
DAV-00005567 | 2026-10-01 | 04:40 pm - 04:41 pm | cordova | Quintua, Samatha | 1st Road Sta Cruz , Cannery Site , , , POLOMOLOK, SOUTH COTABATO | 0962-9342834 | KAG-75WCINV |  |  | TS | FD | C | FO Error Code | 3King Aircon Installation and Maintenance Services |  | 1 | 01/17/2026 | 01/17/2026 01:00 pm | 01/17/2026 03:00 pm | Findings - LEAKING AND DEFECTICE OD MAIN PCB, Recommendation - NEED NWE PARTS REPLACEMET AND LEAK TEST AD REPROCESS, Repair Done - Done Check up and Diagnosis | Com2 | Mobile Hotline - SMS & Call
DAV-00005568 | 01/13/2026 | 03:24 pm - 03:26 pm | cordova | Adachi, Nelma | , , Toscana Subdivision , Puan , , DAVAO CITY, Davao Del Sur | 0960-3751071 | n/a |  |  | TS | FD | C | Others | RJJ Horse Power Airconditioning Services | For unit check-up, as it is not powering on. Once it becomes functional, the customer is requesting a cleaning service. | 1 | 01/14/2026 | 01/14/2026 03:45 pm | 01/14/2026 04:50 pm | Findings - check up, Recommendation - GENERAL CLEANING EVERY 3 MONTHS, Repair Done - Check-up | Com2 | Mobile Hotline - SMS & Call
DAV-00005569 | 01/13/2026 | 03:29 pm - 03:31 pm | cordova | Adachi, Nelma | , , Toscana Subdivision , Puan , , DAVAO CITY, Davao Del Sur | 0960-3751071 | n/a |  |  | TS | FD | C | Others | RJJ Horse Power Airconditioning Services | For unit check-up, as it is not powering on. Once it becomes functional, the customer is requesting a cleaning service. | 1 | 01/14/2026 | 01/14/2026 03:45 pm | 01/14/2026 04:50 pm | Findings - check up, Recommendation - GENERAL CLEANING EVERY 3 MONTHS, Repair Done - Check-up | Com2 | Mobile Hotline - SMS & Call
DAV-00005570 | 01/13/2026 | 03:52 pm - 03:53 pm | cordova | Marisca, Nathalie | Unit 907, Matina Enclaves Building , , , DAVAO CITY, Davao Del Sur | 0945-5044045 | KSM-IW10-WCT10M1M32 |  | ROBINSONS | TS | FD | W | Not Cooling | RJJ Horse Power Airconditioning Services |  | 1 | 01/24/2026 | 01/26/2026 10:20 am | 01/26/2026 11:30 am | Findings - Not Cooling, Recommendation - System Reprocess, Repair Done - Check-up |  | Mobile Hotline - SMS & Call
DAV-00005571 | 01/13/2026 | 03:56 pm - 03:58 pm | cordova | Alboro, Daisy | Purok 14, Palm street, , Mintal , DAVAO CITY, Davao Del Sur | 0917-3116091 | n/a |  |  | TS | FD | C | Check - Up Only | RJJ Horse Power Airconditioning Services |  | 1 | 01/14/2026 | 01/14/2026 02:00 pm | 01/14/2026 03:00 pm | Findings - Not Cooling, Recommendation - N/A, Repair Done - Check-up | Com2 | Mobile Hotline - SMS & Call
DAV-00005572 | 01/13/2026 | 04:33 pm - 04:34 pm | cordova | EMCOR DIGOS PAPAS, NICO P. | KM 78, Tubod, BANSALAN, DAVAO DEL SUR, 1ST CRUMB ST. DIGOS CITY, KM 78, Tubod, BANSALAN, DAVAO DEL SUR, KM 78, Tubod, BANSALAN, DAVAO DEL SUR, BANSALAN, DAVAO DEL SUR | 0956-2996045 | KSM-IW10-WCT10M1M32 |  | EMCOR INC. | INST | DC | C | For Installation | Emcor - Davao |  | 1 | 12/24/2025 | 12/24/2025 12:00 am | 12/24/2025 12:00 am | Findings - AC INSTALLATION , Recommendation - AC INSTALLATION , Repair Done - UNIT INSTALLED 12.24.25 | Com1 | E-mail / DCSJO
DAV-00005573 | 01/13/2026 | 04:35 pm - 04:36 pm | cordova | YAP, JEFFERSON D. | N/A, N/A, P-10A , POB, MONKAYO, DAVAE DE ORO | 0939-7220285 | KS-IW10-MCAI12O1M32-I |  | EMCOR INC. | INST | DC | C | For Installation | Emcor - Davao |  | 1 | 2026-10-01 | 2026-10-01 | 2026-10-01 | Findings - INSTALLATION, Recommendation - FOR INSTALLATION, Repair Done - INSTALLATION DONE | Com1 | E-mail / DCSJO
DAV-00005574 | 01/14/2026 | 08:12 am - 08:15 am | cordova | DOLL ELEGANCE | STALL # 31, ROXAS ST., TRADE CENTER, MAGUGPO POBLACION, CITY OF TAGUM (Capital), DAVAO DEL NORTE | 0977-6629390 | KSM-IW25-WCT10M1M32 |  | FIESTA APPLIANCE CENTER | TS | DC | C | Not Cooling | Fabros Aircon and Refrigeration Services | NEED PARTS: Display board | 1 | 2025-12-12 | 12/24/2025 01:30 pm | 12/24/2025 03:05 pm | Findings - Defective pcb display, Recommendation - quarterly general cleaning, Repair Done - Replacement of PCB display | Com1 | E-mail / DCSJO
DAV-00005575 | 01/14/2026 | 08:28 am - 08:29 am | cordova | PASQUIN, ZALDE | N/A, N/A, N/A, SANGAT, M'LANG, NORTH COTABATO | 0930-8177991 | KSM-IW15-9L1M-I |  | EMCOR INC. | TS | DC | C | EH03 Error Code | Fabros Aircon and Refrigeration Services | Need Parts Indoor fan motor Indoor pcb | 1 | 11/29/2025 | 12/27/2025 08:30 am | 12/27/2025 11:30 am | Findings - Defective Indoor PCB & Indoor Fan Motor, Recommendation - quarterly general cleaning, Repair Done - Done check up for replacement of Indoor PCB and Fan Motor | Com2 | E-mail / DCSJO
DAV-00005576 | 01/14/2026 | 03:11 pm - 03:12 pm | cordova | Baya , Felicia | Zone 1 Datuc River Side , , , , CITY OF DIGOS (Capital), Davao Del Sur | 0910-9406007 | KSIF-315WB1 |  |  | TS | FD | W | Not Cooling | RRSR Electronics Sales & Services | for replacement of thermostat | 1 | 01/17/2026 | 01/21/2026 01:00 pm | 01/21/2026 02:00 pm | Findings - Wont cool, Recommendation - Replacement of Thermostat, Repair Done - Replaced Thermostat | Com1 | Mobile Hotline - SMS & Call
DAV-00005577 | 01/15/2026 | 08:17 am - 08:19 am | cordova | Araconcillo, Jemaxires | N/a, N/a, N/a, JOSE ABAD SANTOS, JOSE ABAD SANTOS (TRINIDAD), Davao Occidental | 0910-8316233 | KSG-IWF-15WFY-8K1M32-I |  | ROBINSONS | INST | DC | C | For Installation | RJJ Horse Power Airconditioning Services | Done Install | 1 | 01/13/2026 | 01/13/2026 01:00 pm | 01/13/2026 01:00 pm | Findings - , Recommendation - , Repair Done - Installation Done | Com1 | E-mail / DCSJO
DAV-00005578 | 01/15/2026 | 08:17 am - 08:20 am | cordova | Baylon, Zander Von | N/a, N/a, Aspin Heights Subd, COMMUNAL, DAVAO CITY, Davao del Sur | 0947-2096066 | KS-IW20-MCAI12O1M32-I |  | ROBINSONS | INST | DC | C | For Installation | RJJ Horse Power Airconditioning Services | Done install | 1 | 2026-11-01 | 2026-11-01 13:00 | 2026-11-01 16:30 | Findings - Installation, Recommendation - GENERAL CLEANING EVERY 3 MONTHS, Repair Done - INSTALLED | Com1 | E-mail / DCSJO
DAV-00005579 | 01/15/2026 | 08:51 am - 08:52 am | cordova | Moana Ref & Aircon Service Center | Blk.36 Lot 1, Phase 8-C Mt. Sembrano , St., Deca Homes, Mintal , DAVAO CITY, DAVAO DEL SUR |  | KSM-25MB1INV |  |  | SP | WI | COS | Sales of Parts |  |  | 1 | 01/15/2026 | 01/15/2026 09:00 am | 01/15/2026 09:00 am | Findings - , Recommendation - , Repair Done - Sale of Parts | Com1 | Customer Lounge
DAV-00005580 | 01/15/2026 | 10:44 am - 10:46 am | cordova | Milgar, Jamnard | Habitat, Blk 17 Lot6, Habitat Phase, Habitat, GENERAL SANTOS CITY (DADIANGAS), REGION 12 - SOCCSKSARGEN | 0932-5222512 | KCB-BLC-8859T |  | ROBINSONS | TS | DC | W | Water Pump Malfunctioning | 3King Aircon Installation and Maintenance Services | Stock-up Pump Motor | 2 | 01/22/2026 | 01/21/2026 01:00 pm | 01/21/2026 01:00 pm | Findings - Stock-up water pump , Recommendation - PARTS REPLACEMENT, Repair Done - Done replace of water pump | Com1 | E-mail / DCSJO
DAV-00005581 | 01/15/2026 | 03:27 pm - 03:28 pm | cordova | Anongos , Rex | Unit 1622, Toweri , Avida Towers Abreeza , Bgry 19-B , , , DAVAO CITY, Davao Del Sur | 0999-5309137 | KWD-BLC-3088S |  | ROBINSONS | TS | BI | W | Dripping/ Water Leak | Geffrey Perez, Joselito Salibay Jr. |  | 1 | 01/15/2026 | 01/16/2026 01:00 pm | 01/16/2026 01:00 pm | Findings - defective pcb and float switch , Recommendation - for replace pcb and float switch , Repair Done - done replace pcb and float switch | Com1 | Customer Lounge
DAV-00005582 | 01/15/2026 | 04:15 pm - 04:17 pm | cordova | Coloma, Donabel | , 6159 Purok 3-C, Luzviminda Subd., Brgy. San Francisco , CITY OF PANABO, Davao del Norte | 0935-6548793 | KA-75MCARINV32 |  | EMCOR INC. | TS | DC | W | Not Cooling | Geffrey Perez, Joselito Salibay Jr. | For replace fan motor | 1 | 01/16/2026 | 01/16/2026 08:30 am | 01/16/2026 01:00 pm | Findings - defectives indoor fan motor , Recommendation - replace fan motor , Repair Done - done replce fan motor unit is okay | Com1 | E-mail / DCSJO
DAV-00005583 | 01/16/2026 | 09:09 am - 09:38 am | cordova | BATA, BIENVENIDO JR B | LOT 22 BLK 2 PHASE 1 SAN JUAN ST LAVERNA HILLS SUBD, LOT 22 BLK 2 PHASE 1 SAN JUAN ST LAVERNA HILLS SUBD, LAVERNA HILLS SUBD, BUHANGIN, DAVAO CITY, DAVAO DEL SUR | 0932-3884693 | KEA-50BLRDCA |  | EMCOR INC. | TS | DC | W | Dripping/ Water Leak | Emcor - Davao | Need to replace the water tank as it is broke | 1 | 01/20/2026 | 01/23/2026 01:00 pm | 01/23/2026 01:00 pm | Findings - Deflective water tank, Recommendation - for replacement water tank , Repair Done - done replce water tank | Com1 | E-mail / DCSJO
DAV-00005584 | 01/16/2026 | 12:50 pm - 12:52 pm | cordova | CASAS, JOEY | ., PRK 6-A, CORNER NOGRALES, BUCANA, DAVAO CITY, DAVAO DEL SUR | 0963-5524155 | KEA-50BLRDCA |  | EMCOR INC. | TS | DC | W | Dead Set | Emcor - Davao | replace display board | 1 | 01/20/2026 | 01/20/2026 01:00 pm | 01/20/2026 01:00 pm | Findings - Upon checking with EMCOR Tech, we requested a display board; however, they advised that the unit is still not functioning and remains in a dead set condition. The unit requires a PBC board and a power supply board., Recommendation - unit requires a PBC board and a power supply board, Repair Done - | Inc-09 | E-mail / DCSJO
DAV-00005585 | 01/17/2026 | 11:11 am - 11:14 am | cordova | RRSR Electronics Sales & Services | , , Mabini Exztension Zone III Digos City Davao Del Su, , CITY OF DIGOS (Capital), Davao Del Sur | 0926-8592818 | KAG-75WCINV |  |  | SP | WI | COS | Sales of Parts | Geffrey Perez, Joselito Salibay Jr. |  | 1 | 01/17/2026 | 01/17/2026 11:00 am | 01/17/2026 11:00 am | Findings - , Recommendation - , Repair Done - Sale of Parts | Com1 | Customer Lounge
DAV-00005586 | 01/19/2026 | 12:38 pm - 12:40 pm | cordova | Al Jouf Racs Electronics Trading | , , , , DAVAO CITY, Davao Del Sur | 0822-275340 | KSM-10MB1INV |  |  | SP | WI | COS | Sales of Parts |  |  | 1 | 01/19/2026 | 01/19/2026 09:00 am | 01/19/2026 09:00 am | Findings - , Recommendation - , Repair Done - Sale of Parts | Com1 | Customer Lounge
DAV-00005587 | 01/20/2026 | 09:25 am - 09:31 am | cordova | Ayop, Lolita | 12-16, N/a, Camella Toscana, puan, DAVAO CITY, Davao del Sur | 0967-1321767 | KS-IW10-MCAI12O1M32-I |  | ROBINSONS | INST | DC | C | For Installation | RJJ Horse Power Airconditioning Services | Done install | 1 | 01/16/2026 | 01/16/2026 01:00 pm | 01/16/2026 04:30 pm | Findings - INSTALLATION, Recommendation - GENERAL CLEANING EVERY 3 MONTHS, Repair Done - INSTALLED | Com1 | E-mail / DCSJO
DAV-00005588 | 01/20/2026 | 11:27 am - 11:47 am | cordova | Gv Practor | Phase 2B, N/a, N/a, Alambre, DAVAO CITY, Davao del Sur | 0936-4966142 | KSG-IWF-20WFY-8K1M32-I |  | ROBINSONS | INST | DC | C | For Installation | RJJ Horse Power Airconditioning Services | Done Install | 1 | 01/17/2026 | 01/17/2026 10:00 am | 01/17/2026 01:50 pm | Findings - INSTALLATION, Recommendation - GENERAL CLEANING EVERY 3 MONTHS, Repair Done - INSTALLED | Com1 | E-mail / DCSJO
DAV-00005589 | 01/20/2026 | 11:47 am - 11:48 am | cordova | Veneracion, Bill | #14, Saturn St, GSIS Heights, Matina, DAVAO CITY, Davao del Sur | 0927-4988091 | KS-IW15-MCAI12O1M32-I |  | ROBINSONS | INST | DC | C | For Installation | RJJ Horse Power Airconditioning Services | Done install | 1 | 01/17/2026 | 01/17/2026 01:00 pm | 01/17/2026 04:30 pm | Findings - INSTALLATION, Recommendation - GENERAL CLEANING EVERY 3 MONTHS, Repair Done - INSTALLED | Com1 | E-mail / DCSJO
DAV-00005590 | 01/20/2026 | 11:55 am - 11:56 am | cordova | Batino, Era | Prudential Village, N/a, N/a, Daliao Toril, DAVAO CITY, Davao del Sur | 0967-2252005 | KSM-IW15-WCT10M1M32 |  | ASIAN HOMES | INST | DC | C | For Installation | RJJ Horse Power Airconditioning Services | Done install | 1 | 01/19/2026 | 01/19/2026 01:00 pm | 01/19/2026 04:30 pm | Findings - INSTALLATION, Recommendation - GENERAL CLEANING EVERY 3 MONTHS, Repair Done - INSTALLED | Com1 | E-mail / DCSJO
DAV-00005591 | 01/20/2026 | 11:49 am - 12:44 pm | cordova | Sabandon, Evelyn | Prk Narra , Camillo Brizst, N/a, Tagum, CITY OF TAGUM (Capital), Davao del Norte | 0917-1923093 | KS-IW15-MCAI12O1M32-I |  | ROBINSONS | INST | DC | C | For Installation | RJJ Horse Power Airconditioning Services | Done install | 1 | 01/19/2026 | 01/19/2026 01:00 pm | 01/19/2026 04:30 pm | Findings - INSTALLATION, Recommendation - GENERAL CLEANING EVERY 3 MONTHS, Repair Done - INSTALLED | Com1 | E-mail / DCSJO
DAV-00005592 | 01/21/2026 | 10:29 am - 10:30 am | cordova | Rise Up Refrigeration And Air Conditioning Services | , , , De Guzman St, Toril, , DAVAO CITY, Davao Del Sur | 0970-5538118 | KSM-10MB1INV |  |  | SP | WI | COS | Sales of Parts |  |  | 1 | 01/21/2026 | 01/21/2026 10:00 am | 01/21/2026 10:00 am | Findings - , Recommendation - , Repair Done - Sale of Parts | Com1 | Customer Lounge
DAV-00005593 | 01/21/2026 | 01:11 pm - 01:11 pm | cordova | ACAIN, NELITA L. | PRK. DAGOHOY, CANOCOTAN, CANOCOTAN TAGUM CITY, CANOCOTAN, CITY OF TAGUM (Capital), DAVAO DEL NORTE | 0951-0317664 | KSG-IWF-30WFY-8K1M32-I |  | EMCOR INC. | INST | DC | C | For Installation | Emcor - Davao |  | 1 | 2026-12-01 | 2026-12-01 | 2026-12-01 | Findings - INSTALLATION, Recommendation - FOR INSTALLATION, Repair Done - INSTALLATION DONE | Com1 | E-mail / DCSJO
DAV-00005594 | 01/21/2026 | 03:29 pm - 03:30 pm | cordova | DMEA Non-Specialized Wholesale Trading | , , , , BAGANGA, Davao Oriental | 2935-71617 | KSG-IWF-15WFY-8K1M32-I |  |  | SP | WI | COS | Sales of Parts |  |  | 1 | 01/21/2026 | 01/21/2026 03:00 pm | 01/21/2026 03:00 pm | Findings - , Recommendation - , Repair Done - Sale of Parts | Com1 | Customer Lounge
DAV-00005595 | 01/22/2026 | 02:32 pm - 02:34 pm | cordova | PAGOYO, PRIMITIVO G. | N/A, N/A, N/A, P-1 SAN ROQUE, NEW BATAAN, DAVAE DE ORO | 0912-4431610 | KS-IW10-MCAI12O1M32-I |  | EMCOR INC. | INST | DC | C | For Installation | Emcor - Davao |  | 1 | 01/21/2026 | 01/21/2026 12:00 am | 01/21/2026 12:00 am | Findings - INSTALLATION, Recommendation - FOR INSTALLATION, Repair Done - INSTALLATION DONE | Com1 | E-mail / DCSJO
DAV-00005596 | 01/22/2026 | 04:22 pm - 04:23 pm | cordova | EMCOR DIGOS ANTONIO , RIANE JAZEL | SAMBAS ST. DIGOS CITY, 1ST CRUMB ST. DIGOS CITY, SAMBAS ST. DIGOS CITY, SAMBAS ST. DIGOS CITY, CITY OF DIGOS (Capital), DAVAO DEL SUR | 0976-2210922 | KSM-IW15-9L1M-I |  | EMCOR INC. | TS | DC | C | Not Cooling | Emcor - Davao | PO # OP140-000124763 Pls. deliver to EMCOR DIGOS address 1st Crumb St, Digos City contact person Glydeline Abiar contact # 09998856827 | 1 | 01/22/2026 | 01/22/2026 12:00 am | 01/22/2026 12:00 am | Findings - Deffective indoor main board , Recommendation - for replace main board, Repair Done - check up | Com2 | E-mail / DCSJO
DAV-00005597 | 01/22/2026 | 04:23 pm - 04:23 pm | cordova | EMCOR DIGOS GALLEGOS, IAN PAUL P. | PADADA DAVAO DEL SUR , 1ST CRUMB ST. DIGOS CITY, PADADA DAVAO DEL SUR , PADADA DAVAO DEL SUR , PADADA, DAVAO DEL SUR | 0909-8068188 | KSM-IW10-9L1M-I |  | EMCOR INC. | TS | DC | C | EH03 Error Code | Emcor - Davao | ( PO # OP140-000124618 ) Pls deliver to EMCOR DIGOS - 1st Crumb St. Digos City / contact person Glydeline Abiar / contact # 09998856827 | 1 | 01/20/2026 | 01/20/2026 12:00 am | 01/20/2026 12:00 am | Findings - FOR REPLACE INDOOR FAN MOTOR, Recommendation - FOR REPLACE INDOOR FAN MOTOR, Repair Done - Check up only | Com2 | E-mail / DCSJO
DAV-00005598 | 01/22/2026 | 04:15 pm - 04:39 pm | cordova | Cases Collection Management Inc | 2nd Floor Door 7 Andreliz Reality , Building #238 Araullo Ext. , Beside Silangan Cooperative , , DAVAO CITY, Davao Del Sur | 0988-654323 | n/a |  |  | SVEY | FD | C | For Survey | RJJ Horse Power Airconditioning Services | for survey | 1 | 01/23/2026 | 01/23/2026 01:00 pm | 01/23/2026 01:30 pm | Findings - survey, Recommendation - 2 hp, Repair Done - survey | Com1 | E-mail / DCSJO
DAV-00005599 | 01/23/2026 | 01:29 pm - 01:31 pm | cordova | ORCULLO, ROGELIO A | P-7 CEBULANO, P-7 CEBULANO, P-7 CEBULANO, CEBULANO, CARMEN, DAVAO DEL NORTE | 0938-1559677 | KEA-25BWR |  | EMCOR INC. | TS | DC | W | Not Cooling | Emcor - Davao |  | 1 | 01/27/2026 | 01/13/2026 03:05 pm | 01/24/2026 02:00 pm | Findings - WONT COOL, FAN AUTOSHUT-OFF, Recommendation - FOR REPLACE , FAN MOTOR, MAINBOARD, PUMP MOTOR, Repair Done - UNIT OKAY REPLACED NEW PARTS | Com1 | E-mail / DCSJO
DAV-00005600 | 01/23/2026 | 01:44 pm - 01:44 pm | cordova | DIAZ, NIÑA JEB G | 060,BLK-21,LOT, 060,BLK-21,LOT, MANSANITAS ST.,NICEVILLE SUBD, CAGANGOHAN, CITY OF PANABO, DAVAO DEL NORTE | 0916-7566760 | KWD-BLC-2088B |  | EMCOR INC. | TS | DC | W | Weak Water Dispense | Emcor - Davao |  | 1 | 01/27/2026 | 2026-02-01 |  | Findings - WONT DESPENSE WATER, Recommendation - WONT DESPENSE DUE TO BUSTED DOAR SWITCH/ OPEN PUMP MOTOR / MAINBOARD NO 12v OUTPUT, Repair Done - FOR REQUEST PASRTS |  | E-mail / DCSJO
DAV-00005601 | 01/23/2026 | 01:56 pm - 02:00 pm | cordova | Ballesteros , Jenevie | Purok Green Vill , , , San Antonio Agdao , DAVAO CITY, Davao Del Sur | 0963-9254993 | KSIF-405WB1 |  | VIC IMPERIAL APP | TS | FD | W | Not Cooling | Geffrey Perez, Joselito Salibay Jr. |  | 2 | 01/23/2026 | 01/23/2026 01:20 pm | 01/23/2026 01:30 pm | Findings - Defective Compressor , Recommendation - for replace new unit customer request to change the unit , Repair Done - The board and thermostat have already been replaced with new parts, but today the unit is still not working properly. Cooling is low, and defective compressor | Com2 | Mobile Hotline - SMS & Call
DAV-00005602 | 01/23/2026 | 02:12 pm - 02:13 pm | cordova | CASAS, JOEY | ., PRK 6-A, CORNER NOGRALES, BUCANA, DAVAO CITY, DAVAO DEL SUR | 0963-5524155 | KEA-50BLRDCA |  | EMCOR INC. | TS | DC | W | Dead Set | Emcor - Davao |  | 2 | 01/24/2026 |  |  |  |  | Dealer Service Request - Mobile
DAV-00005603 | 01/24/2026 | 10:13 am - 10:14 am | cordova | Bugas, Joseph | Prk 8 , Upper Piedad, Marapangi, Toril, DAVAO CITY, Davao del Sur | 0955-4119667 | KS-IW15-MCAI12O1M32-I |  | ROBINSONS | INST | DC | C | For Installation | RJJ Horse Power Airconditioning Services | Done install | 1 | 01/23/2026 | 01/23/2026 12:00 am | 01/23/2026 12:00 am | Findings - INSTALLATION, Recommendation - General cleaning every 3 months, Repair Done - INSTALLED | Com1 | E-mail / DCSJO
DAV-00005604 | 01/24/2026 | 10:15 am - 10:16 am | cordova | Martinez , Carol | #139 Mt. Sinai st.,, St. Anthony Village, Mamay Road, N/a, DAVAO CITY, Davao del Sur | 0992-5245503 | KSM-IW10-WCT10M1M32 |  | FIESTA APPLIANCE CENTER | INST | DC | C | For Installation | RJJ Horse Power Airconditioning Services | Done install | 1 | 01/22/2026 | 01/22/2026 12:00 am | 01/22/2026 12:00 am | Findings - INSTALLATION, Recommendation - General cleaning every 3 months, Repair Done - INSTALLED | Com1 | E-mail / DCSJO
DAV-00005605 | 01/24/2026 | 10:25 am - 10:26 am | cordova | BARGAYO, JENESA CONDES | N/A, N/A, N/A, P-3 MIPANGI , NABUNTURAN (Capital), DAVAE DE ORO | 0936-9541312 | KS-IW10-MCAI12O1M32-I |  | EMCOR INC. | INST | DC | C | For Installation | Emcor - Davao |  | 1 | 01/23/2026 | 01/23/2026 12:00 am | 01/23/2026 12:00 am | Findings - INSTALLATION, Recommendation - FOR INSTALLATION, Repair Done - INSTALLATION DONE | Com1 | E-mail / DCSJO
DAV-00005606 | 01/26/2026 | 09:56 am - 09:57 am | cordova | Alcordo, Tessie | , Latasa Village, , Brgy. Sinawilan Digos City, CITY OF DIGOS (Capital), Davao Del Sur | 0949-7216348 | KSM-IW10-WCT10M1M32 |  | VIC IMPERIAL APP | TS | FD | W | Not Cooling | REM Cleanair Aircon Services Corporation DAVAO |  | 1 | 01/28/2026 | 01/28/2026 02:00 pm | 01/28/2026 03:00 pm | Findings - Dirty unit, Recommendation - For Cleaning, Repair Done - Done filter cleaning | Com1 | E-mail / DCSJO
DAV-00005607 | 01/26/2026 | 10:41 am - 10:42 am | cordova | Al Jouf Racs Electronics Trading | , , , , DAVAO CITY, Davao Del Sur | 0822-275340 | KSM-IW10-4F1M |  |  | SP | WI | COS | Sales of Parts |  |  | 1 | 01/26/2026 | 01/26/2026 10:00 am | 01/26/2026 10:00 am | Findings - , Recommendation - , Repair Done - Sale of Parts | Com1 | Customer Lounge
DAV-00005608 | 01/26/2026 | 11:10 am - 11:11 am | cordova | Emcor Digos | , 1st Crumb Street, Zone 1, , , CITY OF DIGOS (Capital), Davao Del Sur | 0926-1493435 | n/a |  |  | SP | WI | COS | Sales of Parts |  |  | 1 | 01/26/2026 | 01/26/2026 10:00 am | 01/26/2026 10:00 am | Findings - , Recommendation - , Repair Done - Sale of Parts | Com1 | Viber Mobile
DAV-00005609 | 01/26/2026 | 03:29 pm - 03:30 pm | cordova | ABELLANA, GLADSTONE A | B-6 L-18, B-6 L-18, VIA VIDA TOWNHOUSE, DATU ABDUL, CITY OF PANABO, DAVAO DEL NORTE | 0977-3276070 | KEA-25BWR |  | EMCOR INC. | TS | DC | W | Water Pump Malfunctioning | Emcor - Davao |  | 1 | 01/26/2026 | 01/24/2026 12:00 am | 01/24/2026 12:00 am | Findings - WATER WONT DRAIN INTO HONEY COMB FILTER DUE TO PUMP MOTOR IS OPEN, Recommendation - FOR REPAIR FOR REQUEST PARTS, Repair Done - DONE CHECK UP | Com2 | E-mail / DCSJO
DAV-00005610 | 01/26/2026 | 03:35 pm - 03:36 pm | cordova | Sanchez, Hermojenes | N/A, Purok 2 , N/A, San Jose, NEW CORELLA, Tagum City | 0905-8768207 | KSM-IW10-WCT10M1M32 |  | VIC IMPERIAL APP | INST | DC | C | For Installation | REM Cleanair Aircon Services Corporation DAVAO |  | 1 | 2025-12-11 | 2025-12-11 | 2025-12-11 | Findings - Installation, Recommendation - Installation, Repair Done - Installation | Com1 | E-mail / DCSJO
DAV-00005611 | 01/26/2026 | 03:39 pm - 03:39 pm | cordova | TORRES, JANEL C | N/A, N/A, N/A, P-6 NEW SIBONGA , NABUNTURAN (Capital), DAVAE DE ORO | 0916-5212424 | KS-IW10-MCAI12O1M32-I |  | EMCOR INC. | INST | DC | C | For Installation | Emcor - Davao |  | 1 | 01/26/2026 | 01/26/2026 12:00 am | 01/26/2026 12:00 am | Findings - INSTALLATION, Recommendation - FOR INSTALLATION, Repair Done - INSTALLATION DONE | Com1 | E-mail / DCSJO
DAV-00005612 | 01/26/2026 | 03:40 pm - 03:40 pm | cordova | NAVACILLA, DHELNICA R. | PRK. BAGONG LIPUNAN, MAGUGPO WEST, PRK. BAGONG LIPUNAN, BAGONG LIPUNAN, CITY OF TAGUM (Capital), DAVAO DEL NORTE | 0906-9064764 | KS-IW15-MCAI12O1M32-I |  | EMCOR INC. | INST | DC | C | For Installation | Emcor - Davao |  | 2 | 01/24/2026 | 01/24/2026 12:00 am | 01/24/2026 12:00 am | Findings - INSTALLATION, Recommendation - FOR INSTALLATION, Repair Done - INSTALLATION DONE | Com1 | E-mail / DCSJO
DAV-00005613 | 01/26/2026 | 03:38 pm - 03:41 pm | cordova | ACOSTA, AURELIA | BRGY. SAN PABLO, BRGY. SAN PABLO, BRGY. SAN PABLO, BRGY. SAN PABLO, CITY OF TACURONG, SULTAN KUDARAT | 0930-7732459 | KSM-IW10-4F1M |  | EMCOR INC. | TS | DC | C | Not Cooling | Emcor - Davao |  | 1 | 01/26/2026 | 01/26/2026 01:00 pm | 01/26/2026 01:00 pm | Findings - NO COOLING, Recommendation - NEED TO REPLACE OUTDOOR BOARD, Repair Done - DONE CHECK UP | Com2 | E-mail / DCSJO
DAV-00005614 | 01/26/2026 | 04:11 pm - 04:12 pm | cordova | Al Jouf Racs Electronics Trading | , , , , DAVAO CITY, Davao Del Sur | 0822-275340 | n/a |  |  | SP | WI | COS | Sales of Parts |  |  | 1 | 01/26/2026 | 01/26/2026 04:00 pm | 01/26/2026 04:00 pm | Findings - , Recommendation - , Repair Done - Sale of Parts | Com1 | Customer Lounge
DAV-00005615 | 01/27/2026 | 09:22 am - 09:23 am | cordova | ANDOY, MARIA MERLITA C. | PRK. TULAY, PRK. TULAY SAN ISIDRO, PRK. TULAY SAN ISIDRO, SAN ISIDRO, CITY OF TAGUM (Capital), DAVAO DEL NORTE | 0950-1250195 | KS-IW20-MCAI12O1M32-I |  | EMCOR INC. | INST | DC | C | For Installation | Emcor - Davao |  | 2 | 01/23/2026 | 01/21/2026 12:00 am | 01/21/2026 12:00 am | Findings - INSTALLATION, Recommendation - FOR INSTALLATION, Repair Done - INSTALLATION DONE | Com1 | E-mail / DCSJO
DAV-00005616 | 01/27/2026 | 01:04 pm - 01:06 pm | cordova | DIAZ, NIÑA JEB G | 060,BLK-21,LOT, 060,BLK-21,LOT, MANSANITAS ST.,NICEVILLE SUBD, CAGANGOHAN, CITY OF PANABO, DAVAO DEL NORTE | 0916-7566760 | KWD-BLC-2088B |  | EMCOR INC. | TS | DC | W | Weak Water Dispense | Emcor - Davao | defective door switch | 1 | 01/29/2026 | 01/29/2026 01:00 pm | 01/29/2026 01:00 pm | Findings - , Recommendation - , Repair Done - ongoing parts repair | Com1 | E-mail / DCSJO
DAV-00005617 | 01/27/2026 | 01:54 pm - 01:55 pm | cordova | ABELLANA, GLADSTONE A | B-6 L-18, B-6 L-18, VIA VIDA TOWNHOUSE, DATU ABDUL, CITY OF PANABO, DAVAO DEL NORTE | 0977-3276070 | KEA-25BWR |  | EMCOR INC. | TS | DC | W | Water Pump Malfunctioning | Emcor - Davao | defective water pump | 1 | 01/29/2026 | 01/29/2026 01:00 pm | 01/29/2026 01:00 pm | Findings - , Recommendation - , Repair Done - ongoing parts repair | Com1 | E-mail / DCSJO
DAV-00005618 | 01/27/2026 | 02:16 pm - 02:18 pm | cordova | Al Jouf Racs Electronics Trading | , , , , DAVAO CITY, Davao Del Sur | 0822-275340 | KSM-IW20-9L1M-I |  |  | SP | WI | COS | Sales of Parts | Emcor - Davao |  | 1 | 01/27/2026 | 01/30/2026 01:00 pm | 01/30/2026 01:00 pm | Findings - , Recommendation - , Repair Done - Sale of Parts | Com1 | Viber Mobile
DAV-00005619 | 01/29/2026 | 03:25 pm - 03:25 pm | cordova | LOBINO, NICODEMO JR. B. | PUROK 18, POBLACION, POBLACION MAWAB, POBLACION MAWAB, MAWAB, DAVAO DE ORO | 0966-9982086 | KS-IW15-MCAI12O1M32-I |  | EMCOR INC. | INST | DC | C | For Installation | Emcor - Davao |  | 2 | 01/27/2026 | 01/27/2026 12:00 am | 01/27/2026 12:00 am | Findings - INSTALLATION, Recommendation - FOR INSTALLATION, Repair Done - INSTALLATION DONE | Com1 | E-mail / DCSJO
DAV-00005620 | 01/30/2026 | 01:52 pm - 01:55 pm | cordova | Inutan , Puperto Jr. | Purok 2, Casig-Ang Sto. Tomas , Sto. Tomas , Sto. Tomas , SANTO TOMAS, Davao del Norte | 0975-5940654 | KA-100MCARINV32 | Emcor | EMCOR INC. | TS | DC | W | Broken Parts | Emcor - Davao | request for warranty parts/ broken fan blade for window type aircon | 2 | 2026-04-02 |  |  |  |  | E-mail / DCSJO
DAV-00005621 | 01/30/2026 | 04:39 pm - 04:39 pm | cordova | Echaves, Joan | Ledesma Compound, Santo Cristo St., Toril, N/a, DAVAO CITY, Davao del Sur | 0917-7196454 | KSG-IWF-20WFY-8K1M32-I |  | ROBINSONS | INST | DC | C | For Installation | RJJ Horse Power Airconditioning Services | Done install | 1 | 01/29/2026 | 01/29/2026 12:00 am | 01/29/2026 12:00 am | Findings - , Recommendation - , Repair Done - INSTALLATION DONE | Com1 | E-mail / DCSJO
DAV-00005622 | 01/30/2026 | 04:40 pm - 04:41 pm | cordova | Selorio, Giovanni | Prk 5 Km8, Tigatto, Buhangin, N/a, DAVAO CITY, Davao del sur | 0907-8926262 | KS-IW25-MCAI12O1M32-I |  | ROBINSONS | INST | DC | C | For Installation | RJJ Horse Power Airconditioning Services | Done install | 1 | 01/29/2026 | 01/29/2026 01:00 pm | 01/29/2026 01:00 pm | Findings - , Recommendation - , Repair Done - Installation Done | Com1 | E-mail / DCSJO
DAV-00005623 | 01/31/2026 | 09:30 am - 09:32 am | cordova | Emcor Gensan High-Way | , , , National Highway, GENERAL SANTOS CITY (DADIANGAS), South Cotabato | 0905-4201431 | KSM-IW15-9L1M-I |  |  | SP | WI | COS | Sales of Parts |  |  |  | 01/31/2026 | 01/31/2026 09:00 am | 01/31/2026 09:00 am | Findings - , Recommendation - , Repair Done - Sale of Parts | Com1 | Customer Lounge
DAV-00005624 | 01/31/2026 | 10:56 am - 10:56 am | cordova | MONTERO, NICOLAS JR. P. | PUROK 1, POBLACION, POBLACION COMPOSTELA, POBLACION, COMPOSTELA, DAVAO DE ORO | 0910-7445016 | KS-IW10-MCAI12O1M32-I |  | EMCOR INC. | INST | DC | C | For Installation | Emcor - Davao |  | 2 | 01/28/2026 | 01/28/2026 12:00 am | 01/28/2026 12:00 am | Findings - INSTALLATION, Recommendation - FOR INSTALLATION, Repair Done - INSTALLATION DONE | Com1 | E-mail / DCSJO
DAV-00005625 | 01/31/2026 | 10:59 am - 11:01 am | cordova | BLANZA, KENNETH | PUROK 2, POBLACION, POBLACION NABUNTURAN, NABUNTURAN, NABUNTURAN (Capital), DAVAO DE ORO | 0915-9310650 | KS-IW10-MCAI12O1M32-I |  | EMCOR INC. | INST | DC | C | For Installation | Emcor - Davao |  | 2 | 01/28/2026 | 01/30/2026 12:00 am | 01/30/2026 12:00 am | Findings - INSTALLATION, Recommendation - FOR INSTALLATION, Repair Done - INSTALLATION DONE | Com1 | E-mail / DCSJO
DAV-00005626 | 01/31/2026 | 11:38 am - 11:38 am | cordova | Sanchez, Hermojenes | N/A, Purok 2 , N/A, San Jose, NEW CORELLA, Tagum City | 0905-8768207 | KSM-IW10-WCT10M1M32 |  | VIC IMPERIAL APP | TS | DC | W | Not Cooling | REM Cleanair Aircon Services Corporation DAVAO |  | 1 | 01/30/2026 | 01/30/2026 12:00 am | 01/30/2026 12:00 am | Findings - Defective Indoor Fan Motor, Recommendation - For Replacement of Indoor Fan Motor, Repair Done - Check up only | Com2 | E-mail / DCSJO
DAV-00005627 | 01/31/2026 | 01:21 pm - 01:35 pm | cordova | Moana Ref & Aircon Service Center | Blk.36 Lot 1, Phase 8-C Mt. Sembrano , St., Deca Homes, Mintal , DAVAO CITY, DAVAO DEL SUR |  | KFS-45DINV |  |  | SP | WI | COS | Sales of Parts |  |  |  | 01/31/2026 | 01/31/2026 01:00 pm | 01/31/2026 01:00 pm | Findings - , Recommendation - , Repair Done - Sale of Parts | Com1 | Viber Mobile
DAV-00005628 | 01/31/2026 | 02:35 pm - 02:36 pm | cordova | Emcor Digos | , 1st Crumb Street, Zone 1, , , CITY OF DIGOS (Capital), Davao Del Sur | 0926-1493435 | n/a |  |  | SP | WI | COS | Sales of Parts |  |  | 1 | 01/31/2026 | 01/31/2026 01:00 pm | 01/31/2026 01:00 pm | Findings - , Recommendation - , Repair Done - Sale of Parts | Com1 | Viber Mobile
Legend:
PAO - Pick-up Admin Orders
DPO - Deliver of Dealer P.O.
DEF - Change Item
FAB - Fabrication of Bracket
CL - Copper Tube Claims
DEL - Delivery of Unit / Accessories
DSM - Dismantling
FPO - Unit for Pull-out
GC - General Cleaning
INST - Installation
MRK - Markings
PV - Project Visit
REP - Replacement as per dealer request
REPL - Replacement of Unit
SCF - Deliver / Pull-out of Scaffolding
SP - Sale of Parts
STU - Start-up
SVEY - Survey
TS - Troubleshooting
DIS - Dispose Parts
PGC - Pumpdown General Cleaning
Summary Per Job Type
JOB CLASS | CC | WI | BI | PO | FD | DC | RD | RM | TP | TOTAL
PAO | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DPO | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DEF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FAB | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CL | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DEL | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DSM | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FPO | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
GC | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1
INST | 0 | 0 | 0 | 0 | 0 | 26 | 0 | 0 | 0 | 26
MRK | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PV | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REP | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
REPL | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SCF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SP | 0 | 17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 17
STU | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SVEY | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1
TS | 0 | 0 | 3 | 0 | 14 | 20 | 0 | 0 | 0 | 37
DIS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PGC | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL | 0 | 17 | 3 | 0 | 16 | 46 | 0 | 0 | 1 | 83