## Masterlist
KOLIN PHILIPPINES INT'L., INC. |  |  |  | Cost (Php) |  |  | Mark-up toASP
VERSAMATCH AIRCON
NOVEMBER 18, 2024 |  |  |  | 1 | - | 50 | 90%
|  |  |  | 51 | - | 100 | 80%
|  | validated already |  | 101 | - | 300 | 70%
|  |  |  | 301 | - | 500 | 60%
|  |  |  | 501 | - | 1000 | 50%
|  |  |  | 1001 | - | 3000 | 40%
|  |  |  | 3001 | - | 5000 | 30%
|  |  |  | 5001 | - | 7000 | 20%
|  |  |  | 7001 | - | UP | 15%
Kolin Part Code | Kolin Description | Supplier Description | Common Model | Supplier Code | FOB | Standard Cost (Php) FOBX1.1X1.12XP60.00 | ASP Price (PhP) | SRP 20% | SRP Php
1. KVM-10IWAH | GWH(09)ATB-D6DNA1A/I
INDOOR
| Rear Case | Rear Case Sub-Assy | n/a | 20900506004002 | 3.6
| Air Louver (left) | Air Louver (left) | n/a | 200007060122 | 0.03
| Air Louver(right) | Air Louver(right) | n/a | 200007060121 | 0.02
| Louver Horizontal | Air Louver | n/a | 200007060079 | 0.03
| Swing Motor | Stepping Motor | n/a | 1521210718 | 0.84
GR1521210712 | Swing Motor MP24HF/12V (horizontal) | Stepping Motor MP24HF | KSG-IWF10WFY/15WFY / KVM-10IWAH | 1521210712 | 0.71
| Blower wheel | Cross Flow Fan | n/a | 103001060036 | 2.5
| Fan Motor (IDU) FN20X-PG | Fan Motor FN20X-PG | n/a | 1501208914 | 7.4
| Plasmacluster Ion | Plasmacluster Ion | KVM-15/20/25IWAH | 43000106000202 | 3.5
| Drain Hose | Drainage Hose |  | 0523001408 | 0.3
| Evaporator (D5) | Evaporator Assy (D5) | n/a | 011001062565 | 20.7
| Evaporator Support | Evaporator Support | n/a | 200025060028 | 0.15
| PCB with Casing | Electric Box Assy | n/a | 100002080359
| Electric Box | Electric Box | n/a | 200013060123 | 1.1
GR300002063819 | PCB (IDU) M871F2DEJ | Main Board M871F2DEJ | n/a | 300002063819 | 7.5 | 554.4 | 1108.8 | 1386 | 1500
| Jumper 2.5mm | Jumper 2.5mm | n/a | 4202021903 | 0.04
GR300001061358 | Display Board D5683AB | Display Board D5683AB | n/a | 300001061358 | 2 | 147.84 | 492.8 | 616 | 1000
| Terminal Board | Terminal Board | n/a | 422000000018 | 0.45
GR3900031302 | Temperature Sensor Assembly 15K/20K – 250/450mm | Temperature Sensor 15KS/20KT-XH-4P-K3(白)-250/450mm | KSG-IWF-10WFY/20WFY/25WFY/30WFY / KVM-20IWAH | 3900031302 | 0.51
| Front Case | Front Case | n/a | 200002060085 | 2.2
| Filter net | Filter Sub-Assy | n/a | 111001060340 | 0.62
| Louver Horizontal | Guide Louver | n/a | 200004060195 | 0.43
GR10542036 | Louver Horizontal Lock (middle) | Axile Bush | KSG-IWF-15WFY/20WFY/25WFY/30WFY, KVM-15/20/25IWAH | 10542036 | 0.02
| Face Cover | Front Panel |  | 200003060304T | 1.3
|  | Electric Box Cover |  | 200082060090 | 0.36
|  | Wall Mounting Frame |  | 012043060020 | 1.1
GR30510589_K79941 | Remote Control YAP1F (new Kolin Logo) | Remote Controller YAP1F | KVM-15/20/25IWAH ; KVM-10/15/20/25ICAH ; KVM-10/15/20/25ISAH | 30510589_K79941 | 3.5 | 258.72 | 862.4 | 1078 | 1400
2. KVM-15IWAH | GWH(12)ATC-D6DNA1A/I
INDOOR
| Rear Case | Rear Case Sub-Assy | n/a | 000377060089 | 4
|  | Rear Case | n/a | 20000106009003 | 3.1
GR1521210712 | Swing Motor MP24HF | Stepping Motor MP24HF | KSG-IWF-15WFY / KVM-10IWAH | 1521210712 | 0.71
|  | Axile Bush Sub-assy | n/a | 10542047 | 0.18
GR15010106028201 | Fan Motor (IDU) RPG20B-3 (FN20B-PG) | Fan Motor FN20B-PG | n/a | 15010106028201 | 7.7 | 569.184 | 1138.368 | 1422.96 | 2000
GR103001060038 | Blower wheel Ø94mm x 629mm | Cross Flow Fan | n/a | 103001060038 | 2.5 | 184.8 | 616 | 770 | 1000
|  | Plasmacluster Ion | KVM-10/20/25IWAH | 43000106000202 | 3.5
| Air Louver(Right) | Air Louver(Right) | n/a | 200007060110 | 0.03
| Air Louver (Left)(Auto) | Air Louver (Left)(Auto) | n/a | 200007060111 | 0.04
| Swing Lever | Swing Lever | n/a | 200035060044 | 0.03
| Air Louver (Auto) | Air Louver (Auto) | n/a | 200007060117 | 0.02
GR1521210704 | Swing Motor MP24HF/DC 12V (vertical) | Stepping Motor MP24HF | KSG-IWF-20/30WFY, KVM-20/25IWAH | 1521210704 | 0.78
| Drain Hose | Drainage Hose | KVM-20IWAH | 05230014 | 0.31
| Evaporator support (D5) | Evaporator Support (D5) | n/a | 200025060027 | 0.19
GR01100106240501 | Evaporator ; Blue Aluminum fins 2 rows/ 28 lines (LxHxW) 635 x 261 x 23mm | Evaporator Assy | n/a | 01100106240501 | 22.7 | 1677.984 | 2796.64 | 3495.8 | 3500
| PCB with Casing | Electric Box Assy | n/a | 100002080368
|  | Electric Box |  | 200013060124 | 1.1
GR300002063841 | PCB (IDU) M871F2DFJ | Main Board M871F2DFJ | n/a | 300002063841 | 7.8 | 576.576 | 1153.152 | 1441.44 | 1500
GR300001061359 | Display Board D5685AC | Display Board D5685AC | KVM-20/25IWAH | 300001061359 | 2 | 147.84 | 492.8 | 616 | 1000
| Terminal Board | Terminal Board (4位) | KVM-20/25IWAH | 422000000022 | 0.42
GR3900031302 | Temperature Sensor Assembly 15K/20K – 250/450mm | Temperature Sensor 15KS/20KT-XH-4P-K3(白)-250/450mm | KSG-IWF-10WFY/20WFY/25WFY/30WFY / KVM-10IWAH | 3900031302 | 0.51
| Front Case | Front Case Assy | n/a | 000002060324 | 3.3
| Front Case | Front Case | n/a | 200002060087 | 2.6
| Filter net | Filter Sub-Assy | n/a | 111001060341 | 0.71
| Louver Horizontal | Guide Louver | n/a | 200004060197 | 0.51
GR10542036 | Louver Horizontal Lock (middle) | Axile Bush | KSG-IWF-15WFY/20WFY/25WFY/30WFY, KVM-10/20/25IWAH | 10542036 | 0.02
|  | Front Panel | n/a | 200003060306T | 1.5
|  | Electric Box Cover | n/a | 200082060091 | 0.54
|  | Wall Mounting Frame | n/a | 012043000008 | 1.6
3. KVM-20IWAH | GWH(18)ATD-D6DNA1A/I
INDOOR
| Rear Case | Rear Case Sub-Assy | n/a | 000377060073 | 5.7
|  | Air Louver (Auto) 扫风叶片(自动扫风)(三叶)(冷灰5C) (three blades) (cold gray 5C) | n/a | 200007060115 | 0.04
|  | Air Louver (Auto) 扫风叶片(自动扫风)(六叶)(冷灰5C)(six blades) (cool gray 5C) | n/a | 200007060114 | 0.06
|  | Air Louver (Auto) | n/a | 200007060116 | 0.02
| Swing Lever | Swing Lever (冷灰5C)扫风叶片(自动扫风)(单叶)(冷灰5C)(single blade) (cool gray 5C) | n/a | 200035060043 | 0.05
GR1521210704 | Swing Motor MP24HF/DC 12V (vertical) | Stepping Motor MP24HF | KSG-IWF-20/30WFY, KVM-15/25IWAH | 1521210704 | 0.78
GR1521240212 | Swing Motor MP35CJ/12V(horizontal) | Stepping Motor MP35CJ | KSG-IW25AE-5G1M/SW30-6H1M | 1521240212 | 0.94
|  | Plasma Bunch Ion | KVM-10/15/25IWAH | 430001060002 | 3.5
|  | Axile Bush Sub-assy | n/a | 1054204701 | 0.18
GR103001060034 | Blower wheel Ø108mm x 691mm | Cross Flow Fan | n/a | 103001060034 | 3.2 | 236.544 | 788.48 | 985.6 | 1000
GR15010406008801 | Fan Motor (IDU) DC ZWR45-B / FN45B-ZL (10P) | Brushless DC Motor FN45B-ZL(10P) | KSG-IWF-20WFY-8K1M32 | 15010406008801 | 14.1 | 1042.272 | 1737.12 | 2171.4 | 2500
| Drain Hose | Drainage Hose | KVM-15IWAH | 05230014 | 0.31
GR011001062414 | Evaporator ; Evaporator Blue Aluminum fins 2 rows/ 28 lines (LxHxW) 703x 318x 23mm | Evaporator Assy | n/a | 011001062414 | 35.5 | 2624.16 | 4373.6 | 5467 | 5500
|  | Evaporator supporter (D5) (original colour) | n/a | 200025060024 | 0.26
| PCB with Casing | Electric Box Assy | n/a | 100002080369
|  | Electric Box | KVM-25IWAH | 200013060122 | 1.4
GR300002063424 | PCB (IDU) M869F2BGJ | Main Board M869F2BGJ | KVM-25IWAH | 300002063424 | 8 | 591.36 | 1182.72 | 1478.4 | 2000
GR4202021916 | Jumper 2.5mm | Jumper 2.5mm | KSG-IWF-20WFY-8K1M32 | 4202021916 | 0.03
| Terminal Board | Terminal Board (4位) | KVM-15/25IWAH | 422000000022 | 0.42
GR3900031302 | Temperature Sensor Assembly 15K/20K – 250/450mm | Temperature Sensor 15KS/20KT-XH-4P-K3(白)-250/450mm | KSG-IWF-10WFY/20WFY/25WFY/30WFY / KVM-10IWAH | 3900031302 | 0.51
| Front Case | Front Case Assy | n/a | 000002060326 | 5.2
|  | Front Case | n/a | 200002060086 | 4.2
GR111001060338 | Filter net (white) 714 x 212mm | Filter Sub-Assy | n/a | 111001060338 | 1.1 | 81.312 | 271.04 | 338.8 | 350
GR200004060196 | Louver Horizontal 811x31x87mm | Guide Louver | n/a | 200004060196 | 1.1 | 81.312 | 271.04 | 338.8 | 500
| Louver Horizontal Lock (middle) | Axile Bush | KSG-IWF-15WFY/20WFY/25WFY/30WFY, KVM-10/15/25IWAH | 10542036 | 0.02
|  | Electric Box Cover | KVM-25IWAH | 200082060089 | 0.54
|  | Front Panel |  | 200003060305T | 2.1
|  | Wall Mounting Frame | KVM-25IWAH | 012043060024 | 2.2
4. KVM-25IWAH | GWH(24)ATE-D6DNA1A/I
INDOOR
| Rear Case | Rear Case Sub-Assy | n/a | 000377060078
|  | Axile Bush Sub-assy | KVM-20IWAH | 1054204701 | 0.18
| Swing Motor MP35CP | Stepping Motor MP35CP | n/a | 1521240210 | 1.3
|  | Air Louver 1 (自动-5叶片)(冷灰5C) | n/a | 200007060101 | 0.04
|  | Air Louver 1 (自动-4叶片)(冷灰5C) | n/a | 200007060104 | 0.04
|  | Air Louver | n/a | 200007060103 | 0.02
| Swing Lever | Swing Lever (冷灰5C) | n/a | 200035060042 | 0.06
GR1521210704 | Swing Motor MP24HF/DC 12V (vertical) | Stepping Motor MP24HF | KSG-IWF-20/25/30WFY, KVM-15/20IWAH | 1521210704 | 0.78
|  | Plasma Bunch Ion | KVM-10/15/20IWAH | 430001060002 | 3.5
GR150104060116 | Fan Motor (IDU) FN60B-ZL(10P) | Brushless DC Motor FN60B-ZL(10P) | KSG-IWF-25/30WFY | 150104060116 | 15.1
| Blower Wheel | Cross Flow Fan | n/a | 103001060035 | 3.4
GR0523001405 | Drain Hose | Drainage Hose | KSG-IW25AE-5G1M/SW30-6H1M/IWF-25/30WFY | 0523001405 | 0.34
| Evaporator | Evaporator Assy | n/a | 01100106241101 | 56.6
| Evaporator Support | Evaporator Support(D7) | n/a | 200025060025 | 0.26
| PCB with Casing | Electric Box Assy | n/a | 100002080372
| Jumper 2.5mm | Jumper 2.5mm | n/a | 4202021926 | 0.05
|  | Electric Box | KVM-20IWAH | 200013060122 | 1.4
| Terminal Board | Terminal Board (4位) | KVM-15/20IWAH | 422000000022 | 0.42
GR3900031302 | Temperature Sensor Assembly 15K/20K – 250/450mm | Temperature Sensor 5KS/20KT-XH-4P-K3(白)-250/450mm | KSG-IWF-10WFY/15WFY/20WFY/25WFY/30WFY, KVM-10/15/20IWAH | 3900031302 | 0.51
| Front Case | Front Case Sub-assy | n/a | 209007060129 | 5.6
| Filter net | Filter Sub-Assy | n/a | 111001060337 | 1.4
| Front Case | Front Case | n/a | 200002060083 | 4.5
|  | Guide Louver | n/a | 200004060193 | 1.6
GR10542036 | Louver Horizontal Lock (middle) | Axile Bush | KSG-IWF-10WFY/15WFY/20WFY/25WFY/30WFY, KVM-10/15/20IWAH | 10542036 | 0.02
|  | Electric Box Cover | KVM-20IWAH | 200082060089 | 0.54
|  | Front Panel Assy | n/a | 000003060833 | 2.7
|  | Front Panel | n/a | 200003060302T | 2.4
|  | Wall Mounting Frame | KVM-20IWAH | 012043060024 | 2.2
5. KVM-10ICAH-I | GTH(09)CA-D6DNA1A/I
INDOOR
|  | Base Plate Assy | KVM-15/20ICAH-I | 011007000032 | 6.9
|  | Seat Board Sub-Assy | KVM-15/20ICAH-I | 017080000040 | 5.3
|  | Cover Plate(Inlet and outlet Pipe) (冷灰3C) | KVM-15/20/25ICAH-I | 26909452 | 0.04
|  | Right Side Plate | KVM-15/20/25ICAH-I | 26909400074 | 1.9
| Metal Partition | Clapboard Sub-Assy | KVM-15/20ICAH-I | 017021000088 | 2.1
| Fan Motor Bracket | Motor Support Sub-Assy | KVM-15/20ICAH-I | 017012000124 | 2.9
| Fan Motor FG10A | Fan Motor FG10A | KVM-15/20ICAH-I | 1570940901 | 18.1
| Housing (blower) - Lower | Propeller Housing(Lower) | KVM-15/20/25ICAH-I | 200230000001 | 1.5
|  | Centifugal Fan | KVM-15/20/25ICAH-I | 103003000001 | 1.2
|  | Fan Nesting | KVM-15/20/25ICAH-I, KVM-10/15/20IDAH-I | 0220520401 | 0.36
| Housing (blower) - Upper | Propeller Housing(Upper) | KVM-15/20/25ICAH-I | 200230000002 | 1.2
| PCB with Casing | Electric Box Assy | n/a | 100002060574 | 15.4
GR300002060140 | PCB (IDU) Z4L2512AJ | Main Board Z4L2512AJ | KVM-15/20/25ICAH-I | 300002060140 | 11.5 | 850.08 | 1700.16 | 2125.2 | 3000
GR4202021921 | Jumper 2.5mm | Jumper 2.5mm | KSG-IWF-30WFY-8K1M32 | 4202021921 | 0.05
GR420001000002 | Terminal Board (IDU) | Terminal Board 3位) | KLG-IF40-3D1M, KLG-SF40-WBR6H1M32, KVM-15/20/25ICAH-I | 420001000002 | 0.31
| Capacitor 1uF/450V | Capacitor CBB61 1uF/450V (P2/S3) | KVM-15/20ICAH-I | 3301074716 | 0.25
|  | Insulation Gasket (冷灰5C) | KVM-15/20/25ICAH-I | 70410024 | 0.02
|  | Wire Clamp | KVM-15/20/25ICAH-I | 71014004
|  | Rear Side Plate Sub-Assy | KVM-15/20ICAH-I | 017051000046 | 2.6
| Filter net | Filter Sub-Assy | KVM-15/20/25ICAH-I | 111001000001 | 0.08
|  | Mounting Rack Sub-Assy | KVM-15/20/25ICAH-I | 017044000008 | 4.1
|  | Crankshaft | KVM-15/20/25ICAH-I | 200023000001 | 0.01
GR1521240206 | Swing Motor MP35CG | Stepping Motor MP35CG | VRK-26CSINV / VRK-30CSINV, VRK5-30CINV-I, KVM-15/20/25ICAH-I | 1521240206 | 1.2
GR3029400009 | Display Board Z4L25 | Display Board Z4L25 | VRK5-30CINV-I, KVM-15/20/25ICAH-I | 30294000009 | 1.2
|  | Membrane | KVM-15/20/25ICAH-I | 60539400003 | 0.23
| Evaporator | Evaporator Assy | KVM-15ICAH-I | 011001060234 | 31.3
| Evaporator | Evaporator Assy | KVM-15ICAH-I | 011001060235 | 30.2
|  | Corrugated Pipe | KVM-15ICAH-I | 0502513401 | 0.84
|  | Current Divider | KVM-15/20ICAH-I | 035032000021 | 1.4
|  | Diversion plate (left) | KVM-15/20/25ICAH-I | 012284000004 | 0.57
|  | Diversion plate (right) | KVM-15/20/25ICAH-I | 012284000003 | 0.24
|  | Mounting Rack Sub-Assy | KVM-15/20/25ICAH-I | 017044000007 | 1.3
|  | Axile Bush | KVM-15/20/25ICAH-I | 10542704 | 0.02
| Front Panel | Front Panel | KVM-15/20/25ICAH-I | 200003000001 | 0.12
| Drain Pan | Water Tray Assy | KVM-15/20ICAH-I | 000069000066 | 12.1
| Drain Pan (Styro) | Water Tray | KVM-15/20ICAH-I | 200063000024 | 2.6
|  | Top Cover | KVM-15/20ICAH-I | 012148000046P | 4.8
|  | Top Cover | KVM-15/20ICAH-I | 012148000046 | 3.9
GR05235434 | Drain hose | Drainage Pipe Sub-assy | KLG-IF40/IF70-5G1M32, KLG-SF40-WBR6H1M32, KVM-15/20/25ICAH-I | 05235434 | 0.4
| Air Louver | Air Louver | KVM-15/20/25ICAH-I | 200007000001 | 0.03
| Swing Lever | Swing Lever | KVM-15/20/25ICAH-I | 10582009 | 0.01
|  | Supporter(Guide Louver) | KVM-15/20/25ICAH-I | 26909400076 | 0.07
|  | Cover Plate(Inlet and outlet Pipe)(杏灰9082C) | KVM-15/20/25ICAH-I | 012035000009 | 0.29
|  | Installation Supporting Frame(left) | KVM-15/20/25ICAH-I | 01809401 | 0.9
|  | Installation Supporting Frame(right) | KVM-15/20/25ICAH-I | 01809402 | 0.68
|  | Location Limited Plate | KVM-15/20ICAH-I | 012217000010 | 0.09
|  | Rubber Band | KVM-15/20ICAH-I | 76002800000502 | 0.05
|  | Electric Box Cover | KVM-15/20ICAH-I | 0142940002201 | 1.5
|  | Rubber Band | KVM-15/20/25ICAH-I | 760028000011 | 0.19
|  | Left Cover Plate (杏灰9082C) | KVM-15/20/25ICAH-I | 26909400070 | 3.7
|  | Right Cover Plate (杏灰9082C) | KVM-15/20/25ICAH-I | 26909400071 | 3.6
|  | Adhesive Cover (Drainage Pipe) | KVM-15/20/25ICAH-I | 26909453 | 0.01
|  | Guide Louver | KVM-15/20ICAH-I | 200004000046 | 0.36
|  | Rotating Shaft 3 | KVM-15/20/25ICAH-I | 26909430 | 0.02
|  | Front Grill | KVM-15/20ICAH-I | 200226000004 | 0.54
| Filter net | Filter Sub-Assy | KVM-15/20ICAH-I | 111001000072 | 0.15
| Temperature Sensor 5KS-XH-2P-K3-650mm | Temperature Sensor 5KS-XH-2P-K3(黑)-650mm | KVM-15/20ICAH-I | 390001923 | 0.58
|  | Room Sensor 15KS-XH-2P-K3(黑)-650mm | KVM-15/20/25ICAH-I, KVM-10/15/20ISAH-I | 39000191 | 0.31
|  | Packaging Foam | KVM-15/20/25ICAH-I | 52069400006 | 1.4
|  | Packaging Foam | KVM-15/20/25ICAH-I | 52069400007 | 1.4
6. KVM-15ICAH-I | GTH(12)CA-D6DNA1A/I
INDOOR
|  | Display Board | KVM-10/20ICAH-I | 011007000032 | 6.9
|  | Seat Board Sub-Assy | KVM-10/20ICAH-I | 017080000040 | 5.3
|  | Cover Plate(Inlet and outlet Pipe) (冷灰3C) | KVM-10/20/25ICAH-I | 26909452 | 0.04
|  | Right Side Plate | KVM-10/20/25ICAH-I | 26909400074 | 1.9
| Metal Partition | Clapboard Sub-Assy | KVM-10/20ICAH-I | 017021000088 | 2.1
| Fan Motor Bracket | Motor Support Sub-Assy | KVM-10/20ICAH-I | 017012000124 | 2.9
| Fan Motor FG10A | Fan Motor FG10A | KVM-10/20ICAH-I | 1570940901 | 18.1
| Housing (blower) - Lower | Propeller Housing(Lower) | KVM-10/20/25ICAH-I | 200230000001 | 1.5
|  | Centifugal Fan | KVM-10/20/25ICAH-I | 103003000001 | 1.2
|  | Fan Nesting | KVM-10/20/25ICAH-I, KVM-10/15/20IDAH-I | 0220520401 | 0.36
| Housing (blower) - Upper | Propeller Housing(Upper) | KVM-10/20/25ICAH-I | 200230000002 | 1.2
| PCB with Casing | Electric Box Assy | n/a | 100002060573 | 15.4
| Jumper 2.5mm | Jumper 2.5mm | n/a | 4202021922 | 0.05
GR420001000002 | Terminal Board (IDU) | Terminal Board (3位) | KLG-IF40-3D1M, KLG-SF40-WBR6H1M32, KVM-10/20/25ICAH-I | 420001000002 | 0.31
| Capacitor 1uF/450V | Capacitor CBB61 1uF/450V (P2/S3) | KVM-10/20ICAH-I | 3301074716 | 0.25
|  | Insulation Gasket (冷灰5C) | KVM-10/20/25ICAH-I | 70410024 | 0.02
|  | Wire Clamp | KVM-10/20/25ICAH-I | 71014004
|  | Rear Side Plate Sub-Assy | KVM-10/20ICAH-I | 017051000046 | 2.6
| Filter net | Filter Sub-Assy | KVM-10/20/25ICAH-I | 111001000001 | 0.08
|  | Mounting Rack Sub-Assy | KVM-10/20/25ICAH-I | 017044000008 | 4.8
|  | Crankshaft | KVM-10/20/25ICAH-I | 200023000001 | 0.01
GR1521240206 | Swing Motor MP35CG | Stepping Motor MP35CG | VRK-26CSINV / VRK-30CSINV, VRK5-30CINV-I, KVM-10/20/25ICAH-I | 1521240206 | 1.2
GR3029400009 | Display Board Z4L25 | Display Board Z4L25 | VRK5-30CINV-I, KVM-10/20/25ICAH-I | 30294000009 | 1.2
|  | Membrane | KVM-10/20/25ICAH-I | 60539400003 | 0.23
| Evaporator | Evaporator Assy | KVM-10ICAH-I | 011001060234 | 31.3
| Evaporator | Evaporator Assy | KVM-10ICAH-I | 011001060235 | 30.2
|  | Corrugated Pipe | KVM-10ICAH-I | 0502513401 | 0.84
|  | Current Divider | KVM-10ICAH-I | 035032000021 | 1.4
|  | Diversion plate (left) | KVM-10/20/25ICAH-I | 012284000004 | 0.57
|  | Diversion plate (right) | KVM-10/20/25ICAH-I | 012284000003 | 0.24
|  | Mounting Rack Sub-Assy | KVM-10/20/25ICAH-I | 017044000007 | 1.3
|  | AXILE BUSH | KVM-10/20/25ICAH-I | 10542704 | 0.02
| Front Panel | Front Panel | KVM-10/20/25ICAH-I | 200003000001 | 0.12
| Drain Pan | Water Tray Assy | KVM-10/20ICAH-I | 000069000066 | 12.1
| Drain Pan (Styro) | Water Tray | KVM-10/20ICAH-I | 200063000024 | 2.6
|  | Top Cover | KVM-10/20ICAH-I | 012148000046P | 4.8
|  | Top Cover | KVM-10/20ICAH-I | 012148000046 | 3.9
| GR05235434 | Drainage Pipe Sub-assy | KLG-IF40/IF70-5G1M32, KLG-SF40-WBR6H1M32, KVM-10/20/25ICAH-I | 05235434 | 0.4
| Air Louver | Air Louver | KVM-10/20I/25CAH-I | 200007000001 | 0.03
| Swing Lever | Swing Lever | KVM-10/20/25ICAH-I | 10582009 | 0.01
|  | Cover Plate(Inlet and outlet Pipe) (杏灰9082C) | KVM-10/20/25ICAH-I | 012035000009 | 0.29
|  | Supporter(Guide Louver) | KVM-10/20/25ICAH-I | 26909400076 | 0.07
|  | Installation Supporting Frame(left) | KVM-10/20/25ICAH-I | 01809401 | 0.9
|  | Installation Supporting Frame(right) | KVM-10/20/25ICAH-I | 01809402 | 0.68
|  | Location Limited Plate | KVM-10/20ICAH-I | 012217000010 | 0.09
|  | Rubber Band | KVM-10/20ICAH-I | 76002800000502 | 0.05
|  | Electric Box Cover | KVM-10/20ICAH-I | 0142940002201 | 1.5
|  | Rubber Band | KVM-10/20ICAH-I | 76002800000502 | 0.05
|  | Rubber Band | KVM-10/20/25ICAH-I | 760028000011 | 0.19
|  | Left Cover Plate (杏灰9082C) | KVM-10/20/25ICAH-I | 26909400070 | 3.7
|  | Right Cover Plate (杏灰9082C) | KVM-10/20/25ICAH-I | 26909400071 | 3.6
|  | Adhesive Cover (Drainage Pipe) (冷灰3C) | KVM-10/20/25ICAH-I | 26909453 | 0.01
|  | Guide Louver | KVM-10/20ICAH-I | 200004000046 | 0.36
|  | Rotating Shaft 3 | KVM-10/20/25ICAH-I | 26909430 | 0.02
|  | Front Grill | KVM-10/20ICAH-I | 200226000004 | 0.54
| Filter net | Filter Sub-Assy | KVM-10/20ICAH-I | 111001000072 | 0.15
| Temperature Sensor 5KS-XH-2P-K3-650mm | Temperature Sensor 20KT-EH-2P-K3(黑)-2000mm(有下挂) | KVM-10/20ICAH-I | 390001923 | 0.58
|  | Room Sensor 15KS-XH-2P-K3(黑)-650mm | KVM-10/20/25ICAH-I, KVM-10/15/20ISAH-I | 39000191 | 0.31
|  | Packaging Foam | KVM-10/20/25ICAH-I | 52069400006 | 1.4
|  | Packaging Foam | KVM-10/20/25ICAH-I | 52069400007 | 1.4
7. KVM-20ICAH-I | GTH(18)CA-D6DNA1A/I
INDOOR
|  | Base Plate Assy | KVM-10/15ICAH-I | 011007000032 | 6.9
|  | Seat Board Sub-Assy | KVM-10/15ICAH-I | 017080000040 | 5.3
|  | Cover Plate(Inlet and outlet Pipe) (冷灰3C) | KVM-10/15/25ICAH-I | 26909452 | 0.04
|  | Right Side Plate | KVM-10/15/25ICAH-I | 26909400074 | 1.9
| Metal Partition | Clapboard Sub-Assy | KVM-10/15ICAH-I | 017021000088 | 2.1
| Fan Motor Bracket | Motor Support Sub-Assy | KVM-10/15ICAH-I | 017012000124 | 2.9
| Fan Motor FG10A | Fan Motor FG10A | KVM-10/15ICAH-I | 1570940901 | 18.1
| Housing (blower) - Lower | Propeller Housing(Lower) | KVM-10/15/25ICAH-I | 200230000001 | 1.5
|  | Centifugal Fan | KVM-10/15/25ICAH-I | 103003000001 | 1.2
|  | Fan Nesting | KVM-10/15/25ICAH-I, KVM-10/15/20IDAH-I | 0220520401 | 0.36
| Housing (blower) - Upper | Propeller Housing(Upper) | KVM-10/15I/20CAH-I | 200230000002 | 1.2
| PCB with Casing | Electric Box Assy | n/a | 100002060572 | 15.4
| Jumper 2.5mm | Jumper 2.5mm | n/a | 4202021923 | 0.06
GR420001000002 | Terminal Board (IDU) | Terminal Board (3位) | KLG-IF40-3D1M, KLG-SF40-WBR6H1M32,KVM-10/15/25ICAH-I | 420001000002 | 0.31
| Capacitor 1uF/450V | Capacitor CBB61 1uF/450V (P2/S3) | KVM-10/15ICAH-I | 3301074716 | 0.25
|  | Insulation Gasket (冷灰5C) | KVM-10/15/20ICAH-I | 70410024 | 0.02
|  | Wire Clamp | KVM-10/15/20ICAH-I | 71014004
|  | Rear Side Plate Sub-Assy | KVM-10/15ICAH-I | 017051000046 | 2.6
| Filter net | Filter Sub-Assy | KVM-10/15/20ICAH-I | 111001000001 | 0.08
|  | Mounting Rack Sub-Assy | KVM-10/15/20ICAH-I | 017044000008 | 4.1
|  | Crankshaft | KVM-10/15/20ICAH-I | 200023000001 | 0.01
GR1521240206 | Swing Motor MP35CG | Stepping Motor MP35CG | VRK-26CSINV / VRK-30CSINV, VRK5-30CINV-I, KVM-10/15/25ICAH-I | 1521240206 | 1.2
GR3029400009 | Display Board Z4L25 | Display Board Z4L25 | VRK5-30CINV-I, KVM-15/20/25ICAH-I | 30294000009 | 1.2
|  | Membrane | KVM-10/15/25ICAH-I | 60539400003 | 0.23
| Evaporator | Evaporator Assy | n/a | 011001060322 | 43.1
| Evaporator | Evaporator Assy | n/a | 011001000487 | 41.9
|  | Corrugated Pipe | n/a | 05025112 | 0.85
|  | Diversion plate (left) | KVM-10/15/25ICAH-I | 012284000004 | 0.57
|  | Diversion plate (right) | KVM-10/15/25ICAH-I | 012284000003 | 0.24
|  | Mounting Rack Sub-Assy | KVM-10/15/25ICAH-I | 017044000007 | 1.3
|  | AXILE BUSH | KVM-10/15/25ICAH-I | 10542704 | 0.02
| Front Panel | Front Panel | KVM-10/20/25ICAH-I | 200003000001 | 0.12
| Drain Pan | Water Tray Assy | KVM-10/15ICAH-I | 000069000066 | 12.1
| Drain Pan (Styro) | Water Tray | KVM-10/15ICAH-I | 200063000024 | 2.6
|  | Top Cover | KVM-10/15ICAH-I | 012148000046P | 4.8
|  | Top Cover | KVM-10/15ICAH-I | 012148000046 | 3.9
GR05235434 | Drain hose | Drainage Pipe Sub-assy | KLG-IF40/IF70-5G1M32, KLG-SF40-WBR6H1M32, KVM-10/15I/25CAH-I | 05235434 | 0.4
| Air Louver | Air Louver | KVM-10/15/25ICAH-I | 200007000001 | 0.03
|  | Swing Lever | KVM-10/15/25ICAH-I | 10582009 | 0.01
|  | Supporter(Guide Louver) | KVM-10/15/25ICAH-I | 26909400076 | 0.07
|  | Cover Plate(Inlet and outlet Pipe) | KVM-10/15/25ICAH-I | 012035000009 | 0.29
|  | Installation Supporting Frame(left) | KVM-10/15/25ICAH-I | 01809401 | 0.9
|  | Installation Supporting Frame(right) | KVM-10/15/25ICAH-I | 01809402 | 0.68
|  | Location Limited Plate | KVM-10/15ICAH-I | 012217000010 | 0.09
|  | Rubber Band | KVM-10/15ICAH-I | 76002800000502 | 0.05
|  | Electric Box Cover | KVM-10/15ICAH-I | 0142940002201 | 1.5
|  | Rubber Band | KVM-10/15ICAH-I | 76002800000502 | 0.05
|  | Rubber Band | KVM-10/15/25ICAH-I | 760028000011 | 0.19
|  | Left Cover Plate (杏灰9082C) | KVM-10/15/25ICAH-I | 26909400070 | 3.7
|  | Right Cover Plate (杏灰9082C) | KVM-10/15/25ICAH-I | 26909400071 | 3.6
|  | Adhesive Cover (Drainage Pipe) | KVM-10/15/25ICAH-I | 26909453 | 0.01
|  | Guide Louver | KVM-10/15ICAH-I | 200004000046 | 0.36
|  | Rotating Shaft 3 | KVM-10/15/20ICAH-I | 26909430 | 0.02
|  | Front Grill | KVM-10/15ICAH-I | 200226000004 | 0.54
| Filter net | Filter Sub-Assy | KVM-10/15ICAH-I | 111001000072 | 0.15
| Temperature Sensor 5KS-XH-2P-K3-650mm | Temperature Sensor 20KT-EH-2P-K3(黑)-2000mm(有下挂) | KVM-10/15ICAH-I | 390001923 | 0.58
|  | Room Sensor 15KS-XH-2P-K3(黑)-650mm | KVM-10/15/25ICAH-I, KVM-10/15/20ISAH-I | 39000191 | 0.31
|  | Packaging Foam | KVM-10/15/25ICAH-I | 52069400006 | 1.4
|  | Packaging Foam | KVM-10/15/25ICAH-I | 52069400007 | 1.4
8. KVM-25ICAH-I | GTH(24)CB-D6DNA2A/I
INDOOR
|  | Base Plate Assy |  | 02229400036 | 9.7
|  | Seat Board Sub-Assy |  | 02229400033 | 7.5
|  | Cover Plate(Inlet and outlet Pipe) (冷灰3C) | KVM-10/15/20ICAH-I | 26909452 | 0.04
|  | Right Side Plate | KVM-10/15/20ICAH-I | 26909400074 | 1.9
| Metal Partition | Clapboard Sub-Assy |  | 01249400018 | 3.1
| Fan Motor Bracket | Motor Support Sub-Assy |  | 017012000063 | 3.6
| Fan Motor FN20T | Fan Motor FN20T |  | 150101000102 | 20.5
|  | Bar Clasp(Fan motor) |  | 70818033 | 0.16
|  | Joint Slack | KVM-20IDAH-I | 73018731 | 1.4
|  | Roller Wheel |  | 700004500433 | 3.2
| Housing (blower) - Lower | Propeller Housing(Lower) | KVM-10/15/20ICAH-I | 200230000001 | 1.5
|  | Centifugal Fan | KVM-10/15/20ICAH-I | 103003000001 | 1.2
|  | Fan Nesting | KVM-10/15/20ICAH-I, KVM-10/15/20IDAH-I | 0220520401 | 0.36
|  | Supporter |  | 01809400076 | 0.42
|  | Bearing Holder Sub-assy |  | 26909400050 | 0.16
|  | O-Gasket of Bearing |  | 76512404 | 0.1
|  | Fan Bearing |  | 76512210 | 0.06
|  | Support Of Motor Bearing |  | 01792408 | 0.07
| PCB with Casing | Electric Box Assy |  | 100002060571 | 15.5
| Jumper 2.5mm | Jumper 2.5mm |  | 4202021924 | 0.04
GR420001000002 | Terminal Board (IDU) | Terminal Board | KLG-IF40-3D1M, KLG-SF40-WBR6H1M32,KVM-10/15/20ICAH-I | 420001000002 | 0.31
| Capacitor 2uF/450V | Capacitor CBB61S 2uF/450V(P2/S3) | KVM-10IDAH-I | 3301074702 | 0.35
|  | Insulation Gasket (冷灰5C) | KVM-10/15/20ICAH-I | 70410024 | 0.02
|  | Wire Clamp | KVM-10/15/20ICAH-I | 71014004
|  | Rear Side Plate Sub-Assy |  | 017051000005 | 4
|  | Base plate 2 |  | 012234000015 | 3.5
| Filter net | Filter Sub-Assy | KVM-10/15/20ICAH-I | 111001000001 | 0.08
|  | Mounting Rack Sub-Assy | KVM-10/15/20ICAH-I | 017044000008 | 4.1
|  | Crankshaft | KVM-10/15/20ICAH-I | 200023000001 | 0.01
GR1521240206 | Swing Motor MP35CG | Stepping Motor MP35CG | VRK-26CSINV / VRK-30CSINV, VRK5-30CINV-I, KVM-10/15/20ICAH-I | 1521240206 | 1.2
GR3029400009 | Display Board Z4L25 | Display Board Z4L25 | VRK5-30CINV-I, KVM-10/15/20ICAH-I | 30294000009 | 1.2
|  | Membrane | KVM-10/15/20ICAH-I | 60539400003 | 0.23
| Evaporator | Evaporator Assy |  | 011001060078 | 57.7
| Evaporator | Evaporator Assy |  | 01100100013501
|  | Corrugated Pipe |  | 0502511201 | 1.1
|  | Diversion plate (left) | KVM-10/15/20ICAH-I | 012284000004 | 0.57
|  | Diversion plate (right) | KVM-10/15/20ICAH-I | 012284000003 | 0.24
|  | Mounting Rack Sub-Assy | KVM-10/15/20ICAH-I | 017044000007 | 1.3
|  | AXILE BUSH | KVM-10/15/20ICAH-I | 10542704 | 0.02
| Front Panel | Front Panel | KVM-10/15/20ICAH-I | 200003000001 | 0.12
| Drain Pan | Water Tray Assy |  | 01289400017 | 19.1
| Drain Pan (Styro) | Water Tray |  | 200063000003 | 3.5
|  | Top Cover |  | 01269400012P | 9.2
|  | Top Cover |  | 01269400012 | 7.6
GR05235434 | Drain hose | Drainage Pipe Sub-assy | KLG-IF40/IF70-5G1M32, KLG-SF40-WBR6H1M32, KVM-10/15I/20CAH-I | 05235434 | 0.4
| Air Louver | Air Louver | KVM-10/15/20ICAH-I | 200007000001 | 0.03
| Swing Lever | Swing Lever | KVM-10/15/20ICAH-I | 10582009 | 0.01
|  | Supporter(Guide Louver) | KVM-10/15/20ICAH-I | 26909400076 | 0.07
| Housing (blower) - Upper | Propeller Housing(Upper) | KVM-10/15/20ICAH-I | 200230000002 | 1.2
|  | Cover Plate(Inlet and outlet Pipe) (杏灰9082C) | KVM-10/15/20ICAH-I | 012035000009 | 0.29
|  | Installation Supporting Frame(left) | KVM-10/15/20ICAH-I | 01809401 | 0.9
|  | Installation Supporting Frame(right) | KVM-10/15/20ICAH-I | 01809402 | 0.68
|  | Rubber Band |  | 760028000005
|  | Rubber Band |  | 760028000005
|  | Rubber Band | KVM-10/15/20ICAH-I | 760028000011 | 0.19
|  | Left Cover Plate (杏灰9082C) | KVM-10/15/20ICAH-I | 26909400070 | 3.7
|  | Right Cover Plate (杏灰9082C) | KVM-10/15/20ICAH-I | 26909400071 | 3.6
|  | Location Limited Plate |  | 02229400044 | 0.13
|  | Adhesive Cover (Drainage Pipe) (冷灰3C) |  | 26909453 | 0.01
| Guide Louver | Guide Louver |  | 200004500422 | 0.55
|  | Rotating Shaft 3 | KVM-10/15/20ICAH-I | 26909430 | 0.02
|  | Front Grill Sub-assy |  | 26909400066 | 0.72
|  | Front Grill |  | 26909400072 | 0.55
| Filter net | Filter Sub-Assy |  | 11729400004 | 0.16
| Temperature Sensor 20KT-EH-2P-K3-2300mm | Temperature Sensor 20KT-EH-2P-K3(黑)-2300mm |  | 3900019204 | 0.6
| Room Sensor 15KS-XH-2P-K3-650mm | Room Sensor 15KS-XH-2P-K3(黑)-650mm | KVM-10/15/20ICAH-I, KVM-10/20ISAH-I | 39000191 | 0.31
|  | Packaging Foam | KVM-10/15/20ICAH-I | 52069400006 | 1.4
|  | Packaging Foam | KVM-10/15/20ICAH-I | 52069400007 | 1.4
9. KVM-10ISAH-I | GKH(09)EB-D6DNA5A/I
INDOOR
|  | Shell Assy | KVM-15/20ISAH-I | 011633060002 | 11.1
|  | Seat Board Sub-Assy | KVM-15/20ISAH-I | 017080060023 | 4.9
|  | Side Plate | KVM-15/20ISAH-I | 012010060176 | 1.9
|  | Side Plate | KVM-15/20ISAH-I | 012010060175 | 1.8
|  | Side Plate | KVM-15/20ISAH-I | 012010060177 | 1.3
|  | Side Plate | KVM-15/20ISAH-I | 01201006017701 | 1.3
| Fan Motor (IDU) B-FN30C-ZL | Brushless DC Motor B-FN30C-ZL | KVM-15/20ISAH-I | 150104060012 | 22.3
| Evaporator | Evaporator Assy | KVM-15ISAH-I | 011001061935 | 45.7
| Evaporator | Evaporator Assy | KVM-15ISAH-I | 011001061936
|  | Current Divider | KVM-15/20ISAH-I | 035032060048 | 0.97
|  | Connection Sheet Sub-Assy | KVM-15/20ISAH-I | 017025060047 | 0.89
|  | Support | KVM-15/20ISAH-I | 012060061048 | 0.18
| Drain Hose | Drain Pipe | KVM-15/20ISAH-I | 200070060005 | 1.6
GR430024000005 | Water Level Switch | Liquid Level Switch | KVM-15/20ISAH-I, KVM-10/15/20IDAH-I | 430024000005 | 1.8 | 133.056 | 443.52 | 554.4 | 600
GR4313800005802 | Water Pump PSB-0.024/1.2-A ; DC12V/1200mm/400ml/min ; 4.2W/0.32A | Water Pump PSB-0.024/1.2-A | KVM-15/20/25ISAH-I | 4313800005802 | 7 | 517.44 | 1034.88 | 1293.6 | 3000
|  | Centifugal Fan | KVM-15/20ISAH-I | 103003060008 | 13
|  | Block gasket | KVM-15/20ISAH-I | 70413008 | 0.04
|  | Mounting Rack Sub-Assy | KVM-15/20ISAH-I | 017044060011 | 0.22
| Drain Pan | Water Tray Assy | KVM-15/20ISAH-I | 000069060065 | 10.5
|  | Deflector fixed insert | KVM-15/20/25ISAH-I | 01722701 | 0.03
|  | Flow Guide Loop | KVM-15/20ISAH-I | 200150060003 | 0.58
| PCB with Casing | Electric Box Assy | KVM-15ISAH-I | 100002071502 | 14.5
GR300002061959 | PCB (IDU) Z4M551GJ | Main Board Z4M551GJ | KVM-15/20ISAH-I | 300002061959 | 12.2 | 901.824 | 1803.648 | 2254.56 | 3000
| Jumper 2.5mm | Jumper 2.5mm | KVM-15ISAH-I | 4202021908 | 0.03
| Terminal Board | Terminal Board (3位) | KVM-15/20ISAH-I, KVM-20/30/40/50VAH1M-O | 422000060015 | 0.35
|  | Wire Clamp | KVM-15/20/25ISAH-I, KVM-30VAH1M-O | 71010103 | 0.02
|  | Sealplate | KVM-15/20ISAH-I | 012034060119 | 0.2
|  | Room Sensor 15KS-XH-2P-K3(黑)-650mm | KVM-10/15/20/25ICAH-I, KVM-15/20ISAH-I | 39000191 | 0.31
| Temperature Sensor 20KT-EH-2P-K3-850mm | Temperature Sensor 20KT-EH-2P-K3(黑)-850mm | KVM-15/20ISAH-I | 390001921 | 0.36
|  | Drain Hose Sub-Assy | KVM-15/20ISAH-I | 007008000001 | 0.9
| Drain Hose | Drain Hose | KVM-15/20ISAH-I | 05232046 | 0.68
| Front Case | Front Case | KVM-15/20ISAH-I | 200002060020 | 2.9
| Motor Synchronized MP24AF | Step Motor MP24AF | KVM-15/20/25ISAH-I | 15729401 | 0.78
|  | Crankshaft | KVM-15/20ISAH-I | 200023060001 | 0.02
|  | Guide Louver | KVM-15/20ISAH-I | 200004060025 | 0.08
|  | Corner Cover Sub-assy (压盖1) | KVM-15/20ISAH-I | 209066060001 | 0.18
|  | Corner Cover Sub-assy (压盖2) | KVM-15/20ISAH-I | 209066060002 | 0.17
|  | Corner Cover Sub-assy | KVM-15/20ISAH-I | 209066060003 | 0.14
|  | Front Grill | KVM-15/20ISAH-I | 209059060003 | 4.3
|  | Front Grill | KVM-15/20ISAH-I | 200226060012S | 1.3
GR300001060286 | Display Board D5313BB | Display Board D5313BB | KVM-15/20ISAH-I | 300001060286 | 2.1 | 155.232 | 517.44 | 646.8 | 1000
|  | Membrane | KVM-15/20ISAH-I | 6051220301 | 0.05
|  | Membrane | KVM-15/20ISAH-I | 600006060059 | 0.13
| Filter net | Filter Sub-Assy | KVM-15/20ISAH-I | 111001060046 | 0.72
|  | Supporting Board | KVM-15/20ISAH-I | 012072060473 | 0.02
|  | Packaging Foam (TF05) | KVM-15/20ISAH-I | 110007060679 | 0.15
10. KVM-15ISAH-I | GKH(12)EB-D6DNA5A/I
INDOOR
|  | Shell Assy | KVM-10/20ISAH-I | 011633060002 | 11.1
|  | Seat Board Sub-Assy | KVM-10/20ISAH-I | 017080060023 | 4.9
|  | Side Plate | KVM-10/20ISAH-I | 012010060176 | 1.9
|  | Side Plate | KVM-10/20ISAH-I | 012010060175 | 1.8
|  | Side Plate | KVM-10/20ISAH-I | 012010060177 | 1.3
|  | Side Plate | KVM-10/20ISAH-I | 01201006017701 | 1.3
| Fan Motor (IDU) B-FN30C-ZL | Brushless DC Motor B-FN30C-ZL | KVM-10/20ISAH-I | 150104060012 | 22.3
| Evaporator | Evaporator Assy | KVM-10ISAH-I | 011001061935 | 45.7
| Evaporator | Evaporator Assy | KVM-10ISAH-I | 011001061936
|  | Current Divider (4孔) | KVM-10/20ISAH-I | 035032060048 | 0.97
|  | Connection Sheet Sub-Assy | KVM-10/20ISAH-I | 017025060047 | 0.89
|  | Support | KVM-10/20ISAH-I | 012060061048 | 0.18
| Drain Hose | Drain Pipe | KVM-10/20ISAH-I | 200070060005 | 1.6
|  | Centifugal Fan | KVM-10/20ISAH-I | 103003060008 | 13
|  | Block gasket | KVM-10/20ISAH-I | 70413008 | 0.04
|  | Mounting Rack Sub-Assy | KVM-10/20ISAH-I | 017044060011 | 0.22
| Drain Pan | Water Tray Assy | KVM-10/20ISAH-I | 000069060065 | 10.5
|  | Deflector fixed insert | KVM-10/20/25ISAH-I | 01722701 | 0.03
|  | Flow Guide Loop | KVM-10/20ISAH-I | 200150060003 | 0.58
| PCB with Casing | Electric Box Assy | KVM-10ISAH-I | 100002071502 | 14.5
| Jumper 2.5mm | Jumper 2.5mm | KVM-10ISAH-I | 4202021908 | 0.03
| Terminal Board | Terminal Board (3位) | KVM-10/20ISAH-I, KVM-20/30/40/50VAH1M-O | 422000060015 | 0.35
|  | Wire Clamp | KVM-10/20/25ISAH-I, KVM-30VAH1M-O | 71010103 | 0.02
|  | Sealplate | KVM-10/20ISAH-I | 012034060119 | 0.2
|  | Room Sensor 15KS-XH-2P-K3(黑)-650mm | KVM-10/15/20/25ICAH-I, KVM-10/20ISAH-I | 39000191 | 0.31
| Temperature Sensor 20KT-EH-2P-K3-850mm | Temperature Sensor 20KT-EH-2P-K3(黑)-850mm | KVM-10/20ISAH-I | 390001921 | 0.36
|  | Drain Hose Sub-Assy | KVM-10/20ISAH-I | 007008000001 | 0.9
| Drain Hose | Drain Hose | KVM-10/20ISAH-I | 05232046 | 0.68
| Front Case | Front Case | KVM-10/20ISAH-I | 200002060020 | 2.9
| Motor Synchronized MP24AF | Step Motor MP24AF | KVM-10/20/25ISAH-I | 15729401 | 0.78
|  | Crankshaft | KVM-10/20ISAH-I | 200023060001 | 0.02
|  | Guide Louver | KVM-10/20ISAH-I | 200004060025 | 0.08
|  | Corner Cover Sub-assy | KVM-10/20ISAH-I | 209066060001 | 0.18
|  | Corner Cover Sub-assy | KVM-10/20ISAH-I | 209066060002 | 0.17
|  | Corner Cover Sub-assy | KVM-10/20ISAH-I | 209066060003 | 0.14
|  | Front Grill | KVM-10/20ISAH-I | 209059060003 | 4.3
|  | Front Grill | KVM-10/20ISAH-I | 200226060012S | 1.3
|  | Membrane | KVM-10/20ISAH-I | 6051220301 | 0.05
|  | Membrane | KVM-10/20ISAH-I | 600006060059 | 0.13
| Filter net | Filter Sub-Assy | KVM-10/20ISAH-I | 111001060046 | 0.72
|  | Supporting Board | KVM-10/20ISAH-I | 012072060473 | 0.02
|  | Packaging Foam | KVM-10/20ISAH-I | 110007060679 | 0.15
11. KVM-20ISAH-I | GKH(18)EB-D6DNA5A/I
INDOOR
|  | Shell Assy | KVM-10/15ISAH-I | 011633060002 | 11.1
|  | Seat Board Sub-Assy | KVM-10/15ISAH-I | 017080060023 | 4.9
|  | Side Plate | KVM-10/15ISAH-I | 012010060176 | 1.9
|  | Side Plate | KVM-10/15ISAH-I | 012010060175 | 1.8
|  | Side Plate | KVM-10/15ISAH-I | 012010060177 | 1.3
|  | Side Plate | KVM-10/15ISAH-I | 01201006017701 | 1.3
| Fan Motor (IDU) B-FN30C-ZL | Brushless DC Motor B-FN30C-ZL | KVM-10/15ISAH-I | 150104060012 | 22.3
| Evaporator | Evaporator Assy |  | 011001061937 | 45.9
| Evaporator | Evaporator Assy |  | 01100106193601
|  | Current Divider (4孔) | KVM-10/15ISAH-I | 035032060048 | 0.97
|  | Connection Sheet Sub-Assy | KVM-10/15ISAH-I | 017025060047 | 0.89
|  | Support | KVM-10/15ISAH-I | 012060061048 | 0.18
| Drain Hose | Drain Pipe | KVM-10/15ISAH-I | 200070060005 | 1.6
|  | Centifugal Fan | KVM-10/15ISAH-I | 103003060008 | 13
|  | Block gasket | KVM-10/15ISAH-I | 70413008 | 0.04
|  | Mounting Rack Sub-Assy | KVM-10/15ISAH-I | 017044060011 | 0.22
| Drain Pan | Water Tray Assy | KVM-10/15ISAH-I | 000069060065 | 10.5
|  | Deflector fixed insert | KVM-10/15/25ISAH-I | 01722701 | 0.03
|  | Flow Guide Loop | KVM-10/15ISAH-I | 200150060003 | 0.58
| PCB with Casing | Electric Box Assy |  | 100002071509 | 14.5
| Terminal Board | Terminal Board (3位) | KVM-10/15ISAH-I, KVM-20/30/40/50VAH1M-O | 422000060015 | 0.35
|  | Wire Clamp | KVM-10/15/25ISAH-I, KVM-30VAH1M-O | 71010103 | 0.02
|  | Sealplate | KVM-10/15ISAH-I | 012034060119 | 0.2
|  | Room Sensor 15KS-XH-2P-K3(黑)-650mm | KVM-10/15/20/25ICAH-I, KVM-10/15ISAH-I | 39000191 | 0.31
| Temperature Sensor 20KT-EH-2P-K3-850mm | Temperature Sensor 20KT-EH-2P-K3(黑)-850mm | KVM-10/15ISAH-I | 390001921 | 0.36
|  | Drain Hose Sub-Assy | KVM-10/15ISAH-I | 007008000001 | 0.9
| Drain Hose | Drain Hose | KVM-10/15ISAH-I | 05232046 | 0.68
| Front Case | Front Case | KVM-10/15ISAH-I | 200002060020 | 2.9
| Motor Synchronized MP24AF | Step Motor MP24AF | KVM-10/15/25ISAH-I | 15729401 | 0.78
|  | Crankshaft | KVM-10/15ISAH-I | 200023060001 | 0.02
|  | Guide Louver | KVM-10/15ISAH-I | 200004060025 | 0.08
|  | Corner Cover Sub-assy | KVM-10/15ISAH-I | 209066060001 | 0.18
|  | Corner Cover Sub-assy | KVM-10/15ISAH-I | 209066060002 | 0.17
|  | Corner Cover Sub-assy | KVM-10/15ISAH-I | 209066060003 | 0.14
|  | Front Grill | KVM-10/15ISAH-I | 209059060003 | 4.3
|  | Front Grill | KVM-10/15ISAH-I | 200226060012S | 1.3
|  | Membrane | KVM-10/15ISAH-I | 6051220301 | 0.05
|  | Membrane | KVM-10/15ISAH-I | 600006060059 | 0.13
| Filter net | Filter Sub-Assy | KVM-10/15ISAH-I | 111001060046 | 0.72
|  | Supporting Board | KVM-10/15ISAH-I | 012072060473 | 0.02
|  | Packaging Foam (TF05) | KVM-10/15ISAH-I | 110007060679 | 0.15
12. KVM-25ISAH-I | GKH(24)EC-D6DNA6A/I
INDOOR
|  | Rear Case assy |  | 01519400003 | 20.3
|  | Seat Board Sub-Assy |  | 02229400011 | 11.5
|  | Side Plate 1 |  | 01319400049 | 2.8
|  | Side Plate 2 |  | 01319400050 | 2.9
|  | Side Plate 3 |  | 01319400051 | 1.5
|  | Foam Sub- Assy |  | 12509400033 | 5.3
|  | Deflector fixed insert | KVM-10/15/20ISAH-I | 01722701 | 0.03
| Evaporator | Evaporator Assy |  | 011001000254 | 62.5
|  | Corrugated Pipe |  | 05029434 | 1.4
| Strainer | Strainer |  | 07213050 | 0.48
| Temperature Sensor 20KT-EH-2P-K3-1100mm | Temperature Sensor 20KT-EH-2P-K3(黑)-1100mm |  | 39000286 | 0.42
|  | Air Guard Sub-Assy |  | 01359400010 | 0.89
|  | Mounting Plate |  | 01329400011 | 5.7
|  | Motor Support Sub-Assy |  | 017012060050P | 1.8
|  | Motor Support Sub-Assy |  | 17012060050 | 1.5
| Fan Motor (IDU) FN35D-ZL | Brushless DC Motor FN35D-ZL |  | 1570410000702 | 22.8
|  | Centrifugal Fan |  | 10429400004 | 12.5
|  | Fan Fixer |  | 10312701 | 0.03
|  | Drainage Pipe Sub-assy |  | 26909400055 | 1.6
|  | Drainage Joint |  | 06132800003 | 0.42
|  | Liquid Level Switch Sub-assy |  | 45018000029 | 1.9
|  | Liquid Level Switch |  | 4502021601 | 1.7
|  | Body Installing Plate |  | 01332701 | 0.32
| Drain Pan | Water Tray Assy |  | 000069060008 | 13
|  | Deflector fixed insert | KVM-10/15/20ISAH-I | 01722701 | 0.03
|  | Diversion Circle (黑色443C) |  | 26909400067 | 1.3
|  | Wire Clamp | KVM-10/15/20ISAH-I, KVM-30VAH1M-O | 71010103 | 0.02
|  | Seal plate Assy |  | 01499400003 | 0.36
| PCB with Casing | Electric Box Assy |  | 100002071503 | 19
GR300002062052 | PCB (IDU) Z4M551HJ | Main Board Z4M551HJ | n/a | 300002062052 | 13.6 | 1005.312 | 1675.52 | 2094.4 | 3000
| Jumper 2.5mm | Jumper 2.5mm |  | 4202021910 | 0.04
| Terminal Board | Terminal Board | KVM-10/15/20IDAH-I | 42000100000207 | 0.31
| Temperature Sensor 15KS-XH-2P-K3-350mm | Temperature Sensor 15KS-XH-2P-K3(黑)-350mm | KVM-10/15/20ICAH-I, KVM-10/15/20IDAH-I | 390000453 | 0.22
|  | Electric Box Cover |  | 01429400016 | 2.6
|  | Sensor Sheath |  | 42032703 | 0.02
|  | Packaging Foam |  | 52069403
|  | Drain Hose Sub-Assy |  | 05232702 | 1.1
| Drain Hose | Drain Hose |  | 05232044 | 0.79
| Front Panel | Front Panel |  | 20000300010202 | 5.7
|  | Guide Louver |  | 200004000038 | 0.37
|  | Louver Motor Sub-assy |  | 15409407 | 0.83
|  | Motor Box |  | 26909460 | 0.02
| Step Motor MP24AF | Step Motor MP24AF | KVM-10/15/20ISAH-I | 15729401 | 0.78
|  | Foam(Air Outlet) |  | 120000000035 | 0.86
|  | Foam |  | 120000060167 | 0.34
|  | Foam (air outlet at the corner) |  | 120000000036 | 0.42
|  | Corner Cover Assy |  | 209066000003 | 0.24
|  | Corner Cover Assy |  | 209066000002 | 0.24
|  | Corner Cover Assy |  | 209066000004 | 0.34
|  | Corner Cover |  | 200248000004 | 0.29
GR300001061074 | Display Board Z69A | Display Board Z69A | n/a | 300001061074 | 2.6 | 192.192 | 640.64 | 800.8 | 1000
|  | Waterproofing Membrane |  | 63079408 | 0.07
|  | Display Cover |  | 200009060012 | 0.09
|  | Display Box |  | 200028060050 | 0.16
|  | Front Grill Assy |  | 000142000003 | 5.7
|  | Front Grill |  | 200226000002S | 3.1
|  | Fastener |  | 200108000005 | 0.04
|  | Filter Sub-Assy |  | 11729405 | 2.3
|  | Membrane |  | 600006000038 | 0.18
|  | Air Cleaner |  | 11012701 | 0.34
|  | Packaging Foam |  | 110007060543 | 0.27
13. KVM-10IDAH-I | GFH(09)CA-D6DNA1C/I
INDOOR
|  | Top Cover Board Assy | KVM-15IDAH-I | 01265200066 | 4.8
|  | Top Cover Board Sub-assy | KVM-15IDAH-I | 01265200067 | 3.7
|  | Cover Plate (Top) | KVM-15IDAH-I | 01265200056 | 3.7
|  | Centrifugal fan assy | KVM-15IDAH-I | 000052060176
|  | Blower Mounting Plate Sub-Assy | KVM-15IDAH-I | 01325200034 | 3
|  | Motor Support | KVM-15/20IDAH-I | 01805200144 | 1.4
| Fan Motor(IDU) FG20H | Fan Motor FG20H | KVM-15/20IDAH-I | 1570520106 | 16.2
|  | Bar Clasp | KVM-15/20IDAH-I | 012133000018 | 0.05
|  | Support Sub-assy | KVM-15/20IDAH-I | 017027000051 | 0.31
|  | Centrifugal Fan | KVM-15/20IDAH-I | 10425200003 | 0.95
|  | Fan Nesting | KVM-10/15/20/25ICAH-I, KVM-15/20IDAH-I | 0220520401 | 0.36
| Housing (blower) - Upper | Propeller Housing(Upper) | KVM-15/20IDAH-I | 26905200018 | 0.53
| Housing (blower) - Lower | Propeller Housing(Lower) | KVM-15/20IDAH-I | 26905200019 | 0.37
|  | Sponge(front Propeller Housing) | KVM-15IDAH-I | 12205576 | 0.02
|  | Right Side Plate Assy | KVM-15/20IDAH-I | 01315200053 | 1.8
|  | Right Side Plate Sub-Assy | KVM-15/20IDAH-I | 01315200052 | 1.5
|  | Left Side Plate Assy | KVM-15/20IDAH-I | 000080000022 | 1.9
|  | Left Side Plate Sub-Assy | KVM-15/20IDAH-I | 017037000041 | 1.6
| Evaporator | Evaporator Assy |  | 011001061751 | 22.7
| Evaporator | Evaporator Assy |  | 011001061752 | 20.4
| Strainer | Strainer | KVM-15/20IDAH-I | 0721200102 | 0.47
|  | Gas Collecting Pipe Sub-Assy |  | 030005000276 | 3.7
GR2010104 | Temperature Sensor 20KT-EH-2P-K3-450mm | Temperature Sensor 20KT-EH-2P-K3(黑)-450mm | KSG-150B1G/250B1G/KSG-300B1F/KSG-20B2/KFS-10BMINV/KSG-100B1G, KVM-15/20IDAH-I | 390000597 | 0.3
| Temperature Sensor 15KS-XH-2P-K3-350mm | Temperature Sensor 15KS-XH-2P-K3(黑)-350mm(有下挂) | KVM-25ISAH-I, KVM-15/20IDAH-I | 390000453 | 0.22
|  | Damping Block 200X200X5(1.6) | KVM-15IDAH-I | 76012451 | 0.38
GR812007060016 | Water Pump DP-12230 ; 208-230V / 50-60Hz / 9.4W / 8W | Water Pump SB-0.024/1.2-A | KVM-15/20IDAH-I | 812007060016 | 6 | 443.52 | 1108.8 | 1386 | 3000
|  | Rubber Sheet | KVM-15/20IDAH-I | 760019060014 | 0.04
| Drain Hose | Drainage Pipe(Rubber) | KVM-15/20IDAH-I | 760022000001 | 1.5
|  | Seal plate Assy | KVM-15/20IDAH-I | 000112000008 | 0.17
| Drain Pan | Water Tray Assy | KVM-15IDAH-I | 01285200020 | 3.7
| Drain Pan (Styro) | Water Tray | KVM-15IDAH-I | 26905200023 | 1.6
| Rubber Plug | Rubber Plug | KVM-15/20IDAH-I | 76815200002 | 0.11
|  | Bottom Cover Plate Assy | KVM-15IDAH-I | 01264100102 | 2.5
|  | Cover Plate (Top) | KVM-15IDAH-I | 01265200055 | 2.1
|  | Air Outlet Frame Assy | KVM-15IDAH-I | 01374100057 | 1.9
|  | Air Outlet Frame Sub-assy | KVM-15IDAH-I | 017043060003 | 1.4
|  | Cover Plate Sub-Assy | KVM-15IDAH-I | 011657000030 | 2.3
|  | Cover Plate(Air return) | KVM-15IDAH-I | 01265200057 | 1.8
|  | Hook 2 | KVM-15/20IDAH-I | 01344100034 | 0.09
| PCB with Casing | Electric Box Assy |  | 100002071511 | 14.6
GR300002061990 | PCB (IDU) Z4L1512CJ | Main Board Z4L1512CJ | KVM-15/20IDAH-I | 300002061990 | 11.6 | 857.472 | 1714.944 | 2143.68 | 3000
GR4202021911 | Jumper 2.5mm | Jumper 2.5mm | KLG-SF40-WBR6H1M32 | 4202021911 | 0.05
|  | Insulation Gasket | KVM-15/20IDAH-I | 200123000001 | 0.02
| Terminal Board | Terminal Board | KVM-25ISAH-I, KVM-15/20IDAH-I | 42000100000207 | 0.31
| Capacitor CBB61S 2uF/450V(P2/S3) | Capacitor CBB61S CBB61S 2uF/450V(P2/S3) | KVM-25ICAH-I | 3301074702 | 0.35
|  | Electric Box Cover | KVM-15/20IDAH-I | 01425200023 | 1.2
|  | Filter Sub-Assy | KVM-15IDAH-I | 111001000082 | 1.6
GR300001060893_K79941 | Wired Remote Control Z4M3511AJ | Wired Remote Control Z4M3511AJ (Kolin Logo) | KVM-15/20IDAH-I | 300001060893 | 12.8 | 946.176 | 1892.352 | 2365.44 | 3000
| Front Panel | Front Panel | KVM-15/20IDAH-I | 200003060151
| Temperature Sensor 15KS/TLB-2-35mm | Temperature Sensor 15KS/TLB-2(JC2.0白)-35mm(有下挂) | KVM-15/20IDAH-I | 3900800014701 | 0.26
14. KVM-15IDAH-I | GFH(12)CA-D6DNA1C/I
INDOOR
|  | Top Cover Board Assy | KVM-10IDAH-I | 01265200066 | 4.8
|  | Top Cover Board Sub-assy | KVM-10IDAH-I | 01265200067 | 3.7
|  | Cover Plate (Top) | KVM-10IDAH-I | 01265200056 | 3.7
|  | Centrifugal fan assy | KVM-10IDAH-I | 000052060176
|  | Blower Mounting Plate Sub-Assy | KVM-10IDAH-I | 01325200034 | 3
|  | Motor Support | KVM-10/20IDAH-I | 01805200144 | 1.4
| Fan Motor(IDU) FG20H | Fan Motor FG20H | KVM-10/20IDAH-I | 1570520106 | 16.2
|  | Bar Clasp | KVM-10/20IDAH-I | 012133000018 | 0.05
|  | Support Sub-assy | KVM-10/20IDAH-I | 017027000051 | 0.31
|  | Centrifugal Fan | KVM-10/20IDAH-I | 10425200003 | 0.95
|  | Fan Nesting | KVM-10/15/20/25ICAH-I, KVM-10/20IDAH-I | 0220520401 | 0.36
| Housing (blower) - Upper | Propeller Housing(Upper) | KVM-10/20IDAH-I | 26905200018 | 0.53
| Housing (blower) - Lower | Propeller Housing(Lower) | KVM-10/20IDAH-I | 26905200019 | 0.37
|  | Sponge(front Propeller Housing) | KVM-10/20IDAH-I | 12205576 | 0.02
|  | Right Side Plate Assy | KVM-10/20IDAH-I | 01315200053 | 1.8
|  | Right Side Plate Sub-Assy | KVM-10/20IDAH-I | 01315200052 | 1.5
|  | Left Side Plate Assy | KVM-10/20IDAH-I | 000080000022 | 1.9
|  | Left Side Plate Sub-Assy | KVM-10/20IDAH-I | 017037000041 | 1.6
| Evaporator | Evaporator Assy |  | 011001000474 | 26.6
| Evaporator | Evaporator Assy |  | 011001000473 | 26.3
|  | Gas Collecting Pipe Sub-Assy |  | 030005060345 | 3.8
| Strainer | Strainer | KVM-10/20IDAH-I | 0721200102 | 0.47
GR2010104 | Temperature Sensor 20KT-EH-2P-K3-450mm | Temperature Sensor 20KT-EH-2P-K3(黑)-450mm | KSG-150B1G/250B1G/KSG-300B1F/KSG-20B2/KFS-10BMINV/KSG-100B1G, KVM-10/20IDAH-I | 390000597 | 0.3
| Temperature Sensor 15KS-XH-2P-K3-350mm | Temperature Sensor 15KS-XH-2P-K3(黑)-350mm | KVM-25ISAH-I, KVM-10/20IDAH-I | 390000453 | 0.22
|  | Damping Block 200X200X5(1.6) | KVM-10IDAH-I | 76012451 | 0.38
|  | Rubber Sheet | KVM-10/20IDAH-I | 760019060014 | 0.04
| Drain Hose | Drainage Pipe(Rubber) | KVM-10/20IDAH-I | 760022000001 | 1.5
|  | Seal plate Assy | KVM-10/20IDAH-I | 000112000008 | 0.17
| Drain Pan | Water Tray Assy | KVM-10IDAH-I | 01285200020 | 3.7
| Drain Pan (Styro) | Water Tray | KVM-10IDAH-I | 26905200023 | 1.6
| Rubber Plug | Rubber Plug | KVM-10/20IDAH-I | 76815200002 | 0.11
|  | Bottom Cover Plate Assy | KVM-10IDAH-I | 01264100102 | 2.5
|  | Cover Plate (Top) | KVM-10IDAH-I | 01265200055 | 2.1
|  | Air Outlet Frame Assy | KVM-10IDAH-I | 01374100057 | 1.9
|  | Air Outlet Frame Sub-assy | KVM-10IDAH-I | 017043060003 | 1.4
|  | Cover Plate Sub-Assy | KVM-10IDAH-I | 011657000030 | 2.3
|  | Cover Plate(Air return) | KVM-10IDAH-I | 01265200057 | 1.8
|  | Hook 2 | KVM-10/20IDAH-I | 01344100034 | 0.09
| PCB with Casing | Electric Box Assy |  | 100002071508 | 14.7
|  | Insulation Gasket | KVM-10/20IDAH-I | 200123000001 | 0.02
| Terminal Board (3位) | Terminal Board (3位) | KVM-25ISAH-I, KVM-10/20IDAH-I | 42000100000207 | 0.31
| Capacitor CBB61S 3.5uF/450V(P2/S3) | Capacitor CBB61 CBB61S 3.5uF/450V(P2/S3) | KVM-20IDAH-I | 3301074705 | 0.43
|  | Electric Box Cover | KVM-10/20IDAH-I | 01425200023 | 1.2
| Filter net | Filter Sub-Assy | KVM-10IDAH-I | 111001000082 | 1.6
| Front Panel | Front Panel | KVM-10/15IDAH-I | 200003060151
| Temperature Sensor 15KS/TLB-2-35mm | Temperature Sensor 15KS/TLB-2(JC2.0白)-35mm(有下挂) | KVM-10/15IDAH-I | 3900800014701 | 0.26
15. KVM-20IDAH-I | GFH(18)CB-D6DNA1C/I
INDOOR
|  | Top Cover Board Assy |  | 01265200068 | 7.6
|  | Top Cover Board Sub-assy |  | 01265200069 | 5.7
|  | Top Cover |  | 01265200070 | 5
|  | Centrifugal fan assy |  | 000052000076 | 32.4
|  | Blower Mounting Plate Sub-Assy |  | 01325200035 | 4.2
| Fan Motor FG20H | Fan Motor FG20H | KVM-10/15IDAH-I | 1570520106 | 16.2
|  | Support Sub-assy | KVM-10/15IDAH-I | 017027000051 | 0.31
|  | Bar Clasp | KVM-10/15IDAH-I | 012133000018 | 0.05
|  | Motor Support | KVM-10/15IDAH-I | 01805200144 | 1.4
|  | Centrifugal Fan | KVM-10/15IDAH-I | 10425200003 | 0.95
|  | Fan Nesting | KVM-15/20/25ICAH-I, KVM-10/15IDAH-I | 0220520401 | 0.36
|  | Propeller Housing(Upper) | KVM-10/15IDAH-I | 26905200018 | 0.53
|  | Sponge(front Propeller Housing) | KVM-10/15IDAH-I | 12205576 | 0.02
| Housing (blower) - Lower | Propeller Housing(Lower) | KVM-10/15IDAH-I | 26905200019 | 0.37
|  | Joint Slack | KVM-25ICAH-I | 73018731 | 1.4
|  | Rotary Axis Sub-Assy |  | 73018761 | 1.9
|  | Bearing Holder Sub-assy |  | 26151139 | 0.19
|  | Bearing Holder |  | 26151138 | 0.12
|  | Support Of Motor Bearing |  | 02285200001 | 0.09
|  | Support (shaft) |  | 01805200175 | 0.24
|  | Right Side Plate Assy | KVM-10/15IDAH-I | 01315200053 | 1.8
|  | Right Side Plate Sub-Assy | KVM-10/15IDAH-I | 01315200052 | 1.5
| Evaporator | Evaporator Assy |  | 011001000506 | 49.8
| Evaporator | Evaporator Assy |  | 011001060229 | 49.5
| Strainer | Strainer | KVM-10/15IDAH-I | 0721200102 | 0.47
GR2010104 | Temperature Sensor 20KT-EH-2P-K3-450mm | Temperature Sensor 20KT-EH-2P-K3(黑)-450mm | KSG-150B1G/250B1G/KSG-300B1F/KSG-20B2/KFS-10BMINV/KSG-100B1G, KVM-10/15IDAH-I | 390000597 | 0.3
| Temperature Sensor 15KS-XH-2P-K3-350mm | Temperature Sensor 15KS-XH-2P-K3(黑)-350mm | KVM-25ISAH-I, KVM-10/15IDAH-I | 390000453 | 0.22
|  | Left Side Plate Assy | KVM-10/15IDAH-I | 000080000022 | 1.9
|  | Left Side Plate Sub-Assy | KVM-10/15IDAH-I | 017037000041 | 1.6
|  | Rubber Sheet | KVM-10/15IDAH-I | 760019060014 | 0.04
| Drain Hose | Drainage Pipe(Rubber) | KVM-10/15IDAH-I | 760022000001 | 1.5
|  | Seal plate Assy | KVM-10/15IDAH-I | 000112000008 | 0.17
| Drain Pan | Water Tray Assy |  | 01285200022 | 5.1
| Drain Pan (Styro) | Water Tray |  | 26905200024 | 2.4
| Rubber Plug | Rubber Plug | KVM-10/15IDAH-I | 76815200002 | 0.11
|  | Bottom Cover Plate Assy |  | 01264100103 | 3.6
|  | Bottom Cover Plate |  | 01265200072 | 2.9
|  | Air Outlet Frame Assy |  | 01374100058 | 2.6
|  | Air Outlet Frame Sub-assy |  | 017043060001 | 1.9
|  | Cover Plate Sub-Assy |  | 011657000032 | 3
|  | Cover Of Air-In |  | 01265200073 | 2.3
|  | Hook 2 | KVM-10/15IDAH-I | 01344100034 | 0.09
| PCB with Casing | Electric Box Assy |  | 100002071505 | 14.7
|  | Insulation Gasket | KVM-10/15IDAH-I | 200123000001 | 0.02
| Terminal Board | Terminal Board | KVM-25ISAH-I, KVM-10/15IDAH-I | 42000100000207 | 0.31
| Capacitor CBB61S 3.5uF/450V(P2/S3) | Capacitor CBB61 CBB61S 3.5uF/450V(P2/S3) | KVM-15IDAH-I | 3301074705 | 0.43
|  | Electric Box Cover | KVM-10/15IDAH-I | 01425200023 | 1.2
| Filter net | Filter Sub-Assy |  | 111253038 | 2.2
| Front Panel | Front Panel | KVM-10/15IDAH-I | 200003060151
| Temperature Sensor 15KS/TLB-2-35mm | Temperature Sensor 15KS/TLB-2(JC2.0白)-35mm | KVM-10/15IDAH-I | 3900800014701 | 0.26
16. KVM-20VAH1M-O | GWHD(18)ND6BO
OUTDOOR
|  | Chassis Sub-assy |  | 017000060760P | 5.7
| Compressor QXF-A120zH170A | Compressor and Fittings QXF-A120zH170A |  | 009001060655 | 58.9
| Condenser | Condenser Assy |  | 011002061524 | 38.8
|  | Valve Support Assy |  | 030163060044 | 25.6
|  | Cut off Valve Sub-Assy(1/4) | KVM-30/40/50VAH1M-O | 030057060367 | 1.6
|  | Cut off Valve Sub-Assy 3/8 | KVM-30/40/50VAH1M-O | 030057060366 | 2.4
| Pressure Valve 3/8" | Cut off Valve 3/8(N) | KLG-IF40-2C1M, KFS-35DINV, KVM-30/40/50VAH1M-O | 071302391 | 2.1
| Electronic Expansion Valve Assy | Electronic Expansion Valve assy |  | 030174060148 | 10.7
| Electronic Expansion Valve DPF(TS1)1.4C-08/B1.3C-065 | Electronic Expansion Valve DPF(TS1)1.4C-08/B1.3C-065 | KVM-30/40/50VAH1M-O | 072009060033 | 3.9
| Strainer | Strainer | KVM-30/40/50VAH1M-O | 0721304401 | 0.4
|  | Current Divider |  | 07222401 | 0.36
| Electronic Expansion Valve DPF(TS1)1.4C-08/B1.3C-065 | Electronic Expansion Valve DPF(TS1)1.4C-08/B1.3C-065 | KVM-30/40/50VAH1M-O | 072009060033 | 3.9
| Strainer | Strainer | KVM-30/40/50VAH1M-O | 0721304401 | 0.4
| Pressure valve (4 way) | 4-Way Valve Assy |  | 30152060922 | 11.2
| Pressure valve (4 way) | 4-Way Valve Assy |  | 030152060672 | 11
| Fan Motor Bracket (ODU) | Motor Support |  | 012048060140 | 1.5
GR150104060095 | Fan Motor (ODU) FW30R-ZL(10P) | Brushless DC Motor FW30R-ZL(10P) | KSG-IWF-10WFY-8K1M32 | 150104060095 | 8.3
GR103002060015 | Propeller Fan 440x128mm | Axial Flow Fan | KSG-IWF-15WFY-8K1M32 | 103002060015 | 1.2
|  | 4 Way Valve Coil 220-240V/50/60Hz-350 |  | 43000400123 | 1.5
| Electric Expansion Valve Fitting PQ-M10012-000011 | Electric Expand Valve Fitting PQ-M10012-000011 |  | 07200206002309 | 2.6
| Electric Expansion Valve Fitting PQ-M10012-000494 | Electric Expand Valve Fitting PQ-M10012-000494 |  | 07200206002315 | 2.7
| PCB with Casing | Electric Box Assy |  | 100002078340
GR300027063098 | PCB (ODU) W8882BA | Main Board W8882BA | n/a | 300027063098 | 40.1 | 2964.192 | 4940.32 | 6175.4 | 6500
|  | XY capacitor 0.33uF±10%/275VAC(X2) |  | 33020201 | 0.09
GR422000060075 | Terminal Block (ODU) | Terminal Board (3位) | KSG-IWF-10WFY/15WFY/20WFY/25WFY/30WFY | 422000060075 | 0.55
| Terminal Block (ODU) | Terminal Board (3位) | KVM-10/15/20ISAH-I, KVM-20/30/40/50VAH1M-O | 422000060015 | 0.35
|  | Wire Clamp (B+A) |  | 200015060019 | 0.11
| Temperature Sensor 20KT/15KS/50KT-XARP-06V-850/600/350mm | Temperature Sensor 20KT/15KS/50KT-XARP-06V-850/600/350mm |  | 3900030905 | 1.2
| Sensor Sub-assy | Sensor Sub-assy |  | 390002060125 | 1.4
|  | Left Side Plate |  | 012055060395P | 1.8
|  | Right Side Plate |  | 012056060396P | 2.2
|  | Front Grill (杏灰9082C) |  | 200057060014 | 0.74
|  | Cabinet |  | 012022060010P | 5.1
|  | Top Cover Assy |  | 000097060355 | 4
|  | Rear Grill |  | 016001060082 | 1.1
| Handle (9082C) | Handle (杏灰9082C) |  | 200149060019 | 0.58
| Valve Cover (9082C) | Valve Cover (杏灰9082C) |  | 200087060006 | 0.41
|  | Drainage Joint (杏灰9082C) | KVM-30/40/50VAH1M-O | 26113009 | 0.03
17. KVM-30VAH1M-O | GWHD(28)ND6BO
OUTDOOR
|  | Chassis Sub-assy |  | 017000060775P | 9.8
| Compressor QXFS-M180zX170 | Compressor and Fittings QXFS-M180zX170 |  | 009001060621 | 74.3
|  | Valve Support Assy |  | 030163060029 | 37.5
|  | Cut off Valve Sub-Assy 3/8 | KVM-20/40/50VAH1M-O | 030057060366 | 2.4
| Pressure Valve 3/8" | Cut off Valve 3/8(N) | KLG-IF40-2C1M, KFS-35DINV, KVM-20/40/50VAH1M-O | 071302391 | 2.1
|  | Cut off Valve Sub-Assy(1/4) | KVM-20/40/50VAH1M-O | 030057060367 | 1.6
| Electronic Expansion Valve assy | Electronic Expansion Valve assy |  | 030174060163 | 15.8
| Electronic Expansion Valve DPF(TS1)1.4C-08/B1.3C-065 | Electronic Expansion Valve DPF(TS1)1.4C-08/B1.3C-065 | KVM-20/40/50VAH1M-O | 072009060033 | 3.9
|  | Strainer | KVM-20/40/50VAH1M-O | 0721304401 | 0.4
|  | Strainer | KVM-20/40/50VAH1M-O | 0721304401 | 0.4
| Electronic Expansion Valve PF(TS1)1.4C-08/B1.3C-065 | Electronic Expansion Valve PF(TS1)1.4C-08/B1.3C-065 | KVM-20/40/50VAH1M-O | 072009060033 | 3.9
| Electronic Expansion Valve PF(TS1)1.4C-08/B1.3C-065 | Electronic Expansion Valve PF(TS1)1.4C-08/B1.3C-065 | KVM-20/40/50VAH1M-O | 072009060033 | 3.9
|  | Strainer | KVM-20/40/50VAH1M-O | 0721304401 | 0.4
| Electric Expand Valve Fitting PQ-M10012-000523 | Electric Expand Valve Fitting PQ-M10012-000523 |  | 07200206002312 | 2.7
| Electric Expand Valve Fitting PQ-M10012-001413 | Electric Expand Valve Fitting PQ-M10012-001413 |  | 07200206002326 | 2.7
| Electric Expand Valve Fitting PQ-M10012-001414 | Electric Expand Valve Fitting PQ-M10012-001414 |  | 07200206002327 | 2.7
| Condenser | Condenser Assy |  | 011002061647 | 75.8
| Metal Partition | Clapboard Sub-Assy | KVM-40VAH1M-O | 017021060671 | 1.8
GR012048060145 | Fan Motor Bracket (ODU) | Motor Support | KSG-IWF-25WFY/30WFY-8K1M32, KVM-40VAH1M-O | 012048060145 | 3.3
| Fan Motor (ODU) B-LW60R-ZL(10P | Brushless DC Motor B-LW60R-ZL(10P) | KVM-40VAH1M-O | 150104060103 | 14.9
GR10335262 | Propeller Fan 520x152mm | Axial Flow Fan | KSG-IWF-25WFY/30WFY-8K1M32, KVM-40VAH1M-O | 10335262 | 2.1
|  | Gas-liquid Separator |  | 07223048 | 6.7
|  | Nuts M5X16 | KVM-40VAH1M-O | 70110295 | 0.02
| Pressure valve (4 way) | 4-Way Valve Assy |  | 030152061067 | 13.6
| Pressure valve (4 way) | 4-Way Valve Assy |  | 030152060695 | 13.4
|  | Silencer |  | 07243027 | 1.3
|  | 4 Way Valve Coil 220-240V/50/60Hz-350 |  | 43000400123 | 1.5
|  | Temperature Sensor 20KT/20KT-SMP-04V(白色)-550/1000mm | KVM-40VAH1M-O | 3900007316 | 0.79
|  | Temperature Sensor 20KT/20KT-SMP-04V(黑色)-500/1000mm | KVM-40VAH1M-O | 3900007319 | 0.78
|  | Temperature Sensor 20KT/20KT-SMP-04V(红色)-500/950mm | KVM-40VAH1M-O | 3900007317 | 0.79
|  | Electric Box Assy |  | 100002078346
GR300027063086 | PCB (ODU) W8882AY | Main Board W8882AY | n/a | 300027063086 | 45.7 | 3378.144 | 4825.92 | 6032.4 | 6500
|  | Terminal Board (2位) |  | 42000100000101 | 0.23
|  | Terminal Board (3位) | KVM-15/20ISAH-I, KVM-20/30/40/50VAH1M-O | 422000060015 | 0.35
|  | Insulation Gasket |  | 70410334 | 0.02
|  | Wire Clamp | KVM-10/15/20ISAH-I, | 71010103 | 0.02
|  | Wire Clamp (A+A)(黑色443C) | KVM-40/50VAH1M-O | 200015060018 | 0.11
|  | Left Side Plate | KVM-40VAH1M-O | 012055060393P | 3.3
|  | Right Side Plate | KVM-40VAH1M-O | 012056060436P | 4.3
GR3900030901 | Temperature Sensor Assembly | Temperature Sensor 20KT/15KS/50KT-XARP-06V-1200/800/600mm | KFS-35/45DINV/KLG-IF40-3D1M, KFS-20DINV | 3900030901 | 1.5
|  | Front Grill | KVM-40VAH1M-O | 200057060016 | 1.2
| Front Panel | Front Panel | KVM-40VAH1M-O | 012073061611P | 6.8
|  | Top Cover Assy | KVM-40VAH1M-O | 00009706033301 | 5
|  | Rear Grill | KVM-40VAH1M-O | 016001060085 | 1.2
|  | Valve Cover (杏灰9082C) | KVM-40VAH1M-O | 200087060007 | 0.51
|  | Handle Assy | KVM-40VAH1M-O | 000223000018 | 0.74
|  | Handle (杏灰9082C) | KVM-40VAH1M-O | 200149060021 | 0.73
|  | Pipe Connector | KVM-40/50VAH1M-O | 06642038 | 1.8
|  | Drainage Joint (杏灰9082C) | KVM-20/40/50VAH1M-O | 26113009 | 0.03
18. KVM-40VAH1M-O | GWHD(36)ND6BO
OUTDOOR
|  | Chassis Sub-assy |  | 017000060774P | 9.8
GR00900106060301 | Compressor QXFS-B212zX070 ; 260-350V / 900-7200rpm / R32/R410a | Compressor and Fittings QXFS-B212zX070 | n/a | 00900106060301 | 78.8 | 5824.896 | 7281.12 | 9101.4 | 12000
|  | Compressor Gasket ZE8.639.648 |  | 009012000022 | 0.25
| Condenser | Condenser Assy |  | 011002061648 | 87.3
| Electronic Expansion Valve | Electronic Expansion Valve assy |  | 030174060172 | 21.5
| Strainer | Strainer | KVM-20/30/50VAH1M-O | 0721304401 | 0.4
| Electronic Expansion Valve DPF(TS1)1.4C-08/B1.3C-065 | Electronic Expansion Valve DPF(TS1)1.4C-08/B1.3C-065 | KVM-20/30/50VAH1M-O | 072009060033 | 3.9
| Strainer | Strainer | KVM-20/30/50VAH1M-O | 0721304401 | 0.4
| Electronic Expansion Valve DPF(TS1)1.4C-08/B1.3C-065 | Electronic Expansion Valve DPF(TS1)1.4C-08/B1.3C-065 | KVM-20/30/50VAH1M-O | 072009060033 | 3.9
| Strainer | Strainer | KVM-20/30/50VAH1M-O | 0721304401 | 0.4
| Electronic Expansion Valve 1.4C-08/B1.3C-065 | Electronic Expansion Valve 1.4C-08/B1.3C-065 | KVM-20/30/50VAH1M-O | 072009060033 | 3.9
| Electronic Expansion Valve DPF(TS1)1.4C-08/B1.3C-065 | Electronic Expansion Valve DPF(TS1)1.4C-08/B1.3C-065 | KVM-20/30/50VAH1M-O | 072009060033 | 3.9
| Strainer | Strainer | KVM-20/30/50VAH1M-O | 0721304401 | 0.4
|  | Cut off Valve Sub-Assy 3/8 | KVM-20/30/50VAH1M-O | 030057060366 | 2.4
| Pressure valve (4 way) | Cut off Valve 3/8(N) | KVM-20/30/50VAH1M-O | 071302391 | 2.1
|  | Cut off Valve Sub-Assy(1/4) | KVM-20/30/50VAH1M-O | 030057060367 | 1.6
| Electric Expand Valve Fitting PQ-M10012-000502 | Electric Expand Valve Fitting PQ-M10012-000502 |  | 07200206002318 | 2.7
| Electric Expand Valve Fitting PQ-M10012-001408 | Electric Expand Valve Fitting PQ-M10012-001408 |  | 7200206002324 | 2.7
| Electric Expand Valve Fitting | Electric Expand Valve Fitting |  | 072002060030 | 3.7
| Electric Expand Valve Fitting PQ-M10012-001223 | Electric Expand Valve Fitting PQ-M10012-001223 |  | 07200206002325 | 2.7
|  | 4-Way Valve Assy |  | 030152061375 | 13.2
|  | Silencer |  | 7243027 | 1.3
| Metal Partition | Clapboard Sub-Assy | KVM-30VAH1M-O | 017021060671 | 1.8
|  | Gas-liquid Separator |  | 07223048 | 6.7
|  | Nuts M5X16 | KVM-30VAH1M-O | 70110295 | 0.02
GR012048060145 | Fan Motor Bracket (ODU) | Motor Support | KSG-IWF-25WFY/30WFY-8K1M32, KVM-30VAH1M-O | 012048060145 | 3.3
| Fan Motor (ODU) B-LW60R-ZL(10P) | Brushless DC Motor B-LW60R-ZL(10P) | KVM-30VAH1M-O | 150104060103 | 14.9
GR10335262 | Propeller Fan 520x152mm | Axial Flow Fan | KSG-IWF-25WFY/30WFY-8K1M32, KVM-30VAH1M-O | 10335262 | 2.1
|  | Magnet Coil 220V-240V 50Hz-60Hz-250 | KVM-50VAH1M-O | 4300040072 | 1.3
|  | Electric Box Assy |  | 100002078349
GR300027063088 | PCB (ODU) W8882AZ | Main Board W8882AZ | n/a | 300027063088 | 46 | 3400.32 | 4857.6 | 6072 | 6500
| Terminal Board (2位) | Terminal Board (2位) |  | 42000100000101 | 0.23
| Terminal Board (3位) | Terminal Board (3位) | KVM-15/20ISAH-I, KVM-20/30/50VAH1M-O | 422000060015 | 0.35
|  | Insulation Gasket |  | 70410334 | 0.02
|  | Wire Clamp (A+A)(黑色443C) | KVM-30/50VAH1M-O | 200015060018 | 0.11
GR3900030901 | Temperature Sensor Assembly | Temperature Sensor 20KT/15KS/50KT-XARP-06V-1200/800/600mm | KFS-35/45DINV/KLG-IF40-3D1M, KFS-20DINV, KVM-30VAH1M | 3900030901 | 1.5
| Temperature Sensor 20KT/20KT-SMP-04V-550/1000mm | Temperature Sensor 20KT/20KT-SMP-04V(白色)-550/1000mm(有下挂) | KVM-30VAH1M-O | 3900007316 | 0.79
| Temperature Sensor 20KT/20KT-SMP-04V-500/1000mm | Temperature Sensor 20KT/20KT-SMP-04V(黑色)-500/1000mm(有下挂) | KVM-30VAH1M-O | 3900007319 | 0.78
| Temperature Sensor 20KT/20KT-SMP-04V-500/950mm | Temperature Sensor 20KT/20KT-SMP-04V(红色)-500/950mm(有下挂) | KVM-30VAH1M-O | 3900007317 | 0.79
| Temperature Sensor 20KT/20KT-SMP-04V-300/850mm | Temperature Sensor 20KT/20KT-SMP-04V(黄色)-300/850mm | KVM-30VAH1M-O | 3900007318 | 0.74
|  | Left Side Plate | KVM-30VAH1M-O | 012055060393P | 3.3
|  | Right Side Plate | KVM-30VAH1M-O | 012056060436P | 4.3
|  | Front Grill (杏灰9082C) | KVM-30VAH1M-O | 200057060016 | 1.2
|  | Front Panel | KVM-30VAH1M-O | 012073061611P | 6.8
|  | Rear Grill | KVM-30VAH1M-O | 016001060085 | 1.2
|  | Top Cover Assy | KVM-30VAH1M-O | 00009706033301 | 5
|  | Handle Assy | KVM-30VAH1M-O | 000223000018 | 0.74
|  | Handle (杏灰9082C) | KVM-30VAH1M-O | 200149060021 | 0.73
|  | Valve Cover (杏灰9082C) | KVM-30VAH1M-O | 200087060007 | 0.51
|  | Pipe Connector | KVM-30/50VAH1M-O | 06642038 | 1.8
|  | Drainage Joint (杏灰9082C) | KVM-20/30/50VAH1M-O | 26113009 | 0.03
19. KVM-50VAH1M-O | GWHD(42)ND6BO
OUTDOOR
|  | Chassis Sub-assy |  | 01700006084601P | 11.3
| Compressor QXFS-D280zX070C | Compressor and Fittings QXFS-D280zX070C |  | 009001060896 | 107.4
|  | Compressor Gasket ZE8.639.019 |  | 76713066 | 0.25
| Condenser | Condenser Assy |  | 011002062063 | 131.5
|  | Current Divider |  | 035032060012 | 0.79
|  | Gas-liquid Separator Assy |  | 07225017 | 7.3
|  | Cut off Valve Sub-Assy(1/4) | KVM-20/30/40VAH1M-O | 030057060367 | 1.6
| Electronic Expansion Valve assy | Electronic Expansion Valve assy |  | 030174060240 | 27.7
| Electronic Expansion Valve DPF(TS1)1.4C-08/B1.3C-065 | Electronic Expansion Valve DPF(TS1)1.4C-08/B1.3C-065 | KVM-20/30/40VAH1M-O | 072009060033 | 3.9
|  | Strainer | KVM-20/30/40VAH1M-O | 0721304401 | 0.4
|  | Strainer | KVM-20/30/40VAH1M-O | 0721304401 | 0.4
| Electronic Expansion Valve DPF(TS1)1.4C-08/B1.3C-065 | Electronic Expansion Valve DPF(TS1)1.4C-08/B1.3C-065 | KVM-20/30/40VAH1M-O | 072009060033 | 3.9
| Electronic Expansion Valve DPF(TS1)1.4C-08/B1.3C-065 | Electronic Expansion Valve DPF(TS1)1.4C-08/B1.3C-065 | KVM-20/30/40VAH1M-O | 072009060033 | 3.9
|  | Strainer | KVM-20/30/40VAH1M-O | 0721304401 | 0.4
| Electronic Expansion Valve 1.4C-08/B1.3C-065 | Electronic Expansion Valve 1.4C-08/B1.3C-065 | KVM-20/30/40VAH1M-O | 072009060033 | 3.9
|  | Strainer | KVM-20/30/40VAH1M-O | 0721304401 | 0.4
|  | Strainer | KVM-20/30/40VAH1M-O | 0721304401 | 0.4
| Electronic Expansion Valve DPF(TS1)1.4C-08/B1.3C-065 | Electronic Expansion Valve DPF(TS1)1.4C-08/B1.3C-065 | KVM-20/30/40VAH1M-O | 072009060033 | 3.9
|  | Cut off Valve Sub-Assy 3/8 | KVM-20/30/40VAH1M-O | 030057060366 | 2.4
| Pressure valve (4 way) | Cut off Valve 3/8(N) | KLG-IF40-2C1M, KFS-35DINV, KVM-20/30/40VAH1M-O | 071302391 | 2.1
| Electric Expand Valve Fitting PQ-M10012-000106 | Electric Expand Valve Fitting PQ-M10012-000106 |  | 07200206002301 | 2.7
| Electric Expand Valve Fitting PQ-M10012-000347 | Electric Expand Valve Fitting PQ-M10012-000347 |  | 07200206002303 | 2.7
| Electric Expand Valve Fitting PQ-M10012-000349 | Electric Expand Valve Fitting PQ-M10012-000349 |  | 07200206002304 | 2.7
| Electric Expand Valve Fitting PQ-M10012-000350 | Electric Expand Valve Fitting PQ-M10012-000350 |  | 07200206002305 | 2.7
| Electric Expand Valve Fitting PQ-M10012-001580 | Electric Expand Valve Fitting PQ-M10012-001580 |  | 07200206002335 | 2.7
|  | 4-Way Valve Assy |  | 030152061248 | 20.7
| Magnet Coil 220V-240V 50Hz-60Hz-250 | Magnet Coil 220V-240V 50Hz-60Hz-250 | KVM-40VAH1M-O | 4300040072 | 1.3
| Fan Motor Bracket (ODU) | Motor Support Sub-Assy |  | 017012060353 | 6.2
| Fan Motor (ODU) B-SWZ130E | Brushless DC Motor B-SWZ130E |  | 15010406011801 | 22.4
| Propeller Fan | Axial Flow Fan (黑色BLACK C) |  | 1043410000501 | 3.1
|  | Electric Box Assy |  | 100002078350
GR300020060099 | Filter Board LB900E | Filter Board LB900E | n/a | 300020060099 | 13.8 | 1020.096 | 1700.16 | 2125.2 | 2500
GR300027063103 | PCB (ODU) W8362EM | Main Board W8362EM | n/a | 300027063103 | 76.8 | 5677.056 | 7096.32 | 8870.4 | 9000
|  | Terminal Board (2位) |  | 422000060012 | 0.78
|  | Terminal Board (3位) | KVM-15/20ISAH-I, KVM-20/30/40VAH1M-O | 422000060015 | 0.35
|  | Wire Clamp (A+A)(黑色443C) | KVM-30/40VAH1M-O | 200015060018 | 0.11
GR3900030815 | Temperature Sensor Assy (ODU) 20KT/15KS/50KT-XARP-06V-1100/700/300mm | Temperature Sensor 20KT/15KS/50KT-XARP-06V(象牙白)-1100/700/300mm( | KLG-IF40-5G1M32 | 3900030815 | 1.4
|  | Sensor Sub-assy |  | 39000206003904 | 3.5
|  | Left Side Plate |  | 012055060419P | 4.1
|  | Handle 杏灰9082C) |  | 26233053 | 0.05
|  | Front Panel Assy |  | 000003060764 | 13.1
|  | Front Grill |  | 200057060031 | 1.8
|  | Cabinet |  | 012022060021P | 11.1
|  | Right Side Plate |  | 012056060565P | 5.4
|  | Rear Grill |  | 016001060101 | 1.4
|  | Top Cover Sub-Assy |  | 000051060248 | 6.5
|  | Top cover |  | 012049060148P | 7.3
|  | Handle (杏灰9082C) |  | 200149060029 | 1.1
|  | Valve Cover (杏灰9082C) |  | 200087060009 | 0.66
|  | Packaging Foam |  | 110007060697 | 1.5
|  | Packaging Foam |  | 110007060696 | 1
|  | Pipe Connector | KVM-30/40VAH1M-O | 06642038 | 1.8
|  | Drainage Joint (杏灰9082C) | KVM-20/30/40VAH1M-O | 26113009 | 0.03

## Sheet1
GR300002063819 | PCB (IDU) M871F2DEJ | KVM-10IWAH-I | GWH(09)ATB-D6DNA1A/I | Main Board M871F2DEJ | 300002063819
GR300001061358 | Display Board D5683AB | KVM-10IWAH-I | GWH(09)ATB-D6DNA1A/I | Display Board D5683AB | 300001061358
GR30510589_K79941 | Remote Control YAP1F (new Kolin Logo) | KVM-10IWAH-I | GWH(09)ATB-D6DNA1A/I | Remote Controller YAP1F (Kolin Logo) | 30510589_K79941
GR300002063841 | PCB (IDU) M871F2DFJ | KVM-15IWAH-I | GWH(12)ATC-D6DNA1A/I | Main Board M871F2DFJ | 300002063841
GR300001061359 | Display Board D5685AC | KVM-15IWAH-I | GWH(12)ATC-D6DNA1A/I | Display Board D5685AC | 300001061359
GR300002063424 | PCB (IDU) M869F2BGJ | KVM-20IWAH-I | GWH(18)ATD-D6DNA1A/I | Main Board M869F2BGJ | 300002063424
GR300002060140 | PCB (IDU) Z4L2512AJ | KVM-10ICAH-I | GTH(09)CA-D6DNA1A/I | Main Board Z4L2512AJ | 300002060140
GR300002061959 | PCB (IDU) Z4M551GJ | KVM-10ISAH-I | GKH(09)EB-D6DNA5A/I | Main Board Z4M551GJ | 300002061959
GR300001060286 | Display Board D5313BB | KVM-10ISAH-I | GKH(09)EB-D6DNA5A/I | Display Board D5313BB | 300001060286
GR4313800005802 | Water Pump PSB-0.024/1.2-A ; DC12V/1200mm/400ml/min ; 4.2W/0.32A | KVM-10ISAH-I | GKH(09)EB-D6DNA5A/I | Water Pump PSB-0.024/1.2-A | 4313800005802
GR430024000005 | Water Level Switch | KVM-10ISAH-I | GKH(09)EB-D6DNA5A/I | Liquid Level Switch | 430024000005
GR300002061990 | PCB (IDU) Z4L1512CJ | KVM-10IDAH-I | GFH(09)CA-D6DNAIC/I | Main Board Z4L1512CJ | 300002061990
GR300001060893_K79941 | Wired Remote Control Z4M3511AJ | KVM-10IDAH-I | GFH(09)CA-D6DNAIC/I | Wired Remote Control Z4M3511AJ (Kolin Logo) | 300001060893_K79941
GR812007060016 | Water Pump DP-12230 ; 208-230V / 50-60Hz / 9.4W / 8W | KVM-10IDAH-I | GFH(09)CA-D6DNAIC/I | Water Pump DP-12230 / SB-0.024/1.2-A | 812007060016
GR300027063098 | PCB (ODU) W8882BA | KVM-20VAHIM-O | GWHD(18)ND6BO | Main Board W8882BA | 300027063098
GR300027063086 | PCB (ODU) W8882AY | KVM-30VAHIM-O | GWHD(28)ND6BO | Main Board W8882AY | 300027063086
GR300027063088 | PCB (ODU) W8882AZ | KVM-40VAHIM-O | GWHD(36)ND6BO | Main Board W8882AZ | 300027063088
GR300027063103 | PCB (ODU) W8362EM | KVM-50VAHIM-O | GWHD(42)ND6BO | Main Board W8362EM | 300027063103
GR300020060099 | Filter Board LB900E | KVM-50VAHIM-O | GWHD(42)ND6BO | Filter Board LB900E | 300020060099
GR01100106240501 | Evaporator ; Blue Aluminum fins 2 rows/ 28 lines (LxHxW) 635 x 261 x 23mm | KVM-15IWAH-I
GR103001060038 | Blower wheel Ø94mm x 629mm | KVM-15IWAH-I
GR15010106028201 | Fan Motor RPG20B-3 (FN20B-PG) | KVM-15IWAH-I
GR011001062414 | Evaporator ; Evaporator Blue Aluminum fins 2 rows/ 28 lines (LxHxW) 703x 318x 23mm | KVM-20IWAH-I
GR103001060034 | Blower wheel Ø108mm x 691mm | KVM-20IWAH-I
GR15010406008801 | Fan Motor (IDU) DC ZWR45-B / FN45B-ZL (10P) | KVM-20IWAH-I
GR00900106060301 | Compressor QXFS-B212zX070 ; 260-350V / 900-7200rpm / R32/R410a | KVM-40VAHIM-O