`                                                                                                             QUOTATION

| Quotation No. | 250085 |
| --- | --- |
| Date | 06 09 2025 |
| Terms |  |
| Installation date |  |
| Technical Mgr. | Resty G Mutuc |

Kings Aire Ref and Aircon Services

421 Pulilan National Rd.Brgy. Sto Cristo Pulilan Bulacan

TEL#   044-794-0321

044-326-0923 / 0999-449-2628

Email: kingsaire@yahoo.com

AIRCON Installation Quotation

Ship To                                                                                    Bill to

REYZ PASCUAL

CHURCH

| ITEM | QTY | U/M | PARTICULARS | UNIT COST PHP | AMOUNT |
| --- | --- | --- | --- | --- | --- |
| 1 | 2 | UNIT | INSTALLATION OF 10HP FLOOR MOUNTED INCLUSION: - 10FT COPPER TUBE (HARD DRAWN TYPE L) - 7/8 X 3/8 WITH RUBBER INSULATION - 10FT ROYAL CORD 2MM2 (GROUND WIRE) - CONSUMABLE MATERIALS LIKE AEROTAPE, POLYETHYLENE TAPE, ELECTRIC TAPE, SCREWS AND SEALANT FLUSHING, LEAK TESTING AND VACUUM TESTING AND COMMISSIONING EXLUSION: - EXCESS OF 10FT COPPER TUBE (HARD DRAWN/TYPE L) - 7/8 X 3/8 WITH RUBBER INSULATION - EXCESS OF 10FT ROYAL CORD - CIRCUIT BREAKER 100AMPS/3PH - POWER SUPPLY WIRE, DISMANTLING OF EXISTING UNIT - INDOOR AND OUTDOOR BRACKET - MASONRY, CARPENTRY WORKS AND EQUIPMENT MOBILIZATION | PHP 20,000.00 | PHP 40,000.00 |
|  |  |  |  | TOTAL | PHP 40,000.00 |

PAVILLION

| 1 | 12 | UNIT | INSTALLATION OF 10HP FLOOR MOUNTED INCLUSION: - 10FT COPPER TUBE (HARD DRAWN TYPE L) - 7/8 X 3/8 WITH RUBBER INSULATION - 10FT ROYAL CORD 2MM2 (GROUND WIRE) - CONSUMABLE MATERIALS LIKE AEROTAPE, POLYETHYLENE TAPE, ELECTRIC TAPE, SCREWS AND SEALANT FLUSHING, LEAK TESTING AND VACUUM TESTING AND COMMISSIONING EXLUSION: - EXCESS OF 10FT COPPER TUBE (HARD DRAWN/TYPE L) - 7/8 X 3/8 WITH RUBBER INSULATION - EXCESS OF 10FT ROYAL CORD - CIRCUIT BREAKER 100AMPS/3PH - POWER SUPPLY WIRE, DISMANTLING OF EXISTING UNIT - INDOOR AND OUTDOOR BRACKET - MASONRY, CARPENTRY WORKS AND EQUIPMENT MOBILIZATION | PHP 20,000.00 | PHP 240,000.00 |
| --- | --- | --- | --- | --- | --- |
|  |  |  |  | TOTAL | PHP 240,000.00 |

|  |  |  |  | GRAND TOTAL | PHP 280,000.00 |
| --- | --- | --- | --- | --- | --- |

NOTES: 10 UNITS WERE APPROVED TO BE INSTALLED BACK TO BACK, WHILE FOR THE OTHER 2 UNITS, NO FINAL LOCATION FOR THE OUTDOOR UNIT AND SUBJECT FOR CUSTOMER’S APPROVAL. IN EXCESS OF THE 10 FEET INCLUSION IS CHARGEABLE AT 850/FEET.

Should you have any queries or need clarifications please don’t hesitate to give us call.