## 2022
	KOLIN PHILIPPINES INTERNATIONAL, INC.
	1854C Santa Rita St. Guadalupe Nuevo, Makati City
	2022 General Cleaning of Air- Conditioning- Monitoring

		SERIAL NUMBER	MODEL NAME	LOCATION	1st Cleaning Schedule	Bldg./Work Order Request No.	Service Job Report	2nd Cleaning Schedule	Bldg./Work Order Request No.	Service Job Report	Latest Cleaning Schedule	Bldg./Work Order Request No.	Service Job Report	Remarks
Out Door Unit ( 22 Units )	SYS 1 Master	15401704-10006	VMK5 - 160TINV (O)	ROOF DECK (Master ACU 1)	02/19/22	509	96259
	SYS 1 ACU 1 A	15401704-10001	VMK5 - 160TINV (O)	ROOF DECK (Slave ACU 1A)	02/19/22	509	96243
	SYS 1 ACU 1 B	15401704-10005	VMK5 - 160TINV (O)	ROOF DECK (Slave ACU 1B)	02/19/22	509	96242
	SYS 1 ACU 1 C	15401704-10008	VMK5 - 160TINV (O)	ROOF DECK (Slave ACU 1C)	02/19/22	509	96255
	SYS 2 Master	15401704-10007	VMK5 - 160TINV (O)	ROOF DECK (Master ACU 2)	02/19/22	509	96237
	SYS 2 ACU 2 A	15401704-10002	VMK5 - 160TINV (O)	ROOF DECK (Slave ACU 2A)	02/19/22	509	96258
	SYS 2 ACU 2 B	15401704-10004	VMK5 - 160TINV (O)	ROOF DECK (Slave ACU 2B)	02/19/22	509	96245
	SYS 2 ACU 2 C	15401704-10003	VMK5 - 160TINV (O)	ROOF DECK (Slave ACU 2C)	02/19/22	509	96253
	ACCU 8	15411711-10001	VMK5-220TINV-O	ROOF DECK	02/19/22	509	96231
	ACCU 7	17161806-10327	KLM-IC40-2C1M-O	ROOF DECK	03/23/22	657	100258
	ACCU 3	17161806-10321	KLM-IC40-2C1M-O	ROOF DECK	03/23/22	657	100259
	ACCU 4	20131706-10055	KLM-SS70-2C1M-O	ROOF DECK	03/23/22	657	100260
	ACCU 5	20141607-10008	KLM-SS70-2C1M-O	ROOF DECK	03/23/22	657	100261
	ACCU 6	2014706-10050	KLM-SS70-2C1M-O	ROOF DECK	03/23/22	657	100262
	ACCU 1	20141607-10002	KLM-SS70-2C1M-O	ROOF DECK	03/23/22	657	100264
	ACCU 2	20141607-10022	KLM-SS70-2C1M-O	ROOF DECK
	ACCU	20141607-10013	KLM-SS70-2C1M-O	ROOF DECK	03/23/22	657	100265
	ACCU	18071705-12717	KSM-IW20-4FM-O	ROOF DECK ( SERVER )	02/26/22	640	96753
	ACCU	18071705-14179	KSM-IW20-4FM-O	ROOF DECK ( SERVER )	02/26/22	640	96754
	ACCU	17161706-10193		LOWER GROUND	03/23/22	657	100266
	ACCU	18141612-10001		LOWER GROUND
	ACCU	18081705-13219	KSM-IW20-4F1M-O	LOWER GROUND	03/23/22	657	100267
		SERIAL NUMBER	MODEL NAME	LOCATION	1st Cleaning Schedule	Bldg./Work Order Request No.	Service Job Report	2nd Cleaning Schedule	Bldg./Work Order Request No.	Service Job Report	Latest Cleaning Schedule	Bldg./Work Order Request No.	Service Job Report	Remarks
Ground Floor ( 7 Units )	SYS 1 FCU 15	15371704-10001	VRK5-15BRINV (I)	Ground floor - Clinic	12/18/21	565	90960	07/16/22	767	116792
	SYS 1FCU 16	15331704-10011	VRK5-30CSINV (I)	Ground Floor - Lobby	12/18/21	565	90959	07/02/22	N/A	115188
	SYS 1 FCU 17	15381704-10001	VRK5-51FLINV (I)	Showroom - Floor Mounted	12/18/21	565	90954	07/16/22	766	116793
	SYS 1FCU 18	15381704-10002	VRK5-51FLINV (I)	Showroom - Floor Mounted	12/18/21	565	90953	07/16/22	767	116794
	SYS 1FCU 19	15391704-10001		Showroom - Floor Ceiling	Not in use
	FCU 11	18071705-14341	KSM-IW20-4F1M	Tools and Parts Office	03/22/22	N/A	100627	07/02/22	N/A	115189		0808/155	121252	Pump down
	FCU 12	17151706-10195	KLM-IC40-2C1M	Lounge Area	12/18/21	565	90961	07/02/22	Indoor	115191	07/20/22	N/A	117426	Done
						07/16/22	765 outdoor	116789
		SERIAL NUMBER	MODEL NAME	LOCATION	1st Cleaning Schedule	Bldg./Work Order Request No.	Service Job Report	2nd Cleaning Schedule	Bldg./Work Order Request No.	Service Job Report	Latest Cleaning Schedule	Bldg./Work Order Request No.	Service Job Report	Remarks
2nd Floor ( 14 Units )	SYS 1 FCU 1	15331704-10010	VRK5-30CSINV (I)	SALES DEPT. - Sir Andrew	01/08/22	568	92241	07/02/22	N/A	115147
	SYS 1 FCU 2	15331704-10001	VRK5-30CSINV (I)	SALES DEPT. - DC/Marketing	12/11/21	555	89974	07/02/22	N/A	115148
	SYS 1 FCU 3	15341704-10001	VRK5-15CSWINV(I)	SALES DEPT. - Sir Ket	12/11/21	555	89976	07/02/22	N/A	115146
	SYS 1 FCU 4	15361704-10001	VRK5-10CSTINV-I	SALES DEPT.- Kiko	12/11/21	555	89973	07/02/22	N/A	115149
	SYS 1 FCU 5	15331704-10008	VRK5-30CSINV (I)	SALES DEPT. - MEG/Norben	12/11/21	555	89978	07/02/22	N/A	115150
	SYS 1 FCU 6	15331704-10007	VRK5-30CSINV (I)	SERVICE DEPT. - Call Taker	12/11/21	555	89972	06/25/22	N/A	114555
	SYS 1 FCU 7	15331704-10021	VRK5-30CSINV (I)	SERVICE DEPT. -Near Sir Alvin	01/28/22	568	92242	06/25/22	N/A	114556
	SYS 1 FCU 8	15331704-10005	VRK5-30CSINV (I)	SERVICE DEPT. - SURVEYOR	01/08/22	568	92243	06/25/22	N/A	114557
	SYS 1 FCU 9	15331704-10020	VRK5-30CSINV (I)	SERVICE DEPT. - Engineering	01/08/22	568	92244	06/25/22	N/A	114562
	SYS 1 FCU 10	15331704-10024	VRK5-30CSINV (I)	HR Department	01/08/22	568	92245	06/25/22	N/A	114559	07/18/22	N/A	116322
	SYS 1 FCU 11	15331704-10002	VRK5-30CSINV (I)	RECRUITMENT - HR	01/08/22	568	92246	07/06/22	N/A	116094
	SYS 1 FCU 12	15361704-10002	VRK5-10CSTINV-I	2nd/F - Hallway	Not in use
	SYS 1 FCU 13	15331704-10003	VRK5-30CSINV (I)	PANTRY 1	01/08/22	568	92242	06/25/22	N/A	114560
	SYS 1 FCU 14	15331704-10016	VRK5-30CSINV (I)	PANTRY 2	01/08/22	568	92245	06/25/22	N/A	114561
	SYSTEM 2
		SERIAL NUMBER	MODEL NAME	LOCATION	1st Cleaning Schedule	Bldg./Work Order Request No.	Service Job Report	2nd Cleaning Schedule	Bldg./Work Order Request No.	Service Job Report	Latest Cleaning Schedule	Bldg./Work Order Request No.	Service Job Report	Remarks
3rd Floor ( 17 units )	SYS 2 FCU 8	15361704-10007		3rd/F Hallway (Xerox Copy)	Not in use
	SYS 2 FCU 7	15331704-10022	VRK5-30CSINV (I)	Sir kiko ( Marketing )	12/04/21	554	89275	05/28/22	699	109814	01/07/23	904	135420
	SYS 2 FCU 9	15321704-10001	VRK5-20CSINV (I)	Sir Ronie Ruiz ( O.P )	12/04/21	554	89276	05/28/22	699	109815	01/07/23	903	135419
	SYS 2 FCU 10	15331704-10015	VRK5-30CSINV (I)	(Treasury Dept.) - Mam Edith	12/04/21	554	89277	05/28/22	699	109816	01/07/53	902	135418
	SYS 2 FCU 11	15331704-10004	VRK5-30CSINV (I)	(Finance Dept.) - Kiko Nipes	12/04/21	554	89278	05/28/22	699	109818	01/07/23	901	135416
	SYS 2 FCU 12	15361704-10003	VRK5-10CSTINV-I	3rd/F Hallway (C.R)	Not in use
	SYS 2 FCU 13	15331704-10014	VRK5-30CSINV (I)	Service Accounting - Richell Valencia	12/04/21	554	89303	05/28/22	699		01/07/23	900	135415
	SYS 2 FCU 14	15351704-10001	VRK5-18CSWINV (I)	President Office - TYT	12/04/21	554	89279	03/26/22	N/A	100869	12/10/23		135067
	SYS 2 FCU 15	15331704-10009	VRK5-30CSINV (I)	Conference Room	12/18/21		89970	05/28/22	699	109417	12/10/22		135069
	SYS 2 FCU 16	15331704-10013	VRK5-30CSINV (I)	Service Accounting 2	12/04/24	554	89304	06/04/22	N/A	110758	01/07/23	899	135414
	SYS 2 FCU 17	15351704-10002	VRK5-18CSWINV (I)	Meeting Room	12/18/21	565	89971	06/04/22	N/A	109820	10/10/23		13571
	SYS 2 FCU 18	15351704-10003	VRK5-18CSWINV (I)	Vice President - OMF	12/04/21	554	89302	03/26/22	N/A	100867
	SYS 2 FCU 19	15331704-10023	VRK5-30CSINV (I)	Admin Department	12/11/21	555	89972	04/23/22	N/A	104644	12/10/22		135072
	SYS 2 FCU 20	15361704-10006		3rd/F Hallway (Elevator)	Not in use
	SYS 2 FCU 21	15331704-10017	VRK5-30CSINV (I)	MIS Department	12/11/22	555	89978	06/04/22	N/A	109822
	FCU 9	18071705-14420(I)	KSM-IW20-4F1M	MIS Server Room 1	02/26/22	640	96753	07/20/22	174	117465
	FCU 10	18071705-14428(I)	KSM-IW20-4F1M	MIS Server Room 2	02/26/22	640	96754	07/20/22	174	117463
		SERIAL NUMBER	MODEL NAME	LOCATION	1st Cleaning Schedule	Bldg./Work Order Request No.	Service Job Report	2nd Cleaning Schedule	Bldg./Work Order Request No.	Service Job Report	Latest Cleaning Schedule	Bldg./Work Order Request No.	Service Job Report	Remarks
4rth Floor 14 Units	FCU 1	20131706-10017(I)	KLM-SS70-2C1M	Training Room	12/16/21	563/102	90758	05/18/22	698	107018	11/16/22		131768
	FCU 2	20131706-10054(I)	KLM-SS70-2C1M	New HR Area
	FCU 3	20131706-10065(I)	KLM-SS70-2C1M	Fourth Floor (Vacant Room)	12/16/21	563/102	90756	05/18/22	698	107009	07/15/22	N/A	73804
	FCU 4	20131706-10064(I)	KLM-SS70-2C1M	Fourth Floor (Vacant Room)	12/16/21	563/102	90753	07/15/22	N/A	73806
	FCU 5	20131708-10083(I)	KLM-SS70-2C1M	Fourth Floor (Vacant Room)	12/16/21	563/102	90752	05/18/22	698	114420
	FCU 6	20131708-10077(I)	KLM-SS70-2C1M	Admin Storage Room	12/16/21	563/102	90759	05/09/22	698	107016
	FCU 7	17151806-10316(I)	KLM-IC40-2C1M	AVR 3	12/16/21	563/102	90736	05/09/22	698	10713	16-Nov		131761
	FCU 8	17151806-10341(I)	KLM-IC40-2C1M	AVR 4	12/16/21	563/102	90737				16-Nov		131763
	SYS 2 FCU 4	15361704-10005		4th/F Hallway (Elevator)	Not in use
	SYS 2 FCU 2	15331704-10019	VRK5-30CSINV (I)	Board room Office	05/11/22	698	107012	05/15/22	698	107020	16-Nov		131762
	SYS 2 FCU 3	15331704-10012	VRK5-30CSINV (I)	Executive Conference Room	05/11/22	698	107007				11/16/22		131767
	SYS 2 FCU 1	15361704-10004		4th/F Hallway - CR	Not in use
	SYS 2 FCU 5	15331704-10006	VRK5-30CSINV (I)	AVR Room 1	12/18/2021 / 12/12/21	563/102	90955 /90734				16-Nov		131760
	SYS 2 FCU 6	15331704-10018	VRK5-30CSINV (I)	AVR Room 2	12/16/21	563/102	90735	May 19, 22	698	107010
		SERIAL NUMBER	MODEL NAME	LOCATION	1st Cleaning Schedule	Bldg./Work Order Request No.	Service Job Report	2nd Cleaning Schedule	Bldg./Work Order Request No.	Service Job Report	Latest Cleaning Schedule	Bldg./Work Order Request No.	Service Job Report	Remarks
	A.H.U 1	---	VRK5 – 42APINV	Ground Floor - Rest room Area	03/16/22	610	99349	12/15/22	790	N/A
	A.H.U 2	---	VRK5 – 42APINV	Second Floor – Pantry Area	03/11/22	610	96275	12/15/22	854	N/A
	A.H.U 3	---	VRK5 – 42APINV	Third Floor – O.P Area	02/26/22	610	96273	12/15/22	855	N/A
	A.H.U 4	---	VRK5 – 42APINV	Fourth Floor – Training Area	02/26/22	610	96272	12/15/22	856	N/A

	Total Of Indoor Unit Cleaned:
	Total Of Out Door Units Clean:
	Total number of unit need for cleaning schedule: 23 units
	Total Number Of Indoor Units:
	Total Numbers Of Out Door Units:

			Prepared by:			Noted by:

				Arnel D. Balmedina			Norberto G. Julve Jr.
				Admin. Sr. Maintenance Staff			Admin Supervisor

## Repair
	KOLIN PHILIPPINES INTERNATIONAL, INC.
	1854C Santa Rita St. Guadalupe Nuevo, Makati City
	2022 Air conditioning Trouble & Repair Monitoring

	SYSTEM 1
		SERIAL NUMBER	MODEL NAME	LOCATION	January	Bldg./Work Order Request No.	Service Job Report	Issue	February	Bldg./Work Order Request No.	Service Job Report	Issue	March	Bldg./Work Order Request No.	Service Job Report	Issue	April	Bldg./Work Order Request No.	Service Job Report	Issue	May	Bldg./Work Order Request No.	Service Job Report	Issue	June	Bldg./Work Order Request No.	Service Job Report	Issue	July	Bldg./Work Order Request No.	Service Job Report	Issue	August	Bldg./Work Order Request No.	Service Job Report	Issue	September	Bldg./Work Order Request No.	Service Job Report		October	Bldg./Work Order Request No.	Service Job Report	November	Bldg./Work Order Request No.	Service Job Report	December	Bldg./Work Order Request No.	Service Job Report
Out Door Unit ( 22 Units )	ACCU 1	15401704-10006	VMK5 - 160TINV (O)	ROOF DECK (Master ACU 1)	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A		OK	N/A	N/A		OK	N/A	N/A	N/A	OK	N/A	N/A	N/A
	ACCCU 2	15401704-10001	VMK5 - 160TINV (O)	ROOF DECK (Slave ACU 1A)	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A		OK	N/A	N/A		OK	N/A	N/A	N/A	OK	N/A	N/A	N/A
	ACCU 3	15401704-10005	VMK5 - 160TINV (O)	ROOF DECK (Slave ACU 1B)	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A		OK	N/A	N/A		OK	N/A	N/A	N/A	OK	N/A	N/A	N/A
	ACCU 4	15401704-10008	VMK5 - 160TINV (O)	ROOF DECK (Slave ACU 1C)	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A		OK	N/A	N/A		OK	N/A	N/A	N/A	OK	N/A	N/A	N/A
	ACCU1	15401704-10007	VMK5 - 160TINV (O)	ROOF DECK (Master ACU 2)	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A		OK	N/A	N/A		OK	N/A	N/A	N/A	OK	N/A	N/A	N/A
	ACCU2	15401704-10002	VMK5 - 160TINV (O)	ROOF DECK (Slave ACU 2A)	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A		OK	N/A	N/A		OK	N/A	N/A	N/A	OK	N/A	N/A	N/A
	ACCU3	15401704-10004	VMK5 - 160TINV (O)	ROOF DECK (Slave ACU 2B)	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A		OK	N/A	N/A		OK	N/A	N/A	N/A	OK	N/A	N/A	N/A
	ACCU4	15401704-10003	VMK5 - 160TINV (O)	ROOF DECK (Slave ACU 2C)	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A		OK	N/A	N/A		OK	N/A	N/A	N/A	OK	N/A	N/A	N/A
	ACCU	15411711-10001	VMK5-220TINV-O	ROOF DECK	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A		OK	N/A	N/A		OK	N/A	N/A	N/A	OK	N/A	N/A	N/A
	ACCU	17161806-10327	KLM-IC40-2C1M-O	ROOF DECK	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A		OK	N/A	N/A		OK	N/A	N/A	N/A	OK	N/A	N/A	N/A
	ACCU	17161806-10321	KLM-IC40-2C1M-O	ROOF DECK	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A		OK	N/A	N/A		OK	N/A	N/A	N/A	OK	N/A	N/A	N/A
	ACCU	20131706-10055	KLM-SS70-2C1M-O	ROOF DECK	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A		OK	N/A	N/A		OK	N/A	N/A	N/A	OK	N/A	N/A	N/A
	ACCU	20141607-10008	KLM-SS70-2C1M-O	ROOF DECK	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A		OK	N/A	N/A		OK	N/A	N/A	N/A	OK	N/A	N/A	N/A
	ACCU	2014706-10050	KLM-SS70-2C1M-O	ROOF DECK	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A		OK	N/A	N/A		OK	N/A	N/A	N/A	OK	N/A	N/A	N/A
	ACCU	20141607-10002	KLM-SS70-2C1M-O	ROOF DECK	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A		OK	N/A	N/A		OK	N/A	N/A	N/A	OK	N/A	N/A	N/A
	ACCU	20141607-10022	KLM-SS70-2C1M-O	ROOF DECK	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A		OK	N/A	N/A		OK	N/A	N/A	N/A	OK	N/A	N/A	N/A
	ACCU	20141607-10013	KLM-SS70-2C1M-O	ROOF DECK	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A		OK	N/A	N/A		OK	N/A	N/A	N/A	OK	N/A	N/A	N/A
	ACCU	18071705-12717	KSM-IW20-4FM-O	ROOF DECK ( SERVER )	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A		OK	N/A	N/A		OK	N/A	N/A	N/A	OK	N/A	N/A	N/A
	ACCU	18071705-14179	KSM-IW20-4FM-O	ROOF DECK ( SERVER )	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A		OK	N/A	N/A		OK	N/A	N/A	N/A	OK	N/A	N/A	N/A
	ACCU	17161706-10193		LOWER GROUND	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A		OK	N/A	N/A		OK	N/A	N/A	N/A	OK	N/A	N/A	N/A
	ACCU	18141612-10001		LOWER GROUND	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A		OK	N/A	N/A		OK	N/A	N/A	N/A	OK	N/A	N/A	N/A
	ACCU	18081705-13219	KSM-IW20-4F1M-O	LOWER GROUND	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A		OK	N/A	N/A		OK	N/A	N/A	N/A	OK	N/A	N/A	N/A
		SERIAL NUMBER	MODEL NAME	LOCATION	January	Bldg./Work Order Request No.	Service Job Report	Issue	February	Bldg./Work Order Request No.	Service Job Report	Issue	March	Bldg./Work Order Request No.	Service Job Report	Issue	April	Bldg./Work Order Request No.	Service Job Report	Issue	May	Bldg./Work Order Request No.	Service Job Report	Issue	June	Bldg./Work Order Request No.	Service Job Report	Issue	July	Bldg./Work Order Request No.	Service Job Report	Issue	August	Bldg./Work Order Request No.	Service Job Report	Issue	September	Bldg./Work Order Request No.	Service Job Report		October	Bldg./Work Order Request No.	Service Job Report	November	Bldg./Work Order Request No.	Service Job Report	December	Bldg./Work Order Request No.	Service Job Report
Ground Floor ( 7 Units )	FCU 15	15371704-10001	VRK5-15BRINV (I)	Ground floor - Clinic	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A
	FCU 16	15331704-10011	VRK5-30CSINV (I)	Ground Floor - Lobby	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A
	FCU 17	15381704-10001	VRK5-51FLINV (I)	Showroom - Floor Mounted	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A
	FCU 18	15381704-10002	VRK5-51FLINV (I)	Showroom - Floor Mounted	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A
	FCU 19	15391704-10001		Showroom - Floor Ceiling	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A
	FCU 11	18071705-14341	KSM-IW20-4F1M	Tools and Parts Office	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A
	FCU 12	17151706-10195	KLM-IC40-2C1M	Lounge Area	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A
		SERIAL NUMBER	MODEL NAME	LOCATION	January	Bldg./Work Order Request No.	Service Job Report	Issue	February	Bldg./Work Order Request No.	Service Job Report	Issue	March	Bldg./Work Order Request No.	Service Job Report	Issue	April	Bldg./Work Order Request No.	Service Job Report	Issue	May	Bldg./Work Order Request No.	Service Job Report	Issue	June	Bldg./Work Order Request No.	Service Job Report	Issue	July	Bldg./Work Order Request No.	Service Job Report	Issue	August	Bldg./Work Order Request No.	Service Job Report	Issue	September	Bldg./Work Order Request No.	Service Job Report		October	Bldg./Work Order Request No.	Service Job Report	November	Bldg./Work Order Request No.	Service Job Report	December	Bldg./Work Order Request No.	Service Job Report
2nd Floor ( 14 Units )	FCU 1	15331704-10010	VRK5-30CSINV (I)	SALES DEPT. - Sir Andrew	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	04/08/22	N/A	103751	Water dripping only	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A
	FCU 2	15331704-10001	VRK5-30CSINV (I)	SALES DEPT. - DC/Marketing	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A
	FCU 3	15341704-10001	VRK5-15CSWINV(I)	SALES DEPT. - RRP	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A
	FCU 4	15361704-10001	VRK5-10CSTINV-I	SALES DEPT.- Kiko	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A
	FCU 5	15331704-10008	VRK5-30CSINV (I)	SALES DEPT. - MEG/Norben	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A
	FCU 6	15331704-10007	VRK5-30CSINV (I)	SERVICE DEPT. - Call Taker	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A
	FCU 7	15331704-10021	VRK5-30CSINV (I)	SERVICE DEPT. -Near Sir Alvin	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A
	FCU 8	15331704-10005	VRK5-30CSINV (I)	SERVICE DEPT. - SURVEYOR	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	23-Mar	N/A	101096	Replace Drain Pump & Float Valve	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A
	FCU 9	15331704-10020	VRK5-30CSINV (I)	SERVICE DEPT. - Engineering	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A
	FCU 10	15331704-10024	VRK5-30CSINV (I)	HR Department	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A
	FCU 11	15331704-10002	VRK5-30CSINV (I)	RECRUITMENT - HR	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A
	FCU 12	15361704-10002	VRK5-10CSTINV-I	2nd/F - Hallway	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A
	FCU 13	15331704-10003	VRK5-30CSINV (I)	PANTRY 1	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A
	FCU 14	15331704-10016	VRK5-30CSINV (I)	PANTRY 2	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A
	SYSTEM 2
		SERIAL NUMBER	MODEL NAME	LOCATION	January	Bldg./Work Order Request No.	Service Job Report	Issue	February	Bldg./Work Order Request No.	Service Job Report	Issue	March	Bldg./Work Order Request No.	Service Job Report	Issue	April	Bldg./Work Order Request No.	Service Job Report	Issue	May	Bldg./Work Order Request No.	Service Job Report	Issue	June	Bldg./Work Order Request No.	Service Job Report	Issue	July	Bldg./Work Order Request No.	Service Job Report	Issue	August	Bldg./Work Order Request No.	Service Job Report	Issue	September	Bldg./Work Order Request No.	Service Job Report	Issue	October	Bldg./Work Order Request No.	Service Job Report	November	Bldg./Work Order Request No.	Service Job Report	December	Bldg./Work Order Request No.	Service Job Report
3rd Floor ( 17 units )	FCU 8	15361704-10007		3rd/F Hallway (Xerox Copy)	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK				OK	N/A	N/A	N/A	OK	N/A	N/A	N/A		N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A
	FCU 7	15331704-10022	VRK5-30CSINV (I)	Sir Ronie Ruiz	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK				OK	N/A	N/A	N/A	OK	N/A	N/A	N/A		N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A
	FCU 9	15321704-10001	VRK5-20CSINV (I)	Sir Ronie Ruiz	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK				OK	N/A	N/A	N/A	OK	N/A	N/A	N/A		N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A
	FCU 10	15331704-10015	VRK5-30CSINV (I)	(Treasury Dept.) - Mam Edith	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK				OK	N/A	N/A	N/A	OK	N/A	N/A	N/A		N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	17-Sep	840	125068	Replace Sensor Assy.
	FCU 11	15331704-10004	VRK5-30CSINV (I)	(Finance Dept.) - Kiko Nipes	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK				OK	N/A	N/A	N/A	OK	N/A	N/A	N/A		N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A
	FCU 12	15361704-10003	VRK5-10CSTINV-I	3rd/F Hallway (C.R)	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK				OK	N/A	N/A	N/A	OK	N/A	N/A	N/A		N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A
	FCU 13	15331704-10014	VRK5-30CSINV (I)	Service Accounting - Richell Valencia	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK				OK	N/A	N/A	N/A	OK	N/A	N/A	N/A		N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A
	FCU 14	15351704-10001	VRK5-18CSWINV (I)	President Office - TYT	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK				OK	N/A	N/A	N/A	OK	N/A	N/A	N/A		N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A
	FCU 15	15331704-10009	VRK5-30CSINV (I)	Conference Room	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK				OK	N/A	N/A	N/A	OK	N/A	N/A	N/A		N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A
	FCU 16	15331704-10013	VRK5-30CSINV (I)	Service Accounting 2	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK				OK	N/A	N/A	N/A	OK	N/A	N/A	N/A		N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A
	FCU 17	15351704-10002	VRK5-18CSWINV (I)	Meeting Room	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK				OK	N/A	N/A	N/A	OK	N/A	N/A	N/A		N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A
	FCU 18	15351704-10003	VRK5-18CSWINV (I)	Vice President - OMF	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	11-Mar	N/A	99053	Drain Pump	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A		N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A
	FCU 19	15331704-10023	VRK5-30CSINV (I)	Admin Department	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	21-Mar	N/A	100249	No Command Display board/ Re plug	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A		N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A
	FCU 20	15361704-10006		3rd/F Hallway (Elevator)	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A					OK	N/A	N/A	N/A	OK	N/A	N/A	N/A		N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A
	FCU 21	15331704-10017	VRK5-30CSINV (I)	MIS Department	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A					OK	N/A	N/A	N/A	OK	N/A	N/A	N/A		N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A
	FCU 9	18071705-14420(I)	KSM-IW20-4F1M	MIS Server Room 1	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A					OK	N/A	N/A	N/A	OK	N/A	N/A	N/A		N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A
	FCU 10	18071705-14428(I)	KSM-IW20-4F1M	MIS Server Room 2	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A					OK	N/A	N/A	N/A	OK	N/A	N/A	N/A		N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A
		SERIAL NUMBER	MODEL NAME	LOCATION	January	Bldg./Work Order Request No.	Service Job Report	Scope Of Work	February	Bldg./Work Order Request No.	Service Job Report	Scope Of Work	March	Bldg./Work Order Request No.	Service Job Report		April	Bldg./Work Order Request No.	Service Job Report	Issue	May	Bldg./Work Order Request No.	Service Job Report	Issue	June	Bldg./Work Order Request No.	Service Job Report	Issue	July	Bldg./Work Order Request No.	Service Job Report	Issue	August	Bldg./Work Order Request No.	Service Job Report	Issue	September	Bldg./Work Order Request No.	Service Job Report		October	Bldg./Work Order Request No.	Service Job Report	November	Bldg./Work Order Request No.	Service Job Report	December	Bldg./Work Order Request No.	Service Job Report
4rth Floor 14 Units	FCU 1	20131706-10017(I)	KLM-SS70-2C1M	Training Room	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A
	FCU 2	20131706-10054(I)	KLM-SS70-2C1M	New HR Area	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A
	FCU 3	20131706-10065(I)	KLM-SS70-2C1M	Fourth Floor (Vacant Room)	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A
	FCU 4	20131706-10064(I)	KLM-SS70-2C1M	Fourth Floor (Vacant Room)	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A
	FCU 5	20131708-10083(I)	KLM-SS70-2C1M	Fourth Floor (Vacant Room)	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A
	FCU 6	20131708-10077(I)	KLM-SS70-2C1M	Admin Storage Room	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A
	FCU 7	17151806-10316(I)	KLM-IC40-2C1M	AVR 3	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A
	FCU 8	17151806-10341(I)	KLM-IC40-2C1M	AVR 4	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A
	SYS2 FCU 4	15361704-10005		4th/F Hallway (Elevator)	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A
	SYS2 FCU 2	15331704-10019	VRK5-30CSINV (I)	DCG/ECY Office	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A
	SYS2 FCU 3	15331704-10012	VRK5-30CSINV (I)	Directors Conference Room	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A
	SYS2 FCU 1	15361704-10004		4th/F Hallway - CR	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A
	SYS2 FCU 5	15331704-10006	VRK5-30CSINV (I)	AVR Room 1	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A
	SYS2 FCU 6	15331704-10018	VRK5-30CSINV (I)	AVR Room 2	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A	OK	N/A	N/A	N/A

## 2023
	KOLIN PHILIPPINES INTERNATIONAL, INC.
	1854C Santa Rita St. Guadalupe Nuevo, Makati City
	General Cleaning of Air- Conditioning- Monitoring

		SERIAL NUMBER	MODEL NAME	LOCATION	1st Cleaning Schedule	Bldg./Work Order Request No.	Service Job Report	2nd Cleaning Schedule	Bldg./Work Order Request No.	Service Job Report	Latest Cleaning Schedule	Bldg./Work Order Request No.	Service Job Report	Remarks
Out Door Unit ( 22 Units )	SYS 1 Master	15401704-10006	VMK5 - 160TINV (O)	ROOF DECK (Master ACU 1)
	SYS 1 ACU 1 A	15401704-10001	VMK5 - 160TINV (O)	ROOF DECK (Slave ACU 1A)
	SYS 1 ACU 1 B	15401704-10005	VMK5 - 160TINV (O)	ROOF DECK (Slave ACU 1B)
	SYS 1 ACU 1 C	15401704-10008	VMK5 - 160TINV (O)	ROOF DECK (Slave ACU 1C)
	SYS 2 Master	15401704-10007	VMK5 - 160TINV (O)	ROOF DECK (Master ACU 2)
	SYS 2 ACU 2 A	15401704-10002	VMK5 - 160TINV (O)	ROOF DECK (Slave ACU 2A)
	SYS 2 ACU 2 B	15401704-10004	VMK5 - 160TINV (O)	ROOF DECK (Slave ACU 2B)
	SYS 2 ACU 2 C	15401704-10003	VMK5 - 160TINV (O)	ROOF DECK (Slave ACU 2C)
	ACCU 8	15411711-10001	VMK5-220TINV-O	ROOF DECK
	ACCU 7	17161806-10327	KLM-IC40-2C1M-O	ROOF DECK
	ACCU 3	17161806-10321	KLM-IC40-2C1M-O	ROOF DECK
	ACCU 4	20131706-10055	KLM-SS70-2C1M-O	ROOF DECK
	ACCU 5	20141607-10008	KLM-SS70-2C1M-O	ROOF DECK
	ACCU 6	2014706-10050	KLM-SS70-2C1M-O	ROOF DECK
	ACCU 1	20141607-10002	KLM-SS70-2C1M-O	ROOF DECK
	ACCU 2	20141607-10022	KLM-SS70-2C1M-O	ROOF DECK
	ACCU	20141607-10013	KLM-SS70-2C1M-O	ROOF DECK
	ACCU	18071705-12717	KSM-IW20-4FM-O	ROOF DECK ( SERVER )
	ACCU	18071705-14179	KSM-IW20-4FM-O	ROOF DECK ( SERVER )
	ACCU	17161706-10193		LOWER GROUND
	ACCU	18141612-10001		LOWER GROUND
	ACCU	18081705-13219	KSM-IW20-4F1M-O	LOWER GROUND
		SERIAL NUMBER	MODEL NAME	LOCATION	1st Cleaning Schedule	Bldg./Work Order Request No.	Service Job Report	2nd Cleaning Schedule	Bldg./Work Order Request No.	Service Job Report	Latest Cleaning Schedule	Bldg./Work Order Request No.	Service Job Report	Remarks
Ground Floor ( 7 Units )	SYS 1 FCU 15	15371704-10001	VRK5-15BRINV (I)	Ground floor - Clinic
	SYS 1FCU 16	15331704-10011	VRK5-30CSINV (I)	Ground Floor - Lobby
	SYS 1 FCU 17	15381704-10001	VRK5-51FLINV (I)	Showroom - Floor Mounted
	SYS 1FCU 18	15381704-10002	VRK5-51FLINV (I)	Showroom - Floor Mounted
	SYS 1FCU 19	15391704-10001		Showroom - Floor Ceiling
	FCU 11	18071705-14341	KSM-IW20-4F1M	Tools and Parts Office
	FCU 12	17151706-10195	KLM-IC40-2C1M	Lounge Area
		SERIAL NUMBER	MODEL NAME	LOCATION	1st Cleaning Schedule	Bldg./Work Order Request No.	Service Job Report	2nd Cleaning Schedule	Bldg./Work Order Request No.	Service Job Report	Latest Cleaning Schedule	Bldg./Work Order Request No.	Service Job Report	Remarks
2nd Floor ( 14 Units )	SYS 1 FCU 1	15331704-10010	VRK5-30CSINV (I)	SALES DEPT. - Sir Andrew
	SYS 1 FCU 2	15331704-10001	VRK5-30CSINV (I)	SALES DEPT. - DC/Marketing
	SYS 1 FCU 3	15341704-10001	VRK5-15CSWINV(I)	SALES DEPT. - Sir Ket
	SYS 1 FCU 4	15361704-10001	VRK5-10CSTINV-I	SALES DEPT.- Kiko
	SYS 1 FCU 5	15331704-10008	VRK5-30CSINV (I)	SALES DEPT. - MEG/Norben
	SYS 1 FCU 6	15331704-10007	VRK5-30CSINV (I)	SERVICE DEPT. - Call Taker
	SYS 1 FCU 7	15331704-10021	VRK5-30CSINV (I)	SERVICE DEPT. -Near Sir Alvin
	SYS 1 FCU 8	15331704-10005	VRK5-30CSINV (I)	SERVICE DEPT. - SURVEYOR
	SYS 1 FCU 9	15331704-10020	VRK5-30CSINV (I)	SERVICE DEPT. - Engineering
	SYS 1 FCU 10	15331704-10024	VRK5-30CSINV (I)	HR Department
	SYS 1 FCU 11	15331704-10002	VRK5-30CSINV (I)	RECRUITMENT - HR
	SYS 1 FCU 12	15361704-10002	VRK5-10CSTINV-I	2nd/F - Hallway
	SYS 1 FCU 13	15331704-10003	VRK5-30CSINV (I)	PANTRY 1
	SYS 1 FCU 14	15331704-10016	VRK5-30CSINV (I)	PANTRY 2

	SYSTEM 2
		SERIAL NUMBER	MODEL NAME	LOCATION	1st Cleaning Schedule	Bldg./Work Order Request No.	Service Job Report	2nd Cleaning Schedule	Bldg./Work Order Request No.	Service Job Report	Latest Cleaning Schedule	Bldg./Work Order Request No.	Service Job Report	Remarks
3rd Floor ( 17 units )	SYS 2 FCU 8	15361704-10007		3rd/F Hallway (Xerox Copy)	Not in use
	SYS 2 FCU 7	15331704-10022	VRK5-30CSINV (I)	Sir kiko ( Marketing )
	SYS 2 FCU 9	15321704-10001	VRK5-20CSINV (I)	Sir Ronie Ruiz ( O.P )
	SYS 2 FCU 10	15331704-10015	VRK5-30CSINV (I)	(Treasury Dept.) - Mam Edith
	SYS 2 FCU 11	15331704-10004	VRK5-30CSINV (I)	(Finance Dept.) - Kiko Nipes
	SYS 2 FCU 12	15361704-10003	VRK5-10CSTINV-I	3rd/F Hallway (C.R)	Not in use
	SYS 2 FCU 13	15331704-10014	VRK5-30CSINV (I)	Service Accounting - Richell Valencia
	SYS 2 FCU 14	15351704-10001	VRK5-18CSWINV (I)	President Office - TYT
	SYS 2 FCU 15	15331704-10009	VRK5-30CSINV (I)	Conference Room
	SYS 2 FCU 16	15331704-10013	VRK5-30CSINV (I)	Service Accounting 2
	SYS 2 FCU 17	15351704-10002	VRK5-18CSWINV (I)	Meeting Room
	SYS 2 FCU 18	15351704-10003	VRK5-18CSWINV (I)	Vice President - OMF
	SYS 2 FCU 19	15331704-10023	VRK5-30CSINV (I)	Admin Department
	SYS 2 FCU 20	15361704-10006		3rd/F Hallway (Elevator)	Not in use
	SYS 2 FCU 21	15331704-10017	VRK5-30CSINV (I)	MIS Department
	FCU 9	18071705-14420(I)	KSM-IW20-4F1M	MIS Server Room 1
	FCU 10	18071705-14428(I)	KSM-IW20-4F1M	MIS Server Room 2
		SERIAL NUMBER	MODEL NAME	LOCATION					Latest Cleaning Schedule	Bldg./Work Order Request No.	Service Job Report	Remarks
4rth Floor 14 Units	FCU 1	20131706-10017(I)	KLM-SS70-2C1M	Training Room
	FCU 2	20131706-10054(I)	KLM-SS70-2C1M	New HR Area
	FCU 3	20131706-10065(I)	KLM-SS70-2C1M	Fourth Floor (Vacant Room)
	FCU 4	20131706-10064(I)	KLM-SS70-2C1M	Fourth Floor (Vacant Room)
	FCU 5	20131708-10083(I)	KLM-SS70-2C1M	Fourth Floor (Vacant Room)
	FCU 6	20131708-10077(I)	KLM-SS70-2C1M	Admin Storage Room
	FCU 7	17151806-10316(I)	KLM-IC40-2C1M	AVR 3
	FCU 8	17151806-10341(I)	KLM-IC40-2C1M	AVR 4
	SYS 2 FCU 4	15361704-10005		4th/F Hallway (Elevator)
	SYS 2 FCU 2	15331704-10019	VRK5-30CSINV (I)	Board room Office
	SYS 2 FCU 3	15331704-10012	VRK5-30CSINV (I)	Executive Conference Room
	SYS 2 FCU 1	15361704-10004		4th/F Hallway - CR	Not in use
	SYS 2 FCU 5	15331704-10006	VRK5-30CSINV (I)	AVR Room 1
	SYS 2 FCU 6	15331704-10018	VRK5-30CSINV (I)	AVR Room 2
		SERIAL NUMBER	MODEL NAME	LOCATION	1st Cleaning Schedule	Bldg./Work Order Request No.	Service Job Report	2nd Cleaning Schedule	Bldg./Work Order Request No.	Service Job Report	Latest Cleaning Schedule	Bldg./Work Order Request No.	Service Job Report	Remarks
	A.H.U 1	---	VRK5 – 42APINV	Ground Floor - Rest room Area
	A.H.U 2	---	VRK5 – 42APINV	Second Floor – Pantry Area
	A.H.U 3	---	VRK5 – 42APINV	Third Floor – O.P Area
	A.H.U 4	---	VRK5 – 42APINV	Fourth Floor – Training Area

	Total Of Indoor Unit Cleaned:
	Total Of Out Door Units Clean:
	Total number of unit need for cleaning schedule: 23 units
	Total Number Of Indoor Units:
	Total Numbers Of Out Door Units:

			Prepared by:			Noted by:

				Jerry j. Reduta			Norberto G. Julve Jr.
				Admin. Sr. Maintenance Staff			Admin Supervisor