FIRE EXTINGUISHER FOR REFILL/REQUEST
Location: MACTAN






Date: 09/20/2024
	Type/description
	Lbs./kg
	Qty.
	Location
	Tag
	Date refilled
	Expiry
	Status

	Dry chemical
	10 lbs
	1
	Ground floor
	-
	12/13/19
	12/13/20
	Expired 

	Dry chemical
	10 lbs
	1
	Ground floor
	-
	12/13/19
	12/13/20
	Expired

	Dry chemical
	10 lbs
	1
	Ground floor
	-
	12/13/19
	12/13/20
	Expired

	Dry chemical
	10 lbs
	1
	Ground floor
	-
	12/13/19
	12/13/20
	Expired

	Dry chemical
	10 lbs
	1
	Ground floor
	-
	12/13/19
	12/13/20
	Expired

	Dry chemical
	10 lbs
	1
	2nd floor
	-
	12/13/19
	12/13/20
	Expired

	Dry chemical
	10 lbs
	1
	2nd floor
	-
	12/13/19
	12/13/20
	Expired

	Dry chemical
	10 lbs
	1
	2nd floor
	-
	12/13/19
	12/13/20
	Expired


Location: Head office 

	Type/description
	Lbs./kg
	Qty.
	Location
	Tag
	Date refilled
	Expiry
	Status

	Dry chemical
	10 lbs.
	1
	Lower ground
	LG-a2
	5/20/23
	5/20/24
	Consumed 

	Dry chemical
	10 lbs.
	1
	Lower ground
	LG-a5
	5/1/23
	5/1/24
	Consumed

	Dry chemical
	10 lbs.
	1
	Lower ground
	LG-a3
	5/1/23
	5/1/24
	Consumed


Check by:________________



confirmed by:_______________

