## Year 2024
Kolin Philippines International Inc.

Kolin bldg. #1854 sta. Rita street guadalupe nuevo, makati city

Generator Checklist
YEAR: 2019		JANUARY		FEBRUARY		MARCH		APRIL		MAY		JUNE		JULY		AUGUST		SEPTEMBER		OCTOBER		NOVEMBER		DECEMBER
		01-08-24		02-14-24		3/13/2024		04-11-24		05/20/2024		06/21/2024		07/19/2024		08-19-24		09-04-24		10-01-24		11-05-24		12-09-24
Engine Data	Engine Hour	37.20	Hrs	38.20	Hrs	39.25	Hrs	40.20	Hrs	41.25	Hrs	41.55	Hrs	42.25	Hrs	42.95	Hrs	43.40	Hrs	43.9	Hrs	44	Hrs	44.05	Hrs
	Coolant Temperature	81	⁰C	81	⁰C	81	⁰C	81	⁰C	81	⁰C	81	⁰C	81	⁰C	81	⁰C	81	⁰C	49	⁰C	63	⁰C	29	⁰C
	Engine Speed	1799	Rpm	1799	Rpm	1799	Rpm	1799	Rpm	1799	Rpm	1799	Rpm	1799	Rpm	1799	Rpm	1799	Rpm	1799	Rpm	1799	Rpm	1799	Rpm
	Battery Voltage	27.90	Vdc	27.97	Vdc	27.93	Vdc	27.93	Vdc	28.01	Vdc	28.00	Vdc	28.00	Vdc	28.00	Vdc	28.00	Vdc	27.9	Vdc	27.64	Vdc	27.34	Vdc
	Oil Pressure	435.7	kPA	435.7	kPA	435.7	kPA	435.7	Kph	435.7	kPA	435.7	kPA	435.7	kPA	435.7	kPA	435.7	kPA	515.7	kPA	543.9	kPA	531.5	kPA
	Oil Temperature		⁰C	-	⁰C	-	⁰C	-	⁰C	-	⁰C	-	⁰C	-	⁰C	-	⁰C	-	⁰C	-	⁰C	-	⁰C	-	⁰C
	Fuel Sup Pres	1019.7	kPA	1019.7	kPA	1019.7	kPA	1019.7	kPA	1019.7	kPA	1019.7	kPA	1019.7	kPA	1019.7	kPA	1019.7	kPA	1019.7	kPA	1019.7	kPA	1019.7	kPA
	Manifold Temperature	41	⁰C	42	⁰C	45	⁰C	44	⁰C	45	⁰C	45	⁰C	44	⁰C	44	⁰C	39	⁰C	36	⁰C	33	⁰C	33	⁰C
Gen. Set Data	Alternator Voltage	399	V	399	V	399	V	399	V	399	V	399	V	399	V	399	V	399	V	399	V	400	V	399	V
	Total KVA	0	KVA	0.0	KVA	0.0	KVA	0.0	KVA	0.0	KVA	0.0	KVA	0.0	KVA	0.0	KVA	0.0	KVA	0.0	KVA	0.0	KVA	0.0	KVA
	KVA Rating	375	KVA	375	KVA	375	KVA	375	KVA	375	KVA	375	KVA	375.0	KVA	375.0	KVA	375.0	KVA	375.0	KVA	375.0	KVA	370.0	KVA
	Line Frequency	59.99	Hz	59.99	Hz	59.98	Hz	59.98	Hz	59.99	Hz	59.99	Hz	59.99	Hz	59.99	Hz	59.98	Hz	59.98	Hz	60	Hz	59.99	Hz
	Engine Hours	37.20	Hrs	38.20	Hrs	39.25	Hrs	39.25	Hrs	41.25	Hrs	41.55	Hrs	42.25	Hrs	42.95	Hrs	43.40	Hrs	43.9	Hrs	44	Hrs	44.05	Hrs
	Coolant Temperature	81	⁰C	81	⁰C	81	⁰C	81	⁰C	81	⁰C	81	⁰C	81	⁰C	81	⁰C	81	⁰C	75	⁰C	54	⁰C	50	⁰C
	Oil Pressure	439.8	KPA	435.7	KPA	435.7	KPA	435.7	KPA	435.7	KPA	435.7	KPA	435.7	KPA	435.7	KPA	439.8	KPA	471.6	KPA	511.5	KPA	519.8	KPA
	Fuel Rate	7.9	LPH	7.5	LPH	8.3	LPH	7.5	LPH	7.5	LPH	7.5	LPH	7.5	LPH	7.5	LPH	7.9	LPH	7.9	LPH	8.3	LPH	8.3	LPH
	Battery Voltage	27.90	Vdc	27.97	Vdc	27.97	Vdc	27.93	Vdc	27.94	Vdc	27.94	Vdc	28.01	Vdc	28.01	Vdc	28	Vdc	28	Vdc	24	Vdc	27.93	Vdc
L1	LL(VAC)	399		398		399		398		398		398		399		399		399		399		399		399
	LN(VAC)	230		230		230		230		230		230		230		230		230		231		231		230
	AMSP	0		0		0		0		0		0		0		0		0		0		0		0
	KVA	0		0		0		0		0		0		0		0		0		0		0		0
L2	LL(VAC)	399		398		399		398		398		398		399		399		399		399		399		399
	LN(VAC)	230		230		230		230		230		230		230		230		230		230		230		230
	AMSP	230		0		0		0		0		0		0		0		0		0		0		0
	KVA	0		0		0		0		0		0		0		0		0		0		0		0
L3	LL(VAC)	399		398		399		398		398		398		399		399		399		399		399		399
	LN(VAC)	230		230		230		230		230		230		230		230		230		230		230		230
	AMSP	0		0		0		0		0		0		0		0		0		0		0		0
	KVA	0		0		0		0		0		0		0		0		0		0		0		0
ALT Volt		399	V	398	V	399	V	399	V	399	V	398	V	399	V	399	V	399	V	399	V	399	V	399	V
Total KVA		0.0	KVA	0.0	KVA	0.0	KVA	0.0	KVA	0.0	KVA	0.0	KVA	0.0	KVA	0.0	KVA	0.0	KVA	0.0	KVA	0.0	KVA	0.0	KVA
AVR Reg % out			%		%		%		%		%		%		%		%		%		%		%	0	%
Line Frequency		59.99	Hz	59.99	Hz	59.98	Hz	59.98	Hz	59.99	Hz	59.99	Hz	59.99	Hz	59.99	Hz	59.99	Hz	59.99	Hz	59.99	Hz	59.99	Hz
Test Run	Start	11:00:00		13:15:00		13:30:00		14:00:00		13:30:00		14:05:00		15:40:00		14:05:00		13:40:00		14:25:00		11:57:00		15:55:00
	End	12:00:00		14:15:00		14:30:00		15:00:00		14:30:00		14:35:00		16:40:00		14:30:00		14:40:00		14:55:00		12:12:00		16:00:00
	Run time	1:00:00		1:00:00		01:00		1:00:00		01:00		00:30		01:00		0:25:00		01:00		00:30		0:15:00		00:05		TOTAL:
Fuel Consumption		8	liters	7.5	liters	8.3	liters	7.5	liters	7.5	liters	3.8	liters	7.5	liters	3.1	liters	7.9	liters	4.0	liters	2.0	liters	0.7	liters	67.8 ltrs
Remarks		Done test run .are all in good condition		conduct pm schedule clean dust visual check		Done PM schedule cleaning aoround genset		Done PM schedule cleaning aoround genset		Done PM schedule cleaning aoround genset		Done PM schedule cleaning aoround genset		Done PM, Test run, collect data and refill diesel 42 Ltrs		Done Pms . No record of change oil , for change oil		Done Pms . No record of change oil , for change oil		Done Pms . No record of change oil , for change oil		Done Pms . No record of change oil , for change oil		Done Pms . No record of change oil , for change oil

## Year 2025
Kolin Philippines International Inc.

Kolin bldg. #1854 sta. Rita street guadalupe nuevo, makati city

Generator Checklist
YEAR: 2019		JANUARY		FEBRUARY		MARCH		APRIL		MAY		JUNE		JULY		AUGUST		SEPTEMBER		OCTOBER		NOVEMBER		DECEMBER

Engine Data	Engine Hour		Hrs		Hrs		Hrs		Hrs		Hrs		Hrs		Hrs		Hrs		Hrs		Hrs		Hrs		Hrs
	Coolant Temperature		⁰C		⁰C		⁰C		⁰C		⁰C		⁰C		⁰C		⁰C		⁰C		⁰C		⁰C		⁰C
	Engine Speed		Rpm		Rpm		Rpm		Rpm		Rpm		Rpm		Rpm		Rpm		Rpm		Rpm		Rpm		Rpm
	Battery Voltage		Vdc		Vdc		Vdc		Vdc		Vdc		Vdc		Vdc		Vdc		Vdc		Vdc		Vdc		Vdc
	Oil Pressure		kPA		kPA		kPA		Kph		kPA		kPA		kPA		kPA		kPA		kPA		kPA		kPA
	Oil Temperature		⁰C		⁰C		⁰C		⁰C		⁰C		⁰C		⁰C		⁰C		⁰C		⁰C		⁰C		⁰C
	Fuel Sup Pres		kPA		kPA		kPA		kPA		kPA		kPA		kPA		kPA		kPA		kPA		kPA		kPA
	Manifold Temperature		⁰C		⁰C		⁰C		⁰C		⁰C		⁰C		⁰C		⁰C		⁰C		⁰C		⁰C		⁰C
Gen. Set Data	Alternator Voltage		V		V		V		V		V		V		V		V		V		V		V		V
	Total KVA		KVA		KVA		KVA		KVA		KVA		KVA		KVA		KVA		KVA		KVA		KVA		KVA
	KVA Rating		KVA		KVA		KVA		KVA		KVA		KVA		KVA		KVA		KVA		KVA		KVA		KVA
	Line Frequency		Hz		Hz		Hz		Hz		Hz		Hz		Hz		Hz		Hz		Hz		Hz		Hz
	Engine Hours		Hrs		Hrs		Hrs		Hrs		Hrs		Hrs		Hrs		Hrs		Hrs		Hrs		Hrs		Hrs
	Coolant Temperature		⁰C		⁰C		⁰C		⁰C		⁰C		⁰C		⁰C		⁰C		⁰C		⁰C		⁰C		⁰C
	Oil Pressure		KPA		KPA		KPA		KPA		KPA		KPA		KPA		KPA		KPA		KPA		KPA		KPA
	Fuel Rate		LPH		LPH		LPH		LPH		LPH		LPH		LPH		LPH		LPH		LPH		LPH		LPH
	Battery Voltage		Vdc		Vdc		Vdc		Vdc		Vdc		Vdc		Vdc		Vdc		Vdc		Vdc		Vdc		Vdc
L1	LL(VAC)
	LN(VAC)
	AMSP
	KVA
L2	LL(VAC)
	LN(VAC)
	AMSP
	KVA
L3	LL(VAC)
	LN(VAC)
	AMSP
	KVA
ALT Volt			V		V		V		V		V		V		V		V		V		V		V		V
Total KVA			KVA		KVA		KVA		KVA		KVA		KVA		KVA		KVA		KVA		KVA		KVA		KVA
AVR Reg % out			%		%		%		%		%		%		%		%		%		%		%		%
Line Frequency			Hz		Hz		Hz		Hz		Hz		Hz		Hz		Hz		Hz		Hz		Hz		Hz
Test Run	Start
	End
	Run time					TOTAL:
Fuel Consumption			liters		liters		liters		liters		liters		liters		liters		liters		liters		liters		liters		liters
Remarks