## 2021
Plans: 2021
Report End: September 2021
Plans: 2021

Equipment List				Jan. 2021	Feb.2021	Mar. 2021	April 2021	May 2021	June 2021	July 2021	Aug. 2021	Sept. 2021	Oct. 2021	Nov. 2021	Dec. 2021	Remarks
Generator		B.W.O.R		309	330		362		369	434	465	482	496	531	546	Operational Condition No Breakdown On record as of Sept. 2022
		Date		0/18/2021	02/20/21		04/28/21		06/03/21	07/21/21	08/20/21	09/28/21	10/21/21	11/25/21	12/14/21
		Freq.		Monthly	Monthly	Monthly	Monthly	Monthly	Monthly	Monthly	Monthly	Monthly	Monthly	Monthly	Monthly
		PM Type		PM-1	PM-1					PM-1	PM-1	PM-1	PM-1	PM-1	PM-1
		Status		Operational	Operational	Operational	Operational	Operational	Operational	Operational	Operational	Operational	Operational	Operational	Operational

Fire Pump		B.W.O.R			308			365	403	436	466	484	498	534	553	Operational Condition No Breakdown On record as of Sept. 2022
		Date			02/16/21			05/26/21	06/08/21	07/21/21	08/23/21	09/23/21	10/27/21	11/26/21	12/13/21
		Frequency		Monthly	Monthly			Monthly	Monthly	Monthly	Monthly	Monthly	Monthly	Monthly	Monthly
		PM Type					PM-1		PM-1	PM-1	PM-1
		Status		Operational	Operational			Operational	Operational	Operational	Operational	Operational	Operational	Operational	Operational

F.D.A.S		B.W.O.R					440	470		499	545		Operational Condition No Breakdown On record as of Sept. 2021
		Date					07/27/21	08/26/21		10/27/22	11/24/21
		Frequency		Monthly	Monthly	Monthly		Monthly	Monthly	Monthly	Monthly	Monthly	Monthly	Monthly
		PM Type					PM-1	PM-1
		Status		Operational	Operational	Operational		Operational	Operational	Operational	Operational	Operational	Operational	Operational

Booster Pump		B.W.O.R			306			369		437		486		536		Operational Condition No Breakdown On record as of Sept. 2021
		Date			02/08/21			05/24/21		07/15/21		09/27/21		11/25/21
		Frequency			Quarterly			Quarterly
		PM Type			PM-1			PM-1		PM-1
		Status			Operational			Operational		Operational		Operational	Operational

Elevator		B.W.O.R				342		367	399	431	464	483		535	548
		Date				03/25/21		05/10/21	06/16/21	07/09/21	08/17/21	09/29/21		11/17/21	12/03/21
		Frequency				Monthly		Monthly	Monthly	Monthly	Monthly	Monthly		Monthly	Monthly
		PM Type				PM-1		PM-1	PM-1	PM-1	PM-1	PM-1		PM-1	PM-1
		Status				Operational		Operational	Operational	Operational	Operational	Operational		Operational	Operational

A.H.U		B.W.O.R			307					468				550
		Date			02/09/21					08/25/21				12/10/21
		Frequency			Quarterly
		PM Type			PM-1
		Status			Operational

Air condition		B.W.O.R			316					555
		Date			02/13/21					12/11/21
		Frequency
		PM Type
		Status

Roll up		B.W.O.R			310			366	398		467		497		549
		Date			02/17/21			05/17/21	06/22/21		08/24/21		10/20/21		12/13/21
		Frequency
		PM Type
		Status

Cistern tank		B.W.O.R				333
		Date				03/02/21
		Frequency				03/01/21
		PM Type
		Status
		Status
S.T.P		B.W.O.R					363	367	435				532
		Date					05/17/21	06/15/21	07/22/21				11/22/21
		Frequency
		PM Type					PM-2	PM-3	PM-2
		Status					Operational	Operational	Operational

Transfer Pump		B.W.O.R					364				485		533
		Date					05/06/21				09/24/21		11/26/21
		Frequency					PM-3
		PM Type					Annually
		Status					Operational

Air Pressurization		B.W.O.R					368	400		469
		Date					05/25/22	06/24/21		08/27/21
		Frequency
		PM Type
		Status

Electrical Panels		B.W.O.R					439
		Date					07/26/21
		Frequency
		PM Type
		Status					Operational

Glass Panel Exterior		B.W.O.R					551
		Date					12/01/21
		Frequency					Semi annually
		PM Type					PM-1
		Status					Operational

A.T.S		B.W.O.R					552
		Date					12/12/21
		Frequency
		PM Type
		Status

## 2022
	Building Equipment Scheduled (PMS)
	Year 2025

	Equipment List				Jan. 2022	Feb.2022	Mar. 2022	April 2022	May 2022	June 2022	July 2022	Aug. 2022	Sept. 2022	Oct. 2022	Nov. 2022	Dec. 2022	Remarks
	Generator		B.W.O.R		582	606	646	677	713	735	774	783	842				Operational Condition No Breakdown On record as of Sept. 2022
			Date		01/12/22	02/08/22	03/18/22	04/20/22	05/31/22	06/12/22	07/12/22	08/10/22	09/29/22
1			Freq.		Monthly	Monthly	Monthly	Monthly	Monthly	Monthly	Monthly	Monthly
			PM Type
			Status		Operational	Operational	Operational	Operational	Operational	Operational	Operational	Operational

	Fire Pump		B.W.O.R					Operational Condition No Breakdown On record as of Sept. 2022
2			Date		01/28/22	02/16/22			05/17/22	06/28/22	07/26/22	08/10/22	09/24/22	10/06/22
			Frequency		Monthly	Monthly			Monthly	Monthly	Monthly	Monthly	Monthly	Monthly
			PM Type
			Status		Operational	Operational			Operational	Operational	Operational	Operational	Operational	Operational

	F.D.A.S		B.W.O.R					738					Operational Condition No Breakdown On record as of Sept. 2022
3			Date		01/28/22	02/15/22	03/18/22		05/17/22	06/26/22	07/26/22	08/10/22	09/18/22	10/06/22
			Frequency		Monthly	Monthly	Monthly		Monthly	Monthly	Monthly	Monthly	Monthly	Monthly
			PM Type
			Status		Operational	Operational	Operational		Operational	Operational	Operational	Operational	Operational	Operational

	Booster Pump		B.W.O.R					Operational Condition No Breakdown On record as of Sept. 2022
4			Date				03/17/22			06/27/22			09/19/22
			Frequency				Quarterly			Quarterly			Quarterly	Annually
			PM Type					PM-3
			Status				Operational			Operational			Operational	Operational

	Elevator		B.W.O.R
5			Date
			Frequency
			PM Type
			Status

	A.H.U		B.W.O.R			610				740
			Date			02/26/22				06/29/22			08/13/22
6			Frequency			Quarterly				Quarterly			Quarterly
			PM Type			PM 1				PM 1			PM 1
			Status			Operational				Operational			Operational

	Air condition		B.W.O.R
7			Date
			Frequency
			PM Type
			Status

	Roll up		B.W.O.R
8			Date
			Frequency
			PM Type
			Status
9
	Cistern tank		B.W.O.R
			Date
			Frequency
10			PM Type
			Status
			Status
	S.T.P		B.W.O.R
11			Date
			Frequency
			PM Type
12			Status

	Transfer Pump		B.W.O.R
			Date
			Frequency
13			PM Type
			Status

	Air Pressurization		B.W.O.R
			Date
			Frequency
			PM Type
			Status

	Electrical Panels		B.W.O.R
			Date
			Frequency
			PM Type
			Status

	Glass Panel Exterior		B.W.O.R
			Date
			Frequency
			PM Type
			Status

	A.T.S		B.W.O.R
			Date
			Frequency
			PM Type
			Status