	KOLIN PHILIPPINES INTERNATIONAL, INC.

	1854C Santa Rita St. Guadalupe Nuevo, Makati City

	General Cleaning of Air- Conditioning- Monitoring


FACILITY CHECKLIST INSPECTION
                                                   S = satisfactory

               N = needs improvement 

I = immediate attention

	Date:                inspection: electrical/ safety/water leaks  Location: MACTAN                           S     N     I  

	ELECTRICAL
	FINDINGS
	
	

	Panel boards
	Done visual checking
	
	

	Convenience outlet
	For proper cover up
	
	

	Lightings 
	2 pc’s tube light busted, 3pc’s tube light holder unsafe no cover.
	
	

	wirings
	Exposed wirings 
	
	

	
	
	
	

	ROOF INSPECTION
	
	
	

	Water leaks
	Occurrence of water leak area, (show room, testing room, entrance ramp)
	
	

	Roof paint
	Some part of the roof are already rusty for repaint
	
	

	Water proofing
	Possible Entrance of the water need to be water proofed 
	
	

	Gutter
	Dirty gutter , has holes already
	
	

	Drain pipe
	For declogging near entrance ramp.
	
	

	
	
	
	

	NOTE:
	9 pc’s FIRE extinguisher for replacement date expiration  12-13-2020
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	


 Action: conduct roofing and electrical inspection visual ______________________________________
Recommendation: replace busted light and conduct water proofing and repaint of roof, some part of the gutter has holes already for repair, for schedule of pms/ retightening of panel boards. 
Conducted by:_____________    Inspected by:____________     evaluated by:_________________
