## Blank copy
AIRCONDITIONTIONG UNIT PREVENTIVE & CURATIVE CARD
INDOOR UNIT #: |  | FCU 3
SERIAL #: |  | 20131706-10065
MODEL NAME : |  | KLM-SS70-2C1M
LOCATION: |  | 4TH Floor (RND OFFICE)
DATE | BWOR # | SERVICE JOB REPORT No. | FINDINGS | REPAIR DONE | RECOMMENDATION | REMARKS

## FCU 3
AIRCONDITIONTIONG UNIT PREVENTIVE & CURATIVE CARD
INDOOR UNIT #: |  | FCU 3
SERIAL #: |  | 20131706-10065
MODEL NAME : |  | KLM-SS70-2C1M
LOCATION: |  | 4TH Floor (RND OFFICE)
DATE | BWOR # | SERVICE JOB REPORT No. | FINDINGS | REPAIR DONE | RECOMMENDATION | REMARKS
2021-12-06 | - | HO-090756 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK
2021-07-15 | - | HO-073804 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK
2022-05-18 | - | HO-10709 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK
2024-01-20 | - | HO-185112 | Water dripping | Check up only / No leak found | - | DONE-OK
2024-01-20 | - | HO-185293 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK
2025-02-06 | # 2056 | HO-230594 | Dirty unit | General cleaning only - 1ST | Clean filter regularly | DONE-OK
2025-05-15 | # 2093 | HO-255658 | Moisture copper tube | Put stickless and Aerotape | - | DONE-OK