## Blank copy
AIRCONDITIONTIONG UNIT PREVENTIVE & CURATIVE CARD
INDOOR UNIT #: |  | FCU 6
SERIAL #: |  | 20121708-10077
MODEL NAME : |  | KLM-SS70-2C1M
LOCATION: |  | 4TH Floor (ADMIN STORAGE)
DATE | BWOR # | SERVICE JOB REPORT No. | FINDINGS | REPAIR DONE | RECOMMENDATION | REMARKS

## FCU 6
AIRCONDITIONTIONG UNIT PREVENTIVE & CURATIVE CARD
INDOOR UNIT #: |  | FCU 6
SERIAL #: |  | 20121708-10077
MODEL NAME : |  | KLM-SS70-2C1M
LOCATION: |  | 4TH Floor (ADMIN STORAGE)
DATE | BWOR # | SERVICE JOB REPORT No. | FINDINGS | REPAIR DONE | RECOMMENDATION | REMARKS
2021-12-16 | - | HO-090759 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK
2022-05-19 | - | HO-107016 | Dirty unit / Broken styro drain pan | GC / ReplacedStyro drain pan | - | DONE-OK
2022-11-11 | - | HO-131759 | E8 ERROR CODE | Replaced PCb indoor & water pump | - | DONE-OK
2024-07-23 | - | HO-197908 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK