## F-DAS 1
KOLIN PHILLIPINES INTERNATIONAL INC.,
1854 Sta. Rita St. Guadalupe Nuevo Makati City
MAINTENANCE INSPECTION AND TESTING FIRE SMOKE ALARM SYSTEM
CHECKLIST (F.D.A.S)
Frequency : Monthly
Particular Item | Pass | Fail | Repaired/ Replaced | Condition | Remarks
● Fire Alarm panel and control
Smoke Alarm Sensor
● Lower Ground
● Upper Ground
● 2nd Floor
● 3rd Floor
● 4th Floor
● Roof deck electrical
Fire Alarm Emergency Pull Lever switch
● Lower Ground
● Upper Ground
● 2nd Floor
● 3rd Floor
● 4th Floor
Fire Alarm Buzzer & Fire annunciator panel
● Lower Ground
● Upper Ground
● 2nd Floor
● 3rd Floor
● 4th Floor
Fire Evacuation plan guide in place in all floor
Note / Remarks:
Conducted by : | Evaluated by: |  |  |  | Approved by:
Maintenance Staff | Sr. Maintenance |  |  |  | Admin Supervisor

## 2
KOLIN PHILLIPINES INTERNATIONAL INC.,
1854 Sta. Rita St. Guadalupe Nuevo Makati City
MAINTENANCE INSPECTION AND TESTING FIRE SMOKE ALARM SYSTEM
CHECKLIST (F.D.A.S)
Frequency : Monthly
( ) Routine test and Maintenance ( ) Annual test and maintenance ( ) Complaint ( ) Others
A. ROUTINE TEST AND PREVENTIVE MAINTENANCE |  | YES | NO
1. Smoke alarm is securely fastened to the wall or ceiling
2. Smoke alarm show no evidence of physical damage, paint application or excessive grease and dirt accumulation.
3. Ventilation holes on the smoke alarm are clean and free of obstructions
4. Smoke alarm signals sounds when the test device is operated
B. ANNUAL TEST AND PREVENTIVE MAINTENANCE |  | YES | NO
1. Smoke alarm is securely fastened to the wall or ceiling
2. Smoke alarm show no evidence of physical damage, paint application or excessive grease and dirt accumulation.
3. Battery test and replace if necessary
4. Battery has been replaced and securely connected to the clip
5. Battery terminal are free of corrosion and sign of leakage
6. Smoke alarm signal sound when the smoke alarm is tested using smoke
C. SERVICING AND REPLACEMENT ( Complete this section if "NO" is checked in section A or B )
Smoke alarm has been serviced as follow: ______________________________________________ ________________________________________________________________________________
Fire Evacuation plan guide in place in all floor
Note / Remarks:
Conducted by :
_______________ | _____________ _______________
Maintenance Staff | Sr.Maintenance Admin Supervisor