## Panel Boards
KOLIN PHILLIPINES INTERNATIONAL INC.,
1854 Sta. Rita St. Guadalupe Nuevo Makati City
PANEL BOARDS PREVENTIVE MAINTENANCE
INSPECTION CHECKLIST
Date : ________
Inspection / Frequency: Monthly
Location | Pb No. & Rating | No. of branches | Actual reading of Voltage 400V - 445 V |  |  | Actual reading of Current 200V - 245 V |  |  |  | Check Temp | Actual check terminals wire /cable |  | Check terminal / loosen screw and bolt |  | REMARKS
|  |  | L-1-2 | L-2-3 | L-3-1 | L-1-N | L-2-N | L-3-N | N-G | TEMP | OK | NOT OK | OK | NOT OK
UG | PP mz 50a | 13
UG | PP ug 50a | 14
2ND F | PP 2f 60a | 24
3rd F | PP 3f 75a | 24
4th F | PP 4f 200a | 30
Roof Deck | PP accu | 17
Roof Deck | PP accu 1 | 4
Roof Deck | PP accu 2 | 4
Roof Deck | PPRD 200a | 16
SCOPE OF WORKS:
1. Check up/ testing of operating time and condition.
2. Check all safety covers are installed
3. Check for obstruction and accessibility
4. Check that panel boards are within operating temperature and within load rating.
5. Check up /clean external parts.
6. Repair and replace if necessary
6. Repaint if necessary.
Findings / Evaluation:
Recommendations:
Action Taken:
Remarks:
Conducted by : |  |  |  |  | Evaluated by: | [7 empty] | Noted by :
Maintenance Staff Senior Maintenance Staff Admin Supervisor