## STP
KOLIN PHILLIPINES INTERNATIONAL INC.,
1854 Sta. Rita St. Guadalupe Nuevo Makati City
Sewage treatment plant Preventive maintenance checklist
For the month of :_______________
Frequency : Monthly
Legend : OG - operational good condition |  | N/O - not operational |  | F/R - For replacement |  |  | O/B - operational but need minor repair
Equipment :
Bar screen: ( installed MBR tank ) |  |  |  | ( ) Operational/Good condition |  |  | ( ) Clean |  | ( ) Replace
Discharge Filter screen |  |  |  | ( ) Operational/Good condition |  |  | ( ) Clean |  | ( ) Replace
ASD sludge pump 1&2 ( Acticated sludge digester ) |  |  |  | OG | N/O | F/R | O/R | Remarks
Operation of valves and piping connection
HI and Low control
Motor
Aeration Blower 1
V-belts
oil level
pulley & Sheaves alignment
Blower
Aeration Blower 2
V-belts
oil level
pulley & Sheaves alignment
Blower
Annoxic pump 1
Operation of valves and piping connection
Float switch
Electrical connection
Annoxic pump 2
Operation of valves and piping connection
Float switch
Electrical connection
E.Q.T pump 1 (equalization tank)
Operation of valves and piping connection
Float switch
Electrical connection
E.Q.T pump 2 (equalization tank)
Operation of valves and piping connection
Float switch
Electrical connection
Booster pump 1
Operation of valves and piping connection
Float switch
Electrical connection
Booster pump 2
Operation of valves and piping connection
Float switch
Electrical connection
CCT Pump1
Operation of valves and piping connection
Float switch
Electrical connection
CCT Pump2
Operation of valves and piping connection
Float switch
Electrical connection
Electrical control panel
Inspect all Electrical component
S.T.P room
Findings and Evaluation :
Reccommendation :
| Conducted by: |  | Checked by: |  |  |  | Approved by:
| Maintenance Staff |  | Senior Maintenance |  |  |  | Admin Supervisor