## ProductBom
Exploded View
(Product model)： |  | 22020320002124
(Product model)： |  | HK-KC53/BP3N8Y-F1F9(C3)
(Market model)： |  | MWF1-18CRFN8-QC3
EX_ID | Spare Parts Code | Part Name(EN) | Qty. | Drawing No | Min Shipments | Part Status | SB Type | Replace Type | Remarks | Long Term Material(Y or N) | High Rate of Replacement(Y or N) | Option Parts
1 | 12120300007725 | Panel Assembly | 1 | CE-KC53/Y-FF9.1 | 1 | ACTIVITY
1.1 | 12120300000045 | Panel | 1 | CE-KC53/Y-FF9.1-2 | 1 | ACTIVITY
1.2 | 12100204000556 | Filter | 1 | CE-KC53/FY.3-8 | 1 | ACTIVITY
1.3 | 12120300007744 | Panel frame subassembly | 1 | CE-KC53/Y-FF9.1.1 | 1 | ACTIVITY
1.3.1 | 12120300004144 | Horizontal louver | 2 | CE-KC53/Y-FF9.1-3A | 1 | ACTIVITY
1.5 | 12820300000020 | Air outlet foam | 1 | CE-KC53/Y-FF9.1-6 | 1 | ACTIVITY
4 | 17317000008015 | Remote Controller | 1 | RG51B/E | 1 | ACTIVITY
5 | 17220300006590 | Display box subassembly | 1 | HK-KC53/BP3N8Y-F1F9(C6).ZY001.JD.WC.XS.XK1(SS) | 1 | ACTIVITY
5.1 | 17120300006728 | Display board subassembly | 1 | HK-KC35/BP3N8Y-F3F9(C6).ZY001.JD.WC.XS.XS1.1 | 1 | ACTIVITY
5.2 | 11201007003424 | Room Temperature Sensor | 1 | CGQ-WD/SW4100-L350-XHBCP2BL-P300-HT1.0 | 1 | ACTIVITY
6 | 17220300006592 | Electronic control box subassembly | 1 | HK-KC53/BP3N8Y-F1F9(C6) (PMV)(KSN140D58UFZ_RX24TAA100_SDM20G60FB_SLIMDIP-S_6A161).JD.FW.WXWKB.DK1 | 1 | ACTIVITY
6.1 | 12120300006344 | Cover of electronic control box subassembly | 1 | PH-KC53/BP3N8Y-F1F(C6).2A | 1 | ACTIVITY
6.3 | 17120300006750 | Main control board subassembly | 1 | HK-KC53/BP3N8Y-F1F9(C6)(PMV)(KSN140D58UFZ_RX24TAA100_SDM20G60FB_SLIMDIP-S_6A161).JD.FW.WXWKB.DK1 | 1 | ACTIVITY
6.4 | 11201011000067 | Combination Sensor | 1 | CGQ-ZH-GW/SW/PQ-L735-XH-P500-3-01 | 1 | ACTIVITY
7 | 12120300000014 | Fresh air door subassembly | 1 | CE-KC53-F2F.6 | 1 | ACTIVITY
8 | 17220300006591 | Electronic Control Box Component Assembly | 1 | HK-KC53/BP3N8Y-F1F9(C6).ZY001.JD.WC.NK.DQ1.1 | 1 | ACTIVITY
8.1 | 12220300004740 | Electronic control box components | 1 | PH-KC53/BP3N8Y-F1F(C6).3 |  | ACTIVITY
8.7 | 17401202000093 | European standard power cord | 1 | CE-KCR46/E1Y-B.DQ-3 | 1 | ACTIVITY
8.13 | 17400401000012 | Terminal | 1 | JXZ-PZ2P-B(RS9211K/YF2003B/JX-O-a/JGD-ZR2-B-2) | 1 | ACTIVITY
9 | 12220300000299 | Cover of electronic control box | 1 | CE-KC53-F2F-10 | 1 | ACTIVITY
10 | 12220300004741 | Chassis assembly | 1 | DP-KC70F1.3 | 1 | ACTIVITY
11 | 12120300000464 | Louver | 1 | CE-KC53-F2F-5 | 1 | ACTIVITY
13 | 12600801000019 | Rubber plug | 1 | KC20C1.5.3-2 | 1 | ACTIVITY
14 | 12220300005658 | Cabinet subassembly | 1 | SA-KC70F1.3C | 1 | ACTIVITY
15 | 12120300002206 | Rear separating | 1 | SA-KC70F1-2 | 1 | ACTIVITY
16 | 12100105000221 | Axial Flow Fan | 1 | ZL-398*114*12-5FN | 1 | ACTIVITY
17 | 11002015020612 | Brushless DC Motor | 1 | ZKFN-175-8-1L-1 | 1 | ACTIVITY
18 | 12220300004744 | Supporter of fan motor | 1 | PH-KC53/BP3N8Y-F1F(C6)-5 | 1 | ACTIVITY
19 | 12220300004742 | Front separating board subassembly | 1 | SA-KC70F1.2A | 1 | ACTIVITY
20 | 12820300000219 | Volute Shell | 1 | SA-KC70F1-1 | 1 | ACTIVITY
21 | 12100103000344 | Centrifugal Fan | 1 | LX-205*111*12-67 | 1 | ACTIVITY
22 | 12120300007724 | Volute shell (below) subassembly | 1 | SA-KC70F1.1C | 1 | ACTIVITY
22.1 | 12120300002524 | Volute shell (below) | 1 | SA-KC70F1.1-1 | 1 | ACTIVITY
22.2 | 11002014004653 | Synchronous Motor | 1 | TB-49-20-8-27-1 | 1 | ACTIVITY
23 | 12120300002205 | Ventilation ring | 1 | SA-KC70F1-3 | 1 | ACTIVITY
24 | 15820300004422 | Evaporator assembly | 1 | HK-KC53/BP3N8Y-F1F9(C3).ZL.1 | 1 | ACTIVITY
26 | 11103020006459 | DC Inverter Rotary Compressor | 1 | KSN140D58UFZ | 1 | ACTIVITY
27 | 15120300006643 | Suction pipe assembly | 1 | PH-KC53/BP3N8Y-F1F(C6).ZL.3 | 1 | ACTIVITY
29 | 15120300007483 | Discharge pipe assembly | 1 | PH-KC53/BP3N8Y-F1F(C6).ZL.2[A] | 1 | ACTIVITY
30 | 15820300003802 | Condenser Assembly | 1 | HK-KC61/BP3N8Y-F1F(C3).ZL.4 | 1
31 | 12220300004738 | Cover subassembly | 1 | HK-KC70F1.2A | 1 | ACTIVITY
38 | 12220300004743 | Fireproof matel for Electronic control box cover | 1 | PH-KC53/BP3N8Y-F1F(C6)-1 | 1 | ACTIVITY
39 | 12020300000006 | Installation accessory | 1 | CE-KCR53/FY-E1.QT.1 | 1 | ACTIVITY
39.1 | 12100501000033 | Drain hose | 1 | KCR35C1.18-2 | 1 | ACTIVITY
39.2 | 12600801000019 | Rubber plug | 1 | KC20C1.5.3-2 | 1 | ACTIVITY
41 | 11201007003483 | Pipe Temperature Sensor | 1 | CGQ-WD/GW4100-L1000-XACP2-P950-HT1.0 | 1 | ACTIVITY
42 | 15420300000534 | Throttle valve subassembly | 1 | HK-KC61/BP3N8Y-F1F(C3).ZL.2 |  | ACTIVITY
47 | 12220300005104 | Electronic control box components | 1 | PH-KC53/BP3N8Y-F1F(C6).1A | 1 | ACTIVITY
49 | 15120300008403 | Radiator subassembly | 1 | HK-KC53/BP3N8Y-F1F9(C3).ZL.4 |  | ACTIVITY
49.1 | 12122000030621 | U-Typed Support with Copper Pipe | 1 | KSA-KT3C53/BP3N1Y-WGT(C1).6-1 | 1 | ACTIVITY