## KAC-36TCRM
AIRCONDITIONTIONG UNIT PREVENTIVE & CURATIVE CARD
INDOOR UNIT #: |  | AIR CURTAIN
SERIAL #: |  | 14032210-10126
MODEL NAME : |  | KAC-36TCRM
LOCATION: |  | 2ND FLOOR (Pantry)
DATE | BWOR # | SERVICE JOB REPORT No. | FINDINGS | REPAIR DONE | RECOMMENDATION | REMARKS
2024-11-20 | - | HO-231039 | Dirty unit | General cleaning only | - | DONE-OK
2025-09-20 | # 1050 | HO-273737 | Dirty unit | General cleaning only | - | DONE-OK