## Blank copy
AIRCONDITIONTIONG UNIT PREVENTIVE & CURATIVE CARD
INDOOR UNIT #: |  | SYS1-FCU 1
SERIAL #: |  | 15331704-10010
MODEL NAME : |  | VRK5-30CSINV
LOCATION: |  | 2nd Floor
DATE | BWOR # | SERVICE JOB REPORT No. | FINDINGS | REPAIR DONE | RECOMMENDATION | REMARKS

## SYS1-FCU 1
AIRCONDITIONTIONG UNIT PREVENTIVE & CURATIVE CARD
INDOOR UNIT #: |  | SYS1-FCU 1
SERIAL #: |  | 15331704-10010
MODEL NAME : |  | VRK5-30CSINV
LOCATION: |  | 2nd Floor
DATE | BWOR # | SERVICE JOB REPORT No. | FINDINGS | REPAIR DONE | RECOMMENDATION | REMARKS
2021-12-11 | - | HO-089973 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK
2022-01-08 | - | HO-092241 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK
2022-04-08 | - | HO-103751 | Water Dripping | Clean drain pod & pump | - | DONE-OK
2022-07-02 | - | HO-115147 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK
2023-01-28 | - | HO-139045 | Dirty unit | General cleaning only (Indoor only) | Clean filter regularly | DONE-OK
2023-07-29 | - | HO-163258 | Dirty unit | General cleaning/ ModiFied drain pump/install drain pump hose green | - | DONE-OK
2024-04-20 | - | HO-195460 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK
2025-02-08 | - | HO-240949 | Dirty unit | General cleaning only - 1st | Clean filter regularly | DONE-OK
2025-02-22 | - | HO-241444 | No circuit breaker | Install circuit breaker | - | DONE-OK
2025-10-25 | # 1060 | HO-277306 | Dirty unit | General cleaning only - 2nd | Clean filter regularly | DONE-OK
-