## Blank copy
AIRCONDITIONTIONG UNIT PREVENTIVE & CURATIVE CARD
INDOOR UNIT #: |  | SYS1-FCU 11
SERIAL #: |  | 15331704-10004
MODEL NAME : |  | VRK5-30CSINV
LOCATION: |  | 2nd Floor (Studio /Meeting room)
DATE | BWOR # | SERVICE JOB REPORT No. | FINDINGS | REPAIR DONE | RECOMMENDATION | REMARKS

## SYS1-FCU 11
AIRCONDITIONTIONG UNIT PREVENTIVE & CURATIVE CARD
INDOOR UNIT #: |  | SYS1-FCU 11
SERIAL #: |  | 15331704-10004
MODEL NAME : |  | VRK5-30CSINV
LOCATION: |  | 2nd Floor (Studio /Meeting room)
DATE | BWOR # | SERVICE JOB REPORT No. | FINDINGS | REPAIR DONE | RECOMMENDATION | REMARKS
2020-07-04 | - | HO-24030 | Dirty unit | General cleaning only | clean filter regularly | DONE-OK
2022-01-08 | - | HO-92246 | Dirty unit | General cleaning only | clean filter regularly | DONE-OK
2022-06-25 | - | HO-114558 | Dirty unit | General cleaning only | clean filter regularly | DONE-OK
2022-07-06 | - | HO-116094 | Check up | Check temp and velocity | - | DONE-OK
2023-02-04 | - | HO-135449 | Dirty unit | General cleaning only | clean filter regularly | DONE-OK
2023-07-08 | - | HO-160103 | Dirty unit | General cleaning only | clean filter regularly | DONE-OK
2024-04-20 | - | HO-195467 | Dirty unit | General cleaning only | clean filter regularly | DONE-OK
2025-05-06 | # 2069 | HO-241028 | Dirty unit | General cleaning only | clean filter regularly | DONE-OK
2025-06-28 | # 1008 | HO-263015 | Dirty unit | General cleaning only | clean filter regularly | DONE-OK