## Blank copy
AIRCONDITIONTIONG UNIT PREVENTIVE & CURATIVE CARD
INDOOR UNIT #: |  | SYS1-FCU 13
SERIAL #: |  | 15331704-10003
MODEL NAME : |  | VRK5-30CSINV(I)
LOCATION: |  | 2nd Floor (Pantry 1)
DATE | BWOR # | SERVICE JOB REPORT No. | FINDINGS | REPAIR DONE | RECOMMENDATION | REMARKS

## SYS1-FCU 13
AIRCONDITIONTIONG UNIT PREVENTIVE & CURATIVE CARD
INDOOR UNIT #: |  | SYS1-FCU 13
SERIAL #: |  | 15331704-10003
MODEL NAME : |  | VRK5-30CSINV(I)
LOCATION: |  | 2nd Floor (Pantry 1)
DATE | BWOR # | SERVICE JOB REPORT No. | FINDINGS | REPAIR DONE | RECOMMENDATION | REMARKS
2022-07-04 | - | HO-24025 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK
2022-11-08 | - | HO-092247 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK
2022-06-25 | - | HO-114560 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK
2023-02-04 | - | HO-139056 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK
2023-06-03 | - | HO-157040 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK
2023-01-03 | - | HO-183099 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK
2024-06-15 | - | HO-197653 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK
2025-02-06 | # 2056 | HO-240945 | Dirty unit | General cleaning only - 1ST | Clean filter regularly | DONE-OK
2025-06-28 | # 1008 | HO-263023 | Dirty unit | General cleaning only - 2ND | Clean filter regularly | DONE-OK