## Blank copy
AIRCONDITIONTIONG UNIT PREVENTIVE & CURATIVE CARD
INDOOR UNIT #: |  | SYS1-FCU 14
SERIAL #: |  | 15331704-10016
MODEL NAME : |  | VRK5-30CSINV(I)
LOCATION: |  | 2nd Floor (Pantry 2)
DATE | BWOR # | SERVICE JOB REPORT No. | FINDINGS | REPAIR DONE | RECOMMENDATION | REMARKS

## SYS1-FCU 14
AIRCONDITIONTIONG UNIT PREVENTIVE & CURATIVE CARD
INDOOR UNIT #: |  | SYS1-FCU 14
SERIAL #: |  | 15331704-10016
MODEL NAME : |  | VRK5-30CSINV(I)
LOCATION: |  | 2nd Floor (Pantry 2)
DATE | BWOR # | SERVICE JOB REPORT No. | FINDINGS | REPAIR DONE | RECOMMENDATION | REMARKS
2020-07-04 | - | HO-024026 | Dirty unit | Ceneral cleaning only | Clean filter regularly | DONE-OK
2022-01-08 | - | HO-092248 | Dirty unit | Ceneral cleaning only | Clean filter regularly | DONE-OK
2022-06-25 | - | HO-114561 | Dirty unit | Ceneral cleaning only | Clean filter regularly | DONE-OK
2023-02-04 | - | HO-139057 | Dirty unit | Ceneral cleaning only | Clean filter regularly | DONE-OK
2023-06-03 | - | HO-157041 | Dirty unit | Ceneral cleaning only | Clean filter regularly | DONE-OK
2023-09-26 | - | HO-172565 | Dirty unit | Ceneral cleaning only | Clean filter regularly | DONE-OK
2024-01-03 | - | HO-183100 | Dirty unit | Ceneral cleaning only | Clean filter regularly | DONE-OK
2025-02-06 | # 2056 | HO-240947 | Dirty unit | Ceneral cleaning only | Clean filter regularly | DONE-OK
2025-06-28 | # 1008 | HO-263025 | Dirty unit | Ceneral cleaning only | Clean filter regularly | DONE-OK