## Blank copy
AIRCONDITIONTIONG UNIT PREVENTIVE & CURATIVE CARD
INDOOR UNIT #: |  | SYS1-FCU 2
SERIAL #: |  | 15331704-10001
MODEL NAME : |  | VRK5-30CSINV
LOCATION: |  | 2nd Floor ( Ms. Mitch)
DATE | BWOR # | SERVICE JOB REPORT No. | FINDINGS | REPAIR DONE | RECOMMENDATION | REMARKS

## SYS1-FCU 2
AIRCONDITIONTIONG UNIT PREVENTIVE & CURATIVE CARD
INDOOR UNIT #: |  | SYS1-FCU 2
SERIAL #: |  | 15331704-10001
MODEL NAME : |  | VRK5-30CSINV
LOCATION: |  | 2nd Floor ( Ms. Mitch)
DATE | BWOR # | SERVICE JOB REPORT No. | FINDINGS | REPAIR DONE | RECOMMENDATION | REMARKS
2021-12-11 | - | HO-89974 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK
2022-04-19 | - | HO-104306 | E7 Error / Not cooling | Replacement of PCB Indoor & Get parameters | - | DONE-OK
2022-04-27 | - | HO-105450 | Water dripping | Replace water pressure switch /flashing of drain line | Clean filter regularly | DONE-OK
2022-05-14 | - | HO-108031 | Not cooling | Drain line converted to Green Hose | For observation | DONE-OK
2022-07-02 | - | HO-115148 | Dirty unit | General cleaning only & get parameters | Clean filter regularly | DONE-OK
2023-01-28 | - | HO-139047 | Dirty unit | General cleaning only & get parameters | Clean filter regularly | DONE-OK
2023-07-29 | - | HO-163268 | Dirty unit | General cleaning only & Test run | Clean filter regularly | DONE-OK
2024-04-20 | - | HO-195465 | Dirty unit | General cleaning only & Test run | Clean filter regularly | DONE-OK
2025-02-08 | - | HO-241270 | L3 Error / Dirty unit / Need Circuit breaker | Check up only | Rescheduled | -
2025-02-22 | - | HO-243008 | L3 Error | Install Circuit breaker / Test Run | - | DONE-OK
2025-04-28 | - | HO-252961 | L3 Error /Deffective drain pump | Replaced Drain Pump | - | DONE-OK
2025-10-25 | # 1060 | HO-275519 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK