## Blank copy
AIRCONDITIONTIONG UNIT PREVENTIVE & CURATIVE CARD
INDOOR UNIT #: |  | SYS1-FCU 3
SERIAL #: |  | 15341704-10001
MODEL NAME : |  | VRK5-15CSWINV
LOCATION: |  | 2nd Floor (Sir Keith)
DATE | BWOR # | SERVICE JOB REPORT No. | FINDINGS | REPAIR DONE | RECOMMENDATION | REMARKS

## SYS1-FCU 3
AIRCONDITIONTIONG UNIT PREVENTIVE & CURATIVE CARD
INDOOR UNIT #: |  | SYS1-FCU 3
SERIAL #: |  | 15341704-10001
MODEL NAME : |  | VRK5-15CSWINV
LOCATION: |  | 2nd Floor (Sir Keith)
DATE | BWOR # | SERVICE JOB REPORT No. | FINDINGS | REPAIR DONE | RECOMMENDATION | REMARKS
7-9-202 | - | HO-115146 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK
2023-01-28 | - | HO-139046 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK
2023-07-29 | - | HO-163263 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK
2024-04-20 | - | HO-195462 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK
2025-01-11 | - | HO-237273 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK
2025-08-07 | # 1025 | HO-267268 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK
2025-08-19 | # 1031 | HO-269848 | Weak Cooling | Reconnect of connector | Under observation | -
2025-08-26 | # 1031 | HO-270389 | Weak Cooling | Reconnect of connector | - | DONE-OK
2025-09-08 | # 1039 | HO-271839 | Weak Cooling | Reconnect of Temp sensor socket | - | DONE-OK