## Blank copy
AIRCONDITIONTIONG UNIT PREVENTIVE & CURATIVE CARD
INDOOR UNIT #: |  | SYS1-FCU 4
SERIAL #: |  | 15361704-10001
MODEL NAME : |  | VRK5-10CSTINV
LOCATION: |  | 2nd Floor
DATE | BWOR # | SERVICE JOB REPORT No. | FINDINGS | REPAIR DONE | RECOMMENDATION | REMARKS

## SYS1-FCU 4
AIRCONDITIONTIONG UNIT PREVENTIVE & CURATIVE CARD
INDOOR UNIT #: |  | SYS1-FCU 4
SERIAL #: |  | 15361704-10001
MODEL NAME : |  | VRK5-10CSTINV
LOCATION: |  | 2nd Floor
DATE | BWOR # | SERVICE JOB REPORT No. | FINDINGS | REPAIR DONE | RECOMMENDATION | REMARKS
2021-12-11 | - | HO-089976 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK
2022-07-09 | - | HO-115149 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK
2023-01-28 | - | HO-139046 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK
2023-07-29 | - | HO-163269 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK
2023-11-25 | - | HO-177276 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK
2025-02-08 | - | HO-241271 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK
2025-03-01 | # 2069 | HO-241446 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK
2025-07-12 | # 1014 | HO-263020 | Dirty Filter | Clean filter only | Clean filter regularly | DONE-OK
-
-
-