## Blank copy
AIRCONDITIONTIONG UNIT PREVENTIVE & CURATIVE CARD
INDOOR UNIT #: |  | SYS1-FCU 6
SERIAL #: |  | 15331704-10007
MODEL NAME : |  | VRK5-30CSINV
LOCATION: |  | 2nd Floor (CSR)
DATE | BWOR # | SERVICE JOB REPORT No. | FINDINGS | REPAIR DONE | RECOMMENDATION | REMARKS

## SYS1-FCU 6
AIRCONDITIONTIONG UNIT PREVENTIVE & CURATIVE CARD
INDOOR UNIT #: |  | SYS1-FCU 6
SERIAL #: |  | 15331704-10007
MODEL NAME : |  | VRK5-30CSINV
LOCATION: |  | 2nd Floor (CSR)
DATE | BWOR # | SERVICE JOB REPORT No. | FINDINGS | REPAIR DONE | RECOMMENDATION | REMARKS
2022-06-25 | - | HO-114555 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK
2023-01-28 | - | HO-139050 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK
2023-07-22 | - | HO-163260 | Dirty unit | General cleaning only / Install drain hose | Clean filter regularly | DONE-OK
2023-11-18 | - | HO-178748 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK
2024-06-15 | - | HO-197527 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK
2024-10-05 | - | HO-223914 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK
2025-02-15 | # 2062 | HO-242044 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK
2025-03-10 | # 2071 | HO-244963 | PO & H2 Error code | Replaced PCB outdpor | - | DONE-OK
2025-06-28 | # 1008 | HO-263012 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK