## Blank copy
AIRCONDITIONTIONG UNIT PREVENTIVE & CURATIVE CARD
INDOOR UNIT #: |  | SYS1-FCU 9
SERIAL #: |  | 15331704-10020
MODEL NAME : |  | VRK5-30CSINV
LOCATION: |  | 2nd Floor (Monitoring Area)
DATE | BWOR # | SERVICE JOB REPORT No. | FINDINGS | REPAIR DONE | RECOMMENDATION | REMARKS

## SYS1-FCU 9
AIRCONDITIONTIONG UNIT PREVENTIVE & CURATIVE CARD
INDOOR UNIT #: |  | SYS1-FCU 9
SERIAL #: |  | 15331704-10020
MODEL NAME : |  | VRK5-30CSINV
LOCATION: |  | 2nd Floor (Monitoring Area)
DATE | BWOR # | SERVICE JOB REPORT No. | FINDINGS | REPAIR DONE | RECOMMENDATION | REMARKS
2021-12-15 | - | HO-090605 | Not Cooling | Replace drain pump | - | DONE -OK
2021-10-23 | - | HO-084241 | Water dripping | Replace drain pump | - | DONE -OK
2022-01-08 | - | HO-92244 | Dirty unit | General cleaning only | Clean Filter regularly | DONE -OK
2022-06-25 | - | HO-114562 | Dirty unit | General cleaning only | Clean Filter regularly | DONE -OK
2023-01-25 | - | HO-136449 | Dirty unit | General cleaning only | Clean Filter regularly | DONE -OK
2023-07-22 | - | HO-163264 | Dirty unit | General cleaning only | Clean Filter regularly | DONE -OK
2023-11-18 | - | HO-178749 | Dirty unit | General cleaning only | Clean Filter regularly | DONE -OK
2024-04-27 | - | HO-197528 | Dirty unit | General cleaning only | Clean Filter regularly | DONE -OK
2024-05-21 | - | HO-203392 | Water dripping | Repair of drain line reconnection | - | DONE -OK
2024-09-28 | - | HO-223909 | Dirty unit | General cleaning only | Clean Filter regularly | DONE -OK
2024-10-31 | - | HO-228723 | Water dripping / clogged drain hose | Cleaning of drain hose | - | DONE -OK
2025-02-15 | - | HO-242045 | Dirty unit | General cleaning only | Clean Filter regularly | DONE -OK
2025-06-28 | # 1008 | HO-263013 | Dirty unit | General cleaning only | Clean Filter regularly | DONE -OK
2025-09-03 | # 1035 | HO-271676 | Water dripping | Fixed hose & drain pump | - | DONE -OK