## Blank copy
AIRCONDITIONTIONG UNIT PREVENTIVE & CURATIVE CARD
INDOOR UNIT #: |  | FCU 10
SERIAL #: |  | 18071705-14428
MODEL NAME : |  | KSM-IW20-4F1M
LOCATION: |  | 3rd Floor (MIS server 2)
DATE | BWOR # | SERVICE JOB REPORT No. | FINDINGS | REPAIR DONE | RECOMMENDATION | REMARKS

## FCU 10
AIRCONDITIONTIONG UNIT PREVENTIVE & CURATIVE CARD
INDOOR UNIT #: |  | FCU 10
SERIAL #: |  | 18071705-14428
MODEL NAME : |  | KSM-IW20-4F1M
LOCATION: |  | 3rd Floor (MIS server 2)
DATE | BWOR # | SERVICE JOB REPORT No. | FINDINGS | REPAIR DONE | RECOMMENDATION | REMARKS
2020-06-20 | - | HO-023427 | Dirty Unit | General cleaning only | Clean filter regularly | DONE-OK
2022-02-26 | - | HO-096754 | Dirty Unit | General cleaning only | Clean filter regularly | DONE-OK
2022-07-20 | - | HO-117463 | Weak insulation @ Ceiling | Flushing of Drain line | - | DONE-OK
2024-05-23 | - | HO-195548 | Dirty Unit | General cleaning only | Clean filter regularly | DONE-OK
2025-01-24 | - | HO-239472 | Water dripping | Replacement of drain pump | Clean filter regularly | DONE-OK
2025-09-06 | # 1037 | HO-269064 | Dirty Unit | General cleaning only | Clean filter regularly | DONE-OK
-