## Blank copy
AIRCONDITIONTIONG UNIT PREVENTIVE & CURATIVE CARD
INDOOR UNIT #: |  | FCU 9
SERIAL #: |  | 18071705-14420
MODEL NAME : |  | KSM-IW20-4F1M
LOCATION: |  | 3rd Floor (MIS server 1)
DATE | BWOR # | SERVICE JOB REPORT No. | FINDINGS | REPAIR DONE | RECOMMENDATION | REMARKS

## FCU 9
AIRCONDITIONTIONG UNIT PREVENTIVE & CURATIVE CARD
INDOOR UNIT #: |  | FCU 9
SERIAL #: |  | 18071705-14420
MODEL NAME : |  | KSM-IW20-4F1M
LOCATION: |  | 3rd Floor (MIS server 1)
DATE | BWOR # | SERVICE JOB REPORT No. | FINDINGS | REPAIR DONE | RECOMMENDATION | REMARKS
2020-06-30 | - | HO-023426 | Dirty unit | Pumpdown General cleaning | Clean filter regularly | DONE-OK
2022-02-20 | - | HO-096753 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK
2022-07-20 | - | HO-117465 | Water dripping /weak insulation | Flushing of Drain line | - | DONE-OK
2023-05-09 | - | HO-152372 | Water dripping / clogged drain line | Flushing of Drain line | - | DONE-OK
2023-05-10 | - | HO-152791 | Water dripping | Retigthen drain hose connector to drain pan | - | DONE-OK
2023-08-12 | - | HO-166708 | Water dripping | Flusing Drain line / check up | - | DONE-OK
2023-08-19 | - | HO-166738 | Water dripping | Install drain pump / Replace drain hose | - | DONE-OK
2024-05-23 | - | HO-195550 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK
2025-09-06 | # 1037 | HO-269065 | Dirty unit | General cleaning/ Clean drain pump | Clean filter regularly | DONE-OK