## Blank copy
AIRCONDITIONTIONG UNIT PREVENTIVE & CURATIVE CARD
INDOOR UNIT #: |  | SYS2-FCU 10
SERIAL #: |  | 15331704-10015
MODEL NAME : |  | VRK5-30CSINV
LOCATION: |  | 3rd Floor (TREASURY-Ms.Edith)
DATE | BWOR # | SERVICE JOB REPORT No. | FINDINGS | REPAIR DONE | RECOMMENDATION | REMARKS

## SYS2-FCU 10
AIRCONDITIONTIONG UNIT PREVENTIVE & CURATIVE CARD
INDOOR UNIT #: |  | SYS2-FCU 10
SERIAL #: |  | 15331704-10015
MODEL NAME : |  | VRK5-30CSINV
LOCATION: |  | 3rd Floor (TREASURY-Ms.Edith)
DATE | BWOR # | SERVICE JOB REPORT No. | FINDINGS | REPAIR DONE | RECOMMENDATION | REMARKS
2023-06-10 | - | HO-157965 | Dirty unit | General cleaning only | Clean filter regularly | DONE -OK
2023-10-26 | - | HO-176287 | Check up / clogged drain line | Replace drain hose for drain pump | - | DONE -OK
2024-02-17 | - | HO-188154 | Check up | Installed circuit breaker / re-wiring | - | DONE -OK
2024-05-04 | - | HO-200239 | Dirty unit | General cleaning only | Clean filter regularly | DONE -OK
2024-12-09 | - | HO-233976 | L3 Error / Deffective PCB board | Replaced PCB Board | - | DONE -OK
2025-07-18 | - | HO-265716 | Deadset / Incorrect remote setting | Adjustment of Remote setting | - | DONE -OK
2025-08-30 | # 1033 | HO-270532 | Dirty unit | General cleaning only | Clean filter regularly | DONE -OK