## Blank copy
AIRCONDITIONTIONG UNIT PREVENTIVE & CURATIVE CARD
INDOOR UNIT #: |  | SYS2-FCU 12
SERIAL #: |  | 15361704-10003
MODEL NAME : |  | VRK5-10CSTINV
LOCATION: |  | 3rd Floor (Male-CR)
DATE | BWOR # | SERVICE JOB REPORT No. | FINDINGS | REPAIR DONE | RECOMMENDATION | REMARKS

## SYS2-FCU 12
AIRCONDITIONTIONG UNIT PREVENTIVE & CURATIVE CARD
INDOOR UNIT #: |  | SYS2-FCU 12
SERIAL #: |  | 15361704-10003
MODEL NAME : |  | VRK5-10CSTINV
LOCATION: |  | 3rd Floor (Male-CR)
DATE | BWOR # | SERVICE JOB REPORT No. | FINDINGS | REPAIR DONE | RECOMMENDATION | REMARKS
2022-12-18 | - | HO-124457 | Dirty unit | Clean filter only | - | DONE-OK
2022-12-10 | - | HO-195476 | Dirty unit | Clean filter only | - | DONE-OK
2025-11-15 | # 1079 | HO-277873 | Dirty unit | Clean filter only | - | DONE-OK
2025-12-01 | # 1101 | HO-282326 | Others | Installed Circuit breaker | - | DONE-OK
2025-12-13 | # 1113 | HO-282805 | Dirty unit | General cleaning only | - | DONE-OK