## Blank copy
AIRCONDITIONTIONG UNIT PREVENTIVE & CURATIVE CARD
INDOOR UNIT #: |  | SYS2-FCU 14
SERIAL #: |  | 15351704-10001
MODEL NAME : |  | VRK5-18CSWINV
LOCATION: |  | 3rd Floor (TYT OFFICE)
DATE | BWOR # | SERVICE JOB REPORT No. | FINDINGS | REPAIR DONE | RECOMMENDATION | REMARKS

## SYS2-FCU 14
AIRCONDITIONTIONG UNIT PREVENTIVE & CURATIVE CARD
INDOOR UNIT #: |  | SYS2-FCU 14
SERIAL #: |  | 15351704-10001
MODEL NAME : |  | VRK5-18CSWINV
LOCATION: |  | 3rd Floor (TYT OFFICE)
DATE | BWOR # | SERVICE JOB REPORT No. | FINDINGS | REPAIR DONE | RECOMMENDATION | REMARKS
2020-06-27 | - | HO-22890 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK
2021-12-04 | - | HO-89279 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK
2022-03-26 | - | HO-100868 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK
2022-05-11 | - | HO-107648 | Weak cooling | Check up only | - | DONE-OK
2022-06-04 | - | HO-109819 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK
2022-12-10 | - | HO-135067 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK
2023-03-29 | - | HO-145867 | Weak cooling | Check up only / READING OF HUMIDITY | - | DONE-OK
2023-05-20 | - | HO-152501 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK
2024-01-20 | - | HO-184066 | Dirty unit | Canceled GC due to ground problem | - | CANCELLED
2025-03-01 | # 2069 | HO-243684 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK
2025-11-15 | # 1086 | HO-279741 | Dirty unit | General cleaning only / Installed breaker | Clean filter regularly | DONE-OK