## Blank copy
AIRCONDITIONTIONG UNIT PREVENTIVE & CURATIVE CARD
INDOOR UNIT #: |  | SYS2-FCU 15
SERIAL #: |  | 15331704-10009
MODEL NAME : |  | VRK5-30CSINV
LOCATION: |  | 3rd Floor (Conference room)
DATE | BWOR # | SERVICE JOB REPORT No. | FINDINGS | REPAIR DONE | RECOMMENDATION | REMARKS

## SYS2-FCU 15
AIRCONDITIONTIONG UNIT PREVENTIVE & CURATIVE CARD
INDOOR UNIT #: |  | SYS2-FCU 15
SERIAL #: |  | 15331704-10009
MODEL NAME : |  | VRK5-30CSINV
LOCATION: |  | 3rd Floor (Conference room)
DATE | BWOR # | SERVICE JOB REPORT No. | FINDINGS | REPAIR DONE | RECOMMENDATION | REMARKS
2021-12-18 | - | HO-089970 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK
2022-05-28 | - | HO-109417 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK
2022-12-10 | - | HO-135069 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK
2023-07-01 | - | HO-160101 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK
2024-02-17 | - | HO-188102 | Check up | Installed circuit breaker / Re-wiring | - | DONE-OK
2024-03-16 | - | HO-188201 | Check up | Re wiring of installed circuit breaker | - | DONE-OK
2024-06-29 | - | HO-195552 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK
2025-02-15 | - | HO-242188 | L3 Error / Deffective power pump | Replaced water pump | - | DONE-OK
2025-04-12 | # 2086 | HO-250069 | Dirty unit | General cleaning only- 1ST | Clean filter regularly | DONE-OK
2025-10-29 | # 1082 | HO-278684 | Dirty unit | General cleaning only- 2ND | Clean filter regularly | DONE-OK