## Blank copy
AIRCONDITIONTIONG UNIT PREVENTIVE & CURATIVE CARD
INDOOR UNIT #: |  | SYS2-FCU 16
SERIAL #: |  | 15331704-10013
MODEL NAME : |  | VRK5-30CSINV
LOCATION: |  | 3rd Floor (SOCMED/TELESRVEY)
DATE | BWOR # | SERVICE JOB REPORT No. | FINDINGS | REPAIR DONE | RECOMMENDATION | REMARKS

## SYS2-FCU 16
AIRCONDITIONTIONG UNIT PREVENTIVE & CURATIVE CARD
INDOOR UNIT #: |  | SYS2-FCU 16
SERIAL #: |  | 15331704-10013
MODEL NAME : |  | VRK5-30CSINV
LOCATION: |  | 3rd Floor (SOCMED/TELESRVEY)
DATE | BWOR # | SERVICE JOB REPORT No. | FINDINGS | REPAIR DONE | RECOMMENDATION | REMARKS
2020-07-04 | - | HO-023417 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK
2021-12-24 | - | HO-89304 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK
2022-05-21 | - | HO-109408 | Not cooling | Converted drain line to green hose | Clean filter regularly | DONE-OK
2022-06-04 | - | HO-110758 | Weak Cooling / moistured PCB | GC / Replaced PCB | Clean filter regularly | DONE-OK
2023-01-07 | - | HO-135414 | Dirty unit | General cleaning only with Chemical Run test | Clean filter regularly | DONE-OK
2023-07-15 | - | HO-152459 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK
2023-09-22 | - | HO-171899 | E7 Error | Check up only | - | DONE-OK
2023-12-06 | - | HO-180820 | L3 Error | Check up only / check parameters | - | DONE-OK
2023-12-09 | - | HO-180929 | L3 Error | Replaced water pump | - | DONE-OK
2024-02-01 | - | HO-188153 | Check up | Installed Circuit breaker | - | DONE-OK
2024-07-06 | - | HO-195558 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK
2025-01-24 | - | HO-239365 | L3 Error | Cleaning of drain pump | Clean filter regularly | DONE-OK
2025-04-30 | # 2088 | HO-253284 | Water dripping | Clean drain pump | - | DONE-OK
2025-05-20 | # 2096 | HO-256616 | L3 Error | Replaced water pump / Modification of drain line | Clean filter regularly | DONE-OK
2025-05-22 | # 2096 | HO-257479 | L3 Error | Replaced drain pump | - | DONE-OK
2025-07-18 | # 1016 | HO-265526 | Water dripping | Re insulation of drain line | - | DONE-OK
2025-08-23 | # 1030 | HO-268500 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK
2025-09-29 | # 1056 | HO-274782 | Water dripping | Flushing drain line, fixed drain line hose, using silicon | -