## Blank copy
AIRCONDITIONTIONG UNIT PREVENTIVE & CURATIVE CARD
INDOOR UNIT #: |  | SYS2-FCU 17
SERIAL #: |  | 15351704-10002
MODEL NAME : |  | VRK5-18CSWINV
LOCATION: |  | 3rd Floor (Meeting Room)
DATE | BWOR # | SERVICE JOB REPORT No. | FINDINGS | REPAIR DONE | RECOMMENDATION | REMARKS

## SYS2-FCU 17
AIRCONDITIONTIONG UNIT PREVENTIVE & CURATIVE CARD
INDOOR UNIT #: |  | SYS2-FCU 17
SERIAL #: |  | 15351704-10002
MODEL NAME : |  | VRK5-18CSWINV
LOCATION: |  | 3rd Floor (Meeting Room)
DATE | BWOR # | SERVICE JOB REPORT No. | FINDINGS | REPAIR DONE | RECOMMENDATION | REMARKS
2020-07-04 | - | HO-023418 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK
2021-12-18 | - | HO-089971 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK
2022-06-04 | - | HO-109820 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK
2022-12-10 | - | HO-124457 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK
2023-07-01 | - | HO-160099 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK
2024-03-16 | - | HO-188200 | Check up only | CANCELLED | - | CANCELLED
2024-02-17 | - | HO-188101 | Check up only | Installed Circuit breaker | - | DONE-OK
2025-08-23 | # 1030 | HO-268495 | Dirty unit | General cleaning only | Clean filter regularly | DONE-OK